## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-36_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-36_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_351-36_0_4_node_21 | 0.4 | n |  | TRUE
3 | bus_LV_351-36_0_4_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_351-36_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-36_0_4_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_351-36_0_4_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_351-36_0_4_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_351-36_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_351-36_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_351-36_0_4_node_69 | 0.4 | n |  | TRUE
11 | bus_LV_351-36_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_351-36_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_351-36_0_4_node_72 | 0.4 | n |  | TRUE
14 | bus_LV_351-36_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_351-36_0_4_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_351-36_0_4_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_351-36_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_351-36_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_351-36_0_4_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_351-36_0_4_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_351-36_0_4_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_351-36_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_351-36_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_351-36_0_4_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_351-36_0_4_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_351-36_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_351-36_0_4_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_351-36_0_4_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_351-36_0_4_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_351-36_0_4_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_351-36_0_4_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_351-36_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_351-36_0_4_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_351-36_0_4_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_351-36_0_4_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_351-36_0_4_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_351-36_0_4_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_351-36_0_4_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_351-36_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_351-36_0_4_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_351-36_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_351-36_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_351-36_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_351-36_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_351-36_0_4_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_351-36_0_4_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_351-36_0_4_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_351-36_0_4_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_351-36_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_351-36_0_4_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_351-36_0_4_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_351-36_0_4_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_351-36_0_4_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_351-36_0_4_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_351-36_0_4_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_351-36_0_4_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_351-36_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_351-36_0_4_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_351-36_0_4_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_351-36_0_4_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_351-36_0_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_351-36_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_351-36_0_4_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_351-36_0_4_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_351-36_0_4_node_65 | 0.4 | n |  | TRUE
66 | bus_MV_597_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-36_0_4_load_0 | 0 | 0.0082229 | 0.0020609 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-36_0_4_load_21 | 2 | 0.0075736 | 0.0018981 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-36_0_4_load_22 | 3 | 0.0069475 | 0.0017412 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-36_0_4_load_25 | 5 | 0.004183 | 0.0010484 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-36_0_4_load_26 | 6 | 0.0041054 | 0.0010289 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-36_0_4_load_24 | 7 | 0.022507 | 0.0056409 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-36_0_4_load_69 | 10 | 0.011944 | 0.0029933 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-36_0_4_load_72 | 13 | 0.003637 | 0.00091151 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-36_0_4_load_64 | 15 | 0.011709 | 0.0029345 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-36_0_4_load_61 | 16 | 0.011394 | 0.0028557 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-36_0_4_load_28 | 19 | 0.016523 | 0.004141 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-36_0_4_load_29 | 20 | 0.0057283 | 0.0014357 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-36_0_4_load_27 | 21 | 0.0061366 | 0.001538 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-36_0_4_load_36 | 24 | 0.019223 | 0.0048177 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-36_0_4_load_50 | 25 | 0.0082428 | 0.0020658 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-36_0_4_load_51 | 28 | 0.0089884 | 0.0022527 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-36_0_4_load_30 | 29 | 0.035559 | 0.008912 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-36_0_4_load_67 | 30 | 0.0064417 | 0.0016145 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-36_0_4_load_68 | 31 | 0.0069605 | 0.0017445 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-36_0_4_load_23 | 32 | 0.0090251 | 0.0022619 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-36_0_4_load_71 | 33 | 0.0050572 | 0.0012674 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-36_0_4_load_49 | 34 | 0.0036074 | 0.0009041 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-36_0_4_load_62 | 35 | 0.0085001 | 0.0021303 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-36_0_4_load_41 | 36 | 0.0059563 | 0.0014928 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-36_0_4_load_52 | 37 | 0.0052878 | 0.0013253 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-36_0_4_load_31 | 41 | 0.01565 | 0.0039221 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-36_0_4_load_37 | 42 | 0.017287 | 0.0043326 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-36_0_4_load_33 | 44 | 0.016054 | 0.0040235 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-36_0_4_load_53 | 45 | 0.0057152 | 0.0014324 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-36_0_4_load_57 | 47 | 0.004283 | 0.0010734 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-36_0_4_load_46 | 49 | 0.0042528 | 0.0010659 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-36_0_4_load_66 | 50 | 0.0087828 | 0.0022012 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-36_0_4_load_59 | 51 | 0.0044138 | 0.0011062 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-36_0_4_load_54 | 52 | 0.0057036 | 0.0014294 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-36_0_4_load_73 | 53 | 0.018459 | 0.0046263 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-36_0_4_load_34 | 55 | 0.016141 | 0.0040454 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-36_0_4_load_60 | 57 | 0.0059592 | 0.0014935 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-36_0_4_load_56 | 58 | 0.0057008 | 0.0014288 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-36_0_4_load_40 | 59 | 0.0098121 | 0.0024592 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-36_0_4_load_44 | 60 | 0.0059511 | 0.0014915 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-36_0_4_load_55 | 61 | 0.0057248 | 0.0014348 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-36_0_4_load_58 | 62 | 0.0041667 | 0.0010443 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-36_0_4_load_45 | 63 | 0.0073076 | 0.0018315 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-36_0_4_load_63 | 64 | 0.0085056 | 0.0021317 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-36_0_4_load_65 | 65 | 0.016796 | 0.0042096 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-36_0_4_line_0 |  | 0 | 1 | 0.015887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-36_0_4_line_1 |  | 1 | 2 | 0.008599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-36_0_4_line_2 |  | 1 | 3 | 0.017076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-36_0_4_line_3 |  | 1 | 4 | 0.02658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-36_0_4_line_4 |  | 2 | 30 | 0.011499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-36_0_4_line_5 |  | 3 | 31 | 0.0098258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-36_0_4_line_6 |  | 4 | 5 | 0.01001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_351-36_0_4_line_7 |  | 4 | 6 | 0.010782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-36_0_4_line_8 |  | 4 | 7 | 0.019541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-36_0_4_line_9 |  | 5 | 21 | 0.022241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_351-36_0_4_line_10 |  | 6 | 33 | 0.013079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-36_0_4_line_11 |  | 7 | 32 | 0.018838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-36_0_4_line_12 |  | 8 | 9 | 0.018206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-36_0_4_line_13 |  | 8 | 10 | 0.030479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-36_0_4_line_14 |  | 9 | 15 | 0.029527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-36_0_4_line_15 |  | 11 | 12 | 0.003998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-36_0_4_line_16 |  | 11 | 13 | 0.024024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-36_0_4_line_17 |  | 12 | 17 | 0.029372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-36_0_4_line_18 |  | 13 | 34 | 0.0078891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-36_0_4_line_19 |  | 14 | 15 | 0.0071761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-36_0_4_line_20 |  | 14 | 16 | 0.017761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-36_0_4_line_21 |  | 16 | 35 | 0.017457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-36_0_4_line_22 |  | 17 | 25 | 0.027203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-36_0_4_line_23 |  | 18 | 19 | 0.011543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-36_0_4_line_24 |  | 18 | 20 | 0.018927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_351-36_0_4_line_25 |  | 18 | 21 | 0.01618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_351-36_0_4_line_26 |  | 19 | 44 | 0.017409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-36_0_4_line_27 |  | 20 | 45 | 0.0072818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_351-36_0_4_line_28 |  | 22 | 23 | 0.048283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-36_0_4_line_29 |  | 22 | 24 | 0.0050094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-36_0_4_line_30 |  | 23 | 29 | 0.011367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-36_0_4_line_31 |  | 26 | 27 | 0.003868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-36_0_4_line_32 |  | 26 | 28 | 0.01744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-36_0_4_line_33 |  | 27 | 36 | 0.011978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-36_0_4_line_34 |  | 27 | 46 | 0.003719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-36_0_4_line_35 |  | 28 | 38 | 0.0013874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-36_0_4_line_36 |  | 29 | 41 | 0.019291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-36_0_4_line_37 |  | 30 | 50 | 0.014077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-36_0_4_line_38 |  | 33 | 51 | 0.0075731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-36_0_4_line_39 |  | 34 | 48 | 0.014831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-36_0_4_line_40 |  | 35 | 64 | 0.0088566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-36_0_4_line_41 |  | 37 | 38 | 0.012517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-36_0_4_line_42 |  | 38 | 48 | 0.003668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-36_0_4_line_43 |  | 39 | 40 | 0.017605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-36_0_4_line_44 |  | 39 | 41 | 0.016656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-36_0_4_line_45 |  | 40 | 53 | 0.040696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-36_0_4_line_46 |  | 40 | 54 | 0.020993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-36_0_4_line_47 |  | 42 | 43 | 0.020482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-36_0_4_line_48 |  | 43 | 59 | 0.008027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-36_0_4_line_49 |  | 43 | 56 | 0.003422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-36_0_4_line_50 |  | 45 | 52 | 0.0072738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_351-36_0_4_line_51 |  | 46 | 47 | 0.010923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-36_0_4_line_52 |  | 47 | 62 | 0.0073874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-36_0_4_line_53 |  | 48 | 49 | 0.0098411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-36_0_4_line_54 |  | 49 | 63 | 0.0052496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-36_0_4_line_55 |  | 50 | 65 | 0.001486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-36_0_4_line_56 |  | 51 | 62 | 0.0072858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-36_0_4_line_57 |  | 52 | 61 | 0.0072874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_351-36_0_4_line_58 |  | 54 | 56 | 0.007088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-36_0_4_line_59 |  | 54 | 55 | 0.017755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-36_0_4_line_60 |  | 56 | 57 | 0.013133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-36_0_4_line_61 |  | 56 | 58 | 0.013514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_351-36_0_4_line_62 |  | 58 | 61 | 0.0072825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_351-36_0_4_line_63 |  | 59 | 60 | 0.0098777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-36_0_4_line_64 |  | 64 | 65 | 0.013059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-36_0_4_trafo_53 | 0.63 MVA 20/0.4 kV | 66 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2599326.4599 | 1198909.3218 | 2599313.6263 | 1198918.6864
1 | 2599326.4599 | 1198909.3218 | 2599333.396 | 1198904.2392
2 | 2599326.4599 | 1198909.3218 | 2599336.5623 | 1198923.0883
3 | 2599326.4599 | 1198909.3218 | 2599323.8174 | 1198905.7202 | 2599338.671 | 1198894.8681 | 2599336.4625 | 1198891.8779
4 | 2599342.6714 | 1198897.4425 | 2599333.396 | 1198904.2392
5 | 2599342.3756 | 1198931.01 | 2599336.5623 | 1198923.0883
6 | 2599336.4625 | 1198891.8779 | 2599341.3275 | 1198888.5533 | 2599344.8069 | 1198886.674 | 2599344.9555 | 1198886.6075
7 | 2599336.4625 | 1198891.8779 | 2599330.0832 | 1198883.1859
8 | 2599336.4625 | 1198891.8779 | 2599320.7174 | 1198903.4507
9 | 2599365.2536 | 1198877.5166 | 2599344.9555 | 1198886.6075
10 | 2599322.3445 | 1198872.6419 | 2599330.0832 | 1198883.1859
11 | 2599305.5388 | 1198914.607 | 2599320.7174 | 1198903.4507
12 | 2599397.1955 | 1198924.2547 | 2599403.7133 | 1198925.7658 | 2599410.0787 | 1198927.2437 | 2599412.8198 | 1198927.8771 | 2599414.9289 | 1198928.3771
13 | 2599414.9289 | 1198928.3771 | 2599420.6142 | 1198906.7649 | 2599423.0129 | 1198898.9948
14 | 2599397.1955 | 1198924.2547 | 2599403.1339 | 1198895.3308
15 | 2599242.1918 | 1198879.7726 | 2599239.8995 | 1198876.4934
16 | 2599242.1918 | 1198879.7726 | 2599251.6551 | 1198873.001 | 2599262.2814 | 1198866.635
17 | 2599222.209 | 1198854.4397 | 2599225.0496 | 1198858.2969 | 2599238.9326 | 1198877.1495 | 2599239.8995 | 1198876.4934
18 | 2599269.1011 | 1198862.6739 | 2599267.5062 | 1198863.5049 | 2599262.2814 | 1198866.635
19 | 2599404.5771 | 1198888.3013 | 2599403.1339 | 1198895.3308
20 | 2599404.5771 | 1198888.3013 | 2599400.9976 | 1198880.1751 | 2599400.1066 | 1198879.3637 | 2599392.7624 | 1198877.1286
21 | 2599392.7624 | 1198877.1286 | 2599391.7081 | 1198876.8077 | 2599388.7919 | 1198876.5079 | 2599386.2793 | 1198876.8083 | 2599383.8657 | 1198877.5645 | 2599376.2296 | 1198880.9765
22 | 2599222.209 | 1198854.4397 | 2599227.1043 | 1198850.7815 | 2599244.4848 | 1198838.8329
23 | 2599380.0732 | 1198871.0282 | 2599382.4334 | 1198870.0718 | 2599383.1643 | 1198869.7716 | 2599377.9938 | 1198863.3989
24 | 2599380.0732 | 1198871.0282 | 2599368.0729 | 1198856.392
25 | 2599380.0732 | 1198871.0282 | 2599376.6622 | 1198872.4071 | 2599365.2536 | 1198877.5166
26 | 2599377.9938 | 1198863.3989 | 2599367.0252 | 1198849.88
27 | 2599368.0729 | 1198856.392 | 2599363.456 | 1198850.7609
28 | 2599416.1515 | 1198829.1572 | 2599421.191 | 1198820.0963 | 2599426.0479 | 1198811.0354 | 2599429.8246 | 1198812.5913 | 2599431.4313 | 1198813.1137 | 2599432.8094 | 1198813.3025 | 2599434.5759 | 1198813.3802 | 2599436.1825 | 1198813.0798 | 2599439.2356 | 1198812.1679 | 2599442.5857 | 1198811.0781 | 2599444.5957 | 1198810.1107 | 2599446.3012 | 1198808.832 | 2599447.7553 | 1198807.1643 | 2599449.4529 | 1198803.7846
29 | 2599449.4529 | 1198803.7846 | 2599450.0543 | 1198802.5727 | 2599451.4316 | 1198799.1855
30 | 2599416.1515 | 1198829.1572 | 2599408.0589 | 1198821.1747
31 | 2599300.5181 | 1198842.9006 | 2599297.4956 | 1198845.3246
32 | 2599297.4956 | 1198845.3246 | 2599281.4792 | 1198852.2262
33 | 2599300.5181 | 1198842.9006 | 2599298.774 | 1198839.4323 | 2599297.9744 | 1198838.1985 | 2599294.066 | 1198832.8479
34 | 2599300.5181 | 1198842.9006 | 2599302.7189 | 1198845.902
35 | 2599280.205 | 1198852.7752 | 2599281.4792 | 1198852.2262
36 | 2599394.3253 | 1198807.6279 | 2599408.0589 | 1198821.1747
37 | 2599354.864 | 1198890.5232 | 2599349.3227 | 1198892.9991 | 2599346.2012 | 1198894.856 | 2599342.6714 | 1198897.4425
38 | 2599322.3445 | 1198872.6419 | 2599317.8636 | 1198866.5366
39 | 2599282.2536 | 1198855.8211 | 2599269.1011 | 1198862.6739
40 | 2599376.2296 | 1198880.9765 | 2599368.1435 | 1198884.5896
41 | 2599280.205 | 1198852.7752 | 2599269.1433 | 1198858.6339
42 | 2599280.205 | 1198852.7752 | 2599282.2536 | 1198855.8211
43 | 2599365.6373 | 1198809.7526 | 2599380.9635 | 1198801.0128
44 | 2599380.9635 | 1198801.0128 | 2599382.6004 | 1198800.0899 | 2599383.5826 | 1198799.7897 | 2599384.5649 | 1198799.7117 | 2599384.5801 | 1198799.7228 | 2599385.5166 | 1198799.9562 | 2599386.4304 | 1198800.3118 | 2599387.6183 | 1198801.0121 | 2599394.3253 | 1198807.6279
45 | 2599365.6373 | 1198809.7526 | 2599366.2846 | 1198810.8087 | 2599368.4246 | 1198814.3103 | 2599369.3537 | 1198815.433 | 2599370.5721 | 1198816.9003 | 2599376.9841 | 1198824.6482 | 2599378.271 | 1198826.1933 | 2599385.0561 | 1198834.3969 | 2599386.4649 | 1198836.0976 | 2599391.0036 | 1198841.5667
46 | 2599347.3038 | 1198820.0715 | 2599365.6373 | 1198809.7526
47 | 2599338.8218 | 1198820.8062 | 2599356.5592 | 1198810.5642
48 | 2599338.8218 | 1198820.8062 | 2599331.8154 | 1198824.7234
49 | 2599338.8218 | 1198820.8062 | 2599341.0378 | 1198823.4185
50 | 2599363.456 | 1198850.7609 | 2599358.8442 | 1198845.1361
51 | 2599302.7189 | 1198845.902 | 2599309.1817 | 1198854.7075
52 | 2599309.1817 | 1198854.7075 | 2599313.5527 | 1198860.6631
53 | 2599282.2536 | 1198855.8211 | 2599287.7476 | 1198863.9858
54 | 2599290.6783 | 1198868.3412 | 2599287.7476 | 1198863.9858
55 | 2599356.2207 | 1198889.9169 | 2599354.864 | 1198890.5232
56 | 2599313.5527 | 1198860.6631 | 2599317.8636 | 1198866.5366
57 | 2599358.8442 | 1198845.1361 | 2599354.2237 | 1198839.5008
58 | 2599347.3038 | 1198820.0715 | 2599345.5374 | 1198821.0055 | 2599341.0378 | 1198823.4185
59 | 2599347.3038 | 1198820.0715 | 2599346.6339 | 1198821.2055 | 2599346.3295 | 1198822.484 | 2599346.4058 | 1198823.7958 | 2599346.8628 | 1198825.0297 | 2599354.7344 | 1198834.7316
60 | 2599341.0378 | 1198823.4185 | 2599338.7385 | 1198824.6305 | 2599329.5333 | 1198829.7516
61 | 2599341.0378 | 1198823.4185 | 2599349.6064 | 1198833.8692
62 | 2599354.2237 | 1198839.5008 | 2599349.6064 | 1198833.8692
63 | 2599323.1938 | 1198829.5437 | 2599331.8154 | 1198824.7234
64 | 2599368.1435 | 1198884.5896 | 2599356.2207 | 1198889.9169

## bus_geodata
| x | y | coords
0 | 2599313.6263 | 1198918.6864
1 | 2599326.4599 | 1198909.3218
2 | 2599333.396 | 1198904.2392
3 | 2599336.5623 | 1198923.0883
4 | 2599336.4625 | 1198891.8779
5 | 2599344.9555 | 1198886.6075
6 | 2599330.0832 | 1198883.1859
7 | 2599320.7174 | 1198903.4507
8 | 2599414.9289 | 1198928.3771
9 | 2599397.1955 | 1198924.2547
10 | 2599423.0129 | 1198898.9948
11 | 2599242.1918 | 1198879.7726
12 | 2599239.8995 | 1198876.4934
13 | 2599262.2814 | 1198866.635
14 | 2599404.5771 | 1198888.3013
15 | 2599403.1339 | 1198895.3308
16 | 2599392.7624 | 1198877.1286
17 | 2599222.209 | 1198854.4397
18 | 2599380.0732 | 1198871.0282
19 | 2599377.9938 | 1198863.3989
20 | 2599368.0729 | 1198856.392
21 | 2599365.2536 | 1198877.5166
22 | 2599449.4529 | 1198803.7846
23 | 2599416.1515 | 1198829.1572
24 | 2599451.4316 | 1198799.1855
25 | 2599244.4848 | 1198838.8329
26 | 2599297.4956 | 1198845.3246
27 | 2599300.5181 | 1198842.9006
28 | 2599281.4792 | 1198852.2262
29 | 2599408.0589 | 1198821.1747
30 | 2599342.6714 | 1198897.4425
31 | 2599342.3756 | 1198931.01
32 | 2599305.5388 | 1198914.607
33 | 2599322.3445 | 1198872.6419
34 | 2599269.1011 | 1198862.6739
35 | 2599376.2296 | 1198880.9765
36 | 2599294.066 | 1198832.8479
37 | 2599269.1433 | 1198858.6339
38 | 2599280.205 | 1198852.7752
39 | 2599380.9635 | 1198801.0128
40 | 2599365.6373 | 1198809.7526
41 | 2599394.3253 | 1198807.6279
42 | 2599356.5592 | 1198810.5642
43 | 2599338.8218 | 1198820.8062
44 | 2599367.0252 | 1198849.88
45 | 2599363.456 | 1198850.7609
46 | 2599302.7189 | 1198845.902
47 | 2599309.1817 | 1198854.7075
48 | 2599282.2536 | 1198855.8211
49 | 2599287.7476 | 1198863.9858
50 | 2599354.864 | 1198890.5231
51 | 2599317.8636 | 1198866.5366
52 | 2599358.8442 | 1198845.1361
53 | 2599391.0036 | 1198841.5667
54 | 2599347.3038 | 1198820.0715
55 | 2599354.7344 | 1198834.7316
56 | 2599341.0378 | 1198823.4185
57 | 2599329.5333 | 1198829.7516
58 | 2599349.6064 | 1198833.8692
59 | 2599331.8154 | 1198824.7234
60 | 2599323.1938 | 1198829.5437
61 | 2599354.2237 | 1198839.5008
62 | 2599313.5527 | 1198860.6631
63 | 2599290.6783 | 1198868.3412
64 | 2599368.1435 | 1198884.5896
65 | 2599356.2207 | 1198889.9169
66 | 2599380.0732 | 1198871.0282

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1