## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-390_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-390_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-390_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-390_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-390_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-390_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_351-390_0_6_node_75 | 0.4 | n |  | TRUE
7 | bus_LV_351-390_0_6_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_351-390_0_6_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_351-390_0_6_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_351-390_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_351-390_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_351-390_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_351-390_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_351-390_0_6_node_67 | 0.4 | n |  | TRUE
15 | bus_LV_351-390_0_6_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_351-390_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_351-390_0_6_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_351-390_0_6_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_351-390_0_6_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_351-390_0_6_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_351-390_0_6_node_74 | 0.4 | n |  | TRUE
22 | bus_LV_351-390_0_6_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_351-390_0_6_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_351-390_0_6_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_351-390_0_6_node_73 | 0.4 | n |  | TRUE
26 | bus_LV_351-390_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_351-390_0_6_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_351-390_0_6_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_351-390_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_351-390_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_351-390_0_6_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_351-390_0_6_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_351-390_0_6_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_351-390_0_6_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_351-390_0_6_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_351-390_0_6_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_351-390_0_6_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_351-390_0_6_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_351-390_0_6_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_351-390_0_6_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_351-390_0_6_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_351-390_0_6_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_351-390_0_6_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_351-390_0_6_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_351-390_0_6_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_351-390_0_6_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_351-390_0_6_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_351-390_0_6_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_351-390_0_6_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_351-390_0_6_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_351-390_0_6_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_351-390_0_6_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_351-390_0_6_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_351-390_0_6_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_351-390_0_6_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_351-390_0_6_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_351-390_0_6_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_351-390_0_6_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_351-390_0_6_node_78 | 0.4 | n |  | TRUE
60 | bus_LV_351-390_0_6_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_351-390_0_6_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_351-390_0_6_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_351-390_0_6_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_351-390_0_6_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_351-390_0_6_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_351-390_0_6_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_351-390_0_6_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_351-390_0_6_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_351-390_0_6_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_351-390_0_6_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_351-390_0_6_node_70 | 0.4 | n |  | TRUE
72 | bus_MV_606_0_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-390_0_6_load_0 | 0 | 0.0086607 | 0.0021706 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-390_0_6_load_3 | 3 | 0.0085926 | 0.0021535 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-390_0_6_load_4 | 4 | 0.010545 | 0.0026427 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-390_0_6_load_5 | 5 | 0.025967 | 0.0065079 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-390_0_6_load_75 | 6 | 0.0087182 | 0.002185 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-390_0_6_load_10 | 9 | 0.011206 | 0.0028085 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-390_0_6_load_6 | 10 | 0.010618 | 0.0026611 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-390_0_6_load_7 | 11 | 0.0079086 | 0.0019821 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-390_0_6_load_9 | 12 | 0.01146 | 0.0028722 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-390_0_6_load_11 | 13 | 0.01456 | 0.003649 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-390_0_6_load_67 | 14 | 0.021385 | 0.0053597 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-390_0_6_load_12 | 16 | 0.019941 | 0.0049978 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-390_0_6_load_38 | 19 | 0.011133 | 0.0027901 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-390_0_6_load_46 | 22 | 0.023165 | 0.0058057 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-390_0_6_load_73 | 25 | 0.014268 | 0.003576 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-390_0_6_load_66 | 28 | 0.0044959 | 0.0011268 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-390_0_6_load_47 | 32 | 0.023196 | 0.0058135 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-390_0_6_load_44 | 33 | 0.023068 | 0.0057815 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-390_0_6_load_71 | 36 | 0.0020405 | 0.0005114 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-390_0_6_load_35 | 37 | 0.0082371 | 0.0020644 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-390_0_6_load_34 | 39 | 0.012985 | 0.0032544 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-390_0_6_load_58 | 41 | 0.014279 | 0.0035788 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-390_0_6_load_72 | 42 | 0.017653 | 0.0044243 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-390_0_6_load_65 | 45 | 0.0032444 | 0.00081312 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-390_0_6_load_76 | 46 | 0.0086741 | 0.0021739 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-390_0_6_load_54 | 47 | 0.014329 | 0.0035913 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-390_0_6_load_50 | 48 | 0.011155 | 0.0027956 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-390_0_6_load_39 | 49 | 0.017096 | 0.0042848 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-390_0_6_load_77 | 50 | 0.0083118 | 0.0020831 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-390_0_6_load_45 | 51 | 0.022936 | 0.0057483 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-390_0_6_load_59 | 52 | 0.010614 | 0.0026601 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-390_0_6_load_43 | 53 | 0.022789 | 0.0057113 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-390_0_6_load_64 | 54 | 0.017557 | 0.0044001 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-390_0_6_load_69 | 55 | 0.0020425 | 0.00051191 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-390_0_6_load_78 | 59 | 0.015262 | 0.0038249 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-390_0_6_load_60 | 60 | 0.0077443 | 0.0019409 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-390_0_6_load_52 | 62 | 0.010684 | 0.0026777 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-390_0_6_load_62 | 63 | 0.011695 | 0.002931 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-390_0_6_load_61 | 64 | 0.0087063 | 0.002182 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-390_0_6_load_40 | 65 | 0.017274 | 0.0043292 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-390_0_6_load_49 | 66 | 0.011058 | 0.0027715 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-390_0_6_load_42 | 67 | 0.023058 | 0.0057789 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-390_0_6_load_48 | 68 | 0.011176 | 0.002801 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-390_0_6_load_51 | 69 | 0.014294 | 0.0035824 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-390_0_6_load_68 | 70 | 0.0020367 | 0.00051045 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-390_0_6_load_70 | 71 | 0.0030718 | 0.00076986 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-390_0_6_line_0 |  | 0 | 1 | 0.0075819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_351-390_0_6_line_1 |  | 0 | 2 | 0.022548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_351-390_0_6_line_2 |  | 1 | 3 | 0.0061292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_351-390_0_6_line_3 |  | 2 | 4 | 0.0031779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_351-390_0_6_line_4 |  | 2 | 5 | 0.014293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-390_0_6_line_5 |  | 3 | 6 | 0.013654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_351-390_0_6_line_6 |  | 4 | 7 | 0.012533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_351-390_0_6_line_7 |  | 6 | 8 | 0.013252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_351-390_0_6_line_8 |  | 7 | 9 | 0.014114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-390_0_6_line_9 |  | 7 | 10 | 0.0028562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_351-390_0_6_line_10 |  | 8 | 38 | 0.031982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_351-390_0_6_line_11 |  | 9 | 14 | 0.01405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-390_0_6_line_12 |  | 10 | 11 | 0.028721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_351-390_0_6_line_13 |  | 11 | 12 | 0.01535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-390_0_6_line_14 |  | 12 | 13 | 0.0046857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-390_0_6_line_15 |  | 13 | 15 | 0.013096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-390_0_6_line_16 |  | 15 | 16 | 0.0048319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-390_0_6_line_17 |  | 17 | 18 | 0.032687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-390_0_6_line_18 |  | 17 | 19 | 0.014878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-390_0_6_line_19 |  | 18 | 48 | 0.014914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-390_0_6_line_20 |  | 18 | 30 | 0.032544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-390_0_6_line_21 |  | 19 | 49 | 0.013965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-390_0_6_line_22 |  | 20 | 21 | 0.014795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-390_0_6_line_23 |  | 20 | 22 | 0.10726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-390_0_6_line_24 |  | 21 | 50 | 0.019497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-390_0_6_line_25 |  | 22 | 51 | 0.014214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-390_0_6_line_26 |  | 23 | 24 | 0.030918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-390_0_6_line_27 |  | 23 | 25 | 0.020302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-390_0_6_line_28 |  | 24 | 47 | 0.019127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-390_0_6_line_29 |  | 25 | 52 | 0.016559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-390_0_6_line_30 |  | 26 | 27 | 0.19834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_351-390_0_6_line_31 |  | 26 | 28 | 0.02429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_351-390_0_6_line_32 |  | 27 | 37 | 0.047027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-390_0_6_line_33 |  | 27 | 38 | 0.11894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_351-390_0_6_line_34 |  | 27 | 39 | 0.036845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-390_0_6_line_35 |  | 28 | 35 | 0.062653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_351-390_0_6_line_36 |  | 29 | 30 | 0.034521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_351-390_0_6_line_37 |  | 29 | 31 | 0.026431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_351-390_0_6_line_38 |  | 29 | 32 | 0.0091025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-390_0_6_line_39 |  | 30 | 33 | 0.014802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-390_0_6_line_40 |  | 31 | 42 | 0.024677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_351-390_0_6_line_41 |  | 31 | 35 | 0.057023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_351-390_0_6_line_42 |  | 31 | 40 | 0.032894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-390_0_6_line_43 |  | 32 | 51 | 0.014128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-390_0_6_line_44 |  | 33 | 53 | 0.013993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-390_0_6_line_45 |  | 34 | 35 | 0.042376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-390_0_6_line_46 |  | 34 | 36 | 0.022117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-390_0_6_line_47 |  | 36 | 55 | 0.0060131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-390_0_6_line_48 |  | 37 | 54 | 0.012498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-390_0_6_line_49 |  | 38 | 46 | 0.040193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-390_0_6_line_50 |  | 40 | 41 | 0.015755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-390_0_6_line_51 |  | 41 | 56 | 0.012556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-390_0_6_line_52 |  | 42 | 57 | 0.024417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_351-390_0_6_line_53 |  | 43 | 44 | 0.055773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-390_0_6_line_54 |  | 43 | 45 | 0.0085406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-390_0_6_line_55 |  | 44 | 60 | 0.0093171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-390_0_6_line_56 |  | 44 | 61 | 0.034126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-390_0_6_line_57 |  | 47 | 62 | 0.016279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-390_0_6_line_58 |  | 48 | 66 | 0.013974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-390_0_6_line_59 |  | 49 | 65 | 0.014016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-390_0_6_line_60 |  | 52 | 56 | 0.025793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-390_0_6_line_61 |  | 53 | 67 | 0.013989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-390_0_6_line_62 |  | 55 | 70 | 0.0060037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-390_0_6_line_63 |  | 57 | 58 | 0.015895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_351-390_0_6_line_64 |  | 58 | 59 | 0.018715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-390_0_6_line_65 |  | 60 | 64 | 0.016236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-390_0_6_line_66 |  | 61 | 69 | 0.011197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-390_0_6_line_67 |  | 62 | 69 | 0.014819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-390_0_6_line_68 |  | 63 | 64 | 0.016268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-390_0_6_line_69 |  | 66 | 68 | 0.013989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-390_0_6_line_70 |  | 70 | 71 | 0.002841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-390_0_6_trafo_63 | 0.63 MVA 20/0.4 kV | 72 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2597075.1918 | 1199588.2129 | 2597067.6299 | 1199587.6628
1 | 2597045.1416 | 1199586.0269 | 2597067.6299 | 1199587.6628
2 | 2597075.1918 | 1199588.2129 | 2597081.3081 | 1199588.61
3 | 2597045.1416 | 1199586.0269 | 2597041.9722 | 1199585.7946
4 | 2597045.1416 | 1199586.0269 | 2597043.9183 | 1199600.2672
5 | 2597094.9333 | 1199589.4946 | 2597081.3081 | 1199588.61
6 | 2597029.4732 | 1199584.8787 | 2597041.9722 | 1199585.7946
7 | 2597108.1577 | 1199590.3532 | 2597094.9333 | 1199589.4946
8 | 2597029.4732 | 1199584.8787 | 2597028.1925 | 1199598.934
9 | 2597029.4732 | 1199584.8787 | 2597026.6246 | 1199584.6717
10 | 2597108.1577 | 1199590.3532 | 2597110.0679 | 1199558.4351
11 | 2597028.1925 | 1199598.934 | 2597026.9174 | 1199612.9264
12 | 2597026.6246 | 1199584.6717 | 2596997.9791 | 1199582.5897
13 | 2596982.6956 | 1199582.3742 | 2596987.097 | 1199581.7988 | 2596997.9791 | 1199582.5897
14 | 2596982.6956 | 1199582.3742 | 2596981.5474 | 1199582.5243 | 2596978.2515 | 1199583.7822 | 2596978.2515 | 1199583.7822
15 | 2596972.9207 | 1199595.28 | 2596973.2316 | 1199592.8007 | 2596974.3942 | 1199588.6535 | 2596976.0067 | 1199585.8289 | 2596978.2515 | 1199583.7822
16 | 2596972.9207 | 1199595.28 | 2596972.4916 | 1199600.0928
17 | 2596924.7124 | 1199345.8716 | 2596946.2912 | 1199321.2693
18 | 2596946.2912 | 1199321.2693 | 2596936.355 | 1199310.1953
19 | 2596924.7124 | 1199345.8716 | 2596914.7451 | 1199334.778
20 | 2596924.7124 | 1199345.8716 | 2596903.1869 | 1199370.3294
21 | 2596927.0284 | 1199299.8007 | 2596936.355 | 1199310.1953
22 | 2596775.2836 | 1199290.945 | 2596786.0816 | 1199280.8003
23 | 2596775.2836 | 1199290.945 | 2596809.5266 | 1199328.1017 | 2596821.6542 | 1199340.8686 | 2596841.1931 | 1199360.2239 | 2596849.8619 | 1199367.9557
24 | 2596786.0816 | 1199280.8003 | 2596795.3501 | 1199272.0906 | 2596800.3115 | 1199267.4298
25 | 2596849.8619 | 1199367.9557 | 2596854.9953 | 1199372.5341 | 2596860.5851 | 1199377.2848
26 | 2596972.2345 | 1199344.2014 | 2596986.1028 | 1199352.3319 | 2596993.8249 | 1199356.3301 | 2596999.2091 | 1199359.2955
27 | 2596972.2345 | 1199344.2014 | 2596966.0423 | 1199353.9543 | 2596960.4034 | 1199360.644
28 | 2596999.2091 | 1199359.2955 | 2596995.9243 | 1199367.4905 | 2596989.8281 | 1199375.7905
29 | 2596960.4034 | 1199360.644 | 2596958.0455 | 1199363.4413 | 2596949.4824 | 1199373.0899
30 | 2597012.5823 | 1199471.0597 | 2597017.4172 | 1199472.0911 | 2597024.7951 | 1199473.3769 | 2597032.8582 | 1199474.5178 | 2597040.685 | 1199475.1809 | 2597048.1918 | 1199475.5439 | 2597056.1248 | 1199475.4954 | 2597085.6793 | 1199474.9358 | 2597093.0184 | 1199474.7988 | 2597117.0455 | 1199473.9864 | 2597121.8494 | 1199473.8395 | 2597121.766 | 1199490.0371 | 2597120.0454 | 1199490.1158 | 2597116.2998 | 1199490.2622 | 2597116.9629 | 1199491.7515 | 2597118.2433 | 1199494.6413 | 2597112.1534 | 1199495.9562 | 2597105.7818 | 1199497.3489 | 2597104.8223 | 1199496.7825 | 2597103.6572 | 1199496.3161 | 2597102.7359 | 1199496.0609 | 2597101.1294 | 1199495.9727 | 2597056.5774 | 1199497.2291
31 | 2597012.5823 | 1199471.0597 | 2597008.5772 | 1199470.1168 | 2597003.803 | 1199468.8741 | 2596995.7316 | 1199466.3102 | 2596989.3825 | 1199463.95
32 | 2597056.5774 | 1199497.2291 | 2597009.5685 | 1199498.5495
33 | 2597056.5774 | 1199497.2291 | 2597101.1294 | 1199495.9727 | 2597102.7359 | 1199496.0609 | 2597103.6572 | 1199496.3161 | 2597104.8223 | 1199496.7825 | 2597105.7818 | 1199497.3489 | 2597112.1534 | 1199495.9562 | 2597112.8316 | 1199497.1231 | 2597113.4186 | 1199498.8571 | 2597113.7774 | 1199500.8357 | 2597113.8163 | 1199502.4255 | 2597112.7594 | 1199520.5023 | 2597112.3661 | 1199525.6609 | 2597110.0679 | 1199558.4351
34 | 2597056.5774 | 1199497.2291 | 2597054.1423 | 1199533.9933
35 | 2596932.7621 | 1199437.2163 | 2596939.1058 | 1199440.637 | 2596947.5056 | 1199444.9794 | 2596961.1749 | 1199451.5202 | 2596980.2812 | 1199460.3595 | 2596988.0864 | 1199463.4682 | 2596989.3825 | 1199463.95
36 | 2596878.5844 | 1199391.9652 | 2596879.0414 | 1199392.2874 | 2596879.7572 | 1199392.665 | 2596880.3892 | 1199392.7647 | 2596881.0211 | 1199392.731 | 2596881.8128 | 1199392.5638 | 2596882.4217 | 1199392.3745 | 2596883.2819 | 1199392.0183 | 2596883.9288 | 1199391.6289 | 2596884.5833 | 1199391.1616 | 2596885.5117 | 1199390.3718 | 2596886.8965 | 1199388.8814 | 2596903.1869 | 1199370.3294
37 | 2596878.5844 | 1199391.9652 | 2596879.0414 | 1199392.2874 | 2596879.7572 | 1199392.665 | 2596880.3892 | 1199392.7647 | 2596881.0211 | 1199392.731 | 2596881.8128 | 1199392.5638 | 2596882.4217 | 1199392.3745 | 2596883.2819 | 1199392.0183 | 2596883.9288 | 1199391.6289 | 2596884.5833 | 1199391.1616 | 2596885.5117 | 1199390.3718 | 2596888.1928 | 1199392.6827 | 2596890.0285 | 1199394.2715 | 2596891.4681 | 1199395.5047 | 2596894.7967 | 1199398.3711 | 2596894.546 | 1199399.3496 | 2596894.4248 | 1199400.5169 | 2596894.4556 | 1199401.284 | 2596894.6541 | 1199402.251 | 2596894.9591 | 1199403.1069 | 2596895.3478 | 1199403.9071 | 2596895.7211 | 1199404.4294
38 | 2596878.5844 | 1199391.9652 | 2596874.799 | 1199389.0323 | 2596871.4472 | 1199386.3168
39 | 2596903.1869 | 1199370.3294 | 2596893.2126 | 1199359.3923
40 | 2596895.7211 | 1199404.4294 | 2596896.3458 | 1199405.1517 | 2596897.0922 | 1199405.7627 | 2596916.2049 | 1199418.1162
41 | 2596895.7211 | 1199404.4294 | 2596893.1498 | 1199408.1328 | 2596913.7967 | 1199421.5401 | 2596929.3633 | 1199430.8925 | 2596934.6182 | 1199434.2471 | 2596932.7621 | 1199437.2163
42 | 2596895.7211 | 1199404.4294 | 2596895.3478 | 1199403.9071 | 2596894.9591 | 1199403.1069 | 2596894.6541 | 1199402.251 | 2596894.4556 | 1199401.284 | 2596894.4248 | 1199400.5169 | 2596894.546 | 1199399.3496 | 2596894.7967 | 1199398.3711 | 2596895.1539 | 1199397.337 | 2596895.6407 | 1199396.3585 | 2596911.6114 | 1199378.0068
43 | 2596871.4472 | 1199386.3168 | 2596866.4206 | 1199382.2443 | 2596860.5851 | 1199377.2848
44 | 2596893.2126 | 1199359.3923 | 2596883.7833 | 1199349.053
45 | 2596926.9592 | 1199477.5854 | 2596925.9312 | 1199448.2703 | 2596926.4335 | 1199447.8698 | 2596926.8595 | 1199447.3582 | 2596932.7621 | 1199437.2163
46 | 2596926.9592 | 1199477.5854 | 2596949.0637 | 1199476.849
47 | 2596955.0735 | 1199476.6488 | 2596949.0637 | 1199476.849
48 | 2597009.5685 | 1199498.5495 | 2596997.075 | 1199498.9004
49 | 2597110.0679 | 1199558.4351 | 2597069.9761 | 1199555.5791
50 | 2596911.6114 | 1199378.0068 | 2596919.638 | 1199381.8825 | 2596924.9213 | 1199386.2295
51 | 2596935.183 | 1199393.4027 | 2596929.7301 | 1199390.1482 | 2596929.5625 | 1199390.0483 | 2596924.9213 | 1199386.2295
52 | 2596937.3265 | 1199430.3547 | 2596932.6429 | 1199427.7557 | 2596922.339 | 1199421.9358 | 2596917.4573 | 1199418.9257 | 2596916.2049 | 1199418.1162
53 | 2596995.5657 | 1199425.0882 | 2596996.1293 | 1199425.4437 | 2596992.242 | 1199431.3822 | 2596994.5979 | 1199437.94 | 2596996.8309 | 1199442.3968 | 2596993.6332 | 1199457.0174 | 2596997.5624 | 1199458.3939 | 2597005.8774 | 1199460.991 | 2597008.8165 | 1199461.7788 | 2597013.8343 | 1199463.0325
54 | 2597013.8343 | 1199463.0325 | 2597014.1459 | 1199461.7983 | 2597014.389 | 1199460.8422 | 2597014.6779 | 1199460.0416 | 2597015.1494 | 1199459.0741 | 2597017.4781 | 1199455.3954
55 | 2596995.5657 | 1199425.0882 | 2597000.5704 | 1199417.2294
56 | 2596995.5657 | 1199425.0882 | 2596990.25 | 1199421.867 | 2596974.4496 | 1199416.5835 | 2596965.2188 | 1199410.0181
57 | 2596989.8281 | 1199375.7905 | 2596980.1914 | 1199388.9107
58 | 2596914.7451 | 1199334.778 | 2596905.4057 | 1199324.3832
59 | 2596917.6684 | 1199289.3688 | 2596927.0284 | 1199299.8007
60 | 2596935.183 | 1199393.4027 | 2596939.8245 | 1199388.3086 | 2596939.7841 | 1199384.0174 | 2596949.4824 | 1199373.0899
61 | 2596883.7833 | 1199349.053 | 2596874.3567 | 1199338.7165
62 | 2596961.0739 | 1199476.4489 | 2596955.0735 | 1199476.6488
63 | 2596937.3265 | 1199430.3547 | 2596943.5864 | 1199433.6754 | 2596948.9096 | 1199436.4519 | 2596950.1568 | 1199433.9387
64 | 2596967.1159 | 1199441.9564 | 2596950.1568 | 1199433.9387
65 | 2597000.5704 | 1199417.2294 | 2597009.2914 | 1199403.535
66 | 2596965.2188 | 1199410.0181 | 2596971.3508 | 1199401.7771 | 2596971.4189 | 1199400.8544
67 | 2596971.4189 | 1199400.8544 | 2596980.1914 | 1199388.9107
68 | 2597018.0299 | 1199389.813 | 2597009.2914 | 1199403.535
69 | 2596896.0565 | 1199313.9775 | 2596905.4057 | 1199324.3832
70 | 2596963.9134 | 1199476.3543 | 2596961.0739 | 1199476.4489

## bus_geodata
| x | y | coords
0 | 2597067.6299 | 1199587.6628
1 | 2597075.1918 | 1199588.2129
2 | 2597045.1416 | 1199586.0269
3 | 2597081.3081 | 1199588.61
4 | 2597041.9722 | 1199585.7946
5 | 2597043.9183 | 1199600.2672
6 | 2597094.9333 | 1199589.4946
7 | 2597029.4732 | 1199584.8787
8 | 2597108.1577 | 1199590.3532
9 | 2597028.1925 | 1199598.934
10 | 2597026.6246 | 1199584.6717
11 | 2596997.9791 | 1199582.5897
12 | 2596982.6956 | 1199582.3742
13 | 2596978.2515 | 1199583.7822
14 | 2597026.9174 | 1199612.9264
15 | 2596972.9207 | 1199595.28
16 | 2596972.4916 | 1199600.0928
17 | 2596946.2912 | 1199321.2693
18 | 2596924.7124 | 1199345.8716
19 | 2596936.355 | 1199310.1952
20 | 2596775.2836 | 1199290.945
21 | 2596786.0816 | 1199280.8003
22 | 2596849.8619 | 1199367.9557
23 | 2596972.2345 | 1199344.2014
24 | 2596999.2091 | 1199359.2955
25 | 2596960.4034 | 1199360.644
26 | 2597012.5823 | 1199471.0597
27 | 2597056.5774 | 1199497.2291
28 | 2596989.3825 | 1199463.95
29 | 2596878.5844 | 1199391.9652
30 | 2596903.1869 | 1199370.3294
31 | 2596895.7211 | 1199404.4294
32 | 2596871.4472 | 1199386.3168
33 | 2596893.2126 | 1199359.3923
34 | 2596926.9592 | 1199477.5854
35 | 2596932.7621 | 1199437.2163
36 | 2596949.0637 | 1199476.849
37 | 2597009.5685 | 1199498.5495
38 | 2597110.0679 | 1199558.4351
39 | 2597054.1423 | 1199533.9933
40 | 2596911.6114 | 1199378.0068
41 | 2596924.9213 | 1199386.2295
42 | 2596916.2049 | 1199418.1162
43 | 2597013.8343 | 1199463.0325
44 | 2596995.5657 | 1199425.0882
45 | 2597017.4781 | 1199455.3954
46 | 2597069.9761 | 1199555.5791
47 | 2596989.8281 | 1199375.7905
48 | 2596914.7451 | 1199334.778
49 | 2596927.0284 | 1199299.8007
50 | 2596800.3115 | 1199267.4298
51 | 2596860.5851 | 1199377.2848
52 | 2596949.4824 | 1199373.0899
53 | 2596883.7833 | 1199349.053
54 | 2596997.075 | 1199498.9004
55 | 2596955.0735 | 1199476.6488
56 | 2596935.183 | 1199393.4027
57 | 2596937.3265 | 1199430.3547
58 | 2596950.1568 | 1199433.9387
59 | 2596967.1159 | 1199441.9564
60 | 2597000.5704 | 1199417.2294
61 | 2596965.2188 | 1199410.0181
62 | 2596980.1914 | 1199388.9107
63 | 2597018.0299 | 1199389.813
64 | 2597009.2914 | 1199403.535
65 | 2596917.6684 | 1199289.3688
66 | 2596905.4057 | 1199324.3832
67 | 2596874.3567 | 1199338.7165
68 | 2596896.0565 | 1199313.9775
69 | 2596971.4189 | 1199400.8544
70 | 2596961.0739 | 1199476.4489
71 | 2596963.9134 | 1199476.3543
72 | 2596950.4915 | 1199433.3049

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1