## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-403_1_3_node_13 | 0.4 | n |  | TRUE
1 | bus_LV_351-403_1_3_node_25 | 0.4 | n |  | TRUE
2 | bus_LV_351-403_1_3_node_104 | 0.4 | n |  | TRUE
3 | bus_LV_351-403_1_3_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_351-403_1_3_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_351-403_1_3_node_158 | 0.4 | n |  | TRUE
6 | bus_LV_351-403_1_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_351-403_1_3_node_132 | 0.4 | n |  | TRUE
8 | bus_LV_351-403_1_3_node_128 | 0.4 | n |  | TRUE
9 | bus_LV_351-403_1_3_node_130 | 0.4 | n |  | TRUE
10 | bus_LV_351-403_1_3_node_152 | 0.4 | n |  | TRUE
11 | bus_LV_351-403_1_3_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_351-403_1_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_351-403_1_3_node_156 | 0.4 | n |  | TRUE
14 | bus_LV_351-403_1_3_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_351-403_1_3_node_111 | 0.4 | n |  | TRUE
16 | bus_LV_351-403_1_3_node_131 | 0.4 | n |  | TRUE
17 | bus_LV_351-403_1_3_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_351-403_1_3_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_351-403_1_3_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_351-403_1_3_node_157 | 0.4 | n |  | TRUE
21 | bus_LV_351-403_1_3_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_351-403_1_3_node_150 | 0.4 | n |  | TRUE
23 | bus_LV_351-403_1_3_node_160 | 0.4 | n |  | TRUE
24 | bus_LV_351-403_1_3_node_153 | 0.4 | n |  | TRUE
25 | bus_LV_351-403_1_3_node_147 | 0.4 | n |  | TRUE
26 | bus_LV_351-403_1_3_node_143 | 0.4 | n |  | TRUE
27 | bus_LV_351-403_1_3_node_105 | 0.4 | n |  | TRUE
28 | bus_LV_351-403_1_3_node_123 | 0.4 | n |  | TRUE
29 | bus_LV_351-403_1_3_node_133 | 0.4 | n |  | TRUE
30 | bus_LV_351-403_1_3_node_159 | 0.4 | n |  | TRUE
31 | bus_LV_351-403_1_3_node_162 | 0.4 | n |  | TRUE
32 | bus_LV_351-403_1_3_node_161 | 0.4 | n |  | TRUE
33 | bus_LV_351-403_1_3_node_127 | 0.4 | n |  | TRUE
34 | bus_LV_351-403_1_3_node_129 | 0.4 | n |  | TRUE
35 | bus_LV_351-403_1_3_node_155 | 0.4 | n |  | TRUE
36 | bus_LV_351-403_1_3_node_114 | 0.4 | n |  | TRUE
37 | bus_LV_351-403_1_3_node_118 | 0.4 | n |  | TRUE
38 | bus_LV_351-403_1_3_node_116 | 0.4 | n |  | TRUE
39 | bus_LV_351-403_1_3_node_115 | 0.4 | n |  | TRUE
40 | bus_LV_351-403_1_3_node_140 | 0.4 | n |  | TRUE
41 | bus_LV_351-403_1_3_node_112 | 0.4 | n |  | TRUE
42 | bus_LV_351-403_1_3_node_124 | 0.4 | n |  | TRUE
43 | bus_LV_351-403_1_3_node_90 | 0.4 | n |  | TRUE
44 | bus_LV_351-403_1_3_node_98 | 0.4 | n |  | TRUE
45 | bus_LV_351-403_1_3_node_97 | 0.4 | n |  | TRUE
46 | bus_LV_351-403_1_3_node_146 | 0.4 | n |  | TRUE
47 | bus_LV_351-403_1_3_node_148 | 0.4 | n |  | TRUE
48 | bus_LV_351-403_1_3_node_139 | 0.4 | n |  | TRUE
49 | bus_LV_351-403_1_3_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_351-403_1_3_node_125 | 0.4 | n |  | TRUE
51 | bus_LV_351-403_1_3_node_126 | 0.4 | n |  | TRUE
52 | bus_LV_351-403_1_3_node_149 | 0.4 | n |  | TRUE
53 | bus_LV_351-403_1_3_node_154 | 0.4 | n |  | TRUE
54 | bus_LV_351-403_1_3_node_96 | 0.4 | n |  | TRUE
55 | bus_LV_351-403_1_3_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_351-403_1_3_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_351-403_1_3_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_351-403_1_3_node_74 | 0.4 | n |  | TRUE
59 | bus_LV_351-403_1_3_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_351-403_1_3_node_102 | 0.4 | n |  | TRUE
61 | bus_LV_351-403_1_3_node_137 | 0.4 | n |  | TRUE
62 | bus_LV_351-403_1_3_node_87 | 0.4 | n |  | TRUE
63 | bus_LV_351-403_1_3_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_351-403_1_3_node_84 | 0.4 | n |  | TRUE
65 | bus_LV_351-403_1_3_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_351-403_1_3_node_89 | 0.4 | n |  | TRUE
67 | bus_LV_351-403_1_3_node_88 | 0.4 | n |  | TRUE
68 | bus_LV_351-403_1_3_node_109 | 0.4 | n |  | TRUE
69 | bus_LV_351-403_1_3_node_110 | 0.4 | n |  | TRUE
70 | bus_LV_351-403_1_3_node_106 | 0.4 | n |  | TRUE
71 | bus_LV_351-403_1_3_node_94 | 0.4 | n |  | TRUE
72 | bus_LV_351-403_1_3_node_99 | 0.4 | n |  | TRUE
73 | bus_LV_351-403_1_3_node_138 | 0.4 | n |  | TRUE
74 | bus_LV_351-403_1_3_node_107 | 0.4 | n |  | TRUE
75 | bus_LV_351-403_1_3_node_92 | 0.4 | n |  | TRUE
76 | bus_LV_351-403_1_3_node_100 | 0.4 | n |  | TRUE
77 | bus_LV_351-403_1_3_node_101 | 0.4 | n |  | TRUE
78 | bus_LV_351-403_1_3_node_91 | 0.4 | n |  | TRUE
79 | bus_LV_351-403_1_3_node_93 | 0.4 | n |  | TRUE
80 | bus_LV_351-403_1_3_node_108 | 0.4 | n |  | TRUE
81 | bus_LV_351-403_1_3_node_120 | 0.4 | n |  | TRUE
82 | bus_LV_351-403_1_3_node_122 | 0.4 | n |  | TRUE
83 | bus_LV_351-403_1_3_node_119 | 0.4 | n |  | TRUE
84 | bus_LV_351-403_1_3_node_144 | 0.4 | n |  | TRUE
85 | bus_LV_351-403_1_3_node_117 | 0.4 | n |  | TRUE
86 | bus_LV_351-403_1_3_node_113 | 0.4 | n |  | TRUE
87 | bus_LV_351-403_1_3_node_136 | 0.4 | n |  | TRUE
88 | bus_LV_351-403_1_3_node_141 | 0.4 | n |  | TRUE
89 | bus_LV_351-403_1_3_node_134 | 0.4 | n |  | TRUE
90 | bus_LV_351-403_1_3_node_145 | 0.4 | n |  | TRUE
91 | bus_LV_351-403_1_3_node_121 | 0.4 | n |  | TRUE
92 | bus_LV_351-403_1_3_node_135 | 0.4 | n |  | TRUE
93 | bus_LV_351-403_1_3_node_142 | 0.4 | n |  | TRUE
94 | bus_LV_351-403_1_3_node_151 | 0.4 | n |  | TRUE
95 | bus_MV_605_0_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-403_1_3_load_104 | 2 | 0.0047974 | 0.0012024 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-403_1_3_load_158 | 5 | 0.0016742 | 0.00041959 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-403_1_3_load_128 | 8 | 0.011343 | 0.0028429 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-403_1_3_load_130 | 9 | 0.0071583 | 0.001794 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-403_1_3_load_152 | 10 | 0.0032132 | 0.00080531 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-403_1_3_load_156 | 13 | 0.0030266 | 0.00075854 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-403_1_3_load_111 | 15 | 0.0064507 | 0.0016167 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-403_1_3_load_131 | 16 | 0.0027358 | 0.00068565 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-403_1_3_load_157 | 20 | 0.0027088 | 0.00067888 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-403_1_3_load_150 | 22 | 0.0059143 | 0.0014823 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-403_1_3_load_160 | 23 | 0.0076464 | 0.0019164 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-403_1_3_load_153 | 24 | 0.0028457 | 0.00071321 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-403_1_3_load_147 | 25 | 0.0043284 | 0.0010848 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-403_1_3_load_143 | 26 | 0.0036974 | 0.00092666 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-403_1_3_load_133 | 29 | 0.0083139 | 0.0020837 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-403_1_3_load_159 | 30 | 0.0017127 | 0.00042925 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-403_1_3_load_162 | 31 | 0.0063003 | 0.001579 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-403_1_3_load_161 | 32 | 0.0041462 | 0.0010391 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-403_1_3_load_127 | 33 | 0.0076704 | 0.0019224 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-403_1_3_load_129 | 34 | 0.0076867 | 0.0019265 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-403_1_3_load_155 | 35 | 0.0027983 | 0.00070132 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-403_1_3_load_116 | 38 | 0.0048216 | 0.0012084 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-403_1_3_load_140 | 40 | 0.0039164 | 0.00098155 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-403_1_3_load_112 | 41 | 0.0041558 | 0.0010415 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-403_1_3_load_124 | 42 | 0.002621 | 0.00065689 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-403_1_3_load_98 | 44 | 0.0038367 | 0.00096157 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-403_1_3_load_97 | 45 | 0.0024103 | 0.00060409 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-403_1_3_load_146 | 46 | 0.0021742 | 0.00054491 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-403_1_3_load_148 | 47 | 0.003357 | 0.00084135 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-403_1_3_load_139 | 48 | 0.0033022 | 0.00082762 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-403_1_3_load_125 | 50 | 0.003083 | 0.00077268 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-403_1_3_load_126 | 51 | 0.0026878 | 0.00067362 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-403_1_3_load_149 | 52 | 0.0051424 | 0.0012888 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-403_1_3_load_96 | 54 | 0.0033798 | 0.00084707 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-403_1_3_load_72 | 56 | 0.0022392 | 0.00056121 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-403_1_3_load_73 | 57 | 0.0022621 | 0.00056693 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-403_1_3_load_74 | 58 | 0.0012385 | 0.0003104 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-403_1_3_load_76 | 59 | 0.002012 | 0.00050426 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-403_1_3_load_102 | 60 | 0.0047079 | 0.0011799 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-403_1_3_load_137 | 61 | 0.0020357 | 0.0005102 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-403_1_3_load_87 | 62 | 0.0022723 | 0.00056949 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-403_1_3_load_84 | 64 | 0.0024276 | 0.00060841 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-403_1_3_load_85 | 65 | 0.0027868 | 0.00069845 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-403_1_3_load_109 | 68 | 0.0031234 | 0.00078279 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-403_1_3_load_110 | 69 | 0.0019566 | 0.00049038 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-403_1_3_load_106 | 70 | 0.003194 | 0.00080049 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-403_1_3_load_99 | 72 | 0.0032249 | 0.00080824 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-403_1_3_load_138 | 73 | 0.0015937 | 0.00039942 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-403_1_3_load_107 | 74 | 0.0031444 | 0.00078806 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-403_1_3_load_92 | 75 | 0.0027837 | 0.00069767 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-403_1_3_load_100 | 76 | 0.0028328 | 0.00070998 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-403_1_3_load_101 | 77 | 0.0027617 | 0.00069215 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-403_1_3_load_91 | 78 | 0.0016658 | 0.00041749 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-403_1_3_load_93 | 79 | 0.0027215 | 0.00068207 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-403_1_3_load_120 | 81 | 0.0048196 | 0.0012079 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-403_1_3_load_122 | 82 | 0.0031115 | 0.00077982 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-403_1_3_load_144 | 84 | 0.0033236 | 0.00083297 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-403_1_3_load_113 | 86 | 0.0041424 | 0.0010382 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-403_1_3_load_136 | 87 | 0.002907 | 0.00072857 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-403_1_3_load_141 | 88 | 0.0030188 | 0.00075658 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_351-403_1_3_load_134 | 89 | 0.0016889 | 0.00042329 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_351-403_1_3_load_145 | 90 | 0.0021369 | 0.00053556 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_351-403_1_3_load_121 | 91 | 0.0017897 | 0.00044855 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_351-403_1_3_load_135 | 92 | 0.0015299 | 0.00038342 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_351-403_1_3_load_142 | 93 | 0.0021126 | 0.00052946 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_351-403_1_3_load_151 | 94 | 0.005911 | 0.0014814 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 85 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-403_1_3_line_0 |  | 0 | 1 | 0.017918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-403_1_3_line_1 |  | 0 | 2 | 0.020832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-403_1_3_line_2 |  | 1 | 16 | 0.056854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-403_1_3_line_3 |  | 3 | 4 | 0.28715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-403_1_3_line_4 |  | 3 | 5 | 0.024078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-403_1_3_line_5 |  | 4 | 10 | 0.023673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-403_1_3_line_6 |  | 5 | 30 | 0.020749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-403_1_3_line_7 |  | 6 | 7 | 0.002209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-403_1_3_line_8 |  | 6 | 8 | 0.028366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-403_1_3_line_9 |  | 6 | 9 | 0.0622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-403_1_3_line_10 |  | 7 | 31 | 0.014447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-403_1_3_line_11 |  | 7 | 32 | 0.023174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-403_1_3_line_12 |  | 8 | 33 | 0.042078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-403_1_3_line_13 |  | 9 | 34 | 0.02198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-403_1_3_line_14 |  | 10 | 17 | 0.0019327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-403_1_3_line_15 |  | 11 | 12 | 0.021594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-403_1_3_line_16 |  | 11 | 13 | 0.017717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-403_1_3_line_17 |  | 12 | 14 | 0.01165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-403_1_3_line_18 |  | 12 | 15 | 0.0041985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-403_1_3_line_19 |  | 13 | 35 | 0.014277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-403_1_3_line_20 |  | 14 | 19 | 0.029602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-403_1_3_line_21 |  | 14 | 20 | 0.015464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-403_1_3_line_22 |  | 15 | 41 | 0.015844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-403_1_3_line_23 |  | 16 | 42 | 0.021042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-403_1_3_line_24 |  | 17 | 18 | 0.02903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-403_1_3_line_25 |  | 18 | 24 | 0.034232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-403_1_3_line_26 |  | 19 | 25 | 0.025214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-403_1_3_line_27 |  | 19 | 26 | 0.010446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-403_1_3_line_28 |  | 21 | 22 | 0.016914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-403_1_3_line_29 |  | 21 | 23 | 0.03025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-403_1_3_line_30 |  | 22 | 52 | 0.0069738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-403_1_3_line_31 |  | 23 | 32 | 0.015071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-403_1_3_line_32 |  | 24 | 53 | 0.014881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-403_1_3_line_33 |  | 25 | 47 | 0.018681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-403_1_3_line_34 |  | 26 | 39 | 0.019494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-403_1_3_line_35 |  | 27 | 28 | 0.036995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-403_1_3_line_36 |  | 27 | 29 | 0.022049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-403_1_3_line_37 |  | 28 | 80 | 0.005023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-403_1_3_line_38 |  | 28 | 81 | 0.022168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-403_1_3_line_39 |  | 28 | 82 | 0.011186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-403_1_3_line_40 |  | 31 | 86 | 0.014809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-403_1_3_line_41 |  | 35 | 53 | 0.025637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-403_1_3_line_42 |  | 36 | 37 | 0.003816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-403_1_3_line_43 |  | 36 | 38 | 0.012679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-403_1_3_line_44 |  | 37 | 87 | 0.011036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-403_1_3_line_45 |  | 37 | 39 | 0.027725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-403_1_3_line_46 |  | 38 | 85 | 0.014371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-403_1_3_line_47 |  | 39 | 40 | 0.011889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-403_1_3_line_48 |  | 40 | 88 | 0.018608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-403_1_3_line_49 |  | 41 | 86 | 0.014302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-403_1_3_line_50 |  | 42 | 80 | 0.031976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-403_1_3_line_51 |  | 43 | 44 | 0.020096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-403_1_3_line_52 |  | 43 | 45 | 0.042673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-403_1_3_line_53 |  | 44 | 77 | 0.0020148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-403_1_3_line_54 |  | 45 | 71 | 0.032306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-403_1_3_line_55 |  | 46 | 47 | 0.014879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-403_1_3_line_56 |  | 48 | 49 | 0.028712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-403_1_3_line_57 |  | 49 | 61 | 0.0018371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-403_1_3_line_58 |  | 49 | 55 | 0.00345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-403_1_3_line_59 |  | 50 | 51 | 0.026343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-403_1_3_line_60 |  | 51 | 68 | 0.029086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-403_1_3_line_61 |  | 52 | 94 | 0.0089242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-403_1_3_line_62 |  | 54 | 55 | 0.020394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-403_1_3_line_63 |  | 55 | 57 | 0.013924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-403_1_3_line_64 |  | 56 | 57 | 0.043705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-403_1_3_line_65 |  | 56 | 58 | 0.0087171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-403_1_3_line_66 |  | 58 | 59 | 0.010334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-403_1_3_line_67 |  | 59 | 60 | 0.046337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-403_1_3_line_68 |  | 61 | 73 | 0.02525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-403_1_3_line_69 |  | 62 | 63 | 0.016096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-403_1_3_line_70 |  | 63 | 66 | 0.025553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-403_1_3_line_71 |  | 63 | 64 | 0.021717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-403_1_3_line_72 |  | 64 | 65 | 0.045584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-403_1_3_line_73 |  | 66 | 71 | 0.025949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-403_1_3_line_74 |  | 66 | 72 | 0.022296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-403_1_3_line_75 |  | 66 | 67 | 0.0052503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_351-403_1_3_line_76 |  | 67 | 68 | 0.034454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_351-403_1_3_line_77 |  | 67 | 69 | 0.022989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_351-403_1_3_line_78 |  | 67 | 70 | 0.023364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_351-403_1_3_line_79 |  | 69 | 73 | 0.026319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_351-403_1_3_line_80 |  | 70 | 74 | 0.038323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_351-403_1_3_line_81 |  | 71 | 75 | 0.020561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_351-403_1_3_line_82 |  | 72 | 76 | 0.039524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_351-403_1_3_line_83 |  | 74 | 80 | 0.019959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_351-403_1_3_line_84 |  | 75 | 78 | 0.033324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_351-403_1_3_line_85 |  | 78 | 79 | 0.00017087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_351-403_1_3_line_86 |  | 81 | 85 | 0.0029643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_351-403_1_3_line_87 |  | 82 | 91 | 0.023981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_351-403_1_3_line_88 |  | 83 | 84 | 0.012368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_351-403_1_3_line_89 |  | 83 | 85 | 0.00376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_351-403_1_3_line_90 |  | 84 | 90 | 0.024435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_351-403_1_3_line_91 |  | 87 | 89 | 0.019248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_351-403_1_3_line_92 |  | 88 | 93 | 0.009936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_351-403_1_3_line_93 |  | 89 | 92 | 0.020684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-403_1_3_trafo_117 | 0.63 MVA 20/0.4 kV | 95 | 85 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2595718.4 | 1198790.3429 | 2595722.5401 | 1198777.1662 | 2595718.6027 | 1198776.0018
1 | 2595718.4 | 1198790.3429 | 2595737.583 | 1198798.4672
2 | 2595718.6027 | 1198776.0018 | 2595717.9057 | 1198780.7826 | 2595708.6593 | 1198808.2485 | 2595703.6622 | 1198825.8949 | 2595703.2073 | 1198830.5748
3 | 2595852.9094 | 1199078.2227 | 2595859.4758 | 1199072.1703 | 2595973.6112 | 1198968.3242 | 2595974.9199 | 1198966.9337 | 2595975.6045 | 1198965.9994 | 2595976.1596 | 1198965.0096 | 2595976.5549 | 1198964.0421 | 2595976.7674 | 1198963.097 | 2595976.8505 | 1198962.1409 | 2595976.8346 | 1198961.1515 | 2595976.5061 | 1198959.5398 | 2595975.9872 | 1198957.8948 | 2595975.2174 | 1198956.6613 | 2595974.2343 | 1198955.4169 | 2595953.8984 | 1198934.5642 | 2595919.5965 | 1198900.3696 | 2595918.8203 | 1198900.9927 | 2595907.7785 | 1198909.7051 | 2595894.6592 | 1198920.0642
4 | 2595852.9094 | 1199078.2227 | 2595835.1252 | 1199094.454
5 | 2595894.6592 | 1198920.0642 | 2595876.0787 | 1198934.7337
6 | 2595835.1252 | 1199094.454 | 2595819.7994 | 1199108.4416
7 | 2595808.5054 | 1198928.4185 | 2595810.2861 | 1198927.1054
8 | 2595810.2861 | 1198927.1054 | 2595807.6904 | 1198917.3131 | 2595805.2773 | 1198907.3984 | 2595803.8788 | 1198900.1956 | 2595803.789 | 1198899.5072
9 | 2595810.2861 | 1198927.1054 | 2595835.5513 | 1198908.5664 | 2595861.2637 | 1198891.4959
10 | 2595808.5054 | 1198928.4185 | 2595797.1145 | 1198937.3054
11 | 2595808.5054 | 1198928.4185 | 2595804.7449 | 1198918.9272 | 2595803.379 | 1198914.7593 | 2595801.6224 | 1198907.1787 | 2595801.4805 | 1198906.3936
12 | 2595803.5963 | 1198857.5422 | 2595802.7663 | 1198867.1565 | 2595802.4475 | 1198879.1075 | 2595802.7151 | 1198891.2694 | 2595803.789 | 1198899.5072
13 | 2595879.739 | 1198879.5901 | 2595876.3968 | 1198881.7009 | 2595866.2442 | 1198888.1893 | 2595861.2637 | 1198891.4959
14 | 2595874.5619 | 1198935.9312 | 2595876.0787 | 1198934.7337
15 | 2595759.9732 | 1198969.4864 | 2595762.5868 | 1198972.3972 | 2595765.3529 | 1198975.4857 | 2595765.5206 | 1198975.6635 | 2595774.3903 | 1198985.5624
16 | 2595774.3903 | 1198985.5624 | 2595777.7761 | 1198982.2248 | 2595778.5598 | 1198981.5017 | 2595787.3284 | 1198973.4624
17 | 2595756.8726 | 1198977.6152 | 2595762.5868 | 1198972.3972 | 2595759.9732 | 1198969.4864
18 | 2595759.9732 | 1198969.4864 | 2595763.1244 | 1198966.7121
19 | 2595797.8521 | 1198963.814 | 2595787.3284 | 1198973.4624
20 | 2595756.8726 | 1198977.6152 | 2595738.764 | 1198994.8931 | 2595737.6035 | 1198990.4694
21 | 2595756.8726 | 1198977.6152 | 2595767.2288 | 1198989.0989
22 | 2595763.1244 | 1198966.7121 | 2595775.0163 | 1198956.2426
23 | 2595703.2073 | 1198830.5748 | 2595702.3774 | 1198839.1141 | 2595702.2918 | 1198846.8738 | 2595702.2952 | 1198851.5763
24 | 2595874.5619 | 1198935.9312 | 2595860.5201 | 1198944.4235 | 2595858.4092 | 1198941.768 | 2595858.0053 | 1198941.3236 | 2595857.1366 | 1198940.357 | 2595852.2066 | 1198934.9354
25 | 2595852.2066 | 1198934.9354 | 2595851.6884 | 1198934.3688 | 2595850.7816 | 1198933.3689 | 2595842.0416 | 1198923.7588 | 2595827.8175 | 1198936.5418
26 | 2595737.6035 | 1198990.4694 | 2595720.0327 | 1199008.5533
27 | 2595737.6035 | 1198990.4694 | 2595736.2445 | 1198985.3454 | 2595734.9468 | 1198980.3672
28 | 2595799.6328 | 1198861.3222 | 2595782.8719 | 1198859.0535
29 | 2595799.6328 | 1198861.3222 | 2595799.1797 | 1198866.5142 | 2595798.4206 | 1198880.3889 | 2595799.0063 | 1198890.227 | 2595799.1796 | 1198891.5028
30 | 2595782.8719 | 1198859.0535 | 2595775.9611 | 1198858.1181
31 | 2595799.1796 | 1198891.5028 | 2595800.3611 | 1198900.1981 | 2595801.4805 | 1198906.3936
32 | 2595816.749 | 1198946.4889 | 2595827.8175 | 1198936.5418
33 | 2595707.6237 | 1199022.5153 | 2595719.2602 | 1199009.3484 | 2595720.0327 | 1199008.5533
34 | 2595730.0294 | 1198961.5038 | 2595734.9468 | 1198980.3672
35 | 2595706.4339 | 1198847.0264 | 2595706.5197 | 1198849.8056 | 2595706.8735 | 1198854.6524 | 2595707.4405 | 1198859.5769 | 2595708.9155 | 1198866.9909 | 2595712.6878 | 1198881.9739 | 2595713.0314 | 1198883.3188
36 | 2595706.4339 | 1198847.0264 | 2595728.3634 | 1198849.3188
37 | 2595709.1402 | 1198882.7658 | 2595712.6878 | 1198881.9739 | 2595713.0314 | 1198883.3188
38 | 2595713.0314 | 1198883.3188 | 2595718.8093 | 1198904.7207
39 | 2595713.0314 | 1198883.3188 | 2595724.0621 | 1198881.4635
40 | 2595797.1145 | 1198937.3054 | 2595791.9467 | 1198941.3372 | 2595785.7508 | 1198946.792
41 | 2595816.749 | 1198946.4889 | 2595797.8521 | 1198963.814
42 | 2595726.6134 | 1198933.7025 | 2595722.9214 | 1198934.7058
43 | 2595726.6134 | 1198933.7025 | 2595723.3175 | 1198921.4597
44 | 2595722.9214 | 1198934.7058 | 2595712.2508 | 1198937.5219
45 | 2595730.0294 | 1198961.5038 | 2595722.9214 | 1198934.7058
46 | 2595719.5819 | 1198907.5826 | 2595721.8647 | 1198916.0632 | 2595723.3175 | 1198921.4597
47 | 2595730.0294 | 1198961.5038 | 2595718.5385 | 1198964.5525
48 | 2595718.5385 | 1198964.5525 | 2595700.5529 | 1198969.3242
49 | 2595785.7508 | 1198946.792 | 2595775.0163 | 1198956.2426
50 | 2595709.1402 | 1198882.7658 | 2595707.6056 | 1198877.0416 | 2595705.0862 | 1198867.7496 | 2595703.1299 | 1198858.0459 | 2595702.2952 | 1198851.5763 | 2595702.2952 | 1198851.5763
51 | 2595618.4162 | 1198797.2981 | 2595598.367 | 1198795.9289
52 | 2595618.4162 | 1198797.2981 | 2595617.1432 | 1198826.0145 | 2595617.5477 | 1198839.9368
53 | 2595596.3569 | 1198795.7916 | 2595598.367 | 1198795.9289
54 | 2595619.8578 | 1198872.1371 | 2595618.6079 | 1198860.3317 | 2595617.9638 | 1198854.2623 | 2595617.5477 | 1198839.9368
55 | 2595697.7705 | 1199033.6644 | 2595707.6237 | 1199022.5153
56 | 2595648.5764 | 1198972.7363 | 2595656.0086 | 1199000.4693
57 | 2595648.5764 | 1198972.7363 | 2595648.104 | 1198970.9609
58 | 2595645.2116 | 1198973.5392 | 2595648.5764 | 1198972.7363
59 | 2595621.4041 | 1198809.7297 | 2595620.5543 | 1198825.9563 | 2595620.8572 | 1198836.0462
60 | 2595620.8572 | 1198836.0462 | 2595621.382 | 1198853.526 | 2595622.0036 | 1198860.1069 | 2595622.7409 | 1198865.0401
61 | 2595767.1176 | 1198856.921 | 2595775.9611 | 1198858.1181
62 | 2595645.2116 | 1198973.5392 | 2595650.3814 | 1198993.2672
63 | 2595645.2116 | 1198973.5392 | 2595631.7486 | 1198977.0908
64 | 2595591.9399 | 1198963.499 | 2595623.9121 | 1198979.158 | 2595631.7486 | 1198977.0908
65 | 2595591.9399 | 1198963.499 | 2595584.1113 | 1198959.6648
66 | 2595584.1113 | 1198959.6648 | 2595574.8307 | 1198955.1195
67 | 2595574.8307 | 1198955.1195 | 2595557.2124 | 1198946.4906 | 2595554.2434 | 1198947.0598 | 2595547.1504 | 1198961.2839 | 2595540.0745 | 1198957.9986
68 | 2595648.104 | 1198970.9609 | 2595641.611 | 1198946.56
69 | 2595631.6588 | 1198922.2551 | 2595635.7712 | 1198937.8167
70 | 2595625.4501 | 1198897.4687 | 2595626.0303 | 1198899.4916 | 2595631.6588 | 1198922.2551
71 | 2595631.6588 | 1198922.2551 | 2595628.1036 | 1198923.0582 | 2595622.7743 | 1198923.6847 | 2595610.0755 | 1198924.113
72 | 2595610.0755 | 1198924.113 | 2595564.5173 | 1198925.6492
73 | 2595619.8578 | 1198872.1371 | 2595621.7225 | 1198881.3295 | 2595623.2355 | 1198888.5767 | 2595625.4501 | 1198897.4687
74 | 2595625.4501 | 1198897.4687 | 2595603.1583 | 1198897.9034
75 | 2595625.4501 | 1198897.4687 | 2595626.0303 | 1198899.4916 | 2595629.1135 | 1198898.8667
76 | 2595629.1135 | 1198898.8667 | 2595627.8146 | 1198892.7311 | 2595626.4098 | 1198887.685 | 2595625.1487 | 1198881.1491 | 2595622.7409 | 1198865.0401
77 | 2595629.1135 | 1198898.8667 | 2595629.8547 | 1198902.3792 | 2595634.8432 | 1198921.1261
78 | 2595629.1135 | 1198898.8667 | 2595651.5492 | 1198895.0814 | 2595652.1467 | 1198894.9536
79 | 2595634.8432 | 1198921.1261 | 2595641.611 | 1198946.56
80 | 2595652.1467 | 1198894.9536 | 2595689.6221 | 1198886.9397
81 | 2595619.8578 | 1198872.1371 | 2595599.2971 | 1198872.2165
82 | 2595603.1583 | 1198897.9034 | 2595563.6417 | 1198898.6739
83 | 2595709.1402 | 1198882.7658 | 2595689.6221 | 1198886.9397
84 | 2595565.9731 | 1198872.345 | 2595599.2971 | 1198872.2165
85 | 2595565.9731 | 1198872.345 | 2595565.8022 | 1198872.3457
86 | 2595719.5819 | 1198907.5826 | 2595718.8093 | 1198904.7207
87 | 2595724.0621 | 1198881.4635 | 2595747.7112 | 1198877.4859
88 | 2595715.9355 | 1198908.5413 | 2595703.927 | 1198911.5015
89 | 2595719.5819 | 1198907.5826 | 2595715.9355 | 1198908.5413
90 | 2595680.2019 | 1198917.35 | 2595703.927 | 1198911.5015
91 | 2595693.6397 | 1198942.4336 | 2595712.2508 | 1198937.5219
92 | 2595690.9491 | 1198971.8722 | 2595700.5529 | 1198969.3242
93 | 2595693.6397 | 1198942.4336 | 2595673.6402 | 1198947.7117

## bus_geodata
| x | y | coords
0 | 2595718.4 | 1198790.3429
1 | 2595718.6027 | 1198776.0018
2 | 2595737.583 | 1198798.4672
3 | 2595852.9094 | 1199078.2227
4 | 2595894.6592 | 1198920.0642
5 | 2595835.1252 | 1199094.454
6 | 2595810.2861 | 1198927.1054
7 | 2595808.5054 | 1198928.4185
8 | 2595803.789 | 1198899.5072
9 | 2595861.2637 | 1198891.4959
10 | 2595876.0787 | 1198934.7337
11 | 2595774.3903 | 1198985.5624
12 | 2595759.9732 | 1198969.4864
13 | 2595787.3284 | 1198973.4624
14 | 2595756.8726 | 1198977.6152
15 | 2595763.1244 | 1198966.7121
16 | 2595703.2073 | 1198830.5748
17 | 2595874.5619 | 1198935.9312
18 | 2595852.2066 | 1198934.9354
19 | 2595737.6035 | 1198990.4694
20 | 2595767.2288 | 1198989.0989
21 | 2595799.6328 | 1198861.3222
22 | 2595782.8719 | 1198859.0535
23 | 2595799.1796 | 1198891.5028
24 | 2595827.8175 | 1198936.5418
25 | 2595720.0327 | 1199008.5533
26 | 2595734.9468 | 1198980.3672
27 | 2595706.4339 | 1198847.0264
28 | 2595713.0314 | 1198883.3188
29 | 2595728.3634 | 1198849.3188
30 | 2595819.7994 | 1199108.4416
31 | 2595797.1145 | 1198937.3054
32 | 2595801.4805 | 1198906.3936
33 | 2595803.5963 | 1198857.5422
34 | 2595879.739 | 1198879.5901
35 | 2595797.8521 | 1198963.814
36 | 2595726.6134 | 1198933.7025
37 | 2595722.9214 | 1198934.7058
38 | 2595723.3175 | 1198921.4597
39 | 2595730.0294 | 1198961.5038
40 | 2595718.5385 | 1198964.5525
41 | 2595775.0163 | 1198956.2426
42 | 2595702.2952 | 1198851.5763
43 | 2595618.4162 | 1198797.2982
44 | 2595598.367 | 1198795.9289
45 | 2595617.5477 | 1198839.9368
46 | 2595697.7705 | 1199033.6644
47 | 2595707.6237 | 1199022.5153
48 | 2595656.0086 | 1199000.4693
49 | 2595648.5764 | 1198972.7363
50 | 2595621.4041 | 1198809.7297
51 | 2595620.8572 | 1198836.0462
52 | 2595775.9611 | 1198858.1181
53 | 2595816.749 | 1198946.4889
54 | 2595650.3814 | 1198993.2672
55 | 2595645.2116 | 1198973.5392
56 | 2595591.9399 | 1198963.499
57 | 2595631.7486 | 1198977.0908
58 | 2595584.1113 | 1198959.6648
59 | 2595574.8307 | 1198955.1195
60 | 2595540.0745 | 1198957.9986
61 | 2595648.104 | 1198970.9609
62 | 2595635.7712 | 1198937.8167
63 | 2595631.6588 | 1198922.2551
64 | 2595610.0755 | 1198924.113
65 | 2595564.5173 | 1198925.6492
66 | 2595625.4501 | 1198897.4687
67 | 2595629.1135 | 1198898.8667
68 | 2595622.7409 | 1198865.0401
69 | 2595634.8432 | 1198921.1261
70 | 2595652.1467 | 1198894.9536
71 | 2595619.8578 | 1198872.1371
72 | 2595603.1583 | 1198897.9034
73 | 2595641.611 | 1198946.56
74 | 2595689.6221 | 1198886.9397
75 | 2595599.2971 | 1198872.2165
76 | 2595563.6417 | 1198898.6739
77 | 2595596.3569 | 1198795.7916
78 | 2595565.9731 | 1198872.345
79 | 2595565.8022 | 1198872.3457
80 | 2595709.1402 | 1198882.7658
81 | 2595718.8093 | 1198904.7207
82 | 2595724.0621 | 1198881.4635
83 | 2595715.9355 | 1198908.5413
84 | 2595703.927 | 1198911.5015
85 | 2595719.5819 | 1198907.5826
86 | 2595785.7508 | 1198946.792
87 | 2595712.2508 | 1198937.5219
88 | 2595700.5529 | 1198969.3242
89 | 2595693.6397 | 1198942.4336
90 | 2595680.2019 | 1198917.35
91 | 2595747.7112 | 1198877.4859
92 | 2595673.6402 | 1198947.7117
93 | 2595690.9491 | 1198971.8722
94 | 2595767.1176 | 1198856.921
95 | 2595715.9355 | 1198908.5413

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1