## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-404_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-404_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-404_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_351-404_0_5_node_33 | 0.4 | n |  | TRUE
4 | bus_LV_351-404_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-404_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_351-404_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_351-404_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_351-404_0_5_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_351-404_0_5_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_351-404_0_5_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_351-404_0_5_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_351-404_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_351-404_0_5_node_101 | 0.4 | n |  | TRUE
14 | bus_LV_351-404_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_351-404_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_351-404_0_5_node_62 | 0.4 | n |  | TRUE
17 | bus_LV_351-404_0_5_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_351-404_0_5_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_351-404_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_351-404_0_5_node_66 | 0.4 | n |  | TRUE
21 | bus_LV_351-404_0_5_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_351-404_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_351-404_0_5_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_351-404_0_5_node_99 | 0.4 | n |  | TRUE
25 | bus_LV_351-404_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_351-404_0_5_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_351-404_0_5_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_351-404_0_5_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_351-404_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_351-404_0_5_node_85 | 0.4 | n |  | TRUE
31 | bus_LV_351-404_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_351-404_0_5_node_96 | 0.4 | n |  | TRUE
33 | bus_LV_351-404_0_5_node_95 | 0.4 | n |  | TRUE
34 | bus_LV_351-404_0_5_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_351-404_0_5_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_351-404_0_5_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_351-404_0_5_node_86 | 0.4 | n |  | TRUE
38 | bus_LV_351-404_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_351-404_0_5_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_351-404_0_5_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_351-404_0_5_node_100 | 0.4 | n |  | TRUE
42 | bus_LV_351-404_0_5_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_351-404_0_5_node_79 | 0.4 | n |  | TRUE
44 | bus_LV_351-404_0_5_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_351-404_0_5_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_351-404_0_5_node_94 | 0.4 | n |  | TRUE
47 | bus_LV_351-404_0_5_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_351-404_0_5_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_351-404_0_5_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_351-404_0_5_node_91 | 0.4 | n |  | TRUE
51 | bus_LV_351-404_0_5_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_351-404_0_5_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_351-404_0_5_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_351-404_0_5_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_351-404_0_5_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_351-404_0_5_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_351-404_0_5_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_351-404_0_5_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_351-404_0_5_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_351-404_0_5_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_351-404_0_5_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_351-404_0_5_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_351-404_0_5_node_83 | 0.4 | n |  | TRUE
64 | bus_LV_351-404_0_5_node_98 | 0.4 | n |  | TRUE
65 | bus_LV_351-404_0_5_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_351-404_0_5_node_36 | 0.4 | n |  | TRUE
67 | bus_LV_351-404_0_5_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_351-404_0_5_node_97 | 0.4 | n |  | TRUE
69 | bus_LV_351-404_0_5_node_89 | 0.4 | n |  | TRUE
70 | bus_LV_351-404_0_5_node_93 | 0.4 | n |  | TRUE
71 | bus_LV_351-404_0_5_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_351-404_0_5_node_37 | 0.4 | n |  | TRUE
73 | bus_LV_351-404_0_5_node_92 | 0.4 | n |  | TRUE
74 | bus_LV_351-404_0_5_node_42 | 0.4 | n |  | TRUE
75 | bus_LV_351-404_0_5_node_39 | 0.4 | n |  | TRUE
76 | bus_LV_351-404_0_5_node_40 | 0.4 | n |  | TRUE
77 | bus_LV_351-404_0_5_node_41 | 0.4 | n |  | TRUE
78 | bus_LV_351-404_0_5_node_44 | 0.4 | n |  | TRUE
79 | bus_LV_351-404_0_5_node_45 | 0.4 | n |  | TRUE
80 | bus_LV_351-404_0_5_node_46 | 0.4 | n |  | TRUE
81 | bus_LV_351-404_0_5_node_47 | 0.4 | n |  | TRUE
82 | bus_LV_351-404_0_5_node_48 | 0.4 | n |  | TRUE
83 | bus_LV_351-404_0_5_node_49 | 0.4 | n |  | TRUE
84 | bus_LV_351-404_0_5_node_50 | 0.4 | n |  | TRUE
85 | bus_LV_351-404_0_5_node_53 | 0.4 | n |  | TRUE
86 | bus_LV_351-404_0_5_node_52 | 0.4 | n |  | TRUE
87 | bus_LV_351-404_0_5_node_55 | 0.4 | n |  | TRUE
88 | bus_LV_351-404_0_5_node_63 | 0.4 | n |  | TRUE
89 | bus_LV_351-404_0_5_node_59 | 0.4 | n |  | TRUE
90 | bus_LV_351-404_0_5_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_351-404_0_5_node_76 | 0.4 | n |  | TRUE
92 | bus_LV_351-404_0_5_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_351-404_0_5_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_351-404_0_5_node_84 | 0.4 | n |  | TRUE
95 | bus_LV_351-404_0_5_node_90 | 0.4 | n |  | TRUE
96 | bus_MV_607_0_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-404_0_5_load_0 | 0 | 0.0063118 | 0.0015819 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-404_0_5_load_3 | 2 | 0.0091022 | 0.0022812 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-404_0_5_load_32 | 8 | 0.0091631 | 0.0022965 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-404_0_5_load_71 | 10 | 0.0041548 | 0.0010413 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-404_0_5_load_80 | 11 | 0.0090033 | 0.0022564 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-404_0_5_load_101 | 13 | 0.01263 | 0.0031654 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-404_0_5_load_62 | 16 | 0.0031765 | 0.00079611 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-404_0_5_load_54 | 17 | 0.0014871 | 0.00037271 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-404_0_5_load_65 | 18 | 0.0041211 | 0.0010329 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-404_0_5_load_78 | 21 | 0.0051901 | 0.0013008 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-404_0_5_load_99 | 24 | 0.0023936 | 0.00059989 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-404_0_5_load_34 | 27 | 0.022167 | 0.0055555 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-404_0_5_load_85 | 30 | 0.011566 | 0.0028986 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-404_0_5_load_96 | 32 | 0.013088 | 0.00328 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-404_0_5_load_95 | 33 | 0.0091561 | 0.0022947 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-404_0_5_load_38 | 34 | 0.0022955 | 0.0005753 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-404_0_5_load_35 | 35 | 0.0077177 | 0.0019342 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-404_0_5_load_86 | 37 | 0.0057833 | 0.0014494 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-404_0_5_load_88 | 40 | 0.0076877 | 0.0019267 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-404_0_5_load_100 | 41 | 0.0067241 | 0.0016852 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-404_0_5_load_79 | 43 | 0.0058721 | 0.0014717 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-404_0_5_load_81 | 45 | 0.020468 | 0.0051297 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-404_0_5_load_64 | 48 | 0.048858 | 0.012245 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-404_0_5_load_58 | 49 | 0.0047727 | 0.0011962 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-404_0_5_load_91 | 50 | 0.0087294 | 0.0021878 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-404_0_5_load_72 | 52 | 0.0047509 | 0.0011907 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-404_0_5_load_61 | 53 | 0.0055687 | 0.0013956 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-404_0_5_load_77 | 55 | 0.0026535 | 0.00066503 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-404_0_5_load_73 | 59 | 0.0072405 | 0.0018146 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-404_0_5_load_60 | 60 | 0.0023425 | 0.00058708 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-404_0_5_load_56 | 61 | 0.0046965 | 0.001177 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-404_0_5_load_83 | 63 | 0.0085075 | 0.0021322 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-404_0_5_load_98 | 64 | 0.012879 | 0.0032277 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-404_0_5_load_36 | 66 | 0.0067651 | 0.0016955 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-404_0_5_load_87 | 67 | 0.0057665 | 0.0014452 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-404_0_5_load_97 | 68 | 0.008732 | 0.0021885 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-404_0_5_load_89 | 69 | 0.0057661 | 0.0014451 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-404_0_5_load_93 | 70 | 0.0086739 | 0.0021739 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-404_0_5_load_57 | 71 | 0.0043358 | 0.0010866 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-404_0_5_load_37 | 72 | 0.0053824 | 0.001349 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-404_0_5_load_92 | 73 | 0.0085309 | 0.002138 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-404_0_5_load_42 | 74 | 0.0024652 | 0.00061783 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-404_0_5_load_39 | 75 | 0.0024419 | 0.000612 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-404_0_5_load_41 | 77 | 0.0034704 | 0.00086977 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-404_0_5_load_44 | 78 | 0.0020379 | 0.00051073 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-404_0_5_load_45 | 79 | 0.00094497 | 0.00023683 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-404_0_5_load_47 | 81 | 0.0045656 | 0.0011442 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-404_0_5_load_48 | 82 | 0.0066329 | 0.0016624 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-404_0_5_load_49 | 83 | 0.0039919 | 0.0010005 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-404_0_5_load_53 | 85 | 0.0060605 | 0.0015189 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-404_0_5_load_52 | 86 | 0.007396 | 0.0018536 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-404_0_5_load_55 | 87 | 0.0039122 | 0.00098048 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-404_0_5_load_63 | 88 | 0.0028284 | 0.00070885 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-404_0_5_load_59 | 89 | 0.0024241 | 0.00060754 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-404_0_5_load_75 | 90 | 0.0025304 | 0.00063417 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-404_0_5_load_76 | 91 | 0.0010991 | 0.00027546 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-404_0_5_load_74 | 92 | 0.0052274 | 0.0013101 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-404_0_5_load_82 | 93 | 0.0042346 | 0.0010613 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-404_0_5_load_84 | 94 | 0.0023046 | 0.00057759 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-404_0_5_load_90 | 95 | 0.0020418 | 0.00051173 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-404_0_5_line_0 |  | 0 | 1 | 0.01209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-404_0_5_line_1 |  | 1 | 2 | 0.03449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-404_0_5_line_2 |  | 2 | 3 | 0.014171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-404_0_5_line_3 |  | 3 | 8 | 0.012259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-404_0_5_line_4 |  | 4 | 5 | 0.001537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-404_0_5_line_5 |  | 4 | 6 | 0.012467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-404_0_5_line_6 |  | 4 | 7 | 0.086257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-404_0_5_line_7 |  | 4 | 8 | 0.019193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-404_0_5_line_8 |  | 5 | 11 | 0.0063386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-404_0_5_line_9 |  | 6 | 9 | 0.027036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-404_0_5_line_10 |  | 6 | 10 | 0.0082066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-404_0_5_line_11 |  | 7 | 14 | 0.07258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-404_0_5_line_12 |  | 7 | 16 | 0.01342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-404_0_5_line_13 |  | 9 | 43 | 0.010627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-404_0_5_line_14 |  | 10 | 52 | 0.0051109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-404_0_5_line_15 |  | 11 | 51 | 0.027511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_351-404_0_5_line_16 |  | 12 | 13 | 0.015491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-404_0_5_line_17 |  | 12 | 14 | 0.003641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-404_0_5_line_18 |  | 12 | 15 | 0.088248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-404_0_5_line_19 |  | 14 | 17 | 0.012209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-404_0_5_line_20 |  | 15 | 18 | 0.017827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-404_0_5_line_21 |  | 16 | 53 | 0.012437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-404_0_5_line_22 |  | 18 | 20 | 0.0072512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-404_0_5_line_23 |  | 19 | 20 | 0.055271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-404_0_5_line_24 |  | 19 | 21 | 0.018065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-404_0_5_line_25 |  | 20 | 57 | 0.006069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-404_0_5_line_26 |  | 22 | 23 | 0.004688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-404_0_5_line_27 |  | 22 | 24 | 0.023543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-404_0_5_line_28 |  | 23 | 34 | 0.057106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-404_0_5_line_29 |  | 23 | 35 | 0.021858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-404_0_5_line_30 |  | 24 | 60 | 0.0068471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-404_0_5_line_31 |  | 25 | 26 | 0.077129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-404_0_5_line_32 |  | 25 | 27 | 0.015009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-404_0_5_line_33 |  | 26 | 38 | 0.002653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-404_0_5_line_34 |  | 28 | 29 | 0.0305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-404_0_5_line_35 |  | 28 | 30 | 0.018859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-404_0_5_line_36 |  | 29 | 36 | 0.030651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-404_0_5_line_37 |  | 29 | 37 | 0.017066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-404_0_5_line_38 |  | 30 | 63 | 0.0183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-404_0_5_line_39 |  | 31 | 32 | 0.012991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-404_0_5_line_40 |  | 31 | 33 | 0.011273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-404_0_5_line_41 |  | 32 | 64 | 0.016439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-404_0_5_line_42 |  | 33 | 46 | 0.029608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-404_0_5_line_43 |  | 34 | 65 | 0.0046979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-404_0_5_line_44 |  | 35 | 66 | 0.026327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-404_0_5_line_45 |  | 36 | 39 | 0.003544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-404_0_5_line_46 |  | 36 | 40 | 0.015862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-404_0_5_line_47 |  | 37 | 67 | 0.015017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-404_0_5_line_48 |  | 38 | 50 | 0.010832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-404_0_5_line_49 |  | 39 | 41 | 0.014031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-404_0_5_line_50 |  | 39 | 42 | 0.020468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-404_0_5_line_51 |  | 40 | 69 | 0.016074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-404_0_5_line_52 |  | 42 | 44 | 0.0091259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_351-404_0_5_line_53 |  | 42 | 47 | 0.014557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-404_0_5_line_54 |  | 44 | 45 | 0.029029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_351-404_0_5_line_55 |  | 44 | 46 | 0.044318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-404_0_5_line_56 |  | 45 | 51 | 0.026439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_351-404_0_5_line_57 |  | 46 | 70 | 0.012405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-404_0_5_line_58 |  | 47 | 48 | 0.015924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-404_0_5_line_59 |  | 47 | 49 | 0.009587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-404_0_5_line_60 |  | 49 | 71 | 0.020259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-404_0_5_line_61 |  | 50 | 73 | 0.016463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-404_0_5_line_62 |  | 53 | 81 | 0.0083339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-404_0_5_line_63 |  | 54 | 55 | 0.013878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-404_0_5_line_64 |  | 54 | 56 | 0.047208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-404_0_5_line_65 |  | 55 | 91 | 0.01648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-404_0_5_line_66 |  | 56 | 58 | 0.048589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-404_0_5_line_67 |  | 57 | 90 | 0.017215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-404_0_5_line_68 |  | 57 | 91 | 0.010179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-404_0_5_line_69 |  | 58 | 59 | 0.025492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-404_0_5_line_70 |  | 60 | 89 | 0.0069806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-404_0_5_line_71 |  | 61 | 62 | 0.014441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-404_0_5_line_72 |  | 62 | 87 | 0.011012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-404_0_5_line_73 |  | 62 | 84 | 0.009831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-404_0_5_line_74 |  | 63 | 93 | 0.023752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-404_0_5_line_75 |  | 64 | 68 | 0.016325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_351-404_0_5_line_76 |  | 65 | 74 | 0.015713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_351-404_0_5_line_77 |  | 66 | 72 | 0.013706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_351-404_0_5_line_78 |  | 69 | 95 | 0.011414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_351-404_0_5_line_79 |  | 70 | 73 | 0.016438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_351-404_0_5_line_80 |  | 71 | 89 | 0.023914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_351-404_0_5_line_81 |  | 74 | 77 | 0.00069445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_351-404_0_5_line_82 |  | 75 | 76 | 0.014384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_351-404_0_5_line_83 |  | 76 | 77 | 0.010318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_351-404_0_5_line_84 |  | 78 | 79 | 0.0075553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_351-404_0_5_line_85 |  | 78 | 80 | 0.0034583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_351-404_0_5_line_86 |  | 79 | 81 | 0.01343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_351-404_0_5_line_87 |  | 80 | 82 | 0.013954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_351-404_0_5_line_88 |  | 80 | 83 | 0.011199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_351-404_0_5_line_89 |  | 82 | 84 | 0.0050314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_351-404_0_5_line_90 |  | 83 | 85 | 0.0032333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_351-404_0_5_line_91 |  | 84 | 86 | 0.013417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_351-404_0_5_line_92 |  | 86 | 88 | 0.0032344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_351-404_0_5_line_93 |  | 90 | 92 | 0.019247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_351-404_0_5_line_94 |  | 93 | 94 | 0.0011156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-404_0_5_trafo_27 | 0.63 MVA 20/0.4 kV | 96 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2595877.0425 | 1198684.5506 | 2595878.9945 | 1198677.6011 | 2595880.3062 | 1198672.9094
1 | 2595877.0425 | 1198684.5506 | 2595886.882 | 1198687.2896 | 2595898.4502 | 1198690.2275 | 2595908.3198 | 1198692.4329 | 2595910.4997 | 1198692.8924
2 | 2595924.4109 | 1198695.579 | 2595921.9741 | 1198695.2027 | 2595915.9428 | 1198694.0396 | 2595910.4997 | 1198692.8924
3 | 2595924.4109 | 1198695.579 | 2595927.6169 | 1198696.077 | 2595935.0033 | 1198696.9168 | 2595936.5829 | 1198696.9823
4 | 2595955.7525 | 1198697.3805 | 2595957.2905 | 1198697.2794
5 | 2595954.1468 | 1198709.7437 | 2595954.3665 | 1198708.0649 | 2595954.5861 | 1198706.3861 | 2595954.7906 | 1198704.7517 | 2595954.9572 | 1198703.4732 | 2595955.1087 | 1198702.328 | 2595955.3889 | 1198700.1489 | 2595955.5783 | 1198698.6702 | 2595955.7525 | 1198697.3805
6 | 2595955.7525 | 1198697.3805 | 2595955.5783 | 1198698.6702 | 2595955.3889 | 1198700.1489 | 2595955.1087 | 1198702.328 | 2595954.9572 | 1198703.4732 | 2595960.7065 | 1198704.2919 | 2595992.531 | 1198710.9291 | 2596016.565 | 1198715.9488 | 2596024.7898 | 1198717.9999 | 2596027.7979 | 1198718.7316 | 2596029.3645 | 1198715.929 | 2596030.5661 | 1198713.7826
7 | 2595955.7525 | 1198697.3805 | 2595952.9278 | 1198697.627 | 2595942.3818 | 1198697.2229 | 2595936.5829 | 1198696.9823
8 | 2595957.2905 | 1198697.2794 | 2595962.3532 | 1198696.0863 | 2595963.4272 | 1198695.7124
9 | 2595927.3649 | 1198706.0492 | 2595940.2571 | 1198707.8634 | 2595948.2376 | 1198708.914 | 2595954.1468 | 1198709.7437
10 | 2595954.1468 | 1198709.7437 | 2595962.2136 | 1198711.2522
11 | 2596101.108 | 1198730.4998 | 2596053.0489 | 1198721.9496 | 2596037.7562 | 1198717.124 | 2596030.5661 | 1198713.7826
12 | 2596030.5661 | 1198713.7826 | 2596032.802 | 1198709.7901 | 2596040.8344 | 1198706.0889
13 | 2595927.3649 | 1198706.0492 | 2595923.7325 | 1198705.4625 | 2595916.9135 | 1198704.1346
14 | 2595967.2374 | 1198712.1916 | 2595962.2136 | 1198711.2522
15 | 2595987.8598 | 1198683.1953 | 2595983.3844 | 1198685.8553 | 2595972.2868 | 1198691.7883 | 2595967.8874 | 1198694.1593 | 2595963.4272 | 1198695.7124
16 | 2596106.4287 | 1198716.6221 | 2596103.8723 | 1198719.6143 | 2596104.7023 | 1198731.1422
17 | 2596104.7023 | 1198731.1422 | 2596101.108 | 1198730.4998
18 | 2596104.7023 | 1198731.1422 | 2596104.8406 | 1198733.032 | 2596104.9944 | 1198735.2219 | 2596109.3807 | 1198736.0306 | 2596113.4395 | 1198736.6393 | 2596117.7112 | 1198736.9589 | 2596121.7163 | 1198736.8784 | 2596127.3124 | 1198736.3856 | 2596130.0151 | 1198735.8946 | 2596130.3468 | 1198742.3312 | 2596130.7622 | 1198748.7677 | 2596128.7294 | 1198749.0358 | 2596092.2662 | 1198773.651
19 | 2596101.108 | 1198730.4998 | 2596100.0819 | 1198718.3341
20 | 2596092.2662 | 1198773.651 | 2596090.9952 | 1198774.5745 | 2596076.8208 | 1198782.5332
21 | 2596052.1297 | 1198700.8842 | 2596040.8344 | 1198706.0889
22 | 2596070.498 | 1198786.0833 | 2596076.8208 | 1198782.5332
23 | 2596108.6214 | 1198796.5301 | 2596097.5087 | 1198802.5629 | 2596084.1204 | 1198809.8424 | 2596073.6692 | 1198791.6063 | 2596070.498 | 1198786.0833
24 | 2596108.6214 | 1198796.5301 | 2596117.2311 | 1198812.4116
25 | 2596070.498 | 1198786.0833 | 2596068.892 | 1198786.9292 | 2596065.1243 | 1198788.9328
26 | 2596109.1743 | 1198597.2343 | 2596106.7807 | 1198593.2004
27 | 2596109.1743 | 1198597.2343 | 2596099.3792 | 1198604.0667 | 2596090.2689 | 1198611.2484
28 | 2596106.7807 | 1198593.2004 | 2596077.9018 | 1198543.9345
29 | 2596106.7807 | 1198593.2004 | 2596097.2139 | 1198599.9214 | 2596089.0776 | 1198606.0167
30 | 2596090.2689 | 1198611.2484 | 2596084.8917 | 1198615.4873
31 | 2595901.5097 | 1198590.1052 | 2595904.5887 | 1198594.0718 | 2595910.3435 | 1198602.6168 | 2595922.5465 | 1198620.4734 | 2595928.1754 | 1198623.0709 | 2595931.71 | 1198625.3586 | 2595934.0568 | 1198627.6026 | 2595940.9837 | 1198635.4798 | 2595944.9154 | 1198639.4347 | 2595947.673 | 1198641.0893 | 2595949.6158 | 1198642.8667 | 2595952.9911 | 1198645.9993
32 | 2595901.5097 | 1198590.1052 | 2595899.8654 | 1198590.7734 | 2595897.2694 | 1198591.3977 | 2595894.7035 | 1198591.6663 | 2595891.8632 | 1198591.5127 | 2595889.2817 | 1198591.1365 | 2595886.8142 | 1198590.5713
33 | 2595954.7514 | 1198647.9881 | 2595952.9911 | 1198645.9993
34 | 2595999.8568 | 1198600.5985 | 2595979.1836 | 1198578.1228
35 | 2595979.1836 | 1198578.1228 | 2595994.0343 | 1198566.4986
36 | 2596019.2896 | 1198624.3424 | 2595999.8568 | 1198600.5985
37 | 2595999.8568 | 1198600.5985 | 2596013.0126 | 1198589.7275
38 | 2596008.4451 | 1198555.2188 | 2595994.0343 | 1198566.4986
39 | 2595972.1211 | 1198583.4972 | 2595962.8593 | 1198590.6407 | 2595961.8349 | 1198591.4312
40 | 2595972.1211 | 1198583.4972 | 2595972.8755 | 1198584.286 | 2595979.776 | 1198591.7729
41 | 2595948.8201 | 1198601.4747 | 2595961.8349 | 1198591.4312
42 | 2595999.3862 | 1198613.9393 | 2595993.0686 | 1198606.195 | 2595979.776 | 1198591.7729
43 | 2596075.526 | 1198539.8816 | 2596077.9018 | 1198543.9345
44 | 2596068.424 | 1198622.3292 | 2596078.4843 | 1198613.9525 | 2596089.0776 | 1198606.0167
45 | 2596019.2896 | 1198624.3424 | 2596021.5377 | 1198627.0868
46 | 2596019.2896 | 1198624.3424 | 2596031.3496 | 1198614.0385
47 | 2596013.0126 | 1198589.7275 | 2596024.589 | 1198580.1615
48 | 2595954.7514 | 1198647.9881 | 2595963.3631 | 1198641.4175
49 | 2596033.4695 | 1198627.2566 | 2596031.9681 | 1198625.1787 | 2596029.9877 | 1198624.1684 | 2596026.9421 | 1198624.3595 | 2596023.7979 | 1198625.1398 | 2596022.489 | 1198626.2524 | 2596021.5377 | 1198627.0868
50 | 2596021.5377 | 1198627.0868 | 2596034.5157 | 1198642.942
51 | 2596031.3496 | 1198614.0385 | 2596043.5703 | 1198603.5973
52 | 2596027.2477 | 1198648.461 | 2596030.9921 | 1198645.6236 | 2596034.5157 | 1198642.942
53 | 2596034.5157 | 1198642.942 | 2596030.9921 | 1198645.6236 | 2596037.4543 | 1198653.4234
54 | 2596027.2477 | 1198648.461 | 2596027.7587 | 1198649.6502 | 2596028.0869 | 1198650.8284 | 2596028.1411 | 1198652.1624 | 2596028.0125 | 1198653.3075 | 2596027.6782 | 1198654.4084 | 2596027.1155 | 1198655.5427 | 2596026.1719 | 1198656.4216 | 2596009.7385 | 1198668.3693
55 | 2595999.3862 | 1198613.9393 | 2596018.5599 | 1198637.461 | 2596027.2477 | 1198648.461
56 | 2595987.8598 | 1198683.1953 | 2595996.4983 | 1198677.7754 | 2596009.5505 | 1198668.506 | 2596009.7385 | 1198668.3693
57 | 2595999.3862 | 1198613.9393 | 2595993.7621 | 1198618.2232 | 2595989.5203 | 1198621.4597
58 | 2596037.4543 | 1198653.4234 | 2596025.1714 | 1198663.5585
59 | 2596037.4543 | 1198653.4234 | 2596044.9388 | 1198647.4323
60 | 2596060.755 | 1198634.7719 | 2596044.9388 | 1198647.4323
61 | 2595963.3631 | 1198641.4175 | 2595976.4515 | 1198631.4311
62 | 2596052.1297 | 1198700.8842 | 2596059.6988 | 1198697.3965
63 | 2596029.3279 | 1198807.956 | 2596041.5829 | 1198801.4434
64 | 2596004.6922 | 1198768.6295 | 2596006.4287 | 1198769.2286 | 2596007.9978 | 1198770.0836 | 2596009.2015 | 1198771.1278 | 2596010.6267 | 1198773.0834 | 2596020.5072 | 1198791.5088 | 2596029.3279 | 1198807.956
65 | 2596056.1359 | 1198793.7095 | 2596041.5829 | 1198801.4434
66 | 2596004.6922 | 1198768.6295 | 2596001.9513 | 1198768.8426 | 2596000.0179 | 1198769.6888 | 2595965.3175 | 1198788.0224 | 2595961.3519 | 1198790.1151
67 | 2596065.1243 | 1198788.9328 | 2596061.9148 | 1198782.9985 | 2596056.9397 | 1198773.7877
68 | 2596065.1243 | 1198788.9328 | 2596056.1359 | 1198793.7095
69 | 2595961.3519 | 1198790.1151 | 2595949.23 | 1198767.6892
70 | 2596084.8917 | 1198615.4873 | 2596081.9057 | 1198617.8412 | 2596079.4244 | 1198619.8274
71 | 2596108.0915 | 1198675.0988 | 2596121.2075 | 1198669.0559
72 | 2596108.0915 | 1198675.0988 | 2596112.5443 | 1198685.1708
73 | 2596099.1398 | 1198679.2181 | 2596108.0915 | 1198675.0988
74 | 2596027.1485 | 1198540.579 | 2596008.4451 | 1198555.2188
75 | 2595935.8959 | 1198611.4482 | 2595948.8201 | 1198601.4747
76 | 2596075.526 | 1198539.8816 | 2596062.1452 | 1198548.1182
77 | 2596068.424 | 1198622.3292 | 2596059.6036 | 1198629.6736 | 2596057.8622 | 1198631.0638
78 | 2596052.2484 | 1198596.1829 | 2596043.5703 | 1198603.5973
79 | 2595976.4515 | 1198631.4311 | 2595989.5203 | 1198621.4597
80 | 2596060.755 | 1198634.7719 | 2596079.4244 | 1198619.8274
81 | 2596061.5538 | 1198548.4822 | 2596062.1452 | 1198548.1182
82 | 2596052.7758 | 1198553.9044 | 2596046.5207 | 1198559.8228 | 2596043.6429 | 1198564.8274
83 | 2596052.7758 | 1198553.9044 | 2596053.6131 | 1198553.3702 | 2596061.5538 | 1198548.4822
84 | 2596071.896 | 1198691.7763 | 2596078.7579 | 1198688.6144
85 | 2596081.8988 | 1198687.1672 | 2596078.7579 | 1198688.6144
86 | 2596071.896 | 1198691.7763 | 2596059.6988 | 1198697.3965
87 | 2596081.8988 | 1198687.1672 | 2596094.5707 | 1198681.3247
88 | 2596081.8988 | 1198687.1672 | 2596077.1273 | 1198677.0357
89 | 2596099.1398 | 1198679.2181 | 2596094.5707 | 1198681.3247
90 | 2596077.1273 | 1198677.0357 | 2596075.7497 | 1198674.1105
91 | 2596099.1398 | 1198679.2181 | 2596093.5303 | 1198667.0306
92 | 2596092.1779 | 1198664.0924 | 2596093.5303 | 1198667.0306
93 | 2596047.7927 | 1198756.8529 | 2596056.9397 | 1198773.7877
94 | 2596028.027 | 1198539.8913 | 2596027.1485 | 1198540.579

## bus_geodata
| x | y | coords
0 | 2595880.3062 | 1198672.9094
1 | 2595877.0425 | 1198684.5506
2 | 2595910.4997 | 1198692.8924
3 | 2595924.4109 | 1198695.579
4 | 2595955.7525 | 1198697.3805
5 | 2595957.2905 | 1198697.2794
6 | 2595954.1468 | 1198709.7437
7 | 2596030.5661 | 1198713.7826
8 | 2595936.5829 | 1198696.9823
9 | 2595927.3649 | 1198706.0492
10 | 2595962.2136 | 1198711.2522
11 | 2595963.4272 | 1198695.7124
12 | 2596104.7023 | 1198731.1422
13 | 2596106.4287 | 1198716.6221
14 | 2596101.108 | 1198730.4998
15 | 2596092.2662 | 1198773.651
16 | 2596040.8344 | 1198706.0889
17 | 2596100.0819 | 1198718.3341
18 | 2596076.8208 | 1198782.5332
19 | 2596108.6214 | 1198796.5301
20 | 2596070.498 | 1198786.0833
21 | 2596117.2311 | 1198812.4116
22 | 2596109.1743 | 1198597.2343
23 | 2596106.7807 | 1198593.2004
24 | 2596090.2689 | 1198611.2484
25 | 2595901.5097 | 1198590.1052
26 | 2595952.9911 | 1198645.9993
27 | 2595886.8142 | 1198590.5713
28 | 2595979.1836 | 1198578.1228
29 | 2595999.8568 | 1198600.5985
30 | 2595994.0343 | 1198566.4986
31 | 2595972.1211 | 1198583.4972
32 | 2595961.8349 | 1198591.4312
33 | 2595979.776 | 1198591.7729
34 | 2596077.9018 | 1198543.9345
35 | 2596089.0776 | 1198606.0167
36 | 2596019.2896 | 1198624.3424
37 | 2596013.0126 | 1198589.7275
38 | 2595954.7514 | 1198647.9881
39 | 2596021.5377 | 1198627.0868
40 | 2596031.3496 | 1198614.0386
41 | 2596033.4695 | 1198627.2566
42 | 2596034.5157 | 1198642.942
43 | 2595916.9135 | 1198704.1346
44 | 2596027.2477 | 1198648.461
45 | 2596009.7385 | 1198668.3693
46 | 2595999.3862 | 1198613.9393
47 | 2596037.4543 | 1198653.4234
48 | 2596025.1714 | 1198663.5585
49 | 2596044.9388 | 1198647.4323
50 | 2595963.3631 | 1198641.4175
51 | 2595987.8598 | 1198683.1953
52 | 2595967.2374 | 1198712.1916
53 | 2596052.1297 | 1198700.8842
54 | 2596029.3279 | 1198807.956
55 | 2596041.5829 | 1198801.4434
56 | 2596004.6922 | 1198768.6295
57 | 2596065.1243 | 1198788.9328
58 | 2595961.3519 | 1198790.1151
59 | 2595949.23 | 1198767.6892
60 | 2596084.8917 | 1198615.4873
61 | 2596121.2075 | 1198669.0559
62 | 2596108.0915 | 1198675.0988
63 | 2596008.4451 | 1198555.2188
64 | 2595948.8201 | 1198601.4747
65 | 2596075.526 | 1198539.8816
66 | 2596068.424 | 1198622.3292
67 | 2596024.589 | 1198580.1615
68 | 2595935.8959 | 1198611.4482
69 | 2596043.5703 | 1198603.5973
70 | 2595989.5203 | 1198621.4597
71 | 2596060.755 | 1198634.7719
72 | 2596057.8622 | 1198631.0638
73 | 2595976.4515 | 1198631.4311
74 | 2596062.1452 | 1198548.1182
75 | 2596043.6429 | 1198564.8274
76 | 2596052.7758 | 1198553.9044
77 | 2596061.5538 | 1198548.4822
78 | 2596078.7579 | 1198688.6144
79 | 2596071.896 | 1198691.7763
80 | 2596081.8988 | 1198687.1672
81 | 2596059.6988 | 1198697.3965
82 | 2596094.5707 | 1198681.3247
83 | 2596077.1273 | 1198677.0357
84 | 2596099.1398 | 1198679.2181
85 | 2596075.7497 | 1198674.1105
86 | 2596093.5303 | 1198667.0306
87 | 2596112.5443 | 1198685.1708
88 | 2596092.1779 | 1198664.0924
89 | 2596079.4244 | 1198619.8274
90 | 2596056.9397 | 1198773.7877
91 | 2596056.1359 | 1198793.7095
92 | 2596047.7927 | 1198756.8529
93 | 2596027.1485 | 1198540.579
94 | 2596028.027 | 1198539.8913
95 | 2596052.2484 | 1198596.1829
96 | 2596030.9921 | 1198645.6236

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1