## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-408_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-408_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-408_0_5_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_351-408_0_5_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_351-408_0_5_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_351-408_0_5_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_351-408_0_5_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_351-408_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_351-408_0_5_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_351-408_0_5_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_351-408_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_351-408_0_5_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_351-408_0_5_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_351-408_0_5_node_86 | 0.4 | n |  | TRUE
14 | bus_LV_351-408_0_5_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_351-408_0_5_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_351-408_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_351-408_0_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_351-408_0_5_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_351-408_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_351-408_0_5_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_351-408_0_5_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_351-408_0_5_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_351-408_0_5_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_351-408_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_351-408_0_5_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_351-408_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_351-408_0_5_node_88 | 0.4 | n |  | TRUE
28 | bus_LV_351-408_0_5_node_89 | 0.4 | n |  | TRUE
29 | bus_LV_351-408_0_5_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_351-408_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_351-408_0_5_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_351-408_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_351-408_0_5_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_351-408_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_351-408_0_5_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_351-408_0_5_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_351-408_0_5_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_351-408_0_5_node_80 | 0.4 | n |  | TRUE
39 | bus_LV_351-408_0_5_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_351-408_0_5_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_351-408_0_5_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_351-408_0_5_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_351-408_0_5_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_351-408_0_5_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_351-408_0_5_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_351-408_0_5_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_351-408_0_5_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_351-408_0_5_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_351-408_0_5_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_351-408_0_5_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_351-408_0_5_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_351-408_0_5_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_351-408_0_5_node_74 | 0.4 | n |  | TRUE
54 | bus_LV_351-408_0_5_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_351-408_0_5_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_351-408_0_5_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_351-408_0_5_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_351-408_0_5_node_85 | 0.4 | n |  | TRUE
59 | bus_LV_351-408_0_5_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_351-408_0_5_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_351-408_0_5_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_351-408_0_5_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_351-408_0_5_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_351-408_0_5_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_351-408_0_5_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_351-408_0_5_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_351-408_0_5_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_351-408_0_5_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_351-408_0_5_node_84 | 0.4 | n |  | TRUE
70 | bus_LV_351-408_0_5_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_351-408_0_5_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_351-408_0_5_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_351-408_0_5_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_351-408_0_5_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_351-408_0_5_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_351-408_0_5_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_351-408_0_5_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_351-408_0_5_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_351-408_0_5_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_351-408_0_5_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_351-408_0_5_node_79 | 0.4 | n |  | TRUE
82 | bus_MV_607_0_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-408_0_5_load_0 | 0 | 0.077684 | 0.019469 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-408_0_5_load_42 | 8 | 0.010873 | 0.0027252 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-408_0_5_load_32 | 9 | 0.0046593 | 0.0011677 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-408_0_5_load_36 | 12 | 0.0065908 | 0.0016518 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-408_0_5_load_86 | 13 | 0.0093579 | 0.0023453 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-408_0_5_load_75 | 15 | 0.0070714 | 0.0017723 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-408_0_5_load_44 | 18 | 0.021308 | 0.0053402 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-408_0_5_load_43 | 20 | 0.012 | 0.0030074 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-408_0_5_load_41 | 22 | 0.015572 | 0.0039028 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-408_0_5_load_40 | 23 | 0.03711 | 0.0093006 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-408_0_5_load_34 | 25 | 0.018099 | 0.004536 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-408_0_5_load_88 | 27 | 0.0028739 | 0.00072027 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-408_0_5_load_89 | 28 | 0.0010878 | 0.00027263 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-408_0_5_load_63 | 31 | 0.011753 | 0.0029457 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-408_0_5_load_60 | 33 | 0.0035788 | 0.00089694 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-408_0_5_load_33 | 35 | 0.0047987 | 0.0012027 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-408_0_5_load_80 | 38 | 0.0018167 | 0.00045531 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-408_0_5_load_48 | 40 | 0.0094416 | 0.0023663 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-408_0_5_load_45 | 41 | 0.0065302 | 0.0016366 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-408_0_5_load_38 | 44 | 0.02141 | 0.0053659 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-408_0_5_load_69 | 45 | 0.00054738 | 0.00013719 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-408_0_5_load_68 | 46 | 0.0014683 | 0.000368 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-408_0_5_load_46 | 47 | 0.017778 | 0.0044557 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-408_0_5_load_47 | 48 | 0.0063153 | 0.0015828 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-408_0_5_load_59 | 50 | 0.012913 | 0.0032363 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-408_0_5_load_57 | 52 | 0.0052849 | 0.0013245 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-408_0_5_load_74 | 53 | 0.0064656 | 0.0016204 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-408_0_5_load_70 | 54 | 0.017896 | 0.0044852 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-408_0_5_load_52 | 56 | 0.0056622 | 0.0014191 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-408_0_5_load_85 | 58 | 0.009621 | 0.0024113 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-408_0_5_load_62 | 59 | 0.0058602 | 0.0014687 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-408_0_5_load_35 | 60 | 0.0015837 | 0.00039692 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-408_0_5_load_67 | 61 | 0.012954 | 0.0032465 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-408_0_5_load_61 | 62 | 0.00726 | 0.0018195 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-408_0_5_load_87 | 63 | 0.023155 | 0.0058031 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-408_0_5_load_53 | 64 | 0.010423 | 0.0026121 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-408_0_5_load_49 | 65 | 0.0059991 | 0.0015035 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-408_0_5_load_64 | 66 | 0.0054866 | 0.0013751 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-408_0_5_load_65 | 67 | 0.00568 | 0.0014235 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-408_0_5_load_58 | 68 | 0.0059765 | 0.0014978 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-408_0_5_load_84 | 69 | 0.0030142 | 0.00075543 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-408_0_5_load_51 | 71 | 0.0070335 | 0.0017628 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-408_0_5_load_76 | 72 | 0.0046019 | 0.0011534 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-408_0_5_load_50 | 73 | 0.0059785 | 0.0014983 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-408_0_5_load_54 | 74 | 0.0063391 | 0.0015887 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-408_0_5_load_56 | 76 | 0.0094215 | 0.0023612 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-408_0_5_load_66 | 77 | 0.0081285 | 0.0020372 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-408_0_5_load_72 | 78 | 0.0037696 | 0.00094476 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-408_0_5_load_73 | 79 | 0.0064433 | 0.0016149 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-408_0_5_load_78 | 80 | 0.0062271 | 0.0015607 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-408_0_5_load_79 | 81 | 0.0037403 | 0.00093741 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-408_0_5_line_0 |  | 0 | 1 | 0.019715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-408_0_5_line_1 |  | 1 | 2 | 0.034243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-408_0_5_line_2 |  | 2 | 9 | 0.038607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-408_0_5_line_3 |  | 2 | 6 | 0.012682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-408_0_5_line_4 |  | 3 | 4 | 0.036885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_351-408_0_5_line_5 |  | 3 | 5 | 0.037933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_351-408_0_5_line_6 |  | 4 | 14 | 0.023935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-408_0_5_line_7 |  | 4 | 15 | 0.004971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_351-408_0_5_line_8 |  | 5 | 34 | 0.041601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-408_0_5_line_9 |  | 5 | 35 | 0.01048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-408_0_5_line_10 |  | 5 | 24 | 0.023207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-408_0_5_line_11 |  | 6 | 7 | 0.065822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-408_0_5_line_12 |  | 6 | 8 | 0.039443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-408_0_5_line_13 |  | 7 | 13 | 0.015779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-408_0_5_line_14 |  | 9 | 35 | 0.024638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-408_0_5_line_15 |  | 10 | 11 | 0.006084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-408_0_5_line_16 |  | 10 | 12 | 0.03714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-408_0_5_line_17 |  | 11 | 57 | 0.010466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-408_0_5_line_18 |  | 12 | 34 | 0.013334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-408_0_5_line_19 |  | 13 | 58 | 0.015355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-408_0_5_line_20 |  | 14 | 46 | 0.010154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-408_0_5_line_21 |  | 14 | 19 | 0.063715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-408_0_5_line_22 |  | 15 | 59 | 0.011801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_351-408_0_5_line_23 |  | 16 | 17 | 0.070551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-408_0_5_line_24 |  | 16 | 18 | 0.025409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-408_0_5_line_25 |  | 17 | 23 | 0.019328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-408_0_5_line_26 |  | 18 | 19 | 0.032813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-408_0_5_line_27 |  | 19 | 20 | 0.012669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-408_0_5_line_28 |  | 21 | 22 | 0.022014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-408_0_5_line_29 |  | 21 | 23 | 0.019991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-408_0_5_line_30 |  | 24 | 25 | 0.020547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-408_0_5_line_31 |  | 25 | 60 | 0.013633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-408_0_5_line_32 |  | 26 | 27 | 0.022842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-408_0_5_line_33 |  | 26 | 28 | 0.027969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-408_0_5_line_34 |  | 26 | 29 | 0.065853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-408_0_5_line_35 |  | 29 | 45 | 0.017277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-408_0_5_line_36 |  | 29 | 46 | 0.0121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-408_0_5_line_37 |  | 30 | 31 | 0.019447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-408_0_5_line_38 |  | 30 | 32 | 0.016397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_351-408_0_5_line_39 |  | 30 | 33 | 0.011523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_351-408_0_5_line_40 |  | 31 | 61 | 0.014266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-408_0_5_line_41 |  | 32 | 47 | 0.014476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-408_0_5_line_42 |  | 32 | 48 | 0.011695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-408_0_5_line_43 |  | 32 | 41 | 0.03789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-408_0_5_line_44 |  | 33 | 62 | 0.022252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_351-408_0_5_line_45 |  | 36 | 37 | 0.056544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-408_0_5_line_46 |  | 36 | 38 | 0.0036925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-408_0_5_line_47 |  | 37 | 63 | 0.015271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-408_0_5_line_48 |  | 38 | 43 | 0.029699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-408_0_5_line_49 |  | 39 | 40 | 0.020312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-408_0_5_line_50 |  | 39 | 41 | 0.0072308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-408_0_5_line_51 |  | 40 | 64 | 0.02851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-408_0_5_line_52 |  | 42 | 43 | 0.039356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-408_0_5_line_53 |  | 42 | 44 | 0.0099456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-408_0_5_line_54 |  | 43 | 57 | 0.027201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-408_0_5_line_55 |  | 48 | 65 | 0.01127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-408_0_5_line_56 |  | 49 | 50 | 0.013553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-408_0_5_line_57 |  | 49 | 51 | 0.039959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-408_0_5_line_58 |  | 49 | 52 | 0.041209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-408_0_5_line_59 |  | 50 | 55 | 0.025936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-408_0_5_line_60 |  | 51 | 53 | 0.019519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-408_0_5_line_61 |  | 51 | 54 | 0.022843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-408_0_5_line_62 |  | 52 | 68 | 0.010392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-408_0_5_line_63 |  | 53 | 69 | 0.014691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-408_0_5_line_64 |  | 54 | 70 | 0.016026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-408_0_5_line_65 |  | 55 | 56 | 0.030559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-408_0_5_line_66 |  | 56 | 71 | 0.015576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-408_0_5_line_67 |  | 57 | 72 | 0.016549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-408_0_5_line_68 |  | 58 | 76 | 0.015435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-408_0_5_line_69 |  | 59 | 62 | 0.010862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_351-408_0_5_line_70 |  | 61 | 77 | 0.017691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-408_0_5_line_71 |  | 65 | 73 | 0.010886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-408_0_5_line_72 |  | 66 | 67 | 0.0064527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-408_0_5_line_73 |  | 67 | 77 | 0.019405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-408_0_5_line_74 |  | 68 | 73 | 0.010625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-408_0_5_line_75 |  | 70 | 78 | 0.0068314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_351-408_0_5_line_76 |  | 70 | 79 | 0.025523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_351-408_0_5_line_77 |  | 74 | 75 | 0.021972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_351-408_0_5_line_78 |  | 75 | 76 | 0.014349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_351-408_0_5_line_79 |  | 78 | 80 | 0.010119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_351-408_0_5_line_80 |  | 80 | 81 | 0.011425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-408_0_5_trafo_2 | 0.63 MVA 20/0.4 kV | 82 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2596590.4233 | 1198891.7807 | 2596574.1141 | 1198902.8565
1 | 2596590.4233 | 1198891.7807 | 2596611.4146 | 1198877.7166 | 2596610.0725 | 1198874.3155 | 2596608.0596 | 1198869.3918
2 | 2596608.0596 | 1198869.3918 | 2596606.728 | 1198870.949 | 2596605.0538 | 1198872.3952 | 2596576.5022 | 1198891.4856
3 | 2596608.0596 | 1198869.3918 | 2596612.8542 | 1198865.5426 | 2596617.9456 | 1198861.4485
4 | 2596516.5828 | 1198943.1962 | 2596525.5919 | 1198946.248 | 2596525.2135 | 1198937.4102 | 2596530.3864 | 1198929.6474 | 2596539.1213 | 1198932.5327
5 | 2596539.1213 | 1198932.5327 | 2596530.3864 | 1198929.6474 | 2596534.3274 | 1198924.4312 | 2596539.9899 | 1198920.6925 | 2596537.8104 | 1198917.3587 | 2596538.3127 | 1198917.0248 | 2596547.3089 | 1198911.0052
6 | 2596516.5828 | 1198943.1962 | 2596508.4018 | 1198937.1423 | 2596506.947 | 1198936.2427 | 2596505.6293 | 1198935.4764 | 2596504.0908 | 1198934.6657 | 2596502.7732 | 1198934.1218 | 2596501.0445 | 1198933.5336 | 2596498.9122 | 1198932.9012 | 2596497.1912 | 1198932.4909 | 2596495.6607 | 1198932.3251
7 | 2596516.5828 | 1198943.1962 | 2596518.2423 | 1198947.882
8 | 2596540.9072 | 1198888.219 | 2596534.8401 | 1198903.0639 | 2596534.7491 | 1198903.7754 | 2596534.8333 | 1198904.4757 | 2596535.6068 | 1198912.1238 | 2596536.3237 | 1198914.0133 | 2596538.3127 | 1198917.0248 | 2596547.3089 | 1198911.0052
9 | 2596547.3089 | 1198911.0052 | 2596556.0207 | 1198905.1802
10 | 2596531.2109 | 1198907.6018 | 2596537.8104 | 1198917.3587 | 2596538.3127 | 1198917.0248 | 2596547.3089 | 1198911.0052
11 | 2596617.9456 | 1198861.4485 | 2596620.103 | 1198865.9275 | 2596615.5063 | 1198869.7099 | 2596618.2878 | 1198873.7883 | 2596619.2708 | 1198875.2107 | 2596625.2903 | 1198882.8335 | 2596632.6577 | 1198890.7891 | 2596642.1728 | 1198899.8996 | 2596653.2185 | 1198909.2983
12 | 2596617.9456 | 1198861.4485 | 2596616.8872 | 1198861.3046 | 2596615.8895 | 1198860.8939 | 2596615.1735 | 1198860.4274 | 2596614.4574 | 1198859.7385 | 2596594.551 | 1198830.4079
13 | 2596653.2185 | 1198909.2983 | 2596650.8675 | 1198912.4235 | 2596645.9359 | 1198923.2189
14 | 2596576.5022 | 1198891.4856 | 2596556.0207 | 1198905.1802
15 | 2596545.1558 | 1198836.5444 | 2596548.3568 | 1198841.7231
16 | 2596548.3568 | 1198841.7231 | 2596553.7308 | 1198852.0143 | 2596554.1808 | 1198853.3703 | 2596554.0979 | 1198854.7822 | 2596547.934 | 1198873.5959 | 2596546.6824 | 1198876.2004
17 | 2596539.3259 | 1198827.8432 | 2596545.1558 | 1198836.5444
18 | 2596540.9072 | 1198888.219 | 2596546.6824 | 1198876.2004
19 | 2596645.9359 | 1198923.2189 | 2596639.5556 | 1198937.1855
20 | 2596495.6607 | 1198932.3251 | 2596496.5759 | 1198934.8481 | 2596497.2852 | 1198936.8043 | 2596492.2252 | 1198938.6607
21 | 2596478.5982 | 1198882.4309 | 2596479.1103 | 1198885.6323 | 2596480.165 | 1198892.224 | 2596481.876 | 1198901.2056 | 2596482.4334 | 1198903.9401 | 2596482.4807 | 1198906.6526 | 2596482.0255 | 1198909.3877 | 2596481.2275 | 1198911.6894 | 2596479.8965 | 1198914.0803 | 2596478.4205 | 1198915.9378 | 2596481.0967 | 1198922.1506 | 2596482.6903 | 1198926.0073 | 2596482.9801 | 1198926.7964 | 2596483.3081 | 1198927.6856 | 2596484.8029 | 1198931.7757 | 2596485.2071 | 1198932.9206 | 2596485.976 | 1198932.6978 | 2596488.7167 | 1198932.2292 | 2596492.9576 | 1198932.0932 | 2596495.3257 | 1198932.3142 | 2596495.6607 | 1198932.3251
22 | 2596518.2423 | 1198947.882 | 2596522.1822 | 1198959.0061
23 | 2596436.9493 | 1198844.5136 | 2596430.8864 | 1198841.1265 | 2596431.3123 | 1198840.3703 | 2596432.1109 | 1198838.9246 | 2596432.9019 | 1198837.5123 | 2596433.7462 | 1198835.9887 | 2596434.4231 | 1198834.7766 | 2596434.9935 | 1198833.7534 | 2596441.9628 | 1198837.7402 | 2596449.6634 | 1198842.2935 | 2596451.5676 | 1198843.2929 | 2596451.7621 | 1198837.7231 | 2596452.5065 | 1198834.6433 | 2596453.9287 | 1198832.0521 | 2596456.9499 | 1198829.3489 | 2596459.6137 | 1198827.5352 | 2596464.0974 | 1198825.7871 | 2596471.5422 | 1198835.5211
24 | 2596436.9493 | 1198844.5136 | 2596452.4723 | 1198853.6201 | 2596458.4284 | 1198858.0316
25 | 2596471.5422 | 1198835.5211 | 2596482.6078 | 1198851.3675
26 | 2596478.5982 | 1198882.4309 | 2596478.1843 | 1198877.8286 | 2596476.0197 | 1198874.1947 | 2596471.0444 | 1198868.6058 | 2596463.5252 | 1198861.8067 | 2596458.4284 | 1198858.0316
27 | 2596478.5982 | 1198882.4309 | 2596469.1035 | 1198890.8183
28 | 2596494.0535 | 1198867.7582 | 2596508.9404 | 1198857.3882 | 2596506.7113 | 1198854.2228
29 | 2596494.0535 | 1198867.7582 | 2596482.6078 | 1198851.3675
30 | 2596531.2109 | 1198907.6018 | 2596523.2673 | 1198891.1977 | 2596522.2556 | 1198889.1096
31 | 2596516.3148 | 1198876.8386 | 2596519.9664 | 1198884.3849 | 2596522.2556 | 1198889.1096
32 | 2596435.6362 | 1198951.3159 | 2596437.253 | 1198955.6061 | 2596434.3756 | 1198956.7307 | 2596438.5245 | 1198968.1565 | 2596441.2055 | 1198969.5668
33 | 2596461.9288 | 1198941.5725 | 2596435.6362 | 1198951.3159
34 | 2596435.6362 | 1198951.3159 | 2596433.4017 | 1198945.4697 | 2596468.4941 | 1198932.297 | 2596475.8551 | 1198929.5021 | 2596478.1277 | 1198935.4817 | 2596480.8655 | 1198942.8285
35 | 2596480.8655 | 1198942.8285 | 2596485.6624 | 1198955.7103 | 2596488.9898 | 1198954.5282
36 | 2596480.8655 | 1198942.8285 | 2596492.2252 | 1198938.6607
37 | 2596543.0815 | 1198998.4322 | 2596525.1879 | 1199006.0472
38 | 2596543.0815 | 1198998.4322 | 2596547.0244 | 1198996.6512 | 2596544.0589 | 1198990.3829 | 2596546.6163 | 1198988.9584 | 2596548.5496 | 1198987.89
39 | 2596543.0815 | 1198998.4322 | 2596541.397 | 1198995.3205 | 2596537.6371 | 1198988.277
40 | 2596512.0261 | 1199011.5487 | 2596517.9164 | 1199009.1418 | 2596525.1879 | 1199006.0472
41 | 2596548.5496 | 1198987.89 | 2596541.8649 | 1198975.0498
42 | 2596548.5496 | 1198987.89 | 2596551.774 | 1198994.0803 | 2596552.0561 | 1198994.7138 | 2596553.5468 | 1198998.4492
43 | 2596548.5496 | 1198987.89 | 2596551.3507 | 1198986.3987 | 2596581.676 | 1198969.4975
44 | 2596537.6371 | 1198988.277 | 2596531.4955 | 1198976.772 | 2596527.0226 | 1198968.7211
45 | 2596554.1411 | 1198786.1121 | 2596550.0726 | 1198781.7567 | 2596545.4785 | 1198777.068 | 2596541.6823 | 1198769.7107 | 2596539.4788 | 1198764.5315 | 2596538.09 | 1198759.5185 | 2596516.8924 | 1198772.7382
46 | 2596516.8924 | 1198772.7382 | 2596517.3133 | 1198776.4065
47 | 2596566.2455 | 1198795.4656 | 2596554.1411 | 1198786.1121
48 | 2596524.5486 | 1198804.9842 | 2596524.0576 | 1198798.77 | 2596520.0198 | 1198782.1413 | 2596518.4948 | 1198778.4625 | 2596517.3133 | 1198776.4065
49 | 2596587.992 | 1198965.9774 | 2596607.2876 | 1198972.3232
50 | 2596587.992 | 1198965.9774 | 2596581.676 | 1198969.4975
51 | 2596634.3707 | 1198981.2301 | 2596607.2876 | 1198972.3232
52 | 2596524.5486 | 1198804.9842 | 2596486.6597 | 1198816.0127
53 | 2596486.6597 | 1198816.0127 | 2596483.8672 | 1198806.4672
54 | 2596539.3259 | 1198827.8432 | 2596524.5486 | 1198804.9842
55 | 2596553.5468 | 1198998.4492 | 2596557.7244 | 1199008.9169
56 | 2596588.2766 | 1199075.2246 | 2596600.9032 | 1199070.299
57 | 2596565.6728 | 1199051.8475 | 2596566.7308 | 1199051.3911 | 2596569.4483 | 1199050.2333 | 2596572.5434 | 1199056.8462 | 2596576.957 | 1199065.8039 | 2596579.8078 | 1199071.2607 | 2596583.1918 | 1199077.2953 | 2596588.2766 | 1199075.2246
58 | 2596588.2766 | 1199075.2246 | 2596585.7237 | 1199071.2684 | 2596573.9696 | 1199048.074 | 2596570.0816 | 1199039.5606 | 2596569.6392 | 1199038.5111
59 | 2596625.0657 | 1199060.8733 | 2596600.9032 | 1199070.299
60 | 2596565.6728 | 1199051.8475 | 2596572.2977 | 1199066.2847 | 2596573.986 | 1199069.503
61 | 2596565.6728 | 1199051.8475 | 2596544.6926 | 1199060.8825
62 | 2596569.6392 | 1199038.5111 | 2596567.6875 | 1199033.8812 | 2596565.6978 | 1199028.8955
63 | 2596573.986 | 1199069.503 | 2596580.8109 | 1199082.5126
64 | 2596529.9731 | 1199067.2213 | 2596544.6926 | 1199060.8825
65 | 2596625.0657 | 1199060.8733 | 2596613.6506 | 1199032.5259
66 | 2596607.8325 | 1199018.0776 | 2596613.6506 | 1199032.5259
67 | 2596539.3259 | 1198827.8432 | 2596525.5269 | 1198836.9785
68 | 2596633.1421 | 1198951.2246 | 2596639.5556 | 1198937.1855
69 | 2596522.1822 | 1198959.0061 | 2596522.3104 | 1198959.3681 | 2596523.9038 | 1198962.8579 | 2596525.6113 | 1198966.1809 | 2596527.0226 | 1198968.7211
70 | 2596495.6496 | 1199018.2405 | 2596512.0261 | 1199011.5487
71 | 2596561.7595 | 1199019.0276 | 2596557.7244 | 1199008.9169
72 | 2596471.7136 | 1199028.0213 | 2596477.6869 | 1199025.5805
73 | 2596477.6869 | 1199025.5805 | 2596495.6496 | 1199018.2405
74 | 2596565.6978 | 1199028.8955 | 2596561.7595 | 1199019.0276
75 | 2596529.9731 | 1199067.2213 | 2596529.6154 | 1199067.3326 | 2596529.2347 | 1199067.344 | 2596528.9072 | 1199067.1774 | 2596525.9894 | 1199064.2443 | 2596525.4334 | 1199064.0334 | 2596524.8243 | 1199064.0115 | 2596524.478 | 1199064.1328
76 | 2596529.9731 | 1199067.2213 | 2596529.6003 | 1199067.5661 | 2596529.3645 | 1199068.0109 | 2596528.2094 | 1199071.7358 | 2596528.0953 | 1199071.8915 | 2596527.8974 | 1199071.9917 | 2596527.6995 | 1199072.0919 | 2596526.0402 | 1199072.9378 | 2596525.8653 | 1199073.3047 | 2596525.9493 | 1199073.6938 | 2596533.0651 | 1199089.4717
77 | 2596627.1799 | 1198964.276 | 2596606.486 | 1198956.8917
78 | 2596627.1799 | 1198964.276 | 2596633.1421 | 1198951.2246
79 | 2596515.1617 | 1199068.0804 | 2596524.2838 | 1199064.2008 | 2596524.478 | 1199064.1328
80 | 2596504.6376 | 1199072.5281 | 2596509.0753 | 1199070.6689 | 2596515.1617 | 1199068.0804

## bus_geodata
| x | y | coords
0 | 2596574.1141 | 1198902.8565
1 | 2596590.4233 | 1198891.7807
2 | 2596608.0596 | 1198869.3918
3 | 2596539.1213 | 1198932.5327
4 | 2596516.5828 | 1198943.1962
5 | 2596547.3089 | 1198911.0052
6 | 2596617.9456 | 1198861.4485
7 | 2596653.2185 | 1198909.2983
8 | 2596594.551 | 1198830.4079
9 | 2596576.5022 | 1198891.4856
10 | 2596548.3568 | 1198841.7231
11 | 2596545.1558 | 1198836.5444
12 | 2596546.6824 | 1198876.2004
13 | 2596645.9359 | 1198923.2189
14 | 2596495.6607 | 1198932.3251
15 | 2596518.2423 | 1198947.882
16 | 2596436.9493 | 1198844.5136
17 | 2596471.5422 | 1198835.5211
18 | 2596458.4284 | 1198858.0316
19 | 2596478.5982 | 1198882.4309
20 | 2596469.1035 | 1198890.8183
21 | 2596494.0535 | 1198867.7582
22 | 2596506.7113 | 1198854.2228
23 | 2596482.6078 | 1198851.3675
24 | 2596531.2109 | 1198907.6018
25 | 2596522.2556 | 1198889.1096
26 | 2596435.6362 | 1198951.3159
27 | 2596441.2055 | 1198969.5668
28 | 2596461.9288 | 1198941.5725
29 | 2596480.8655 | 1198942.8285
30 | 2596543.0815 | 1198998.4322
31 | 2596525.1879 | 1199006.0472
32 | 2596548.5496 | 1198987.89
33 | 2596537.6371 | 1198988.277
34 | 2596540.9072 | 1198888.219
35 | 2596556.0207 | 1198905.1802
36 | 2596516.8924 | 1198772.7382
37 | 2596554.1411 | 1198786.1121
38 | 2596517.3133 | 1198776.4065
39 | 2596587.992 | 1198965.9774
40 | 2596607.2876 | 1198972.3232
41 | 2596581.676 | 1198969.4975
42 | 2596486.6597 | 1198816.0127
43 | 2596524.5486 | 1198804.9842
44 | 2596483.8672 | 1198806.4672
45 | 2596488.9898 | 1198954.5282
46 | 2596492.2252 | 1198938.6607
47 | 2596541.8649 | 1198975.0498
48 | 2596553.5468 | 1198998.4492
49 | 2596588.2766 | 1199075.2246
50 | 2596600.9032 | 1199070.299
51 | 2596565.6728 | 1199051.8475
52 | 2596569.6392 | 1199038.5111
53 | 2596573.986 | 1199069.503
54 | 2596544.6926 | 1199060.8825
55 | 2596625.0657 | 1199060.8733
56 | 2596613.6506 | 1199032.5259
57 | 2596539.3259 | 1198827.8432
58 | 2596639.5556 | 1198937.1855
59 | 2596522.1822 | 1198959.0061
60 | 2596516.3148 | 1198876.8386
61 | 2596512.0261 | 1199011.5487
62 | 2596527.0226 | 1198968.7211
63 | 2596566.2455 | 1198795.4656
64 | 2596634.3707 | 1198981.2301
65 | 2596557.7244 | 1199008.9169
66 | 2596471.7136 | 1199028.0213
67 | 2596477.6869 | 1199025.5805
68 | 2596565.6978 | 1199028.8955
69 | 2596580.8109 | 1199082.5126
70 | 2596529.9731 | 1199067.2213
71 | 2596607.8325 | 1199018.0776
72 | 2596525.5269 | 1198836.9785
73 | 2596561.7595 | 1199019.0276
74 | 2596606.486 | 1198956.8917
75 | 2596627.1799 | 1198964.276
76 | 2596633.1421 | 1198951.2246
77 | 2596495.6496 | 1199018.2405
78 | 2596524.478 | 1199064.1328
79 | 2596533.0651 | 1199089.4717
80 | 2596515.1617 | 1199068.0804
81 | 2596504.6376 | 1199072.5281
82 | 2596541.5126 | 1198933.3206

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1