## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-446_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-446_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-446_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-446_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-446_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-446_0_2_node_50 | 0.4 | n |  | TRUE
6 | bus_LV_351-446_0_2_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_351-446_0_2_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_351-446_0_2_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_351-446_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_351-446_0_2_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_351-446_0_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_351-446_0_2_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_351-446_0_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_351-446_0_2_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_351-446_0_2_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_351-446_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_351-446_0_2_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_351-446_0_2_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_351-446_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_351-446_0_2_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_351-446_0_2_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_351-446_0_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_351-446_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_351-446_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_351-446_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_351-446_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_351-446_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_351-446_0_2_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_351-446_0_2_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_351-446_0_2_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_351-446_0_2_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_351-446_0_2_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_351-446_0_2_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_351-446_0_2_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_351-446_0_2_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_351-446_0_2_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_351-446_0_2_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_351-446_0_2_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_351-446_0_2_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_351-446_0_2_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_351-446_0_2_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_351-446_0_2_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_351-446_0_2_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_351-446_0_2_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_351-446_0_2_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_351-446_0_2_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_351-446_0_2_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_351-446_0_2_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_351-446_0_2_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_351-446_0_2_node_41 | 0.4 | n |  | TRUE
51 | bus_MV_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-446_0_2_load_0 | 0 | 0.0033815 | 0.00084748 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-446_0_2_load_1 | 1 | 0.0015466 | 0.00038762 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-446_0_2_load_3 | 3 | 0.00034429 | 8.6286e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-446_0_2_load_50 | 5 | 0.0085609 | 0.0021456 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-446_0_2_load_9 | 8 | 0.000338 | 8.471e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-446_0_2_load_14 | 10 | 0.00056053 | 0.00014048 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-446_0_2_load_11 | 11 | 0.00065081 | 0.00016311 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-446_0_2_load_22 | 12 | 0.0039479 | 0.00098943 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-446_0_2_load_12 | 13 | 0.00028469 | 7.135e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-446_0_2_load_6 | 14 | 0.00070894 | 0.00017768 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-446_0_2_load_7 | 15 | 0.0038432 | 0.0009632 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-446_0_2_load_13 | 16 | 0.00053359 | 0.00013373 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-446_0_2_load_8 | 17 | 0.0026429 | 0.00066237 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-446_0_2_load_10 | 19 | 0.0033703 | 0.00084467 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-446_0_2_load_43 | 20 | 0.0012245 | 0.00030689 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-446_0_2_load_42 | 21 | 0.00033637 | 8.4302e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-446_0_2_load_15 | 22 | 0.0001916 | 4.8019e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-446_0_2_load_16 | 23 | 0.00030498 | 7.6435e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-446_0_2_load_17 | 24 | 9.8229e-05 | 2.4619e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-446_0_2_load_18 | 25 | 0.00096479 | 0.0002418 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-446_0_2_load_20 | 26 | 0.0011335 | 0.00028408 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-446_0_2_load_19 | 27 | 0.0017536 | 0.0004395 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-446_0_2_load_21 | 28 | 0.00024026 | 6.0216e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-446_0_2_load_24 | 29 | 0.0016686 | 0.00041819 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-446_0_2_load_26 | 31 | 0.0028504 | 0.00071437 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-446_0_2_load_27 | 32 | 0.00052151 | 0.0001307 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-446_0_2_load_30 | 37 | 0.0005545 | 0.00013897 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-446_0_2_load_35 | 40 | 0.001519 | 0.0003807 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-446_0_2_load_36 | 41 | 0.00041492 | 0.00010399 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-446_0_2_load_48 | 42 | 0.0029878 | 0.00074881 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-446_0_2_load_47 | 43 | 0.00065523 | 0.00016422 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-446_0_2_load_40 | 44 | 0.00049381 | 0.00012376 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-446_0_2_load_49 | 45 | 0.00033653 | 8.4342e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-446_0_2_load_46 | 46 | 0.00053737 | 0.00013468 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-446_0_2_load_38 | 47 | 0.0012756 | 0.0003197 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-446_0_2_load_37 | 48 | 0.00074219 | 0.00018601 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-446_0_2_load_39 | 49 | 0.00066915 | 0.00016771 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-446_0_2_load_41 | 50 | 0.00030446 | 7.6304e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-446_0_2_line_0 |  | 0 | 1 | 0.052658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-446_0_2_line_1 |  | 0 | 2 | 0.0066261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-446_0_2_line_2 |  | 1 | 3 | 0.036283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-446_0_2_line_3 |  | 2 | 4 | 0.052639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-446_0_2_line_4 |  | 3 | 7 | 0.011956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-446_0_2_line_5 |  | 4 | 8 | 0.018169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-446_0_2_line_6 |  | 5 | 6 | 0.031693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-446_0_2_line_7 |  | 6 | 18 | 0.04775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-446_0_2_line_8 |  | 7 | 12 | 0.23692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-446_0_2_line_9 |  | 8 | 9 | 0.019728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-446_0_2_line_10 |  | 9 | 10 | 0.024339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-446_0_2_line_11 |  | 9 | 11 | 0.048598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-446_0_2_line_12 |  | 11 | 13 | 0.036064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-446_0_2_line_13 |  | 12 | 28 | 0.025846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-446_0_2_line_14 |  | 13 | 16 | 0.029928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-446_0_2_line_15 |  | 14 | 15 | 0.037175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-446_0_2_line_16 |  | 14 | 16 | 0.069892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-446_0_2_line_17 |  | 15 | 17 | 0.026478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-446_0_2_line_18 |  | 17 | 19 | 0.027836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-446_0_2_line_19 |  | 18 | 39 | 0.0297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-446_0_2_line_20 |  | 18 | 37 | 0.02473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-446_0_2_line_21 |  | 19 | 20 | 0.26785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-446_0_2_line_22 |  | 20 | 21 | 0.0088827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-446_0_2_line_23 |  | 21 | 34 | 0.0057597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-446_0_2_line_24 |  | 22 | 23 | 0.0040161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-446_0_2_line_25 |  | 22 | 24 | 0.0025974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-446_0_2_line_26 |  | 24 | 25 | 0.011199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-446_0_2_line_27 |  | 25 | 26 | 0.0053001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-446_0_2_line_28 |  | 26 | 27 | 0.030199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-446_0_2_line_29 |  | 27 | 28 | 0.053288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-446_0_2_line_30 |  | 29 | 30 | 0.010274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-446_0_2_line_31 |  | 29 | 31 | 0.011626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-446_0_2_line_32 |  | 30 | 32 | 0.0066237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-446_0_2_line_33 |  | 32 | 33 | 0.015864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-446_0_2_line_34 |  | 33 | 34 | 0.039824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-446_0_2_line_35 |  | 34 | 35 | 0.016456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-446_0_2_line_36 |  | 35 | 36 | 0.011477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-446_0_2_line_37 |  | 36 | 40 | 0.020923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-446_0_2_line_38 |  | 37 | 38 | 0.012307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-446_0_2_line_39 |  | 38 | 40 | 0.0090469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-446_0_2_line_40 |  | 38 | 41 | 0.0079648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-446_0_2_line_41 |  | 39 | 42 | 0.013779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-446_0_2_line_42 |  | 39 | 43 | 0.018878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-446_0_2_line_43 |  | 41 | 44 | 0.0036561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-446_0_2_line_44 |  | 42 | 45 | 0.018998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-446_0_2_line_45 |  | 43 | 46 | 0.0017401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-446_0_2_line_46 |  | 44 | 47 | 0.014851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-446_0_2_line_47 |  | 47 | 48 | 0.0071656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-446_0_2_line_48 |  | 48 | 49 | 0.0036477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-446_0_2_line_49 |  | 49 | 50 | 0.017493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-446_0_2_trafo_6 | 0.63 MVA 20/0.4 kV | 51 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2594081.5158 | 1198362.1396 | 2594086.1143 | 1198362.0712 | 2594105.0194 | 1198359.9401 | 2594119.5016 | 1198358.9251 | 2594134.0162 | 1198358.7165
1 | 2594074.8904 | 1198362.2381 | 2594081.5158 | 1198362.1396
2 | 2594170.2612 | 1198360.0676 | 2594164.2386 | 1198359.581 | 2594151.4987 | 1198359.0267 | 2594138.6218 | 1198358.6504 | 2594134.0162 | 1198358.7165
3 | 2594074.8904 | 1198362.2381 | 2594065.2563 | 1198360.7248 | 2594056.0097 | 1198358.3662 | 2594023.7599 | 1198349.3495
4 | 2594182.1198 | 1198361.5311 | 2594175.1132 | 1198360.4596 | 2594170.2612 | 1198360.0676
5 | 2594023.7599 | 1198349.3495 | 2594020.4705 | 1198367.2184
6 | 2593842.7814 | 1198050.4536 | 2593849.1321 | 1198050.1579 | 2593873.2471 | 1198042.3906
7 | 2593809.286 | 1198017.3709 | 2593812.2273 | 1198019.191 | 2593825.6241 | 1198028.1929 | 2593829.603 | 1198031.7573 | 2593842.7814 | 1198050.4536
8 | 2594182.1198 | 1198361.5311 | 2594410.0248 | 1198426.254
9 | 2594016.8988 | 1198386.6208 | 2594020.4705 | 1198367.2184
10 | 2594016.8988 | 1198386.6208 | 2594014.0175 | 1198391.2484 | 2594011.7776 | 1198397.5318 | 2594008.8394 | 1198409.3902
11 | 2594016.8988 | 1198386.6208 | 2594011.1967 | 1198387.9273 | 2593998.0613 | 1198387.785 | 2593968.6246 | 1198384.5693
12 | 2593932.7589 | 1198380.7956 | 2593964.3855 | 1198384.1063 | 2593968.6246 | 1198384.5693
13 | 2594435.0175 | 1198432.8297 | 2594427.1806 | 1198430.9427 | 2594410.0248 | 1198426.254
14 | 2593932.7589 | 1198380.7956 | 2593930.626 | 1198380.5723 | 2593920.6727 | 1198379.6154 | 2593916.9651 | 1198380.3307 | 2593914.4322 | 1198383.0903 | 2593913.0204 | 1198393.2547
15 | 2593870.6719 | 1198337.6532 | 2593865.8106 | 1198337.2717 | 2593853.0775 | 1198336.051 | 2593846.6954 | 1198335.1238 | 2593840.1226 | 1198333.8855 | 2593833.946 | 1198332.3293
16 | 2593913.0204 | 1198393.2547 | 2593870.6719 | 1198337.6532
17 | 2593833.946 | 1198332.3293 | 2593824.9196 | 1198330.0549 | 2593809.5337 | 1198326.1356 | 2593808.2856 | 1198325.8013
18 | 2593781.5088 | 1198318.2102 | 2593793.2031 | 1198321.7615 | 2593808.2856 | 1198325.8013
19 | 2593809.286 | 1198017.3709 | 2593810.7323 | 1198016.8358 | 2593814.82 | 1198015.2862 | 2593818.991 | 1198013.2697 | 2593823.4356 | 1198010.7637 | 2593827.5304 | 1198008.7028 | 2593831.4656 | 1198006.9977 | 2593836.4671 | 1198005.4028
20 | 2593809.286 | 1198017.3709 | 2593806.2105 | 1198018.3525 | 2593799.6633 | 1198020.0714 | 2593785.1418 | 1198022.5561
21 | 2593738.0927 | 1198053.8988 | 2593781.5088 | 1198318.2102
22 | 2593729.2818 | 1198054.1048 | 2593733.8745 | 1198054.3813 | 2593736.4712 | 1198054.3564 | 2593738.0927 | 1198053.8988
23 | 2593723.5326 | 1198053.7587 | 2593729.2818 | 1198054.1048
24 | 2594540.9781 | 1198441.1717 | 2594536.9621 | 1198441.1802
25 | 2594534.3647 | 1198441.1857 | 2594536.9621 | 1198441.1802
26 | 2594523.1653 | 1198441.2094 | 2594534.3647 | 1198441.1857
27 | 2594523.1653 | 1198441.2094 | 2594517.8652 | 1198441.2206
28 | 2594517.8652 | 1198441.2206 | 2594510.1285 | 1198441.237 | 2594487.7113 | 1198439.8086
29 | 2594435.0175 | 1198432.8297 | 2594448.8872 | 1198436.1694 | 2594463.8747 | 1198438.2898 | 2594487.7113 | 1198439.8086
30 | 2593696.7259 | 1198038.0121 | 2593703.9881 | 1198030.7447
31 | 2593712.2061 | 1198022.5207 | 2593703.9881 | 1198030.7447
32 | 2593696.7259 | 1198038.0121 | 2593696.809 | 1198044.5711 | 2593696.8107 | 1198044.6353
33 | 2593692.8346 | 1198059.45 | 2593694.8038 | 1198056.5463 | 2593696.3997 | 1198053.4652 | 2593696.9676 | 1198050.4741 | 2593696.8107 | 1198044.6353
34 | 2593723.5326 | 1198053.7587 | 2593718.6553 | 1198057.5548 | 2593712.5669 | 1198060.9519 | 2593702.0256 | 1198066.2104 | 2593697.4435 | 1198068.2053 | 2593692.8346 | 1198059.45
35 | 2593723.5326 | 1198053.7587 | 2593733.2854 | 1198044.6101 | 2593735.6134 | 1198042.551
36 | 2593735.6134 | 1198042.551 | 2593738.2919 | 1198040.636 | 2593740.7499 | 1198039.0436 | 2593745.3772 | 1198036.5041
37 | 2593745.3772 | 1198036.5041 | 2593761.9857 | 1198029.227 | 2593764.5995 | 1198028.2514
38 | 2593773.1758 | 1198025.391 | 2593777.5836 | 1198024.1079 | 2593784.4967 | 1198022.6665 | 2593785.1418 | 1198022.5561
39 | 2593773.1758 | 1198025.391 | 2593769.0345 | 1198026.596 | 2593764.5995 | 1198028.2514
40 | 2593773.1758 | 1198025.391 | 2593771.1315 | 1198017.693
41 | 2593836.4671 | 1198005.4028 | 2593847.7414 | 1198001.8002 | 2593849.5922 | 1198001.2083
42 | 2593836.4671 | 1198005.4028 | 2593835.164 | 1197997.1998 | 2593834.4605 | 1197994.4657 | 2593833.3767 | 1197992.1211 | 2593830.5811 | 1197987.7765
43 | 2593769.8287 | 1198014.2886 | 2593769.8287 | 1198014.2886 | 2593770.8057 | 1198016.4665 | 2593771.1315 | 1198017.693
44 | 2593849.5922 | 1198001.2083 | 2593853.9837 | 1197999.8037 | 2593867.5038 | 1197995.4763 | 2593867.6878 | 1197995.4243
45 | 2593829.6548 | 1197986.3036 | 2593830.074 | 1197986.9885 | 2593830.5811 | 1197987.7765
46 | 2593757.0352 | 1198006.9871 | 2593757.0352 | 1198006.9871 | 2593759.3519 | 1198008.5855 | 2593762.3461 | 1198010.0053 | 2593765.2258 | 1198011.1362 | 2593768.2965 | 1198012.8005 | 2593769.8287 | 1198014.2886
47 | 2593754.0873 | 1198000.5157 | 2593754.8224 | 1198002.8427 | 2593755.7462 | 1198005.1096 | 2593757.0352 | 1198006.9871
48 | 2593754.0873 | 1198000.5157 | 2593752.9885 | 1197997.0374
49 | 2593743.73 | 1197984 | 2593745.5805 | 1197984.0647 | 2593747.3251 | 1197984.741 | 2593748.2855 | 1197985.5627 | 2593749.4598 | 1197987.0511 | 2593750.0703 | 1197988.2177 | 2593750.6658 | 1197989.6846 | 2593752.9885 | 1197997.0374

## bus_geodata
| x | y | coords
0 | 2594081.5158 | 1198362.1396
1 | 2594134.0162 | 1198358.7165
2 | 2594074.8904 | 1198362.2381
3 | 2594170.2612 | 1198360.0676
4 | 2594023.7599 | 1198349.3495
5 | 2593873.2471 | 1198042.3906
6 | 2593842.7814 | 1198050.4536
7 | 2594182.1198 | 1198361.5311
8 | 2594020.4705 | 1198367.2184
9 | 2594016.8988 | 1198386.6208
10 | 2594008.8394 | 1198409.3902
11 | 2593968.6246 | 1198384.5693
12 | 2594410.0248 | 1198426.254
13 | 2593932.7589 | 1198380.7956
14 | 2593870.6719 | 1198337.6532
15 | 2593833.946 | 1198332.3293
16 | 2593913.0204 | 1198393.2547
17 | 2593808.2856 | 1198325.8013
18 | 2593809.286 | 1198017.3709
19 | 2593781.5088 | 1198318.2102
20 | 2593738.0927 | 1198053.8988
21 | 2593729.2818 | 1198054.1048
22 | 2594536.9621 | 1198441.1802
23 | 2594540.9781 | 1198441.1717
24 | 2594534.3647 | 1198441.1857
25 | 2594523.1653 | 1198441.2094
26 | 2594517.8652 | 1198441.2206
27 | 2594487.7113 | 1198439.8086
28 | 2594435.0175 | 1198432.8297
29 | 2593703.9881 | 1198030.7447
30 | 2593696.7259 | 1198038.0121
31 | 2593712.2061 | 1198022.5207
32 | 2593696.8107 | 1198044.6353
33 | 2593692.8346 | 1198059.45
34 | 2593723.5326 | 1198053.7587
35 | 2593735.6134 | 1198042.551
36 | 2593745.3772 | 1198036.5041
37 | 2593785.1418 | 1198022.5561
38 | 2593773.1758 | 1198025.391
39 | 2593836.4671 | 1198005.4028
40 | 2593764.5995 | 1198028.2514
41 | 2593771.1315 | 1198017.693
42 | 2593849.5922 | 1198001.2083
43 | 2593830.5811 | 1197987.7765
44 | 2593769.8287 | 1198014.2886
45 | 2593867.6878 | 1197995.4243
46 | 2593829.6548 | 1197986.3036
47 | 2593757.0352 | 1198006.9871
48 | 2593754.0873 | 1198000.5157
49 | 2593752.9885 | 1197997.0374
50 | 2593743.73 | 1197984
51 | 2593870.6719 | 1198337.6532

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1