## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-48_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-48_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-48_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_351-48_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_351-48_0_3_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_351-48_0_3_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_351-48_0_3_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_351-48_0_3_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_351-48_0_3_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_351-48_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_351-48_0_3_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_351-48_0_3_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_351-48_0_3_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_351-48_0_3_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_351-48_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_351-48_0_3_node_77 | 0.4 | n |  | TRUE
16 | bus_LV_351-48_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_351-48_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_351-48_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_351-48_0_3_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_351-48_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_351-48_0_3_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_351-48_0_3_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_351-48_0_3_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_351-48_0_3_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_351-48_0_3_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_351-48_0_3_node_67 | 0.4 | n |  | TRUE
27 | bus_LV_351-48_0_3_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_351-48_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_351-48_0_3_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_351-48_0_3_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_351-48_0_3_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_351-48_0_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_351-48_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_351-48_0_3_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_351-48_0_3_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_351-48_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_351-48_0_3_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_351-48_0_3_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_351-48_0_3_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_351-48_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_351-48_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_351-48_0_3_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_351-48_0_3_node_71 | 0.4 | n |  | TRUE
44 | bus_LV_351-48_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_351-48_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_351-48_0_3_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_351-48_0_3_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_351-48_0_3_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_351-48_0_3_node_70 | 0.4 | n |  | TRUE
50 | bus_LV_351-48_0_3_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_351-48_0_3_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_351-48_0_3_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_351-48_0_3_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_351-48_0_3_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_351-48_0_3_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_351-48_0_3_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_351-48_0_3_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_351-48_0_3_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_351-48_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_351-48_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_351-48_0_3_node_32 | 0.4 | n |  | TRUE
62 | bus_LV_351-48_0_3_node_33 | 0.4 | n |  | TRUE
63 | bus_LV_351-48_0_3_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_351-48_0_3_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_351-48_0_3_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_351-48_0_3_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_351-48_0_3_node_75 | 0.4 | n |  | TRUE
68 | bus_LV_351-48_0_3_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_351-48_0_3_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_351-48_0_3_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_351-48_0_3_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_351-48_0_3_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_351-48_0_3_node_81 | 0.4 | n |  | TRUE
74 | bus_MV_601_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-48_0_3_load_0 | 0 | 0.010124 | 0.0025374 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-48_0_3_load_30 | 5 | 0.0083689 | 0.0020974 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-48_0_3_load_31 | 6 | 0.006799 | 0.001704 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-48_0_3_load_37 | 7 | 0.0048326 | 0.0012112 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-48_0_3_load_35 | 8 | 0.0053147 | 0.001332 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-48_0_3_load_4 | 9 | 0.0064244 | 0.0016101 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-48_0_3_load_55 | 11 | 0.0051215 | 0.0012836 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-48_0_3_load_56 | 12 | 0.0029467 | 0.00073852 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-48_0_3_load_53 | 13 | 0.0055177 | 0.0013829 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-48_0_3_load_36 | 19 | 0.020268 | 0.0050797 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-48_0_3_load_61 | 21 | 0.0051359 | 0.0012872 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-48_0_3_load_62 | 22 | 0.0045203 | 0.0011329 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-48_0_3_load_68 | 24 | 0.0071921 | 0.0018025 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-48_0_3_load_67 | 26 | 0.0087917 | 0.0022034 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-48_0_3_load_39 | 29 | 0.0049627 | 0.0012438 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-48_0_3_load_51 | 31 | 0.01085 | 0.0027193 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-48_0_3_load_38 | 32 | 0.0091116 | 0.0022836 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-48_0_3_load_73 | 34 | 0.01577 | 0.0039524 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-48_0_3_load_72 | 35 | 0.0087367 | 0.0021896 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-48_0_3_load_42 | 37 | 0.012912 | 0.003236 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-48_0_3_load_40 | 38 | 0.0077804 | 0.00195 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-48_0_3_load_47 | 42 | 0.0083272 | 0.002087 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-48_0_3_load_71 | 43 | 0.0082752 | 0.002074 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-48_0_3_load_50 | 46 | 0.0063229 | 0.0015847 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-48_0_3_load_80 | 47 | 0.006688 | 0.0016762 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-48_0_3_load_69 | 48 | 0.0052433 | 0.0013141 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-48_0_3_load_70 | 49 | 0.0087618 | 0.0021959 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-48_0_3_load_76 | 50 | 0.0083533 | 0.0020935 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-48_0_3_load_79 | 51 | 0.0062033 | 0.0015547 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-48_0_3_load_60 | 52 | 0.014781 | 0.0037045 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-48_0_3_load_78 | 53 | 0.011048 | 0.0027688 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-48_0_3_load_34 | 54 | 0.017093 | 0.0042839 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-48_0_3_load_57 | 59 | 0.0089135 | 0.0022339 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-48_0_3_load_58 | 60 | 0.0054411 | 0.0013637 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-48_0_3_load_32 | 61 | 0.0098796 | 0.0024761 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-48_0_3_load_33 | 62 | 0.015139 | 0.0037941 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-48_0_3_load_74 | 63 | 0.0084688 | 0.0021225 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-48_0_3_load_45 | 65 | 0.0088837 | 0.0022265 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-48_0_3_load_49 | 66 | 0.010812 | 0.0027097 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-48_0_3_load_75 | 67 | 0.012582 | 0.0031532 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-48_0_3_load_43 | 68 | 0.006035 | 0.0015125 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-48_0_3_load_44 | 69 | 0.0083069 | 0.0020819 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-48_0_3_load_46 | 70 | 0.013671 | 0.0034263 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-48_0_3_load_48 | 71 | 0.01369 | 0.0034311 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-48_0_3_load_65 | 72 | 0.0047068 | 0.0011796 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-48_0_3_load_81 | 73 | 0.004011 | 0.0010052 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-48_0_3_line_0 |  | 0 | 1 | 0.017543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-48_0_3_line_1 |  | 1 | 2 | 0.004921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-48_0_3_line_2 |  | 1 | 3 | 0.014573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-48_0_3_line_3 |  | 2 | 7 | 0.016912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-48_0_3_line_4 |  | 2 | 8 | 0.010709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-48_0_3_line_5 |  | 3 | 11 | 0.011368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-48_0_3_line_6 |  | 3 | 12 | 0.009894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-48_0_3_line_7 |  | 3 | 13 | 0.029838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-48_0_3_line_8 |  | 4 | 5 | 0.019461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-48_0_3_line_9 |  | 4 | 6 | 0.010983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-48_0_3_line_10 |  | 5 | 50 | 0.0092295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-48_0_3_line_11 |  | 6 | 14 | 0.015566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-48_0_3_line_12 |  | 7 | 51 | 0.0098422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-48_0_3_line_13 |  | 9 | 10 | 0.012664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-48_0_3_line_14 |  | 10 | 35 | 0.020011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-48_0_3_line_15 |  | 10 | 36 | 0.005344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_351-48_0_3_line_16 |  | 10 | 41 | 0.0090896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-48_0_3_line_17 |  | 11 | 52 | 0.0065501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-48_0_3_line_18 |  | 14 | 15 | 0.003524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-48_0_3_line_19 |  | 15 | 53 | 0.010355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-48_0_3_line_20 |  | 15 | 54 | 0.021823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-48_0_3_line_21 |  | 16 | 17 | 0.012266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-48_0_3_line_22 |  | 16 | 18 | 0.013521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-48_0_3_line_23 |  | 16 | 19 | 0.0038065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-48_0_3_line_24 |  | 17 | 32 | 0.03246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-48_0_3_line_25 |  | 17 | 30 | 0.0073945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-48_0_3_line_26 |  | 18 | 20 | 0.006629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-48_0_3_line_27 |  | 18 | 21 | 0.028212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-48_0_3_line_28 |  | 20 | 22 | 0.019811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-48_0_3_line_29 |  | 21 | 52 | 0.0070889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-48_0_3_line_30 |  | 22 | 55 | 0.029524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-48_0_3_line_31 |  | 23 | 24 | 0.017328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-48_0_3_line_32 |  | 23 | 25 | 0.004032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-48_0_3_line_33 |  | 23 | 26 | 0.030671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-48_0_3_line_34 |  | 24 | 56 | 0.019725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-48_0_3_line_35 |  | 25 | 57 | 0.014203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-48_0_3_line_36 |  | 27 | 28 | 0.003714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-48_0_3_line_37 |  | 27 | 29 | 0.017398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-48_0_3_line_38 |  | 28 | 48 | 0.019497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-48_0_3_line_39 |  | 29 | 39 | 0.022483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-48_0_3_line_40 |  | 30 | 31 | 0.017734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-48_0_3_line_41 |  | 33 | 34 | 0.011864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-48_0_3_line_42 |  | 33 | 35 | 0.01623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-48_0_3_line_43 |  | 34 | 63 | 0.0003579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-48_0_3_line_44 |  | 36 | 37 | 0.024089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-48_0_3_line_45 |  | 36 | 38 | 0.015393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_351-48_0_3_line_46 |  | 37 | 47 | 0.015352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-48_0_3_line_47 |  | 38 | 64 | 0.012247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_351-48_0_3_line_48 |  | 39 | 40 | 0.022142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-48_0_3_line_49 |  | 40 | 47 | 0.017281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-48_0_3_line_50 |  | 41 | 42 | 0.018569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-48_0_3_line_51 |  | 41 | 43 | 0.010101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-48_0_3_line_52 |  | 42 | 65 | 0.018915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-48_0_3_line_53 |  | 44 | 45 | 0.068102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-48_0_3_line_54 |  | 44 | 46 | 0.035795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-48_0_3_line_55 |  | 45 | 49 | 0.066273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-48_0_3_line_56 |  | 46 | 66 | 0.010421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-48_0_3_line_57 |  | 50 | 67 | 0.011554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-48_0_3_line_58 |  | 51 | 68 | 0.00091519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_351-48_0_3_line_59 |  | 54 | 62 | 0.016995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-48_0_3_line_60 |  | 55 | 57 | 0.002823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-48_0_3_line_61 |  | 55 | 72 | 0.002044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-48_0_3_line_62 |  | 56 | 58 | 0.030729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-48_0_3_line_63 |  | 57 | 73 | 0.001974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-48_0_3_line_64 |  | 58 | 59 | 0.019418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-48_0_3_line_65 |  | 58 | 60 | 0.013816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-48_0_3_line_66 |  | 61 | 62 | 0.031332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-48_0_3_line_67 |  | 63 | 67 | 0.01315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-48_0_3_line_68 |  | 64 | 68 | 0.011811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_351-48_0_3_line_69 |  | 65 | 69 | 0.010465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-48_0_3_line_70 |  | 66 | 71 | 0.021598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-48_0_3_line_71 |  | 69 | 70 | 0.020968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-48_0_3_line_72 |  | 70 | 71 | 0.013034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-48_0_3_trafo_79 | 0.63 MVA 20/0.4 kV | 74 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2601966.9605 | 1199750.0147 | 2601978.0649 | 1199736.4339
1 | 2601966.9605 | 1199750.0147 | 2601964.0891 | 1199754.016
2 | 2601966.9605 | 1199750.0147 | 2601972.7448 | 1199754.6635 | 2601978.8568 | 1199758.3786
3 | 2601964.0891 | 1199754.016 | 2601951.9679 | 1199742.2227
4 | 2601964.0891 | 1199754.016 | 2601958.3265 | 1199763.0427
5 | 2601978.8568 | 1199758.3786 | 2601972.2548 | 1199767.633
6 | 2601978.8568 | 1199758.3786 | 2601984.8443 | 1199750.502
7 | 2601978.8568 | 1199758.3786 | 2602005.2845 | 1199772.2301
8 | 2601993.0145 | 1199718.1504 | 2601983.7216 | 1199710.2543 | 2601978.1803 | 1199705.5535
9 | 2601993.0145 | 1199718.1504 | 2601999.7846 | 1199709.5017
10 | 2601971.1421 | 1199699.5829 | 2601978.1803 | 1199705.5535
11 | 2602008.6889 | 1199696.8441 | 2602005.9928 | 1199700.1783 | 2602004.6291 | 1199703.3129 | 2601999.7846 | 1199709.5017
12 | 2601951.9679 | 1199742.2227 | 2601944.9136 | 1199735.3593
13 | 2601919.615 | 1199703.386 | 2601928.6146 | 1199712.2952
14 | 2601919.615 | 1199703.386 | 2601932.5208 | 1199688.0928
15 | 2601919.615 | 1199703.386 | 2601915.9291 | 1199707.2647
16 | 2601919.615 | 1199703.386 | 2601916.5479 | 1199700.3835 | 2601919.7921 | 1199696.8492
17 | 2601968.4508 | 1199772.9653 | 2601972.2548 | 1199767.633
18 | 2602010.9585 | 1199694.1433 | 2602008.6889 | 1199696.8441
19 | 2602010.9585 | 1199694.1433 | 2602017.6465 | 1199686.2384
20 | 2602010.9585 | 1199694.1433 | 2601994.082 | 1199680.3069
21 | 2601937.553 | 1199794.9184 | 2601930.9875 | 1199805.2886
22 | 2601937.553 | 1199794.9184 | 2601943.2691 | 1199798.5777 | 2601948.8634 | 1199802.326
23 | 2601937.553 | 1199794.9184 | 2601939.6421 | 1199791.7365
24 | 2601930.9875 | 1199805.2886 | 2601903.8103 | 1199787.5395
25 | 2601927.1562 | 1199811.613 | 2601929.0071 | 1199808.5231 | 2601930.9875 | 1199805.2886
26 | 2601948.8634 | 1199802.326 | 2601945.2075 | 1199807.8611
27 | 2601948.8634 | 1199802.326 | 2601952.3289 | 1199796.8574 | 2601963.6014 | 1199779.763 | 2601964.3339 | 1199778.7362
28 | 2601945.2075 | 1199807.8611 | 2601956.0843 | 1199813.9011 | 2601962.5627 | 1199817.414
29 | 2601968.4508 | 1199772.9653 | 2601964.3339 | 1199778.7362
30 | 2601988.5169 | 1199831.4875 | 2601962.5627 | 1199817.414
31 | 2602007.0966 | 1199841.4989 | 2602015.7731 | 1199826.4991
32 | 2602003.5192 | 1199839.6189 | 2602007.0966 | 1199841.4989
33 | 2602007.0966 | 1199841.4989 | 2602034.0284 | 1199856.1748
34 | 2602025.9411 | 1199809.599 | 2602019.6724 | 1199819.758 | 2602015.7731 | 1199826.4991
35 | 2601991.0059 | 1199832.8335 | 2602003.5192 | 1199839.6189
36 | 2601894.4897 | 1199786.1115 | 2601892.3115 | 1199789.1236
37 | 2601894.4897 | 1199786.1115 | 2601891.4147 | 1199784.0539 | 2601880.0445 | 1199776.4153
38 | 2601892.3115 | 1199789.1236 | 2601881.6327 | 1199805.4363
39 | 2601861.2281 | 1199764.1119 | 2601873.7336 | 1199772.1755 | 2601880.0445 | 1199776.4153
40 | 2601927.1562 | 1199811.613 | 2601923.7363 | 1199817.3484 | 2601918.0788 | 1199826.8474
41 | 2601942.9879 | 1199675.6896 | 2601947.5392 | 1199679.5597 | 2601952.0305 | 1199683.3699
42 | 2601942.9879 | 1199675.6896 | 2601932.5208 | 1199688.0928
43 | 2601952.3034 | 1199683.6015 | 2601952.0305 | 1199683.3699
44 | 2601915.9291 | 1199707.2647 | 2601899.2669 | 1199724.6621
45 | 2601915.9291 | 1199707.2647 | 2601918.9125 | 1199710.1116 | 2601926.9983 | 1199717.9616
46 | 2601899.2669 | 1199724.6621 | 2601888.6479 | 1199735.7496
47 | 2601935.7853 | 1199726.4923 | 2601926.9983 | 1199717.9616
48 | 2601861.2281 | 1199764.1119 | 2601866.7414 | 1199758.6884 | 2601876.6947 | 1199748.2303
49 | 2601876.6947 | 1199748.2303 | 2601888.6479 | 1199735.7496
50 | 2601919.7921 | 1199696.8492 | 2601931.6143 | 1199682.5305
51 | 2601919.7921 | 1199696.8492 | 2601912.5076 | 1199689.8514
52 | 2601931.6143 | 1199682.5305 | 2601943.657 | 1199667.9449
53 | 2602015.1442 | 1199581.362 | 2601962.1933 | 1199538.3553
54 | 2602015.1442 | 1199581.362 | 2601992.3539 | 1199608.9649
55 | 2601962.1933 | 1199538.3553 | 2601952.795 | 1199549.7474 | 2601920.0153 | 1199589.4735
56 | 2601985.719 | 1199617.0009 | 2601992.3539 | 1199608.9649
57 | 2601962.3315 | 1199692.1086 | 2601971.1421 | 1199699.5829
58 | 2601944.2577 | 1199734.7211 | 2601944.9136 | 1199735.3593
59 | 2601994.082 | 1199680.3069 | 2601980.9395 | 1199669.5318
60 | 2601988.5169 | 1199831.4875 | 2601991.0059 | 1199832.8335
61 | 2601988.5169 | 1199831.4875 | 2601989.5072 | 1199829.698
62 | 2602025.9411 | 1199809.599 | 2602035.8882 | 1199795.2724 | 2602040.8769 | 1199788.4148 | 2602036.3935 | 1199786.679
63 | 2601991.0059 | 1199832.8335 | 2601991.9505 | 1199831.0995
64 | 2602036.3935 | 1199786.679 | 2602034.1693 | 1199790.2024 | 2602025.6403 | 1199802.8454
65 | 2602036.3935 | 1199786.679 | 2602038.1451 | 1199784.4896 | 2602044.9281 | 1199775.814
66 | 2601971.3334 | 1199648.2467 | 2601964.7292 | 1199656.2415 | 2601980.9395 | 1199669.5318
67 | 2601962.3315 | 1199692.1086 | 2601956.3223 | 1199687.0109 | 2601952.3034 | 1199683.6015
68 | 2601935.7853 | 1199726.4923 | 2601939.2862 | 1199729.8841 | 2601944.2577 | 1199734.7211
69 | 2601943.657 | 1199667.9449 | 2601950.3196 | 1199659.8753
70 | 2601985.719 | 1199617.0009 | 2601971.968 | 1199633.6556
71 | 2601963.6695 | 1199643.7064 | 2601950.3196 | 1199659.8753
72 | 2601963.6695 | 1199643.7064 | 2601971.968 | 1199633.6556

## bus_geodata
| x | y | coords
0 | 2601978.0649 | 1199736.4339
1 | 2601966.9605 | 1199750.0147
2 | 2601964.0891 | 1199754.016
3 | 2601978.8568 | 1199758.3786
4 | 2601993.0145 | 1199718.1504
5 | 2601978.1803 | 1199705.5535
6 | 2601999.7846 | 1199709.5017
7 | 2601951.9679 | 1199742.2227
8 | 2601958.3265 | 1199763.0427
9 | 2601928.6146 | 1199712.2952
10 | 2601919.615 | 1199703.386
11 | 2601972.2548 | 1199767.633
12 | 2601984.8443 | 1199750.502
13 | 2602005.2845 | 1199772.2301
14 | 2602008.6889 | 1199696.8441
15 | 2602010.9585 | 1199694.1433
16 | 2601937.553 | 1199794.9184
17 | 2601930.9875 | 1199805.2886
18 | 2601948.8634 | 1199802.326
19 | 2601939.6421 | 1199791.7365
20 | 2601945.2075 | 1199807.8611
21 | 2601964.3339 | 1199778.7362
22 | 2601962.5627 | 1199817.414
23 | 2602007.0966 | 1199841.4989
24 | 2602015.7731 | 1199826.4991
25 | 2602003.5192 | 1199839.6189
26 | 2602034.0284 | 1199856.1748
27 | 2601894.4897 | 1199786.1115
28 | 2601892.3115 | 1199789.1236
29 | 2601880.0445 | 1199776.4153
30 | 2601927.1562 | 1199811.613
31 | 2601918.0788 | 1199826.8474
32 | 2601903.8103 | 1199787.5395
33 | 2601942.9879 | 1199675.6896
34 | 2601952.0305 | 1199683.3699
35 | 2601932.5208 | 1199688.0928
36 | 2601915.9291 | 1199707.2647
37 | 2601899.2669 | 1199724.6621
38 | 2601926.9983 | 1199717.9616
39 | 2601861.2281 | 1199764.1119
40 | 2601876.6947 | 1199748.2303
41 | 2601919.7921 | 1199696.8492
42 | 2601931.6143 | 1199682.5305
43 | 2601912.5076 | 1199689.8514
44 | 2602015.1442 | 1199581.362
45 | 2601962.1933 | 1199538.3553
46 | 2601992.3539 | 1199608.9649
47 | 2601888.6479 | 1199735.7496
48 | 2601881.6327 | 1199805.4363
49 | 2601920.0153 | 1199589.4735
50 | 2601971.1421 | 1199699.5829
51 | 2601944.9136 | 1199735.3593
52 | 2601968.4508 | 1199772.9653
53 | 2602017.6465 | 1199686.2384
54 | 2601994.082 | 1199680.3069
55 | 2601988.5169 | 1199831.4875
56 | 2602025.9411 | 1199809.599
57 | 2601991.0059 | 1199832.8335
58 | 2602036.3935 | 1199786.679
59 | 2602025.6403 | 1199802.8454
60 | 2602044.9281 | 1199775.814
61 | 2601971.3334 | 1199648.2467
62 | 2601980.9395 | 1199669.5318
63 | 2601952.3034 | 1199683.6015
64 | 2601935.7853 | 1199726.4923
65 | 2601943.657 | 1199667.9449
66 | 2601985.719 | 1199617.0009
67 | 2601962.3315 | 1199692.1086
68 | 2601944.2577 | 1199734.7211
69 | 2601950.3196 | 1199659.8753
70 | 2601963.6695 | 1199643.7064
71 | 2601971.968 | 1199633.6556
72 | 2601989.5072 | 1199829.698
73 | 2601991.9505 | 1199831.0995
74 | 2601935.7853 | 1199726.4923

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1