## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-49_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-49_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_351-49_0_6_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_351-49_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-49_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-49_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_351-49_0_6_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_351-49_0_6_node_84 | 0.4 | n |  | TRUE
8 | bus_LV_351-49_0_6_node_77 | 0.4 | n |  | TRUE
9 | bus_LV_351-49_0_6_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_351-49_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_351-49_0_6_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_351-49_0_6_node_86 | 0.4 | n |  | TRUE
13 | bus_LV_351-49_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_351-49_0_6_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_351-49_0_6_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_351-49_0_6_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_351-49_0_6_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_351-49_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_351-49_0_6_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_351-49_0_6_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_351-49_0_6_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_351-49_0_6_node_83 | 0.4 | n |  | TRUE
23 | bus_LV_351-49_0_6_node_71 | 0.4 | n |  | TRUE
24 | bus_LV_351-49_0_6_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_351-49_0_6_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_351-49_0_6_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_351-49_0_6_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_351-49_0_6_node_79 | 0.4 | n |  | TRUE
29 | bus_LV_351-49_0_6_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_351-49_0_6_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_351-49_0_6_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_351-49_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_351-49_0_6_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_351-49_0_6_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_351-49_0_6_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_351-49_0_6_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_351-49_0_6_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_351-49_0_6_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_351-49_0_6_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_351-49_0_6_node_72 | 0.4 | n |  | TRUE
41 | bus_LV_351-49_0_6_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_351-49_0_6_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_351-49_0_6_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_351-49_0_6_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_351-49_0_6_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_351-49_0_6_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_351-49_0_6_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_351-49_0_6_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_351-49_0_6_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_351-49_0_6_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_351-49_0_6_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_351-49_0_6_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_351-49_0_6_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_351-49_0_6_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_351-49_0_6_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_351-49_0_6_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_351-49_0_6_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_351-49_0_6_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_351-49_0_6_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_351-49_0_6_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_351-49_0_6_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_351-49_0_6_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_351-49_0_6_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_351-49_0_6_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_351-49_0_6_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_351-49_0_6_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_351-49_0_6_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_351-49_0_6_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_351-49_0_6_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_351-49_0_6_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_351-49_0_6_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_351-49_0_6_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_351-49_0_6_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_351-49_0_6_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_351-49_0_6_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_351-49_0_6_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_351-49_0_6_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_351-49_0_6_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_351-49_0_6_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_351-49_0_6_node_82 | 0.4 | n |  | TRUE
81 | bus_MV_601_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-49_0_6_load_0 | 0 | 0.023915 | 0.0059938 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-49_0_6_load_16 | 6 | 0.0067801 | 0.0016992 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-49_0_6_load_84 | 7 | 0.0076338 | 0.0019132 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-49_0_6_load_77 | 8 | 0.0236 | 0.0059147 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-49_0_6_load_52 | 9 | 0.0026837 | 0.0006726 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-49_0_6_load_86 | 12 | 0.028849 | 0.0072303 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-49_0_6_load_47 | 16 | 0.0073162 | 0.0018336 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-49_0_6_load_53 | 17 | 0.0091994 | 0.0023056 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-49_0_6_load_49 | 19 | 0.012271 | 0.0030755 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-49_0_6_load_54 | 20 | 0.0040205 | 0.0010076 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-49_0_6_load_83 | 22 | 0.0065522 | 0.0016421 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-49_0_6_load_71 | 23 | 0.0093058 | 0.0023322 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-49_0_6_load_63 | 24 | 0.015913 | 0.0039883 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-49_0_6_load_39 | 25 | 0.0058052 | 0.0014549 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-49_0_6_load_78 | 27 | 0.012578 | 0.0031523 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-49_0_6_load_45 | 29 | 0.015394 | 0.003858 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-49_0_6_load_51 | 31 | 0.011803 | 0.0029581 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-49_0_6_load_50 | 33 | 0.0053697 | 0.0013458 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-49_0_6_load_55 | 34 | 0.011813 | 0.0029606 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-49_0_6_load_65 | 35 | 0.0080052 | 0.0020063 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-49_0_6_load_17 | 36 | 0.012273 | 0.003076 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-49_0_6_load_18 | 37 | 0.0068601 | 0.0017193 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-49_0_6_load_20 | 39 | 0.0095208 | 0.0023861 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-49_0_6_load_72 | 40 | 0.0086657 | 0.0021718 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-49_0_6_load_56 | 41 | 0.019576 | 0.0049061 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-49_0_6_load_28 | 43 | 0.010499 | 0.0026314 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-49_0_6_load_25 | 44 | 0.0086252 | 0.0021617 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-49_0_6_load_75 | 45 | 0.005567 | 0.0013952 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-49_0_6_load_26 | 47 | 0.0038536 | 0.0009658 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-49_0_6_load_61 | 48 | 0.0039066 | 0.00097907 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-49_0_6_load_60 | 49 | 0.010156 | 0.0025453 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-49_0_6_load_29 | 52 | 0.0057731 | 0.0014469 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-49_0_6_load_85 | 53 | 0.0082245 | 0.0020612 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-49_0_6_load_30 | 54 | 0.013547 | 0.0033951 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-49_0_6_load_31 | 55 | 0.0087298 | 0.0021879 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-49_0_6_load_38 | 56 | 0.0081184 | 0.0020347 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-49_0_6_load_33 | 57 | 0.0082516 | 0.002068 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-49_0_6_load_34 | 58 | 0.0065558 | 0.001643 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-49_0_6_load_36 | 60 | 0.0042484 | 0.0010648 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-49_0_6_load_43 | 62 | 0.0041836 | 0.0010485 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-49_0_6_load_42 | 63 | 0.026864 | 0.0067327 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-49_0_6_load_44 | 64 | 0.029934 | 0.0075021 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-49_0_6_load_46 | 65 | 0.008186 | 0.0020516 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-49_0_6_load_48 | 66 | 0.019015 | 0.0047655 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-49_0_6_load_58 | 67 | 0.0097754 | 0.0024499 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-49_0_6_load_59 | 68 | 0.0030366 | 0.00076104 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-49_0_6_load_62 | 69 | 0.0089813 | 0.0022509 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-49_0_6_load_66 | 70 | 0.0062867 | 0.0015756 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-49_0_6_load_67 | 71 | 0.005991 | 0.0015015 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-49_0_6_load_68 | 72 | 0.0066401 | 0.0016642 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-49_0_6_load_69 | 73 | 0.0046372 | 0.0011622 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-49_0_6_load_70 | 74 | 0.0049244 | 0.0012342 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-49_0_6_load_73 | 75 | 0.011695 | 0.002931 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-49_0_6_load_74 | 76 | 0.0071465 | 0.0017911 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-49_0_6_load_76 | 77 | 0.0087356 | 0.0021894 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-49_0_6_load_80 | 78 | 0.014083 | 0.0035294 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-49_0_6_load_81 | 79 | 0.010135 | 0.00254 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-49_0_6_load_82 | 80 | 0.0077895 | 0.0019522 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 72 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-49_0_6_line_0 |  | 0 | 1 | 0.011624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-49_0_6_line_1 |  | 1 | 6 | 0.018703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-49_0_6_line_2 |  | 2 | 3 | 0.019623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_351-49_0_6_line_3 |  | 2 | 4 | 0.035272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_351-49_0_6_line_4 |  | 2 | 5 | 0.027319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-49_0_6_line_5 |  | 3 | 7 | 0.021469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_351-49_0_6_line_6 |  | 4 | 8 | 0.014312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_351-49_0_6_line_7 |  | 5 | 9 | 0.047833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-49_0_6_line_8 |  | 6 | 21 | 0.032585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-49_0_6_line_9 |  | 7 | 22 | 0.00040469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_351-49_0_6_line_10 |  | 8 | 23 | 0.026041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_351-49_0_6_line_11 |  | 10 | 11 | 0.017375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-49_0_6_line_12 |  | 10 | 12 | 0.036495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-49_0_6_line_13 |  | 11 | 17 | 0.022622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-49_0_6_line_14 |  | 12 | 14 | 0.0092986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-49_0_6_line_15 |  | 13 | 14 | 0.037456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_351-49_0_6_line_16 |  | 13 | 15 | 0.049286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_351-49_0_6_line_17 |  | 13 | 16 | 0.0063244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_351-49_0_6_line_18 |  | 15 | 20 | 0.0062945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_351-49_0_6_line_19 |  | 15 | 18 | 0.04362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-49_0_6_line_20 |  | 16 | 29 | 0.027986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_351-49_0_6_line_21 |  | 18 | 19 | 0.0083168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-49_0_6_line_22 |  | 19 | 33 | 0.01975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-49_0_6_line_23 |  | 20 | 34 | 0.0083554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_351-49_0_6_line_24 |  | 21 | 35 | 0.0075121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-49_0_6_line_25 |  | 21 | 24 | 0.01276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-49_0_6_line_26 |  | 22 | 80 | 0.01152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_351-49_0_6_line_27 |  | 23 | 74 | 0.016314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_351-49_0_6_line_28 |  | 25 | 26 | 0.012727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-49_0_6_line_29 |  | 26 | 63 | 0.0056157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-49_0_6_line_30 |  | 26 | 60 | 0.0056852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-49_0_6_line_31 |  | 27 | 28 | 0.016093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-49_0_6_line_32 |  | 28 | 61 | 0.026422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-49_0_6_line_33 |  | 29 | 64 | 0.01434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-49_0_6_line_34 |  | 30 | 31 | 0.04954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_351-49_0_6_line_35 |  | 30 | 32 | 0.0081251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_351-49_0_6_line_36 |  | 31 | 43 | 0.013649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_351-49_0_6_line_37 |  | 32 | 34 | 0.064944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_351-49_0_6_line_38 |  | 32 | 41 | 0.026541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-49_0_6_line_39 |  | 32 | 38 | 0.023201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_351-49_0_6_line_40 |  | 35 | 70 | 0.013662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-49_0_6_line_41 |  | 36 | 37 | 0.0089513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_351-49_0_6_line_42 |  | 36 | 38 | 0.016827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_351-49_0_6_line_43 |  | 37 | 39 | 0.0052149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_351-49_0_6_line_44 |  | 39 | 40 | 0.0041765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_351-49_0_6_line_45 |  | 40 | 45 | 0.0081764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_351-49_0_6_line_46 |  | 41 | 46 | 0.013276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-49_0_6_line_47 |  | 42 | 43 | 0.007528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_351-49_0_6_line_48 |  | 42 | 44 | 0.0043048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_351-49_0_6_line_49 |  | 44 | 47 | 0.0012507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_351-49_0_6_line_50 |  | 45 | 75 | 0.0062857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_351-49_0_6_line_51 |  | 46 | 67 | 0.017877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-49_0_6_line_52 |  | 46 | 68 | 0.0091827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-49_0_6_line_53 |  | 47 | 50 | 0.023531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_351-49_0_6_line_54 |  | 48 | 49 | 0.012735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-49_0_6_line_55 |  | 49 | 67 | 0.014753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-49_0_6_line_56 |  | 50 | 51 | 0.017997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_351-49_0_6_line_57 |  | 50 | 52 | 0.012044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-49_0_6_line_58 |  | 51 | 53 | 0.029831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_351-49_0_6_line_59 |  | 52 | 54 | 0.0020275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-49_0_6_line_60 |  | 53 | 56 | 0.0090373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_351-49_0_6_line_61 |  | 54 | 55 | 0.010834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-49_0_6_line_62 |  | 56 | 59 | 0.015517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-49_0_6_line_63 |  | 57 | 58 | 0.0053231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-49_0_6_line_64 |  | 57 | 59 | 0.013143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-49_0_6_line_65 |  | 58 | 60 | 0.01383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-49_0_6_line_66 |  | 59 | 61 | 0.009383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-49_0_6_line_67 |  | 61 | 62 | 0.019426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-49_0_6_line_68 |  | 64 | 65 | 0.0108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-49_0_6_line_69 |  | 65 | 66 | 0.01837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-49_0_6_line_70 |  | 68 | 69 | 0.0018618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-49_0_6_line_71 |  | 70 | 71 | 0.011926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-49_0_6_line_72 |  | 71 | 72 | 0.011638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-49_0_6_line_73 |  | 72 | 73 | 0.016472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_351-49_0_6_line_74 |  | 73 | 74 | 0.010586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_351-49_0_6_line_75 |  | 75 | 76 | 0.005924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_351-49_0_6_line_76 |  | 76 | 77 | 0.0033899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_351-49_0_6_line_77 |  | 77 | 78 | 0.0072144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_351-49_0_6_line_78 |  | 78 | 79 | 0.0071651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_351-49_0_6_line_79 |  | 79 | 80 | 0.009624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-49_0_6_trafo_68 | 0.63 MVA 20/0.4 kV | 81 | 72 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2601428.8155 | 1199763.8535 | 2601427.7422 | 1199763.2862 | 2601426.06 | 1199762.1074 | 2601419.2586 | 1199757.254
1 | 2601428.8155 | 1199763.8535 | 2601429.8887 | 1199764.4207 | 2601432.0277 | 1199765.733 | 2601434.1438 | 1199767.0119 | 2601438.4771 | 1199759.9758 | 2601439.8706 | 1199758.4197 | 2601441.0662 | 1199757.0971 | 2601441.316 | 1199756.8221
2 | 2601364.8853 | 1199749.9652 | 2601375.5139 | 1199745.5429 | 2601378.803 | 1199744.1762 | 2601383.2035 | 1199743.021
3 | 2601383.2035 | 1199743.021 | 2601378.803 | 1199744.1762 | 2601375.5139 | 1199745.5429 | 2601378.4746 | 1199749.1343 | 2601380.3086 | 1199752.0919 | 2601384.6227 | 1199763.4656 | 2601386.8746 | 1199769.9473
4 | 2601399.9088 | 1199731.663 | 2601400.0683 | 1199733.6419 | 2601400.1214 | 1199734.22 | 2601400.2201 | 1199735.4207 | 2601398.5985 | 1199735.5982 | 2601394.3504 | 1199736.0419 | 2601392.3329 | 1199736.2638 | 2601387.1865 | 1199736.8074 | 2601382.5349 | 1199737.2955 | 2601383.2035 | 1199743.021
5 | 2601364.8853 | 1199749.9652 | 2601367.641 | 1199751.0886 | 2601370.2975 | 1199752.6567 | 2601372.4744 | 1199754.4692 | 2601374.4001 | 1199756.0594 | 2601376.0213 | 1199758.0497 | 2601377.1933 | 1199759.6063 | 2601378.2283 | 1199761.2964 | 2601379.7569 | 1199764.5344
6 | 2601386.8746 | 1199769.9473 | 2601387.5822 | 1199771.8263 | 2601388.7007 | 1199774.5613 | 2601391.1891 | 1199779.231 | 2601392.9089 | 1199782.2775 | 2601393.2045 | 1199782.7532
7 | 2601399.9088 | 1199731.663 | 2601436.4899 | 1199727.7247 | 2601439.635 | 1199723.412 | 2601445.3027 | 1199722.7833
8 | 2601465.101 | 1199753.0671 | 2601463.3273 | 1199752.9111 | 2601458.6911 | 1199752.5431 | 2601457.4122 | 1199752.4428 | 2601454.3061 | 1199752.1975 | 2601452.9815 | 1199752.0971 | 2601449.1448 | 1199751.2847 | 2601446.9446 | 1199751.6066 | 2601446.5715 | 1199751.6621 | 2601446.427 | 1199751.3063 | 2601445.6585 | 1199749.4051 | 2601445.5063 | 1199749.0382 | 2601443.4964 | 1199749.6937 | 2601443.6638 | 1199750.1384 | 2601444.4017 | 1199752.173 | 2601444.5615 | 1199752.5955 | 2601444.2189 | 1199752.7955 | 2601442.9017 | 1199753.5623 | 2601443.0689 | 1199754.8852 | 2601442.5206 | 1199755.4965 | 2601441.316 | 1199756.8221
9 | 2601379.7569 | 1199764.5344 | 2601379.9297 | 1199764.9004
10 | 2601411.201 | 1199801.2507 | 2601407.6666 | 1199798.9008 | 2601404.0588 | 1199795.8762 | 2601400.786 | 1199792.6959 | 2601398.0308 | 1199789.527 | 2601394.7049 | 1199785.1683 | 2601393.2045 | 1199782.7532
11 | 2601592.139 | 1199718.1016 | 2601593.3272 | 1199716.0341 | 2601595.665 | 1199713.4111 | 2601598.0027 | 1199711.6218 | 2601599.891 | 1199710.4773 | 2601602 | 1199709.4106 | 2601603.3933 | 1199708.9885 | 2601603.1123 | 1199706.4759
12 | 2601592.139 | 1199718.1016 | 2601590.9358 | 1199719.3909 | 2601590.0676 | 1199720.6802 | 2601587.242 | 1199725.5488 | 2601586.3736 | 1199727.6942 | 2601585.3602 | 1199731.1513 | 2601584.4151 | 1199735.5868 | 2601584.2618 | 1199739.6556 | 2601584.2681 | 1199744.5582 | 2601584.5536 | 1199752.6749
13 | 2601603.1123 | 1199706.4759 | 2601580.6059 | 1199708.7553
14 | 2601584.8804 | 1199761.9677 | 2601584.5536 | 1199752.6749
15 | 2601585.4723 | 1199799.3657 | 2601585.8079 | 1199796.9756 | 2601585.93 | 1199795.5415 | 2601586.0066 | 1199793.8073 | 2601584.8804 | 1199761.9677
16 | 2601585.4723 | 1199799.3657 | 2601585.0149 | 1199801.9447 | 2601584.2911 | 1199804.2569 | 2601582.9657 | 1199807.1581 | 2601580.1172 | 1199812.2601 | 2601578.6169 | 1199814.5499 | 2601577.2995 | 1199816.0392 | 2601568.3681 | 1199822.1847 | 2601567.3326 | 1199822.7737 | 2601565.7642 | 1199823.4848 | 2601563.7771 | 1199823.929 | 2601562.0947 | 1199824.0953 | 2601560.298 | 1199824.1282 | 2601558.8136 | 1199823.8721 | 2601556.9638 | 1199823.3825 | 2601555.175 | 1199822.4371 | 2601553.9569 | 1199822.7703 | 2601549.6097 | 1199823.9365
17 | 2601585.4723 | 1199799.3657 | 2601582.3372 | 1199793.8731
18 | 2601549.6097 | 1199823.9365 | 2601549.0238 | 1199822.8358 | 2601548.004 | 1199821.5349 | 2601546.4818 | 1199820.0226 | 2601545.4972 | 1199819.2544
19 | 2601530.3261 | 1199856.2603 | 2601530.9277 | 1199855.46 | 2601531.6055 | 1199854.6264 | 2601532.6411 | 1199853.615 | 2601533.7299 | 1199852.837 | 2601535.2755 | 1199851.9703 | 2601537.1712 | 1199851.3037 | 2601538.7776 | 1199850.9928 | 2601543.5585 | 1199850.5493 | 2601543.658 | 1199848.6706 | 2601544.0619 | 1199847.0031 | 2601544.8769 | 1199845.2246 | 2601550.056 | 1199835.265 | 2601550.9624 | 1199833.3086 | 2601551.115 | 1199832.0969 | 2601551.1838 | 1199830.7739 | 2601551.0244 | 1199828.9062 | 2601550.6975 | 1199827.2497 | 2601550.3096 | 1199825.6932 | 2601549.8912 | 1199824.6703 | 2601549.6097 | 1199823.9365
20 | 2601582.3372 | 1199793.8731 | 2601580.9264 | 1199773.2505 | 2601574.8629 | 1199769.1579
21 | 2601530.3261 | 1199856.2603 | 2601537.2374 | 1199860.8867
22 | 2601537.2374 | 1199860.8867 | 2601538.3642 | 1199860.3867 | 2601539.6052 | 1199860.0757 | 2601540.8993 | 1199860.0871 | 2601542.1325 | 1199860.4098 | 2601543.6016 | 1199861.1217 | 2601544.6368 | 1199861.7334 | 2601554.4404 | 1199868.3616
23 | 2601545.4972 | 1199819.2544 | 2601539.9817 | 1199814.9516 | 2601538.8095 | 1199814.262
24 | 2601465.101 | 1199753.0671 | 2601465.1389 | 1199753.9343 | 2601464.9169 | 1199759.1037 | 2601464.7824 | 1199760.5674
25 | 2601465.101 | 1199753.0671 | 2601464.9797 | 1199751.155 | 2601464.6003 | 1199745.6519 | 2601464.1351 | 1199740.3442
26 | 2601384.8627 | 1199775.3107 | 2601383.4559 | 1199772.3701 | 2601379.9297 | 1199764.9004
27 | 2601411.201 | 1199801.2507 | 2601411.6475 | 1199801.5476 | 2601415.5753 | 1199803.405 | 2601420.0132 | 1199805.0958 | 2601422.4188 | 1199805.4632 | 2601426.1491 | 1199805.5863 | 2601426.6655 | 1199805.5436
28 | 2601331.8978 | 1199825.6431 | 2601341.9312 | 1199827.1572 | 2601343.4537 | 1199827.3798 | 2601344.4815 | 1199827.2133
29 | 2601331.8978 | 1199825.6431 | 2601330.1782 | 1199821.4072 | 2601329.1464 | 1199821.2483
30 | 2601331.8978 | 1199825.6431 | 2601330.7557 | 1199826.41 | 2601330.176 | 1199830.6804
31 | 2601296.3484 | 1199850.6603 | 2601298.1209 | 1199834.6655
32 | 2601296.3484 | 1199850.6603 | 2601295.7986 | 1199858.7756 | 2601304.6902 | 1199859.589 | 2601314.0157 | 1199860.3802
33 | 2601574.8629 | 1199769.1579 | 2601563.9221 | 1199761.7734 | 2601563.1686 | 1199760.9172 | 2601563.1686 | 1199760.9172
34 | 2601477.7403 | 1199810.0673 | 2601448.9337 | 1199841.1773 | 2601448.1266 | 1199841.9108 | 2601442.9948 | 1199845.1168
35 | 2601474.8106 | 1199804.9417 | 2601474.8861 | 1199807.5875 | 2601474.9616 | 1199810.2779 | 2601477.7403 | 1199810.0673
36 | 2601430.5181 | 1199850.2927 | 2601437.452 | 1199848.4563 | 2601438.2895 | 1199848.0563 | 2601442.9948 | 1199845.1168
37 | 2601474.8106 | 1199804.9417 | 2601476.7823 | 1199804.8421 | 2601481.1598 | 1199804.5096 | 2601482.6062 | 1199804.5322 | 2601482.728 | 1199804.5322 | 2601536.4802 | 1199813.1831 | 2601538.8095 | 1199814.262
38 | 2601474.8106 | 1199804.9417 | 2601474.7275 | 1199801.9623 | 2601474.7049 | 1199801.0062 | 2601467.237 | 1199799.7816 | 2601466.2854 | 1199799.5257 | 2601465.4557 | 1199799.1586 | 2601464.9229 | 1199798.8027 | 2601464.5119 | 1199798.2579 | 2601464.3065 | 1199797.7798 | 2601464.2229 | 1199797.2795 | 2601464.2991 | 1199796.846 | 2601468.0126 | 1199787.182
39 | 2601474.8106 | 1199804.9417 | 2601466.0405 | 1199805.2175 | 2601455.7783 | 1199805.5375 | 2601451.5683 | 1199805.9145
40 | 2601464.7824 | 1199760.5674 | 2601464.5124 | 1199763.5059 | 2601463.674 | 1199767.7747 | 2601462.8207 | 1199770.765 | 2601461.6413 | 1199773.7948
41 | 2601435.0294 | 1199808.9687 | 2601430.4875 | 1199809.6006 | 2601426.1329 | 1199809.9109 | 2601426.1329 | 1199809.9109
42 | 2601451.5683 | 1199805.9145 | 2601445.5463 | 1199806.8136 | 2601443.1101 | 1199807.3356 | 2601440.3694 | 1199807.8908 | 2601435.9918 | 1199808.8348 | 2601435.0294 | 1199808.9687
43 | 2601426.1329 | 1199809.9109 | 2601420.9181 | 1199809.8763 | 2601420.9181 | 1199809.8763
44 | 2601416.8406 | 1199808.986 | 2601417.5762 | 1199809.2086 | 2601420.9181 | 1199809.8763
45 | 2601416.8406 | 1199808.986 | 2601414.1202 | 1199808.1628 | 2601411.1134 | 1199806.8836 | 2601409.398 | 1199805.7312
46 | 2601471.8411 | 1199774.4913 | 2601471.0942 | 1199777.993 | 2601469.0448 | 1199784.496 | 2601468.0126 | 1199787.182
47 | 2601423.1014 | 1199850.5431 | 2601427.8897 | 1199850.9889 | 2601430.5181 | 1199850.2927
48 | 2601423.1014 | 1199850.5431 | 2601420.5661 | 1199851.5319 | 2601419.0645 | 1199852.0347
49 | 2601419.0645 | 1199852.0347 | 2601417.8786 | 1199852.4318
50 | 2601404.2847 | 1199802.079 | 2601407.0412 | 1199804.1479 | 2601409.398 | 1199805.7312
51 | 2601471.8411 | 1199774.4913 | 2601472.6413 | 1199770.7228 | 2601473.4491 | 1199767.3879 | 2601473.9065 | 1199764.5642 | 2601474.5614 | 1199756.8595
52 | 2601471.8411 | 1199774.4913 | 2601473.4549 | 1199774.8585 | 2601473.3327 | 1199776.7595 | 2601473.7666 | 1199776.7819 | 2601474.3833 | 1199776.4819 | 2601474.9925 | 1199775.7927 | 2601475.4723 | 1199775.0591 | 2601477.1096 | 1199772.9047
53 | 2601395.115 | 1199858.3855 | 2601396.5539 | 1199858.0745 | 2601417.8786 | 1199852.4318
54 | 2601473.858 | 1199742.1528 | 2601473.2361 | 1199734.2478 | 2601472.8867 | 1199730.7903 | 2601472.7603 | 1199729.4659
55 | 2601474.5614 | 1199756.8595 | 2601474.6852 | 1199755.404 | 2601474.6333 | 1199749.5119 | 2601473.9192 | 1199742.9304 | 2601473.858 | 1199742.1528
56 | 2601377.4298 | 1199861.9835 | 2601395.115 | 1199858.3855
57 | 2601395.115 | 1199858.3855 | 2601394.0869 | 1199846.3859
58 | 2601377.4298 | 1199861.9835 | 2601365.2717 | 1199863.9819 | 2601363.8938 | 1199864.1706 | 2601362.257 | 1199864.3704 | 2601360.4299 | 1199864.4923 | 2601358.6181 | 1199864.4585 | 2601356.753 | 1199864.3692 | 2601347.8352 | 1199863.5084
59 | 2601394.0869 | 1199846.3859 | 2601393.9138 | 1199844.3658
60 | 2601338.8397 | 1199862.6401 | 2601347.8352 | 1199863.5084
61 | 2601392.9889 | 1199833.5717 | 2601393.9138 | 1199844.3658
62 | 2601323.3945 | 1199861.1493 | 2601338.8397 | 1199862.6401
63 | 2601325.8618 | 1199842.8489 | 2601325.1505 | 1199848.1243
64 | 2601323.3945 | 1199861.1493 | 2601325.1505 | 1199848.1243
65 | 2601325.8618 | 1199842.8489 | 2601326.3681 | 1199839.0936 | 2601329.2994 | 1199837.1376 | 2601330.176 | 1199830.6804
66 | 2601323.3945 | 1199861.1493 | 2601314.0157 | 1199860.3802
67 | 2601314.0157 | 1199860.3802 | 2601315.7261 | 1199841.0296
68 | 2601560.3723 | 1199750.4916 | 2601562.6437 | 1199759.4385 | 2601563.1686 | 1199760.9172
69 | 2601555.7813 | 1199732.7212 | 2601555.9584 | 1199733.6119 | 2601559.2438 | 1199747.0422 | 2601560.0046 | 1199749.0434 | 2601560.3723 | 1199750.4916
70 | 2601478.2361 | 1199771.4224 | 2601477.1096 | 1199772.9047
71 | 2601461.6413 | 1199773.7948 | 2601461.5486 | 1199774.0331 | 2601459.0122 | 1199779.6244 | 2601456.2658 | 1199784.4248
72 | 2601450.367 | 1199794.456 | 2601453.3078 | 1199789.5951 | 2601456.2658 | 1199784.4248
73 | 2601450.367 | 1199794.456 | 2601449.7436 | 1199795.4863 | 2601448.0988 | 1199797.4203 | 2601446.2028 | 1199799.2208 | 2601444.6419 | 1199800.3099 | 2601443.2943 | 1199800.9989 | 2601438.7871 | 1199802.5431 | 2601436.9396 | 1199803.1132
74 | 2601436.9396 | 1199803.1132 | 2601432.4147 | 1199804.5094 | 2601428.1589 | 1199805.42 | 2601426.6655 | 1199805.5436
75 | 2601404.2847 | 1199802.079 | 2601403.4409 | 1199801.4457 | 2601399.9617 | 1199798.0396
76 | 2601397.756 | 1199795.476 | 2601399.0112 | 1199797.109 | 2601399.9617 | 1199798.0396
77 | 2601397.756 | 1199795.476 | 2601393.3595 | 1199789.756
78 | 2601393.3595 | 1199789.756 | 2601392.2681 | 1199788.3362 | 2601389.4752 | 1199783.9888 | 2601389.375 | 1199783.8075
79 | 2601384.8627 | 1199775.3107 | 2601386.0355 | 1199777.7625 | 2601389.375 | 1199783.8075

## bus_geodata
| x | y | coords
0 | 2601419.2586 | 1199757.254
1 | 2601428.8155 | 1199763.8535
2 | 2601383.2035 | 1199743.021
3 | 2601364.8853 | 1199749.9652
4 | 2601386.8746 | 1199769.9473
5 | 2601399.9088 | 1199731.663
6 | 2601441.316 | 1199756.8221
7 | 2601379.7569 | 1199764.5344
8 | 2601393.2045 | 1199782.7532
9 | 2601445.3027 | 1199722.7833
10 | 2601592.139 | 1199718.1016
11 | 2601603.1123 | 1199706.4759
12 | 2601584.5536 | 1199752.6749
13 | 2601585.4723 | 1199799.3657
14 | 2601584.8804 | 1199761.9677
15 | 2601549.6097 | 1199823.9365
16 | 2601582.3372 | 1199793.8731
17 | 2601580.6059 | 1199708.7553
18 | 2601530.3261 | 1199856.2603
19 | 2601537.2374 | 1199860.8866
20 | 2601545.4972 | 1199819.2544
21 | 2601465.101 | 1199753.0671
22 | 2601379.9297 | 1199764.9004
23 | 2601411.201 | 1199801.2507
24 | 2601464.1351 | 1199740.3442
25 | 2601344.4815 | 1199827.2133
26 | 2601331.8978 | 1199825.6431
27 | 2601298.1209 | 1199834.6655
28 | 2601296.3484 | 1199850.6603
29 | 2601574.8629 | 1199769.1579
30 | 2601477.7403 | 1199810.0673
31 | 2601442.9948 | 1199845.1168
32 | 2601474.8105 | 1199804.9417
33 | 2601554.4404 | 1199868.3616
34 | 2601538.8095 | 1199814.262
35 | 2601464.7824 | 1199760.5674
36 | 2601435.0294 | 1199808.9687
37 | 2601426.1329 | 1199809.9109
38 | 2601451.5683 | 1199805.9145
39 | 2601420.9181 | 1199809.8763
40 | 2601416.8406 | 1199808.986
41 | 2601468.0126 | 1199787.182
42 | 2601423.1014 | 1199850.5431
43 | 2601430.5181 | 1199850.2927
44 | 2601419.0645 | 1199852.0347
45 | 2601409.398 | 1199805.7312
46 | 2601471.8411 | 1199774.4913
47 | 2601417.8786 | 1199852.4318
48 | 2601472.7603 | 1199729.4659
49 | 2601473.858 | 1199742.1528
50 | 2601395.115 | 1199858.3855
51 | 2601377.4298 | 1199861.9835
52 | 2601394.0869 | 1199846.3859
53 | 2601347.8352 | 1199863.5084
54 | 2601393.9138 | 1199844.3658
55 | 2601392.9889 | 1199833.5717
56 | 2601338.8397 | 1199862.6401
57 | 2601325.1505 | 1199848.1243
58 | 2601325.8618 | 1199842.8489
59 | 2601323.3945 | 1199861.1493
60 | 2601330.176 | 1199830.6804
61 | 2601314.0157 | 1199860.3802
62 | 2601315.7261 | 1199841.0296
63 | 2601329.1464 | 1199821.2483
64 | 2601563.1686 | 1199760.9172
65 | 2601560.3723 | 1199750.4916
66 | 2601555.7813 | 1199732.7212
67 | 2601474.5614 | 1199756.8595
68 | 2601477.1096 | 1199772.9047
69 | 2601478.2361 | 1199771.4224
70 | 2601461.6413 | 1199773.7948
71 | 2601456.2658 | 1199784.4248
72 | 2601450.367 | 1199794.456
73 | 2601436.9396 | 1199803.1132
74 | 2601426.6655 | 1199805.5436
75 | 2601404.2847 | 1199802.079
76 | 2601399.9617 | 1199798.0396
77 | 2601397.756 | 1199795.476
78 | 2601393.3595 | 1199789.756
79 | 2601389.375 | 1199783.8075
80 | 2601384.8627 | 1199775.3107
81 | 2601465.101 | 1199753.0671

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1