## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-69_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-69_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_351-69_0_5_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_351-69_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-69_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-69_0_5_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_351-69_0_5_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_351-69_0_5_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_351-69_0_5_node_71 | 0.4 | n |  | TRUE
9 | bus_LV_351-69_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_351-69_0_5_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_351-69_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_351-69_0_5_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_351-69_0_5_node_81 | 0.4 | n |  | TRUE
14 | bus_LV_351-69_0_5_node_95 | 0.4 | n |  | TRUE
15 | bus_LV_351-69_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_351-69_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_351-69_0_5_node_100 | 0.4 | n |  | TRUE
18 | bus_LV_351-69_0_5_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_351-69_0_5_node_87 | 0.4 | n |  | TRUE
20 | bus_LV_351-69_0_5_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_351-69_0_5_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_351-69_0_5_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_351-69_0_5_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_351-69_0_5_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_351-69_0_5_node_70 | 0.4 | n |  | TRUE
26 | bus_LV_351-69_0_5_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_351-69_0_5_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_351-69_0_5_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_351-69_0_5_node_68 | 0.4 | n |  | TRUE
30 | bus_LV_351-69_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_351-69_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_351-69_0_5_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_351-69_0_5_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_351-69_0_5_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_351-69_0_5_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_351-69_0_5_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_351-69_0_5_node_90 | 0.4 | n |  | TRUE
38 | bus_LV_351-69_0_5_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_351-69_0_5_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_351-69_0_5_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_351-69_0_5_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_351-69_0_5_node_98 | 0.4 | n |  | TRUE
43 | bus_LV_351-69_0_5_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_351-69_0_5_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_351-69_0_5_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_351-69_0_5_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_351-69_0_5_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_351-69_0_5_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_351-69_0_5_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_351-69_0_5_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_351-69_0_5_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_351-69_0_5_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_351-69_0_5_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_351-69_0_5_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_351-69_0_5_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_351-69_0_5_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_351-69_0_5_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_351-69_0_5_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_351-69_0_5_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_351-69_0_5_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_351-69_0_5_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_351-69_0_5_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_351-69_0_5_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_351-69_0_5_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_351-69_0_5_node_99 | 0.4 | n |  | TRUE
66 | bus_LV_351-69_0_5_node_85 | 0.4 | n |  | TRUE
67 | bus_LV_351-69_0_5_node_86 | 0.4 | n |  | TRUE
68 | bus_LV_351-69_0_5_node_84 | 0.4 | n |  | TRUE
69 | bus_LV_351-69_0_5_node_89 | 0.4 | n |  | TRUE
70 | bus_LV_351-69_0_5_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_351-69_0_5_node_41 | 0.4 | n |  | TRUE
72 | bus_LV_351-69_0_5_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_351-69_0_5_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_351-69_0_5_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_351-69_0_5_node_40 | 0.4 | n |  | TRUE
76 | bus_LV_351-69_0_5_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_351-69_0_5_node_101 | 0.4 | n |  | TRUE
78 | bus_LV_351-69_0_5_node_42 | 0.4 | n |  | TRUE
79 | bus_LV_351-69_0_5_node_96 | 0.4 | n |  | TRUE
80 | bus_LV_351-69_0_5_node_102 | 0.4 | n |  | TRUE
81 | bus_LV_351-69_0_5_node_97 | 0.4 | n |  | TRUE
82 | bus_LV_351-69_0_5_node_48 | 0.4 | n |  | TRUE
83 | bus_LV_351-69_0_5_node_50 | 0.4 | n |  | TRUE
84 | bus_LV_351-69_0_5_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_351-69_0_5_node_57 | 0.4 | n |  | TRUE
86 | bus_LV_351-69_0_5_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_351-69_0_5_node_109 | 0.4 | n |  | TRUE
88 | bus_LV_351-69_0_5_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_351-69_0_5_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_351-69_0_5_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_351-69_0_5_node_105 | 0.4 | n |  | TRUE
92 | bus_LV_351-69_0_5_node_106 | 0.4 | n |  | TRUE
93 | bus_LV_351-69_0_5_node_94 | 0.4 | n |  | TRUE
94 | bus_LV_351-69_0_5_node_104 | 0.4 | n |  | TRUE
95 | bus_LV_351-69_0_5_node_107 | 0.4 | n |  | TRUE
96 | bus_LV_351-69_0_5_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_351-69_0_5_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_351-69_0_5_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_351-69_0_5_node_92 | 0.4 | n |  | TRUE
100 | bus_LV_351-69_0_5_node_93 | 0.4 | n |  | TRUE
101 | bus_LV_351-69_0_5_node_103 | 0.4 | n |  | TRUE
102 | bus_LV_351-69_0_5_node_108 | 0.4 | n |  | TRUE
103 | bus_LV_351-69_0_5_node_112 | 0.4 | n |  | TRUE
104 | bus_LV_351-69_0_5_node_111 | 0.4 | n |  | TRUE
105 | bus_LV_351-69_0_5_node_110 | 0.4 | n |  | TRUE
106 | bus_MV_591_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-69_0_5_load_0 | 0 | 0.029012 | 0.0072712 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-69_0_5_load_1 | 2 | 0.011935 | 0.0029912 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-69_0_5_load_71 | 8 | 0.01683 | 0.004218 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-69_0_5_load_55 | 12 | 0.0051465 | 0.0012898 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-69_0_5_load_95 | 14 | 0.0075988 | 0.0019044 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-69_0_5_load_100 | 17 | 0.005241 | 0.0013135 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-69_0_5_load_87 | 19 | 0.005065 | 0.0012694 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-69_0_5_load_54 | 21 | 0.0087442 | 0.0021915 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-69_0_5_load_69 | 24 | 0.0028798 | 0.00072174 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-69_0_5_load_70 | 25 | 0.0023874 | 0.00059833 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-69_0_5_load_58 | 26 | 0.0037384 | 0.00093692 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-69_0_5_load_68 | 29 | 0.018195 | 0.00456 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-69_0_5_load_65 | 33 | 0.0024652 | 0.00061784 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-69_0_5_load_67 | 36 | 0.0039438 | 0.00098842 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-69_0_5_load_90 | 37 | 0.0078637 | 0.0019708 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-69_0_5_load_64 | 38 | 0.004108 | 0.0010296 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-69_0_5_load_35 | 39 | 0.0075074 | 0.0018815 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-69_0_5_load_98 | 42 | 0.0033512 | 0.00083988 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-69_0_5_load_53 | 44 | 0.010171 | 0.002549 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-69_0_5_load_44 | 45 | 0.0062805 | 0.001574 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-69_0_5_load_36 | 47 | 0.0078711 | 0.0019727 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-69_0_5_load_51 | 50 | 0.0078121 | 0.0019579 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-69_0_5_load_45 | 51 | 0.0078729 | 0.0019731 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-69_0_5_load_60 | 55 | 0.0020254 | 0.00050761 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-69_0_5_load_66 | 56 | 0.0038873 | 0.00097424 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-69_0_5_load_37 | 57 | 0.0062682 | 0.001571 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-69_0_5_load_77 | 59 | 0.0049923 | 0.0012512 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-69_0_5_load_73 | 60 | 0.0048903 | 0.0012256 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-69_0_5_load_74 | 61 | 0.0046709 | 0.0011706 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-69_0_5_load_72 | 62 | 0.0048649 | 0.0012192 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-69_0_5_load_56 | 63 | 0.002971 | 0.00074461 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-69_0_5_load_79 | 64 | 0.0053859 | 0.0013498 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-69_0_5_load_99 | 65 | 0.0061886 | 0.001551 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-69_0_5_load_85 | 66 | 0.0053748 | 0.0013471 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-69_0_5_load_86 | 67 | 0.015846 | 0.0039714 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-69_0_5_load_84 | 68 | 0.015772 | 0.0039528 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-69_0_5_load_43 | 70 | 0.013156 | 0.0032971 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-69_0_5_load_41 | 71 | 0.016547 | 0.0041472 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-69_0_5_load_46 | 72 | 0.025654 | 0.0064294 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-69_0_5_load_62 | 73 | 0.0019798 | 0.00049619 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-69_0_5_load_63 | 74 | 0.0036275 | 0.00090915 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-69_0_5_load_75 | 76 | 0.0027857 | 0.00069817 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-69_0_5_load_101 | 77 | 0.0037516 | 0.00094025 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-69_0_5_load_42 | 78 | 0.0058992 | 0.0014785 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-69_0_5_load_96 | 79 | 0.0055175 | 0.0013828 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-69_0_5_load_102 | 80 | 0.0037541 | 0.00094088 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-69_0_5_load_50 | 83 | 0.032308 | 0.0080972 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-69_0_5_load_61 | 84 | 0.0019117 | 0.00047912 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-69_0_5_load_57 | 85 | 0.0037532 | 0.00094064 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-69_0_5_load_76 | 86 | 0.0027862 | 0.00069829 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-69_0_5_load_109 | 87 | 0.0034087 | 0.00085429 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-69_0_5_load_78 | 88 | 0.0088278 | 0.0022124 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-69_0_5_load_80 | 89 | 0.0075883 | 0.0019018 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-69_0_5_load_105 | 91 | 0.0030652 | 0.0007682 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-69_0_5_load_106 | 92 | 0.0037951 | 0.00095114 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-69_0_5_load_94 | 93 | 0.0055917 | 0.0014014 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-69_0_5_load_104 | 94 | 0.0030629 | 0.00076763 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-69_0_5_load_83 | 96 | 0.0083974 | 0.0021046 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-69_0_5_load_88 | 97 | 0.0070797 | 0.0017743 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-69_0_5_load_91 | 98 | 0.023228 | 0.0058216 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_351-69_0_5_load_92 | 99 | 0.005749 | 0.0014408 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_351-69_0_5_load_103 | 101 | 0.0039451 | 0.00098873 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_351-69_0_5_load_108 | 102 | 0.0028316 | 0.00070967 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_351-69_0_5_load_112 | 103 | 0.0026508 | 0.00066435 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_351-69_0_5_load_111 | 104 | 0.0032433 | 0.00081285 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_351-69_0_5_load_110 | 105 | 0.0035615 | 0.0008926 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 96 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-69_0_5_line_0 |  | 0 | 1 | 0.025476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-69_0_5_line_1 |  | 1 | 4 | 0.009602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-69_0_5_line_2 |  | 1 | 5 | 0.033557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-69_0_5_line_3 |  | 2 | 3 | 0.024768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-69_0_5_line_4 |  | 3 | 6 | 0.003451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-69_0_5_line_5 |  | 4 | 7 | 0.004189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-69_0_5_line_6 |  | 4 | 8 | 0.024999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-69_0_5_line_7 |  | 5 | 51 | 0.024685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-69_0_5_line_8 |  | 5 | 15 | 0.00946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-69_0_5_line_9 |  | 6 | 59 | 0.012322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_351-69_0_5_line_10 |  | 6 | 60 | 0.026153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_351-69_0_5_line_11 |  | 6 | 61 | 0.0093628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-69_0_5_line_12 |  | 7 | 20 | 0.040937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-69_0_5_line_13 |  | 8 | 62 | 0.024385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_351-69_0_5_line_14 |  | 9 | 10 | 0.011597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-69_0_5_line_15 |  | 9 | 11 | 0.018842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-69_0_5_line_16 |  | 9 | 12 | 0.019846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-69_0_5_line_17 |  | 10 | 26 | 0.00069226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-69_0_5_line_18 |  | 11 | 13 | 0.003654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-69_0_5_line_19 |  | 11 | 14 | 0.023516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-69_0_5_line_20 |  | 12 | 63 | 0.013447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-69_0_5_line_21 |  | 13 | 64 | 0.015033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_351-69_0_5_line_22 |  | 13 | 18 | 0.009209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_351-69_0_5_line_23 |  | 15 | 16 | 0.01579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-69_0_5_line_24 |  | 15 | 17 | 0.022238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-69_0_5_line_25 |  | 16 | 25 | 0.011902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-69_0_5_line_26 |  | 17 | 65 | 0.010968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-69_0_5_line_27 |  | 18 | 19 | 0.0075905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_351-69_0_5_line_28 |  | 19 | 66 | 0.0095189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_351-69_0_5_line_29 |  | 20 | 21 | 0.014199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-69_0_5_line_30 |  | 22 | 23 | 0.035675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-69_0_5_line_31 |  | 22 | 24 | 0.012813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-69_0_5_line_32 |  | 23 | 29 | 0.030415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-69_0_5_line_33 |  | 24 | 25 | 0.0028815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-69_0_5_line_34 |  | 26 | 32 | 0.013475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-69_0_5_line_35 |  | 27 | 28 | 0.027836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-69_0_5_line_36 |  | 27 | 29 | 0.013149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-69_0_5_line_37 |  | 28 | 39 | 0.030864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-69_0_5_line_38 |  | 30 | 31 | 0.032711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-69_0_5_line_39 |  | 30 | 32 | 0.003287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-69_0_5_line_40 |  | 30 | 33 | 0.011465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-69_0_5_line_41 |  | 31 | 38 | 0.016085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-69_0_5_line_42 |  | 31 | 34 | 0.10064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-69_0_5_line_43 |  | 34 | 35 | 0.07107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-69_0_5_line_44 |  | 34 | 36 | 0.034486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-69_0_5_line_45 |  | 35 | 37 | 0.052236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-69_0_5_line_46 |  | 37 | 69 | 0.014733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-69_0_5_line_47 |  | 39 | 46 | 0.035087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-69_0_5_line_48 |  | 40 | 41 | 0.033179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-69_0_5_line_49 |  | 40 | 42 | 0.0078451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-69_0_5_line_50 |  | 41 | 43 | 0.014726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-69_0_5_line_51 |  | 41 | 44 | 0.010204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-69_0_5_line_52 |  | 43 | 45 | 0.013871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-69_0_5_line_53 |  | 45 | 51 | 0.030532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-69_0_5_line_54 |  | 46 | 47 | 0.022391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-69_0_5_line_55 |  | 48 | 49 | 0.02536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-69_0_5_line_56 |  | 48 | 50 | 0.040415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-69_0_5_line_57 |  | 49 | 53 | 0.036639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-69_0_5_line_58 |  | 49 | 72 | 0.034197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-69_0_5_line_59 |  | 52 | 53 | 0.027527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-69_0_5_line_60 |  | 52 | 54 | 0.003306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-69_0_5_line_61 |  | 52 | 55 | 0.012668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-69_0_5_line_62 |  | 53 | 73 | 0.010022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-69_0_5_line_63 |  | 53 | 74 | 0.013052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-69_0_5_line_64 |  | 54 | 56 | 0.0039867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-69_0_5_line_65 |  | 57 | 58 | 0.011663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-69_0_5_line_66 |  | 58 | 75 | 0.005722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-69_0_5_line_67 |  | 58 | 71 | 0.020117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-69_0_5_line_68 |  | 59 | 75 | 0.01154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_351-69_0_5_line_69 |  | 60 | 62 | 0.018334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_351-69_0_5_line_70 |  | 61 | 76 | 0.009994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-69_0_5_line_71 |  | 63 | 85 | 0.0019998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-69_0_5_line_72 |  | 64 | 88 | 0.026645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_351-69_0_5_line_73 |  | 66 | 96 | 0.020972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_351-69_0_5_line_74 |  | 67 | 68 | 0.011188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-69_0_5_line_75 |  | 68 | 96 | 0.017414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_351-69_0_5_line_76 |  | 69 | 97 | 0.019567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_351-69_0_5_line_77 |  | 70 | 71 | 0.017785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_351-69_0_5_line_78 |  | 72 | 82 | 0.029999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_351-69_0_5_line_79 |  | 73 | 84 | 0.0061858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_351-69_0_5_line_80 |  | 75 | 77 | 0.018218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_351-69_0_5_line_81 |  | 76 | 86 | 0.0050293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_351-69_0_5_line_82 |  | 77 | 80 | 0.0056038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_351-69_0_5_line_83 |  | 78 | 79 | 0.017735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_351-69_0_5_line_84 |  | 79 | 81 | 0.0057492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_351-69_0_5_line_85 |  | 80 | 101 | 0.0057301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_351-69_0_5_line_86 |  | 81 | 93 | 0.003629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_351-69_0_5_line_87 |  | 81 | 90 | 0.003681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_351-69_0_5_line_88 |  | 82 | 83 | 0.038004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_351-69_0_5_line_89 |  | 84 | 85 | 0.023689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_351-69_0_5_line_90 |  | 86 | 87 | 0.0071249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_351-69_0_5_line_91 |  | 88 | 89 | 0.012505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_351-69_0_5_line_92 |  | 89 | 90 | 0.022107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_351-69_0_5_line_93 |  | 90 | 91 | 0.013323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_351-69_0_5_line_94 |  | 90 | 92 | 0.011498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_351-69_0_5_line_95 |  | 91 | 94 | 0.0058598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_351-69_0_5_line_96 |  | 92 | 95 | 0.012275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_351-69_0_5_line_97 |  | 93 | 100 | 0.019486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_351-69_0_5_line_98 |  | 94 | 101 | 0.0056802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_351-69_0_5_line_99 |  | 95 | 102 | 0.0089575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_351-69_0_5_line_100 |  | 98 | 99 | 0.0062951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_351-69_0_5_line_101 |  | 98 | 100 | 0.015338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_351-69_0_5_line_102 |  | 102 | 103 | 0.0054133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_351-69_0_5_line_103 |  | 103 | 104 | 0.0053706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_351-69_0_5_line_104 |  | 104 | 105 | 0.0063131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-69_0_5_trafo_83 | 0.63 MVA 20/0.4 kV | 106 | 96 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2601682.8364 | 1199279.3681 | 2601679.8271 | 1199286.3377 | 2601679.3396 | 1199287.4715 | 2601678.7682 | 1199288.672 | 2601671.7237 | 1199302.2776
1 | 2601682.8364 | 1199279.3681 | 2601681.6868 | 1199279.201 | 2601680.4762 | 1199279.0784 | 2601679.2962 | 1199279.0003 | 2601677.8648 | 1199278.9777 | 2601676.3345 | 1199279.0439 | 2601673.2433 | 1199279.3544
2 | 2601682.8364 | 1199279.3681 | 2601685.206 | 1199272.4539 | 2601700.8751 | 1199270.9129 | 2601700.1003 | 1199264.3091 | 2601703.9376 | 1199263.9433
3 | 2601639.5312 | 1199364.4466 | 2601650.9206 | 1199342.4529
4 | 2601636.471 | 1199362.8338 | 2601639.5312 | 1199364.4466
5 | 2601669.0634 | 1199279.7757 | 2601670.4415 | 1199279.6316 | 2601673.2433 | 1199279.3544
6 | 2601673.2433 | 1199279.3544 | 2601674.5828 | 1199281.1668 | 2601675.4123 | 1199282.679 | 2601675.884 | 1199283.9131 | 2601676.0283 | 1199285.3584 | 2601676.0356 | 1199286.3478 | 2601675.7003 | 1199287.4038 | 2601668.2488 | 1199301.7316
7 | 2601703.9376 | 1199263.9433 | 2601701.1919 | 1199239.4118
8 | 2601703.9376 | 1199263.9433 | 2601713.3787 | 1199263.0121
9 | 2601636.471 | 1199362.8338 | 2601630.8294 | 1199373.7883
10 | 2601636.471 | 1199362.8338 | 2601648.538 | 1199339.6314
11 | 2601636.471 | 1199362.8338 | 2601628.1677 | 1199358.5073
12 | 2601639.3351 | 1199270.4295 | 2601666.2572 | 1199267.7241 | 2601667.8637 | 1199267.5689 | 2601668.5015 | 1199274.1281 | 2601669.0634 | 1199279.7757
13 | 2601668.2488 | 1199301.7316 | 2601656.9976 | 1199323.3654
14 | 2601540.1436 | 1199280.3541 | 2601541.9785 | 1199280.1766 | 2601549.1277 | 1199279.4558 | 2601551.7164 | 1199279.2007
15 | 2601551.7164 | 1199279.2007 | 2601552.3695 | 1199285.7489 | 2601558.7955 | 1199285.0945 | 2601558.185 | 1199290.8642
16 | 2601551.7164 | 1199279.2007 | 2601549.7702 | 1199259.4501
17 | 2601540.1436 | 1199280.3541 | 2601539.4549 | 1199280.424
18 | 2601558.185 | 1199290.8642 | 2601561.8319 | 1199290.5093
19 | 2601558.185 | 1199290.8642 | 2601554.787 | 1199314.1337
20 | 2601549.7702 | 1199259.4501 | 2601549.0204 | 1199251.841 | 2601548.3358 | 1199249.3172 | 2601547.3999 | 1199246.849 | 2601547.1361 | 1199246.371
21 | 2601561.8319 | 1199290.5093 | 2601559.9059 | 1199305.4186
22 | 2601571.0217 | 1199289.5889 | 2601569.5142 | 1199289.7442 | 2601561.8319 | 1199290.5093
23 | 2601713.3787 | 1199263.0121 | 2601714.0621 | 1199269.5713 | 2601716.4528 | 1199269.3385 | 2601720.753 | 1199274.5981
24 | 2601713.3787 | 1199263.0121 | 2601735.5054 | 1199260.7865
25 | 2601720.753 | 1199274.5981 | 2601722.3132 | 1199276.5107 | 2601723.0059 | 1199277.0445 | 2601723.9271 | 1199277.1781 | 2601729.272 | 1199276.646 | 2601731.5175 | 1199276.422
26 | 2601746.4179 | 1199259.6889 | 2601735.5054 | 1199260.7865
27 | 2601571.0217 | 1199289.5889 | 2601572.3236 | 1199289.4558 | 2601578.5742 | 1199288.8305
28 | 2601588.0458 | 1199287.883 | 2601578.5742 | 1199288.8305
29 | 2601639.3351 | 1199270.4295 | 2601638.2264 | 1199259.201 | 2601638.2189 | 1199258.9008 | 2601638.2646 | 1199258.6674 | 2601638.4018 | 1199258.3672 | 2601638.3334 | 1199257.8447 | 2601639.2574 | 1199256.6369
30 | 2601779.1876 | 1199271.7686 | 2601778.9748 | 1199270.2566 | 2601777.4525 | 1199268.8999 | 2601775.8004 | 1199268.8883 | 2601761.8139 | 1199270.4963 | 2601745.4215 | 1199272.137
31 | 2601745.4215 | 1199272.137 | 2601744.4388 | 1199274.2601 | 2601743.9209 | 1199274.9047 | 2601743.0376 | 1199275.2491 | 2601739.4972 | 1199275.6261 | 2601734.3848 | 1199276.136
32 | 2601779.1876 | 1199271.7686 | 2601758.6154 | 1199294.1706
33 | 2601734.3848 | 1199276.136 | 2601731.5175 | 1199276.422
34 | 2601526.0506 | 1199281.7958 | 2601526.8272 | 1199281.6849 | 2601537.9584 | 1199280.5759 | 2601539.4549 | 1199280.424
35 | 2601747.1354 | 1199323.4538 | 2601750.9281 | 1199319.1526 | 2601747.7465 | 1199316.3168 | 2601755.0805 | 1199308.1923 | 2601749.7218 | 1199303.8552
36 | 2601749.7218 | 1199303.8552 | 2601758.6154 | 1199294.1706
37 | 2601747.1354 | 1199323.4538 | 2601726.4049 | 1199346.3189
38 | 2601522.7843 | 1199282.2397 | 2601522.1371 | 1199282.3396 | 2601519.99 | 1199282.8505 | 2601517.82 | 1199283.2613 | 2601511.9648 | 1199285.2609 | 2601506.33 | 1199288.339 | 2601501.9134 | 1199291.6508 | 2601497.8622 | 1199294.9294 | 2601494.7628 | 1199298.0081
39 | 2601522.7843 | 1199282.2397 | 2601525.6775 | 1199281.8513 | 2601526.0506 | 1199281.7958
40 | 2601522.7843 | 1199282.2397 | 2601521.7583 | 1199270.8203
41 | 2601494.7628 | 1199298.0081 | 2601481.3083 | 1199289.1936
42 | 2601494.7628 | 1199298.0081 | 2601491.6482 | 1199301.109 | 2601489.4929 | 1199303.9989 | 2601488.3581 | 1199305.5217 | 2601485.0602 | 1199310.8015 | 2601482.2038 | 1199316.3816 | 2601479.8501 | 1199321.4949 | 2601477.3048 | 1199331.5886 | 2601476.5409 | 1199342.5721 | 2601478.1675 | 1199353.6228 | 2601482.2992 | 1199364.0183 | 2601486.6828 | 1199371.1453 | 2601492.3228 | 1199377.6946 | 2601494.3474 | 1199379.7073 | 2601498.9299 | 1199382.9768 | 2601501.6703 | 1199384.9007
43 | 2601501.6703 | 1199384.9007 | 2601520.4947 | 1199399.1017 | 2601524.1884 | 1199394.2 | 2601526.7169 | 1199390.8544 | 2601510.5643 | 1199378.2104 | 2601506.9259 | 1199375.1634 | 2601500.5016 | 1199369.2143 | 2601498.4465 | 1199366.8347
44 | 2601501.6703 | 1199384.9007 | 2601500.9849 | 1199385.4675 | 2601498.3273 | 1199387.757 | 2601495.5025 | 1199388.8347 | 2601492.9518 | 1199389.6234 | 2601490.2796 | 1199389.5116 | 2601488.8711 | 1199389.3667 | 2601486.7623 | 1199388.9882 | 2601483.8239 | 1199387.4867 | 2601480.3299 | 1199385.118 | 2601477.9398 | 1199383.1608 | 2601475.2453 | 1199380.1475 | 2601473.2411 | 1199377.266
45 | 2601498.4465 | 1199366.8347 | 2601496.2088 | 1199364.2217 | 2601492.8222 | 1199358.6957 | 2601489.6036 | 1199350.5795 | 2601488.3418 | 1199342.1191 | 2601488.9529 | 1199333.4813 | 2601490.98 | 1199325.3885 | 2601492.7625 | 1199321.5424 | 2601494.4817 | 1199318.1672
46 | 2601503.1661 | 1199306.359 | 2601501.0947 | 1199308.4596 | 2601498.0485 | 1199312.1831 | 2601495.2989 | 1199316.5626 | 2601494.4817 | 1199318.1672
47 | 2601704.1133 | 1199373.2908 | 2601706.9159 | 1199370.0565 | 2601709.947 | 1199366.5332 | 2601711.3715 | 1199363.7877 | 2601715.1489 | 1199359.5087 | 2601718.165 | 1199355.4073 | 2601726.4049 | 1199346.3189
48 | 2601668.9245 | 1199172.8851 | 2601680.4112 | 1199181.3372 | 2601681.0811 | 1199181.7265 | 2601682.8654 | 1199199.781
49 | 2601668.9245 | 1199172.8851 | 2601662.6071 | 1199168.2338
50 | 2601682.8654 | 1199199.781 | 2601687.5792 | 1199196.2582 | 2601691.9496 | 1199195.7814 | 2601696.3656 | 1199195.2712
51 | 2601682.8654 | 1199199.781 | 2601676.652 | 1199207.8749
52 | 2601696.3656 | 1199195.2712 | 2601697.8422 | 1199209.0638
53 | 2601697.8422 | 1199209.0638 | 2601698.8793 | 1199218.7511 | 2601701.1919 | 1199239.4118
54 | 2601704.1133 | 1199373.2908 | 2601696.209 | 1199379.0028 | 2601686.6469 | 1199387.2673
55 | 2601556.9883 | 1199173.8568 | 2601556.5237 | 1199174.4681 | 2601554.0794 | 1199176.0683 | 2601545.2369 | 1199188.2727 | 2601540.7893 | 1199193.1853
56 | 2601556.9883 | 1199173.8568 | 2601589.1882 | 1199198.2816
57 | 2601540.7893 | 1199193.1853 | 2601538.482 | 1199194.8301 | 2601536.2052 | 1199196.1969 | 2601534.0808 | 1199196.7856 | 2601531.8956 | 1199197.4743 | 2601516.016 | 1199218.8819
58 | 2601540.7893 | 1199193.1853 | 2601541.0988 | 1199204.1468 | 2601559.8018 | 1199217.9265
59 | 2601516.016 | 1199218.8819 | 2601513.3431 | 1199221.0491 | 2601498.9716 | 1199240.4116
60 | 2601496.9991 | 1199243.0681 | 2601498.9716 | 1199240.4116
61 | 2601498.9716 | 1199240.4116 | 2601509.1155 | 1199247.9996
62 | 2601516.016 | 1199218.8819 | 2601523.9656 | 1199224.9842
63 | 2601516.016 | 1199218.8819 | 2601513.3972 | 1199217.7363 | 2601505.1606 | 1199211.7304
64 | 2601496.9991 | 1199243.0681 | 2601500.2079 | 1199245.4339
65 | 2601626.2623 | 1199388.7228 | 2601629.225 | 1199384.3768 | 2601630.0782 | 1199382.7094 | 2601632.1606 | 1199378.6864
66 | 2601626.2623 | 1199388.7228 | 2601624.6573 | 1199383.2305
67 | 2601626.2623 | 1199388.7228 | 2601614.3704 | 1199404.9487
68 | 2601624.6573 | 1199383.2305 | 2601625.2436 | 1199382.9972 | 2601625.6472 | 1199382.775 | 2601626.0203 | 1199382.5083 | 2601626.4467 | 1199382.097 | 2601626.8047 | 1199381.5524 | 2601627.0942 | 1199381.0411 | 2601630.8294 | 1199373.7883
69 | 2601656.9976 | 1199323.3654 | 2601648.538 | 1199339.6314
70 | 2601628.1677 | 1199358.5073 | 2601623.1722 | 1199355.9044 | 2601619.8007 | 1199353.1383
71 | 2601546.1698 | 1199244.6201 | 2601547.1361 | 1199246.371
72 | 2601559.3763 | 1199331.8266 | 2601557.9107 | 1199322.2364 | 2601557.9644 | 1199320.4466 | 2601559.9059 | 1199305.4186
73 | 2601608.9137 | 1199285.7953 | 2601588.0458 | 1199287.883
74 | 2601637.3734 | 1199282.9482 | 2601626.2415 | 1199284.0618
75 | 2601608.9137 | 1199285.7953 | 2601626.2415 | 1199284.0618
76 | 2601503.1661 | 1199306.359 | 2601505.4278 | 1199304.3029 | 2601509.6616 | 1199301.2134 | 2601514.2684 | 1199298.7131 | 2601519.9105 | 1199296.5912
77 | 2601614.3704 | 1199404.9487 | 2601611.9822 | 1199408.2073 | 2601617.2724 | 1199412.3998 | 2601622.7881 | 1199416.7019
78 | 2601579.5392 | 1199236.9962 | 2601570.5866 | 1199233.2253 | 2601570.0005 | 1199232.8249 | 2601569.8103 | 1199232.1801 | 2601569.1496 | 1199225.4874 | 2601568.9671 | 1199224.787 | 2601568.4342 | 1199224.2866 | 2601559.8018 | 1199217.9265
79 | 2601528.8724 | 1199228.7507 | 2601523.9656 | 1199224.9842
80 | 2601624.6573 | 1199383.2305 | 2601623.9264 | 1199383.2859 | 2601623.2565 | 1199383.1857 | 2601622.4191 | 1199382.8742 | 2601608.3778 | 1199375.3846
81 | 2601619.8007 | 1199353.1383 | 2601619.0923 | 1199352.5571 | 2601615.4402 | 1199350.6653
82 | 2601608.3778 | 1199375.3846 | 2601603.4335 | 1199372.7473
83 | 2601579.8298 | 1199364.2941 | 2601595.5254 | 1199372.5518
84 | 2601574.7418 | 1199361.6173 | 2601579.8298 | 1199364.2941
85 | 2601603.4335 | 1199372.7473 | 2601598.3776 | 1199370.0506
86 | 2601574.7418 | 1199361.6173 | 2601571.5309 | 1199359.9263
87 | 2601576.4404 | 1199358.3493 | 2601574.7418 | 1199361.6173
88 | 2601611.2924 | 1199248.6661 | 2601610.3561 | 1199248.0211 | 2601607.9505 | 1199247.0533 | 2601607.1436 | 1199246.6529 | 2601590.2904 | 1199233.8417 | 2601589.689 | 1199233.4969 | 2601588.9734 | 1199233.4523 | 2601582.6159 | 1199233.9287 | 2601581.8545 | 1199234.0953 | 2601581.4204 | 1199234.5732 | 2601579.5392 | 1199236.9962
89 | 2601546.1698 | 1199244.6201 | 2601545.2767 | 1199243.002 | 2601542.08 | 1199238.9991 | 2601538.9057 | 1199236.4525 | 2601528.8724 | 1199228.7507
90 | 2601615.4402 | 1199350.6653 | 2601609.1137 | 1199347.3882
91 | 2601559.3763 | 1199331.8266 | 2601561.2655 | 1199344.1882
92 | 2601576.4404 | 1199358.3493 | 2601565.4176 | 1199352.4323 | 2601564.3063 | 1199351.5871 | 2601563.3853 | 1199350.5974 | 2601562.6243 | 1199349.4744 | 2601562.0688 | 1199348.2292 | 2601561.6808 | 1199346.9061 | 2601561.2655 | 1199344.1882
93 | 2601576.4404 | 1199358.3493 | 2601588.1956 | 1199364.6195
94 | 2601576.4404 | 1199358.3493 | 2601581.7966 | 1199348.1752
95 | 2601593.3658 | 1199367.3773 | 2601588.1956 | 1199364.6195
96 | 2601587.7744 | 1199337.4966 | 2601586.9444 | 1199338.3968 | 2601581.7966 | 1199348.1752
97 | 2601557.8968 | 1199347.361 | 2601558.2695 | 1199349.1065 | 2601558.764 | 1199350.4629 | 2601559.4261 | 1199351.7304 | 2601560.2861 | 1199352.9312 | 2601561.5876 | 1199354.3768 | 2601563.0415 | 1199355.4555 | 2601571.5309 | 1199359.9263
98 | 2601598.3776 | 1199370.0506 | 2601593.3658 | 1199367.3773
99 | 2601587.7744 | 1199337.4966 | 2601590.6071 | 1199335.6185 | 2601592.5032 | 1199334.4406 | 2601594.5819 | 1199333.6407 | 2601595.6678 | 1199333.469
100 | 2601547.715 | 1199357.8402 | 2601544.5068 | 1199363.2564
101 | 2601557.8968 | 1199347.361 | 2601552.6126 | 1199349.572 | 2601547.715 | 1199357.8402
102 | 2601595.6678 | 1199333.469 | 2601601.0147 | 1199332.624
103 | 2601601.0147 | 1199332.624 | 2601606.3194 | 1199331.7856
104 | 2601612.5551 | 1199330.8 | 2601606.3194 | 1199331.7856

## bus_geodata
| x | y | coords
0 | 2601671.7237 | 1199302.2776
1 | 2601682.8364 | 1199279.3681
2 | 2601650.9206 | 1199342.4529
3 | 2601639.5312 | 1199364.4466
4 | 2601673.2433 | 1199279.3544
5 | 2601703.9376 | 1199263.9433
6 | 2601636.471 | 1199362.8338
7 | 2601669.0634 | 1199279.7757
8 | 2601668.2488 | 1199301.7316
9 | 2601551.7164 | 1199279.2007
10 | 2601540.1436 | 1199280.3541
11 | 2601558.185 | 1199290.8642
12 | 2601549.7702 | 1199259.4501
13 | 2601561.8319 | 1199290.5093
14 | 2601554.787 | 1199314.1337
15 | 2601713.3787 | 1199263.0121
16 | 2601720.753 | 1199274.5981
17 | 2601735.5054 | 1199260.7865
18 | 2601571.0217 | 1199289.5889
19 | 2601578.5742 | 1199288.8305
20 | 2601639.3351 | 1199270.4295
21 | 2601639.2574 | 1199256.6369
22 | 2601745.4215 | 1199272.137
23 | 2601779.1876 | 1199271.7686
24 | 2601734.3848 | 1199276.136
25 | 2601731.5175 | 1199276.422
26 | 2601539.4549 | 1199280.424
27 | 2601749.7218 | 1199303.8552
28 | 2601747.1354 | 1199323.4538
29 | 2601758.6154 | 1199294.1706
30 | 2601522.7843 | 1199282.2397
31 | 2601494.7628 | 1199298.0081
32 | 2601526.0506 | 1199281.7958
33 | 2601521.7583 | 1199270.8203
34 | 2601501.6703 | 1199384.9007
35 | 2601498.4465 | 1199366.8347
36 | 2601473.2411 | 1199377.266
37 | 2601494.4817 | 1199318.1672
38 | 2601481.3083 | 1199289.1936
39 | 2601726.4049 | 1199346.3189
40 | 2601668.9245 | 1199172.8851
41 | 2601682.8654 | 1199199.781
42 | 2601662.6071 | 1199168.2338
43 | 2601696.3656 | 1199195.2712
44 | 2601676.652 | 1199207.8749
45 | 2601697.8422 | 1199209.0638
46 | 2601704.1133 | 1199373.2908
47 | 2601686.6469 | 1199387.2673
48 | 2601556.9883 | 1199173.8568
49 | 2601540.7893 | 1199193.1853
50 | 2601589.1882 | 1199198.2816
51 | 2601701.1919 | 1199239.4118
52 | 2601498.9716 | 1199240.4116
53 | 2601516.016 | 1199218.8819
54 | 2601496.9991 | 1199243.0681
55 | 2601509.1155 | 1199247.9996
56 | 2601500.2079 | 1199245.4339
57 | 2601632.1606 | 1199378.6864
58 | 2601626.2623 | 1199388.7228
59 | 2601630.8294 | 1199373.7883
60 | 2601648.538 | 1199339.6314
61 | 2601628.1677 | 1199358.5073
62 | 2601656.9976 | 1199323.3654
63 | 2601547.1361 | 1199246.371
64 | 2601559.9059 | 1199305.4186
65 | 2601746.4179 | 1199259.6889
66 | 2601588.0458 | 1199287.883
67 | 2601637.3734 | 1199282.9482
68 | 2601626.2415 | 1199284.0618
69 | 2601503.1661 | 1199306.359
70 | 2601622.7881 | 1199416.7019
71 | 2601614.3704 | 1199404.9487
72 | 2601559.8018 | 1199217.9265
73 | 2601523.9656 | 1199224.9842
74 | 2601505.1606 | 1199211.7304
75 | 2601624.6573 | 1199383.2305
76 | 2601619.8007 | 1199353.1383
77 | 2601608.3778 | 1199375.3846
78 | 2601595.5254 | 1199372.5518
79 | 2601579.8298 | 1199364.2941
80 | 2601603.4335 | 1199372.7473
81 | 2601574.7418 | 1199361.6173
82 | 2601579.5392 | 1199236.9962
83 | 2601611.2924 | 1199248.6661
84 | 2601528.8724 | 1199228.7507
85 | 2601546.1698 | 1199244.6201
86 | 2601615.4402 | 1199350.6653
87 | 2601609.1137 | 1199347.3882
88 | 2601559.3763 | 1199331.8266
89 | 2601561.2655 | 1199344.1882
90 | 2601576.4404 | 1199358.3493
91 | 2601588.1956 | 1199364.6195
92 | 2601581.7966 | 1199348.1752
93 | 2601571.5309 | 1199359.9263
94 | 2601593.3658 | 1199367.3773
95 | 2601587.7745 | 1199337.4966
96 | 2601608.9137 | 1199285.7953
97 | 2601519.9105 | 1199296.5912
98 | 2601547.715 | 1199357.8402
99 | 2601544.5068 | 1199363.2564
100 | 2601557.8968 | 1199347.361
101 | 2601598.3776 | 1199370.0506
102 | 2601595.6678 | 1199333.469
103 | 2601601.0147 | 1199332.624
104 | 2601606.3194 | 1199331.7856
105 | 2601612.5551 | 1199330.8
106 | 2601571.0217 | 1199289.5889

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1