## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-70_1_3_node_13 | 0.4 | n |  | TRUE
1 | bus_LV_351-70_1_3_node_19 | 0.4 | n |  | TRUE
2 | bus_LV_351-70_1_3_node_89 | 0.4 | n |  | TRUE
3 | bus_LV_351-70_1_3_node_83 | 0.4 | n |  | TRUE
4 | bus_LV_351-70_1_3_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_351-70_1_3_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_351-70_1_3_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_351-70_1_3_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_351-70_1_3_node_101 | 0.4 | n |  | TRUE
9 | bus_LV_351-70_1_3_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_351-70_1_3_node_80 | 0.4 | n |  | TRUE
11 | bus_LV_351-70_1_3_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_351-70_1_3_node_85 | 0.4 | n |  | TRUE
13 | bus_LV_351-70_1_3_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_351-70_1_3_node_86 | 0.4 | n |  | TRUE
15 | bus_LV_351-70_1_3_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_351-70_1_3_node_90 | 0.4 | n |  | TRUE
17 | bus_LV_351-70_1_3_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_351-70_1_3_node_139 | 0.4 | n |  | TRUE
19 | bus_LV_351-70_1_3_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_351-70_1_3_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_351-70_1_3_node_66 | 0.4 | n |  | TRUE
22 | bus_LV_351-70_1_3_node_64 | 0.4 | n |  | TRUE
23 | bus_LV_351-70_1_3_node_102 | 0.4 | n |  | TRUE
24 | bus_LV_351-70_1_3_node_81 | 0.4 | n |  | TRUE
25 | bus_LV_351-70_1_3_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_351-70_1_3_node_135 | 0.4 | n |  | TRUE
27 | bus_LV_351-70_1_3_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_351-70_1_3_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_351-70_1_3_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_351-70_1_3_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_351-70_1_3_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_351-70_1_3_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_351-70_1_3_node_132 | 0.4 | n |  | TRUE
34 | bus_LV_351-70_1_3_node_126 | 0.4 | n |  | TRUE
35 | bus_LV_351-70_1_3_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_351-70_1_3_node_133 | 0.4 | n |  | TRUE
37 | bus_LV_351-70_1_3_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_351-70_1_3_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_351-70_1_3_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_351-70_1_3_node_134 | 0.4 | n |  | TRUE
41 | bus_LV_351-70_1_3_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_351-70_1_3_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_351-70_1_3_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_351-70_1_3_node_127 | 0.4 | n |  | TRUE
45 | bus_LV_351-70_1_3_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_351-70_1_3_node_65 | 0.4 | n |  | TRUE
47 | bus_LV_351-70_1_3_node_87 | 0.4 | n |  | TRUE
48 | bus_LV_351-70_1_3_node_88 | 0.4 | n |  | TRUE
49 | bus_LV_351-70_1_3_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_351-70_1_3_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_351-70_1_3_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_351-70_1_3_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_351-70_1_3_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_351-70_1_3_node_124 | 0.4 | n |  | TRUE
55 | bus_LV_351-70_1_3_node_123 | 0.4 | n |  | TRUE
56 | bus_LV_351-70_1_3_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_351-70_1_3_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_351-70_1_3_node_113 | 0.4 | n |  | TRUE
59 | bus_LV_351-70_1_3_node_114 | 0.4 | n |  | TRUE
60 | bus_LV_351-70_1_3_node_92 | 0.4 | n |  | TRUE
61 | bus_LV_351-70_1_3_node_93 | 0.4 | n |  | TRUE
62 | bus_LV_351-70_1_3_node_94 | 0.4 | n |  | TRUE
63 | bus_LV_351-70_1_3_node_96 | 0.4 | n |  | TRUE
64 | bus_LV_351-70_1_3_node_99 | 0.4 | n |  | TRUE
65 | bus_LV_351-70_1_3_node_100 | 0.4 | n |  | TRUE
66 | bus_LV_351-70_1_3_node_103 | 0.4 | n |  | TRUE
67 | bus_LV_351-70_1_3_node_104 | 0.4 | n |  | TRUE
68 | bus_LV_351-70_1_3_node_105 | 0.4 | n |  | TRUE
69 | bus_LV_351-70_1_3_node_107 | 0.4 | n |  | TRUE
70 | bus_LV_351-70_1_3_node_112 | 0.4 | n |  | TRUE
71 | bus_LV_351-70_1_3_node_122 | 0.4 | n |  | TRUE
72 | bus_LV_351-70_1_3_node_125 | 0.4 | n |  | TRUE
73 | bus_LV_351-70_1_3_node_128 | 0.4 | n |  | TRUE
74 | bus_LV_351-70_1_3_node_129 | 0.4 | n |  | TRUE
75 | bus_LV_351-70_1_3_node_130 | 0.4 | n |  | TRUE
76 | bus_LV_351-70_1_3_node_131 | 0.4 | n |  | TRUE
77 | bus_LV_351-70_1_3_node_136 | 0.4 | n |  | TRUE
78 | bus_MV_592_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-70_1_3_load_89 | 2 | 0.0053528 | 0.0013415 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-70_1_3_load_83 | 3 | 0.0040072 | 0.0010043 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-70_1_3_load_60 | 6 | 0.0098715 | 0.002474 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-70_1_3_load_63 | 7 | 0.009764 | 0.0024471 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-70_1_3_load_101 | 8 | 0.003359 | 0.00084185 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-70_1_3_load_80 | 10 | 0.0030689 | 0.00076914 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-70_1_3_load_85 | 12 | 0.0044078 | 0.0011047 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-70_1_3_load_86 | 14 | 0.0096353 | 0.0024148 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-70_1_3_load_61 | 15 | 0.0094944 | 0.0023795 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-70_1_3_load_139 | 18 | 0.0057666 | 0.0014452 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-70_1_3_load_66 | 21 | 0.022075 | 0.0055326 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-70_1_3_load_64 | 22 | 0.0043007 | 0.0010779 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-70_1_3_load_102 | 23 | 0.0023986 | 0.00060115 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-70_1_3_load_81 | 24 | 0.0027719 | 0.00069472 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-70_1_3_load_135 | 26 | 0.0081038 | 0.002031 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-70_1_3_load_44 | 28 | 0.0026387 | 0.00066131 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-70_1_3_load_45 | 29 | 0.0026397 | 0.00066157 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-70_1_3_load_46 | 30 | 0.0026056 | 0.00065303 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-70_1_3_load_47 | 31 | 0.0033926 | 0.00085026 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-70_1_3_load_48 | 32 | 0.0025922 | 0.00064966 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-70_1_3_load_132 | 33 | 0.0025815 | 0.00064699 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-70_1_3_load_133 | 36 | 0.0025891 | 0.00064888 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-70_1_3_load_49 | 37 | 0.0051265 | 0.0012848 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-70_1_3_load_57 | 38 | 0.0060502 | 0.0015163 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-70_1_3_load_56 | 39 | 0.0052793 | 0.0013231 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-70_1_3_load_134 | 40 | 0.0076905 | 0.0019274 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-70_1_3_load_53 | 41 | 0.0018458 | 0.00046259 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-70_1_3_load_54 | 42 | 0.00090522 | 0.00022687 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-70_1_3_load_127 | 44 | 0.002648 | 0.00066366 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-70_1_3_load_65 | 46 | 0.0024441 | 0.00061254 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-70_1_3_load_87 | 47 | 0.0033691 | 0.00084437 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-70_1_3_load_88 | 48 | 0.0039994 | 0.0010023 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-70_1_3_load_67 | 49 | 0.0030558 | 0.00076586 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-70_1_3_load_68 | 50 | 0.0030728 | 0.00077011 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-70_1_3_load_70 | 52 | 0.0028504 | 0.00071438 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-70_1_3_load_72 | 53 | 0.0026424 | 0.00066224 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-70_1_3_load_124 | 54 | 0.0025903 | 0.00064918 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-70_1_3_load_123 | 55 | 0.0025857 | 0.00064803 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-70_1_3_load_91 | 56 | 0.0035236 | 0.00088309 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-70_1_3_load_82 | 57 | 0.0027641 | 0.00069275 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-70_1_3_load_113 | 58 | 0.002586 | 0.00064812 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-70_1_3_load_114 | 59 | 0.0025952 | 0.00065042 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-70_1_3_load_92 | 60 | 0.0053215 | 0.0013337 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-70_1_3_load_93 | 61 | 0.0032803 | 0.00082213 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-70_1_3_load_94 | 62 | 0.0053803 | 0.0013484 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-70_1_3_load_96 | 63 | 0.0025108 | 0.00062928 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-70_1_3_load_99 | 64 | 0.0025101 | 0.00062908 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-70_1_3_load_100 | 65 | 0.0024052 | 0.00060279 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-70_1_3_load_103 | 66 | 0.0033617 | 0.00084252 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-70_1_3_load_104 | 67 | 0.0033817 | 0.00084752 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-70_1_3_load_105 | 68 | 0.0026579 | 0.00066614 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-70_1_3_load_107 | 69 | 0.0025901 | 0.00064915 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-70_1_3_load_112 | 70 | 0.0025901 | 0.00064914 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-70_1_3_load_122 | 71 | 0.0025897 | 0.00064903 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-70_1_3_load_125 | 72 | 0.0026504 | 0.00066426 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-70_1_3_load_128 | 73 | 0.00259 | 0.00064911 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-70_1_3_load_129 | 74 | 0.0025847 | 0.00064779 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-70_1_3_load_130 | 75 | 0.0027352 | 0.00068551 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-70_1_3_load_131 | 76 | 0.016669 | 0.0041776 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-70_1_3_load_136 | 77 | 0.0068594 | 0.0017191 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-70_1_3_line_0 |  | 0 | 1 | 0.00388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-70_1_3_line_1 |  | 0 | 2 | 0.016121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-70_1_3_line_2 |  | 0 | 3 | 0.023707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-70_1_3_line_3 |  | 1 | 8 | 0.0085489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-70_1_3_line_4 |  | 2 | 16 | 0.0075649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-70_1_3_line_5 |  | 3 | 9 | 0.031167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-70_1_3_line_6 |  | 4 | 5 | 0.006528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-70_1_3_line_7 |  | 4 | 6 | 0.019264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-70_1_3_line_8 |  | 5 | 7 | 0.0083673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-70_1_3_line_9 |  | 6 | 15 | 0.019487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-70_1_3_line_10 |  | 7 | 22 | 0.021453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-70_1_3_line_11 |  | 8 | 23 | 0.0087197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-70_1_3_line_12 |  | 9 | 10 | 0.014526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-70_1_3_line_13 |  | 10 | 24 | 0.0079686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-70_1_3_line_14 |  | 11 | 12 | 0.03107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-70_1_3_line_15 |  | 11 | 13 | 0.15665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-70_1_3_line_16 |  | 13 | 14 | 0.033435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-70_1_3_line_17 |  | 13 | 15 | 0.008658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-70_1_3_line_18 |  | 16 | 56 | 0.0084171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-70_1_3_line_19 |  | 16 | 53 | 0.017911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-70_1_3_line_20 |  | 17 | 18 | 0.003065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-70_1_3_line_21 |  | 17 | 19 | 0.010856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-70_1_3_line_22 |  | 19 | 34 | 0.025886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-70_1_3_line_23 |  | 19 | 35 | 0.02304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-70_1_3_line_24 |  | 19 | 20 | 0.020872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-70_1_3_line_25 |  | 19 | 31 | 0.0088902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-70_1_3_line_26 |  | 20 | 21 | 0.024265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-70_1_3_line_27 |  | 22 | 46 | 0.0090639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-70_1_3_line_28 |  | 23 | 65 | 0.0072384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-70_1_3_line_29 |  | 24 | 57 | 0.0075018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-70_1_3_line_30 |  | 25 | 26 | 0.013195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-70_1_3_line_31 |  | 25 | 27 | 0.025122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-70_1_3_line_32 |  | 26 | 40 | 0.013845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-70_1_3_line_33 |  | 27 | 35 | 0.025638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-70_1_3_line_34 |  | 27 | 37 | 0.021921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-70_1_3_line_35 |  | 28 | 29 | 0.018154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-70_1_3_line_36 |  | 28 | 30 | 0.0073359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-70_1_3_line_37 |  | 29 | 31 | 0.00859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-70_1_3_line_38 |  | 30 | 32 | 0.0072564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-70_1_3_line_39 |  | 32 | 33 | 0.007229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-70_1_3_line_40 |  | 33 | 36 | 0.0072547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-70_1_3_line_41 |  | 34 | 44 | 0.010072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_351-70_1_3_line_42 |  | 34 | 45 | 0.025322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_351-70_1_3_line_43 |  | 35 | 38 | 0.016299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-70_1_3_line_44 |  | 36 | 71 | 0.0072562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-70_1_3_line_45 |  | 38 | 39 | 0.0069174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-70_1_3_line_46 |  | 39 | 43 | 0.0096955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-70_1_3_line_47 |  | 40 | 77 | 0.0054816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-70_1_3_line_48 |  | 41 | 42 | 0.0019275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-70_1_3_line_49 |  | 41 | 43 | 0.012697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-70_1_3_line_50 |  | 44 | 73 | 0.0073315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-70_1_3_line_51 |  | 45 | 54 | 0.017463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-70_1_3_line_52 |  | 45 | 51 | 0.003419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-70_1_3_line_53 |  | 46 | 47 | 0.0088719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-70_1_3_line_54 |  | 47 | 48 | 0.016878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-70_1_3_line_55 |  | 48 | 57 | 0.0093475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-70_1_3_line_56 |  | 49 | 50 | 0.0069233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-70_1_3_line_57 |  | 49 | 51 | 0.012096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-70_1_3_line_58 |  | 50 | 52 | 0.0063204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-70_1_3_line_59 |  | 51 | 53 | 0.0070142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-70_1_3_line_60 |  | 54 | 55 | 0.0072502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-70_1_3_line_61 |  | 55 | 72 | 0.00328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-70_1_3_line_62 |  | 56 | 58 | 0.0089182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-70_1_3_line_63 |  | 58 | 59 | 0.0072589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-70_1_3_line_64 |  | 59 | 70 | 0.0072517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-70_1_3_line_65 |  | 60 | 61 | 0.0096713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-70_1_3_line_66 |  | 60 | 62 | 0.012639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-70_1_3_line_67 |  | 62 | 63 | 0.0098524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-70_1_3_line_68 |  | 63 | 64 | 0.0072468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-70_1_3_line_69 |  | 64 | 65 | 0.0072444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-70_1_3_line_70 |  | 66 | 67 | 0.0074597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-70_1_3_line_71 |  | 66 | 68 | 0.018879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-70_1_3_line_72 |  | 68 | 69 | 0.0073406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-70_1_3_line_73 |  | 69 | 70 | 0.0072381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-70_1_3_line_74 |  | 73 | 74 | 0.0072412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-70_1_3_line_75 |  | 74 | 75 | 0.0074539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_351-70_1_3_line_76 |  | 75 | 76 | 0.0067811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-70_1_3_trafo_127 | 0.63 MVA 20/0.4 kV | 78 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2602421.1934 | 1199322.8139 | 2602418.2765 | 1199325.3808
1 | 2602418.2765 | 1199325.3808 | 2602406.3694 | 1199336.2492
2 | 2602418.2765 | 1199325.3808 | 2602433.7271 | 1199343.3618
3 | 2602421.1934 | 1199322.8139 | 2602415.7226 | 1199316.2447
4 | 2602400.7821 | 1199341.3491 | 2602406.3694 | 1199336.2492
5 | 2602453.9289 | 1199367.095 | 2602438.382 | 1199348.779 | 2602433.7271 | 1199343.3618
6 | 2602370.1157 | 1199439.034 | 2602373.6493 | 1199436.3117 | 2602375.3247 | 1199435.1006
7 | 2602370.1157 | 1199439.034 | 2602361.9137 | 1199445.2564 | 2602354.1314 | 1199449.3001 | 2602353.9514 | 1199449.3846
8 | 2602375.3247 | 1199435.1006 | 2602380.9982 | 1199430.9339 | 2602382.036 | 1199430.105
9 | 2602353.9514 | 1199449.3846 | 2602345.5953 | 1199453.3101 | 2602337.4707 | 1199456.7199 | 2602336.1177 | 1199457.2247
10 | 2602382.036 | 1199430.105 | 2602390.4721 | 1199423.3668 | 2602398.445 | 1199416.2967
11 | 2602415.7226 | 1199316.2447 | 2602410.1425 | 1199309.5444
12 | 2602453.9289 | 1199367.095 | 2602443.0609 | 1199376.7324
13 | 2602443.0609 | 1199376.7324 | 2602437.0989 | 1199382.0194
14 | 2602210.5596 | 1199449.7583 | 2602237.6913 | 1199434.4821
15 | 2602210.5596 | 1199449.7583 | 2602208.4406 | 1199456.6056 | 2602207.823 | 1199459.229 | 2602207.571 | 1199461.5191 | 2602207.6007 | 1199463.4535 | 2602207.7675 | 1199465.3434 | 2602208.3987 | 1199467.3447 | 2602209.6389 | 1199469.5575 | 2602235.3699 | 1199495.8364 | 2602236.8471 | 1199495.2366 | 2602239.0781 | 1199494.3369 | 2602328.006 | 1199460.2516
16 | 2602328.006 | 1199460.2516 | 2602312.1378 | 1199445.5933 | 2602311.6584 | 1199444.9928 | 2602311.2704 | 1199444.3256 | 2602311.263 | 1199443.5474 | 2602311.6972 | 1199442.9139 | 2602318.6046 | 1199437.4691
17 | 2602328.006 | 1199460.2516 | 2602336.1177 | 1199457.2247
18 | 2602400.7821 | 1199341.3491 | 2602395.4155 | 1199334.8648
19 | 2602400.7821 | 1199341.3491 | 2602387.494 | 1199353.3589
20 | 2602342.0897 | 1199402.5927 | 2602339.6603 | 1199404.4705
21 | 2602341.5598 | 1199394.5882 | 2602338.2165 | 1199397.3439 | 2602342.0897 | 1199402.5927
22 | 2602341.5598 | 1199394.5882 | 2602360.9272 | 1199377.353
23 | 2602326.7182 | 1199382.5872 | 2602337.212 | 1199396.054 | 2602338.2165 | 1199397.3439 | 2602341.5598 | 1199394.5882
24 | 2602354.3287 | 1199411.1241 | 2602341.5598 | 1199394.5882
25 | 2602341.5598 | 1199394.5882 | 2602336.1416 | 1199387.5398
26 | 2602354.3287 | 1199411.1241 | 2602372.3211 | 1199394.8431
27 | 2602405.2266 | 1199410.283 | 2602398.445 | 1199416.2967
28 | 2602410.1425 | 1199309.5444 | 2602405.5104 | 1199303.9823
29 | 2602437.0989 | 1199382.0194 | 2602431.486 | 1199386.9968
30 | 2602295.6706 | 1199342.3763 | 2602293.4316 | 1199344.0541 | 2602285.2294 | 1199350.4442
31 | 2602310.9052 | 1199362.3816 | 2602295.6706 | 1199342.3763
32 | 2602274.3074 | 1199358.9531 | 2602285.2294 | 1199350.4442
33 | 2602310.9052 | 1199362.3816 | 2602322.9059 | 1199377.383 | 2602326.7182 | 1199382.5872
34 | 2602310.9052 | 1199362.3816 | 2602308.3921 | 1199364.315 | 2602293.5718 | 1199375.8017
35 | 2602330.9065 | 1199380.7295 | 2602319.8425 | 1199366.3366
36 | 2602315.3716 | 1199360.5205 | 2602319.8425 | 1199366.3366
37 | 2602336.1416 | 1199387.5398 | 2602330.9065 | 1199380.7295
38 | 2602315.3716 | 1199360.5205 | 2602310.9492 | 1199354.7674
39 | 2602310.9492 | 1199354.7674 | 2602306.5435 | 1199349.0361
40 | 2602302.1221 | 1199343.2844 | 2602306.5435 | 1199349.0361
41 | 2602360.9272 | 1199377.353 | 2602354.5814 | 1199369.5317
42 | 2602360.9272 | 1199377.353 | 2602379.7541 | 1199360.3623
43 | 2602326.7182 | 1199382.5872 | 2602313.7782 | 1199392.4979
44 | 2602297.6998 | 1199337.5315 | 2602302.1221 | 1199343.2844
45 | 2602308.2865 | 1199396.704 | 2602313.7782 | 1199392.4979
46 | 2602300.5892 | 1199402.5993 | 2602308.2865 | 1199396.704
47 | 2602269.9831 | 1199362.3219 | 2602274.3074 | 1199358.9531
48 | 2602290.5112 | 1199410.322 | 2602288.9813 | 1199411.4944
49 | 2602300.5892 | 1199402.5993 | 2602290.5112 | 1199410.322
50 | 2602354.5814 | 1199369.5317 | 2602349.9622 | 1199363.8383
51 | 2602379.7541 | 1199360.3623 | 2602368.6597 | 1199346.876
52 | 2602379.7541 | 1199360.3623 | 2602382.2902 | 1199358.062
53 | 2602411.8645 | 1199404.3966 | 2602405.2266 | 1199410.283
54 | 2602411.8645 | 1199404.3966 | 2602424.4923 | 1199393.1986
55 | 2602424.4923 | 1199393.1986 | 2602431.486 | 1199386.9968
56 | 2602390.8493 | 1199366.6092 | 2602395.7482 | 1199371.5013
57 | 2602382.2902 | 1199358.062 | 2602390.8493 | 1199366.6092
58 | 2602400.2205 | 1199375.9675 | 2602395.7482 | 1199371.5013
59 | 2602382.2902 | 1199358.062 | 2602387.494 | 1199353.3589
60 | 2602364.0536 | 1199341.2769 | 2602368.6597 | 1199346.876
61 | 2602361.9698 | 1199338.7438 | 2602364.0536 | 1199341.2769
62 | 2602395.4155 | 1199334.8648 | 2602389.7294 | 1199327.9943
63 | 2602389.7294 | 1199327.9943 | 2602385.1013 | 1199322.4022
64 | 2602385.1013 | 1199322.4022 | 2602380.4777 | 1199316.8157
65 | 2602381.5279 | 1199275.8381 | 2602374.8574 | 1199268.8353
66 | 2602381.5279 | 1199275.8381 | 2602382.7479 | 1199277.1188 | 2602389.1861 | 1199284.3808 | 2602389.9318 | 1199285.2762
67 | 2602389.9318 | 1199285.2762 | 2602396.2368 | 1199292.847
68 | 2602396.2368 | 1199292.847 | 2602400.8744 | 1199298.4155
69 | 2602400.8744 | 1199298.4155 | 2602405.5104 | 1199303.9823
70 | 2602358.7569 | 1199291.3825 | 2602353.6546 | 1199285.9406
71 | 2602358.7569 | 1199291.3825 | 2602364.4829 | 1199297.4894 | 2602371.1825 | 1199305.5845
72 | 2602371.1825 | 1199305.5845 | 2602375.8628 | 1199311.2396
73 | 2602375.8628 | 1199311.2396 | 2602380.4777 | 1199316.8157
74 | 2602349.9622 | 1199363.8383 | 2602345.3999 | 1199358.2151
75 | 2602340.7036 | 1199352.4268 | 2602345.3999 | 1199358.2151
76 | 2602336.4311 | 1199347.1608 | 2602340.7036 | 1199352.4268

## bus_geodata
| x | y | coords
0 | 2602418.2765 | 1199325.3808
1 | 2602421.1934 | 1199322.8139
2 | 2602406.3694 | 1199336.2492
3 | 2602433.7271 | 1199343.3618
4 | 2602370.1157 | 1199439.034
5 | 2602375.3247 | 1199435.1006
6 | 2602353.9514 | 1199449.3846
7 | 2602382.036 | 1199430.105
8 | 2602415.7226 | 1199316.2447
9 | 2602453.9289 | 1199367.095
10 | 2602443.0609 | 1199376.7324
11 | 2602210.5596 | 1199449.7583
12 | 2602237.6913 | 1199434.4821
13 | 2602328.006 | 1199460.2516
14 | 2602318.6046 | 1199437.4691
15 | 2602336.1177 | 1199457.2247
16 | 2602400.7821 | 1199341.3491
17 | 2602342.0897 | 1199402.5927
18 | 2602339.6603 | 1199404.4705
19 | 2602341.5598 | 1199394.5882
20 | 2602354.3287 | 1199411.1241
21 | 2602372.3211 | 1199394.8431
22 | 2602398.445 | 1199416.2967
23 | 2602410.1425 | 1199309.5444
24 | 2602437.0989 | 1199382.0194
25 | 2602295.6706 | 1199342.3763
26 | 2602285.2294 | 1199350.4442
27 | 2602310.9052 | 1199362.3816
28 | 2602319.8425 | 1199366.3366
29 | 2602330.9065 | 1199380.7295
30 | 2602315.3716 | 1199360.5205
31 | 2602336.1416 | 1199387.5398
32 | 2602310.9492 | 1199354.7674
33 | 2602306.5435 | 1199349.0361
34 | 2602360.9272 | 1199377.353
35 | 2602326.7182 | 1199382.5872
36 | 2602302.1221 | 1199343.2844
37 | 2602293.5718 | 1199375.8017
38 | 2602313.7782 | 1199392.4979
39 | 2602308.2865 | 1199396.704
40 | 2602274.3074 | 1199358.9531
41 | 2602290.5112 | 1199410.322
42 | 2602288.9813 | 1199411.4944
43 | 2602300.5892 | 1199402.5993
44 | 2602354.5814 | 1199369.5317
45 | 2602379.7541 | 1199360.3623
46 | 2602405.2266 | 1199410.283
47 | 2602411.8645 | 1199404.3966
48 | 2602424.4923 | 1199393.1986
49 | 2602390.8493 | 1199366.6092
50 | 2602395.7482 | 1199371.5013
51 | 2602382.2902 | 1199358.062
52 | 2602400.2205 | 1199375.9675
53 | 2602387.494 | 1199353.3589
54 | 2602368.6597 | 1199346.876
55 | 2602364.0536 | 1199341.2769
56 | 2602395.4155 | 1199334.8648
57 | 2602431.486 | 1199386.9968
58 | 2602389.7294 | 1199327.9943
59 | 2602385.1013 | 1199322.4022
60 | 2602381.5279 | 1199275.8381
61 | 2602374.8574 | 1199268.8353
62 | 2602389.9318 | 1199285.2762
63 | 2602396.2368 | 1199292.847
64 | 2602400.8744 | 1199298.4155
65 | 2602405.5104 | 1199303.9823
66 | 2602358.7569 | 1199291.3825
67 | 2602353.6546 | 1199285.9406
68 | 2602371.1825 | 1199305.5845
69 | 2602375.8628 | 1199311.2396
70 | 2602380.4777 | 1199316.8157
71 | 2602297.6998 | 1199337.5315
72 | 2602361.9698 | 1199338.7438
73 | 2602349.9622 | 1199363.8383
74 | 2602345.3999 | 1199358.2151
75 | 2602340.7036 | 1199352.4268
76 | 2602336.4311 | 1199347.1608
77 | 2602269.9831 | 1199362.3219
78 | 2602360.9272 | 1199377.353

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1