## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-73_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-73_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_351-73_0_4_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_351-73_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_351-73_0_4_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_351-73_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_351-73_0_4_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_351-73_0_4_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_351-73_0_4_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_351-73_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_351-73_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_351-73_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_351-73_0_4_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_351-73_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_351-73_0_4_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_351-73_0_4_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_351-73_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_351-73_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_351-73_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_351-73_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_351-73_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_351-73_0_4_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_351-73_0_4_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_351-73_0_4_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_351-73_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_351-73_0_4_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_351-73_0_4_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_351-73_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_351-73_0_4_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_351-73_0_4_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_351-73_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_351-73_0_4_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_351-73_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_351-73_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_351-73_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_351-73_0_4_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_351-73_0_4_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_351-73_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_351-73_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_351-73_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_351-73_0_4_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_351-73_0_4_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_351-73_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_351-73_0_4_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_351-73_0_4_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_351-73_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_351-73_0_4_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_351-73_0_4_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_351-73_0_4_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_351-73_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_351-73_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_351-73_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_351-73_0_4_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_351-73_0_4_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_351-73_0_4_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_351-73_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_351-73_0_4_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_351-73_0_4_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_351-73_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_MV_592_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-73_0_4_load_0 | 0 | 0.0054987 | 0.0013781 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-73_0_4_load_7 | 2 | 0.023113 | 0.0057928 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-73_0_4_load_28 | 4 | 0.0042077 | 0.0010546 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-73_0_4_load_25 | 6 | 0.0047285 | 0.0011851 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-73_0_4_load_36 | 7 | 0.011064 | 0.0027728 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-73_0_4_load_34 | 8 | 0.01101 | 0.0027594 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-73_0_4_load_60 | 12 | 0.0066302 | 0.0016617 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-73_0_4_load_68 | 14 | 0.011743 | 0.0029431 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-73_0_4_load_56 | 15 | 0.011267 | 0.0028237 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-73_0_4_load_11 | 17 | 0.0090021 | 0.0022562 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-73_0_4_load_61 | 21 | 0.0084585 | 0.0021199 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-73_0_4_load_42 | 22 | 0.0098659 | 0.0024726 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-73_0_4_load_39 | 23 | 0.015553 | 0.0038979 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-73_0_4_load_53 | 25 | 0.0019083 | 0.00047826 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-73_0_4_load_51 | 26 | 0.006548 | 0.0016411 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-73_0_4_load_44 | 28 | 0.0087098 | 0.0021829 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-73_0_4_load_63 | 29 | 0.0034418 | 0.00086259 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-73_0_4_load_32 | 31 | 0.0091865 | 0.0023024 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-73_0_4_load_31 | 32 | 0.0056822 | 0.0014241 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-73_0_4_load_41 | 35 | 0.017842 | 0.0044715 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-73_0_4_load_40 | 36 | 0.016009 | 0.0040122 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-73_0_4_load_29 | 37 | 0.005307 | 0.0013301 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-73_0_4_load_30 | 38 | 0.0091916 | 0.0023036 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-73_0_4_load_62 | 40 | 0.0084817 | 0.0021257 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-73_0_4_load_47 | 41 | 0.002541 | 0.00063683 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-73_0_4_load_46 | 42 | 0.011797 | 0.0029566 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-73_0_4_load_52 | 44 | 0.01327 | 0.0033259 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-73_0_4_load_43 | 45 | 0.0086788 | 0.0021751 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-73_0_4_load_50 | 46 | 0.011815 | 0.002961 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-73_0_4_load_27 | 48 | 0.0091951 | 0.0023045 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-73_0_4_load_33 | 49 | 0.0091942 | 0.0023043 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-73_0_4_load_37 | 50 | 0.01153 | 0.0028897 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-73_0_4_load_38 | 51 | 0.0098062 | 0.0024577 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-73_0_4_load_65 | 53 | 0.01075 | 0.0026941 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-73_0_4_load_66 | 54 | 0.011007 | 0.0027587 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-73_0_4_load_67 | 56 | 0.0027381 | 0.00068624 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-73_0_4_load_57 | 57 | 0.016192 | 0.0040581 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-73_0_4_line_0 |  | 0 | 1 | 0.054772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-73_0_4_line_1 |  | 1 | 2 | 0.022481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-73_0_4_line_2 |  | 2 | 9 | 0.013793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-73_0_4_line_3 |  | 3 | 4 | 0.02638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-73_0_4_line_4 |  | 3 | 5 | 0.10824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-73_0_4_line_5 |  | 3 | 6 | 0.011042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-73_0_4_line_6 |  | 4 | 16 | 0.012443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-73_0_4_line_7 |  | 5 | 7 | 0.025606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-73_0_4_line_8 |  | 5 | 8 | 0.010093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-73_0_4_line_9 |  | 6 | 33 | 0.031853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-73_0_4_line_10 |  | 8 | 34 | 0.032618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-73_0_4_line_11 |  | 9 | 10 | 0.01889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-73_0_4_line_12 |  | 9 | 11 | 0.015676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-73_0_4_line_13 |  | 10 | 12 | 0.0090373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-73_0_4_line_14 |  | 11 | 16 | 0.0037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-73_0_4_line_15 |  | 11 | 17 | 0.052328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-73_0_4_line_16 |  | 13 | 14 | 0.067316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-73_0_4_line_17 |  | 13 | 15 | 0.027331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-73_0_4_line_18 |  | 14 | 39 | 0.040587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-73_0_4_line_19 |  | 15 | 22 | 0.020782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-73_0_4_line_20 |  | 16 | 37 | 0.029631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-73_0_4_line_21 |  | 18 | 19 | 0.015139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-73_0_4_line_22 |  | 18 | 20 | 0.011743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-73_0_4_line_23 |  | 18 | 21 | 0.0028363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-73_0_4_line_24 |  | 19 | 29 | 0.0185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-73_0_4_line_25 |  | 19 | 24 | 0.019135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-73_0_4_line_26 |  | 20 | 22 | 0.01327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-73_0_4_line_27 |  | 20 | 23 | 0.032282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-73_0_4_line_28 |  | 21 | 40 | 0.021077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-73_0_4_line_29 |  | 23 | 36 | 0.02079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-73_0_4_line_30 |  | 24 | 25 | 0.011097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_351-73_0_4_line_31 |  | 24 | 26 | 0.012881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-73_0_4_line_32 |  | 25 | 43 | 0.030319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_351-73_0_4_line_33 |  | 26 | 44 | 0.016362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-73_0_4_line_34 |  | 27 | 28 | 0.014668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-73_0_4_line_35 |  | 27 | 29 | 0.0096552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-73_0_4_line_36 |  | 28 | 45 | 0.022342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-73_0_4_line_37 |  | 30 | 31 | 0.012469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-73_0_4_line_38 |  | 30 | 32 | 0.014119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-73_0_4_line_39 |  | 31 | 49 | 0.015631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-73_0_4_line_40 |  | 32 | 38 | 0.019797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-73_0_4_line_41 |  | 33 | 48 | 0.007567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-73_0_4_line_42 |  | 34 | 50 | 0.023035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-73_0_4_line_43 |  | 34 | 51 | 0.010067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-73_0_4_line_44 |  | 35 | 36 | 0.059116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-73_0_4_line_45 |  | 37 | 38 | 0.022037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-73_0_4_line_46 |  | 39 | 58 | 0.00849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-73_0_4_line_47 |  | 41 | 42 | 0.0047053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-73_0_4_line_48 |  | 42 | 47 | 0.026722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-73_0_4_line_49 |  | 43 | 56 | 0.0091425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_351-73_0_4_line_50 |  | 44 | 55 | 0.010673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-73_0_4_line_51 |  | 46 | 47 | 0.0098974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-73_0_4_line_52 |  | 47 | 55 | 0.042126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-73_0_4_line_53 |  | 51 | 52 | 0.031428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_351-73_0_4_line_54 |  | 52 | 53 | 0.025827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_351-73_0_4_line_55 |  | 52 | 54 | 0.0101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-73_0_4_line_56 |  | 53 | 56 | 0.0046294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_351-73_0_4_line_57 |  | 57 | 58 | 0.011471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-73_0_4_trafo_65 | 0.63 MVA 20/0.4 kV | 59 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2602524.4019 | 1199655.4336 | 2602524.3403 | 1199657.279 | 2602524.5822 | 1199661.4813 | 2602525.4178 | 1199665.7617 | 2602533.0796 | 1199695.2918 | 2602533.2923 | 1199696.3814 | 2602533.4212 | 1199697.571 | 2602533.4129 | 1199699.4497 | 2602533.2372 | 1199700.7281 | 2602532.8711 | 1199702.4067 | 2602531.3393 | 1199706.3748 | 2602530.233 | 1199708.5046
1 | 2602524.4019 | 1199655.4336 | 2602539.9192 | 1199650.9709 | 2602544.7997 | 1199649.561 | 2602546.0027 | 1199649.2058
2 | 2602545.544 | 1199635.4204 | 2602546.0027 | 1199649.2058
3 | 2602596.7729 | 1199616.1204 | 2602571.4014 | 1199623.3464
4 | 2602596.7729 | 1199616.1204 | 2602598.2398 | 1199621.7018 | 2602606.5319 | 1199654.2339 | 2602633.8504 | 1199647.3752 | 2602628.8347 | 1199626.6063 | 2602628.0059 | 1199624.2825 | 2602625.3302 | 1199614.5984 | 2602623.4298 | 1199608.0163
5 | 2602596.7729 | 1199616.1204 | 2602593.6965 | 1199605.5161
6 | 2602559.4339 | 1199626.7549 | 2602571.4014 | 1199623.3464
7 | 2602623.4298 | 1199608.0163 | 2602648.0583 | 1199601.0084
8 | 2602623.4298 | 1199608.0163 | 2602620.6149 | 1199598.3242
9 | 2602584.7768 | 1199574.9377 | 2602585.3546 | 1199576.7612 | 2602593.6965 | 1199605.5161
10 | 2602611.5175 | 1199567.0003 | 2602620.6149 | 1199598.3242
11 | 2602531.569 | 1199629.2558 | 2602534.1191 | 1199629.8349 | 2602537.5904 | 1199630.47 | 2602540.331 | 1199630.7269 | 2602542.0743 | 1199630.8721 | 2602544.3964 | 1199630.7508 | 2602545.4395 | 1199630.5622 | 2602545.544 | 1199635.4204
12 | 2602545.544 | 1199635.4204 | 2602545.4395 | 1199630.5622 | 2602547.5258 | 1199629.7182 | 2602551.9798 | 1199628.764 | 2602555.8705 | 1199627.7873
13 | 2602531.569 | 1199629.2558 | 2602528.783 | 1199628.3431 | 2602524.6422 | 1199626.4848 | 2602523.2996 | 1199625.6768
14 | 2602559.4339 | 1199626.7549 | 2602555.8705 | 1199627.7873
15 | 2602555.8705 | 1199627.7873 | 2602544.1178 | 1199586.5381 | 2602541.4204 | 1199577.4946
16 | 2602710.8147 | 1199466.245 | 2602713.7161 | 1199481.6878 | 2602730.0634 | 1199495.1023 | 2602731.6178 | 1199509.3106 | 2602728.9516 | 1199512.9558 | 2602729.0497 | 1199514.9347 | 2602723.1897 | 1199522.6213
17 | 2602710.8147 | 1199466.245 | 2602699.8277 | 1199468.5636 | 2602686.8686 | 1199471.4594 | 2602684.12 | 1199472.1049
18 | 2602698.4955 | 1199554.8314 | 2602713.4183 | 1199535.4387 | 2602723.1897 | 1199522.6213
19 | 2602663.9328 | 1199477.0387 | 2602679.3079 | 1199473.2349 | 2602684.12 | 1199472.1049
20 | 2602559.4339 | 1199626.7549 | 2602551.2529 | 1199598.2755
21 | 2602635.3749 | 1199465.8341 | 2602636.2192 | 1199467.5354 | 2602637.1398 | 1199468.9588 | 2602638.0531 | 1199469.6595 | 2602639.4765 | 1199470.3494 | 2602641.0067 | 1199470.5502 | 2602642.6131 | 1199470.4063 | 2602643.7172 | 1199470.14 | 2602648.0953 | 1199468.8968
22 | 2602648.0953 | 1199468.8968 | 2602649.167 | 1199472.9772 | 2602651.0596 | 1199480.2597
23 | 2602648.0953 | 1199468.8968 | 2602650.8413 | 1199468.1865
24 | 2602635.3749 | 1199465.8341 | 2602630.1449 | 1199448.0887
25 | 2602626.0822 | 1199476.3135 | 2602624.0296 | 1199469.3534 | 2602630.4941 | 1199467.3884 | 2602635.3749 | 1199465.8341
26 | 2602651.0596 | 1199480.2597 | 2602658.2702 | 1199478.4396 | 2602663.9328 | 1199477.0387
27 | 2602651.0596 | 1199480.2597 | 2602647.9987 | 1199481.0699 | 2602645.5848 | 1199482.3029 | 2602643.8254 | 1199484.0253 | 2602643.0785 | 1199485.9593 | 2602643.0852 | 1199488.0271 | 2602643.6249 | 1199489.9728 | 2602648.5409 | 1199507.0623
28 | 2602650.8413 | 1199468.1865 | 2602671.2471 | 1199462.9086
29 | 2602654.2885 | 1199527.0425 | 2602648.5409 | 1199507.0623
30 | 2602626.0822 | 1199476.3135 | 2602629.2168 | 1199486.9584
31 | 2602626.0822 | 1199476.3135 | 2602624.7116 | 1199476.702 | 2602619.3671 | 1199476.7331 | 2602613.4986 | 1199478.4402
32 | 2602637.6753 | 1199516.0731 | 2602632.2932 | 1199497.4053 | 2602629.2168 | 1199486.9584
33 | 2602613.4986 | 1199478.4402 | 2602597.7879 | 1199483.0102
34 | 2602627.4153 | 1199438.8273 | 2602631.3367 | 1199437.6395 | 2602641.5051 | 1199434.7517
35 | 2602627.4153 | 1199438.8273 | 2602630.1449 | 1199448.0887
36 | 2602662.4834 | 1199427.1394 | 2602647.7073 | 1199433.0107 | 2602641.89 | 1199434.6424 | 2602641.5051 | 1199434.7517
37 | 2602535.5247 | 1199544.5787 | 2602547.4891 | 1199541.0674
38 | 2602535.5247 | 1199544.5787 | 2602539.5154 | 1199558.1221
39 | 2602547.4891 | 1199541.0674 | 2602562.4871 | 1199536.6658
40 | 2602545.1108 | 1199577.1114 | 2602539.5154 | 1199558.1221
41 | 2602577.4825 | 1199577.0247 | 2602584.7768 | 1199574.9377
42 | 2602611.5175 | 1199567.0003 | 2602633.6821 | 1199560.7287
43 | 2602611.5175 | 1199567.0003 | 2602608.6458 | 1199557.3518
44 | 2602670.1837 | 1199581.6181 | 2602666.5368 | 1199569.114 | 2602664.8166 | 1199568.2795 | 2602663.5547 | 1199563.8543 | 2602664.5299 | 1199562.2317 | 2602657.0117 | 1199536.4035 | 2602655.2687 | 1199535.3911 | 2602654.0678 | 1199530.877 | 2602654.8832 | 1199529.1097 | 2602654.2885 | 1199527.0425
45 | 2602545.1108 | 1199577.1114 | 2602547.5974 | 1199585.5501 | 2602551.2529 | 1199598.2755
46 | 2602698.4955 | 1199554.8314 | 2602690.1963 | 1199556.7288
47 | 2602600.8452 | 1199439.2941 | 2602601.8193 | 1199439.0054 | 2602605.3595 | 1199437.9669
48 | 2602576.0074 | 1199445.4758 | 2602577.2486 | 1199445.0983 | 2602581.8476 | 1199443.7106 | 2602582.1897 | 1199444.8225 | 2602600.8452 | 1199439.2941
49 | 2602637.6753 | 1199516.0731 | 2602636.6855 | 1199516.3729 | 2602628.9079 | 1199518.665
50 | 2602587.5397 | 1199485.9912 | 2602597.7879 | 1199483.0102
51 | 2602576.0074 | 1199445.4758 | 2602573.5172 | 1199435.8968
52 | 2602576.0074 | 1199445.4758 | 2602578.1587 | 1199453.4032 | 2602581.0929 | 1199464.0657 | 2602587.5397 | 1199485.9912
53 | 2602599.6807 | 1199527.2296 | 2602608.6458 | 1199557.3518
54 | 2602599.6807 | 1199527.2296 | 2602620.3378 | 1199521.1907 | 2602624.4673 | 1199519.9737
55 | 2602599.6807 | 1199527.2296 | 2602596.8282 | 1199517.5407
56 | 2602628.9079 | 1199518.665 | 2602624.4673 | 1199519.9737
57 | 2602690.1963 | 1199556.7288 | 2602680.9325 | 1199549.9644

## bus_geodata
| x | y | coords
0 | 2602530.233 | 1199708.5046
1 | 2602524.4019 | 1199655.4336
2 | 2602546.0027 | 1199649.2058
3 | 2602596.7729 | 1199616.1204
4 | 2602571.4014 | 1199623.3464
5 | 2602623.4298 | 1199608.0163
6 | 2602593.6965 | 1199605.5161
7 | 2602648.0583 | 1199601.0084
8 | 2602620.6149 | 1199598.3242
9 | 2602545.544 | 1199635.4204
10 | 2602531.569 | 1199629.2558
11 | 2602555.8705 | 1199627.7873
12 | 2602523.2996 | 1199625.6768
13 | 2602710.8147 | 1199466.245
14 | 2602723.1897 | 1199522.6213
15 | 2602684.12 | 1199472.1049
16 | 2602559.4339 | 1199626.7549
17 | 2602541.4204 | 1199577.4946
18 | 2602648.0953 | 1199468.8968
19 | 2602635.3749 | 1199465.8341
20 | 2602651.0596 | 1199480.2597
21 | 2602650.8413 | 1199468.1865
22 | 2602663.9328 | 1199477.0387
23 | 2602648.5409 | 1199507.0623
24 | 2602626.0822 | 1199476.3135
25 | 2602629.2168 | 1199486.9584
26 | 2602613.4986 | 1199478.4402
27 | 2602627.4153 | 1199438.8273
28 | 2602641.5051 | 1199434.7517
29 | 2602630.1449 | 1199448.0887
30 | 2602535.5247 | 1199544.5787
31 | 2602547.4891 | 1199541.0674
32 | 2602539.5154 | 1199558.1221
33 | 2602584.7768 | 1199574.9377
34 | 2602611.5175 | 1199567.0003
35 | 2602670.1837 | 1199581.6181
36 | 2602654.2885 | 1199527.0425
37 | 2602551.2529 | 1199598.2755
38 | 2602545.1108 | 1199577.1114
39 | 2602698.4955 | 1199554.8314
40 | 2602671.2471 | 1199462.9086
41 | 2602605.3595 | 1199437.9669
42 | 2602600.8453 | 1199439.2941
43 | 2602637.6753 | 1199516.0731
44 | 2602597.7879 | 1199483.0102
45 | 2602662.4834 | 1199427.1394
46 | 2602573.5172 | 1199435.8968
47 | 2602576.0074 | 1199445.4758
48 | 2602577.4825 | 1199577.0247
49 | 2602562.4871 | 1199536.6658
50 | 2602633.6821 | 1199560.7287
51 | 2602608.6458 | 1199557.3518
52 | 2602599.6807 | 1199527.2296
53 | 2602624.4673 | 1199519.9737
54 | 2602596.8282 | 1199517.5407
55 | 2602587.5397 | 1199485.9912
56 | 2602628.9079 | 1199518.665
57 | 2602680.9325 | 1199549.9644
58 | 2602690.1963 | 1199556.7288
59 | 2602637.6753 | 1199516.0731

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1