## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_352-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_352-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_352-2_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_352-2_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_352-2_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_352-2_0_5_node_64 | 0.4 | n |  | TRUE
6 | bus_LV_352-2_0_5_node_43 | 0.4 | n |  | TRUE
7 | bus_LV_352-2_0_5_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_352-2_0_5_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_352-2_0_5_node_69 | 0.4 | n |  | TRUE
10 | bus_LV_352-2_0_5_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_352-2_0_5_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_352-2_0_5_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_352-2_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_352-2_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_352-2_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_352-2_0_5_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_352-2_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_352-2_0_5_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_352-2_0_5_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_352-2_0_5_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_352-2_0_5_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_352-2_0_5_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_352-2_0_5_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_352-2_0_5_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_352-2_0_5_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_352-2_0_5_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_352-2_0_5_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_352-2_0_5_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_352-2_0_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_352-2_0_5_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_352-2_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_352-2_0_5_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_352-2_0_5_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_352-2_0_5_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_352-2_0_5_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_352-2_0_5_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_352-2_0_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_352-2_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_352-2_0_5_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_352-2_0_5_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_352-2_0_5_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_352-2_0_5_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_352-2_0_5_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_352-2_0_5_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_352-2_0_5_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_352-2_0_5_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_352-2_0_5_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_352-2_0_5_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_352-2_0_5_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_352-2_0_5_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_352-2_0_5_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_352-2_0_5_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_352-2_0_5_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_352-2_0_5_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_352-2_0_5_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_352-2_0_5_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_352-2_0_5_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_352-2_0_5_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_352-2_0_5_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_352-2_0_5_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_352-2_0_5_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_352-2_0_5_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_352-2_0_5_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_352-2_0_5_node_67 | 0.4 | n |  | TRUE
65 | bus_MV_602_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_352-2_0_5_load_0 | 0 | 0.031135 | 0.0078032 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_352-2_0_5_load_1 | 1 | 0.0036794 | 0.00092214 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_352-2_0_5_load_2 | 2 | 0.0036821 | 0.00092282 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_352-2_0_5_load_3 | 3 | 0.0036857 | 0.00092373 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_352-2_0_5_load_64 | 5 | 0.0063176 | 0.0015833 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_352-2_0_5_load_34 | 8 | 0.0036835 | 0.00092317 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_352-2_0_5_load_69 | 9 | 0.0041946 | 0.0010513 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_352-2_0_5_load_45 | 11 | 0.024261 | 0.0060804 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_352-2_0_5_load_5 | 12 | 0.017904 | 0.0044872 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_352-2_0_5_load_37 | 16 | 0.0026484 | 0.00066376 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_352-2_0_5_load_35 | 18 | 0.014368 | 0.0036009 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_352-2_0_5_load_42 | 20 | 0.011693 | 0.0029306 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_352-2_0_5_load_21 | 22 | 0.033024 | 0.0082766 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_352-2_0_5_load_70 | 23 | 0.022481 | 0.0056344 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_352-2_0_5_load_61 | 24 | 0.0019856 | 0.00049765 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_352-2_0_5_load_41 | 26 | 0.015572 | 0.0039026 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_352-2_0_5_load_38 | 27 | 0.016874 | 0.0042291 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_352-2_0_5_load_36 | 28 | 0.0041575 | 0.001042 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_352-2_0_5_load_33 | 30 | 0.008087 | 0.0020268 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_352-2_0_5_load_18 | 31 | 0.0091681 | 0.0022977 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_352-2_0_5_load_60 | 32 | 0.0071048 | 0.0017806 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_352-2_0_5_load_39 | 33 | 0.0031026 | 0.00077758 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_352-2_0_5_load_16 | 34 | 0.014544 | 0.0036451 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_352-2_0_5_load_17 | 35 | 0.0043253 | 0.001084 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_352-2_0_5_load_32 | 37 | 0.0071882 | 0.0018015 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_352-2_0_5_load_24 | 38 | 0.0038051 | 0.00095364 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_352-2_0_5_load_51 | 41 | 0.0030225 | 0.0007575 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_352-2_0_5_load_23 | 42 | 0.0033707 | 0.00084477 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_352-2_0_5_load_25 | 43 | 0.0084007 | 0.0021054 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_352-2_0_5_load_26 | 44 | 0.005628 | 0.0014105 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_352-2_0_5_load_27 | 45 | 0.01544 | 0.0038696 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_352-2_0_5_load_28 | 46 | 0.0022774 | 0.00057077 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_352-2_0_5_load_62 | 48 | 0.003965 | 0.00099373 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_352-2_0_5_load_40 | 50 | 0.0025973 | 0.00065094 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_352-2_0_5_load_58 | 52 | 0.007004 | 0.0017554 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_352-2_0_5_load_57 | 53 | 0.0016979 | 0.00042552 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_352-2_0_5_load_68 | 54 | 0.014838 | 0.0037189 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_352-2_0_5_load_44 | 55 | 0.016675 | 0.004179 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_352-2_0_5_load_48 | 57 | 0.01242 | 0.0031127 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_352-2_0_5_load_54 | 58 | 0.012093 | 0.0030307 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_352-2_0_5_load_71 | 59 | 0.015173 | 0.0038026 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_352-2_0_5_load_53 | 60 | 0.011073 | 0.0027753 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_352-2_0_5_load_55 | 61 | 0.0054381 | 0.0013629 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_352-2_0_5_load_65 | 62 | 0.0034001 | 0.00085215 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_352-2_0_5_load_66 | 63 | 0.010071 | 0.0025239 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_352-2_0_5_line_0 |  | 0 | 1 | 0.014927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_352-2_0_5_line_1 |  | 0 | 2 | 0.001168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_352-2_0_5_line_2 |  | 1 | 3 | 0.021549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_352-2_0_5_line_3 |  | 2 | 4 | 0.022972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_352-2_0_5_line_4 |  | 3 | 5 | 1.4175e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_352-2_0_5_line_5 |  | 4 | 6 | 0.031548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_352-2_0_5_line_6 |  | 4 | 7 | 0.025902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_352-2_0_5_line_7 |  | 5 | 8 | 0.016082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_352-2_0_5_line_8 |  | 6 | 9 | 0.019717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_352-2_0_5_line_9 |  | 7 | 10 | 0.08497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_352-2_0_5_line_10 |  | 7 | 11 | 0.020535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_352-2_0_5_line_11 |  | 8 | 29 | 0.01469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_352-2_0_5_line_12 |  | 9 | 54 | 0.002933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_352-2_0_5_line_13 |  | 10 | 59 | 0.029747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_352-2_0_5_line_14 |  | 11 | 55 | 0.028652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_352-2_0_5_line_15 |  | 12 | 13 | 0.022104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_352-2_0_5_line_16 |  | 13 | 14 | 0.06638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_352-2_0_5_line_17 |  | 14 | 25 | 0.061667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_352-2_0_5_line_18 |  | 14 | 26 | 0.015706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_352-2_0_5_line_19 |  | 15 | 16 | 0.032415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_352-2_0_5_line_20 |  | 15 | 17 | 0.061571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_352-2_0_5_line_21 |  | 15 | 18 | 0.013441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_352-2_0_5_line_22 |  | 17 | 21 | 0.040086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_352-2_0_5_line_23 |  | 17 | 22 | 0.01973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_352-2_0_5_line_24 |  | 17 | 19 | 0.049226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_352-2_0_5_line_25 |  | 18 | 28 | 0.017324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_352-2_0_5_line_26 |  | 19 | 20 | 0.021671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_352-2_0_5_line_27 |  | 20 | 26 | 0.024431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_352-2_0_5_line_28 |  | 21 | 23 | 0.020411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_352-2_0_5_line_29 |  | 21 | 24 | 3.5097e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_352-2_0_5_line_30 |  | 24 | 32 | 0.0094641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_352-2_0_5_line_31 |  | 25 | 27 | 0.0065541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_352-2_0_5_line_32 |  | 27 | 33 | 0.0084333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_352-2_0_5_line_33 |  | 29 | 30 | 0.015837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_352-2_0_5_line_34 |  | 29 | 31 | 0.02233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_352-2_0_5_line_35 |  | 30 | 41 | 0.043488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_352-2_0_5_line_36 |  | 31 | 34 | 0.0094139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_352-2_0_5_line_37 |  | 32 | 47 | 0.033886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_352-2_0_5_line_38 |  | 33 | 50 | 0.018643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_352-2_0_5_line_39 |  | 34 | 35 | 0.034283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_352-2_0_5_line_40 |  | 35 | 36 | 0.022471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_352-2_0_5_line_41 |  | 36 | 37 | 0.0072034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_352-2_0_5_line_42 |  | 36 | 38 | 0.023336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_352-2_0_5_line_43 |  | 37 | 39 | 0.013179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_352-2_0_5_line_44 |  | 38 | 40 | 0.017207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_352-2_0_5_line_45 |  | 39 | 47 | 0.023358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_352-2_0_5_line_46 |  | 39 | 45 | 0.0094789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_352-2_0_5_line_47 |  | 40 | 42 | 0.040956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_352-2_0_5_line_48 |  | 41 | 49 | 0.053262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_352-2_0_5_line_49 |  | 43 | 44 | 0.015496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_352-2_0_5_line_50 |  | 43 | 45 | 0.01811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_352-2_0_5_line_51 |  | 44 | 46 | 0.013105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_352-2_0_5_line_52 |  | 47 | 48 | 0.00349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_352-2_0_5_line_53 |  | 49 | 60 | 0.0063781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_352-2_0_5_line_54 |  | 50 | 51 | 0.043147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_352-2_0_5_line_55 |  | 51 | 52 | 0.020598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_352-2_0_5_line_56 |  | 51 | 53 | 0.0092366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_352-2_0_5_line_57 |  | 54 | 64 | 0.012603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_352-2_0_5_line_58 |  | 55 | 56 | 0.011063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_352-2_0_5_line_59 |  | 56 | 57 | 0.0095835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_352-2_0_5_line_60 |  | 57 | 58 | 0.03223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_352-2_0_5_line_61 |  | 60 | 61 | 0.020877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_352-2_0_5_line_62 |  | 62 | 63 | 0.02941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_352-2_0_5_line_63 |  | 63 | 64 | 0.019341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_352-2_0_5_trafo_66 | 0.63 MVA 20/0.4 kV | 65 | 63 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2604397.973 | 1202553.6585 | 2604410.6966 | 1202561.464
1 | 2604397.973 | 1202553.6585 | 2604396.9774 | 1202553.0477
2 | 2604410.6966 | 1202561.464 | 2604429.0649 | 1202572.7322
3 | 2604377.3967 | 1202541.0357 | 2604396.9774 | 1202553.0477
4 | 2604429.0649 | 1202572.7322 | 2604429.077 | 1202572.7396
5 | 2604377.3967 | 1202541.0357 | 2604371.3419 | 1202569.5912 | 2604370.7924 | 1202571.881
6 | 2604377.3967 | 1202541.0357 | 2604382.2318 | 1202515.5921
7 | 2604442.785 | 1202581.149 | 2604429.077 | 1202572.7396
8 | 2604370.7924 | 1202571.881 | 2604388.7335 | 1202580.0579
9 | 2604382.2318 | 1202515.5921 | 2604385.8064 | 1202497.0069 | 2604390.1888 | 1202487.3715 | 2604388.7742 | 1202486.3143 | 2604387.4359 | 1202485.0238 | 2604385.999 | 1202483.2885 | 2604384.5849 | 1202481.5643 | 2604382.9804 | 1202479.94 | 2604380.7748 | 1202478.4488 | 2604377.2985 | 1202476.7231 | 2604344.3894 | 1202463.659 | 2604341.491 | 1202462.5119
10 | 2604382.2318 | 1202515.5921 | 2604363.5185 | 1202507.1374
11 | 2604455.8458 | 1202587.1289 | 2604452.1478 | 1202586.8927 | 2604442.785 | 1202581.149
12 | 2604391.4024 | 1202581.2743 | 2604388.7335 | 1202580.0579
13 | 2604341.491 | 1202462.5119 | 2604337.4956 | 1202473.8819 | 2604344.5759 | 1202490.1068
14 | 2604337.1498 | 1202505.7121 | 2604344.5071 | 1202501.1794 | 2604356.6497 | 1202504.0341 | 2604363.5185 | 1202507.1374
15 | 2604361.8594 | 1202655.9978 | 2604365.5465 | 1202650.0862 | 2604378.7127 | 1202657.5552
16 | 2604368.783 | 1202625.3751 | 2604361.6815 | 1202628.3383 | 2604358.2412 | 1202629.5142 | 2604353.9867 | 1202630.8564 | 2604349.2987 | 1202631.8758 | 2604344.748 | 1202632.3505 | 2604341.3771 | 1202632.3148 | 2604337.066 | 1202638.3261 | 2604342.6559 | 1202642.3211 | 2604349.1737 | 1202646.9616 | 2604361.8594 | 1202655.9978
17 | 2604313.6149 | 1202616.1863 | 2604315.386 | 1202618.7556 | 2604318.2144 | 1202621.9149 | 2604321.1652 | 1202624.2182 | 2604324.4583 | 1202626.4884 | 2604328.5277 | 1202628.7481 | 2604332.5062 | 1202630.2851 | 2604336.8503 | 1202631.4666 | 2604341.3771 | 1202632.3148 | 2604344.748 | 1202632.3505 | 2604349.2987 | 1202631.8758 | 2604353.9867 | 1202630.8564 | 2604358.2412 | 1202629.5142 | 2604361.6815 | 1202628.3383 | 2604368.783 | 1202625.3751
18 | 2604368.783 | 1202625.3751 | 2604375.2046 | 1202626.3136 | 2604384.1279 | 1202628.6192
19 | 2604463.6095 | 1202718.4834 | 2604442.6927 | 1202717.4897 | 2604431.3636 | 1202719.3092
20 | 2604463.6095 | 1202718.4834 | 2604462.592 | 1202715.57 | 2604461.9037 | 1202710.022 | 2604461.6271 | 1202703.3182 | 2604461.7763 | 1202696.9593 | 2604461.8392 | 1202694.2579 | 2604461.9574 | 1202688.6994 | 2604462.1659 | 1202684.5195 | 2604464.7303 | 1202684.4213 | 2604467.1734 | 1202683.645 | 2604469.3202 | 1202682.2458 | 2604471.0185 | 1202680.3238 | 2604472.1387 | 1202678.0233 | 2604472.597 | 1202675.6446 | 2604472.439 | 1202673.221 | 2604471.6722 | 1202670.9192 | 2604470.3421 | 1202668.8949 | 2604468.5399 | 1202667.2593 | 2604466.3873 | 1202666.1349
21 | 2604463.6095 | 1202718.4834 | 2604465.6459 | 1202722.287 | 2604471.5455 | 1202729.2506
22 | 2604466.3873 | 1202666.1349 | 2604468.5399 | 1202667.2593 | 2604470.3421 | 1202668.8949 | 2604471.6722 | 1202670.9192 | 2604472.439 | 1202673.221 | 2604472.597 | 1202675.6446 | 2604472.1387 | 1202678.0233 | 2604482.0219 | 1202679.5648 | 2604487.0969 | 1202680.0244 | 2604491.9365 | 1202679.8167 | 2604497.4916 | 1202679.2761
23 | 2604466.3873 | 1202666.1349 | 2604469.7575 | 1202656.7434 | 2604473.8419 | 1202647.8873
24 | 2604425.7369 | 1202648.1065 | 2604433.7305 | 1202653.1817 | 2604441.1378 | 1202658.7235 | 2604446.1949 | 1202662.9183 | 2604455.1687 | 1202669.7397 | 2604456.8517 | 1202667.851 | 2604458.9681 | 1202666.463 | 2604461.3808 | 1202665.6976 | 2604463.9148 | 1202665.5772 | 2604466.3873 | 1202666.1349
25 | 2604481.0821 | 1202743.7137 | 2604471.5455 | 1202729.2506
26 | 2604425.7369 | 1202648.1065 | 2604406.5478 | 1202638.0365
27 | 2604384.1279 | 1202628.6192 | 2604390.3061 | 1202630.2155 | 2604395.6767 | 1202632.3316 | 2604406.5478 | 1202638.0365
28 | 2604497.4916 | 1202679.2761 | 2604486.1209 | 1202672.4973 | 2604483.7975 | 1202665.6808
29 | 2604497.5259 | 1202679.2685 | 2604497.4916 | 1202679.2761
30 | 2604506.6598 | 1202676.8241 | 2604505.5665 | 1202677.2143 | 2604501.6012 | 1202678.3675 | 2604497.5259 | 1202679.2685
31 | 2604313.6149 | 1202616.1863 | 2604310.3311 | 1202610.5141
32 | 2604310.3311 | 1202610.5141 | 2604306.1058 | 1202603.2157
33 | 2604455.8458 | 1202587.1289 | 2604460.6836 | 1202579.1058 | 2604464.1005 | 1202573.6139
34 | 2604455.8458 | 1202587.1289 | 2604478.0097 | 1202589.8466 | 2604478.0097 | 1202589.8466
35 | 2604459.0104 | 1202538.6963 | 2604470.6514 | 1202548.6189 | 2604472.2935 | 1202550.6879 | 2604473.0683 | 1202552.5006 | 2604473.3334 | 1202554.2795 | 2604473.2785 | 1202556.4362 | 2604472.7973 | 1202558.8927 | 2604471.593 | 1202561.5711 | 2604464.1005 | 1202573.6139
36 | 2604486.0645 | 1202594.7191 | 2604478.0097 | 1202589.8466
37 | 2604538.8572 | 1202666.311 | 2604531.9161 | 1202668.318 | 2604524.526 | 1202670.447 | 2604506.6598 | 1202676.8241
38 | 2604306.1058 | 1202603.2157 | 2604300.2997 | 1202593.1866 | 2604297.9335 | 1202586.541
39 | 2604486.0645 | 1202594.7191 | 2604492.362 | 1202598.5286 | 2604510.5549 | 1202609.9816 | 2604514.7602 | 1202613.4088
40 | 2604526.3197 | 1202632.4833 | 2604525.902 | 1202631.3824 | 2604524.8995 | 1202628.8136 | 2604523.6536 | 1202626.0668 | 2604521.1534 | 1202621.7737 | 2604518.1815 | 1202617.3024 | 2604514.7602 | 1202613.4088
41 | 2604526.3197 | 1202632.4833 | 2604526.92 | 1202633.5399 | 2604527.8474 | 1202634.8413 | 2604529.5278 | 1202636.4879 | 2604531.1737 | 1202637.6888
42 | 2604526.3197 | 1202632.4833 | 2604523.153 | 1202634.1374 | 2604518.359 | 1202624.184 | 2604511.3733 | 1202618.972
43 | 2604542.93 | 1202643.5128 | 2604537.742 | 1202641.5634 | 2604534.9201 | 1202640.0939 | 2604532.2885 | 1202638.5022 | 2604531.1737 | 1202637.6888
44 | 2604497.582 | 1202608.6824 | 2604511.3733 | 1202618.972
45 | 2604538.8572 | 1202666.311 | 2604539.7729 | 1202652.6932 | 2604542.93 | 1202643.5128
46 | 2604542.93 | 1202643.5128 | 2604546.2835 | 1202634.647
47 | 2604497.582 | 1202608.6824 | 2604509.3909 | 1202589.2029 | 2604516.7199 | 1202572.5696
48 | 2604418.4761 | 1202504.1455 | 2604459.0104 | 1202538.6963
49 | 2604556.7551 | 1202602.8053 | 2604556.2896 | 1202605.947 | 2604553.6114 | 1202615.7391 | 2604552.8084 | 1202617.7535
50 | 2604546.2835 | 1202634.647 | 2604550.1732 | 1202624.3635 | 2604552.8084 | 1202617.7535
51 | 2604556.7551 | 1202602.8053 | 2604557.5363 | 1202597.5322 | 2604558.2572 | 1202590.0065 | 2604558.2563 | 1202589.7926
52 | 2604538.8572 | 1202666.311 | 2604542.3418 | 1202666.1156
53 | 2604418.4761 | 1202504.1455 | 2604424.6788 | 1202502.6604
54 | 2604294.148 | 1202544.2335 | 2604293.1688 | 1202573.1596 | 2604297.9335 | 1202586.541
55 | 2604294.148 | 1202544.2335 | 2604283.3969 | 1202542.9364 | 2604279.1444 | 1202541.2991 | 2604277.1758 | 1202538.2628 | 2604276.8449 | 1202536.7036
56 | 2604294.148 | 1202544.2335 | 2604294.1946 | 1202542.9106 | 2604295.0408 | 1202535.0431
57 | 2604402.8703 | 1202586.501 | 2604391.4024 | 1202581.2743
58 | 2604331.0896 | 1202514.7883 | 2604335.9276 | 1202506.465 | 2604337.1498 | 1202505.7121
59 | 2604331.0896 | 1202514.7883 | 2604330.605 | 1202524.3595
60 | 2604330.605 | 1202524.3595 | 2604328.9754 | 1202556.5478
61 | 2604439.9989 | 1202509.9088 | 2604436.9678 | 1202513.3529 | 2604424.6788 | 1202502.6604
62 | 2604445.4064 | 1202608.6365 | 2604444.9482 | 1202609.3662 | 2604419.864 | 1202595.7354
63 | 2604402.8703 | 1202586.501 | 2604407.7459 | 1202589.1504 | 2604419.864 | 1202595.7354

## bus_geodata
| x | y | coords
0 | 2604397.973 | 1202553.6585
1 | 2604410.6966 | 1202561.464
2 | 2604396.9774 | 1202553.0477
3 | 2604429.0649 | 1202572.7322
4 | 2604377.3967 | 1202541.0357
5 | 2604429.077 | 1202572.7396
6 | 2604370.7924 | 1202571.881
7 | 2604382.2318 | 1202515.5921
8 | 2604442.785 | 1202581.149
9 | 2604388.7335 | 1202580.0579
10 | 2604341.491 | 1202462.5119
11 | 2604363.5185 | 1202507.1374
12 | 2604378.7127 | 1202657.5552
13 | 2604361.8594 | 1202655.9978
14 | 2604368.783 | 1202625.3751
15 | 2604463.6095 | 1202718.4834
16 | 2604431.3636 | 1202719.3092
17 | 2604466.3873 | 1202666.1349
18 | 2604471.5455 | 1202729.2506
19 | 2604425.7369 | 1202648.1065
20 | 2604406.5478 | 1202638.0365
21 | 2604497.4916 | 1202679.2761
22 | 2604473.8419 | 1202647.8873
23 | 2604483.7975 | 1202665.6808
24 | 2604497.5259 | 1202679.2685
25 | 2604313.6149 | 1202616.1863
26 | 2604384.1279 | 1202628.6192
27 | 2604310.3311 | 1202610.5141
28 | 2604481.0821 | 1202743.7137
29 | 2604455.8458 | 1202587.1289
30 | 2604464.1005 | 1202573.6139
31 | 2604478.0097 | 1202589.8466
32 | 2604506.6598 | 1202676.8241
33 | 2604306.1058 | 1202603.2157
34 | 2604486.0645 | 1202594.7191
35 | 2604514.7602 | 1202613.4088
36 | 2604526.3197 | 1202632.4833
37 | 2604531.1737 | 1202637.6888
38 | 2604511.3733 | 1202618.972
39 | 2604542.93 | 1202643.5128
40 | 2604497.582 | 1202608.6824
41 | 2604459.0104 | 1202538.6963
42 | 2604516.7199 | 1202572.5696
43 | 2604552.8084 | 1202617.7535
44 | 2604556.7551 | 1202602.8053
45 | 2604546.2835 | 1202634.647
46 | 2604558.2563 | 1202589.7926
47 | 2604538.8572 | 1202666.311
48 | 2604542.3418 | 1202666.1156
49 | 2604418.4761 | 1202504.1455
50 | 2604297.9335 | 1202586.541
51 | 2604294.148 | 1202544.2335
52 | 2604276.8449 | 1202536.7036
53 | 2604295.0408 | 1202535.0431
54 | 2604391.4024 | 1202581.2743
55 | 2604337.1498 | 1202505.7121
56 | 2604331.0896 | 1202514.7883
57 | 2604330.6051 | 1202524.3595
58 | 2604328.9754 | 1202556.5478
59 | 2604344.5759 | 1202490.1068
60 | 2604424.6788 | 1202502.6604
61 | 2604439.9989 | 1202509.9088
62 | 2604445.4064 | 1202608.6365
63 | 2604419.864 | 1202595.7354
64 | 2604402.8703 | 1202586.501
65 | 2604402.8703 | 1202586.501

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1