## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_352-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_352-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_352-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_352-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_352-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_352-4_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_352-4_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_352-4_0_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_352-4_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_352-4_0_4_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_352-4_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_352-4_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_352-4_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_352-4_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_352-4_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_352-4_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_352-4_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_352-4_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_352-4_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_352-4_0_4_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_352-4_0_4_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_352-4_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_352-4_0_4_node_71 | 0.4 | n |  | TRUE
23 | bus_LV_352-4_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_352-4_0_4_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_352-4_0_4_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_352-4_0_4_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_352-4_0_4_node_69 | 0.4 | n |  | TRUE
28 | bus_LV_352-4_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_352-4_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_352-4_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_352-4_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_352-4_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_352-4_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_352-4_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_352-4_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_352-4_0_4_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_352-4_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_352-4_0_4_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_352-4_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_352-4_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_352-4_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_352-4_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_352-4_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_352-4_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_352-4_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_352-4_0_4_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_352-4_0_4_node_129 | 0.4 | n |  | TRUE
48 | bus_LV_352-4_0_4_node_125 | 0.4 | n |  | TRUE
49 | bus_LV_352-4_0_4_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_352-4_0_4_node_143 | 0.4 | n |  | TRUE
51 | bus_LV_352-4_0_4_node_126 | 0.4 | n |  | TRUE
52 | bus_LV_352-4_0_4_node_124 | 0.4 | n |  | TRUE
53 | bus_LV_352-4_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_352-4_0_4_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_352-4_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_352-4_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_352-4_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_352-4_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_352-4_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_352-4_0_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_352-4_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_352-4_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_352-4_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_352-4_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_352-4_0_4_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_352-4_0_4_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_352-4_0_4_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_352-4_0_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_352-4_0_4_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_352-4_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_352-4_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_352-4_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_352-4_0_4_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_352-4_0_4_node_101 | 0.4 | n |  | TRUE
75 | bus_LV_352-4_0_4_node_102 | 0.4 | n |  | TRUE
76 | bus_LV_352-4_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_352-4_0_4_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_352-4_0_4_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_352-4_0_4_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_352-4_0_4_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_352-4_0_4_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_352-4_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_352-4_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_352-4_0_4_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_352-4_0_4_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_352-4_0_4_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_352-4_0_4_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_352-4_0_4_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_352-4_0_4_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_352-4_0_4_node_97 | 0.4 | n |  | TRUE
91 | bus_LV_352-4_0_4_node_96 | 0.4 | n |  | TRUE
92 | bus_LV_352-4_0_4_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_352-4_0_4_node_86 | 0.4 | n |  | TRUE
94 | bus_LV_352-4_0_4_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_352-4_0_4_node_88 | 0.4 | n |  | TRUE
96 | bus_LV_352-4_0_4_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_352-4_0_4_node_99 | 0.4 | n |  | TRUE
98 | bus_LV_352-4_0_4_node_100 | 0.4 | n |  | TRUE
99 | bus_LV_352-4_0_4_node_98 | 0.4 | n |  | TRUE
100 | bus_LV_352-4_0_4_node_112 | 0.4 | n |  | TRUE
101 | bus_LV_352-4_0_4_node_108 | 0.4 | n |  | TRUE
102 | bus_LV_352-4_0_4_node_91 | 0.4 | n |  | TRUE
103 | bus_LV_352-4_0_4_node_92 | 0.4 | n |  | TRUE
104 | bus_LV_352-4_0_4_node_94 | 0.4 | n |  | TRUE
105 | bus_LV_352-4_0_4_node_93 | 0.4 | n |  | TRUE
106 | bus_LV_352-4_0_4_node_95 | 0.4 | n |  | TRUE
107 | bus_LV_352-4_0_4_node_111 | 0.4 | n |  | TRUE
108 | bus_LV_352-4_0_4_node_138 | 0.4 | n |  | TRUE
109 | bus_LV_352-4_0_4_node_139 | 0.4 | n |  | TRUE
110 | bus_LV_352-4_0_4_node_106 | 0.4 | n |  | TRUE
111 | bus_LV_352-4_0_4_node_103 | 0.4 | n |  | TRUE
112 | bus_LV_352-4_0_4_node_104 | 0.4 | n |  | TRUE
113 | bus_LV_352-4_0_4_node_105 | 0.4 | n |  | TRUE
114 | bus_LV_352-4_0_4_node_120 | 0.4 | n |  | TRUE
115 | bus_LV_352-4_0_4_node_117 | 0.4 | n |  | TRUE
116 | bus_LV_352-4_0_4_node_107 | 0.4 | n |  | TRUE
117 | bus_LV_352-4_0_4_node_109 | 0.4 | n |  | TRUE
118 | bus_LV_352-4_0_4_node_110 | 0.4 | n |  | TRUE
119 | bus_LV_352-4_0_4_node_161 | 0.4 | n |  | TRUE
120 | bus_LV_352-4_0_4_node_121 | 0.4 | n |  | TRUE
121 | bus_LV_352-4_0_4_node_137 | 0.4 | n |  | TRUE
122 | bus_LV_352-4_0_4_node_113 | 0.4 | n |  | TRUE
123 | bus_LV_352-4_0_4_node_114 | 0.4 | n |  | TRUE
124 | bus_LV_352-4_0_4_node_115 | 0.4 | n |  | TRUE
125 | bus_LV_352-4_0_4_node_116 | 0.4 | n |  | TRUE
126 | bus_LV_352-4_0_4_node_118 | 0.4 | n |  | TRUE
127 | bus_LV_352-4_0_4_node_119 | 0.4 | n |  | TRUE
128 | bus_LV_352-4_0_4_node_122 | 0.4 | n |  | TRUE
129 | bus_LV_352-4_0_4_node_123 | 0.4 | n |  | TRUE
130 | bus_LV_352-4_0_4_node_162 | 0.4 | n |  | TRUE
131 | bus_LV_352-4_0_4_node_163 | 0.4 | n |  | TRUE
132 | bus_LV_352-4_0_4_node_127 | 0.4 | n |  | TRUE
133 | bus_LV_352-4_0_4_node_128 | 0.4 | n |  | TRUE
134 | bus_LV_352-4_0_4_node_141 | 0.4 | n |  | TRUE
135 | bus_LV_352-4_0_4_node_130 | 0.4 | n |  | TRUE
136 | bus_LV_352-4_0_4_node_131 | 0.4 | n |  | TRUE
137 | bus_LV_352-4_0_4_node_132 | 0.4 | n |  | TRUE
138 | bus_LV_352-4_0_4_node_133 | 0.4 | n |  | TRUE
139 | bus_LV_352-4_0_4_node_134 | 0.4 | n |  | TRUE
140 | bus_LV_352-4_0_4_node_135 | 0.4 | n |  | TRUE
141 | bus_LV_352-4_0_4_node_136 | 0.4 | n |  | TRUE
142 | bus_LV_352-4_0_4_node_157 | 0.4 | n |  | TRUE
143 | bus_LV_352-4_0_4_node_155 | 0.4 | n |  | TRUE
144 | bus_LV_352-4_0_4_node_158 | 0.4 | n |  | TRUE
145 | bus_LV_352-4_0_4_node_154 | 0.4 | n |  | TRUE
146 | bus_LV_352-4_0_4_node_140 | 0.4 | n |  | TRUE
147 | bus_LV_352-4_0_4_node_142 | 0.4 | n |  | TRUE
148 | bus_LV_352-4_0_4_node_144 | 0.4 | n |  | TRUE
149 | bus_LV_352-4_0_4_node_145 | 0.4 | n |  | TRUE
150 | bus_LV_352-4_0_4_node_164 | 0.4 | n |  | TRUE
151 | bus_LV_352-4_0_4_node_146 | 0.4 | n |  | TRUE
152 | bus_LV_352-4_0_4_node_147 | 0.4 | n |  | TRUE
153 | bus_LV_352-4_0_4_node_148 | 0.4 | n |  | TRUE
154 | bus_LV_352-4_0_4_node_149 | 0.4 | n |  | TRUE
155 | bus_LV_352-4_0_4_node_150 | 0.4 | n |  | TRUE
156 | bus_LV_352-4_0_4_node_151 | 0.4 | n |  | TRUE
157 | bus_LV_352-4_0_4_node_152 | 0.4 | n |  | TRUE
158 | bus_LV_352-4_0_4_node_153 | 0.4 | n |  | TRUE
159 | bus_LV_352-4_0_4_node_156 | 0.4 | n |  | TRUE
160 | bus_LV_352-4_0_4_node_159 | 0.4 | n |  | TRUE
161 | bus_LV_352-4_0_4_node_160 | 0.4 | n |  | TRUE
162 | bus_MV_602_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_352-4_0_4_load_0 | 0 | 0.0021212 | 0.00053163 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_352-4_0_4_load_1 | 1 | 0.003576 | 0.00089623 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_352-4_0_4_load_3 | 3 | 0.0018877 | 0.00047309 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_352-4_0_4_load_4 | 4 | 0.0028693 | 0.00071911 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_352-4_0_4_load_6 | 6 | 0.0021041 | 0.00052733 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_352-4_0_4_load_15 | 7 | 0.0033249 | 0.00083329 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_352-4_0_4_load_16 | 8 | 0.0024799 | 0.00062153 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_352-4_0_4_load_17 | 9 | 0.0019308 | 0.00048391 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_352-4_0_4_load_7 | 10 | 0.0036866 | 0.00092395 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_352-4_0_4_load_8 | 11 | 0.0027474 | 0.00068856 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_352-4_0_4_load_9 | 12 | 0.0029623 | 0.00074243 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_352-4_0_4_load_11 | 14 | 0.0034129 | 0.00085535 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_352-4_0_4_load_12 | 15 | 0.0046758 | 0.0011719 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_352-4_0_4_load_20 | 18 | 0.0018532 | 0.00046446 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_352-4_0_4_load_53 | 19 | 0.0018869 | 0.00047291 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_352-4_0_4_load_18 | 21 | 0.0034225 | 0.00085775 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_352-4_0_4_load_71 | 22 | 0.0037729 | 0.00094559 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_352-4_0_4_load_19 | 23 | 0.0027849 | 0.00069796 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_352-4_0_4_load_63 | 25 | 0.0019908 | 0.00049894 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_352-4_0_4_load_57 | 26 | 0.0014397 | 0.00036082 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_352-4_0_4_load_69 | 27 | 0.0036543 | 0.00091584 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_352-4_0_4_load_22 | 28 | 0.0033331 | 0.00083535 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_352-4_0_4_load_23 | 29 | 0.0015572 | 0.00039026 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_352-4_0_4_load_25 | 31 | 0.0018589 | 0.00046588 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_352-4_0_4_load_26 | 32 | 0.0018053 | 0.00045246 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_352-4_0_4_load_27 | 33 | 0.0024656 | 0.00061795 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_352-4_0_4_load_28 | 34 | 0.0018864 | 0.00047279 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_352-4_0_4_load_29 | 35 | 0.0017439 | 0.00043706 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_352-4_0_4_load_46 | 36 | 0.0019275 | 0.00048308 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_352-4_0_4_load_47 | 38 | 0.0018981 | 0.0004757 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_352-4_0_4_load_36 | 39 | 0.0010983 | 0.00027525 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_352-4_0_4_load_37 | 40 | 0.0011709 | 0.00029345 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_352-4_0_4_load_30 | 41 | 0.0023357 | 0.00058539 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_352-4_0_4_load_31 | 42 | 0.0021723 | 0.00054442 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_352-4_0_4_load_32 | 43 | 0.0012542 | 0.00031432 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_352-4_0_4_load_33 | 44 | 0.0012469 | 0.0003125 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_352-4_0_4_load_35 | 45 | 0.0011435 | 0.00028659 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_352-4_0_4_load_55 | 46 | 0.0022372 | 0.0005607 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_352-4_0_4_load_129 | 47 | 0.0033001 | 0.00082708 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_352-4_0_4_load_56 | 49 | 0.0012064 | 0.00030234 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_352-4_0_4_load_143 | 50 | 0.0020349 | 0.00050999 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_352-4_0_4_load_126 | 51 | 0.0018505 | 0.00046378 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_352-4_0_4_load_124 | 52 | 0.00207 | 0.0005188 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_352-4_0_4_load_38 | 53 | 0.0019673 | 0.00049306 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_352-4_0_4_load_39 | 54 | 0.0030518 | 0.00076485 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_352-4_0_4_load_41 | 56 | 0.0039232 | 0.00098324 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_352-4_0_4_load_42 | 57 | 0.0015696 | 0.00039338 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_352-4_0_4_load_43 | 58 | 0.0019089 | 0.00047843 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_352-4_0_4_load_44 | 59 | 0.0014862 | 0.00037247 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_352-4_0_4_load_45 | 60 | 0.0022736 | 0.00056981 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_352-4_0_4_load_52 | 61 | 0.0019795 | 0.00049612 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_352-4_0_4_load_58 | 62 | 0.0022057 | 0.00055279 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_352-4_0_4_load_59 | 64 | 0.0014949 | 0.00037467 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_352-4_0_4_load_67 | 65 | 0.0018601 | 0.00046618 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_352-4_0_4_load_48 | 66 | 0.0026218 | 0.00065708 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_352-4_0_4_load_51 | 67 | 0.0024603 | 0.00061661 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_352-4_0_4_load_54 | 68 | 0.0077265 | 0.0019364 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_352-4_0_4_load_66 | 69 | 0.0030737 | 0.00077034 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_352-4_0_4_load_60 | 70 | 0.0030512 | 0.0007647 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_352-4_0_4_load_61 | 71 | 0.0011843 | 0.00029681 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_352-4_0_4_load_65 | 72 | 0.0012348 | 0.00030946 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_352-4_0_4_load_64 | 73 | 0.0039996 | 0.0010024 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_352-4_0_4_load_101 | 74 | 0.0019146 | 0.00047985 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_352-4_0_4_load_102 | 75 | 0.0057401 | 0.0014386 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_352-4_0_4_load_68 | 76 | 0.0034515 | 0.00086501 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_352-4_0_4_load_70 | 77 | 0.0020209 | 0.00050647 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_352-4_0_4_load_72 | 78 | 0.0047752 | 0.0011968 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_352-4_0_4_load_73 | 79 | 0.002076 | 0.00052029 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_352-4_0_4_load_74 | 80 | 0.0027367 | 0.00068588 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_352-4_0_4_load_76 | 82 | 0.0028963 | 0.00072589 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_352-4_0_4_load_78 | 83 | 0.0017789 | 0.00044583 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_352-4_0_4_load_79 | 85 | 0.0018536 | 0.00046455 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_352-4_0_4_load_83 | 87 | 0.0017663 | 0.00044268 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_352-4_0_4_load_81 | 88 | 0.0011631 | 0.00029151 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_352-4_0_4_load_84 | 89 | 0.0013714 | 0.00034371 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_352-4_0_4_load_97 | 90 | 0.0018256 | 0.00045753 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_352-4_0_4_load_96 | 91 | 0.0018622 | 0.0004667 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_352-4_0_4_load_85 | 92 | 0.0029815 | 0.00074722 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_352-4_0_4_load_86 | 93 | 0.0029852 | 0.00074817 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_352-4_0_4_load_90 | 96 | 0.0028958 | 0.00072577 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_352-4_0_4_load_99 | 97 | 0.0039375 | 0.00098683 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_352-4_0_4_load_100 | 98 | 0.003038 | 0.00076139 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_352-4_0_4_load_112 | 100 | 0.0028659 | 0.00071826 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_352-4_0_4_load_91 | 102 | 0.0029239 | 0.00073279 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_352-4_0_4_load_92 | 103 | 0.0028615 | 0.00071715 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_352-4_0_4_load_94 | 104 | 0.0030169 | 0.00075611 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_352-4_0_4_load_93 | 105 | 0.0026007 | 0.00065179 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_352-4_0_4_load_95 | 106 | 0.0013245 | 0.00033195 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_352-4_0_4_load_138 | 108 | 0.0029716 | 0.00074476 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_352-4_0_4_load_139 | 109 | 0.0024829 | 0.00062228 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_352-4_0_4_load_106 | 110 | 0.0029612 | 0.00074215 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_352-4_0_4_load_103 | 111 | 0.0053251 | 0.0013346 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_352-4_0_4_load_104 | 112 | 0.0035661 | 0.00089376 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_352-4_0_4_load_105 | 113 | 0.005428 | 0.0013604 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_352-4_0_4_load_120 | 114 | 0.0049918 | 0.0012511 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_352-4_0_4_load_117 | 115 | 0.012996 | 0.003257 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_352-4_0_4_load_107 | 116 | 0.0028961 | 0.00072584 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_352-4_0_4_load_109 | 117 | 0.0028864 | 0.00072341 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_352-4_0_4_load_110 | 118 | 0.0029644 | 0.00074295 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_352-4_0_4_load_161 | 119 | 0.0030255 | 0.00075826 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_352-4_0_4_load_121 | 120 | 0.0029019 | 0.00072728 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_352-4_0_4_load_137 | 121 | 0.0029487 | 0.00073902 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_352-4_0_4_load_113 | 122 | 0.0029903 | 0.00074945 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_352-4_0_4_load_114 | 123 | 0.0021977 | 0.00055079 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_352-4_0_4_load_115 | 124 | 0.0029897 | 0.00074928 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_352-4_0_4_load_119 | 127 | 0.0021401 | 0.00053636 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_352-4_0_4_load_122 | 128 | 0.0029224 | 0.00073242 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_352-4_0_4_load_123 | 129 | 0.0018074 | 0.00045297 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_352-4_0_4_load_162 | 130 | 0.0030129 | 0.00075509 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_352-4_0_4_load_163 | 131 | 0.0088393 | 0.0022153 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_352-4_0_4_load_127 | 132 | 0.00079261 | 0.00019865 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_352-4_0_4_load_128 | 133 | 0.0024556 | 0.00061542 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_352-4_0_4_load_141 | 134 | 0.0039532 | 0.00099077 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_352-4_0_4_load_130 | 135 | 0.0032739 | 0.00082053 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_352-4_0_4_load_131 | 136 | 0.0028043 | 0.00070282 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_352-4_0_4_load_132 | 137 | 0.0040719 | 0.0010205 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_352-4_0_4_load_133 | 138 | 0.0025751 | 0.00064539 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_352-4_0_4_load_135 | 140 | 0.0027705 | 0.00069436 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_352-4_0_4_load_157 | 142 | 0.0029195 | 0.0007317 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_352-4_0_4_load_155 | 143 | 0.0024653 | 0.00061787 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_352-4_0_4_load_158 | 144 | 0.0040184 | 0.0010071 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_352-4_0_4_load_154 | 145 | 0.0037391 | 0.0009371 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_352-4_0_4_load_140 | 146 | 0.0015738 | 0.00039444 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_352-4_0_4_load_142 | 147 | 0.0015657 | 0.0003924 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_352-4_0_4_load_164 | 150 | 0.0016318 | 0.00040897 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_352-4_0_4_load_146 | 151 | 0.0041674 | 0.0010445 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_352-4_0_4_load_147 | 152 | 0.0037257 | 0.00093374 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_352-4_0_4_load_149 | 154 | 0.0021042 | 0.00052735 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_352-4_0_4_load_150 | 155 | 0.0046156 | 0.0011568 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_352-4_0_4_load_151 | 156 | 0.0049417 | 0.0012385 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_352-4_0_4_load_152 | 157 | 0.0042907 | 0.0010754 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_352-4_0_4_load_153 | 158 | 0.0024245 | 0.00060763 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_352-4_0_4_load_156 | 159 | 0.004246 | 0.0010641 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_352-4_0_4_load_159 | 160 | 0.0022147 | 0.00055506 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_352-4_0_4_load_160 | 161 | 0.0065176 | 0.0016335 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 114 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_352-4_0_4_line_0 |  | 0 | 1 | 0.0061104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_352-4_0_4_line_1 |  | 0 | 2 | 0.02372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_352-4_0_4_line_2 |  | 1 | 3 | 0.0095657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_352-4_0_4_line_3 |  | 2 | 4 | 0.0036111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_352-4_0_4_line_4 |  | 3 | 5 | 0.0157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_352-4_0_4_line_5 |  | 4 | 6 | 0.015368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_352-4_0_4_line_6 |  | 5 | 7 | 0.012918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_352-4_0_4_line_7 |  | 6 | 8 | 0.0072984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_352-4_0_4_line_8 |  | 8 | 9 | 0.0010763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_352-4_0_4_line_9 |  | 9 | 21 | 0.019847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_352-4_0_4_line_10 |  | 10 | 11 | 0.0089374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_352-4_0_4_line_11 |  | 10 | 12 | 0.0010661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_352-4_0_4_line_12 |  | 11 | 13 | 0.017594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_352-4_0_4_line_13 |  | 12 | 14 | 0.0062626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_352-4_0_4_line_14 |  | 13 | 15 | 0.025468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_352-4_0_4_line_15 |  | 13 | 16 | 0.017821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_352-4_0_4_line_16 |  | 14 | 17 | 0.012344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_352-4_0_4_line_17 |  | 15 | 18 | 0.0057567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_352-4_0_4_line_18 |  | 16 | 19 | 0.015979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_352-4_0_4_line_19 |  | 16 | 20 | 0.049172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_352-4_0_4_line_20 |  | 17 | 21 | 0.013751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_352-4_0_4_line_21 |  | 17 | 22 | 0.0096756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_352-4_0_4_line_22 |  | 18 | 23 | 0.00056115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_352-4_0_4_line_23 |  | 19 | 24 | 0.0036258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_352-4_0_4_line_24 |  | 20 | 25 | 0.01971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_352-4_0_4_line_25 |  | 20 | 26 | 0.0084873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_352-4_0_4_line_26 |  | 22 | 27 | 0.0076585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_352-4_0_4_line_27 |  | 24 | 66 | 0.014439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_352-4_0_4_line_28 |  | 25 | 73 | 0.018523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_352-4_0_4_line_29 |  | 26 | 49 | 0.0020034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_352-4_0_4_line_30 |  | 27 | 76 | 0.0038042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_352-4_0_4_line_31 |  | 28 | 29 | 0.034777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_352-4_0_4_line_32 |  | 28 | 30 | 0.031341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_352-4_0_4_line_33 |  | 29 | 31 | 0.0028256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_352-4_0_4_line_34 |  | 30 | 32 | 0.0038947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_352-4_0_4_line_35 |  | 30 | 33 | 0.022755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_352-4_0_4_line_36 |  | 31 | 34 | 0.035952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_352-4_0_4_line_37 |  | 32 | 35 | 0.0094994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_352-4_0_4_line_38 |  | 34 | 36 | 0.0028534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_352-4_0_4_line_39 |  | 35 | 37 | 0.021346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_352-4_0_4_line_40 |  | 36 | 38 | 0.035798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_352-4_0_4_line_41 |  | 37 | 39 | 0.030596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_352-4_0_4_line_42 |  | 37 | 40 | 0.031204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_352-4_0_4_line_43 |  | 38 | 65 | 0.0028904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_352-4_0_4_line_44 |  | 39 | 47 | 0.036659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_352-4_0_4_line_45 |  | 40 | 48 | 0.0029221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_352-4_0_4_line_46 |  | 41 | 42 | 0.020447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_352-4_0_4_line_47 |  | 41 | 43 | 0.0064955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_352-4_0_4_line_48 |  | 42 | 44 | 0.0023251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_352-4_0_4_line_49 |  | 44 | 45 | 0.0016692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_352-4_0_4_line_50 |  | 45 | 46 | 0.020086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_352-4_0_4_line_51 |  | 46 | 49 | 0.0088136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_352-4_0_4_line_52 |  | 47 | 50 | 0.026806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_352-4_0_4_line_53 |  | 48 | 51 | 0.015642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_352-4_0_4_line_54 |  | 48 | 52 | 0.012759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_352-4_0_4_line_55 |  | 50 | 134 | 0.0041587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_352-4_0_4_line_56 |  | 51 | 132 | 2.9061e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_352-4_0_4_line_57 |  | 52 | 129 | 0.0085637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_352-4_0_4_line_58 |  | 53 | 54 | 0.001673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_352-4_0_4_line_59 |  | 53 | 55 | 0.01477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_352-4_0_4_line_60 |  | 54 | 56 | 0.01168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_352-4_0_4_line_61 |  | 55 | 57 | 0.0033778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_352-4_0_4_line_62 |  | 55 | 58 | 0.020064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_352-4_0_4_line_63 |  | 57 | 59 | 0.0020643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_352-4_0_4_line_64 |  | 58 | 60 | 0.00018305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_352-4_0_4_line_65 |  | 59 | 61 | 0.0061287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_352-4_0_4_line_66 |  | 60 | 62 | 0.0014041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_352-4_0_4_line_67 |  | 61 | 63 | 0.019879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_352-4_0_4_line_68 |  | 62 | 64 | 0.0046132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_352-4_0_4_line_69 |  | 63 | 67 | 0.014059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_352-4_0_4_line_70 |  | 63 | 66 | 0.0096322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_352-4_0_4_line_71 |  | 64 | 70 | 0.014447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_352-4_0_4_line_72 |  | 67 | 68 | 0.006936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_352-4_0_4_line_73 |  | 68 | 69 | 0.014432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_352-4_0_4_line_74 |  | 70 | 71 | 0.013021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_352-4_0_4_line_75 |  | 71 | 72 | 0.0020209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_352-4_0_4_line_76 |  | 73 | 74 | 0.026958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_352-4_0_4_line_77 |  | 74 | 75 | 0.0064935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_352-4_0_4_line_78 |  | 75 | 111 | 0.021067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_352-4_0_4_line_79 |  | 76 | 77 | 0.017092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_352-4_0_4_line_80 |  | 77 | 78 | 0.0067911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_352-4_0_4_line_81 |  | 78 | 79 | 0.00070587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_352-4_0_4_line_82 |  | 79 | 80 | 0.024618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_352-4_0_4_line_83 |  | 80 | 81 | 0.019262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_352-4_0_4_line_84 |  | 81 | 82 | 0.009582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_352-4_0_4_line_85 |  | 82 | 83 | 0.0093567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_352-4_0_4_line_86 |  | 83 | 87 | 0.0015146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_352-4_0_4_line_87 |  | 84 | 85 | 0.046537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_352-4_0_4_line_88 |  | 84 | 86 | 0.009161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_352-4_0_4_line_89 |  | 85 | 88 | 0.0027469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_352-4_0_4_line_90 |  | 86 | 89 | 0.017552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_352-4_0_4_line_91 |  | 86 | 87 | 0.006478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_352-4_0_4_line_92 |  | 89 | 90 | 0.0016593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_352-4_0_4_line_93 |  | 90 | 91 | 0.0063158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_352-4_0_4_line_94 |  | 91 | 106 | 0.014881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_352-4_0_4_line_95 |  | 92 | 93 | 0.024862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_352-4_0_4_line_96 |  | 93 | 94 | 0.011895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_352-4_0_4_line_97 |  | 94 | 95 | 0.004954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_352-4_0_4_line_98 |  | 94 | 96 | 0.014599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_352-4_0_4_line_99 |  | 95 | 97 | 0.0095644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_352-4_0_4_line_100 |  | 96 | 98 | 0.0069146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_352-4_0_4_line_101 |  | 98 | 101 | 0.0053531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_352-4_0_4_line_102 |  | 99 | 100 | 0.015659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_352-4_0_4_line_103 |  | 99 | 101 | 0.004911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_352-4_0_4_line_104 |  | 101 | 110 | 0.0083219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_352-4_0_4_line_105 |  | 102 | 103 | 0.0065923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_352-4_0_4_line_106 |  | 103 | 104 | 0.0066986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_352-4_0_4_line_107 |  | 104 | 105 | 0.006227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_352-4_0_4_line_108 |  | 105 | 106 | 0.002033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_352-4_0_4_line_109 |  | 107 | 108 | 0.004518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_352-4_0_4_line_110 |  | 107 | 109 | 0.017662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_352-4_0_4_line_111 |  | 108 | 120 | 0.0068593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_352-4_0_4_line_112 |  | 108 | 119 | 0.017995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_352-4_0_4_line_113 |  | 109 | 121 | 0.011311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_352-4_0_4_line_114 |  | 110 | 116 | 0.0052327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_352-4_0_4_line_115 |  | 111 | 112 | 0.0058707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
116 | LV_352-4_0_4_line_116 |  | 112 | 113 | 0.00053077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
117 | LV_352-4_0_4_line_117 |  | 113 | 114 | 0.010366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
118 | LV_352-4_0_4_line_118 |  | 114 | 115 | 0.016576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
119 | LV_352-4_0_4_line_119 |  | 115 | 124 | 0.012713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
120 | LV_352-4_0_4_line_120 |  | 116 | 117 | 0.0015475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_352-4_0_4_line_121 |  | 117 | 118 | 0.0052779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_352-4_0_4_line_122 |  | 118 | 119 | 0.00044617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_352-4_0_4_line_123 |  | 120 | 126 | 0.022407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_352-4_0_4_line_124 |  | 121 | 139 | 0.029755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_352-4_0_4_line_125 |  | 122 | 123 | 0.029594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
126 | LV_352-4_0_4_line_126 |  | 122 | 124 | 0.0020061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
127 | LV_352-4_0_4_line_127 |  | 123 | 125 | 0.015788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
128 | LV_352-4_0_4_line_128 |  | 125 | 126 | 0.004681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_352-4_0_4_line_129 |  | 125 | 127 | 0.0058025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_352-4_0_4_line_130 |  | 126 | 128 | 0.020003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_352-4_0_4_line_131 |  | 127 | 129 | 0.022097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_352-4_0_4_line_132 |  | 128 | 130 | 1.0574e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_352-4_0_4_line_133 |  | 130 | 131 | 0.0062962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_352-4_0_4_line_134 |  | 132 | 133 | 0.013771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_352-4_0_4_line_135 |  | 134 | 146 | 0.026131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_352-4_0_4_line_136 |  | 135 | 136 | 0.0011875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_352-4_0_4_line_137 |  | 135 | 137 | 0.02626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_352-4_0_4_line_138 |  | 136 | 138 | 0.021123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_352-4_0_4_line_139 |  | 137 | 139 | 0.018606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_352-4_0_4_line_140 |  | 138 | 140 | 0.0020989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_352-4_0_4_line_141 |  | 139 | 141 | 0.020072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_352-4_0_4_line_142 |  | 141 | 142 | 0.018394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_352-4_0_4_line_143 |  | 141 | 143 | 0.015812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_352-4_0_4_line_144 |  | 142 | 144 | 0.011199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_352-4_0_4_line_145 |  | 143 | 145 | 0.00029534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_352-4_0_4_line_146 |  | 144 | 160 | 0.015415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_352-4_0_4_line_147 |  | 145 | 158 | 0.01953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_352-4_0_4_line_148 |  | 146 | 147 | 6.7863e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_352-4_0_4_line_149 |  | 147 | 148 | 0.049261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_352-4_0_4_line_150 |  | 148 | 149 | 0.0502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_352-4_0_4_line_151 |  | 149 | 150 | 0.047139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_352-4_0_4_line_152 |  | 151 | 152 | 0.017951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_352-4_0_4_line_153 |  | 151 | 153 | 0.007184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_352-4_0_4_line_154 |  | 153 | 154 | 0.015459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_352-4_0_4_line_155 |  | 153 | 155 | 0.026953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_352-4_0_4_line_156 |  | 154 | 156 | 0.0016448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_352-4_0_4_line_157 |  | 155 | 157 | 0.019514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_352-4_0_4_line_158 |  | 156 | 158 | 0.0084533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_352-4_0_4_line_159 |  | 157 | 159 | 0.0095066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_352-4_0_4_line_160 |  | 160 | 161 | 0.0050528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_352-4_0_4_trafo_120 | 0.63 MVA 20/0.4 kV | 162 | 114 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2604715.8459 | 1203047.7294 | 2604713.2262 | 1203052.3197 | 2604712.4015 | 1203052.3501
1 | 2604727.6035 | 1203027.1283 | 2604715.8459 | 1203047.7294
2 | 2604703.9615 | 1203049.3318 | 2604707.9151 | 1203052.5156 | 2604712.4015 | 1203052.3501
3 | 2604727.6035 | 1203027.1283 | 2604730.3351 | 1203029.4901
4 | 2604691.7339 | 1203039.4849 | 2604703.9615 | 1203049.3318
5 | 2604741.2951 | 1203040.2336 | 2604735.055 | 1203033.571 | 2604730.3351 | 1203029.4901
6 | 2604691.7339 | 1203039.4849 | 2604685.524 | 1203050.8196
7 | 2604741.2951 | 1203040.2336 | 2604746.2842 | 1203045.5605
8 | 2604747.0199 | 1203046.346 | 2604746.2842 | 1203045.5605
9 | 2604747.0199 | 1203046.346 | 2604753.9773 | 1203053.7745 | 2604761.2539 | 1203060.1417
10 | 2604787.2554 | 1203057.6074 | 2604793.614 | 1203051.3269
11 | 2604787.2554 | 1203057.6074 | 2604786.4969 | 1203058.3566
12 | 2604806.1315 | 1203038.9632 | 2604793.614 | 1203051.3269
13 | 2604786.4969 | 1203058.3566 | 2604782.0413 | 1203062.7575
14 | 2604806.1315 | 1203038.9632 | 2604805.1669 | 1203036.739 | 2604795.4951 | 1203015.8235
15 | 2604813.2403 | 1203055.311 | 2604806.1315 | 1203038.9632
16 | 2604771.6021 | 1203069.1967 | 2604780.2873 | 1203064.4899 | 2604782.0413 | 1203062.7575
17 | 2604795.4951 | 1203015.8235 | 2604793.0788 | 1203010.5983
18 | 2604813.2403 | 1203055.311 | 2604827.4538 | 1203048.01
19 | 2604833.5045 | 1203100.1292 | 2604831.0511 | 1203094.9355 | 2604813.2403 | 1203055.311
20 | 2604771.6021 | 1203069.1967 | 2604761.2539 | 1203060.1417
21 | 2604771.6021 | 1203069.1967 | 2604765.5789 | 1203076.7689
22 | 2604792.8433 | 1203010.089 | 2604793.0788 | 1203010.5983
23 | 2604830.679 | 1203046.3534 | 2604827.4538 | 1203048.01
24 | 2604833.5045 | 1203100.1292 | 2604816.5616 | 1203110.1991
25 | 2604833.5045 | 1203100.1292 | 2604837.1744 | 1203107.782
26 | 2604760.8113 | 1203082.7625 | 2604765.5789 | 1203076.7689
27 | 2604830.679 | 1203046.3534 | 2604843.9602 | 1203040.6891
28 | 2604803.5851 | 1203123.2904 | 2604814.4511 | 1203111.4535 | 2604816.5616 | 1203110.1991
29 | 2604837.1744 | 1203107.782 | 2604838.0407 | 1203109.5885
30 | 2604758.4431 | 1203085.7397 | 2604760.8113 | 1203082.7625
31 | 2604920.625 | 1203106.9045 | 2604917.4807 | 1203141.5391
32 | 2604908.8485 | 1203171.3839 | 2604913.894 | 1203160.66 | 2604916.9789 | 1203147.0662 | 2604917.4807 | 1203141.5391
33 | 2604920.8805 | 1203104.0904 | 2604920.625 | 1203106.9045
34 | 2604908.8485 | 1203171.3839 | 2604907.7662 | 1203173.6732 | 2604906.9973 | 1203174.798
35 | 2604908.8485 | 1203171.3839 | 2604910.269 | 1203174.1644 | 2604916.5129 | 1203192.7773
36 | 2604920.8805 | 1203104.0904 | 2604924.1309 | 1203068.2859
37 | 2604901.6369 | 1203182.6405 | 2604906.9973 | 1203174.798
38 | 2604924.1309 | 1203068.2859 | 2604924.3889 | 1203065.4442
39 | 2604887.1351 | 1203197.903 | 2604893.4079 | 1203193.6946 | 2604897.7034 | 1203188.3952 | 2604901.6369 | 1203182.6405
40 | 2604927.7512 | 1203029.805 | 2604926.5834 | 1203041.2723 | 2604924.3889 | 1203065.4442
41 | 2604887.1351 | 1203197.903 | 2604892.6975 | 1203206.5455 | 2604897.7354 | 1203214.6984 | 2604903.1375 | 1203223.9747
42 | 2604887.1351 | 1203197.903 | 2604861.4981 | 1203215.6918
43 | 2604927.7512 | 1203029.805 | 2604928.0441 | 1203026.9295
44 | 2604903.1375 | 1203223.9747 | 2604911.8751 | 1203238.9786 | 2604921.5353 | 1203255.6827
45 | 2604859.0973 | 1203217.3576 | 2604861.4981 | 1203215.6918
46 | 2604852.6861 | 1203139.0268 | 2604862.8317 | 1203156.7791
47 | 2604866.0547 | 1203162.4185 | 2604862.8317 | 1203156.7791
48 | 2604851.5324 | 1203137.0081 | 2604852.6861 | 1203139.0268
49 | 2604851.5324 | 1203137.0081 | 2604850.7041 | 1203135.5589
50 | 2604850.7041 | 1203135.5589 | 2604849.4029 | 1203133.2821 | 2604841.8517 | 1203117.5355
51 | 2604838.0407 | 1203109.5885 | 2604841.8517 | 1203117.5355
52 | 2604921.5353 | 1203255.6827 | 2604934.9552 | 1203278.8881
53 | 2604859.0973 | 1203217.3576 | 2604851.1125 | 1203203.9071
54 | 2604859.0973 | 1203217.3576 | 2604848.9048 | 1203225.032
55 | 2604937.0372 | 1203282.4881 | 2604934.9552 | 1203278.8881
56 | 2604851.1125 | 1203203.9071 | 2604851.0976 | 1203203.8821
57 | 2604848.9048 | 1203225.032 | 2604842.0635 | 1203230.1831
58 | 2604880.6544 | 1203058.9033 | 2604879.1276 | 1203059.5873
59 | 2604865.6484 | 1203065.6251 | 2604879.1276 | 1203059.5873
60 | 2604891.3142 | 1203054.1284 | 2604880.6544 | 1203058.9033
61 | 2604865.6484 | 1203065.6251 | 2604864.2706 | 1203062.541
62 | 2604865.6484 | 1203065.6251 | 2604873.7776 | 1203083.968
63 | 2604864.2706 | 1203062.541 | 2604863.4286 | 1203060.6563
64 | 2604873.8518 | 1203084.1354 | 2604873.7776 | 1203083.968
65 | 2604860.9288 | 1203055.0606 | 2604863.4286 | 1203060.6563
66 | 2604873.8518 | 1203084.1354 | 2604874.4207 | 1203085.419
67 | 2604852.8203 | 1203036.9104 | 2604860.9288 | 1203055.0606
68 | 2604874.4207 | 1203085.419 | 2604876.2899 | 1203089.6366
69 | 2604852.8203 | 1203036.9104 | 2604854.6044 | 1203032.376 | 2604863.067 | 1203028.8027
70 | 2604852.8203 | 1203036.9104 | 2604843.9602 | 1203040.6891
71 | 2604876.2899 | 1203089.6366 | 2604882.1435 | 1203102.8448
72 | 2604869.4568 | 1203026.1047 | 2604863.067 | 1203028.8027
73 | 2604869.4568 | 1203026.1047 | 2604882.752 | 1203020.4909
74 | 2604887.4192 | 1203114.7489 | 2604882.1435 | 1203102.8448
75 | 2604888.238 | 1203116.5964 | 2604887.4192 | 1203114.7489
76 | 2604803.5851 | 1203123.2904 | 2604792.8011 | 1203135.038 | 2604786.7585 | 1203144.2432
77 | 2604783.1951 | 1203149.6717 | 2604783.1951 | 1203149.6717 | 2604786.7585 | 1203144.2432
78 | 2604783.1951 | 1203149.6717 | 2604793.522 | 1203168.0338
79 | 2604747.8032 | 1203099.1158 | 2604758.4431 | 1203085.7397
80 | 2604747.8032 | 1203099.1158 | 2604743.5757 | 1203104.4306
81 | 2604743.5757 | 1203104.4306 | 2604743.1363 | 1203104.983
82 | 2604727.8786 | 1203124.3022 | 2604734.2372 | 1203116.1706 | 2604743.1363 | 1203104.983
83 | 2604720.6059 | 1203141.1735 | 2604720.9621 | 1203133.1473 | 2604727.8786 | 1203124.3022
84 | 2604720.6059 | 1203141.1735 | 2604723.2689 | 1203141.1423 | 2604724.8131 | 1203141.5548 | 2604727.087 | 1203142.9351 | 2604728.7593 | 1203145.0042
85 | 2604727.7709 | 1203153.7637 | 2604728.845 | 1203152.2082 | 2604729.6382 | 1203149.6741 | 2604729.5186 | 1203147.017 | 2604728.7593 | 1203145.0042
86 | 2604727.7709 | 1203153.7637 | 2604727.7709 | 1203153.7637 | 2604726.5827 | 1203154.7029
87 | 2604714.5198 | 1203149.9291 | 2604711.2804 | 1203147.4919 | 2604696.0725 | 1203135.5292 | 2604696.9506 | 1203131.5055 | 2604682.7265 | 1203118.8859
88 | 2604720.4876 | 1203156.1816 | 2604717.6734 | 1203154.9787 | 2604715.7803 | 1203153.1207 | 2604714.6333 | 1203150.7185 | 2604714.5198 | 1203149.9291
89 | 2604682.7265 | 1203118.8859 | 2604680.6717 | 1203117.0629
90 | 2604720.4876 | 1203156.1816 | 2604711.2413 | 1203171.1009
91 | 2604720.4876 | 1203156.1816 | 2604723.1506 | 1203156.2504 | 2604725.6773 | 1203155.4186 | 2604726.5827 | 1203154.7029
92 | 2604711.2413 | 1203171.1009 | 2604710.3672 | 1203172.5113
93 | 2604710.3672 | 1203172.5113 | 2604707.0402 | 1203177.8796
94 | 2604699.1758 | 1203190.5122 | 2604704.7105 | 1203181.6387 | 2604707.0402 | 1203177.8796
95 | 2604715.3367 | 1203285.7383 | 2604733.9311 | 1203302.2419
96 | 2604742.8276 | 1203310.138 | 2604733.9311 | 1203302.2419
97 | 2604742.8276 | 1203310.138 | 2604746.1877 | 1203313.7871
98 | 2604742.8276 | 1203310.138 | 2604753.7331 | 1203300.4329
99 | 2604746.1877 | 1203313.7871 | 2604739.4461 | 1203320.5716
100 | 2604758.8984 | 1203295.8362 | 2604753.7331 | 1203300.4329
101 | 2604762.8974 | 1203292.2774 | 2604758.8984 | 1203295.8362
102 | 2604765.8692 | 1203296.193 | 2604775.3552 | 1203308.6522
103 | 2604762.8974 | 1203292.2774 | 2604765.8692 | 1203296.193
104 | 2604762.8974 | 1203292.2774 | 2604769.116 | 1203286.7472
105 | 2604691.2594 | 1203203.2043 | 2604687.7706 | 1203208.7978
106 | 2604694.8045 | 1203197.5207 | 2604691.2594 | 1203203.2043
107 | 2604694.8045 | 1203197.5207 | 2604698.0999 | 1203192.2372
108 | 2604699.1758 | 1203190.5122 | 2604698.0999 | 1203192.2372
109 | 2604793.0383 | 1203267.888 | 2604795.2797 | 1203271.8141
110 | 2604795.2797 | 1203271.8141 | 2604804.4638 | 1203286.9
111 | 2604793.0383 | 1203267.888 | 2604798.4646 | 1203263.692
112 | 2604793.0383 | 1203267.888 | 2604778.4598 | 1203278.4377
113 | 2604810.3455 | 1203296.5613 | 2604804.4638 | 1203286.9
114 | 2604773.0261 | 1203283.2699 | 2604769.116 | 1203286.7472
115 | 2604796.3998 | 1203173.1508 | 2604793.522 | 1203168.0338
116 | 2604796.66 | 1203173.6134 | 2604796.3998 | 1203173.1508
117 | 2604796.66 | 1203173.6134 | 2604801.7415 | 1203182.6487
118 | 2604790.304 | 1203194.6461 | 2604801.7415 | 1203182.6487
119 | 2604796.3269 | 1203205.8419 | 2604790.304 | 1203194.6461 | 2604790.304 | 1203194.6461
120 | 2604773.0261 | 1203283.2699 | 2604774.1825 | 1203282.2415
121 | 2604778.1264 | 1203278.7342 | 2604774.1825 | 1203282.2415
122 | 2604778.1264 | 1203278.7342 | 2604778.4598 | 1203278.4377 | 2604778.4598 | 1203278.4377
123 | 2604816.1898 | 1203249.9855 | 2604798.4646 | 1203263.692
124 | 2604825.818 | 1203321.9766 | 2604810.3455 | 1203296.5613
125 | 2604797.2773 | 1203207.6085 | 2604811.2979 | 1203233.6709
126 | 2604796.3269 | 1203205.8419 | 2604797.2773 | 1203207.6085
127 | 2604819.7758 | 1203246.9645 | 2604813.734 | 1203238.1994 | 2604811.2979 | 1203233.6709
128 | 2604819.7758 | 1203246.9645 | 2604816.1898 | 1203249.9855
129 | 2604819.7758 | 1203246.9645 | 2604824.4112 | 1203243.4743
130 | 2604816.1898 | 1203249.9855 | 2604802.0865 | 1203235.7999
131 | 2604824.4112 | 1203243.4743 | 2604842.0635 | 1203230.1831
132 | 2604802.0791 | 1203235.7924 | 2604802.0865 | 1203235.7999
133 | 2604797.64 | 1203231.3273 | 2604802.0791 | 1203235.7924
134 | 2604847.59 | 1203192.9018 | 2604845.39 | 1203194.2675 | 2604851.0976 | 1203203.8821
135 | 2604950.1191 | 1203305.1091 | 2604937.0372 | 1203282.4881
136 | 2604864.6126 | 1203299.4405 | 2604865.6394 | 1203298.844
137 | 2604864.6126 | 1203299.4405 | 2604841.9062 | 1203312.6308
138 | 2604883.9046 | 1203288.2336 | 2604865.6394 | 1203298.844
139 | 2604825.818 | 1203321.9766 | 2604841.9062 | 1203312.6308
140 | 2604885.7195 | 1203287.1793 | 2604883.9046 | 1203288.2336
141 | 2604836.1592 | 1203339.1942 | 2604825.818 | 1203321.9766
142 | 2604836.1592 | 1203339.1942 | 2604819.0618 | 1203345.9777
143 | 2604836.1592 | 1203339.1942 | 2604845.109 | 1203345.8272 | 2604849.4678 | 1203347.5085
144 | 2604819.0618 | 1203345.9777 | 2604808.6525 | 1203350.1077
145 | 2604849.4678 | 1203347.5085 | 2604849.7433 | 1203347.6148
146 | 2604794.3239 | 1203355.7927 | 2604808.6525 | 1203350.1077
147 | 2604849.7433 | 1203347.6148 | 2604867.9645 | 1203354.6433
148 | 2604950.1531 | 1203305.1678 | 2604950.1191 | 1203305.1091
149 | 2604974.8142 | 1203347.8112 | 2604950.1531 | 1203305.1678
150 | 2604974.8142 | 1203347.8112 | 2604994.7117 | 1203336.5881 | 2605018.6053 | 1203323.2673
151 | 2605018.6053 | 1203323.2673 | 2605011.5785 | 1203310.0321 | 2605004.6469 | 1203301.2772 | 2604989.5564 | 1203286.6235
152 | 2604898.5122 | 1203366.4268 | 2604915.2605 | 1203372.8878
153 | 2604891.8096 | 1203363.8411 | 2604898.5122 | 1203366.4268
154 | 2604891.8096 | 1203363.8411 | 2604877.386 | 1203358.2775
155 | 2604891.8096 | 1203363.8411 | 2604914.8472 | 1203349.8502
156 | 2604877.386 | 1203358.2775 | 2604875.8514 | 1203357.6855
157 | 2604914.8472 | 1203349.8502 | 2604931.526 | 1203339.7211
158 | 2604875.8514 | 1203357.6855 | 2604867.9645 | 1203354.6433
159 | 2604939.6515 | 1203334.7864 | 2604931.526 | 1203339.7211
160 | 2604789.6272 | 1203357.6562 | 2604794.3239 | 1203355.7927

## bus_geodata
| x | y | coords
0 | 2604715.8459 | 1203047.7295
1 | 2604712.4015 | 1203052.3501
2 | 2604727.6035 | 1203027.1283
3 | 2604703.9615 | 1203049.3318
4 | 2604730.3351 | 1203029.4901
5 | 2604691.7339 | 1203039.4849
6 | 2604741.2951 | 1203040.2336
7 | 2604685.524 | 1203050.8196
8 | 2604746.2842 | 1203045.5605
9 | 2604747.0199 | 1203046.346
10 | 2604787.2554 | 1203057.6074
11 | 2604793.614 | 1203051.3269
12 | 2604786.4969 | 1203058.3566
13 | 2604806.1315 | 1203038.9632
14 | 2604782.0413 | 1203062.7575
15 | 2604795.4951 | 1203015.8235
16 | 2604813.2403 | 1203055.311
17 | 2604771.6021 | 1203069.1967
18 | 2604793.0788 | 1203010.5983
19 | 2604827.4538 | 1203048.01
20 | 2604833.5045 | 1203100.1292
21 | 2604761.2539 | 1203060.1417
22 | 2604765.5789 | 1203076.7689
23 | 2604792.8433 | 1203010.089
24 | 2604830.679 | 1203046.3534
25 | 2604816.5616 | 1203110.1991
26 | 2604837.1744 | 1203107.782
27 | 2604760.8113 | 1203082.7625
28 | 2604917.4807 | 1203141.5391
29 | 2604920.625 | 1203106.9045
30 | 2604908.8485 | 1203171.3839
31 | 2604920.8805 | 1203104.0904
32 | 2604906.9973 | 1203174.798
33 | 2604916.5129 | 1203192.7773
34 | 2604924.1309 | 1203068.2859
35 | 2604901.6369 | 1203182.6405
36 | 2604924.3889 | 1203065.4442
37 | 2604887.1351 | 1203197.903
38 | 2604927.7512 | 1203029.805
39 | 2604903.1375 | 1203223.9747
40 | 2604861.4981 | 1203215.6918
41 | 2604862.8317 | 1203156.7791
42 | 2604852.6861 | 1203139.0268
43 | 2604866.0547 | 1203162.4185
44 | 2604851.5324 | 1203137.0081
45 | 2604850.7041 | 1203135.5589
46 | 2604841.8517 | 1203117.5355
47 | 2604921.5353 | 1203255.6827
48 | 2604859.0973 | 1203217.3576
49 | 2604838.0407 | 1203109.5885
50 | 2604934.9552 | 1203278.8881
51 | 2604851.1125 | 1203203.9071
52 | 2604848.9048 | 1203225.032
53 | 2604879.1276 | 1203059.5873
54 | 2604880.6544 | 1203058.9033
55 | 2604865.6484 | 1203065.6251
56 | 2604891.3142 | 1203054.1284
57 | 2604864.2706 | 1203062.541
58 | 2604873.7776 | 1203083.968
59 | 2604863.4286 | 1203060.6563
60 | 2604873.8518 | 1203084.1354
61 | 2604860.9288 | 1203055.0606
62 | 2604874.4207 | 1203085.419
63 | 2604852.8203 | 1203036.9104
64 | 2604876.2899 | 1203089.6366
65 | 2604928.0441 | 1203026.9295
66 | 2604843.9602 | 1203040.6891
67 | 2604863.067 | 1203028.8027
68 | 2604869.4568 | 1203026.1047
69 | 2604882.752 | 1203020.4909
70 | 2604882.1435 | 1203102.8448
71 | 2604887.4192 | 1203114.7489
72 | 2604888.238 | 1203116.5964
73 | 2604803.5851 | 1203123.2904
74 | 2604786.7585 | 1203144.2432
75 | 2604783.1951 | 1203149.6717
76 | 2604758.4431 | 1203085.7397
77 | 2604747.8032 | 1203099.1158
78 | 2604743.5757 | 1203104.4306
79 | 2604743.1363 | 1203104.983
80 | 2604727.8786 | 1203124.3022
81 | 2604720.6059 | 1203141.1736
82 | 2604728.7593 | 1203145.0042
83 | 2604727.7709 | 1203153.7637
84 | 2604714.5198 | 1203149.9291
85 | 2604682.7265 | 1203118.8859
86 | 2604720.4876 | 1203156.1816
87 | 2604726.5827 | 1203154.7029
88 | 2604680.6717 | 1203117.0629
89 | 2604711.2413 | 1203171.1009
90 | 2604710.3672 | 1203172.5113
91 | 2604707.0402 | 1203177.8796
92 | 2604715.3367 | 1203285.7383
93 | 2604733.9311 | 1203302.2419
94 | 2604742.8276 | 1203310.138
95 | 2604746.1877 | 1203313.7871
96 | 2604753.7331 | 1203300.4329
97 | 2604739.4461 | 1203320.5716
98 | 2604758.8984 | 1203295.8362
99 | 2604765.8692 | 1203296.193
100 | 2604775.3552 | 1203308.6522
101 | 2604762.8974 | 1203292.2774
102 | 2604687.7706 | 1203208.7978
103 | 2604691.2594 | 1203203.2043
104 | 2604694.8045 | 1203197.5207
105 | 2604698.0999 | 1203192.2372
106 | 2604699.1758 | 1203190.5122
107 | 2604795.2797 | 1203271.8141
108 | 2604793.0383 | 1203267.888
109 | 2604804.4638 | 1203286.9
110 | 2604769.116 | 1203286.7472
111 | 2604793.522 | 1203168.0338
112 | 2604796.3998 | 1203173.1508
113 | 2604796.66 | 1203173.6134
114 | 2604801.7415 | 1203182.6487
115 | 2604790.304 | 1203194.6461
116 | 2604773.0261 | 1203283.2699
117 | 2604774.1825 | 1203282.2415
118 | 2604778.1264 | 1203278.7342
119 | 2604778.4598 | 1203278.4377
120 | 2604798.4646 | 1203263.692
121 | 2604810.3455 | 1203296.5613
122 | 2604797.2773 | 1203207.6085
123 | 2604811.2979 | 1203233.6709
124 | 2604796.3269 | 1203205.8419
125 | 2604819.7758 | 1203246.9645
126 | 2604816.1898 | 1203249.9855
127 | 2604824.4112 | 1203243.4743
128 | 2604802.0865 | 1203235.7999
129 | 2604842.0635 | 1203230.1831
130 | 2604802.0791 | 1203235.7924
131 | 2604797.64 | 1203231.3273
132 | 2604851.0976 | 1203203.8821
133 | 2604847.59 | 1203192.9018
134 | 2604937.0372 | 1203282.4881
135 | 2604864.6126 | 1203299.4405
136 | 2604865.6394 | 1203298.844
137 | 2604841.9062 | 1203312.6308
138 | 2604883.9046 | 1203288.2336
139 | 2604825.818 | 1203321.9766
140 | 2604885.7195 | 1203287.1793
141 | 2604836.1592 | 1203339.1942
142 | 2604819.0618 | 1203345.9777
143 | 2604849.4678 | 1203347.5085
144 | 2604808.6525 | 1203350.1077
145 | 2604849.7433 | 1203347.6148
146 | 2604950.1191 | 1203305.1091
147 | 2604950.1531 | 1203305.1678
148 | 2604974.8142 | 1203347.8112
149 | 2605018.6053 | 1203323.2673
150 | 2604989.5564 | 1203286.6235
151 | 2604898.5122 | 1203366.4268
152 | 2604915.2605 | 1203372.8878
153 | 2604891.8096 | 1203363.8411
154 | 2604877.386 | 1203358.2775
155 | 2604914.8472 | 1203349.8502
156 | 2604875.8514 | 1203357.6855
157 | 2604931.526 | 1203339.7211
158 | 2604867.9645 | 1203354.6433
159 | 2604939.6515 | 1203334.7864
160 | 2604794.3239 | 1203355.7927
161 | 2604789.6272 | 1203357.6562
162 | 2604819.7758 | 1203246.9645

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1