## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_352-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_352-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_352-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_352-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_352-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_352-6_0_4_node_143 | 0.4 | n |  | TRUE
6 | bus_LV_352-6_0_4_node_158 | 0.4 | n |  | TRUE
7 | bus_LV_352-6_0_4_node_141 | 0.4 | n |  | TRUE
8 | bus_LV_352-6_0_4_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_352-6_0_4_node_104 | 0.4 | n |  | TRUE
10 | bus_LV_352-6_0_4_node_114 | 0.4 | n |  | TRUE
11 | bus_LV_352-6_0_4_node_105 | 0.4 | n |  | TRUE
12 | bus_LV_352-6_0_4_node_103 | 0.4 | n |  | TRUE
13 | bus_LV_352-6_0_4_node_83 | 0.4 | n |  | TRUE
14 | bus_LV_352-6_0_4_node_84 | 0.4 | n |  | TRUE
15 | bus_LV_352-6_0_4_node_81 | 0.4 | n |  | TRUE
16 | bus_LV_352-6_0_4_node_106 | 0.4 | n |  | TRUE
17 | bus_LV_352-6_0_4_node_109 | 0.4 | n |  | TRUE
18 | bus_LV_352-6_0_4_node_155 | 0.4 | n |  | TRUE
19 | bus_LV_352-6_0_4_node_77 | 0.4 | n |  | TRUE
20 | bus_LV_352-6_0_4_node_78 | 0.4 | n |  | TRUE
21 | bus_LV_352-6_0_4_node_79 | 0.4 | n |  | TRUE
22 | bus_LV_352-6_0_4_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_352-6_0_4_node_82 | 0.4 | n |  | TRUE
24 | bus_LV_352-6_0_4_node_87 | 0.4 | n |  | TRUE
25 | bus_LV_352-6_0_4_node_94 | 0.4 | n |  | TRUE
26 | bus_LV_352-6_0_4_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_352-6_0_4_node_85 | 0.4 | n |  | TRUE
28 | bus_LV_352-6_0_4_node_95 | 0.4 | n |  | TRUE
29 | bus_LV_352-6_0_4_node_86 | 0.4 | n |  | TRUE
30 | bus_LV_352-6_0_4_node_136 | 0.4 | n |  | TRUE
31 | bus_LV_352-6_0_4_node_134 | 0.4 | n |  | TRUE
32 | bus_LV_352-6_0_4_node_146 | 0.4 | n |  | TRUE
33 | bus_LV_352-6_0_4_node_135 | 0.4 | n |  | TRUE
34 | bus_LV_352-6_0_4_node_89 | 0.4 | n |  | TRUE
35 | bus_LV_352-6_0_4_node_90 | 0.4 | n |  | TRUE
36 | bus_LV_352-6_0_4_node_91 | 0.4 | n |  | TRUE
37 | bus_LV_352-6_0_4_node_92 | 0.4 | n |  | TRUE
38 | bus_LV_352-6_0_4_node_93 | 0.4 | n |  | TRUE
39 | bus_LV_352-6_0_4_node_96 | 0.4 | n |  | TRUE
40 | bus_LV_352-6_0_4_node_100 | 0.4 | n |  | TRUE
41 | bus_LV_352-6_0_4_node_97 | 0.4 | n |  | TRUE
42 | bus_LV_352-6_0_4_node_101 | 0.4 | n |  | TRUE
43 | bus_LV_352-6_0_4_node_124 | 0.4 | n |  | TRUE
44 | bus_LV_352-6_0_4_node_121 | 0.4 | n |  | TRUE
45 | bus_LV_352-6_0_4_node_98 | 0.4 | n |  | TRUE
46 | bus_LV_352-6_0_4_node_102 | 0.4 | n |  | TRUE
47 | bus_LV_352-6_0_4_node_99 | 0.4 | n |  | TRUE
48 | bus_LV_352-6_0_4_node_118 | 0.4 | n |  | TRUE
49 | bus_LV_352-6_0_4_node_116 | 0.4 | n |  | TRUE
50 | bus_LV_352-6_0_4_node_125 | 0.4 | n |  | TRUE
51 | bus_LV_352-6_0_4_node_122 | 0.4 | n |  | TRUE
52 | bus_LV_352-6_0_4_node_107 | 0.4 | n |  | TRUE
53 | bus_LV_352-6_0_4_node_108 | 0.4 | n |  | TRUE
54 | bus_LV_352-6_0_4_node_156 | 0.4 | n |  | TRUE
55 | bus_LV_352-6_0_4_node_110 | 0.4 | n |  | TRUE
56 | bus_LV_352-6_0_4_node_111 | 0.4 | n |  | TRUE
57 | bus_LV_352-6_0_4_node_112 | 0.4 | n |  | TRUE
58 | bus_LV_352-6_0_4_node_113 | 0.4 | n |  | TRUE
59 | bus_LV_352-6_0_4_node_129 | 0.4 | n |  | TRUE
60 | bus_LV_352-6_0_4_node_151 | 0.4 | n |  | TRUE
61 | bus_LV_352-6_0_4_node_128 | 0.4 | n |  | TRUE
62 | bus_LV_352-6_0_4_node_149 | 0.4 | n |  | TRUE
63 | bus_LV_352-6_0_4_node_115 | 0.4 | n |  | TRUE
64 | bus_LV_352-6_0_4_node_117 | 0.4 | n |  | TRUE
65 | bus_LV_352-6_0_4_node_119 | 0.4 | n |  | TRUE
66 | bus_LV_352-6_0_4_node_120 | 0.4 | n |  | TRUE
67 | bus_LV_352-6_0_4_node_130 | 0.4 | n |  | TRUE
68 | bus_LV_352-6_0_4_node_131 | 0.4 | n |  | TRUE
69 | bus_LV_352-6_0_4_node_123 | 0.4 | n |  | TRUE
70 | bus_LV_352-6_0_4_node_127 | 0.4 | n |  | TRUE
71 | bus_LV_352-6_0_4_node_126 | 0.4 | n |  | TRUE
72 | bus_LV_352-6_0_4_node_132 | 0.4 | n |  | TRUE
73 | bus_LV_352-6_0_4_node_133 | 0.4 | n |  | TRUE
74 | bus_LV_352-6_0_4_node_147 | 0.4 | n |  | TRUE
75 | bus_LV_352-6_0_4_node_144 | 0.4 | n |  | TRUE
76 | bus_LV_352-6_0_4_node_137 | 0.4 | n |  | TRUE
77 | bus_LV_352-6_0_4_node_138 | 0.4 | n |  | TRUE
78 | bus_LV_352-6_0_4_node_145 | 0.4 | n |  | TRUE
79 | bus_LV_352-6_0_4_node_139 | 0.4 | n |  | TRUE
80 | bus_LV_352-6_0_4_node_140 | 0.4 | n |  | TRUE
81 | bus_LV_352-6_0_4_node_142 | 0.4 | n |  | TRUE
82 | bus_LV_352-6_0_4_node_148 | 0.4 | n |  | TRUE
83 | bus_LV_352-6_0_4_node_150 | 0.4 | n |  | TRUE
84 | bus_MV_602_0_node_35 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_352-6_0_4_load_0 | 0 | 0.0057403 | 0.0014387 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_352-6_0_4_load_1 | 1 | 0.0038962 | 0.00097649 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_352-6_0_4_load_3 | 3 | 0.0037679 | 0.00094433 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_352-6_0_4_load_143 | 5 | 0.0080167 | 0.0020092 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_352-6_0_4_load_158 | 6 | 0.0084589 | 0.00212 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_352-6_0_4_load_141 | 7 | 0.0020467 | 0.00051295 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_352-6_0_4_load_114 | 10 | 0.011871 | 0.0029751 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_352-6_0_4_load_105 | 11 | 0.0032652 | 0.00081834 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_352-6_0_4_load_103 | 12 | 0.0016731 | 0.00041932 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_352-6_0_4_load_83 | 13 | 0.0072686 | 0.0018217 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_352-6_0_4_load_84 | 14 | 0.0024487 | 0.0006137 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_352-6_0_4_load_81 | 15 | 0.0023988 | 0.0006012 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_352-6_0_4_load_155 | 18 | 0.021264 | 0.0053292 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_352-6_0_4_load_77 | 19 | 0.0044624 | 0.0011184 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_352-6_0_4_load_78 | 20 | 0.002678 | 0.00067116 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_352-6_0_4_load_80 | 22 | 0.0016034 | 0.00040184 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_352-6_0_4_load_82 | 23 | 0.0079868 | 0.0020017 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_352-6_0_4_load_94 | 25 | 0.0085065 | 0.0021319 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_352-6_0_4_load_85 | 27 | 0.0016354 | 0.00040987 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_352-6_0_4_load_95 | 28 | 0.0063177 | 0.0015834 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_352-6_0_4_load_86 | 29 | 0.0025577 | 0.00064102 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_352-6_0_4_load_134 | 31 | 0.0078343 | 0.0019635 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_352-6_0_4_load_146 | 32 | 0.004753 | 0.0011912 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_352-6_0_4_load_89 | 34 | 0.0040876 | 0.0010245 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_352-6_0_4_load_90 | 35 | 0.0022877 | 0.00057336 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_352-6_0_4_load_91 | 36 | 0.0027814 | 0.00069709 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_352-6_0_4_load_92 | 37 | 0.002296 | 0.00057542 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_352-6_0_4_load_96 | 39 | 0.0044901 | 0.0011253 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_352-6_0_4_load_97 | 41 | 0.0042845 | 0.0010738 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_352-6_0_4_load_101 | 42 | 0.002279 | 0.00057117 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_352-6_0_4_load_124 | 43 | 0.0059579 | 0.0014932 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_352-6_0_4_load_121 | 44 | 0.0033585 | 0.00084172 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_352-6_0_4_load_98 | 45 | 0.0051889 | 0.0013005 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_352-6_0_4_load_102 | 46 | 0.0065894 | 0.0016515 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_352-6_0_4_load_99 | 47 | 0.001995 | 0.00049999 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_352-6_0_4_load_118 | 48 | 0.0017434 | 0.00043693 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_352-6_0_4_load_116 | 49 | 0.003478 | 0.00087167 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_352-6_0_4_load_125 | 50 | 0.0030282 | 0.00075894 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_352-6_0_4_load_122 | 51 | 0.0020816 | 0.00052171 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_352-6_0_4_load_107 | 52 | 0.0025346 | 0.00063523 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_352-6_0_4_load_108 | 53 | 0.0048783 | 0.0012226 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_352-6_0_4_load_156 | 54 | 0.024807 | 0.0062171 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_352-6_0_4_load_110 | 55 | 0.0059651 | 0.001495 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_352-6_0_4_load_111 | 56 | 0.0068649 | 0.0017205 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_352-6_0_4_load_129 | 59 | 0.0025819 | 0.00064709 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_352-6_0_4_load_151 | 60 | 0.0018892 | 0.00047348 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_352-6_0_4_load_128 | 61 | 0.0025252 | 0.00063288 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_352-6_0_4_load_149 | 62 | 0.0018629 | 0.00046689 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_352-6_0_4_load_115 | 63 | 0.0028503 | 0.00071435 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_352-6_0_4_load_119 | 65 | 0.0025047 | 0.00062773 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_352-6_0_4_load_120 | 66 | 0.0036354 | 0.00091113 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_352-6_0_4_load_123 | 69 | 0.0021101 | 0.00052883 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_352-6_0_4_load_127 | 70 | 0.0028647 | 0.00071795 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_352-6_0_4_load_126 | 71 | 0.008274 | 0.0020737 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_352-6_0_4_load_132 | 72 | 0.0039855 | 0.00099887 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_352-6_0_4_load_133 | 73 | 0.0035395 | 0.00088709 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_352-6_0_4_load_147 | 74 | 0.0046368 | 0.0011621 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_352-6_0_4_load_144 | 75 | 0.0030378 | 0.00076134 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_352-6_0_4_load_137 | 76 | 0.0040096 | 0.0010049 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_352-6_0_4_load_138 | 77 | 0.002836 | 0.00071076 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_352-6_0_4_load_145 | 78 | 0.0046729 | 0.0011712 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_352-6_0_4_load_139 | 79 | 0.00306 | 0.00076692 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_352-6_0_4_load_140 | 80 | 0.0026734 | 0.00067 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_352-6_0_4_load_142 | 81 | 0.0024591 | 0.00061631 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_352-6_0_4_load_148 | 82 | 0.0017355 | 0.00043496 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_352-6_0_4_load_150 | 83 | 0.0023329 | 0.00058469 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 76 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_352-6_0_4_line_0 |  | 0 | 1 | 0.0079908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_352-6_0_4_line_1 |  | 0 | 2 | 0.027114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_352-6_0_4_line_2 |  | 1 | 3 | 0.02107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_352-6_0_4_line_3 |  | 2 | 4 | 0.14187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_352-6_0_4_line_4 |  | 3 | 5 | 0.001753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_352-6_0_4_line_5 |  | 4 | 6 | 0.028272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_352-6_0_4_line_6 |  | 5 | 7 | 0.010178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_352-6_0_4_line_7 |  | 7 | 80 | 0.0014947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_352-6_0_4_line_8 |  | 8 | 9 | 0.036719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_352-6_0_4_line_9 |  | 8 | 10 | 0.01264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_352-6_0_4_line_10 |  | 9 | 11 | 0.0083585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_352-6_0_4_line_11 |  | 9 | 12 | 0.011499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_352-6_0_4_line_12 |  | 10 | 13 | 0.014583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_352-6_0_4_line_13 |  | 13 | 21 | 0.018573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_352-6_0_4_line_14 |  | 14 | 15 | 4.4042e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_352-6_0_4_line_15 |  | 15 | 21 | 0.023243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_352-6_0_4_line_16 |  | 16 | 17 | 0.028692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_352-6_0_4_line_17 |  | 16 | 18 | 0.029959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_352-6_0_4_line_18 |  | 17 | 28 | 0.02222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_352-6_0_4_line_19 |  | 18 | 54 | 0.018495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_352-6_0_4_line_20 |  | 19 | 20 | 0.011782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_352-6_0_4_line_21 |  | 19 | 21 | 0.022409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_352-6_0_4_line_22 |  | 20 | 22 | 0.013977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_352-6_0_4_line_23 |  | 21 | 23 | 0.03004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_352-6_0_4_line_24 |  | 22 | 24 | 0.015923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_352-6_0_4_line_25 |  | 23 | 25 | 0.027942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_352-6_0_4_line_26 |  | 24 | 26 | 0.006149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_352-6_0_4_line_27 |  | 24 | 27 | 0.023186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_352-6_0_4_line_28 |  | 25 | 28 | 0.0018776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_352-6_0_4_line_29 |  | 26 | 30 | 0.056393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_352-6_0_4_line_30 |  | 26 | 31 | 0.012143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_352-6_0_4_line_31 |  | 27 | 29 | 0.0065762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_352-6_0_4_line_32 |  | 30 | 32 | 0.0087153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_352-6_0_4_line_33 |  | 31 | 33 | 0.045958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_352-6_0_4_line_34 |  | 32 | 78 | 0.02422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_352-6_0_4_line_35 |  | 33 | 66 | 0.0085401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_352-6_0_4_line_36 |  | 34 | 35 | 0.017525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_352-6_0_4_line_37 |  | 34 | 36 | 0.0028814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_352-6_0_4_line_38 |  | 35 | 37 | 0.0055374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_352-6_0_4_line_39 |  | 36 | 38 | 0.015364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_352-6_0_4_line_40 |  | 37 | 39 | 0.0038391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_352-6_0_4_line_41 |  | 38 | 40 | 0.029783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_352-6_0_4_line_42 |  | 38 | 41 | 0.009865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_352-6_0_4_line_43 |  | 39 | 42 | 0.018602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_352-6_0_4_line_44 |  | 40 | 43 | 0.019698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_352-6_0_4_line_45 |  | 40 | 44 | 0.021427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_352-6_0_4_line_46 |  | 41 | 45 | 0.018795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_352-6_0_4_line_47 |  | 42 | 46 | 0.00099795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_352-6_0_4_line_48 |  | 43 | 50 | 0.013689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_352-6_0_4_line_49 |  | 44 | 51 | 0.021575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_352-6_0_4_line_50 |  | 45 | 47 | 0.0017109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_352-6_0_4_line_51 |  | 46 | 52 | 0.0082542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_352-6_0_4_line_52 |  | 47 | 48 | 0.0058696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_352-6_0_4_line_53 |  | 48 | 49 | 0.017244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_352-6_0_4_line_54 |  | 49 | 63 | 0.0049802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_352-6_0_4_line_55 |  | 50 | 71 | 0.017318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_352-6_0_4_line_56 |  | 51 | 69 | 0.0084027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_352-6_0_4_line_57 |  | 52 | 53 | 0.03605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_352-6_0_4_line_58 |  | 55 | 56 | 0.022021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_352-6_0_4_line_59 |  | 55 | 57 | 0.051322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_352-6_0_4_line_60 |  | 57 | 58 | 0.039543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_352-6_0_4_line_61 |  | 58 | 59 | 0.01681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_352-6_0_4_line_62 |  | 58 | 60 | 0.01139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_352-6_0_4_line_63 |  | 59 | 61 | 0.00017287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_352-6_0_4_line_64 |  | 60 | 62 | 0.0042163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_352-6_0_4_line_65 |  | 61 | 67 | 0.02568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_352-6_0_4_line_66 |  | 62 | 82 | 0.0024847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_352-6_0_4_line_67 |  | 63 | 64 | 0.015703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_352-6_0_4_line_68 |  | 64 | 65 | 0.025735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_352-6_0_4_line_69 |  | 64 | 66 | 0.047765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_352-6_0_4_line_70 |  | 65 | 67 | 0.0054427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_352-6_0_4_line_71 |  | 67 | 68 | 0.012935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_352-6_0_4_line_72 |  | 68 | 74 | 0.0077294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_352-6_0_4_line_73 |  | 69 | 70 | 0.0065076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_352-6_0_4_line_74 |  | 71 | 72 | 0.014642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_352-6_0_4_line_75 |  | 72 | 73 | 0.0028348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_352-6_0_4_line_76 |  | 73 | 76 | 0.0070923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_352-6_0_4_line_77 |  | 74 | 75 | 0.022724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_352-6_0_4_line_78 |  | 75 | 81 | 0.0015807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_352-6_0_4_line_79 |  | 76 | 77 | 0.019499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_352-6_0_4_line_80 |  | 77 | 79 | 0.0042515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_352-6_0_4_line_81 |  | 80 | 81 | 0.016886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_352-6_0_4_line_82 |  | 82 | 83 | 0.0060054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_352-6_0_4_trafo_137 | 0.63 MVA 20/0.4 kV | 84 | 76 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2604655.0105 | 1202951.9188 | 2604647.1626 | 1202950.4146
1 | 2604680.5875 | 1202960.1333 | 2604669.81 | 1202954.7554 | 2604655.0105 | 1202951.9188
2 | 2604647.1626 | 1202950.4146 | 2604639.1204 | 1202948.8731 | 2604626.2393 | 1202948.8633
3 | 2604680.5875 | 1202960.1333 | 2604694.6204 | 1202967.1369 | 2604700.3279 | 1202975.8127 | 2604702.4178 | 1202978.9938 | 2604704.2368 | 1202998.0611 | 2604715.4757 | 1203016.6354 | 2604727.6035 | 1203027.1283 | 2604713.2262 | 1203052.3197 | 2604707.9151 | 1203052.5156 | 2604691.7339 | 1203039.4849
4 | 2604624.4863 | 1202948.862 | 2604626.2393 | 1202948.8633
5 | 2604691.7339 | 1203039.4849 | 2604669.6747 | 1203021.7249
6 | 2604614.308 | 1202948.8542 | 2604624.4863 | 1202948.862
7 | 2604614.308 | 1202948.8542 | 2604614.308 | 1202948.8542 | 2604613.2732 | 1202949.9327
8 | 2604487.8488 | 1202753.976 | 2604464.6201 | 1202782.4632
9 | 2604487.8488 | 1202753.976 | 2604494.973 | 1202764.417
10 | 2604464.6201 | 1202782.4632 | 2604460.811 | 1202775.023
11 | 2604464.6201 | 1202782.4632 | 2604458.3293 | 1202792.0886
12 | 2604494.973 | 1202764.417 | 2604503.1924 | 1202776.4628
13 | 2604513.1739 | 1202792.1155 | 2604508.2265 | 1202783.8406 | 2604503.1924 | 1202776.4628
14 | 2604531.2167 | 1202777.3926 | 2604531.1825 | 1202777.4204
15 | 2604513.1739 | 1202792.1155 | 2604531.1825 | 1202777.4204
16 | 2604455.879 | 1202852.617 | 2604466.3092 | 1202854.9259 | 2604472.159 | 1202856.9202 | 2604477.4832 | 1202859.6589 | 2604483.2651 | 1202860.9194
17 | 2604455.879 | 1202852.617 | 2604438.1018 | 1202856.2726 | 2604428.0562 | 1202862.4824
18 | 2604483.2651 | 1202860.9194 | 2604484.3174 | 1202857.8852 | 2604483.5024 | 1202848.7686 | 2604484.2118 | 1202846.3122 | 2604488.989 | 1202840.7939
19 | 2604426.9603 | 1202879.8439 | 2604426.0666 | 1202863.7123 | 2604428.0562 | 1202862.4824
20 | 2604526.7873 | 1202809.8862 | 2604534.2275 | 1202819.022
21 | 2604513.1739 | 1202792.1155 | 2604517.2175 | 1202797.9772 | 2604518.9885 | 1202800.5466 | 2604526.3018 | 1202809.2901 | 2604526.7873 | 1202809.8862
22 | 2604543.0936 | 1202829.8267 | 2604535.8956 | 1202821.0703 | 2604534.2275 | 1202819.022
23 | 2604513.1739 | 1202792.1155 | 2604502.7527 | 1202820.2895
24 | 2604553.9669 | 1202841.4504 | 2604544.8204 | 1202831.9273 | 2604543.0936 | 1202829.8267
25 | 2604502.7527 | 1202820.2895 | 2604502.6294 | 1202820.6231 | 2604504.2681 | 1202827.1612 | 2604498.9903 | 1202833.4718 | 2604496.6479 | 1202831.947 | 2604490.218 | 1202839.3744
26 | 2604558.3693 | 1202845.7561 | 2604553.9669 | 1202841.4504
27 | 2604553.9669 | 1202841.4504 | 2604572.5674 | 1202827.6087
28 | 2604490.218 | 1202839.3744 | 2604488.989 | 1202840.7939
29 | 2604558.3693 | 1202845.7561 | 2604566.0569 | 1202852.4988 | 2604573.6236 | 1202857.9964 | 2604581.6089 | 1202863.4498 | 2604588.9561 | 1202867.4798 | 2604596.7905 | 1202871.1655 | 2604606.2074 | 1202875.1415
30 | 2604558.3693 | 1202845.7561 | 2604558.6586 | 1202857.8961
31 | 2604572.5674 | 1202827.6087 | 2604574.2486 | 1202826.3575 | 2604577.789 | 1202823.6116
32 | 2604606.2074 | 1202875.1415 | 2604614.0727 | 1202878.1268 | 2604614.3592 | 1202878.2238
33 | 2604564.5424 | 1202903.3919 | 2604560.7461 | 1202882.4889 | 2604559.1719 | 1202871.1927 | 2604558.8192 | 1202864.6333 | 2604558.6586 | 1202857.8961
34 | 2604614.3592 | 1202878.2238 | 2604637.301 | 1202885.989
35 | 2604564.5424 | 1202903.3919 | 2604565.9111 | 1202911.8217
36 | 2604488.6173 | 1202986.9082 | 2604477.1427 | 1203000.1539
37 | 2604488.6173 | 1202986.9082 | 2604490.504 | 1202984.7303
38 | 2604477.1427 | 1203000.1539 | 2604477.1208 | 1203000.1792 | 2604473.9129 | 1203004.6517
39 | 2604499.3439 | 1202972.2027 | 2604493.4632 | 1202981.3144 | 2604490.504 | 1202984.7303
40 | 2604471.6754 | 1203007.7712 | 2604473.9129 | 1203004.6517
41 | 2604476.2118 | 1202953.3643 | 2604495.4278 | 1202968.9425 | 2604499.3439 | 1202972.2027
42 | 2604499.3439 | 1202972.2027 | 2604509.0548 | 1202970.4651
43 | 2604471.6754 | 1203007.7712 | 2604467.3182 | 1203013.846 | 2604458.3393 | 1203020.4157
44 | 2604476.2118 | 1202953.3643 | 2604469.9846 | 1202937.0175 | 2604471.0592 | 1202935.0922
45 | 2604476.2118 | 1202953.3643 | 2604469.7861 | 1202958.5957 | 2604461.1474 | 1202968.4983
46 | 2604509.0548 | 1202970.4651 | 2604527.5559 | 1202967.1547
47 | 2604457.5339 | 1203021.005 | 2604458.3393 | 1203020.4157
48 | 2604471.0592 | 1202935.0922 | 2604473.2532 | 1202931.1612 | 2604480.912 | 1202926.0863
49 | 2604446.9644 | 1202984.7562 | 2604461.1474 | 1202968.4983
50 | 2604529.2401 | 1202966.8533 | 2604527.5559 | 1202967.1547
51 | 2604457.5339 | 1203021.005 | 2604450.8724 | 1203025.879
52 | 2604529.2401 | 1202966.8533 | 2604535.018 | 1202965.8195
53 | 2604535.018 | 1202965.8195 | 2604551.9927 | 1202962.7822
54 | 2604556.8951 | 1202961.905 | 2604551.9927 | 1202962.7822
55 | 2604496.3076 | 1202918.3532 | 2604486.9787 | 1202922.0664 | 2604480.912 | 1202926.0863
56 | 2604446.9644 | 1202984.7562 | 2604441.4406 | 1202991.0881
57 | 2604450.8724 | 1203025.879 | 2604445.0963 | 1203030.1052 | 2604435.2972 | 1203039.2029 | 2604432.234 | 1203054.4191
58 | 2604532.3815 | 1203053.4824 | 2604521.4938 | 1203052.9407 | 2604513.0347 | 1203060.1585
59 | 2604579.7087 | 1203072.2726 | 2604571.5301 | 1203071.3326 | 2604566.6083 | 1203069.917 | 2604532.3815 | 1203053.4824
60 | 2604579.7087 | 1203072.2726 | 2604577.0526 | 1203032.827
61 | 2604577.0526 | 1203032.827 | 2604576.0819 | 1203016.0451
62 | 2604577.0526 | 1203032.827 | 2604585.9071 | 1203039.9922
63 | 2604576.0819 | 1203016.0451 | 2604576.0719 | 1203015.8725
64 | 2604585.9071 | 1203039.9922 | 2604589.1847 | 1203042.6445
65 | 2604574.5891 | 1202990.2354 | 2604576.0719 | 1203015.8725
66 | 2604591.1162 | 1203044.2075 | 2604589.1847 | 1203042.6445
67 | 2604572.3527 | 1202959.1391 | 2604556.8951 | 1202961.905
68 | 2604572.3527 | 1202959.1391 | 2604573.4612 | 1202972.4472 | 2604574.2447 | 1202984.8036
69 | 2604572.3527 | 1202959.1391 | 2604571.2636 | 1202950.4892 | 2604569.0791 | 1202931.3327 | 2604565.9111 | 1202911.8217
70 | 2604574.5891 | 1202990.2354 | 2604574.2447 | 1202984.8036
71 | 2604574.5891 | 1202990.2354 | 2604587.5172 | 1202989.1668
72 | 2604587.5172 | 1202989.1668 | 2604590.7975 | 1202988.0354 | 2604592.8988 | 1202986.2582 | 2604593.5284 | 1202984.8886
73 | 2604437.1625 | 1202995.992 | 2604441.4406 | 1202991.0881
74 | 2604510.1339 | 1202913.7843 | 2604506.5773 | 1202914.2656 | 2604496.3076 | 1202918.3532
75 | 2604510.1339 | 1202913.7843 | 2604512.9431 | 1202913.4042
76 | 2604519.9713 | 1202912.4531 | 2604512.9431 | 1202913.4042
77 | 2604600.5393 | 1202963.2876 | 2604594.3088 | 1202983.1909 | 2604593.5284 | 1202984.8886
78 | 2604601.5822 | 1202962.1165 | 2604600.5784 | 1202963.1626 | 2604600.5393 | 1202963.2876
79 | 2604539.2938 | 1202909.8383 | 2604519.9713 | 1202912.4531
80 | 2604543.507 | 1202909.2682 | 2604539.2938 | 1202909.8383
81 | 2604601.5822 | 1202962.1165 | 2604613.2732 | 1202949.9327
82 | 2604595.7846 | 1203047.9853 | 2604591.1162 | 1203044.2075

## bus_geodata
| x | y | coords
0 | 2604655.0105 | 1202951.9188
1 | 2604647.1626 | 1202950.4146
2 | 2604680.5875 | 1202960.1333
3 | 2604626.2393 | 1202948.8633
4 | 2604691.7339 | 1203039.4849
5 | 2604624.4863 | 1202948.862
6 | 2604669.6747 | 1203021.7249
7 | 2604614.308 | 1202948.8542
8 | 2604487.8488 | 1202753.976
9 | 2604464.6201 | 1202782.4632
10 | 2604494.973 | 1202764.417
11 | 2604460.811 | 1202775.023
12 | 2604458.3293 | 1202792.0886
13 | 2604503.1924 | 1202776.4628
14 | 2604531.2167 | 1202777.3926
15 | 2604531.1825 | 1202777.4204
16 | 2604455.879 | 1202852.617
17 | 2604483.2651 | 1202860.9194
18 | 2604428.0562 | 1202862.4824
19 | 2604526.7873 | 1202809.8862
20 | 2604534.2275 | 1202819.022
21 | 2604513.1739 | 1202792.1155
22 | 2604543.0936 | 1202829.8267
23 | 2604502.7527 | 1202820.2895
24 | 2604553.9669 | 1202841.4504
25 | 2604490.218 | 1202839.3744
26 | 2604558.3693 | 1202845.7561
27 | 2604572.5674 | 1202827.6087
28 | 2604488.989 | 1202840.7939
29 | 2604577.789 | 1202823.6116
30 | 2604606.2074 | 1202875.1415
31 | 2604558.6586 | 1202857.8961
32 | 2604614.3592 | 1202878.2238
33 | 2604564.5424 | 1202903.3919
34 | 2604488.6173 | 1202986.9082
35 | 2604477.1427 | 1203000.1539
36 | 2604490.504 | 1202984.7303
37 | 2604473.9129 | 1203004.6517
38 | 2604499.3439 | 1202972.2027
39 | 2604471.6754 | 1203007.7712
40 | 2604476.2118 | 1202953.3643
41 | 2604509.0548 | 1202970.4651
42 | 2604458.3393 | 1203020.4157
43 | 2604471.0592 | 1202935.0922
44 | 2604461.1474 | 1202968.4983
45 | 2604527.5559 | 1202967.1547
46 | 2604457.5339 | 1203021.005
47 | 2604529.2401 | 1202966.8533
48 | 2604535.018 | 1202965.8195
49 | 2604551.9927 | 1202962.7822
50 | 2604480.912 | 1202926.0863
51 | 2604446.9644 | 1202984.7562
52 | 2604450.8724 | 1203025.879
53 | 2604432.234 | 1203054.4191
54 | 2604426.9603 | 1202879.8439
55 | 2604532.3815 | 1203053.4824
56 | 2604513.0347 | 1203060.1585
57 | 2604579.7087 | 1203072.2726
58 | 2604577.0526 | 1203032.827
59 | 2604576.0819 | 1203016.0451
60 | 2604585.9071 | 1203039.9922
61 | 2604576.0719 | 1203015.8725
62 | 2604589.1847 | 1203042.6445
63 | 2604556.8951 | 1202961.905
64 | 2604572.3527 | 1202959.1391
65 | 2604574.2447 | 1202984.8036
66 | 2604565.9111 | 1202911.8217
67 | 2604574.5891 | 1202990.2354
68 | 2604587.5172 | 1202989.1668
69 | 2604441.4406 | 1202991.0881
70 | 2604437.1625 | 1202995.992
71 | 2604496.3076 | 1202918.3532
72 | 2604510.1339 | 1202913.7843
73 | 2604512.9431 | 1202913.4042
74 | 2604593.5284 | 1202984.8886
75 | 2604600.5393 | 1202963.2876
76 | 2604519.9713 | 1202912.4531
77 | 2604539.2938 | 1202909.8383
78 | 2604637.301 | 1202885.989
79 | 2604543.507 | 1202909.2682
80 | 2604613.2732 | 1202949.9327
81 | 2604601.5822 | 1202962.1165
82 | 2604591.1162 | 1203044.2075
83 | 2604595.7846 | 1203047.9853
84 | 2604543.507 | 1202909.2682

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1