## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_352-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_352-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_352-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_352-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_352-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_352-8_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_352-8_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_352-8_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_352-8_0_3_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_352-8_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_352-8_0_3_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_352-8_0_3_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_352-8_0_3_node_85 | 0.4 | n |  | TRUE
13 | bus_LV_352-8_0_3_node_78 | 0.4 | n |  | TRUE
14 | bus_LV_352-8_0_3_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_352-8_0_3_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_352-8_0_3_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_352-8_0_3_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_352-8_0_3_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_352-8_0_3_node_83 | 0.4 | n |  | TRUE
20 | bus_LV_352-8_0_3_node_81 | 0.4 | n |  | TRUE
21 | bus_LV_352-8_0_3_node_80 | 0.4 | n |  | TRUE
22 | bus_LV_352-8_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_352-8_0_3_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_352-8_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_352-8_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_352-8_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_352-8_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_352-8_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_352-8_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_352-8_0_3_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_352-8_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_352-8_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_352-8_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_352-8_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_352-8_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_352-8_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_352-8_0_3_node_82 | 0.4 | n |  | TRUE
38 | bus_LV_352-8_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_352-8_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_352-8_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_352-8_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_352-8_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_352-8_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_352-8_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_352-8_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_352-8_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_352-8_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_352-8_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_352-8_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_352-8_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_352-8_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_352-8_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_352-8_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_352-8_0_3_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_352-8_0_3_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_352-8_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_352-8_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_352-8_0_3_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_352-8_0_3_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_352-8_0_3_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_352-8_0_3_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_352-8_0_3_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_352-8_0_3_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_352-8_0_3_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_352-8_0_3_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_352-8_0_3_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_352-8_0_3_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_352-8_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_352-8_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_352-8_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_352-8_0_3_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_352-8_0_3_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_352-8_0_3_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_352-8_0_3_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_352-8_0_3_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_352-8_0_3_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_352-8_0_3_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_352-8_0_3_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_352-8_0_3_node_89 | 0.4 | n |  | TRUE
80 | bus_LV_352-8_0_3_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_352-8_0_3_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_352-8_0_3_node_94 | 0.4 | n |  | TRUE
83 | bus_LV_352-8_0_3_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_352-8_0_3_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_352-8_0_3_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_352-8_0_3_node_91 | 0.4 | n |  | TRUE
87 | bus_LV_352-8_0_3_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_352-8_0_3_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_352-8_0_3_node_93 | 0.4 | n |  | TRUE
90 | bus_MV_602_0_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_352-8_0_3_load_0 | 0 | 0.036357 | 0.009112 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_352-8_0_3_load_1 | 1 | 0.0014302 | 0.00035843 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_352-8_0_3_load_4 | 4 | 0.0028069 | 0.00070348 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_352-8_0_3_load_5 | 5 | 0.0040494 | 0.0010149 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_352-8_0_3_load_48 | 8 | 0.0015441 | 0.000387 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_352-8_0_3_load_46 | 10 | 0.0015366 | 0.0003851 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_352-8_0_3_load_85 | 12 | 0.0029123 | 0.0007299 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_352-8_0_3_load_35 | 16 | 0.0014979 | 0.00037541 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_352-8_0_3_load_37 | 17 | 0.0014917 | 0.00037385 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_352-8_0_3_load_83 | 19 | 0.00071165 | 0.00017836 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_352-8_0_3_load_80 | 21 | 0.028228 | 0.0070746 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_352-8_0_3_load_9 | 22 | 0.013661 | 0.0034237 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_352-8_0_3_load_10 | 23 | 0.0036945 | 0.00092593 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_352-8_0_3_load_14 | 26 | 0.014796 | 0.0037083 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_352-8_0_3_load_15 | 27 | 0.0076275 | 0.0019116 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_352-8_0_3_load_16 | 28 | 0.0030844 | 0.00077303 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_352-8_0_3_load_17 | 29 | 0.0073541 | 0.0018431 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_352-8_0_3_load_18 | 31 | 0.013696 | 0.0034327 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_352-8_0_3_load_20 | 33 | 0.0060606 | 0.0015189 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_352-8_0_3_load_23 | 34 | 0.0071579 | 0.0017939 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_352-8_0_3_load_21 | 35 | 0.003614 | 0.00090576 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_352-8_0_3_load_82 | 37 | 0.012763 | 0.0031988 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_352-8_0_3_load_27 | 38 | 0.0052354 | 0.0013121 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_352-8_0_3_load_24 | 39 | 0.0031342 | 0.0007855 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_352-8_0_3_load_22 | 40 | 0.010693 | 0.00268 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_352-8_0_3_load_28 | 42 | 0.0044336 | 0.0011112 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_352-8_0_3_load_32 | 44 | 0.004661 | 0.0011681 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_352-8_0_3_load_29 | 45 | 0.0045459 | 0.0011393 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_352-8_0_3_load_33 | 46 | 0.0015081 | 0.00037795 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_352-8_0_3_load_39 | 47 | 0.0016802 | 0.00042111 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_352-8_0_3_load_40 | 48 | 0.0016359 | 0.00040999 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_352-8_0_3_load_42 | 50 | 0.0016306 | 0.00040866 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_352-8_0_3_load_43 | 51 | 0.0018075 | 0.00045301 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_352-8_0_3_load_44 | 52 | 0.0013884 | 0.00034797 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_352-8_0_3_load_45 | 53 | 0.0027309 | 0.00068443 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_352-8_0_3_load_63 | 54 | 0.0015153 | 0.00037977 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_352-8_0_3_load_49 | 56 | 0.0014753 | 0.00036975 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_352-8_0_3_load_50 | 57 | 0.0017115 | 0.00042894 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_352-8_0_3_load_51 | 58 | 0.0014204 | 0.00035598 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_352-8_0_3_load_66 | 59 | 0.001741 | 0.00043633 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_352-8_0_3_load_60 | 60 | 0.0015154 | 0.00037978 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_352-8_0_3_load_57 | 61 | 0.0038558 | 0.00096636 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_352-8_0_3_load_52 | 62 | 0.0014012 | 0.00035118 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_352-8_0_3_load_53 | 63 | 0.0014752 | 0.00036973 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_352-8_0_3_load_56 | 66 | 0.0017262 | 0.00043262 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_352-8_0_3_load_58 | 67 | 0.0068472 | 0.0017161 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_352-8_0_3_load_59 | 68 | 0.001546 | 0.00038746 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_352-8_0_3_load_61 | 69 | 0.0018729 | 0.00046939 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_352-8_0_3_load_64 | 70 | 0.0016051 | 0.00040228 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_352-8_0_3_load_65 | 71 | 0.0043544 | 0.0010913 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_352-8_0_3_load_67 | 72 | 0.00064793 | 0.00016239 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_352-8_0_3_load_68 | 73 | 0.00081029 | 0.00020308 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_352-8_0_3_load_69 | 74 | 0.00080063 | 0.00020066 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_352-8_0_3_load_70 | 75 | 0.0009725 | 0.00024373 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_352-8_0_3_load_71 | 76 | 0.0069983 | 0.0017539 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_352-8_0_3_load_72 | 77 | 0.00099134 | 0.00024845 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_352-8_0_3_load_88 | 78 | 0.002562 | 0.00064209 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_352-8_0_3_load_74 | 80 | 0.0024283 | 0.00060858 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_352-8_0_3_load_79 | 81 | 0.0043974 | 0.0011021 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_352-8_0_3_load_94 | 82 | 0.022236 | 0.0055728 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_352-8_0_3_load_84 | 83 | 0.00076814 | 0.00019251 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_352-8_0_3_load_86 | 84 | 0.0013171 | 0.0003301 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_352-8_0_3_load_87 | 85 | 0.00080424 | 0.00020156 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_352-8_0_3_load_91 | 86 | 0.00076878 | 0.00019268 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_352-8_0_3_load_92 | 87 | 0.0017206 | 0.00043124 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_352-8_0_3_load_90 | 88 | 0.00093419 | 0.00023413 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_352-8_0_3_load_93 | 89 | 0.0019546 | 0.00048987 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_352-8_0_3_line_0 |  | 0 | 1 | 0.010169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_352-8_0_3_line_1 |  | 0 | 2 | 0.0030311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_352-8_0_3_line_2 |  | 1 | 3 | 0.010982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_352-8_0_3_line_3 |  | 2 | 4 | 0.011678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_352-8_0_3_line_4 |  | 2 | 5 | 0.012422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_352-8_0_3_line_5 |  | 3 | 6 | 0.039276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_352-8_0_3_line_6 |  | 5 | 7 | 0.060189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_352-8_0_3_line_7 |  | 6 | 8 | 0.035175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_352-8_0_3_line_8 |  | 6 | 9 | 0.041565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_352-8_0_3_line_9 |  | 6 | 10 | 0.010793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_352-8_0_3_line_10 |  | 7 | 13 | 0.047696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_352-8_0_3_line_11 |  | 9 | 11 | 0.059043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_352-8_0_3_line_12 |  | 9 | 12 | 0.026144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_352-8_0_3_line_13 |  | 10 | 14 | 0.0016398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_352-8_0_3_line_14 |  | 11 | 17 | 0.018296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_352-8_0_3_line_15 |  | 11 | 18 | 0.019719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_352-8_0_3_line_16 |  | 11 | 15 | 0.038019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_352-8_0_3_line_17 |  | 12 | 19 | 0.0043911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_352-8_0_3_line_18 |  | 13 | 20 | 0.032156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_352-8_0_3_line_19 |  | 13 | 21 | 0.093068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_352-8_0_3_line_20 |  | 14 | 56 | 0.0053839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_352-8_0_3_line_21 |  | 14 | 57 | 0.010281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_352-8_0_3_line_22 |  | 15 | 16 | 0.0066141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_352-8_0_3_line_23 |  | 18 | 44 | 0.0053924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_352-8_0_3_line_24 |  | 18 | 46 | 0.033358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_352-8_0_3_line_25 |  | 18 | 45 | 0.0097484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_352-8_0_3_line_26 |  | 19 | 83 | 0.0012619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_352-8_0_3_line_27 |  | 20 | 82 | 0.013714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_352-8_0_3_line_28 |  | 21 | 81 | 0.049231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_352-8_0_3_line_29 |  | 22 | 23 | 0.0058987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_352-8_0_3_line_30 |  | 22 | 24 | 0.022408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_352-8_0_3_line_31 |  | 23 | 25 | 0.017259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_352-8_0_3_line_32 |  | 24 | 26 | 0.019398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_352-8_0_3_line_33 |  | 24 | 27 | 0.02284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_352-8_0_3_line_34 |  | 25 | 28 | 0.026777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_352-8_0_3_line_35 |  | 25 | 29 | 0.0073305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_352-8_0_3_line_36 |  | 26 | 33 | 0.0048429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_352-8_0_3_line_37 |  | 28 | 34 | 0.0088884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_352-8_0_3_line_38 |  | 29 | 35 | 0.011168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_352-8_0_3_line_39 |  | 30 | 31 | 0.019554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_352-8_0_3_line_40 |  | 30 | 32 | 0.023753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_352-8_0_3_line_41 |  | 31 | 36 | 0.032788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_352-8_0_3_line_42 |  | 32 | 37 | 0.00097857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_352-8_0_3_line_43 |  | 33 | 38 | 0.015262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_352-8_0_3_line_44 |  | 34 | 39 | 0.0005533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_352-8_0_3_line_45 |  | 35 | 40 | 0.007975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_352-8_0_3_line_46 |  | 36 | 41 | 0.029893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_352-8_0_3_line_47 |  | 38 | 42 | 0.0081018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_352-8_0_3_line_48 |  | 39 | 41 | 0.037997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_352-8_0_3_line_49 |  | 42 | 43 | 0.01343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_352-8_0_3_line_50 |  | 43 | 44 | 0.012206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_352-8_0_3_line_51 |  | 47 | 48 | 0.0070972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_352-8_0_3_line_52 |  | 47 | 49 | 0.0085631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_352-8_0_3_line_53 |  | 48 | 50 | 0.0035665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_352-8_0_3_line_54 |  | 49 | 51 | 0.013819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_352-8_0_3_line_55 |  | 50 | 52 | 0.0031371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_352-8_0_3_line_56 |  | 51 | 53 | 0.0071616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_352-8_0_3_line_57 |  | 52 | 54 | 0.0066957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_352-8_0_3_line_58 |  | 54 | 55 | 0.011964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_352-8_0_3_line_59 |  | 55 | 70 | 0.0077796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_352-8_0_3_line_60 |  | 55 | 69 | 0.010057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_352-8_0_3_line_61 |  | 56 | 58 | 0.0073504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_352-8_0_3_line_62 |  | 58 | 59 | 0.010061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_352-8_0_3_line_63 |  | 58 | 60 | 0.0062622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_352-8_0_3_line_64 |  | 60 | 61 | 0.0011487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_352-8_0_3_line_65 |  | 61 | 64 | 0.0051227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_352-8_0_3_line_66 |  | 62 | 63 | 0.0067184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_352-8_0_3_line_67 |  | 62 | 64 | 0.00054686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_352-8_0_3_line_68 |  | 63 | 65 | 0.0053153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_352-8_0_3_line_69 |  | 64 | 66 | 0.010366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_352-8_0_3_line_70 |  | 65 | 67 | 0.010786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_352-8_0_3_line_71 |  | 65 | 68 | 0.0017839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_352-8_0_3_line_72 |  | 68 | 69 | 0.010641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_352-8_0_3_line_73 |  | 70 | 71 | 0.00050736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_352-8_0_3_line_74 |  | 72 | 73 | 0.0065661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_352-8_0_3_line_75 |  | 72 | 74 | 0.001406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_352-8_0_3_line_76 |  | 73 | 75 | 0.00031362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_352-8_0_3_line_77 |  | 74 | 76 | 0.0073068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_352-8_0_3_line_78 |  | 75 | 77 | 0.0081038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_352-8_0_3_line_79 |  | 77 | 78 | 0.0012492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_352-8_0_3_line_80 |  | 78 | 79 | 0.0062381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_352-8_0_3_line_81 |  | 79 | 88 | 0.025342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_352-8_0_3_line_82 |  | 80 | 81 | 0.088073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_352-8_0_3_line_83 |  | 83 | 84 | 0.00094021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_352-8_0_3_line_84 |  | 84 | 85 | 0.00040206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_352-8_0_3_line_85 |  | 85 | 86 | 0.0013404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_352-8_0_3_line_86 |  | 86 | 87 | 0.0070548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_352-8_0_3_line_87 |  | 87 | 89 | 0.0044476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_352-8_0_3_line_88 |  | 88 | 89 | 0.0032422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_352-8_0_3_trafo_49 | 0.63 MVA 20/0.4 kV | 90 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2604336.2038 | 1202282.7486 | 2604330.8185 | 1202291.3746
1 | 2604337.8091 | 1202280.1774 | 2604336.2038 | 1202282.7486
2 | 2604325.0025 | 1202300.6904 | 2604330.8185 | 1202291.3746
3 | 2604337.8091 | 1202280.1774 | 2604349.5203 | 1202280.3081
4 | 2604337.8091 | 1202280.1774 | 2604344.3875 | 1202269.6398
5 | 2604314.7601 | 1202332.5671 | 2604309.0402 | 1202318.322 | 2604315.2838 | 1202313.1347 | 2604319.8152 | 1202307.9462 | 2604325.0025 | 1202300.6904
6 | 2604375.7043 | 1202218.26 | 2604371.9476 | 1202225.35 | 2604365.6469 | 1202235.6955 | 2604348.4368 | 1202263.1536 | 2604344.3875 | 1202269.6398
7 | 2604314.7601 | 1202332.5671 | 2604311.359 | 1202331.9643 | 2604300.2953 | 1202341.7951 | 2604297.932 | 1202358.5803
8 | 2604288.2089 | 1202334.2269 | 2604291.8254 | 1202331.5502 | 2604298.1526 | 1202326.4075 | 2604309.0402 | 1202318.322 | 2604314.7601 | 1202332.5671
9 | 2604314.7601 | 1202332.5671 | 2604325.3877 | 1202334.4469
10 | 2604375.7043 | 1202218.26 | 2604377.2216 | 1202214.2256 | 2604378.7925 | 1202209.7132 | 2604380.6392 | 1202202.5217 | 2604381.3423 | 1202198.4089 | 2604381.726 | 1202193.9179 | 2604381.8442 | 1202188.3816 | 2604381.6859 | 1202186.2026 | 2604380.2851 | 1202176.4852 | 2604380.1873 | 1202174.9398 | 2604376.8992 | 1202175.8602
11 | 2604276.3095 | 1202385.4017 | 2604271.2053 | 1202372.002 | 2604270.203 | 1202368.8885 | 2604269.5508 | 1202365.753 | 2604269.2866 | 1202362.7179 | 2604269.3871 | 1202360.4834 | 2604269.975 | 1202357.6378 | 2604271.3243 | 1202354.2592 | 2604273.039 | 1202350.6807 | 2604275.3393 | 1202347.5139 | 2604279.2387 | 1202342.8586 | 2604288.2089 | 1202334.2269
12 | 2604288.2089 | 1202334.2269 | 2604270.5377 | 1202314.9596
13 | 2604327.0024 | 1202334.7325 | 2604325.3877 | 1202334.4469
14 | 2604276.3095 | 1202385.4017 | 2604280.061 | 1202374.543 | 2604281.192 | 1202367.829
15 | 2604276.3095 | 1202385.4017 | 2604284.165 | 1202403.4948
16 | 2604252.0919 | 1202358.4702 | 2604267.4849 | 1202370.9433 | 2604271.2053 | 1202372.002 | 2604276.3095 | 1202385.4017
17 | 2604266.1904 | 1202315.5777 | 2604270.5377 | 1202314.9596 | 2604270.5377 | 1202314.9596
18 | 2604346.2853 | 1202185.9548 | 2604373.1925 | 1202176.8914 | 2604376.8992 | 1202175.8602
19 | 2604376.8992 | 1202175.8602 | 2604375.8408 | 1202166.1764 | 2604374.7567 | 1202160.4948 | 2604373.3354 | 1202158.1481 | 2604370.7419 | 1202156.1006 | 2604366.9226 | 1202154.9306 | 2604361.3523 | 1202154.7154 | 2604345.8041 | 1202156.583 | 2604310.5496 | 1202164.4955 | 2604300.8122 | 1202167.3034
20 | 2604327.0024 | 1202334.7325 | 2604332.3038 | 1202335.6716
21 | 2604325.2983 | 1202344.8701 | 2604327.0024 | 1202334.7325
22 | 2604252.0919 | 1202358.4702 | 2604249.1559 | 1202356.5449 | 2604246.2117 | 1202355.5645
23 | 2604284.165 | 1202403.4948 | 2604286.4675 | 1202408.371
24 | 2604284.165 | 1202403.4948 | 2604290.6599 | 1202387.1461 | 2604299.7117 | 1202381.3494 | 2604304.2961 | 1202379.3097
25 | 2604284.165 | 1202403.4948 | 2604276.3693 | 1202397.6417
26 | 2604266.1904 | 1202315.5777 | 2604264.941 | 1202315.7554
27 | 2604346.2853 | 1202185.9548 | 2604335.0885 | 1202189.8266 | 2604333.3073 | 1202190.4924
28 | 2604253.7548 | 1202181.7576 | 2604284.9373 | 1202171.8813 | 2604300.8122 | 1202167.3034
29 | 2604374.1196 | 1202426.154 | 2604379.9368 | 1202427.131
30 | 2604352.0208 | 1202422.4422 | 2604374.1196 | 1202426.154
31 | 2604396.9571 | 1202429.9898 | 2604379.9368 | 1202427.131
32 | 2604352.0208 | 1202422.4422 | 2604340.5395 | 1202420.4885 | 2604332.889 | 1202419.2416
33 | 2604352.0208 | 1202422.4422 | 2604353.7114 | 1202410.0812 | 2604356.7187 | 1202407.8933 | 2604359.7319 | 1202408.2512 | 2604362.0736 | 1202410.9988
34 | 2604396.9571 | 1202429.9898 | 2604404.0542 | 1202455.809
35 | 2604396.9571 | 1202429.9898 | 2604402.0142 | 1202424.6829
36 | 2604328.1091 | 1202418.4626 | 2604332.889 | 1202419.2416
37 | 2604406.41 | 1202464.3796 | 2604404.0542 | 1202455.809
38 | 2604402.0142 | 1202424.6829 | 2604402.5468 | 1202424.124 | 2604402.2916 | 1202413.7308
39 | 2604344.3894 | 1202463.659 | 2604362.5634 | 1202470.8736
40 | 2604322.313 | 1202454.8941 | 2604341.491 | 1202462.5119 | 2604344.3894 | 1202463.659
41 | 2604390.1888 | 1202487.3715 | 2604388.7742 | 1202486.3143 | 2604387.4359 | 1202485.0238 | 2604385.999 | 1202483.2885 | 2604384.5849 | 1202481.5643 | 2604382.9804 | 1202479.94 | 2604380.7748 | 1202478.4488 | 2604377.2985 | 1202476.7231 | 2604362.5634 | 1202470.8736
42 | 2604322.313 | 1202454.8941 | 2604321.4397 | 1202454.4525
43 | 2604328.1091 | 1202418.4626 | 2604325.2614 | 1202417.9985 | 2604317.1049 | 1202416.7031 | 2604312.9949 | 1202416.9589
44 | 2604406.41 | 1202464.3796 | 2604406.5567 | 1202464.9131
45 | 2604402.0959 | 1202405.7582 | 2604402.2916 | 1202413.7308
46 | 2604415.7384 | 1202501.7645 | 2604405.9512 | 1202493.3306 | 2604402.9164 | 1202491.5608 | 2604400.4517 | 1202490.4584 | 2604397.6062 | 1202489.856 | 2604394.2356 | 1202489.2866 | 2604392.2577 | 1202488.5848 | 2604390.1888 | 1202487.3715
47 | 2604312.9949 | 1202416.9589 | 2604304.9087 | 1202417.4622
48 | 2604415.7384 | 1202501.7645 | 2604412.9025 | 1202487.9994 | 2604406.5567 | 1202464.9131
49 | 2604291.6796 | 1202419.4087 | 2604297.5019 | 1202417.9232 | 2604304.9087 | 1202417.4622
50 | 2604291.6796 | 1202419.4087 | 2604286.4675 | 1202408.371
51 | 2604403.3617 | 1202338.2796 | 2604410.3342 | 1202339.6041
52 | 2604418.747 | 1202341.2021 | 2604410.3342 | 1202339.6041
53 | 2604403.3617 | 1202338.2796 | 2604399.8579 | 1202337.6141
54 | 2604418.747 | 1202341.2021 | 2604415.8652 | 1202354.717
55 | 2604396.7759 | 1202337.0286 | 2604399.8579 | 1202337.6141
56 | 2604414.3717 | 1202361.7211 | 2604415.8652 | 1202354.717
57 | 2604396.7759 | 1202337.0286 | 2604390.1978 | 1202335.7791
58 | 2604378.4444 | 1202333.5465 | 2604390.1978 | 1202335.7791
59 | 2604378.4444 | 1202333.5465 | 2604379.8643 | 1202325.8976
60 | 2604378.4444 | 1202333.5465 | 2604376.5196 | 1202343.4171
61 | 2604339.5415 | 1202336.9538 | 2604332.3038 | 1202335.6716
62 | 2604337.5407 | 1202346.8132 | 2604339.5415 | 1202336.9538
63 | 2604339.5415 | 1202336.9538 | 2604345.7076 | 1202338.0468
64 | 2604345.7076 | 1202338.0468 | 2604346.8387 | 1202338.2474
65 | 2604351.8827 | 1202339.1415 | 2604346.8387 | 1202338.2474
66 | 2604352.4212 | 1202339.2371 | 2604359.0362 | 1202340.4115
67 | 2604351.8827 | 1202339.1415 | 2604352.4212 | 1202339.2371
68 | 2604364.2696 | 1202341.3405 | 2604359.0362 | 1202340.4115
69 | 2604351.8827 | 1202339.1415 | 2604350.1937 | 1202349.3681
70 | 2604362.1313 | 1202351.9114 | 2604364.2696 | 1202341.3405
71 | 2604364.2696 | 1202341.3405 | 2604366.0284 | 1202341.6387
72 | 2604366.0284 | 1202341.6387 | 2604376.5196 | 1202343.4171
73 | 2604379.8643 | 1202325.8976 | 2604379.9569 | 1202325.3988
74 | 2604219.0017 | 1202288.4448 | 2604221.3608 | 1202294.5724
75 | 2604219.0017 | 1202288.4448 | 2604218.4965 | 1202287.1326
76 | 2604221.3608 | 1202294.5724 | 2604221.4735 | 1202294.8651
77 | 2604215.8712 | 1202280.3138 | 2604218.4965 | 1202287.1326
78 | 2604224.3852 | 1202302.4278 | 2604221.4735 | 1202294.8651
79 | 2604224.3852 | 1202302.4278 | 2604224.834 | 1202303.5935
80 | 2604227.0753 | 1202309.4151 | 2604224.834 | 1202303.5935
81 | 2604227.0753 | 1202309.4151 | 2604236.4583 | 1202319.805 | 2604247.6873 | 1202318.2085
82 | 2604253.7548 | 1202181.7576 | 2604168.7251 | 1202204.7096
83 | 2604264.0101 | 1202315.8877 | 2604264.941 | 1202315.7554
84 | 2604263.6121 | 1202315.9443 | 2604264.0101 | 1202315.8877
85 | 2604262.285 | 1202316.133 | 2604263.6121 | 1202315.9443
86 | 2604262.285 | 1202316.133 | 2604255.3005 | 1202317.126
87 | 2604255.3005 | 1202317.126 | 2604250.8972 | 1202317.7521
88 | 2604247.6873 | 1202318.2085 | 2604250.8972 | 1202317.7521

## bus_geodata
| x | y | coords
0 | 2604336.2038 | 1202282.7486
1 | 2604330.8185 | 1202291.3746
2 | 2604337.8091 | 1202280.1774
3 | 2604325.0025 | 1202300.6904
4 | 2604349.5203 | 1202280.3081
5 | 2604344.3875 | 1202269.6398
6 | 2604314.7601 | 1202332.5671
7 | 2604375.7043 | 1202218.26
8 | 2604297.932 | 1202358.5803
9 | 2604288.2089 | 1202334.2269
10 | 2604325.3877 | 1202334.4469
11 | 2604276.3095 | 1202385.4017
12 | 2604270.5377 | 1202314.9596
13 | 2604376.8992 | 1202175.8602
14 | 2604327.0024 | 1202334.7325
15 | 2604252.0919 | 1202358.4702
16 | 2604246.2117 | 1202355.5645
17 | 2604281.192 | 1202367.829
18 | 2604284.165 | 1202403.4948
19 | 2604266.1904 | 1202315.5777
20 | 2604346.2853 | 1202185.9548
21 | 2604300.8122 | 1202167.3034
22 | 2604374.1196 | 1202426.154
23 | 2604379.9368 | 1202427.131
24 | 2604352.0208 | 1202422.4422
25 | 2604396.9571 | 1202429.9898
26 | 2604332.889 | 1202419.2416
27 | 2604362.0736 | 1202410.9988
28 | 2604404.0542 | 1202455.809
29 | 2604402.0142 | 1202424.6829
30 | 2604344.3894 | 1202463.6591
31 | 2604362.5634 | 1202470.8736
32 | 2604322.313 | 1202454.8941
33 | 2604328.1091 | 1202418.4626
34 | 2604406.41 | 1202464.3796
35 | 2604402.2916 | 1202413.7308
36 | 2604390.1888 | 1202487.3715
37 | 2604321.4397 | 1202454.4525
38 | 2604312.9949 | 1202416.9589
39 | 2604406.5567 | 1202464.9131
40 | 2604402.0959 | 1202405.7582
41 | 2604415.7384 | 1202501.7645
42 | 2604304.9087 | 1202417.4622
43 | 2604291.6796 | 1202419.4087
44 | 2604286.4675 | 1202408.371
45 | 2604276.3693 | 1202397.6417
46 | 2604304.2961 | 1202379.3097
47 | 2604410.3342 | 1202339.6041
48 | 2604403.3617 | 1202338.2796
49 | 2604418.747 | 1202341.2021
50 | 2604399.8579 | 1202337.6141
51 | 2604415.8652 | 1202354.717
52 | 2604396.7759 | 1202337.0286
53 | 2604414.3717 | 1202361.7211
54 | 2604390.1978 | 1202335.7791
55 | 2604378.4444 | 1202333.5465
56 | 2604332.3038 | 1202335.6716
57 | 2604325.2983 | 1202344.8701
58 | 2604339.5415 | 1202336.9538
59 | 2604337.5407 | 1202346.8132
60 | 2604345.7076 | 1202338.0468
61 | 2604346.8387 | 1202338.2474
62 | 2604352.4212 | 1202339.2371
63 | 2604359.0362 | 1202340.4115
64 | 2604351.8827 | 1202339.1415
65 | 2604364.2696 | 1202341.3405
66 | 2604350.1937 | 1202349.3681
67 | 2604362.1313 | 1202351.9114
68 | 2604366.0284 | 1202341.6387
69 | 2604376.5196 | 1202343.4171
70 | 2604379.8643 | 1202325.8976
71 | 2604379.9569 | 1202325.3988
72 | 2604219.0017 | 1202288.4448
73 | 2604221.3608 | 1202294.5724
74 | 2604218.4965 | 1202287.1326
75 | 2604221.4735 | 1202294.8651
76 | 2604215.8712 | 1202280.3138
77 | 2604224.3852 | 1202302.4278
78 | 2604224.834 | 1202303.5935
79 | 2604227.0753 | 1202309.4151
80 | 2604168.7251 | 1202204.7096
81 | 2604253.7548 | 1202181.7576
82 | 2604333.3073 | 1202190.4924
83 | 2604264.941 | 1202315.7554
84 | 2604264.0101 | 1202315.8877
85 | 2604263.6121 | 1202315.9443
86 | 2604262.285 | 1202316.133
87 | 2604255.3005 | 1202317.126
88 | 2604247.6873 | 1202318.2085
89 | 2604250.8972 | 1202317.7521
90 | 2604327.0024 | 1202334.7325

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1