## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-106_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-106_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-106_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-106_0_6_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_355-106_0_6_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_355-106_0_6_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_355-106_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_355-106_0_6_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_355-106_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_355-106_0_6_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_355-106_0_6_node_60 | 0.4 | n |  | TRUE
11 | bus_LV_355-106_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_355-106_0_6_node_54 | 0.4 | n |  | TRUE
13 | bus_LV_355-106_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_355-106_0_6_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_355-106_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_355-106_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_355-106_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_355-106_0_6_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_355-106_0_6_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_355-106_0_6_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_355-106_0_6_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_355-106_0_6_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_355-106_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_355-106_0_6_node_67 | 0.4 | n |  | TRUE
25 | bus_LV_355-106_0_6_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_355-106_0_6_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_355-106_0_6_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_355-106_0_6_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_355-106_0_6_node_62 | 0.4 | n |  | TRUE
30 | bus_LV_355-106_0_6_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_355-106_0_6_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_355-106_0_6_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_355-106_0_6_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_355-106_0_6_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_355-106_0_6_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_355-106_0_6_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_355-106_0_6_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_355-106_0_6_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_355-106_0_6_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_355-106_0_6_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_355-106_0_6_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_355-106_0_6_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_355-106_0_6_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_355-106_0_6_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_355-106_0_6_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_355-106_0_6_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_355-106_0_6_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_355-106_0_6_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_355-106_0_6_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_355-106_0_6_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_355-106_0_6_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_355-106_0_6_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_355-106_0_6_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_355-106_0_6_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_355-106_0_6_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_355-106_0_6_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_355-106_0_6_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_355-106_0_6_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_355-106_0_6_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_355-106_0_6_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_355-106_0_6_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_355-106_0_6_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_355-106_0_6_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_355-106_0_6_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_355-106_0_6_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_355-106_0_6_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_355-106_0_6_node_70 | 0.4 | n |  | TRUE
68 | bus_MV_55_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-106_0_6_load_0 | 0 | 0.0044928 | 0.001126 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-106_0_6_load_15 | 4 | 0.0026793 | 0.0006715 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-106_0_6_load_51 | 7 | 0.027625 | 0.0069234 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-106_0_6_load_61 | 9 | 0.087185 | 0.021851 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-106_0_6_load_60 | 10 | 0.011732 | 0.0029404 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-106_0_6_load_54 | 12 | 0.0006333 | 0.00015872 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-106_0_6_load_65 | 18 | 0.00047622 | 0.00011935 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-106_0_6_load_66 | 19 | 0.0019069 | 0.00047792 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-106_0_6_load_63 | 20 | 0.00036623 | 9.1786e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-106_0_6_load_64 | 21 | 0.00050385 | 0.00012628 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-106_0_6_load_45 | 22 | 0.00079253 | 0.00019863 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-106_0_6_load_67 | 24 | 0.0011899 | 0.00029823 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-106_0_6_load_52 | 26 | 0.039319 | 0.0098542 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-106_0_6_load_42 | 27 | 0.0076732 | 0.0019231 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-106_0_6_load_62 | 29 | 0.00044227 | 0.00011084 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-106_0_6_load_23 | 30 | 0.0029104 | 0.00072941 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-106_0_6_load_68 | 31 | 0.0016939 | 0.00042453 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-106_0_6_load_53 | 32 | 0.0045373 | 0.0011371 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-106_0_6_load_41 | 33 | 0.0010108 | 0.00025334 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-106_0_6_load_18 | 34 | 0.0031275 | 0.00078382 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-106_0_6_load_19 | 35 | 0.0057544 | 0.0014422 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-106_0_6_load_20 | 36 | 0.0050908 | 0.0012759 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-106_0_6_load_39 | 38 | 0.0035578 | 0.00089167 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-106_0_6_load_25 | 40 | 0.0083359 | 0.0020892 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-106_0_6_load_26 | 41 | 0.0069289 | 0.0017365 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-106_0_6_load_28 | 43 | 0.0095815 | 0.0024013 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-106_0_6_load_29 | 44 | 0.0032199 | 0.00080697 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-106_0_6_load_30 | 45 | 0.0056822 | 0.0014241 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-106_0_6_load_31 | 46 | 0.0036689 | 0.00091951 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-106_0_6_load_32 | 47 | 0.0058077 | 0.0014556 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-106_0_6_load_33 | 48 | 0.0071487 | 0.0017916 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-106_0_6_load_35 | 49 | 0.0038975 | 0.00097681 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-106_0_6_load_43 | 51 | 0.0094565 | 0.00237 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-106_0_6_load_44 | 52 | 0.0092187 | 0.0023104 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-106_0_6_load_36 | 53 | 0.0030195 | 0.00075676 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-106_0_6_load_38 | 54 | 0.0018891 | 0.00047345 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-106_0_6_load_40 | 55 | 0.0032401 | 0.00081204 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-106_0_6_load_59 | 57 | 0.033701 | 0.0084462 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-106_0_6_load_46 | 59 | 0.020138 | 0.005047 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-106_0_6_load_47 | 60 | 0.0072233 | 0.0018103 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-106_0_6_load_48 | 61 | 0.0073063 | 0.0018311 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-106_0_6_load_49 | 62 | 0.0094039 | 0.0023568 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-106_0_6_load_57 | 63 | 0.067852 | 0.017005 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-106_0_6_load_55 | 64 | 0.025667 | 0.0064327 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-106_0_6_load_56 | 65 | 0.0043137 | 0.0010811 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-106_0_6_load_69 | 66 | 0.026232 | 0.0065743 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-106_0_6_load_70 | 67 | 0.018236 | 0.0045703 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-106_0_6_line_0 |  | 0 | 1 | 0.015585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-106_0_6_line_1 |  | 0 | 2 | 0.0047738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-106_0_6_line_2 |  | 1 | 3 | 0.083734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-106_0_6_line_3 |  | 2 | 4 | 0.03422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-106_0_6_line_4 |  | 3 | 26 | 0.012677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-106_0_6_line_5 |  | 3 | 7 | 0.075183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-106_0_6_line_6 |  | 4 | 8 | 0.035682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-106_0_6_line_7 |  | 5 | 6 | 0.066878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-106_0_6_line_8 |  | 5 | 7 | 0.062209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-106_0_6_line_9 |  | 6 | 10 | 0.1025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-106_0_6_line_10 |  | 8 | 9 | 0.065797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-106_0_6_line_11 |  | 11 | 12 | 0.014374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-106_0_6_line_12 |  | 11 | 13 | 0.064795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_355-106_0_6_line_13 |  | 11 | 14 | 0.041593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-106_0_6_line_14 |  | 13 | 22 | 0.039876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-106_0_6_line_15 |  | 13 | 15 | 0.039439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-106_0_6_line_16 |  | 14 | 27 | 0.034182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-106_0_6_line_17 |  | 15 | 16 | 0.029535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-106_0_6_line_18 |  | 16 | 21 | 0.048523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-106_0_6_line_19 |  | 17 | 18 | 0.01392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_355-106_0_6_line_20 |  | 17 | 19 | 0.01613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_355-106_0_6_line_21 |  | 17 | 20 | 0.019894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-106_0_6_line_22 |  | 18 | 21 | 2.4829e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-106_0_6_line_23 |  | 19 | 25 | 0.022287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-106_0_6_line_24 |  | 20 | 28 | 0.014461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-106_0_6_line_25 |  | 22 | 30 | 0.022124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-106_0_6_line_26 |  | 23 | 24 | 0.011619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-106_0_6_line_27 |  | 23 | 25 | 0.004481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-106_0_6_line_28 |  | 24 | 31 | 0.0056063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-106_0_6_line_29 |  | 26 | 32 | 0.01807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_355-106_0_6_line_30 |  | 27 | 33 | 0.021805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-106_0_6_line_31 |  | 28 | 29 | 0.013886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-106_0_6_line_32 |  | 30 | 37 | 0.013109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-106_0_6_line_33 |  | 31 | 66 | 0.027491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-106_0_6_line_34 |  | 32 | 64 | 0.003883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_355-106_0_6_line_35 |  | 33 | 50 | 0.024078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_355-106_0_6_line_36 |  | 34 | 35 | 0.028098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-106_0_6_line_37 |  | 34 | 36 | 0.027689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-106_0_6_line_38 |  | 35 | 37 | 0.0090418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-106_0_6_line_39 |  | 38 | 39 | 0.015692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-106_0_6_line_40 |  | 39 | 49 | 0.021601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-106_0_6_line_41 |  | 39 | 46 | 0.033192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-106_0_6_line_42 |  | 40 | 41 | 0.018817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-106_0_6_line_43 |  | 40 | 42 | 0.016651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-106_0_6_line_44 |  | 42 | 43 | 0.02331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-106_0_6_line_45 |  | 42 | 44 | 0.0038869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-106_0_6_line_46 |  | 43 | 45 | 0.018559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_355-106_0_6_line_47 |  | 44 | 46 | 0.013097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_355-106_0_6_line_48 |  | 45 | 47 | 0.01361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-106_0_6_line_49 |  | 47 | 48 | 0.020106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-106_0_6_line_50 |  | 48 | 50 | 0.0083546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_355-106_0_6_line_51 |  | 49 | 53 | 0.0052458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_355-106_0_6_line_52 |  | 50 | 51 | 0.026549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_355-106_0_6_line_53 |  | 51 | 52 | 0.023784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_355-106_0_6_line_54 |  | 52 | 56 | 0.011602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_355-106_0_6_line_55 |  | 53 | 54 | 0.019345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-106_0_6_line_56 |  | 54 | 55 | 0.0042892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_355-106_0_6_line_57 |  | 56 | 57 | 0.026748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_355-106_0_6_line_58 |  | 56 | 58 | 0.028276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-106_0_6_line_59 |  | 57 | 65 | 0.0041809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_355-106_0_6_line_60 |  | 58 | 63 | 0.009499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-106_0_6_line_61 |  | 58 | 62 | 0.0028436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-106_0_6_line_62 |  | 59 | 60 | 0.020772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_355-106_0_6_line_63 |  | 59 | 61 | 0.019436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-106_0_6_line_64 |  | 60 | 62 | 0.015709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-106_0_6_line_65 |  | 64 | 65 | 0.01873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_355-106_0_6_line_66 |  | 66 | 67 | 0.0011975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-106_0_6_trafo_55 | 0.63 MVA 20/0.4 kV | 68 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2601313.9252 | 1197220.1808 | 2601303.1064 | 1197208.962
1 | 2601299.7926 | 1197205.5256 | 2601303.1064 | 1197208.962
2 | 2601313.9252 | 1197220.1808 | 2601318.0218 | 1197224.4284 | 2601322.8493 | 1197229.8767 | 2601356.2758 | 1197197.3554 | 2601361.172 | 1197202.2035 | 2601363.502 | 1197204.5163 | 2601353.6371 | 1197214.086
3 | 2601299.7926 | 1197205.5256 | 2601276.2823 | 1197180.6607
4 | 2601353.6371 | 1197214.086 | 2601363.3459 | 1197222.2368
5 | 2601353.6371 | 1197214.086 | 2601328.0949 | 1197238.8493 | 2601321.0716 | 1197244.9177 | 2601300.5406 | 1197267.2356
6 | 2601251.7675 | 1197154.7334 | 2601276.2823 | 1197180.6607
7 | 2601278.016 | 1197366.2401 | 2601270.2955 | 1197356.1443 | 2601249.676 | 1197333.139 | 2601253.1723 | 1197329.9825 | 2601252.6245 | 1197327.1809 | 2601252.6021 | 1197324.8463 | 2601253.0977 | 1197322.0227 | 2601254.5302 | 1197318.6656 | 2601258.4231 | 1197313.019
8 | 2601258.4231 | 1197313.019 | 2601300.5406 | 1197267.2356
9 | 2601278.016 | 1197366.2401 | 2601294.1112 | 1197353.0586 | 2601349.4213 | 1197292.9282
10 | 2601251.7675 | 1197154.7334 | 2601247.0354 | 1197167.3503 | 2601235.8369 | 1197180.6218 | 2601225.4385 | 1197192.9375 | 2601215.2305 | 1197205.0197 | 2601213.2791 | 1197207.3269
11 | 2601429.4345 | 1197140.3857 | 2601434.7953 | 1197145.0561 | 2601440.2931 | 1197149.8376
12 | 2601475.8966 | 1197095.0945 | 2601469.1699 | 1197101.652 | 2601458.0095 | 1197112.533 | 2601429.4345 | 1197140.3857
13 | 2601429.4345 | 1197140.3857 | 2601399.6333 | 1197169.4834
14 | 2601475.8966 | 1197095.0945 | 2601483.3666 | 1197101.7776 | 2601505.6178 | 1197121.6793
15 | 2601462.2382 | 1197072.8351 | 2601470.6851 | 1197071.0583 | 2601472.4745 | 1197072.893 | 2601475.0863 | 1197075.5729 | 2601474.5529 | 1197076.5288 | 2601468.3049 | 1197087.7555 | 2601475.8966 | 1197095.0945
16 | 2601399.6333 | 1197169.4834 | 2601406.3203 | 1197169.6627 | 2601426.8426 | 1197187.9576
17 | 2601436.9169 | 1197059.4888 | 2601443.0398 | 1197062.225 | 2601455.0197 | 1197065.1182 | 2601462.2382 | 1197072.8351
18 | 2601436.9169 | 1197059.4888 | 2601415.8307 | 1197078.0828 | 2601409.9962 | 1197079.5823 | 2601399.8153 | 1197089.7462
19 | 2601389.6335 | 1197099.266 | 2601391.9112 | 1197097.1654 | 2601393.869 | 1197095.4316 | 2601395.7125 | 1197093.8422 | 2601399.7978 | 1197089.7638
20 | 2601389.6335 | 1197099.266 | 2601387.8128 | 1197100.9554 | 2601384.3088 | 1197103.3893 | 2601383.4099 | 1197104.2228 | 2601382.8155 | 1197105.3678 | 2601382.5335 | 1197106.4794 | 2601382.5561 | 1197107.7801 | 2601383.1531 | 1197112.1555
21 | 2601389.6335 | 1197099.266 | 2601394.2699 | 1197107.9161 | 2601403.0199 | 1197112.9207
22 | 2601399.8153 | 1197089.7462 | 2601399.7978 | 1197089.7638
23 | 2601375.1789 | 1197128.7674 | 2601377.4262 | 1197126.5334 | 2601381.3563 | 1197126.034 | 2601382.8646 | 1197124.8448 | 2601384.1445 | 1197123.2331 | 2601384.3962 | 1197121.2655 | 2601383.1531 | 1197112.1555
24 | 2601413.1624 | 1197123.2284 | 2601403.0199 | 1197112.9207
25 | 2601505.6178 | 1197121.6793 | 2601522.1084 | 1197136.4286
26 | 2601371.158 | 1197126.7655 | 2601369.4819 | 1197129.0441 | 2601367.3411 | 1197131.8563 | 2601363.7157 | 1197135.6622
27 | 2601375.1789 | 1197128.7674 | 2601371.158 | 1197126.7655
28 | 2601359.8488 | 1197139.7216 | 2601363.7157 | 1197135.6622
29 | 2601363.3459 | 1197222.2368 | 2601372.2335 | 1197224.0731 | 2601379.0763 | 1197229.9107
30 | 2601426.8426 | 1197187.9576 | 2601443.1189 | 1197202.4674
31 | 2601413.1624 | 1197123.2284 | 2601423.0861 | 1197113.516
32 | 2601531.8795 | 1197145.1679 | 2601522.1084 | 1197136.4286
33 | 2601359.8488 | 1197139.7216 | 2601340.8875 | 1197159.6271
34 | 2601382.0304 | 1197232.4308 | 2601379.0763 | 1197229.9107
35 | 2601461.0923 | 1197218.4901 | 2601443.1189 | 1197202.4674
36 | 2601559.6731 | 1197169.8027 | 2601538.6459 | 1197151.1653
37 | 2601559.6731 | 1197169.8027 | 2601580.3946 | 1197188.169
38 | 2601531.8795 | 1197145.1679 | 2601538.6459 | 1197151.1653
39 | 2601560.0644 | 1197308.9954 | 2601572.2132 | 1197299.0629
40 | 2601560.0644 | 1197308.9954 | 2601543.4382 | 1197322.7864
41 | 2601560.0644 | 1197308.9954 | 2601535.5697 | 1197286.5964
42 | 2601546.5 | 1197248.5377 | 2601534.0517 | 1197262.6482
43 | 2601523.0359 | 1197275.135 | 2601534.0517 | 1197262.6482
44 | 2601523.0359 | 1197275.135 | 2601505.8339 | 1197259.4045
45 | 2601523.0359 | 1197275.135 | 2601525.9043 | 1197277.758
46 | 2601505.8339 | 1197259.4045 | 2601492.1383 | 1197246.8804
47 | 2601525.9043 | 1197277.758 | 2601535.5697 | 1197286.5964
48 | 2601482.095 | 1197237.6961 | 2601492.1383 | 1197246.8804
49 | 2601467.2577 | 1197224.1281 | 2601482.095 | 1197237.6961
50 | 2601461.0923 | 1197218.4901 | 2601467.2577 | 1197224.1281
51 | 2601543.4382 | 1197322.7864 | 2601539.4006 | 1197326.1354
52 | 2601461.0923 | 1197218.4901 | 2601443.3962 | 1197238.2817
53 | 2601443.3962 | 1197238.2817 | 2601427.543 | 1197256.012
54 | 2601419.81 | 1197264.6608 | 2601427.543 | 1197256.012
55 | 2601524.5114 | 1197338.4856 | 2601539.4006 | 1197326.1354
56 | 2601521.2101 | 1197341.2239 | 2601524.5114 | 1197338.4856
57 | 2601419.81 | 1197264.6608 | 2601399.4607 | 1197247.3007
58 | 2601417.6495 | 1197287.6281 | 2601411.5583 | 1197280.1116 | 2601410.927 | 1197276.4762 | 2601412.4586 | 1197272.8857 | 2601419.81 | 1197264.6608
59 | 2601396.28 | 1197244.5872 | 2601399.4607 | 1197247.3007
60 | 2601417.6495 | 1197287.6281 | 2601410.4737 | 1197293.8742
61 | 2601417.6495 | 1197287.6281 | 2601419.4405 | 1197289.8367
62 | 2601442.4175 | 1197318.1722 | 2601442.4175 | 1197318.1722 | 2601429.3345 | 1197302.0382
63 | 2601435.2036 | 1197334.5657 | 2601441.3031 | 1197328.8554 | 2601443.2541 | 1197323.2306 | 2601442.4175 | 1197318.1722
64 | 2601419.4405 | 1197289.8367 | 2601429.3345 | 1197302.0382
65 | 2601382.0304 | 1197232.4308 | 2601396.28 | 1197244.5872
66 | 2601340.8875 | 1197159.6271 | 2601340.0616 | 1197160.4942

## bus_geodata
| x | y | coords
0 | 2601303.1064 | 1197208.962
1 | 2601313.9252 | 1197220.1808
2 | 2601299.7926 | 1197205.5256
3 | 2601353.6371 | 1197214.086
4 | 2601276.2823 | 1197180.6607
5 | 2601258.4231 | 1197313.019
6 | 2601278.016 | 1197366.2401
7 | 2601300.5406 | 1197267.2356
8 | 2601251.7675 | 1197154.7334
9 | 2601213.2791 | 1197207.3269
10 | 2601349.4213 | 1197292.9282
11 | 2601429.4345 | 1197140.3857
12 | 2601440.2931 | 1197149.8376
13 | 2601475.8966 | 1197095.0945
14 | 2601399.6333 | 1197169.4834
15 | 2601462.2382 | 1197072.8351
16 | 2601436.9169 | 1197059.4888
17 | 2601389.6335 | 1197099.266
18 | 2601399.7978 | 1197089.7638
19 | 2601383.1531 | 1197112.1555
20 | 2601403.0199 | 1197112.9207
21 | 2601399.8153 | 1197089.7462
22 | 2601505.6178 | 1197121.6793
23 | 2601371.158 | 1197126.7655
24 | 2601363.7157 | 1197135.6622
25 | 2601375.1789 | 1197128.7674
26 | 2601363.3459 | 1197222.2368
27 | 2601426.8426 | 1197187.9576
28 | 2601413.1624 | 1197123.2284
29 | 2601423.0861 | 1197113.516
30 | 2601522.1084 | 1197136.4286
31 | 2601359.8488 | 1197139.7216
32 | 2601379.0763 | 1197229.9107
33 | 2601443.1189 | 1197202.4674
34 | 2601559.6731 | 1197169.8027
35 | 2601538.6459 | 1197151.1653
36 | 2601580.3946 | 1197188.169
37 | 2601531.8795 | 1197145.1679
38 | 2601572.2132 | 1197299.0629
39 | 2601560.0644 | 1197308.9954
40 | 2601534.0517 | 1197262.6482
41 | 2601546.5 | 1197248.5377
42 | 2601523.0359 | 1197275.135
43 | 2601505.8339 | 1197259.4045
44 | 2601525.9043 | 1197277.758
45 | 2601492.1383 | 1197246.8804
46 | 2601535.5697 | 1197286.5964
47 | 2601482.095 | 1197237.6961
48 | 2601467.2577 | 1197224.1281
49 | 2601543.4382 | 1197322.7864
50 | 2601461.0923 | 1197218.4901
51 | 2601443.3962 | 1197238.2817
52 | 2601427.543 | 1197256.012
53 | 2601539.4006 | 1197326.1354
54 | 2601524.5114 | 1197338.4856
55 | 2601521.2101 | 1197341.2239
56 | 2601419.81 | 1197264.6608
57 | 2601399.4607 | 1197247.3007
58 | 2601417.6495 | 1197287.6281
59 | 2601442.4175 | 1197318.1722
60 | 2601429.3346 | 1197302.0382
61 | 2601435.2036 | 1197334.5657
62 | 2601419.4405 | 1197289.8367
63 | 2601410.4737 | 1197293.8742
64 | 2601382.0304 | 1197232.4308
65 | 2601396.28 | 1197244.5872
66 | 2601340.8875 | 1197159.6271
67 | 2601340.0616 | 1197160.4942
68 | 2601353.6371 | 1197214.086

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1