## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-109_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-109_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-109_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-109_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_355-109_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_355-109_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_355-109_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_355-109_0_5_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_355-109_0_5_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_355-109_0_5_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_355-109_0_5_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_355-109_0_5_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_355-109_0_5_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_355-109_0_5_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_355-109_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_355-109_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_355-109_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_355-109_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_355-109_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_355-109_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_355-109_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_355-109_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_355-109_0_5_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_355-109_0_5_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_355-109_0_5_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_355-109_0_5_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_355-109_0_5_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_355-109_0_5_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_355-109_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_355-109_0_5_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_355-109_0_5_node_127 | 0.4 | n |  | TRUE
31 | bus_LV_355-109_0_5_node_130 | 0.4 | n |  | TRUE
32 | bus_LV_355-109_0_5_node_125 | 0.4 | n |  | TRUE
33 | bus_LV_355-109_0_5_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_355-109_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_355-109_0_5_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_355-109_0_5_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_355-109_0_5_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_355-109_0_5_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_355-109_0_5_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_355-109_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_355-109_0_5_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_355-109_0_5_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_355-109_0_5_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_355-109_0_5_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_355-109_0_5_node_167 | 0.4 | n |  | TRUE
46 | bus_LV_355-109_0_5_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_355-109_0_5_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_355-109_0_5_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_355-109_0_5_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_355-109_0_5_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_355-109_0_5_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_355-109_0_5_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_355-109_0_5_node_143 | 0.4 | n |  | TRUE
54 | bus_LV_355-109_0_5_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_355-109_0_5_node_80 | 0.4 | n |  | TRUE
56 | bus_LV_355-109_0_5_node_144 | 0.4 | n |  | TRUE
57 | bus_LV_355-109_0_5_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_355-109_0_5_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_355-109_0_5_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_355-109_0_5_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_355-109_0_5_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_355-109_0_5_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_355-109_0_5_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_355-109_0_5_node_155 | 0.4 | n |  | TRUE
65 | bus_LV_355-109_0_5_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_355-109_0_5_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_355-109_0_5_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_355-109_0_5_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_355-109_0_5_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_355-109_0_5_node_106 | 0.4 | n |  | TRUE
71 | bus_LV_355-109_0_5_node_140 | 0.4 | n |  | TRUE
72 | bus_LV_355-109_0_5_node_107 | 0.4 | n |  | TRUE
73 | bus_LV_355-109_0_5_node_141 | 0.4 | n |  | TRUE
74 | bus_LV_355-109_0_5_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_355-109_0_5_node_133 | 0.4 | n |  | TRUE
76 | bus_LV_355-109_0_5_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_355-109_0_5_node_123 | 0.4 | n |  | TRUE
78 | bus_LV_355-109_0_5_node_99 | 0.4 | n |  | TRUE
79 | bus_LV_355-109_0_5_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_355-109_0_5_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_355-109_0_5_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_355-109_0_5_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_355-109_0_5_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_355-109_0_5_node_164 | 0.4 | n |  | TRUE
85 | bus_LV_355-109_0_5_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_355-109_0_5_node_166 | 0.4 | n |  | TRUE
87 | bus_LV_355-109_0_5_node_163 | 0.4 | n |  | TRUE
88 | bus_LV_355-109_0_5_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_355-109_0_5_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_355-109_0_5_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_355-109_0_5_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_355-109_0_5_node_73 | 0.4 | n |  | TRUE
93 | bus_LV_355-109_0_5_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_355-109_0_5_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_355-109_0_5_node_74 | 0.4 | n |  | TRUE
96 | bus_LV_355-109_0_5_node_75 | 0.4 | n |  | TRUE
97 | bus_LV_355-109_0_5_node_76 | 0.4 | n |  | TRUE
98 | bus_LV_355-109_0_5_node_78 | 0.4 | n |  | TRUE
99 | bus_LV_355-109_0_5_node_79 | 0.4 | n |  | TRUE
100 | bus_LV_355-109_0_5_node_114 | 0.4 | n |  | TRUE
101 | bus_LV_355-109_0_5_node_146 | 0.4 | n |  | TRUE
102 | bus_LV_355-109_0_5_node_112 | 0.4 | n |  | TRUE
103 | bus_LV_355-109_0_5_node_98 | 0.4 | n |  | TRUE
104 | bus_LV_355-109_0_5_node_82 | 0.4 | n |  | TRUE
105 | bus_LV_355-109_0_5_node_83 | 0.4 | n |  | TRUE
106 | bus_LV_355-109_0_5_node_138 | 0.4 | n |  | TRUE
107 | bus_LV_355-109_0_5_node_139 | 0.4 | n |  | TRUE
108 | bus_LV_355-109_0_5_node_86 | 0.4 | n |  | TRUE
109 | bus_LV_355-109_0_5_node_100 | 0.4 | n |  | TRUE
110 | bus_LV_355-109_0_5_node_101 | 0.4 | n |  | TRUE
111 | bus_LV_355-109_0_5_node_121 | 0.4 | n |  | TRUE
112 | bus_LV_355-109_0_5_node_122 | 0.4 | n |  | TRUE
113 | bus_LV_355-109_0_5_node_89 | 0.4 | n |  | TRUE
114 | bus_LV_355-109_0_5_node_90 | 0.4 | n |  | TRUE
115 | bus_LV_355-109_0_5_node_91 | 0.4 | n |  | TRUE
116 | bus_LV_355-109_0_5_node_92 | 0.4 | n |  | TRUE
117 | bus_LV_355-109_0_5_node_93 | 0.4 | n |  | TRUE
118 | bus_LV_355-109_0_5_node_94 | 0.4 | n |  | TRUE
119 | bus_LV_355-109_0_5_node_120 | 0.4 | n |  | TRUE
120 | bus_LV_355-109_0_5_node_153 | 0.4 | n |  | TRUE
121 | bus_LV_355-109_0_5_node_152 | 0.4 | n |  | TRUE
122 | bus_LV_355-109_0_5_node_95 | 0.4 | n |  | TRUE
123 | bus_LV_355-109_0_5_node_96 | 0.4 | n |  | TRUE
124 | bus_LV_355-109_0_5_node_97 | 0.4 | n |  | TRUE
125 | bus_LV_355-109_0_5_node_132 | 0.4 | n |  | TRUE
126 | bus_LV_355-109_0_5_node_158 | 0.4 | n |  | TRUE
127 | bus_LV_355-109_0_5_node_151 | 0.4 | n |  | TRUE
128 | bus_LV_355-109_0_5_node_131 | 0.4 | n |  | TRUE
129 | bus_LV_355-109_0_5_node_105 | 0.4 | n |  | TRUE
130 | bus_LV_355-109_0_5_node_119 | 0.4 | n |  | TRUE
131 | bus_LV_355-109_0_5_node_116 | 0.4 | n |  | TRUE
132 | bus_LV_355-109_0_5_node_160 | 0.4 | n |  | TRUE
133 | bus_LV_355-109_0_5_node_117 | 0.4 | n |  | TRUE
134 | bus_LV_355-109_0_5_node_102 | 0.4 | n |  | TRUE
135 | bus_LV_355-109_0_5_node_103 | 0.4 | n |  | TRUE
136 | bus_LV_355-109_0_5_node_104 | 0.4 | n |  | TRUE
137 | bus_LV_355-109_0_5_node_108 | 0.4 | n |  | TRUE
138 | bus_LV_355-109_0_5_node_109 | 0.4 | n |  | TRUE
139 | bus_LV_355-109_0_5_node_110 | 0.4 | n |  | TRUE
140 | bus_LV_355-109_0_5_node_145 | 0.4 | n |  | TRUE
141 | bus_LV_355-109_0_5_node_111 | 0.4 | n |  | TRUE
142 | bus_LV_355-109_0_5_node_113 | 0.4 | n |  | TRUE
143 | bus_LV_355-109_0_5_node_115 | 0.4 | n |  | TRUE
144 | bus_LV_355-109_0_5_node_129 | 0.4 | n |  | TRUE
145 | bus_LV_355-109_0_5_node_156 | 0.4 | n |  | TRUE
146 | bus_LV_355-109_0_5_node_157 | 0.4 | n |  | TRUE
147 | bus_LV_355-109_0_5_node_118 | 0.4 | n |  | TRUE
148 | bus_LV_355-109_0_5_node_124 | 0.4 | n |  | TRUE
149 | bus_LV_355-109_0_5_node_142 | 0.4 | n |  | TRUE
150 | bus_LV_355-109_0_5_node_136 | 0.4 | n |  | TRUE
151 | bus_LV_355-109_0_5_node_161 | 0.4 | n |  | TRUE
152 | bus_LV_355-109_0_5_node_134 | 0.4 | n |  | TRUE
153 | bus_LV_355-109_0_5_node_126 | 0.4 | n |  | TRUE
154 | bus_LV_355-109_0_5_node_128 | 0.4 | n |  | TRUE
155 | bus_LV_355-109_0_5_node_162 | 0.4 | n |  | TRUE
156 | bus_LV_355-109_0_5_node_172 | 0.4 | n |  | TRUE
157 | bus_LV_355-109_0_5_node_159 | 0.4 | n |  | TRUE
158 | bus_LV_355-109_0_5_node_170 | 0.4 | n |  | TRUE
159 | bus_LV_355-109_0_5_node_149 | 0.4 | n |  | TRUE
160 | bus_LV_355-109_0_5_node_135 | 0.4 | n |  | TRUE
161 | bus_LV_355-109_0_5_node_137 | 0.4 | n |  | TRUE
162 | bus_LV_355-109_0_5_node_150 | 0.4 | n |  | TRUE
163 | bus_LV_355-109_0_5_node_148 | 0.4 | n |  | TRUE
164 | bus_LV_355-109_0_5_node_147 | 0.4 | n |  | TRUE
165 | bus_LV_355-109_0_5_node_168 | 0.4 | n |  | TRUE
166 | bus_LV_355-109_0_5_node_169 | 0.4 | n |  | TRUE
167 | bus_MV_55_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-109_0_5_load_0 | 0 | 0.0029012 | 0.00072712 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-109_0_5_load_1 | 1 | 0.0050193 | 0.001258 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-109_0_5_load_3 | 3 | 0.0027386 | 0.00068635 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-109_0_5_load_4 | 4 | 0.0021604 | 0.00054146 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-109_0_5_load_5 | 5 | 0.0044595 | 0.0011177 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-109_0_5_load_6 | 6 | 0.0064891 | 0.0016263 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-109_0_5_load_31 | 7 | 0.0033407 | 0.00083725 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-109_0_5_load_21 | 8 | 0.0035674 | 0.00089407 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-109_0_5_load_28 | 9 | 0.0012521 | 0.00031381 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-109_0_5_load_10 | 10 | 0.0040808 | 0.0010227 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-109_0_5_load_22 | 12 | 0.0017839 | 0.00044708 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-109_0_5_load_9 | 14 | 0.0043579 | 0.0010922 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-109_0_5_load_7 | 15 | 0.0042542 | 0.0010662 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-109_0_5_load_8 | 16 | 0.0033295 | 0.00083444 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-109_0_5_load_11 | 17 | 0.003225 | 0.00080827 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-109_0_5_load_12 | 18 | 0.0026911 | 0.00067445 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-109_0_5_load_13 | 19 | 0.0034518 | 0.00086509 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-109_0_5_load_15 | 21 | 0.0028628 | 0.00071748 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-109_0_5_load_33 | 22 | 0.0022253 | 0.00055771 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-109_0_5_load_20 | 23 | 0.0032324 | 0.00081012 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-109_0_5_load_59 | 24 | 0.0073499 | 0.001842 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-109_0_5_load_27 | 25 | 0.003355 | 0.00084085 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-109_0_5_load_16 | 26 | 0.0032682 | 0.00081908 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-109_0_5_load_17 | 27 | 0.003534 | 0.0008857 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-109_0_5_load_19 | 28 | 0.0019049 | 0.0004774 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-109_0_5_load_30 | 29 | 0.0025635 | 0.00064246 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-109_0_5_load_130 | 31 | 0.0014616 | 0.0003663 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-109_0_5_load_125 | 32 | 0.0022982 | 0.00057597 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-109_0_5_load_23 | 33 | 0.0026099 | 0.00065411 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-109_0_5_load_24 | 34 | 0.0028272 | 0.00070855 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-109_0_5_load_25 | 35 | 0.003541 | 0.00088747 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-109_0_5_load_32 | 36 | 0.0059167 | 0.0014829 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-109_0_5_load_54 | 37 | 0.0031324 | 0.00078506 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-109_0_5_load_55 | 38 | 0.0032885 | 0.00082417 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-109_0_5_load_34 | 39 | 0.0031144 | 0.00078053 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-109_0_5_load_37 | 41 | 0.006904 | 0.0017303 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-109_0_5_load_48 | 42 | 0.0068415 | 0.0017146 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-109_0_5_load_57 | 43 | 0.0043451 | 0.001089 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-109_0_5_load_46 | 44 | 0.0042997 | 0.0010776 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-109_0_5_load_38 | 46 | 0.0038462 | 0.00096394 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-109_0_5_load_39 | 47 | 0.0041035 | 0.0010284 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-109_0_5_load_41 | 49 | 0.0032757 | 0.00082096 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-109_0_5_load_42 | 50 | 0.0032031 | 0.00080278 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-109_0_5_load_43 | 51 | 0.0059331 | 0.001487 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-109_0_5_load_81 | 52 | 0.0043936 | 0.0011011 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-109_0_5_load_143 | 53 | 0.0032687 | 0.00081922 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-109_0_5_load_64 | 54 | 0.010239 | 0.002566 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-109_0_5_load_80 | 55 | 0.0039505 | 0.00099009 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-109_0_5_load_144 | 56 | 0.0023567 | 0.00059064 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-109_0_5_load_62 | 57 | 0.005713 | 0.0014318 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-109_0_5_load_44 | 58 | 0.004176 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-109_0_5_load_45 | 59 | 0.0020427 | 0.00051195 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-109_0_5_load_47 | 60 | 0.0029312 | 0.00073462 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-109_0_5_load_71 | 61 | 0.0044069 | 0.0011045 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-109_0_5_load_72 | 62 | 0.0038197 | 0.0009573 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-109_0_5_load_60 | 63 | 0.002799 | 0.00070149 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-109_0_5_load_49 | 65 | 0.0012242 | 0.0003068 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_355-109_0_5_load_50 | 66 | 0.0034126 | 0.00085528 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_355-109_0_5_load_51 | 67 | 0.0020654 | 0.00051763 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_355-109_0_5_load_52 | 68 | 0.001565 | 0.00039222 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_355-109_0_5_load_53 | 69 | 0.0013639 | 0.00034184 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_355-109_0_5_load_106 | 70 | 0.0027929 | 0.00069997 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_355-109_0_5_load_140 | 71 | 0.002355 | 0.00059023 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_355-109_0_5_load_107 | 72 | 0.0032283 | 0.0008091 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_355-109_0_5_load_141 | 73 | 0.0017699 | 0.00044359 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_355-109_0_5_load_56 | 74 | 0.0025375 | 0.00063597 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_355-109_0_5_load_77 | 76 | 0.0036902 | 0.00092486 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_355-109_0_5_load_123 | 77 | 0.0022183 | 0.00055595 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_355-109_0_5_load_61 | 79 | 0.0031163 | 0.00078102 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_355-109_0_5_load_66 | 81 | 0.0046938 | 0.0011764 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_355-109_0_5_load_65 | 82 | 0.0042106 | 0.0010553 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_355-109_0_5_load_68 | 83 | 0.0037743 | 0.00094592 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_355-109_0_5_load_67 | 85 | 0.003095 | 0.00077568 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_355-109_0_5_load_163 | 87 | 0.0019909 | 0.00049896 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_355-109_0_5_load_69 | 88 | 0.0024222 | 0.00060707 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_355-109_0_5_load_70 | 89 | 0.0034757 | 0.00087109 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_355-109_0_5_load_84 | 90 | 0.0025556 | 0.0006405 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_355-109_0_5_load_85 | 91 | 0.0023664 | 0.00059307 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_355-109_0_5_load_73 | 92 | 0.0026022 | 0.00065217 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_355-109_0_5_load_87 | 93 | 0.0021861 | 0.00054788 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_355-109_0_5_load_88 | 94 | 0.0022732 | 0.00056971 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_355-109_0_5_load_74 | 95 | 0.003807 | 0.00095412 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_355-109_0_5_load_75 | 96 | 0.0036094 | 0.0009046 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_355-109_0_5_load_78 | 98 | 0.003207 | 0.00080374 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_355-109_0_5_load_79 | 99 | 0.0041232 | 0.0010334 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_355-109_0_5_load_114 | 100 | 0.0025594 | 0.00064145 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_355-109_0_5_load_146 | 101 | 0.0033734 | 0.00084544 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_355-109_0_5_load_112 | 102 | 0.0025471 | 0.00063836 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_355-109_0_5_load_98 | 103 | 0.0032631 | 0.00081781 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_355-109_0_5_load_82 | 104 | 0.0029921 | 0.0007499 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_355-109_0_5_load_83 | 105 | 0.0023211 | 0.00058171 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_355-109_0_5_load_138 | 106 | 0.0025957 | 0.00065055 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_355-109_0_5_load_139 | 107 | 0.0016209 | 0.00040623 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_355-109_0_5_load_86 | 108 | 0.0017122 | 0.00042912 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_355-109_0_5_load_100 | 109 | 0.0017547 | 0.00043978 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_355-109_0_5_load_121 | 111 | 0.0026349 | 0.00066036 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_355-109_0_5_load_122 | 112 | 0.0022219 | 0.00055685 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_355-109_0_5_load_89 | 113 | 0.0028247 | 0.00070793 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_355-109_0_5_load_90 | 114 | 0.0027406 | 0.00068687 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_355-109_0_5_load_92 | 116 | 0.0027811 | 0.00069701 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_355-109_0_5_load_93 | 117 | 0.0026745 | 0.00067029 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_355-109_0_5_load_94 | 118 | 0.0030028 | 0.00075256 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_355-109_0_5_load_120 | 119 | 0.0026019 | 0.00065209 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_355-109_0_5_load_152 | 121 | 0.0027694 | 0.00069409 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_355-109_0_5_load_95 | 122 | 0.0026773 | 0.000671 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_355-109_0_5_load_96 | 123 | 0.0027781 | 0.00069627 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_355-109_0_5_load_97 | 124 | 0.0034247 | 0.0008583 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_355-109_0_5_load_151 | 127 | 0.00249 | 0.00062406 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_355-109_0_5_load_105 | 129 | 0.0050373 | 0.0012625 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_355-109_0_5_load_119 | 130 | 0.004426 | 0.0011093 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_355-109_0_5_load_116 | 131 | 0.0030677 | 0.00076884 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_355-109_0_5_load_160 | 132 | 0.0034446 | 0.0008633 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_355-109_0_5_load_117 | 133 | 0.0033676 | 0.00084399 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_355-109_0_5_load_102 | 134 | 0.0047398 | 0.0011879 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_355-109_0_5_load_103 | 135 | 0.0048124 | 0.0012061 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_355-109_0_5_load_104 | 136 | 0.0062034 | 0.0015547 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_355-109_0_5_load_108 | 137 | 0.0023447 | 0.00058765 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_355-109_0_5_load_109 | 138 | 0.0028723 | 0.00071986 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_355-109_0_5_load_110 | 139 | 0.0021289 | 0.00053356 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_355-109_0_5_load_145 | 140 | 0.0028013 | 0.00070208 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_355-109_0_5_load_111 | 141 | 0.0029181 | 0.00073134 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_355-109_0_5_load_113 | 142 | 0.0025263 | 0.00063315 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_355-109_0_5_load_115 | 143 | 0.0024909 | 0.00062429 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_355-109_0_5_load_157 | 146 | 0.0049444 | 0.0012392 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_355-109_0_5_load_118 | 147 | 0.0029718 | 0.0007448 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_355-109_0_5_load_142 | 149 | 0.0031346 | 0.0007856 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_355-109_0_5_load_136 | 150 | 0.0032605 | 0.00081715 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_355-109_0_5_load_161 | 151 | 0.0038411 | 0.00096267 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_355-109_0_5_load_134 | 152 | 0.0026922 | 0.00067472 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_355-109_0_5_load_128 | 154 | 0.0042247 | 0.0010588 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_355-109_0_5_load_162 | 155 | 0.0073364 | 0.0018387 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_355-109_0_5_load_172 | 156 | 0.006107 | 0.0015306 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_355-109_0_5_load_170 | 158 | 0.00085819 | 0.00021508 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_355-109_0_5_load_135 | 160 | 0.0029909 | 0.0007496 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_355-109_0_5_load_137 | 161 | 0.0023783 | 0.00059606 | 0 | 0 |  | 1 | TRUE | wye
135 | LV_355-109_0_5_load_150 | 162 | 0.0023988 | 0.00060119 | 0 | 0 |  | 1 | TRUE | wye
136 | LV_355-109_0_5_load_148 | 163 | 0.0033988 | 0.00085183 | 0 | 0 |  | 1 | TRUE | wye
137 | LV_355-109_0_5_load_147 | 164 | 0.0028954 | 0.00072566 | 0 | 0 |  | 1 | TRUE | wye
138 | LV_355-109_0_5_load_168 | 165 | 0.0010446 | 0.0002618 | 0 | 0 |  | 1 | TRUE | wye
139 | LV_355-109_0_5_load_169 | 166 | 0.0056974 | 0.0014279 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 99 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-109_0_5_line_0 |  | 0 | 1 | 0.0033001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-109_0_5_line_1 |  | 0 | 2 | 0.012957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-109_0_5_line_2 |  | 1 | 3 | 0.018393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-109_0_5_line_3 |  | 2 | 4 | 0.027334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-109_0_5_line_4 |  | 2 | 5 | 0.0409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-109_0_5_line_5 |  | 2 | 6 | 0.026126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-109_0_5_line_6 |  | 3 | 7 | 0.021634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-109_0_5_line_7 |  | 4 | 8 | 0.014504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-109_0_5_line_8 |  | 5 | 9 | 0.0040497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-109_0_5_line_9 |  | 6 | 10 | 0.024806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-109_0_5_line_10 |  | 7 | 11 | 0.012273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-109_0_5_line_11 |  | 8 | 12 | 0.0074638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-109_0_5_line_12 |  | 9 | 13 | 0.027522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_355-109_0_5_line_13 |  | 10 | 14 | 0.012936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-109_0_5_line_14 |  | 11 | 36 | 0.021622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-109_0_5_line_15 |  | 11 | 34 | 0.008781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-109_0_5_line_16 |  | 12 | 30 | 0.006474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-109_0_5_line_17 |  | 13 | 29 | 0.033284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-109_0_5_line_18 |  | 14 | 15 | 0.011766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-109_0_5_line_19 |  | 15 | 16 | 0.022694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_355-109_0_5_line_20 |  | 17 | 18 | 0.02014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_355-109_0_5_line_21 |  | 17 | 19 | 0.00053239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-109_0_5_line_22 |  | 18 | 20 | 0.013247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-109_0_5_line_23 |  | 19 | 21 | 0.024003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-109_0_5_line_24 |  | 20 | 22 | 0.0092645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-109_0_5_line_25 |  | 20 | 23 | 0.012511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-109_0_5_line_26 |  | 21 | 24 | 0.029294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-109_0_5_line_27 |  | 22 | 25 | 0.003586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-109_0_5_line_28 |  | 25 | 35 | 0.018561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-109_0_5_line_29 |  | 26 | 27 | 0.021833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_355-109_0_5_line_30 |  | 27 | 28 | 0.016077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-109_0_5_line_31 |  | 28 | 29 | 0.0054352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-109_0_5_line_32 |  | 30 | 31 | 0.027261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-109_0_5_line_33 |  | 30 | 32 | 0.016667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-109_0_5_line_34 |  | 32 | 153 | 0.0057222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-109_0_5_line_35 |  | 33 | 34 | 0.021575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-109_0_5_line_36 |  | 33 | 35 | 0.0029687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-109_0_5_line_37 |  | 36 | 37 | 0.0014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-109_0_5_line_38 |  | 37 | 38 | 0.026927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-109_0_5_line_39 |  | 38 | 74 | 0.0088898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-109_0_5_line_40 |  | 39 | 40 | 0.0996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-109_0_5_line_41 |  | 40 | 41 | 0.088043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-109_0_5_line_42 |  | 41 | 45 | 0.014963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-109_0_5_line_43 |  | 42 | 43 | 0.039999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-109_0_5_line_44 |  | 42 | 44 | 0.017061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-109_0_5_line_45 |  | 43 | 45 | 0.0335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-109_0_5_line_46 |  | 44 | 58 | 0.0083831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_355-109_0_5_line_47 |  | 46 | 47 | 0.021617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_355-109_0_5_line_48 |  | 46 | 48 | 0.016829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-109_0_5_line_49 |  | 47 | 49 | 0.0023881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-109_0_5_line_50 |  | 48 | 50 | 0.010371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_355-109_0_5_line_51 |  | 48 | 51 | 0.015272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_355-109_0_5_line_52 |  | 49 | 52 | 0.020937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_355-109_0_5_line_53 |  | 50 | 53 | 0.0095078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_355-109_0_5_line_54 |  | 51 | 54 | 0.0095824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_355-109_0_5_line_55 |  | 52 | 55 | 0.0010424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-109_0_5_line_56 |  | 53 | 56 | 0.0092463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_355-109_0_5_line_57 |  | 54 | 57 | 0.018358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-109_0_5_line_58 |  | 55 | 104 | 0.018776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-109_0_5_line_59 |  | 56 | 140 | 0.0058793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_355-109_0_5_line_60 |  | 57 | 79 | 0.010967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-109_0_5_line_61 |  | 58 | 59 | 0.02167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-109_0_5_line_62 |  | 59 | 60 | 0.012267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_355-109_0_5_line_63 |  | 60 | 61 | 0.0086026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-109_0_5_line_64 |  | 61 | 62 | 0.013146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-109_0_5_line_65 |  | 62 | 92 | 0.0066046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_355-109_0_5_line_66 |  | 63 | 64 | 0.01121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_355-109_0_5_line_67 |  | 64 | 78 | 0.030163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_355-109_0_5_line_68 |  | 65 | 66 | 0.001992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_355-109_0_5_line_69 |  | 65 | 67 | 0.016889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_355-109_0_5_line_70 |  | 66 | 68 | 0.01705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_355-109_0_5_line_71 |  | 67 | 69 | 0.0026271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-109_0_5_line_72 |  | 68 | 70 | 0.0034137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-109_0_5_line_73 |  | 69 | 71 | 0.016466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_355-109_0_5_line_74 |  | 70 | 72 | 0.015347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_355-109_0_5_line_75 |  | 71 | 73 | 0.003813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_355-109_0_5_line_76 |  | 72 | 119 | 0.0040973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_355-109_0_5_line_77 |  | 73 | 163 | 0.014599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_355-109_0_5_line_78 |  | 74 | 75 | 0.0033564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_355-109_0_5_line_79 |  | 75 | 76 | 0.019034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_355-109_0_5_line_80 |  | 75 | 77 | 0.010372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_355-109_0_5_line_81 |  | 76 | 96 | 0.0012206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_355-109_0_5_line_82 |  | 77 | 112 | 0.018222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_355-109_0_5_line_83 |  | 78 | 124 | 0.027609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_355-109_0_5_line_84 |  | 79 | 80 | 0.0046423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_355-109_0_5_line_85 |  | 80 | 81 | 0.022684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_355-109_0_5_line_86 |  | 81 | 84 | 0.013785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_355-109_0_5_line_87 |  | 82 | 83 | 0.0083658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_355-109_0_5_line_88 |  | 83 | 85 | 0.010536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_355-109_0_5_line_89 |  | 84 | 86 | 0.002337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_355-109_0_5_line_90 |  | 84 | 87 | 0.019686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_355-109_0_5_line_91 |  | 85 | 88 | 0.024657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_355-109_0_5_line_92 |  | 86 | 165 | 0.037268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_355-109_0_5_line_93 |  | 88 | 89 | 0.0025114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_355-109_0_5_line_94 |  | 89 | 90 | 0.020481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_355-109_0_5_line_95 |  | 90 | 91 | 0.010875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_355-109_0_5_line_96 |  | 91 | 108 | 0.011052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_355-109_0_5_line_97 |  | 92 | 93 | 0.012069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_355-109_0_5_line_98 |  | 93 | 94 | 0.0071118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_355-109_0_5_line_99 |  | 94 | 111 | 0.011036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_355-109_0_5_line_100 |  | 95 | 96 | 0.02765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_355-109_0_5_line_101 |  | 95 | 97 | 0.012487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_355-109_0_5_line_102 |  | 97 | 98 | 0.0096148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_355-109_0_5_line_103 |  | 97 | 99 | 0.015527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_355-109_0_5_line_104 |  | 98 | 100 | 0.0025368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_355-109_0_5_line_105 |  | 99 | 101 | 0.014456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_355-109_0_5_line_106 |  | 100 | 102 | 0.0079778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
107 | LV_355-109_0_5_line_107 |  | 101 | 103 | 0.020098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_355-109_0_5_line_108 |  | 102 | 141 | 0.012451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
109 | LV_355-109_0_5_line_109 |  | 103 | 123 | 0.019866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_355-109_0_5_line_110 |  | 104 | 105 | 0.002694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_355-109_0_5_line_111 |  | 105 | 106 | 0.017018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_355-109_0_5_line_112 |  | 106 | 107 | 0.0016246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_355-109_0_5_line_113 |  | 107 | 149 | 0.020875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_355-109_0_5_line_114 |  | 108 | 109 | 0.00036614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_355-109_0_5_line_115 |  | 109 | 110 | 0.013649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_355-109_0_5_line_116 |  | 110 | 130 | 0.013223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
117 | LV_355-109_0_5_line_117 |  | 110 | 131 | 0.03324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
118 | LV_355-109_0_5_line_118 |  | 111 | 112 | 0.0089422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_355-109_0_5_line_119 |  | 113 | 114 | 0.014421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_355-109_0_5_line_120 |  | 113 | 115 | 0.010047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_355-109_0_5_line_121 |  | 114 | 116 | 0.0043133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_355-109_0_5_line_122 |  | 115 | 117 | 0.0070254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_355-109_0_5_line_123 |  | 115 | 118 | 0.0079457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_355-109_0_5_line_124 |  | 116 | 119 | 0.0038047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_355-109_0_5_line_125 |  | 117 | 120 | 0.0055894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_355-109_0_5_line_126 |  | 120 | 121 | 0.0022042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_355-109_0_5_line_127 |  | 122 | 123 | 0.019647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_355-109_0_5_line_128 |  | 122 | 124 | 0.023315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_355-109_0_5_line_129 |  | 125 | 126 | 0.066611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_355-109_0_5_line_130 |  | 125 | 127 | 0.035388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_355-109_0_5_line_131 |  | 125 | 128 | 0.011252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_355-109_0_5_line_132 |  | 126 | 156 | 0.002964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_355-109_0_5_line_133 |  | 126 | 157 | 0.03626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_355-109_0_5_line_134 |  | 127 | 159 | 0.0064122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_355-109_0_5_line_135 |  | 128 | 129 | 0.015048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_355-109_0_5_line_136 |  | 129 | 135 | 0.021156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_355-109_0_5_line_137 |  | 130 | 132 | 0.00019814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
138 | LV_355-109_0_5_line_138 |  | 131 | 133 | 0.0087225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
139 | LV_355-109_0_5_line_139 |  | 132 | 151 | 0.037266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
140 | LV_355-109_0_5_line_140 |  | 133 | 147 | 0.011761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
141 | LV_355-109_0_5_line_141 |  | 134 | 135 | 0.021967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_355-109_0_5_line_142 |  | 134 | 136 | 0.0064693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_355-109_0_5_line_143 |  | 137 | 138 | 0.0010783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_355-109_0_5_line_144 |  | 138 | 139 | 0.0068077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_355-109_0_5_line_145 |  | 139 | 140 | 0.0017326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_355-109_0_5_line_146 |  | 141 | 142 | 0.011428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
147 | LV_355-109_0_5_line_147 |  | 142 | 143 | 0.0098032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
148 | LV_355-109_0_5_line_148 |  | 143 | 144 | 0.013503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
149 | LV_355-109_0_5_line_149 |  | 144 | 145 | 0.026289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
150 | LV_355-109_0_5_line_150 |  | 144 | 146 | 0.031806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_355-109_0_5_line_151 |  | 145 | 155 | 0.019086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_355-109_0_5_line_152 |  | 145 | 151 | 0.0033475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
153 | LV_355-109_0_5_line_153 |  | 147 | 148 | 0.0059615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
154 | LV_355-109_0_5_line_154 |  | 148 | 149 | 0.012559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_355-109_0_5_line_155 |  | 148 | 150 | 0.016165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_355-109_0_5_line_156 |  | 150 | 152 | 0.019365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_355-109_0_5_line_157 |  | 152 | 160 | 0.013861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_355-109_0_5_line_158 |  | 153 | 154 | 0.028113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_355-109_0_5_line_159 |  | 157 | 158 | 0.0083494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_355-109_0_5_line_160 |  | 159 | 162 | 0.013959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_355-109_0_5_line_161 |  | 159 | 164 | 0.017391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_355-109_0_5_line_162 |  | 160 | 161 | 0.0013447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_355-109_0_5_line_163 |  | 161 | 162 | 0.017272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_355-109_0_5_line_164 |  | 163 | 164 | 0.0097502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_355-109_0_5_line_165 |  | 165 | 166 | 0.002858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-109_0_5_trafo_79 | 0.63 MVA 20/0.4 kV | 167 | 99 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2601645.7341 | 1197229.3291 | 2601647.9399 | 1197226.8745
1 | 2601637.0732 | 1197238.9667 | 2601645.7341 | 1197229.3291
2 | 2601660.2339 | 1197213.194 | 2601647.9399 | 1197226.8745
3 | 2601637.0732 | 1197238.9667 | 2601654.3298 | 1197260.1642
4 | 2601637.0732 | 1197238.9667 | 2601606.623 | 1197211.6608
5 | 2601637.0732 | 1197238.9667 | 2601619.3215 | 1197258.1351
6 | 2601660.2339 | 1197213.194 | 2601674.6944 | 1197197.1027
7 | 2601663.4868 | 1197271.4124 | 2601654.3298 | 1197260.1642
8 | 2601603.608 | 1197208.9571 | 2601606.623 | 1197211.6608
9 | 2601601.3853 | 1197275.2127 | 2601607.6822 | 1197270.0645 | 2601613.5024 | 1197264.4186 | 2601619.3215 | 1197258.1351
10 | 2601682.8979 | 1197187.974 | 2601674.6944 | 1197197.1027
11 | 2601663.4868 | 1197271.4124 | 2601668.199 | 1197277.2006
12 | 2601583.1176 | 1197190.5826 | 2601603.608 | 1197208.9571
13 | 2601601.3853 | 1197275.2127 | 2601591.3705 | 1197283.4005
14 | 2601682.8979 | 1197187.974 | 2601698.6484 | 1197202.7871
15 | 2601682.8979 | 1197187.974 | 2601688.7356 | 1197181.4145
16 | 2601672.2862 | 1197282.2213 | 2601668.199 | 1197277.2006
17 | 2601583.1176 | 1197190.5826 | 2601605.409 | 1197165.8656
18 | 2601582.2617 | 1197290.8476 | 2601591.3705 | 1197283.4005
19 | 2601582.2617 | 1197290.8476 | 2601564.6924 | 1197305.2117
20 | 2601749.6995 | 1197116.1645 | 2601735.3641 | 1197130.311
21 | 2601750.0785 | 1197115.7905 | 2601749.6995 | 1197116.1645
22 | 2601725.9352 | 1197139.6155 | 2601735.3641 | 1197130.311
23 | 2601768.7813 | 1197100.7626 | 2601751.3881 | 1197114.4982 | 2601750.0785 | 1197115.7905
24 | 2601725.9352 | 1197139.6155 | 2601719.776 | 1197146.5362
25 | 2601725.9352 | 1197139.6155 | 2601716.9093 | 1197130.9513
26 | 2601768.7813 | 1197100.7626 | 2601781.2354 | 1197090.9274 | 2601792.623 | 1197083.8172
27 | 2601717.392 | 1197149.215 | 2601719.776 | 1197146.5362
28 | 2601717.392 | 1197149.215 | 2601705.0527 | 1197163.0799
29 | 2601619.8161 | 1197149.8909 | 2601634.4386 | 1197133.6773
30 | 2601619.8161 | 1197149.8909 | 2601609.0491 | 1197161.8295
31 | 2601609.0491 | 1197161.8295 | 2601605.409 | 1197165.8656
32 | 2601651.3298 | 1197299.725 | 2601672.2862 | 1197282.2213
33 | 2601672.2862 | 1197282.2213 | 2601682.9642 | 1197295.0185
34 | 2601686.6302 | 1197299.4121 | 2601682.9642 | 1197295.0185
35 | 2601688.7356 | 1197181.4145 | 2601703.0791 | 1197165.2976
36 | 2601705.0527 | 1197163.0799 | 2601703.0791 | 1197165.2976
37 | 2601699.6683 | 1197203.7462 | 2601698.6484 | 1197202.7871
38 | 2601717.8164 | 1197223.6011 | 2601704.9259 | 1197208.691 | 2601699.6683 | 1197203.7462
39 | 2601717.8164 | 1197223.6011 | 2601723.6304 | 1197230.3261
40 | 2601946.8668 | 1197092.4668 | 2601950.3329 | 1197090.2667 | 2601953.2202 | 1197088.1887 | 2601999.0444 | 1197050.5389 | 2602003.8286 | 1197047.1053 | 2602008.8258 | 1197044.4277 | 2602027.991 | 1197035.6698
41 | 2601946.8668 | 1197092.4668 | 2601944.0178 | 1197094.1112 | 2601922.4605 | 1197104.3766 | 2601890.5741 | 1197119.5638 | 2601890.0942 | 1197119.7638 | 2601888.327 | 1197120.3191 | 2601886.2172 | 1197120.5964 | 2601884.3056 | 1197120.518 | 2601882.7062 | 1197120.2062 | 2601881.3507 | 1197119.7389 | 2601879.8277 | 1197118.9825 | 2601878.5789 | 1197118.1261 | 2601877.3073 | 1197116.9473 | 2601876.3404 | 1197115.8019 | 2601875.4269 | 1197114.312 | 2601872.0168 | 1197107.2009
42 | 2601865.5471 | 1197093.7092 | 2601872.0168 | 1197107.2009
43 | 2601853.1936 | 1197144.3324 | 2601835.4755 | 1197108.4712
44 | 2601853.1936 | 1197144.3324 | 2601838.0665 | 1197152.2215
45 | 2601835.4755 | 1197108.4712 | 2601865.5471 | 1197093.7092
46 | 2601838.0665 | 1197152.2215 | 2601830.6335 | 1197156.0979
47 | 2601864.2507 | 1197426.0007 | 2601877.2895 | 1197443.2421
48 | 2601887.4403 | 1197456.6645 | 2601877.2895 | 1197443.2421
49 | 2601864.2507 | 1197426.0007 | 2601862.8103 | 1197424.096
50 | 2601887.4403 | 1197456.6645 | 2601893.2044 | 1197460.3349 | 2601896.4667 | 1197461.7021
51 | 2601887.4403 | 1197456.6645 | 2601875.4488 | 1197466.1216
52 | 2601850.1811 | 1197407.3963 | 2601862.8103 | 1197424.096
53 | 2601896.4667 | 1197461.7021 | 2601905.2356 | 1197465.3769
54 | 2601867.9247 | 1197472.0554 | 2601875.4488 | 1197466.1216
55 | 2601849.5523 | 1197406.5648 | 2601850.1811 | 1197407.3963
56 | 2601912.5512 | 1197470.6242 | 2601909.5839 | 1197467.1991 | 2601905.2356 | 1197465.3769
57 | 2601867.9247 | 1197472.0554 | 2601865.3034 | 1197474.1227 | 2601854.0628 | 1197484.085
58 | 2601849.5523 | 1197406.5648 | 2601838.2269 | 1197391.5891
59 | 2601916.4008 | 1197475.0678 | 2601912.5512 | 1197470.6242
60 | 2601845.8556 | 1197491.3587 | 2601854.0628 | 1197484.085
61 | 2601830.6335 | 1197156.0979 | 2601827.7134 | 1197157.6208 | 2601815.9595 | 1197164.6433 | 2601812.1046 | 1197167.3057
62 | 2601812.1046 | 1197167.3057 | 2601803.474 | 1197173.2665 | 2601802.0637 | 1197174.349
63 | 2601795.2395 | 1197179.5869 | 2601802.0637 | 1197174.349
64 | 2601795.2395 | 1197179.5869 | 2601784.811 | 1197187.5912
65 | 2601779.5718 | 1197191.6126 | 2601784.811 | 1197187.5912
66 | 2601876.911 | 1197193.4546 | 2601872.0371 | 1197183.3601
67 | 2601886.5063 | 1197221.9615 | 2601885.4872 | 1197217.1031 | 2601883.8441 | 1197210.688 | 2601881.1958 | 1197203.639 | 2601878.8365 | 1197198.1243 | 2601876.911 | 1197193.4546
68 | 2601916.5008 | 1197388.5061 | 2601917.703 | 1197390.0943
69 | 2601916.5008 | 1197388.5061 | 2601906.6343 | 1197375.4716 | 2601906.3159 | 1197375.0342
70 | 2601927.8788 | 1197403.7746 | 2601922.0122 | 1197395.7872 | 2601917.703 | 1197390.0943
71 | 2601904.7697 | 1197372.9102 | 2601906.3159 | 1197375.0342
72 | 2601927.8788 | 1197403.7746 | 2601929.8996 | 1197406.5259
73 | 2601895.0787 | 1197359.5979 | 2601904.7697 | 1197372.9102
74 | 2601929.8996 | 1197406.5259 | 2601938.9847 | 1197418.8954
75 | 2601895.0787 | 1197359.5979 | 2601893.4643 | 1197357.3802 | 2601892.8932 | 1197356.4755
76 | 2601941.4102 | 1197422.1977 | 2601938.9847 | 1197418.8954
77 | 2601892.8932 | 1197356.4755 | 2601888.1509 | 1197348.963 | 2601885.6823 | 1197343.8091
78 | 2601725.8256 | 1197232.8651 | 2601723.6304 | 1197230.3261
79 | 2601725.8256 | 1197232.8651 | 2601737.2789 | 1197248.0676
80 | 2601725.8256 | 1197232.8651 | 2601734.053 | 1197226.5502
81 | 2601737.2789 | 1197248.0676 | 2601738.0134 | 1197249.0425
82 | 2601748.508 | 1197215.4554 | 2601734.053 | 1197226.5502
83 | 2601886.5063 | 1197221.9615 | 2601860.7961 | 1197232.0221
84 | 2601842.3814 | 1197494.4378 | 2601845.8556 | 1197491.3587
85 | 2601842.3814 | 1197494.4378 | 2601831.3966 | 1197503.8618 | 2601825.7204 | 1197509.7946
86 | 2601816.1909 | 1197519.7547 | 2601825.7204 | 1197509.7946
87 | 2601816.4886 | 1197460.666 | 2601821.5788 | 1197467.3051
88 | 2601816.4886 | 1197460.666 | 2601810.0781 | 1197452.3048
89 | 2601814.8271 | 1197521.6553 | 2601816.1909 | 1197519.7547
90 | 2601816.1909 | 1197519.7547 | 2601829.2285 | 1197534.5047
91 | 2601795.0756 | 1197432.7371 | 2601810.0781 | 1197452.3048
92 | 2601814.8271 | 1197521.6553 | 2601831.4607 | 1197544.9726 | 2601824.6233 | 1197550.2313
93 | 2601795.0756 | 1197432.7371 | 2601793.5475 | 1197430.744
94 | 2601793.5475 | 1197430.744 | 2601781.0861 | 1197414.4907
95 | 2601781.0861 | 1197414.4907 | 2601774.4692 | 1197405.8602
96 | 2601767.7446 | 1197397.0895 | 2601774.4692 | 1197405.8602
97 | 2601779.5718 | 1197191.6126 | 2601769.9974 | 1197198.9613
98 | 2601764.3559 | 1197203.2914 | 2601769.9974 | 1197198.9613
99 | 2601764.3559 | 1197203.2914 | 2601755.6016 | 1197210.0107
100 | 2601753.4313 | 1197271.973 | 2601743.1915 | 1197255.9156 | 2601738.0134 | 1197249.0425
101 | 2601760.145 | 1197282.5012 | 2601753.4313 | 1197271.973
102 | 2601760.145 | 1197282.5012 | 2601752.4781 | 1197288.3031
103 | 2601760.145 | 1197282.5012 | 2601773.1035 | 1197273.9472
104 | 2601750.4553 | 1197289.8338 | 2601752.4781 | 1197288.3031
105 | 2601773.1035 | 1197273.9472 | 2601774.4202 | 1197273.078 | 2601785.5249 | 1197266.5555
106 | 2601744.0936 | 1197294.648 | 2601750.4553 | 1197289.8338
107 | 2601785.5249 | 1197266.5555 | 2601794.492 | 1197261.2886 | 2601803.1612 | 1197256.9413
108 | 2601744.0936 | 1197294.648 | 2601737.7795 | 1197299.4261 | 2601734.2868 | 1197302.3151
109 | 2601803.1612 | 1197256.9413 | 2601813.6797 | 1197251.6668 | 2601821.0781 | 1197248.3709
110 | 2601836.6019 | 1197389.4404 | 2601838.2269 | 1197391.5891
111 | 2601836.6019 | 1197389.4404 | 2601826.3371 | 1197375.867
112 | 2601825.3571 | 1197374.5712 | 2601826.3371 | 1197375.867
113 | 2601812.7655 | 1197357.9211 | 2601825.3571 | 1197374.5712
114 | 2601767.7446 | 1197397.0895 | 2601767.5219 | 1197396.7989
115 | 2601759.2171 | 1197385.9671 | 2601767.5219 | 1197396.7989
116 | 2601759.2171 | 1197385.9671 | 2601750.6935 | 1197375.8582
117 | 2601759.2171 | 1197385.9671 | 2601784.8207 | 1197364.7691
118 | 2601755.6016 | 1197210.0107 | 2601748.508 | 1197215.4554
119 | 2601946.2157 | 1197428.7406 | 2601954.7524 | 1197440.3633
120 | 2601960.6997 | 1197448.4607 | 2601954.7524 | 1197440.3633
121 | 2601946.2157 | 1197428.7406 | 2601943.6624 | 1197425.2642
122 | 2601960.6997 | 1197448.4607 | 2601959.913 | 1197455.4419
123 | 2601960.6997 | 1197448.4607 | 2601968.536 | 1197449.775
124 | 2601941.4102 | 1197422.1977 | 2601943.6624 | 1197425.2642
125 | 2601961.6782 | 1197460.7453 | 2601959.913 | 1197455.4419
126 | 2601961.6782 | 1197460.7453 | 2601959.949 | 1197462.1121
127 | 2601839.0843 | 1197240.518 | 2601835.975 | 1197241.7347 | 2601821.0781 | 1197248.3709
128 | 2601839.0843 | 1197240.518 | 2601860.7961 | 1197232.0221
129 | 2601884.9743 | 1197276.1677 | 2601899.2739 | 1197286.9111 | 2601919.7564 | 1197302.2922 | 2601931.2615 | 1197310.9338 | 2601937.9712 | 1197311.2027 | 2601939.7911 | 1197312.0481
130 | 2601884.9743 | 1197276.1677 | 2601880.0006 | 1197302.5247 | 2601879.3891 | 1197309.9729 | 2601879.4054 | 1197311.0654
131 | 2601886.6303 | 1197265.04 | 2601884.9743 | 1197276.1677
132 | 2601939.7911 | 1197312.0481 | 2601938.7029 | 1197309.2908
133 | 2601939.7911 | 1197312.0481 | 2601947.7582 | 1197334.1846 | 2601956.8818 | 1197335.1547 | 2601960.4079 | 1197335.6338
134 | 2601879.501 | 1197317.4769 | 2601879.4054 | 1197311.0654
135 | 2601886.6303 | 1197265.04 | 2601872.6099 | 1197270.5051
136 | 2601872.6099 | 1197270.5051 | 2601860.8392 | 1197275.0932 | 2601853.0103 | 1197278.4622
137 | 2601750.6935 | 1197375.8582 | 2601750.5657 | 1197375.7067
138 | 2601784.8207 | 1197364.7691 | 2601791.5393 | 1197359.2065
139 | 2601726.5435 | 1197347.2168 | 2601750.5657 | 1197375.7067
140 | 2601791.5393 | 1197359.2065 | 2601800.5984 | 1197351.7062
141 | 2601832.6461 | 1197286.6866 | 2601843.5942 | 1197282.5142 | 2601853.0103 | 1197278.4622
142 | 2601826.6009 | 1197288.9904 | 2601832.6461 | 1197286.6866
143 | 2601921.9928 | 1197481.5227 | 2601922.6989 | 1197482.3377
144 | 2601917.5353 | 1197476.3773 | 2601921.9928 | 1197481.5227
145 | 2601916.4008 | 1197475.0678 | 2601917.5353 | 1197476.3773
146 | 2601725.4808 | 1197309.5988 | 2601734.2868 | 1197302.3151
147 | 2601725.4808 | 1197309.5988 | 2601717.9268 | 1197315.8469
148 | 2601707.5218 | 1197324.4533 | 2601717.9268 | 1197315.8469
149 | 2601724.3856 | 1197344.6576 | 2601707.5218 | 1197324.4533
150 | 2601680.0023 | 1197334.7958 | 2601682.6675 | 1197336.4863 | 2601686.1174 | 1197337.1098 | 2601690.672 | 1197336.1661 | 2601694.4729 | 1197334.1438 | 2601700.0641 | 1197330.1321 | 2601707.5218 | 1197324.4533
151 | 2601709.5769 | 1197356.7488 | 2601724.3856 | 1197344.6576
152 | 2601724.3856 | 1197344.6576 | 2601726.5435 | 1197347.2168
153 | 2601805.1903 | 1197347.9044 | 2601800.5984 | 1197351.7062
154 | 2601805.1903 | 1197347.9044 | 2601812.7655 | 1197357.9211
155 | 2601805.1903 | 1197347.9044 | 2601815.9465 | 1197339.5253 | 2601818.0319 | 1197338.0926
156 | 2601834.582 | 1197328.1103 | 2601826.4435 | 1197332.3134 | 2601818.0319 | 1197338.0926
157 | 2601834.582 | 1197328.1103 | 2601838.0825 | 1197326.3026 | 2601847.4799 | 1197323.1222
158 | 2601686.6302 | 1197299.4121 | 2601664.7085 | 1197317.0126
159 | 2601960.4079 | 1197335.6338 | 2601959.7175 | 1197343.9547
160 | 2601879.501 | 1197317.4769 | 2601869.2799 | 1197318.7634 | 2601865.6608 | 1197319.2896
161 | 2601879.501 | 1197317.4769 | 2601882.1848 | 1197332.7525 | 2601882.6744 | 1197334.5694
162 | 2601847.4799 | 1197323.1222 | 2601847.9615 | 1197322.9593 | 2601848.7686 | 1197322.7405
163 | 2601865.6608 | 1197319.2896 | 2601856.6901 | 1197320.5939 | 2601848.7686 | 1197322.7405
164 | 2601885.6823 | 1197343.8091 | 2601884.4975 | 1197341.3356 | 2601882.6744 | 1197334.5694
165 | 2601822.3578 | 1197551.9737 | 2601824.6233 | 1197550.2313

## bus_geodata
| x | y | coords
0 | 2601645.7341 | 1197229.3291
1 | 2601647.9399 | 1197226.8745
2 | 2601637.0732 | 1197238.9667
3 | 2601660.2339 | 1197213.194
4 | 2601654.3298 | 1197260.1642
5 | 2601606.623 | 1197211.6608
6 | 2601619.3215 | 1197258.1351
7 | 2601674.6944 | 1197197.1027
8 | 2601663.4868 | 1197271.4124
9 | 2601603.608 | 1197208.9571
10 | 2601601.3853 | 1197275.2127
11 | 2601682.8979 | 1197187.974
12 | 2601668.199 | 1197277.2006
13 | 2601583.1176 | 1197190.5826
14 | 2601591.3705 | 1197283.4005
15 | 2601582.2617 | 1197290.8476
16 | 2601564.6924 | 1197305.2117
17 | 2601749.6995 | 1197116.1645
18 | 2601735.3641 | 1197130.311
19 | 2601750.0785 | 1197115.7905
20 | 2601725.9352 | 1197139.6155
21 | 2601768.7813 | 1197100.7626
22 | 2601719.776 | 1197146.5362
23 | 2601716.9092 | 1197130.9513
24 | 2601792.623 | 1197083.8172
25 | 2601717.392 | 1197149.215
26 | 2601634.4386 | 1197133.6773
27 | 2601619.8161 | 1197149.8909
28 | 2601609.0491 | 1197161.8295
29 | 2601605.409 | 1197165.8656
30 | 2601672.2862 | 1197282.2213
31 | 2601651.3298 | 1197299.725
32 | 2601682.9642 | 1197295.0185
33 | 2601703.0791 | 1197165.2976
34 | 2601688.7356 | 1197181.4145
35 | 2601705.0527 | 1197163.0799
36 | 2601698.6484 | 1197202.7871
37 | 2601699.6683 | 1197203.7462
38 | 2601717.8164 | 1197223.6011
39 | 2602027.991 | 1197035.6698
40 | 2601946.8668 | 1197092.4668
41 | 2601872.0168 | 1197107.2009
42 | 2601853.1936 | 1197144.3324
43 | 2601835.4755 | 1197108.4712
44 | 2601838.0665 | 1197152.2215
45 | 2601865.5471 | 1197093.7092
46 | 2601877.2895 | 1197443.2421
47 | 2601864.2507 | 1197426.0007
48 | 2601887.4403 | 1197456.6645
49 | 2601862.8103 | 1197424.096
50 | 2601896.4667 | 1197461.7021
51 | 2601875.4488 | 1197466.1216
52 | 2601850.1811 | 1197407.3963
53 | 2601905.2356 | 1197465.3769
54 | 2601867.9247 | 1197472.0554
55 | 2601849.5523 | 1197406.5648
56 | 2601912.5512 | 1197470.6242
57 | 2601854.0628 | 1197484.085
58 | 2601830.6335 | 1197156.0979
59 | 2601812.1046 | 1197167.3057
60 | 2601802.0637 | 1197174.349
61 | 2601795.2395 | 1197179.5869
62 | 2601784.811 | 1197187.5912
63 | 2601872.0371 | 1197183.3601
64 | 2601876.911 | 1197193.4546
65 | 2601916.5008 | 1197388.5061
66 | 2601917.703 | 1197390.0943
67 | 2601906.3159 | 1197375.0342
68 | 2601927.8788 | 1197403.7746
69 | 2601904.7697 | 1197372.9102
70 | 2601929.8996 | 1197406.5259
71 | 2601895.0787 | 1197359.5979
72 | 2601938.9847 | 1197418.8954
73 | 2601892.8932 | 1197356.4755
74 | 2601723.6304 | 1197230.3261
75 | 2601725.8256 | 1197232.8651
76 | 2601737.2789 | 1197248.0676
77 | 2601734.053 | 1197226.5502
78 | 2601886.5063 | 1197221.9615
79 | 2601845.8556 | 1197491.3587
80 | 2601842.3814 | 1197494.4378
81 | 2601825.7204 | 1197509.7946
82 | 2601821.5788 | 1197467.3051
83 | 2601816.4886 | 1197460.666
84 | 2601816.1909 | 1197519.7547
85 | 2601810.0781 | 1197452.3048
86 | 2601814.8271 | 1197521.6553
87 | 2601829.2285 | 1197534.5047
88 | 2601795.0756 | 1197432.7371
89 | 2601793.5475 | 1197430.744
90 | 2601781.0861 | 1197414.4907
91 | 2601774.4692 | 1197405.8602
92 | 2601779.5718 | 1197191.6126
93 | 2601769.9974 | 1197198.9613
94 | 2601764.3559 | 1197203.2914
95 | 2601753.4313 | 1197271.973
96 | 2601738.0134 | 1197249.0425
97 | 2601760.145 | 1197282.5012
98 | 2601752.4781 | 1197288.3031
99 | 2601773.1035 | 1197273.9472
100 | 2601750.4553 | 1197289.8338
101 | 2601785.5249 | 1197266.5555
102 | 2601744.0936 | 1197294.648
103 | 2601803.1612 | 1197256.9413
104 | 2601838.2269 | 1197391.5891
105 | 2601836.6019 | 1197389.4404
106 | 2601826.3371 | 1197375.867
107 | 2601825.3571 | 1197374.5712
108 | 2601767.7446 | 1197397.0895
109 | 2601767.5219 | 1197396.7989
110 | 2601759.2171 | 1197385.9671
111 | 2601755.6016 | 1197210.0107
112 | 2601748.508 | 1197215.4554
113 | 2601954.7524 | 1197440.3633
114 | 2601946.2157 | 1197428.7406
115 | 2601960.6997 | 1197448.4607
116 | 2601943.6624 | 1197425.2642
117 | 2601959.913 | 1197455.4419
118 | 2601968.536 | 1197449.775
119 | 2601941.4102 | 1197422.1977
120 | 2601961.6782 | 1197460.7453
121 | 2601959.949 | 1197462.1121
122 | 2601839.0843 | 1197240.518
123 | 2601821.0781 | 1197248.3709
124 | 2601860.7961 | 1197232.0221
125 | 2601884.9743 | 1197276.1677
126 | 2601939.7911 | 1197312.0481
127 | 2601879.4054 | 1197311.0654
128 | 2601886.6303 | 1197265.04
129 | 2601872.6099 | 1197270.5051
130 | 2601750.6935 | 1197375.8582
131 | 2601784.8207 | 1197364.7691
132 | 2601750.5657 | 1197375.7067
133 | 2601791.5393 | 1197359.2065
134 | 2601832.6461 | 1197286.6866
135 | 2601853.0103 | 1197278.4622
136 | 2601826.6009 | 1197288.9904
137 | 2601922.6989 | 1197482.3377
138 | 2601921.9928 | 1197481.5227
139 | 2601917.5353 | 1197476.3773
140 | 2601916.4008 | 1197475.0678
141 | 2601734.2868 | 1197302.3151
142 | 2601725.4808 | 1197309.5988
143 | 2601717.9268 | 1197315.8469
144 | 2601707.5218 | 1197324.4533
145 | 2601724.3856 | 1197344.6576
146 | 2601680.0023 | 1197334.7958
147 | 2601800.5984 | 1197351.7062
148 | 2601805.1903 | 1197347.9044
149 | 2601812.7655 | 1197357.9211
150 | 2601818.0319 | 1197338.0926
151 | 2601726.5435 | 1197347.2168
152 | 2601834.582 | 1197328.1103
153 | 2601686.6302 | 1197299.4121
154 | 2601664.7085 | 1197317.0126
155 | 2601709.5769 | 1197356.7488
156 | 2601938.7029 | 1197309.2908
157 | 2601960.4079 | 1197335.6338
158 | 2601959.7175 | 1197343.9547
159 | 2601879.501 | 1197317.4769
160 | 2601847.4799 | 1197323.1222
161 | 2601848.7686 | 1197322.7405
162 | 2601865.6608 | 1197319.2896
163 | 2601885.6823 | 1197343.8091
164 | 2601882.6744 | 1197334.5694
165 | 2601824.6233 | 1197550.2313
166 | 2601822.3578 | 1197551.9737
167 | 2601760.145 | 1197282.5012

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1