## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-115_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-115_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-115_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-115_0_2_node_17 | 0.4 | n |  | TRUE
4 | bus_LV_355-115_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_355-115_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_355-115_0_2_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_355-115_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_355-115_0_2_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_355-115_0_2_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_355-115_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_355-115_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_355-115_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_355-115_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_355-115_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_355-115_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_355-115_0_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_355-115_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_355-115_0_2_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_355-115_0_2_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_355-115_0_2_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_355-115_0_2_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_355-115_0_2_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_355-115_0_2_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_355-115_0_2_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_355-115_0_2_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_355-115_0_2_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_355-115_0_2_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_355-115_0_2_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_355-115_0_2_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_355-115_0_2_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_355-115_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_355-115_0_2_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_355-115_0_2_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_355-115_0_2_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_355-115_0_2_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_355-115_0_2_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_355-115_0_2_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_355-115_0_2_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_355-115_0_2_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_355-115_0_2_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_355-115_0_2_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_355-115_0_2_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_355-115_0_2_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_355-115_0_2_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_355-115_0_2_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_355-115_0_2_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_355-115_0_2_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_355-115_0_2_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_355-115_0_2_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_355-115_0_2_node_73 | 0.4 | n |  | TRUE
51 | bus_LV_355-115_0_2_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_355-115_0_2_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_355-115_0_2_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_355-115_0_2_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_355-115_0_2_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_355-115_0_2_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_355-115_0_2_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_355-115_0_2_node_82 | 0.4 | n |  | TRUE
59 | bus_LV_355-115_0_2_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_355-115_0_2_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_355-115_0_2_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_355-115_0_2_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_355-115_0_2_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_355-115_0_2_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_355-115_0_2_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_355-115_0_2_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_355-115_0_2_node_75 | 0.4 | n |  | TRUE
68 | bus_LV_355-115_0_2_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_355-115_0_2_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_355-115_0_2_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_355-115_0_2_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_355-115_0_2_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_355-115_0_2_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_355-115_0_2_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_355-115_0_2_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_355-115_0_2_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_355-115_0_2_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_355-115_0_2_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_355-115_0_2_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_355-115_0_2_node_74 | 0.4 | n |  | TRUE
81 | bus_MV_120_0_node_145 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-115_0_2_load_0 | 0 | 0.0012603 | 0.00031586 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-115_0_2_load_1 | 1 | 0.00028824 | 7.2239e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-115_0_2_load_3 | 4 | 0.00047245 | 0.00011841 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-115_0_2_load_6 | 5 | 0.0002474 | 6.2005e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-115_0_2_load_16 | 6 | 0.0015232 | 0.00038175 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-115_0_2_load_47 | 8 | 0.0027055 | 0.00067805 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-115_0_2_load_45 | 9 | 0.00064179 | 0.00016085 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-115_0_2_load_7 | 10 | 0.00051509 | 0.00012909 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-115_0_2_load_10 | 13 | 0.00076005 | 0.00019049 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-115_0_2_load_14 | 16 | 0.0024567 | 0.0006157 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-115_0_2_load_13 | 17 | 0.0031556 | 0.00079087 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-115_0_2_load_15 | 18 | 0.00040935 | 0.00010259 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-115_0_2_load_33 | 19 | 0.0014776 | 0.00037032 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-115_0_2_load_57 | 20 | 0.00098574 | 0.00024705 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-115_0_2_load_58 | 21 | 0.00069403 | 0.00017394 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-115_0_2_load_70 | 23 | 0.00016708 | 4.1873e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-115_0_2_load_66 | 24 | 0.00017876 | 4.4802e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-115_0_2_load_32 | 26 | 0.0013059 | 0.00032729 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-115_0_2_load_18 | 27 | 0.0045898 | 0.0011503 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-115_0_2_load_19 | 28 | 0.00032842 | 8.231e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-115_0_2_load_21 | 30 | 0.00046631 | 0.00011687 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-115_0_2_load_23 | 32 | 0.00064357 | 0.00016129 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-115_0_2_load_24 | 33 | 0.0011187 | 0.00028037 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-115_0_2_load_31 | 34 | 0.00065666 | 0.00016457 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-115_0_2_load_25 | 35 | 0.0071033 | 0.0017803 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-115_0_2_load_28 | 38 | 0.0064662 | 0.0016206 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-115_0_2_load_30 | 40 | 0.0050692 | 0.0012705 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-115_0_2_load_34 | 41 | 0.0023956 | 0.00060038 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-115_0_2_load_35 | 42 | 0.0079049 | 0.0019811 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-115_0_2_load_37 | 43 | 0.0024954 | 0.00062541 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-115_0_2_load_38 | 44 | 0.0012561 | 0.00031481 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-115_0_2_load_43 | 45 | 0.0078697 | 0.0019723 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-115_0_2_load_42 | 46 | 0.00048147 | 0.00012067 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-115_0_2_load_39 | 47 | 0.0017406 | 0.00043623 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-115_0_2_load_40 | 48 | 0.0002336 | 5.8546e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-115_0_2_load_72 | 49 | 0.0010838 | 0.00027162 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-115_0_2_load_44 | 51 | 0.0020448 | 0.00051246 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-115_0_2_load_46 | 52 | 0.00032224 | 8.0761e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-115_0_2_load_48 | 53 | 0.00054332 | 0.00013617 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-115_0_2_load_49 | 54 | 0.00028116 | 7.0464e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-115_0_2_load_50 | 55 | 0.00050894 | 0.00012755 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-115_0_2_load_81 | 56 | 0.00089884 | 0.00022527 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-115_0_2_load_51 | 57 | 0.00035506 | 8.8987e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-115_0_2_load_52 | 59 | 0.00037636 | 9.4325e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-115_0_2_load_55 | 63 | 0.00087097 | 0.00021828 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-115_0_2_load_79 | 64 | 0.0015316 | 0.00038386 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-115_0_2_load_76 | 65 | 0.0005267 | 0.000132 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-115_0_2_load_77 | 66 | 0.0017019 | 0.00042654 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-115_0_2_load_75 | 67 | 0.00051904 | 0.00013008 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-115_0_2_load_59 | 68 | 0.00081142 | 0.00020336 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-115_0_2_load_60 | 69 | 0.00041724 | 0.00010457 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-115_0_2_load_69 | 73 | 0.00051415 | 0.00012886 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-115_0_2_load_80 | 74 | 0.00018734 | 4.6951e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-115_0_2_load_63 | 75 | 0.00028046 | 7.0291e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-115_0_2_load_64 | 76 | 0.00051114 | 0.0001281 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-115_0_2_load_65 | 77 | 0.00019792 | 4.9603e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-115_0_2_load_71 | 78 | 0.00058341 | 0.00014622 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_355-115_0_2_load_78 | 79 | 0.00013983 | 3.5044e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_355-115_0_2_load_74 | 80 | 0.00070748 | 0.00017731 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-115_0_2_line_0 |  | 0 | 1 | 0.0057557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-115_0_2_line_1 |  | 0 | 2 | 0.08357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-115_0_2_line_2 |  | 0 | 3 | 0.27311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-115_0_2_line_3 |  | 1 | 4 | 0.0083533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-115_0_2_line_4 |  | 2 | 5 | 0.21893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-115_0_2_line_5 |  | 3 | 6 | 0.055978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-115_0_2_line_6 |  | 4 | 7 | 0.0093172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-115_0_2_line_7 |  | 6 | 18 | 0.22454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-115_0_2_line_8 |  | 7 | 8 | 0.0044822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-115_0_2_line_9 |  | 8 | 9 | 0.010985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-115_0_2_line_10 |  | 9 | 51 | 0.028942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-115_0_2_line_11 |  | 10 | 11 | 0.057206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-115_0_2_line_12 |  | 10 | 12 | 0.043884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_355-115_0_2_line_13 |  | 11 | 13 | 0.031868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-115_0_2_line_14 |  | 11 | 14 | 0.27057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-115_0_2_line_15 |  | 12 | 15 | 0.14865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-115_0_2_line_16 |  | 13 | 16 | 0.026111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-115_0_2_line_17 |  | 14 | 17 | 0.13678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-115_0_2_line_18 |  | 15 | 18 | 0.11078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-115_0_2_line_19 |  | 16 | 19 | 0.037162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_355-115_0_2_line_20 |  | 17 | 20 | 0.022684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_355-115_0_2_line_21 |  | 19 | 25 | 0.042093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-115_0_2_line_22 |  | 19 | 26 | 0.030377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-115_0_2_line_23 |  | 20 | 21 | 0.028309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-115_0_2_line_24 |  | 21 | 22 | 0.20921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-115_0_2_line_25 |  | 22 | 23 | 0.02105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-115_0_2_line_26 |  | 22 | 24 | 0.052937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-115_0_2_line_27 |  | 23 | 78 | 0.0086707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-115_0_2_line_28 |  | 23 | 64 | 0.2883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-115_0_2_line_29 |  | 24 | 77 | 0.014836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_355-115_0_2_line_30 |  | 25 | 41 | 0.021496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-115_0_2_line_31 |  | 25 | 40 | 0.03437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-115_0_2_line_32 |  | 26 | 34 | 0.0050276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-115_0_2_line_33 |  | 27 | 28 | 0.024969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-115_0_2_line_34 |  | 27 | 29 | 0.04601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-115_0_2_line_35 |  | 28 | 30 | 0.013177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-115_0_2_line_36 |  | 29 | 31 | 0.027037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-115_0_2_line_37 |  | 30 | 32 | 0.0024082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-115_0_2_line_38 |  | 31 | 33 | 0.053258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-115_0_2_line_39 |  | 32 | 34 | 0.0088003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-115_0_2_line_40 |  | 35 | 36 | 0.01975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-115_0_2_line_41 |  | 35 | 37 | 0.038393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-115_0_2_line_42 |  | 36 | 38 | 0.039827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-115_0_2_line_43 |  | 37 | 39 | 0.015899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-115_0_2_line_44 |  | 39 | 40 | 0.023453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-115_0_2_line_45 |  | 41 | 42 | 0.0087526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-115_0_2_line_46 |  | 42 | 43 | 0.03529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_355-115_0_2_line_47 |  | 43 | 44 | 0.0062444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_355-115_0_2_line_48 |  | 44 | 45 | 0.013969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-115_0_2_line_49 |  | 45 | 46 | 0.033544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-115_0_2_line_50 |  | 46 | 48 | 0.017045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_355-115_0_2_line_51 |  | 47 | 48 | 0.0061519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_355-115_0_2_line_52 |  | 49 | 50 | 0.021258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_355-115_0_2_line_53 |  | 50 | 80 | 0.022508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_355-115_0_2_line_54 |  | 51 | 52 | 0.071834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_355-115_0_2_line_55 |  | 52 | 53 | 0.024685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-115_0_2_line_56 |  | 54 | 55 | 0.034006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_355-115_0_2_line_57 |  | 54 | 56 | 0.13418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-115_0_2_line_58 |  | 55 | 57 | 0.038317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-115_0_2_line_59 |  | 56 | 58 | 0.059796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_355-115_0_2_line_60 |  | 57 | 60 | 0.15777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-115_0_2_line_61 |  | 58 | 59 | 0.22903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-115_0_2_line_62 |  | 59 | 62 | 0.051402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_355-115_0_2_line_63 |  | 60 | 61 | 0.015095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-115_0_2_line_64 |  | 61 | 65 | 0.13539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-115_0_2_line_65 |  | 62 | 63 | 0.022579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_355-115_0_2_line_66 |  | 63 | 64 | 0.018971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_355-115_0_2_line_67 |  | 64 | 66 | 0.16835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_355-115_0_2_line_68 |  | 65 | 67 | 0.34343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_355-115_0_2_line_69 |  | 66 | 79 | 0.028806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_355-115_0_2_line_70 |  | 67 | 80 | 0.0074171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_355-115_0_2_line_71 |  | 68 | 69 | 0.037634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-115_0_2_line_72 |  | 68 | 70 | 0.084421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-115_0_2_line_73 |  | 69 | 71 | 0.18586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_355-115_0_2_line_74 |  | 70 | 72 | 0.015537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_355-115_0_2_line_75 |  | 71 | 73 | 0.18924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_355-115_0_2_line_76 |  | 72 | 75 | 0.020951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_355-115_0_2_line_77 |  | 72 | 76 | 0.060517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_355-115_0_2_line_78 |  | 73 | 74 | 0.019425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_355-115_0_2_line_79 |  | 76 | 77 | 0.0077278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-115_0_2_trafo_20 | 0.63 MVA 20/0.4 kV | 81 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2594477.5292 | 1193712.299 | 2594478.7515 | 1193706.6746
1 | 2594478.0231 | 1193795.2109 | 2594474.3154 | 1193774.5924 | 2594473.6027 | 1193754.0378 | 2594473.6325 | 1193737.0399 | 2594474.979 | 1193726.3663 | 2594477.1469 | 1193714.0578 | 2594477.5292 | 1193712.299
2 | 2594477.5292 | 1193712.299 | 2594207.6617 | 1193670.3375
3 | 2594478.7515 | 1193706.6746 | 2594479.4764 | 1193703.3388 | 2594480.4885 | 1193698.5039
4 | 2594478.0231 | 1193795.2109 | 2594422.8234 | 1194007.0648
5 | 2594207.6617 | 1193670.3375 | 2594216.6823 | 1193652.4303 | 2594224.0618 | 1193639.6274 | 2594232.6147 | 1193620.2842
6 | 2594482.3973 | 1193689.3843 | 2594480.4885 | 1193698.5039
7 | 2594228.18 | 1193395.7923 | 2594232.6147 | 1193620.2842
8 | 2594482.3973 | 1193689.3843 | 2594483.8279 | 1193685.1365
9 | 2594483.8279 | 1193685.1365 | 2594487.3338 | 1193674.7263
10 | 2594489.3201 | 1193646.3756 | 2594490.5151 | 1193658.6383 | 2594490.6654 | 1193664.5301 | 2594489.1609 | 1193669.3007 | 2594487.3338 | 1193674.7263
11 | 2594524.5023 | 1193329.1552 | 2594515.8624 | 1193340.0245 | 2594507.8029 | 1193352.1161 | 2594499.1905 | 1193359.6392 | 2594487.528 | 1193365.4087 | 2594483.4637 | 1193366.9379
12 | 2594442.5191 | 1193382.7156 | 2594447.5469 | 1193380.543 | 2594464.5434 | 1193374.057 | 2594483.4637 | 1193366.9379
13 | 2594524.5023 | 1193329.1552 | 2594527.6292 | 1193306.9628 | 2594527.1413 | 1193297.5194
14 | 2594524.5023 | 1193329.1552 | 2594781.9334 | 1193412.4324
15 | 2594442.5191 | 1193382.7156 | 2594440.1532 | 1193379.1715 | 2594435.6852 | 1193376.9968 | 2594422.8947 | 1193374.4964 | 2594404.584 | 1193369.2999 | 2594388.896 | 1193365.246 | 2594347.5154 | 1193351.167 | 2594337.7783 | 1193345.9513 | 2594315.4547 | 1193328.7304 | 2594308.2712 | 1193324.1015
16 | 2594525.7939 | 1193271.4431 | 2594527.1413 | 1193297.5194
17 | 2594781.9334 | 1193412.4324 | 2594787.7616 | 1193427.6019 | 2594792.1945 | 1193433.3232 | 2594798.8133 | 1193437.6419 | 2594897.8475 | 1193472.4626 | 2594898.2316 | 1193472.6147
18 | 2594308.2712 | 1193324.1015 | 2594295.9033 | 1193325.3808 | 2594292.2999 | 1193326.7739 | 2594287.7984 | 1193329.4241 | 2594277.1085 | 1193339.8733 | 2594266.2902 | 1193351.4899 | 2594233.4118 | 1193389.4308 | 2594228.18 | 1193395.7923
19 | 2594527.7524 | 1193234.3578 | 2594525.5804 | 1193267.3105 | 2594525.7939 | 1193271.4431
20 | 2594898.2316 | 1193472.6147 | 2594903.8396 | 1193474.8364 | 2594908.0948 | 1193477.9899 | 2594910.7663 | 1193482.8569 | 2594912.5989 | 1193488.3634
21 | 2594527.7524 | 1193234.3578 | 2594536.7912 | 1193193.2499
22 | 2594527.7524 | 1193234.3578 | 2594546.8901 | 1193235.2516 | 2594557.6231 | 1193231.9868
23 | 2594918.6336 | 1193512.8025 | 2594919.6529 | 1193510.008 | 2594919.845 | 1193503.0708 | 2594918.0037 | 1193497.5806 | 2594912.1934 | 1193493.9281 | 2594913.0891 | 1193489.8363 | 2594912.5989 | 1193488.3634
24 | 2595100.1052 | 1193616.9004 | 2594918.6336 | 1193512.8025
25 | 2595100.1052 | 1193616.9004 | 2595106.8368 | 1193619.9186 | 2595114.2626 | 1193623.7033 | 2595118.236 | 1193627.2686
26 | 2595100.1052 | 1193616.9004 | 2595102.3296 | 1193624.9917 | 2595104.9123 | 1193633.2383 | 2595110.2485 | 1193644.551 | 2595120.5396 | 1193665.5619
27 | 2595123.5457 | 1193634.1234 | 2595118.236 | 1193627.2686
28 | 2595118.236 | 1193627.2686 | 2595300.7229 | 1193404.0735
29 | 2595127.0653 | 1193678.8853 | 2595120.5396 | 1193665.5619
30 | 2594536.7912 | 1193193.2499 | 2594545.2176 | 1193173.4749
31 | 2594536.7912 | 1193193.2499 | 2594526.3114 | 1193176.3063 | 2594516.9116 | 1193165.3351
32 | 2594557.6231 | 1193231.9868 | 2594562.4331 | 1193230.5237 | 2594562.4331 | 1193230.5237
33 | 2594598.5027 | 1193197.3103 | 2594587.3318 | 1193205.7989 | 2594580.1973 | 1193214.0905
34 | 2594640.4821 | 1193180.0923 | 2594635.5973 | 1193180.6749 | 2594621.0823 | 1193184.5457 | 2594605.8463 | 1193191.73 | 2594598.5027 | 1193197.3103
35 | 2594580.1973 | 1193214.0905 | 2594571.6031 | 1193224.0785 | 2594571.6031 | 1193224.0785
36 | 2594640.4821 | 1193180.0923 | 2594651.6499 | 1193174.6571 | 2594656.6242 | 1193171.9734 | 2594663.089 | 1193165.6865
37 | 2594569.6329 | 1193225.4633 | 2594571.6031 | 1193224.0785
38 | 2594663.089 | 1193165.6865 | 2594665.9486 | 1193158.9581 | 2594666.9625 | 1193150.8085 | 2594666.5457 | 1193145.1059 | 2594663.9551 | 1193137.3152 | 2594658.5607 | 1193130.6388 | 2594652.4218 | 1193126.5755 | 2594647.8555 | 1193120.1755
39 | 2594562.4331 | 1193230.5237 | 2594569.6329 | 1193225.4633
40 | 2594501.2982 | 1193102.613 | 2594515.402 | 1193116.4391
41 | 2594513.8982 | 1193137.3529 | 2594519.2637 | 1193137.4035 | 2594529.9731 | 1193130.7233 | 2594515.402 | 1193116.4391
42 | 2594501.2982 | 1193102.613 | 2594504.0185 | 1193093.8502 | 2594500.4033 | 1193063.4119
43 | 2594501.6525 | 1193147.5252 | 2594507.2116 | 1193142.6396 | 2594513.8982 | 1193137.3529
44 | 2594501.6525 | 1193147.5252 | 2594516.9116 | 1193165.3351
45 | 2594545.2176 | 1193173.4749 | 2594548.6487 | 1193165.4228
46 | 2594562.145 | 1193132.8158 | 2594551.5673 | 1193158.5736 | 2594548.6487 | 1193165.4228
47 | 2594562.145 | 1193132.8158 | 2594562.4414 | 1193132.094 | 2594566.4312 | 1193128.3605
48 | 2594566.4312 | 1193128.3605 | 2594572.1807 | 1193122.9803 | 2594577.0771 | 1193119.3505
49 | 2594603.8694 | 1193099.1759 | 2594600.0484 | 1193102.3216 | 2594577.0771 | 1193119.3505
50 | 2594603.8694 | 1193099.1759 | 2594603.9552 | 1193099.1052 | 2594618.2254 | 1193089.988
51 | 2594618.2254 | 1193089.988 | 2594620.4917 | 1193088.5401 | 2594623.4746 | 1193086.7818
52 | 2594790.0661 | 1192698.1602 | 2594783.2929 | 1192701.1455 | 2594775.2002 | 1192703.1204 | 2594769.6899 | 1192703.5366
53 | 2594790.0661 | 1192698.1602 | 2594793.4721 | 1192697.0121 | 2594798.9917 | 1192698.4636 | 2594811.9045 | 1192699.953 | 2594812.1117 | 1192699.9675
54 | 2594489.3201 | 1193646.3756 | 2594487.9759 | 1193632.5825 | 2594487.9713 | 1193627.691 | 2594489.0421 | 1193623.6768 | 2594491.0123 | 1193619.8507 | 2594493.6918 | 1193616.6576 | 2594496.73 | 1193614.0201 | 2594499.4336 | 1193612.1054 | 2594503.0213 | 1193610.2789 | 2594507.0509 | 1193608.3408 | 2594513.0921 | 1193606.1785 | 2594519.6296 | 1193605.0051 | 2594528.0037 | 1193603.7745 | 2594531.0845 | 1193603.417
55 | 2594555.6644 | 1193601.2531 | 2594543.457 | 1193601.9814 | 2594531.0845 | 1193603.417
56 | 2595296.0637 | 1192981.7191 | 2595288.7821 | 1192972.6626 | 2595278.6536 | 1192952.7002
57 | 2595296.0637 | 1192981.7191 | 2595206.9647 | 1193082.0465
58 | 2595278.6536 | 1192952.7002 | 2595271.7209 | 1192939.0363 | 2595262.0947 | 1192918.1531
59 | 2595188.0785 | 1193131.3609 | 2595189.727 | 1193124.8117 | 2595192.1779 | 1193120.941 | 2595195.0407 | 1193117.4701 | 2595200.1435 | 1193113.1859 | 2595205.6661 | 1193109.5128 | 2595209.5419 | 1193105.2296 | 2595212.1126 | 1193098.7686 | 2595212.2151 | 1193093.5324 | 2595211.0304 | 1193089.4201 | 2595206.9647 | 1193082.0465
60 | 2595204.7743 | 1192772.5918 | 2595207.6433 | 1192785.9298 | 2595211.1685 | 1192800.1233 | 2595221.0117 | 1192823.1052 | 2595225.9113 | 1192831.0943 | 2595241.4415 | 1192855.7391 | 2595245.3144 | 1192866.5306 | 2595248.7285 | 1192884.8597 | 2595259.7035 | 1192912.9656 | 2595262.0947 | 1192918.1531
61 | 2595188.0785 | 1193131.3609 | 2595284.1401 | 1193339.2758
62 | 2595267.377 | 1193385.0747 | 2595268.6623 | 1193362.7508 | 2595272.5091 | 1193350.9415 | 2595278.8739 | 1193343.0322 | 2595284.1401 | 1193339.2758
63 | 2595204.7743 | 1192772.5918 | 2595204.1024 | 1192771.1916 | 2595201.1784 | 1192765.1686 | 2595198.3837 | 1192758.912
64 | 2595198.3837 | 1192758.912 | 2595194.3772 | 1192743.4738 | 2595188.7518 | 1192733.6066 | 2595184.1367 | 1192728.8078 | 2595180.1708 | 1192725.7539 | 2595175.9391 | 1192723.9008 | 2595160.1887 | 1192719.5003 | 2595156.1935 | 1192717.8361 | 2595149.3636 | 1192707.8031 | 2595147.5366 | 1192701.2233 | 2595146.8073 | 1192694.954 | 2595150.4741 | 1192677.275 | 2595158.0112 | 1192657.4695 | 2595159.3628 | 1192651.0139
65 | 2595267.377 | 1193385.0747 | 2595270.2297 | 1193388.0184 | 2595277.6611 | 1193389.1464 | 2595288.4079 | 1193391.3139
66 | 2595300.7229 | 1193404.0735 | 2595296.3066 | 1193394.7122 | 2595289.3003 | 1193391.4939 | 2595288.4079 | 1193391.3139
67 | 2595300.7229 | 1193404.0735 | 2595449.0917 | 1193483.6146
68 | 2595159.3628 | 1192651.0139 | 2594819.5108 | 1192700.4844
69 | 2595449.0917 | 1193483.6146 | 2595451.4806 | 1193496.266 | 2595453.3253 | 1193512.0899
70 | 2594812.1117 | 1192699.9675 | 2594819.5108 | 1192700.4844
71 | 2595106.1063 | 1193810.9431 | 2595102.8764 | 1193815.1137 | 2595099.9711 | 1193822.0754 | 2595100.5111 | 1193829.9235 | 2595103.0031 | 1193839.1819 | 2595102.8568 | 1193846.5414
72 | 2595165.9373 | 1193751.7949 | 2595153.7857 | 1193765.0008 | 2595136.0689 | 1193784.6257 | 2595122.2181 | 1193797.833 | 2595114.3966 | 1193803.6092 | 2595108.5019 | 1193807.8497 | 2595106.1063 | 1193810.9431
73 | 2595102.8568 | 1193846.5414 | 2594927.1738 | 1193907.1999
74 | 2595165.9373 | 1193751.7949 | 2595162.2433 | 1193744.9054 | 2595156.6835 | 1193739.5294
75 | 2594927.1738 | 1193907.1999 | 2594933.2972 | 1193912.175 | 2594937.6666 | 1193915.4952 | 2594940.734 | 1193920.184 | 2594941.7595 | 1193925.2746 | 2594939.9277 | 1193930.7791 | 2594936.0496 | 1193940.3542 | 2594927.4768 | 1193949.333 | 2594917.0592 | 1193957.4907 | 2594890.7126 | 1193980.1254 | 2594880.7022 | 1193991.9514 | 2594871.9286 | 1194006.4223 | 2594862.3273 | 1194015.402 | 2594846.6058 | 1194031.7133 | 2594843.9528 | 1194039.0528 | 2594844.3676 | 1194042.9211 | 2594845.8024 | 1194045.3656 | 2594850.7049 | 1194048.4852
76 | 2595156.6835 | 1193739.5294 | 2595159.6073 | 1193736.5921 | 2595160.2138 | 1193732.7229 | 2595157.1443 | 1193720.2038
77 | 2595156.6835 | 1193739.5294 | 2595152.4287 | 1193736.5758 | 2595149.7496 | 1193731.3308 | 2595144.2506 | 1193716.5497 | 2595131.5463 | 1193688.0341 | 2595130.4645 | 1193685.8254
78 | 2594838.0642 | 1194063.1619 | 2594839.065 | 1194061.5356 | 2594843.1448 | 1194056.2403 | 2594848.2534 | 1194051.0665 | 2594850.7049 | 1194048.4852 | 2594850.7049 | 1194048.4852
79 | 2595130.4645 | 1193685.8254 | 2595127.0653 | 1193678.8853

## bus_geodata
| x | y | coords
0 | 2594477.5292 | 1193712.299
1 | 2594478.7515 | 1193706.6746
2 | 2594478.0231 | 1193795.2109
3 | 2594207.6617 | 1193670.3375
4 | 2594480.4885 | 1193698.5039
5 | 2594422.8234 | 1194007.0648
6 | 2594232.6147 | 1193620.2842
7 | 2594482.3973 | 1193689.3843
8 | 2594483.8279 | 1193685.1365
9 | 2594487.3338 | 1193674.7263
10 | 2594483.4637 | 1193366.9379
11 | 2594524.5023 | 1193329.1552
12 | 2594442.5191 | 1193382.7156
13 | 2594527.1413 | 1193297.5194
14 | 2594781.9334 | 1193412.4324
15 | 2594308.2712 | 1193324.1015
16 | 2594525.7939 | 1193271.4431
17 | 2594898.2316 | 1193472.6147
18 | 2594228.18 | 1193395.7923
19 | 2594527.7524 | 1193234.3578
20 | 2594912.5989 | 1193488.3634
21 | 2594918.6336 | 1193512.8025
22 | 2595100.1052 | 1193616.9004
23 | 2595118.236 | 1193627.2686
24 | 2595120.5396 | 1193665.5619
25 | 2594536.7912 | 1193193.2499
26 | 2594557.6231 | 1193231.9868
27 | 2594598.5027 | 1193197.3103
28 | 2594580.1973 | 1193214.0905
29 | 2594640.4821 | 1193180.0923
30 | 2594571.6031 | 1193224.0785
31 | 2594663.089 | 1193165.6865
32 | 2594569.6329 | 1193225.4633
33 | 2594647.8555 | 1193120.1755
34 | 2594562.4331 | 1193230.5237
35 | 2594515.402 | 1193116.4391
36 | 2594501.2982 | 1193102.613
37 | 2594513.8982 | 1193137.3529
38 | 2594500.4033 | 1193063.4119
39 | 2594501.6525 | 1193147.5252
40 | 2594516.9116 | 1193165.3351
41 | 2594545.2176 | 1193173.4749
42 | 2594548.6487 | 1193165.4228
43 | 2594562.145 | 1193132.8158
44 | 2594566.4312 | 1193128.3605
45 | 2594577.0771 | 1193119.3505
46 | 2594603.8694 | 1193099.1759
47 | 2594623.4746 | 1193086.7818
48 | 2594618.2254 | 1193089.988
49 | 2594769.6899 | 1192703.5366
50 | 2594790.0661 | 1192698.1602
51 | 2594489.3201 | 1193646.3756
52 | 2594531.0845 | 1193603.417
53 | 2594555.6644 | 1193601.2531
54 | 2595296.0637 | 1192981.7191
55 | 2595278.6536 | 1192952.7002
56 | 2595206.9647 | 1193082.0465
57 | 2595262.0947 | 1192918.1531
58 | 2595188.0785 | 1193131.3609
59 | 2595284.1401 | 1193339.2758
60 | 2595204.7743 | 1192772.5918
61 | 2595198.3837 | 1192758.912
62 | 2595267.377 | 1193385.0747
63 | 2595288.4079 | 1193391.3139
64 | 2595300.7229 | 1193404.0735
65 | 2595159.3628 | 1192651.0139
66 | 2595449.0917 | 1193483.6146
67 | 2594819.5108 | 1192700.4844
68 | 2595106.1063 | 1193810.9431
69 | 2595102.8568 | 1193846.5414
70 | 2595165.9373 | 1193751.7949
71 | 2594927.1738 | 1193907.1999
72 | 2595156.6835 | 1193739.5294
73 | 2594850.7049 | 1194048.4852
74 | 2594838.0642 | 1194063.1619
75 | 2595157.1443 | 1193720.2038
76 | 2595130.4645 | 1193685.8254
77 | 2595127.0653 | 1193678.8853
78 | 2595123.5457 | 1193634.1234
79 | 2595453.3253 | 1193512.0899
80 | 2594812.1117 | 1192699.9675
81 | 2594665.8245 | 1193181.8481

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1