## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-117_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-117_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-117_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-117_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_355-117_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_355-117_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_355-117_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_355-117_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_355-117_0_3_node_76 | 0.4 | n |  | TRUE
9 | bus_LV_355-117_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_355-117_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_355-117_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_355-117_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_355-117_0_3_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_355-117_0_3_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_355-117_0_3_node_63 | 0.4 | n |  | TRUE
16 | bus_LV_355-117_0_3_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_355-117_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_355-117_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_355-117_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_355-117_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_355-117_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_355-117_0_3_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_355-117_0_3_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_355-117_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_355-117_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_355-117_0_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_355-117_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_355-117_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_355-117_0_3_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_355-117_0_3_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_355-117_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_355-117_0_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_355-117_0_3_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_355-117_0_3_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_355-117_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_355-117_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_355-117_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_355-117_0_3_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_355-117_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_355-117_0_3_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_355-117_0_3_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_355-117_0_3_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_355-117_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_355-117_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_355-117_0_3_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_355-117_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_355-117_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_355-117_0_3_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_355-117_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_355-117_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_355-117_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_355-117_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_355-117_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_355-117_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_355-117_0_3_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_355-117_0_3_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_355-117_0_3_node_68 | 0.4 | n |  | TRUE
58 | bus_LV_355-117_0_3_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_355-117_0_3_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_355-117_0_3_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_355-117_0_3_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_355-117_0_3_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_355-117_0_3_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_355-117_0_3_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_355-117_0_3_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_355-117_0_3_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_355-117_0_3_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_355-117_0_3_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_355-117_0_3_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_355-117_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_355-117_0_3_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_355-117_0_3_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_355-117_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_355-117_0_3_node_60 | 0.4 | n |  | TRUE
75 | bus_MV_120_0_node_84 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-117_0_3_load_0 | 0 | 0.00044492 | 0.00011151 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-117_0_3_load_1 | 1 | 0.00084911 | 0.00021281 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-117_0_3_load_3 | 3 | 0.00060251 | 0.000151 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-117_0_3_load_4 | 4 | 0.002403 | 0.00060225 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-117_0_3_load_6 | 6 | 0.0046037 | 0.0011538 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-117_0_3_load_7 | 7 | 0.00052334 | 0.00013116 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-117_0_3_load_76 | 8 | 0.0037236 | 0.00093323 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-117_0_3_load_8 | 10 | 0.0015954 | 0.00039985 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-117_0_3_load_9 | 12 | 0.0043956 | 0.0011016 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-117_0_3_load_66 | 13 | 0.0028229 | 0.00070748 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-117_0_3_load_56 | 16 | 0.00064148 | 0.00016077 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-117_0_3_load_12 | 17 | 0.00064973 | 0.00016284 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-117_0_3_load_14 | 19 | 0.0020529 | 0.00051452 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-117_0_3_load_15 | 20 | 0.0010383 | 0.00026023 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-117_0_3_load_16 | 21 | 0.0017461 | 0.00043762 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-117_0_3_load_61 | 22 | 0.00038748 | 9.7111e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-117_0_3_load_62 | 23 | 0.00065928 | 0.00016523 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-117_0_3_load_17 | 24 | 0.00040774 | 0.00010219 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-117_0_3_load_30 | 26 | 0.00049534 | 0.00012415 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-117_0_3_load_19 | 27 | 0.00034564 | 8.6627e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-117_0_3_load_31 | 28 | 0.00011039 | 2.7666e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-117_0_3_load_46 | 29 | 0.00025102 | 6.2912e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-117_0_3_load_38 | 32 | 0.00028546 | 7.1543e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-117_0_3_load_45 | 33 | 0.0020169 | 0.00050549 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-117_0_3_load_20 | 34 | 0.00021159 | 5.303e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-117_0_3_load_21 | 35 | 0.00037255 | 9.3369e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-117_0_3_load_22 | 36 | 0.0013344 | 0.00033442 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-117_0_3_load_23 | 37 | 0.001298 | 0.0003253 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-117_0_3_load_50 | 38 | 0.0004779 | 0.00011977 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-117_0_3_load_28 | 39 | 0.00011657 | 2.9216e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-117_0_3_load_51 | 40 | 0.00074982 | 0.00018792 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-117_0_3_load_26 | 41 | 0.00053344 | 0.00013369 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-117_0_3_load_25 | 42 | 0.00035699 | 8.947e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-117_0_3_load_27 | 43 | 0.00039688 | 9.9468e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-117_0_3_load_29 | 44 | 0.00022422 | 5.6194e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-117_0_3_load_43 | 45 | 0.00026963 | 6.7577e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-117_0_3_load_42 | 46 | 0.0013646 | 0.000342 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-117_0_3_load_32 | 47 | 0.00033672 | 8.4389e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-117_0_3_load_33 | 48 | 0.00040893 | 0.00010249 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-117_0_3_load_47 | 51 | 0.00044208 | 0.00011079 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-117_0_3_load_44 | 52 | 0.0003194 | 8.005e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-117_0_3_load_67 | 56 | 0.00087764 | 0.00021996 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-117_0_3_load_70 | 58 | 0.0023026 | 0.00057709 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-117_0_3_load_71 | 59 | 0.011181 | 0.0028021 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-117_0_3_load_74 | 60 | 0.00088476 | 0.00022174 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-117_0_3_load_75 | 61 | 0.0010695 | 0.00026804 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-117_0_3_load_36 | 62 | 0.0012027 | 0.00030143 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-117_0_3_load_37 | 63 | 0.00097533 | 0.00024444 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-117_0_3_load_40 | 64 | 0.00083473 | 0.0002092 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-117_0_3_load_41 | 65 | 0.00019929 | 4.9946e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-117_0_3_load_53 | 67 | 0.0055525 | 0.0013916 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-117_0_3_load_65 | 68 | 0.0010612 | 0.00026596 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-117_0_3_load_54 | 69 | 0.00037596 | 9.4223e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-117_0_3_load_64 | 70 | 0.00029125 | 7.2994e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-117_0_3_load_55 | 71 | 0.00316 | 0.00079198 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-117_0_3_load_59 | 73 | 0.00040065 | 0.00010041 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-117_0_3_load_60 | 74 | 0.0059176 | 0.0014831 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-117_0_3_line_0 |  | 0 | 1 | 0.020164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-117_0_3_line_1 |  | 0 | 2 | 0.02967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-117_0_3_line_2 |  | 1 | 3 | 0.012596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-117_0_3_line_3 |  | 2 | 4 | 0.079772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-117_0_3_line_4 |  | 2 | 5 | 0.088926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-117_0_3_line_5 |  | 3 | 6 | 0.020127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-117_0_3_line_6 |  | 4 | 7 | 0.023636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-117_0_3_line_7 |  | 5 | 8 | 0.13435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-117_0_3_line_8 |  | 5 | 9 | 0.027407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-117_0_3_line_9 |  | 7 | 10 | 0.012203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-117_0_3_line_10 |  | 9 | 11 | 0.027058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-117_0_3_line_11 |  | 9 | 12 | 0.051162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-117_0_3_line_12 |  | 11 | 13 | 0.10423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_355-117_0_3_line_13 |  | 13 | 14 | 0.043705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-117_0_3_line_14 |  | 14 | 15 | 0.036796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-117_0_3_line_15 |  | 14 | 16 | 0.021295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-117_0_3_line_16 |  | 15 | 23 | 0.012167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-117_0_3_line_17 |  | 16 | 71 | 0.001431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-117_0_3_line_18 |  | 17 | 18 | 0.050093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-117_0_3_line_19 |  | 18 | 19 | 0.042929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_355-117_0_3_line_20 |  | 18 | 20 | 0.10739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_355-117_0_3_line_21 |  | 19 | 21 | 0.037422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-117_0_3_line_22 |  | 20 | 22 | 0.023696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-117_0_3_line_23 |  | 22 | 23 | 0.027404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-117_0_3_line_24 |  | 24 | 25 | 0.063379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-117_0_3_line_25 |  | 24 | 26 | 0.31709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_355-117_0_3_line_26 |  | 25 | 27 | 0.019271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-117_0_3_line_27 |  | 26 | 28 | 0.069149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_355-117_0_3_line_28 |  | 27 | 29 | 0.0055531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-117_0_3_line_29 |  | 28 | 47 | 0.0093005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_355-117_0_3_line_30 |  | 29 | 33 | 0.015498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-117_0_3_line_31 |  | 30 | 31 | 0.15205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_355-117_0_3_line_32 |  | 30 | 32 | 0.15727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_355-117_0_3_line_33 |  | 31 | 36 | 0.15234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_355-117_0_3_line_34 |  | 32 | 63 | 0.011008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_355-117_0_3_line_35 |  | 33 | 52 | 0.0017076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-117_0_3_line_36 |  | 34 | 35 | 0.0023898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-117_0_3_line_37 |  | 34 | 36 | 0.0093147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-117_0_3_line_38 |  | 35 | 37 | 0.087147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-117_0_3_line_39 |  | 36 | 38 | 0.396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_355-117_0_3_line_40 |  | 37 | 39 | 0.006207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-117_0_3_line_41 |  | 38 | 40 | 0.020939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_355-117_0_3_line_42 |  | 39 | 41 | 0.01816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-117_0_3_line_43 |  | 40 | 66 | 0.0062916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_355-117_0_3_line_44 |  | 41 | 42 | 0.0080737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-117_0_3_line_45 |  | 42 | 43 | 0.074571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-117_0_3_line_46 |  | 43 | 44 | 0.0054256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_355-117_0_3_line_47 |  | 44 | 45 | 0.020885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_355-117_0_3_line_48 |  | 45 | 46 | 0.015169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-117_0_3_line_49 |  | 46 | 64 | 0.0055924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-117_0_3_line_50 |  | 47 | 62 | 0.035376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_355-117_0_3_line_51 |  | 48 | 49 | 0.03294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_355-117_0_3_line_52 |  | 49 | 50 | 0.014623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_355-117_0_3_line_53 |  | 50 | 51 | 0.021034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_355-117_0_3_line_54 |  | 50 | 52 | 0.078904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_355-117_0_3_line_55 |  | 51 | 53 | 0.026651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-117_0_3_line_56 |  | 53 | 54 | 0.036427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_355-117_0_3_line_57 |  | 54 | 55 | 0.03957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-117_0_3_line_58 |  | 54 | 56 | 0.0049117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-117_0_3_line_59 |  | 55 | 59 | 0.047788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_355-117_0_3_line_60 |  | 56 | 57 | 0.0030163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-117_0_3_line_61 |  | 57 | 58 | 0.0081581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-117_0_3_line_62 |  | 58 | 60 | 0.019314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_355-117_0_3_line_63 |  | 60 | 61 | 0.0057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-117_0_3_line_64 |  | 62 | 63 | 0.0029806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_355-117_0_3_line_65 |  | 64 | 65 | 0.029062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_355-117_0_3_line_66 |  | 66 | 67 | 0.0027769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_355-117_0_3_line_67 |  | 67 | 69 | 0.028177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_355-117_0_3_line_68 |  | 68 | 69 | 0.3702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_355-117_0_3_line_69 |  | 68 | 70 | 0.015224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_355-117_0_3_line_70 |  | 70 | 73 | 0.010031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_355-117_0_3_line_71 |  | 71 | 72 | 0.068145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-117_0_3_line_72 |  | 72 | 73 | 0.051121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-117_0_3_line_73 |  | 72 | 74 | 0.048725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-117_0_3_trafo_64 | 0.63 MVA 20/0.4 kV | 75 | 70 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2594903.1493 | 1191999.0605 | 2594896.8231 | 1192007.9152 | 2594895.3171 | 1192011.6851 | 2594895.5241 | 1192016.9026
1 | 2594919.4415 | 1191974.3669 | 2594911.5258 | 1191988.3144 | 2594906.2487 | 1191994.7223 | 2594903.1493 | 1191999.0605
2 | 2594895.5241 | 1192016.9026 | 2594895.6911 | 1192021.112 | 2594895.6921 | 1192029.495
3 | 2594919.4415 | 1191974.3669 | 2594924.724 | 1191983.0336 | 2594930.374 | 1191993.5898 | 2594936.412 | 1192003.3898 | 2594938.2973 | 1192015.0721 | 2594937.1616 | 1192024.1222 | 2594933.0186 | 1192037.3216 | 2594926.9919 | 1192046.9388
4 | 2594942.3569 | 1191904.6439 | 2594930.0001 | 1191904.6212 | 2594924.7204 | 1191908.0164 | 2594915.2938 | 1191929.1245 | 2594910.7718 | 1191944.9589 | 2594912.281 | 1191953.6289 | 2594915.6727 | 1191961.9192 | 2594919.4415 | 1191974.3669
5 | 2594895.6921 | 1192029.495 | 2594895.6923 | 1192031.284 | 2594893.8081 | 1192038.4449 | 2594885.8946 | 1192045.9891
6 | 2594926.9919 | 1192046.9388 | 2594926.0762 | 1192048.4001 | 2594921.5491 | 1192058.2202 | 2594920.3275 | 1192064.7469 | 2594921.4816 | 1192069.0534
7 | 2594942.3569 | 1191904.6439 | 2594956.7678 | 1191908.7671 | 2594976.3708 | 1191914.042 | 2594995.2214 | 1191921.9635 | 2595053.6541 | 1191952.8748 | 2595060.4346 | 1191957.3937 | 2595061.5665 | 1191961.9174
8 | 2594951.9398 | 1191878.9778 | 2594948.4555 | 1191887.1295 | 2594945.14 | 1191896.5595 | 2594942.3569 | 1191904.6439
9 | 2594924.6405 | 1192080.8406 | 2594921.4816 | 1192069.0534
10 | 2594951.9398 | 1191878.9778 | 2594964.7984 | 1191886.3373 | 2594975.392 | 1191892.5871
11 | 2594951.9398 | 1191878.9778 | 2594935.9696 | 1191870.0201 | 2594909.3153 | 1191856.1136 | 2594906.7754 | 1191854.9653
12 | 2594975.392 | 1191892.5871 | 2594985.5826 | 1191891.111 | 2595067.1485 | 1191937.7022
13 | 2595105.0986 | 1191959.3797 | 2595067.1485 | 1191937.7022
14 | 2595105.0986 | 1191959.3797 | 2595123.425 | 1191969.8478 | 2595131.1811 | 1191983.5486
15 | 2595105.0986 | 1191959.3797 | 2595114.3883 | 1191940.2179
16 | 2595131.1811 | 1191983.5486 | 2595141.4975 | 1191989.9996
17 | 2595115.0126 | 1191938.9303 | 2595114.3883 | 1191940.2179
18 | 2595260.9337 | 1192093.2226 | 2595275.8127 | 1192111.6759 | 2595290.2574 | 1192130.3741 | 2595291.847 | 1192132.6305
19 | 2595260.9337 | 1192093.2226 | 2595282.9744 | 1192078.5638 | 2595296.4145 | 1192069.0636
20 | 2595260.9337 | 1192093.2226 | 2595248.5583 | 1192079.0584 | 2595235.5276 | 1192065.3395 | 2595225.9759 | 1192055.4087 | 2595205.1351 | 1192036.4157 | 2595183.1821 | 1192019.5459
21 | 2595328.5737 | 1192050.057 | 2595307.0486 | 1192061.5468 | 2595296.4145 | 1192069.0636
22 | 2595163.906 | 1192005.7642 | 2595183.0533 | 1192019.447 | 2595183.1821 | 1192019.5459
23 | 2595163.906 | 1192005.7642 | 2595144.2839 | 1191991.7421 | 2595141.4975 | 1191989.9996
24 | 2595715.0625 | 1191622.1272 | 2595707.9178 | 1191609.4702 | 2595704.1314 | 1191602.1803 | 2595704.0902 | 1191597.9559 | 2595706.2985 | 1191594.6636 | 2595711.9297 | 1191591.2466 | 2595717.4005 | 1191587.5073 | 2595720.6679 | 1191583.4028 | 2595721.3132 | 1191579.7115 | 2595719.511 | 1191575.5106 | 2595716.3482 | 1191570.8132
25 | 2595688.0668 | 1191254.989 | 2595716.3482 | 1191570.8132
26 | 2595715.0625 | 1191622.1272 | 2595732.0528 | 1191613.0325
27 | 2595688.0668 | 1191254.989 | 2595677.3241 | 1191255.0624 | 2595663.579 | 1191255.7618 | 2595651.771 | 1191257.4269 | 2595619.8547 | 1191264.6292
28 | 2595732.0528 | 1191613.0325 | 2595736.9486 | 1191610.4119
29 | 2595610.7823 | 1191266.6765 | 2595619.8547 | 1191264.6292
30 | 2595750.6126 | 1191603.0978 | 2595736.9486 | 1191610.4119
31 | 2595456.4139 | 1191387.7206 | 2595455.7948 | 1191375.8593 | 2595451.685 | 1191355.1516 | 2595448.557 | 1191342.414 | 2595446.3795 | 1191336.2013 | 2595443.5847 | 1191330.3337 | 2595439.0124 | 1191322.989 | 2595434.2958 | 1191316.2669 | 2595423.4218 | 1191303.1574 | 2595404.5509 | 1191280.7047 | 2595384.6281 | 1191258.631
32 | 2595456.4139 | 1191387.7206 | 2595565.3609 | 1191274.3003
33 | 2595384.6281 | 1191258.631 | 2595364.3679 | 1191244.0059 | 2595356.0286 | 1191235.8082 | 2595347.8947 | 1191227.0211 | 2595336.2561 | 1191211.4333 | 2595325.5864 | 1191196.8896 | 2595300.3595 | 1191159.101 | 2595287.4881 | 1191142.8117
34 | 2595565.3609 | 1191274.3003 | 2595568.9244 | 1191268.4501 | 2595572.7057 | 1191266.7206
35 | 2595752.1181 | 1191602.2919 | 2595750.6126 | 1191603.0978
36 | 2595281.5102 | 1191135.6723 | 2595279.9337 | 1191133.8762
37 | 2595281.5102 | 1191135.6723 | 2595284.8826 | 1191139.5143 | 2595287.4881 | 1191142.8117
38 | 2595279.9337 | 1191133.8762 | 2595269.0561 | 1191121.4842 | 2595265.3995 | 1191115.5729 | 2595262.5354 | 1191109.1607 | 2595261.1508 | 1191103.4366 | 2595260.651 | 1191098.1565 | 2595261.2859 | 1191091.2968 | 2595263.0645 | 1191084.5029 | 2595274.7026 | 1191070.3751 | 2595282.7864 | 1191059.8445
39 | 2595287.4881 | 1191142.8117 | 2594999.6498 | 1191414.7769
40 | 2595282.7864 | 1191059.8445 | 2595286.566 | 1191054.9209
41 | 2594999.6498 | 1191414.7769 | 2595005.7609 | 1191423.8154 | 2595010.5044 | 1191432.651
42 | 2595291.5367 | 1191038.4737 | 2595291.6102 | 1191048.35 | 2595286.566 | 1191054.9209
43 | 2595013.4804 | 1191438.1942 | 2595010.5044 | 1191432.651
44 | 2595291.4766 | 1191030.4002 | 2595291.5367 | 1191038.4737
45 | 2595291.4766 | 1191030.4002 | 2595291.4308 | 1191024.2486 | 2595292.4943 | 1191009.8847 | 2595294.5427 | 1190997.2098 | 2595298.337 | 1190984.5001 | 2595303.7867 | 1190973.0342 | 2595306.6044 | 1190969.0632 | 2595312.6089 | 1190964.8117 | 2595315.3744 | 1190963.6717
46 | 2595320.3905 | 1190961.6039 | 2595315.3744 | 1190963.6717
47 | 2595340.4791 | 1190956.069 | 2595337.2214 | 1190957.4884 | 2595329.8047 | 1190959.5064 | 2595320.3905 | 1190961.6039 | 2595320.3905 | 1190961.6039
48 | 2595340.4791 | 1190956.069 | 2595347.5485 | 1190952.989 | 2595353.1655 | 1190948.0833
49 | 2595357.3776 | 1190944.4047 | 2595353.1655 | 1190948.0833
50 | 2595610.7823 | 1191266.6765 | 2595610.7469 | 1191266.6845 | 2595601.3094 | 1191267.5475 | 2595580.4495 | 1191265.7622 | 2595575.5261 | 1191265.9441
51 | 2595827.988 | 1191549.4078 | 2595833.6729 | 1191546.4022 | 2595858.6791 | 1191537.602
52 | 2595827.988 | 1191549.4078 | 2595825.1931 | 1191553.4564 | 2595821.1412 | 1191558.7843 | 2595819.0006 | 1191560.9203
53 | 2595819.0006 | 1191560.9203 | 2595823.4678 | 1191560.7948 | 2595828.3778 | 1191561.614 | 2595831.4284 | 1191563.3127 | 2595835.9448 | 1191568.1231 | 2595836.531 | 1191569.5006
54 | 2595819.0006 | 1191560.9203 | 2595815.5649 | 1191564.3579 | 2595809.4849 | 1191569.1758 | 2595803.6559 | 1191573.2265 | 2595797.0646 | 1191577.2778 | 2595789.2082 | 1191581.8414 | 2595780.8414 | 1191586.9167 | 2595752.1181 | 1191602.2919
55 | 2595845.1649 | 1191594.6194 | 2595842.4813 | 1191583.4821 | 2595836.531 | 1191569.5006
56 | 2595836.4001 | 1191629.6884 | 2595836.1691 | 1191626.498 | 2595839.6621 | 1191617.8577 | 2595842.2901 | 1191604.2709 | 2595845.1649 | 1191594.6194
57 | 2595865.4492 | 1191646.788 | 2595865.4239 | 1191643.3973 | 2595864.4001 | 1191640.1297 | 2595862.3698 | 1191636.5959 | 2595858.6925 | 1191632.5186 | 2595853.9871 | 1191629.8761 | 2595849.6869 | 1191628.8564 | 2595842.7343 | 1191628.6612 | 2595836.4001 | 1191629.6884
58 | 2595836.4001 | 1191629.6884 | 2595832.3498 | 1191632.4669
59 | 2595865.4492 | 1191646.788 | 2595865.2467 | 1191651.4795 | 2595864.2055 | 1191656.0271 | 2595861.5481 | 1191660.5202 | 2595856.6659 | 1191666.5601 | 2595840.5975 | 1191686.284
60 | 2595829.8625 | 1191634.1732 | 2595832.3498 | 1191632.4669
61 | 2595829.8625 | 1191634.1732 | 2595823.5647 | 1191639.359
62 | 2595808.7647 | 1191651.6112 | 2595811.0599 | 1191650.4951 | 2595815.5544 | 1191646.0007 | 2595821.6875 | 1191640.9047 | 2595823.5647 | 1191639.359
63 | 2595808.7647 | 1191651.6112 | 2595803.6387 | 1191654.104
64 | 2595575.5261 | 1191265.9441 | 2595574.3049 | 1191265.9892 | 2595572.7057 | 1191266.7206
65 | 2595357.3776 | 1190944.4047 | 2595365.8948 | 1190936.9661 | 2595376.5982 | 1190922.8016
66 | 2595013.4804 | 1191438.1942 | 2595016.0888 | 1191439.1468
67 | 2595016.0888 | 1191439.1468 | 2595032.3697 | 1191445.093 | 2595042.538 | 1191448.8607
68 | 2595131.3411 | 1191808.2564 | 2595042.538 | 1191448.8607
69 | 2595131.3411 | 1191808.2564 | 2595138.3864 | 1191810.2183 | 2595145.258 | 1191814.1369
70 | 2595145.2877 | 1191824.0224 | 2595146.1091 | 1191820.0616 | 2595145.258 | 1191814.1369
71 | 2595132.0657 | 1191873.3344 | 2595124.2719 | 1191915.6186 | 2595122.7671 | 1191921.1005 | 2595120.5311 | 1191927.2945 | 2595115.9198 | 1191937.059 | 2595115.0126 | 1191938.9303
72 | 2595132.0657 | 1191873.3344 | 2595134.5331 | 1191861.126 | 2595137.3893 | 1191848.9506 | 2595144.917 | 1191825.81 | 2595145.2877 | 1191824.0224
73 | 2595085.3202 | 1191862.4008 | 2595118.8733 | 1191867.6757 | 2595123.3408 | 1191868.1723 | 2595127.8395 | 1191869.6138 | 2595129.9065 | 1191870.9905 | 2595132.0657 | 1191873.3344

## bus_geodata
| x | y | coords
0 | 2594903.1493 | 1191999.0605
1 | 2594895.5241 | 1192016.9026
2 | 2594919.4415 | 1191974.3669
3 | 2594895.6921 | 1192029.495
4 | 2594926.9919 | 1192046.9388
5 | 2594942.3569 | 1191904.6439
6 | 2594885.8946 | 1192045.9891
7 | 2594921.4816 | 1192069.0534
8 | 2595061.5665 | 1191961.9174
9 | 2594951.9398 | 1191878.9778
10 | 2594924.6405 | 1192080.8406
11 | 2594975.392 | 1191892.5871
12 | 2594906.7754 | 1191854.9653
13 | 2595067.1485 | 1191937.7022
14 | 2595105.0986 | 1191959.3797
15 | 2595131.1811 | 1191983.5486
16 | 2595114.3883 | 1191940.2179
17 | 2595291.847 | 1192132.6305
18 | 2595260.9337 | 1192093.2226
19 | 2595296.4145 | 1192069.0636
20 | 2595183.1821 | 1192019.5459
21 | 2595328.5737 | 1192050.057
22 | 2595163.906 | 1192005.7642
23 | 2595141.4975 | 1191989.9996
24 | 2595716.3482 | 1191570.8132
25 | 2595715.0625 | 1191622.1272
26 | 2595688.0668 | 1191254.989
27 | 2595732.0528 | 1191613.0325
28 | 2595619.8547 | 1191264.6292
29 | 2595736.9486 | 1191610.4119
30 | 2595456.4139 | 1191387.7206
31 | 2595384.6281 | 1191258.631
32 | 2595565.3609 | 1191274.3003
33 | 2595750.6126 | 1191603.0978
34 | 2595281.5102 | 1191135.6723
35 | 2595279.9337 | 1191133.8762
36 | 2595287.4881 | 1191142.8117
37 | 2595282.7864 | 1191059.8445
38 | 2594999.6498 | 1191414.7769
39 | 2595286.566 | 1191054.9209
40 | 2595010.5044 | 1191432.651
41 | 2595291.5367 | 1191038.4737
42 | 2595291.4766 | 1191030.4002
43 | 2595315.3744 | 1190963.6717
44 | 2595320.3905 | 1190961.6039
45 | 2595340.4791 | 1190956.069
46 | 2595353.1655 | 1190948.0833
47 | 2595610.7823 | 1191266.6765
48 | 2595858.6791 | 1191537.602
49 | 2595827.988 | 1191549.4078
50 | 2595819.0006 | 1191560.9203
51 | 2595836.531 | 1191569.5006
52 | 2595752.1181 | 1191602.2919
53 | 2595845.1649 | 1191594.6194
54 | 2595836.4001 | 1191629.6884
55 | 2595865.4492 | 1191646.788
56 | 2595832.3498 | 1191632.4669
57 | 2595829.8625 | 1191634.1732
58 | 2595823.5647 | 1191639.359
59 | 2595840.5975 | 1191686.284
60 | 2595808.7647 | 1191651.6112
61 | 2595803.6387 | 1191654.104
62 | 2595575.5261 | 1191265.9441
63 | 2595572.7057 | 1191266.7206
64 | 2595357.3776 | 1190944.4047
65 | 2595376.5982 | 1190922.8016
66 | 2595013.4804 | 1191438.1942
67 | 2595016.0888 | 1191439.1468
68 | 2595131.3411 | 1191808.2564
69 | 2595042.538 | 1191448.8607
70 | 2595145.258 | 1191814.1369
71 | 2595115.0126 | 1191938.9303
72 | 2595132.0657 | 1191873.3344
73 | 2595145.2877 | 1191824.0224
74 | 2595085.3202 | 1191862.4008
75 | 2595131.3411 | 1191808.2564

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1