## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-15_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-15_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-15_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-15_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_355-15_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_355-15_0_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_355-15_0_4_node_87 | 0.4 | n |  | TRUE
7 | bus_LV_355-15_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_355-15_0_4_node_86 | 0.4 | n |  | TRUE
9 | bus_LV_355-15_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_355-15_0_4_node_85 | 0.4 | n |  | TRUE
11 | bus_LV_355-15_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_355-15_0_4_node_91 | 0.4 | n |  | TRUE
13 | bus_LV_355-15_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_355-15_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_355-15_0_4_node_89 | 0.4 | n |  | TRUE
16 | bus_LV_355-15_0_4_node_75 | 0.4 | n |  | TRUE
17 | bus_LV_355-15_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_355-15_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_355-15_0_4_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_355-15_0_4_node_90 | 0.4 | n |  | TRUE
21 | bus_LV_355-15_0_4_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_355-15_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_355-15_0_4_node_92 | 0.4 | n |  | TRUE
24 | bus_LV_355-15_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_355-15_0_4_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_355-15_0_4_node_93 | 0.4 | n |  | TRUE
27 | bus_LV_355-15_0_4_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_355-15_0_4_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_355-15_0_4_node_73 | 0.4 | n |  | TRUE
30 | bus_LV_355-15_0_4_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_355-15_0_4_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_355-15_0_4_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_355-15_0_4_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_355-15_0_4_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_355-15_0_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_355-15_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_355-15_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_355-15_0_4_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_355-15_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_355-15_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_355-15_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_355-15_0_4_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_355-15_0_4_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_355-15_0_4_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_355-15_0_4_node_83 | 0.4 | n |  | TRUE
46 | bus_LV_355-15_0_4_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_355-15_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_355-15_0_4_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_355-15_0_4_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_355-15_0_4_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_355-15_0_4_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_355-15_0_4_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_355-15_0_4_node_84 | 0.4 | n |  | TRUE
54 | bus_LV_355-15_0_4_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_355-15_0_4_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_355-15_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_355-15_0_4_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_355-15_0_4_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_355-15_0_4_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_355-15_0_4_node_32 | 0.4 | n |  | TRUE
61 | bus_LV_355-15_0_4_node_33 | 0.4 | n |  | TRUE
62 | bus_LV_355-15_0_4_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_355-15_0_4_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_355-15_0_4_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_355-15_0_4_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_355-15_0_4_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_355-15_0_4_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_355-15_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_355-15_0_4_node_38 | 0.4 | n |  | TRUE
70 | bus_LV_355-15_0_4_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_355-15_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_355-15_0_4_node_42 | 0.4 | n |  | TRUE
73 | bus_LV_355-15_0_4_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_355-15_0_4_node_78 | 0.4 | n |  | TRUE
75 | bus_LV_355-15_0_4_node_88 | 0.4 | n |  | TRUE
76 | bus_LV_355-15_0_4_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_355-15_0_4_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_355-15_0_4_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_355-15_0_4_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_355-15_0_4_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_355-15_0_4_node_57 | 0.4 | n |  | TRUE
82 | bus_LV_355-15_0_4_node_51 | 0.4 | n |  | TRUE
83 | bus_LV_355-15_0_4_node_56 | 0.4 | n |  | TRUE
84 | bus_LV_355-15_0_4_node_58 | 0.4 | n |  | TRUE
85 | bus_LV_355-15_0_4_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_355-15_0_4_node_79 | 0.4 | n |  | TRUE
87 | bus_MV_55_0_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-15_0_4_load_0 | 0 | 0.01067 | 0.0026743 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-15_0_4_load_3 | 3 | 0.0050113 | 0.001256 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-15_0_4_load_4 | 4 | 0.0053388 | 0.001338 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-15_0_4_load_87 | 6 | 0.0071131 | 0.0017827 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-15_0_4_load_86 | 8 | 0.0089495 | 0.002243 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-15_0_4_load_85 | 10 | 0.010481 | 0.0026267 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-15_0_4_load_91 | 12 | 0.0066274 | 0.001661 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-15_0_4_load_89 | 15 | 0.0050966 | 0.0012773 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-15_0_4_load_75 | 16 | 0.0036254 | 0.00090861 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-15_0_4_load_90 | 20 | 0.011904 | 0.0029833 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-15_0_4_load_64 | 21 | 0.0034433 | 0.00086297 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-15_0_4_load_92 | 23 | 0.012312 | 0.0030857 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-15_0_4_load_93 | 26 | 0.011541 | 0.0028924 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-15_0_4_load_71 | 27 | 0.0031289 | 0.00078418 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-15_0_4_load_70 | 28 | 0.0028551 | 0.00071555 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-15_0_4_load_73 | 29 | 0.0058493 | 0.001466 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-15_0_4_load_63 | 30 | 0.0035243 | 0.00088326 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-15_0_4_load_55 | 31 | 0.0034673 | 0.000869 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-15_0_4_load_17 | 34 | 0.0084447 | 0.0021164 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-15_0_4_load_18 | 35 | 0.0099607 | 0.0024964 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-15_0_4_load_20 | 37 | 0.0055875 | 0.0014004 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-15_0_4_load_21 | 38 | 0.0032112 | 0.0008048 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-15_0_4_load_22 | 39 | 0.0024134 | 0.00060485 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-15_0_4_load_36 | 41 | 0.0029982 | 0.00075141 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-15_0_4_load_72 | 42 | 0.0046602 | 0.0011679 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-15_0_4_load_69 | 43 | 0.0020932 | 0.00052461 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-15_0_4_load_83 | 45 | 0.0049637 | 0.001244 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-15_0_4_load_37 | 47 | 0.0031851 | 0.00079825 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-15_0_4_load_23 | 48 | 0.0043937 | 0.0011012 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-15_0_4_load_24 | 49 | 0.0044268 | 0.0011095 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-15_0_4_load_26 | 50 | 0.0046599 | 0.0011679 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-15_0_4_load_77 | 51 | 0.0043197 | 0.0010826 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-15_0_4_load_84 | 53 | 0.0039696 | 0.00099488 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-15_0_4_load_60 | 54 | 0.0047736 | 0.0011964 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-15_0_4_load_43 | 56 | 0.013268 | 0.0033252 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-15_0_4_load_82 | 57 | 0.0045161 | 0.0011318 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-15_0_4_load_81 | 58 | 0.0037838 | 0.0009483 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-15_0_4_load_31 | 59 | 0.0033213 | 0.00083239 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-15_0_4_load_32 | 60 | 0.0028816 | 0.0007222 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-15_0_4_load_33 | 61 | 0.0053452 | 0.0013396 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-15_0_4_load_34 | 62 | 0.0027888 | 0.00069894 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-15_0_4_load_35 | 63 | 0.0038649 | 0.00096863 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-15_0_4_load_39 | 64 | 0.0022702 | 0.00056896 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-15_0_4_load_49 | 67 | 0.011831 | 0.002965 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-15_0_4_load_38 | 69 | 0.0031191 | 0.00078171 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-15_0_4_load_62 | 70 | 0.0035009 | 0.0008774 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-15_0_4_load_61 | 71 | 0.003307 | 0.00082881 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-15_0_4_load_42 | 72 | 0.0024377 | 0.00061094 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-15_0_4_load_78 | 74 | 0.0031194 | 0.0007818 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-15_0_4_load_88 | 75 | 0.054119 | 0.013564 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-15_0_4_load_67 | 76 | 0.0063357 | 0.0015879 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-15_0_4_load_66 | 77 | 0.010222 | 0.002562 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-15_0_4_load_54 | 78 | 0.010489 | 0.0026289 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-15_0_4_load_68 | 79 | 0.0024853 | 0.00062287 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-15_0_4_load_59 | 80 | 0.0023491 | 0.00058875 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-15_0_4_load_57 | 81 | 0.005007 | 0.0012549 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-15_0_4_load_51 | 82 | 0.0069686 | 0.0017465 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_355-15_0_4_load_56 | 83 | 0.0033779 | 0.00084657 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_355-15_0_4_load_58 | 84 | 0.0035005 | 0.0008773 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_355-15_0_4_load_65 | 85 | 0.0080979 | 0.0020295 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_355-15_0_4_load_79 | 86 | 0.0026812 | 0.00067198 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-15_0_4_line_0 |  | 0 | 1 | 0.023444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-15_0_4_line_1 |  | 0 | 2 | 0.017689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-15_0_4_line_2 |  | 1 | 3 | 0.0099004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-15_0_4_line_3 |  | 1 | 4 | 0.0043925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-15_0_4_line_4 |  | 2 | 5 | 0.062657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-15_0_4_line_5 |  | 4 | 6 | 0.011847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-15_0_4_line_6 |  | 5 | 20 | 0.018004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-15_0_4_line_7 |  | 5 | 19 | 0.003899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-15_0_4_line_8 |  | 7 | 8 | 0.027283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-15_0_4_line_9 |  | 7 | 9 | 0.071277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-15_0_4_line_10 |  | 7 | 10 | 0.037052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-15_0_4_line_11 |  | 9 | 16 | 0.0085333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-15_0_4_line_12 |  | 9 | 14 | 0.063593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_355-15_0_4_line_13 |  | 10 | 25 | 0.0013286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-15_0_4_line_14 |  | 11 | 12 | 0.039526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-15_0_4_line_15 |  | 11 | 13 | 0.0077043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-15_0_4_line_16 |  | 13 | 16 | 0.048477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-15_0_4_line_17 |  | 14 | 15 | 0.003272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-15_0_4_line_18 |  | 17 | 18 | 0.003912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-15_0_4_line_19 |  | 17 | 19 | 0.003036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_355-15_0_4_line_20 |  | 18 | 21 | 0.030294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_355-15_0_4_line_21 |  | 19 | 29 | 0.03077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-15_0_4_line_22 |  | 21 | 30 | 0.0059991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-15_0_4_line_23 |  | 22 | 23 | 0.013001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-15_0_4_line_24 |  | 22 | 24 | 0.011822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-15_0_4_line_25 |  | 22 | 25 | 0.032705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-15_0_4_line_26 |  | 24 | 26 | 0.005449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-15_0_4_line_27 |  | 25 | 33 | 0.009308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-15_0_4_line_28 |  | 27 | 28 | 0.019284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-15_0_4_line_29 |  | 28 | 43 | 0.0229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_355-15_0_4_line_30 |  | 30 | 71 | 0.0065557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-15_0_4_line_31 |  | 31 | 32 | 0.018268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-15_0_4_line_32 |  | 32 | 66 | 0.022509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-15_0_4_line_33 |  | 33 | 78 | 0.028113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-15_0_4_line_34 |  | 33 | 82 | 0.062064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-15_0_4_line_35 |  | 34 | 35 | 0.011984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_355-15_0_4_line_36 |  | 34 | 36 | 0.027238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_355-15_0_4_line_37 |  | 35 | 37 | 0.010069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_355-15_0_4_line_38 |  | 36 | 38 | 0.018399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-15_0_4_line_39 |  | 36 | 39 | 0.005048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_355-15_0_4_line_40 |  | 37 | 40 | 0.036281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_355-15_0_4_line_41 |  | 38 | 41 | 0.0048894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-15_0_4_line_42 |  | 39 | 42 | 0.020505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-15_0_4_line_43 |  | 39 | 43 | 0.022871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_355-15_0_4_line_44 |  | 40 | 44 | 0.006013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-15_0_4_line_45 |  | 40 | 45 | 0.03287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-15_0_4_line_46 |  | 40 | 46 | 0.00429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_355-15_0_4_line_47 |  | 41 | 47 | 0.0067189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_355-15_0_4_line_48 |  | 44 | 55 | 0.070881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-15_0_4_line_49 |  | 44 | 56 | 0.034201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-15_0_4_line_50 |  | 45 | 52 | 0.017675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_355-15_0_4_line_51 |  | 46 | 48 | 0.038119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_355-15_0_4_line_52 |  | 47 | 69 | 0.0049134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_355-15_0_4_line_53 |  | 48 | 49 | 0.0067835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_355-15_0_4_line_54 |  | 49 | 50 | 0.0075166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_355-15_0_4_line_55 |  | 50 | 51 | 0.0083997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_355-15_0_4_line_56 |  | 51 | 54 | 0.0060595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_355-15_0_4_line_57 |  | 52 | 53 | 0.01141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-15_0_4_line_58 |  | 54 | 84 | 0.010466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_355-15_0_4_line_59 |  | 55 | 75 | 0.011831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_355-15_0_4_line_60 |  | 55 | 76 | 0.029309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-15_0_4_line_61 |  | 57 | 58 | 0.0056609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-15_0_4_line_62 |  | 58 | 86 | 0.0019213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_355-15_0_4_line_63 |  | 59 | 60 | 0.0043037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-15_0_4_line_64 |  | 59 | 61 | 0.012204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-15_0_4_line_65 |  | 60 | 62 | 0.0095184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_355-15_0_4_line_66 |  | 61 | 63 | 0.013334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_355-15_0_4_line_67 |  | 62 | 64 | 0.0079001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_355-15_0_4_line_68 |  | 63 | 65 | 0.017622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_355-15_0_4_line_69 |  | 64 | 66 | 0.013523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_355-15_0_4_line_70 |  | 65 | 67 | 0.031294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_355-15_0_4_line_71 |  | 65 | 68 | 0.006602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-15_0_4_line_72 |  | 66 | 72 | 0.02113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-15_0_4_line_73 |  | 67 | 78 | 0.0012946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_355-15_0_4_line_74 |  | 68 | 79 | 0.020654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_355-15_0_4_line_75 |  | 68 | 80 | 0.032554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_355-15_0_4_line_76 |  | 69 | 70 | 0.019685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_355-15_0_4_line_77 |  | 70 | 71 | 0.0060702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_355-15_0_4_line_78 |  | 72 | 73 | 0.019137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_355-15_0_4_line_79 |  | 73 | 74 | 0.015308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_355-15_0_4_line_80 |  | 74 | 86 | 0.0041142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_355-15_0_4_line_81 |  | 76 | 77 | 0.011418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_355-15_0_4_line_82 |  | 77 | 85 | 0.012717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_355-15_0_4_line_83 |  | 80 | 81 | 0.0051186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_355-15_0_4_line_84 |  | 81 | 83 | 0.028721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_355-15_0_4_line_85 |  | 83 | 84 | 0.022812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-15_0_4_trafo_70 | 0.63 MVA 20/0.4 kV | 87 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2598290.3802 | 1195673.3182 | 2598271.166 | 1195686.7501
1 | 2598268.7988 | 1195700.9171 | 2598264.9268 | 1195694.1147 | 2598267.9953 | 1195688.9666 | 2598271.166 | 1195686.7501
2 | 2598290.3802 | 1195673.3182 | 2598295.8483 | 1195681.5716
3 | 2598290.3802 | 1195673.3182 | 2598287.9497 | 1195669.6595
4 | 2598268.7988 | 1195700.9171 | 2598266.9867 | 1195704.1305 | 2598243.6113 | 1195718.8343 | 2598223.1841 | 1195708.4462 | 2598215.1919 | 1195705.7472
5 | 2598281.3944 | 1195659.7915 | 2598287.9497 | 1195669.6595
6 | 2598221.1897 | 1195688.7697 | 2598215.1919 | 1195705.7472
7 | 2598215.1919 | 1195705.7472 | 2598211.5424 | 1195704.3476
8 | 2598302.0326 | 1195610.6038 | 2598293.7746 | 1195636.6089
9 | 2598293.7746 | 1195636.6089 | 2598295.4735 | 1195636.6528 | 2598304.6986 | 1195634.9603 | 2598314.1381 | 1195636.9697 | 2598323.1053 | 1195639.3017 | 2598333.1689 | 1195639.232 | 2598332.9092 | 1195663.1336 | 2598340.1923 | 1195663.8208
10 | 2598293.7746 | 1195636.6089 | 2598277.8449 | 1195636.1579 | 2598271.689 | 1195634.9924 | 2598261.7844 | 1195631.4269 | 2598257.9899 | 1195629.353
11 | 2598340.1923 | 1195663.8208 | 2598348.3393 | 1195666.3594
12 | 2598340.1923 | 1195663.8208 | 2598332.9092 | 1195663.1336 | 2598333.1689 | 1195639.232 | 2598333.3505 | 1195635.0631 | 2598333.0416 | 1195620.7667 | 2598339.8903 | 1195620.5201 | 2598345.275 | 1195615.9717
13 | 2598256.8241 | 1195628.7158 | 2598257.9899 | 1195629.353
14 | 2598394.5655 | 1195673.0768 | 2598384.9584 | 1195670.6449 | 2598376.6809 | 1195655.7727 | 2598373.1007 | 1195656.9966 | 2598369.0075 | 1195649.138
15 | 2598394.5655 | 1195673.0768 | 2598394.5813 | 1195675.0668 | 2598394.621 | 1195680.7809
16 | 2598394.621 | 1195680.7809 | 2598348.3393 | 1195666.3594
17 | 2598345.275 | 1195615.9717 | 2598348.078 | 1195614.27
18 | 2598210.4539 | 1195707.1828 | 2598209.0076 | 1195710.8185
19 | 2598210.4539 | 1195707.1828 | 2598211.5424 | 1195704.3476
20 | 2598209.0076 | 1195710.8185 | 2598193.2899 | 1195705.6985 | 2598180.0524 | 1195701.929
21 | 2598211.5424 | 1195704.3476 | 2598219.284 | 1195685.1128 | 2598213.9416 | 1195676.6169
22 | 2598180.0524 | 1195701.929 | 2598178.8219 | 1195701.5786 | 2598174.2113 | 1195700.5698
23 | 2598266.8097 | 1195597.5741 | 2598257.3328 | 1195597.8549 | 2598257.3622 | 1195594.3085
24 | 2598266.8097 | 1195597.5741 | 2598267.647 | 1195595.0614 | 2598276.8193 | 1195594.9363
25 | 2598266.8097 | 1195597.5741 | 2598265.8279 | 1195600.5315 | 2598263.0116 | 1195608.6922 | 2598256.8241 | 1195628.7158
26 | 2598276.8193 | 1195594.9363 | 2598276.7752 | 1195600.3837
27 | 2598248.5799 | 1195624.3493 | 2598256.8241 | 1195628.7158
28 | 2598155.8869 | 1195692.6808 | 2598164.9393 | 1195693.8567 | 2598174.8061 | 1195696.2625
29 | 2598133.1282 | 1195690.1492 | 2598149.9995 | 1195691.916 | 2598155.8869 | 1195692.6808
30 | 2598167.807 | 1195699.1684 | 2598174.2113 | 1195700.5698
31 | 2598176.7082 | 1195546.5416 | 2598194.1629 | 1195541.152
32 | 2598176.7082 | 1195546.5416 | 2598155.1429 | 1195553.1964
33 | 2598248.5799 | 1195624.3493 | 2598237.4191 | 1195623.708 | 2598220.5679 | 1195622.0401
34 | 2598248.5799 | 1195624.3493 | 2598248.7687 | 1195618.813 | 2598240.5496 | 1195597.104 | 2598230.5204 | 1195585.2675 | 2598213.3433 | 1195589.9274
35 | 2598080.9876 | 1195685.9304 | 2598073.9607 | 1195684.0813 | 2598069.4379 | 1195682.74
36 | 2598107.6428 | 1195691.474 | 2598098.9501 | 1195689.9761 | 2598086.1965 | 1195687.3011 | 2598080.9876 | 1195685.9304
37 | 2598069.4379 | 1195682.74 | 2598060.3306 | 1195680.0393 | 2598059.7963 | 1195679.8416
38 | 2598107.6428 | 1195691.474 | 2598123.969 | 1195693.403 | 2598125.9174 | 1195693.613
39 | 2598110.4449 | 1195687.2709 | 2598107.6428 | 1195691.474
40 | 2598026.2728 | 1195666.0434 | 2598041.1153 | 1195672.9309 | 2598059.7963 | 1195679.8416
41 | 2598125.9174 | 1195693.613 | 2598130.7786 | 1195694.1367
42 | 2598110.4449 | 1195687.2709 | 2598105.5843 | 1195686.5721 | 2598090.204 | 1195683.9971
43 | 2598110.4449 | 1195687.2709 | 2598121.7431 | 1195688.957 | 2598133.1282 | 1195690.1492
44 | 2598023.4331 | 1195671.3472 | 2598026.2728 | 1195666.0434
45 | 2598026.2728 | 1195666.0434 | 2598015.2324 | 1195660.8667 | 2598000.2977 | 1195651.7003 | 2597997.5523 | 1195650.1496
46 | 2598028.3056 | 1195662.2629 | 2598026.2728 | 1195666.0434
47 | 2598137.4588 | 1195694.8565 | 2598130.7786 | 1195694.1367
48 | 2598023.4331 | 1195671.3472 | 2598022.5739 | 1195676.15 | 2598023.2307 | 1195681.0524 | 2598025.3883 | 1195685.8209 | 2598029.1227 | 1195690.2775 | 2598063.2184 | 1195726.952
49 | 2598023.4331 | 1195671.3472 | 2597997.297 | 1195693.4068
50 | 2597982.1629 | 1195641.4568 | 2597997.5523 | 1195650.1496
51 | 2598028.3056 | 1195662.2629 | 2598033.1857 | 1195653.1564 | 2598034.9367 | 1195649.6985 | 2598037.9219 | 1195646.5624 | 2598042.9035 | 1195644.3596 | 2598049.7901 | 1195643.7125 | 2598057.0045 | 1195643.9435
52 | 2598142.3439 | 1195695.3828 | 2598137.4588 | 1195694.8565
53 | 2598057.0045 | 1195643.9435 | 2598063.7264 | 1195644.856
54 | 2598071.1746 | 1195645.8672 | 2598063.7264 | 1195644.856
55 | 2598079.5124 | 1195646.8802 | 2598074.649 | 1195646.3388 | 2598071.1746 | 1195645.8672
56 | 2598085.5348 | 1195647.5506 | 2598079.5124 | 1195646.8802
57 | 2597976.5899 | 1195651.4195 | 2597982.1629 | 1195641.4568
58 | 2598085.5348 | 1195647.5506 | 2598087.5927 | 1195647.7797 | 2598095.9874 | 1195647.8875
59 | 2598063.2184 | 1195726.952 | 2598057.8131 | 1195737.4817
60 | 2598063.2184 | 1195726.952 | 2598064.8492 | 1195728.708 | 2598084.996 | 1195746.552
61 | 2598089.903 | 1195569.2268 | 2598095.5184 | 1195568.5107
62 | 2598097.4243 | 1195568.2677 | 2598095.5184 | 1195568.5107
63 | 2598165.0703 | 1195582.395 | 2598167.1577 | 1195586.1586
64 | 2598173.077 | 1195596.8309 | 2598167.1577 | 1195586.1586
65 | 2598165.0703 | 1195582.395 | 2598162.4948 | 1195577.7515 | 2598161.2877 | 1195573.7198
66 | 2598173.077 | 1195596.8309 | 2598179.5444 | 1195608.4912
67 | 2598161.2877 | 1195573.7198 | 2598159.0218 | 1195566.1516
68 | 2598188.0914 | 1195623.9012 | 2598179.5444 | 1195608.4912
69 | 2598155.1429 | 1195553.1964 | 2598159.0218 | 1195566.1516
70 | 2598188.0914 | 1195623.9012 | 2598196.0292 | 1195622.8092 | 2598206.6716 | 1195622.0055 | 2598219.2796 | 1195621.9126
71 | 2598181.5935 | 1195625.1706 | 2598188.0914 | 1195623.9012
72 | 2598155.1429 | 1195553.1964 | 2598134.8702 | 1195559.1525
73 | 2598219.2796 | 1195621.9126 | 2598219.2796 | 1195621.9126 | 2598220.5679 | 1195622.0401
74 | 2598181.5935 | 1195625.1706 | 2598192.5866 | 1195642.656
75 | 2598181.5935 | 1195625.1706 | 2598171.386 | 1195627.853 | 2598158.1547 | 1195632.5153 | 2598150.7724 | 1195635.5232
76 | 2598142.3439 | 1195695.3828 | 2598142.794 | 1195695.4313 | 2598161.8516 | 1195698.0152
77 | 2598167.807 | 1195699.1684 | 2598163.6532 | 1195698.2595 | 2598161.8516 | 1195698.0152
78 | 2598116.3924 | 1195564.0925 | 2598123.096 | 1195562.6118 | 2598134.8702 | 1195559.1525
79 | 2598116.3924 | 1195564.0925 | 2598101.4423 | 1195567.3832
80 | 2598101.4423 | 1195567.3832 | 2598097.4243 | 1195568.2677 | 2598097.4243 | 1195568.2677
81 | 2598093.5432 | 1195754.1223 | 2598084.996 | 1195746.552
82 | 2598103.0633 | 1195762.5543 | 2598093.5432 | 1195754.1223
83 | 2598146.0322 | 1195637.4546 | 2598150.7724 | 1195635.5232
84 | 2598118.6617 | 1195645.789 | 2598124.2731 | 1195644.8995 | 2598134.8081 | 1195642.0278 | 2598146.0322 | 1195637.4546
85 | 2598118.6617 | 1195645.789 | 2598113.9435 | 1195646.537 | 2598101.0997 | 1195647.9531 | 2598095.9874 | 1195647.8875

## bus_geodata
| x | y | coords
0 | 2598271.166 | 1195686.7501
1 | 2598290.3802 | 1195673.3182
2 | 2598268.7988 | 1195700.9171
3 | 2598295.8483 | 1195681.5716
4 | 2598287.9497 | 1195669.6595
5 | 2598215.1919 | 1195705.7472
6 | 2598281.3944 | 1195659.7915
7 | 2598293.7746 | 1195636.6089
8 | 2598302.0326 | 1195610.6038
9 | 2598340.1923 | 1195663.8208
10 | 2598257.9899 | 1195629.353
11 | 2598394.5655 | 1195673.0768
12 | 2598369.0075 | 1195649.138
13 | 2598394.621 | 1195680.7809
14 | 2598345.275 | 1195615.9717
15 | 2598348.078 | 1195614.27
16 | 2598348.3393 | 1195666.3594
17 | 2598210.4539 | 1195707.1828
18 | 2598209.0076 | 1195710.8185
19 | 2598211.5424 | 1195704.3476
20 | 2598221.1897 | 1195688.7697
21 | 2598180.0524 | 1195701.929
22 | 2598266.8097 | 1195597.5741
23 | 2598257.3622 | 1195594.3085
24 | 2598276.8193 | 1195594.9363
25 | 2598256.8241 | 1195628.7158
26 | 2598276.7752 | 1195600.3837
27 | 2598174.8061 | 1195696.2625
28 | 2598155.8869 | 1195692.6808
29 | 2598213.9416 | 1195676.6169
30 | 2598174.2113 | 1195700.5698
31 | 2598194.1629 | 1195541.152
32 | 2598176.7082 | 1195546.5416
33 | 2598248.5799 | 1195624.3493
34 | 2598080.9876 | 1195685.9304
35 | 2598069.4379 | 1195682.74
36 | 2598107.6428 | 1195691.474
37 | 2598059.7963 | 1195679.8416
38 | 2598125.9174 | 1195693.613
39 | 2598110.4449 | 1195687.2709
40 | 2598026.2729 | 1195666.0434
41 | 2598130.7786 | 1195694.1367
42 | 2598090.204 | 1195683.9971
43 | 2598133.1282 | 1195690.1492
44 | 2598023.4331 | 1195671.3472
45 | 2597997.5523 | 1195650.1496
46 | 2598028.3056 | 1195662.2629
47 | 2598137.4588 | 1195694.8565
48 | 2598057.0045 | 1195643.9435
49 | 2598063.7264 | 1195644.856
50 | 2598071.1746 | 1195645.8672
51 | 2598079.5124 | 1195646.8802
52 | 2597982.1629 | 1195641.4568
53 | 2597976.5899 | 1195651.4195
54 | 2598085.5348 | 1195647.5506
55 | 2598063.2184 | 1195726.952
56 | 2597997.297 | 1195693.4068
57 | 2598089.903 | 1195569.2268
58 | 2598095.5184 | 1195568.5107
59 | 2598167.1577 | 1195586.1586
60 | 2598165.0703 | 1195582.395
61 | 2598173.077 | 1195596.8309
62 | 2598161.2877 | 1195573.7198
63 | 2598179.5444 | 1195608.4912
64 | 2598159.0218 | 1195566.1516
65 | 2598188.0914 | 1195623.9012
66 | 2598155.1429 | 1195553.1964
67 | 2598219.2796 | 1195621.9126
68 | 2598181.5935 | 1195625.1706
69 | 2598142.3439 | 1195695.3828
70 | 2598161.8516 | 1195698.0152
71 | 2598167.807 | 1195699.1684
72 | 2598134.8702 | 1195559.1525
73 | 2598116.3924 | 1195564.0925
74 | 2598101.4423 | 1195567.3832
75 | 2598057.8131 | 1195737.4817
76 | 2598084.996 | 1195746.552
77 | 2598093.5432 | 1195754.1223
78 | 2598220.5679 | 1195622.0401
79 | 2598192.5866 | 1195642.656
80 | 2598150.7724 | 1195635.5232
81 | 2598146.0322 | 1195637.4546
82 | 2598213.3433 | 1195589.9274
83 | 2598118.6617 | 1195645.789
84 | 2598095.9874 | 1195647.8875
85 | 2598103.0633 | 1195762.5543
86 | 2598097.4243 | 1195568.2677
87 | 2598110.4449 | 1195687.2709

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1