## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-16_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-16_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-16_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-16_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_355-16_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_355-16_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_355-16_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_355-16_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_355-16_0_2_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_355-16_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_355-16_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_355-16_0_2_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_355-16_0_2_node_95 | 0.4 | n |  | TRUE
13 | bus_LV_355-16_0_2_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_355-16_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_355-16_0_2_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_355-16_0_2_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_355-16_0_2_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_355-16_0_2_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_355-16_0_2_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_355-16_0_2_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_355-16_0_2_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_355-16_0_2_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_355-16_0_2_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_355-16_0_2_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_355-16_0_2_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_355-16_0_2_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_355-16_0_2_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_355-16_0_2_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_355-16_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_355-16_0_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_355-16_0_2_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_355-16_0_2_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_355-16_0_2_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_355-16_0_2_node_79 | 0.4 | n |  | TRUE
35 | bus_LV_355-16_0_2_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_355-16_0_2_node_94 | 0.4 | n |  | TRUE
37 | bus_LV_355-16_0_2_node_86 | 0.4 | n |  | TRUE
38 | bus_LV_355-16_0_2_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_355-16_0_2_node_85 | 0.4 | n |  | TRUE
40 | bus_LV_355-16_0_2_node_89 | 0.4 | n |  | TRUE
41 | bus_LV_355-16_0_2_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_355-16_0_2_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_355-16_0_2_node_80 | 0.4 | n |  | TRUE
44 | bus_LV_355-16_0_2_node_93 | 0.4 | n |  | TRUE
45 | bus_LV_355-16_0_2_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_355-16_0_2_node_91 | 0.4 | n |  | TRUE
47 | bus_MV_608_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-16_0_2_load_0 | 0 | 0.008038 | 0.0020145 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-16_0_2_load_1 | 1 | 0.0024876 | 0.00062345 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-16_0_2_load_3 | 3 | 0.003562 | 0.00089273 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-16_0_2_load_4 | 4 | 0.0034292 | 0.00085945 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-16_0_2_load_11 | 8 | 0.0054435 | 0.0013643 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-16_0_2_load_9 | 9 | 0.0014817 | 0.00037134 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-16_0_2_load_10 | 10 | 0.018923 | 0.0047426 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-16_0_2_load_12 | 11 | 0.0042446 | 0.0010638 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-16_0_2_load_95 | 12 | 0.0020922 | 0.00052436 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-16_0_2_load_13 | 14 | 0.0055247 | 0.0013846 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-16_0_2_load_16 | 15 | 0.010175 | 0.0025502 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-16_0_2_load_17 | 16 | 0.0068516 | 0.0017172 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-16_0_2_load_18 | 17 | 0.0065631 | 0.0016449 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-16_0_2_load_19 | 18 | 0.0037409 | 0.00093756 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-16_0_2_load_20 | 19 | 0.0069262 | 0.0017359 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-16_0_2_load_22 | 21 | 0.011038 | 0.0027665 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-16_0_2_load_31 | 22 | 0.0040835 | 0.0010234 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-16_0_2_load_32 | 23 | 0.011073 | 0.0027752 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-16_0_2_load_24 | 24 | 0.0038401 | 0.00096241 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-16_0_2_load_23 | 26 | 0.0046723 | 0.001171 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-16_0_2_load_33 | 28 | 0.0090125 | 0.0022587 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-16_0_2_load_26 | 30 | 0.0068082 | 0.0017063 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-16_0_2_load_79 | 34 | 0.00019477 | 4.8813e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-16_0_2_load_86 | 37 | 0.0004326 | 0.00010842 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-16_0_2_load_85 | 39 | 0.00023209 | 5.8167e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-16_0_2_load_89 | 40 | 0.00030421 | 7.6241e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-16_0_2_load_36 | 41 | 0.012758 | 0.0031974 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-16_0_2_load_37 | 42 | 0.02758 | 0.0069122 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-16_0_2_load_80 | 43 | 0.00026006 | 6.5177e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-16_0_2_load_93 | 44 | 0.00070198 | 0.00017593 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-16_0_2_load_91 | 46 | 0.00040961 | 0.00010266 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-16_0_2_line_0 |  | 0 | 1 | 0.024022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-16_0_2_line_1 |  | 0 | 2 | 0.079362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-16_0_2_line_2 |  | 1 | 3 | 0.0076953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-16_0_2_line_3 |  | 2 | 4 | 0.04411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-16_0_2_line_4 |  | 3 | 5 | 0.11866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-16_0_2_line_5 |  | 4 | 6 | 0.092392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-16_0_2_line_6 |  | 5 | 7 | 0.042093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-16_0_2_line_7 |  | 6 | 8 | 0.040731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-16_0_2_line_8 |  | 7 | 9 | 0.30632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-16_0_2_line_9 |  | 7 | 10 | 0.028671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-16_0_2_line_10 |  | 8 | 11 | 0.0054423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-16_0_2_line_11 |  | 10 | 12 | 0.033319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_355-16_0_2_line_12 |  | 11 | 14 | 0.029336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_355-16_0_2_line_13 |  | 12 | 13 | 0.11077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_355-16_0_2_line_14 |  | 13 | 31 | 0.26738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-16_0_2_line_15 |  | 13 | 29 | 0.26002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_355-16_0_2_line_16 |  | 15 | 16 | 0.00027764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_355-16_0_2_line_17 |  | 15 | 17 | 0.028112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_355-16_0_2_line_18 |  | 16 | 18 | 0.029425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_355-16_0_2_line_19 |  | 17 | 19 | 0.00031838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_355-16_0_2_line_20 |  | 18 | 20 | 0.012036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_355-16_0_2_line_21 |  | 19 | 21 | 0.00045678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_355-16_0_2_line_22 |  | 20 | 22 | 0.013027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-16_0_2_line_23 |  | 20 | 23 | 0.019051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-16_0_2_line_24 |  | 20 | 24 | 0.025721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_355-16_0_2_line_25 |  | 21 | 25 | 0.023384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_355-16_0_2_line_26 |  | 24 | 26 | 0.00042238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_355-16_0_2_line_27 |  | 25 | 27 | 0.021612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-16_0_2_line_28 |  | 25 | 28 | 0.022977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_355-16_0_2_line_29 |  | 26 | 29 | 0.018419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_355-16_0_2_line_30 |  | 27 | 41 | 0.008047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-16_0_2_line_31 |  | 27 | 42 | 0.011363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-16_0_2_line_32 |  | 29 | 30 | 0.042838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-16_0_2_line_33 |  | 31 | 37 | 0.011922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-16_0_2_line_34 |  | 31 | 38 | 0.095195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-16_0_2_line_35 |  | 31 | 39 | 0.0094535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-16_0_2_line_36 |  | 32 | 33 | 0.070817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-16_0_2_line_37 |  | 32 | 34 | 0.0072707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-16_0_2_line_38 |  | 33 | 37 | 0.012763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-16_0_2_line_39 |  | 33 | 35 | 0.051119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-16_0_2_line_40 |  | 34 | 43 | 0.010456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-16_0_2_line_41 |  | 35 | 36 | 0.015053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-16_0_2_line_42 |  | 36 | 44 | 0.0072026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-16_0_2_line_43 |  | 38 | 40 | 0.060902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-16_0_2_line_44 |  | 40 | 45 | 0.015562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-16_0_2_line_45 |  | 45 | 46 | 0.0016159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-16_0_2_trafo_33 | 0.63 MVA 20/0.4 kV | 47 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56
0 | 2597493.1813 | 1196167.9672 | 2597485.0581 | 1196175.5012 | 2597480.5766 | 1196187.6429 | 2597480.5766 | 1196187.6429
1 | 2597552.4244 | 1196115.1737 | 2597515.79 | 1196147.0395 | 2597503.3099 | 1196158.5732 | 2597493.1813 | 1196167.9672
2 | 2597480.5766 | 1196187.6429 | 2597479.9397 | 1196194.3468 | 2597480.524 | 1196195.1101
3 | 2597552.4244 | 1196115.1737 | 2597586.3331 | 1196143.3851
4 | 2597568.4607 | 1196263.757 | 2597559.0882 | 1196256.2569 | 2597552.4451 | 1196254.4588 | 2597545.3379 | 1196253.917 | 2597537.0349 | 1196253.865 | 2597531.9462 | 1196253.0778 | 2597526.8951 | 1196251.4458 | 2597520.678 | 1196248.2245 | 2597515.2064 | 1196242.824 | 2597511.5553 | 1196237.4115 | 2597508.0107 | 1196231.5877 | 2597496.9274 | 1196213.8164 | 2597485.0691 | 1196201.0481 | 2597480.524 | 1196195.1101
5 | 2597657.9092 | 1196201.7984 | 2597630.7976 | 1196180.3313 | 2597604.3635 | 1196158.3861 | 2597586.3331 | 1196143.3851
6 | 2597568.4607 | 1196263.757 | 2597555.7044 | 1196270.3214 | 2597546.1159 | 1196274.4276 | 2597529.5428 | 1196279.793
7 | 2597657.9092 | 1196201.7984 | 2597682.3081 | 1196169.1841
8 | 2597529.5428 | 1196279.793 | 2597506.9982 | 1196286.1171 | 2597478.5581 | 1196293.1109 | 2597455.9363 | 1196296.9228 | 2597437.3357 | 1196298.8542 | 2597420.2043 | 1196298.884 | 2597405.5022 | 1196297.3342 | 2597392.4221 | 1196294.8165 | 2597382.3813 | 1196292.2641 | 2597372.3324 | 1196288.6 | 2597362.5954 | 1196284.0687 | 2597353.1627 | 1196278.6256 | 2597345.9159 | 1196272.7814 | 2597337.129 | 1196263.8807 | 2597329.7752 | 1196257.1805 | 2597323.1765 | 1196252.6144 | 2597314.3381 | 1196247.8715 | 2597304.5171 | 1196243.2403 | 2597284.8221 | 1196234.4559 | 2597251.6871 | 1196219.7636 | 2597246.3651 | 1196218.125
9 | 2597529.5428 | 1196279.793 | 2597528.8678 | 1196286.7637 | 2597517.1697 | 1196305.0017
10 | 2597682.3081 | 1196169.1841 | 2597682.7669 | 1196168.5707 | 2597685.8638 | 1196165.0669
11 | 2597517.1697 | 1196305.0017 | 2597509.8525 | 1196316.4098 | 2597500.2511 | 1196333.6876
12 | 2597685.8638 | 1196165.0669 | 2597701.1777 | 1196147.7412 | 2597706.9182 | 1196145.3655
13 | 2597424.9243 | 1196413.0314 | 2597430.6855 | 1196401.734 | 2597444.2297 | 1196386.142 | 2597459.5424 | 1196373.6175 | 2597484.6019 | 1196353.3958 | 2597494.6145 | 1196343.8309 | 2597500.2511 | 1196333.6876
14 | 2597286.1513 | 1196552.8243 | 2597287.5277 | 1196547.821 | 2597287.6383 | 1196540.0613 | 2597272.2136 | 1196539.4682 | 2597272.8283 | 1196534.721 | 2597278.2719 | 1196529.2266 | 2597281.2878 | 1196528.1913 | 2597284.9055 | 1196527.367 | 2597296.9483 | 1196528.0951 | 2597311.8687 | 1196525.1199 | 2597329.9808 | 1196522.3879 | 2597348.6422 | 1196521.7568 | 2597384.5321 | 1196518.1053 | 2597389.5435 | 1196516.769 | 2597394.5314 | 1196514.0875 | 2597399.8926 | 1196511.4615 | 2597404.513 | 1196504.3668 | 2597410.0134 | 1196489.2897 | 2597413.8539 | 1196475.4695 | 2597418.1657 | 1196459.3813 | 2597418.9995 | 1196450.2649 | 2597419.8259 | 1196441.5711 | 2597423.0084 | 1196421.2255 | 2597424.9243 | 1196413.0314
15 | 2597424.9243 | 1196413.0314 | 2597433.7389 | 1196416.3404 | 2597439.7881 | 1196419.0948 | 2597445.8974 | 1196419.9147 | 2597451.4349 | 1196419.4454 | 2597457.4595 | 1196418.1198 | 2597464.9613 | 1196415.4818 | 2597479.1179 | 1196406.9266 | 2597486.3217 | 1196402.1988 | 2597490.1902 | 1196399.9292 | 2597491.7819 | 1196399.0725 | 2597493.61 | 1196399.0384 | 2597495.4991 | 1196399.1821 | 2597499.5594 | 1196399.9252 | 2597501.8066 | 1196400.3578 | 2597506.8192 | 1196401.4562 | 2597510.2017 | 1196402.522 | 2597513.3253 | 1196403.7991 | 2597517.8279 | 1196405.8538 | 2597520.144 | 1196406.8645 | 2597524.2805 | 1196407.8188 | 2597525.6669 | 1196408.0183 | 2597530.1841 | 1196408.3944 | 2597536.9027 | 1196409.0252 | 2597539.9041 | 1196409.6353 | 2597542.3725 | 1196410.5237 | 2597555.248 | 1196416.5103 | 2597561.0682 | 1196417.9753 | 2597568.3126 | 1196419.1284 | 2597571.6949 | 1196419.883 | 2597577.8429 | 1196421.9815 | 2597579.4046 | 1196422.5256 | 2597581.553 | 1196423.4474 | 2597584.1055 | 1196425.2028 | 2597587.0465 | 1196427.0804 | 2597589.4007 | 1196428.28 | 2597593.583 | 1196429.5456 | 2597597.1558 | 1196430.2223 | 2597602.8004 | 1196431.0204 | 2597605.4059 | 1196432.1199 | 2597611.7984 | 1196436.1194 | 2597615.7224 | 1196438.9748 | 2597619.8823 | 1196441.2743 | 2597624.08 | 1196442.829 | 2597626.7767 | 1196443.6172 | 2597628.9859 | 1196444.1499 | 2597631.2867 | 1196445.0161 | 2597634.7071 | 1196445.8485 | 2597636.5432 | 1196446.7371 | 2597638.3108 | 1196447.8592 | 2597639.6672 | 1196449.0482 | 2597641.0161 | 1196450.7152 | 2597641.8851 | 1196452.438 | 2597642.6249 | 1196454.7055 | 2597642.748 | 1196457.7071 | 2597643.0325 | 1196464.1882 | 2597631.3536 | 1196459.5794
16 | 2597574.9534 | 1196485.6068 | 2597575.2125 | 1196485.7065
17 | 2597550.728 | 1196471.8619 | 2597557.6415 | 1196474.7513 | 2597568.6822 | 1196483.1956 | 2597574.9534 | 1196485.6068
18 | 2597602.6777 | 1196496.2666 | 2597575.2125 | 1196485.7065
19 | 2597550.4343 | 1196471.7391 | 2597550.728 | 1196471.8619
20 | 2597613.912 | 1196500.5861 | 2597602.6777 | 1196496.2666
21 | 2597550.0128 | 1196471.563 | 2597550.4343 | 1196471.7391
22 | 2597613.912 | 1196500.5861 | 2597626.2534 | 1196504.8611
23 | 2597613.912 | 1196500.5861 | 2597606.4564 | 1196518.1179
24 | 2597613.912 | 1196500.5861 | 2597623.9791 | 1196476.9175
25 | 2597528.4324 | 1196462.5572 | 2597544.4616 | 1196469.2429 | 2597550.0128 | 1196471.563
26 | 2597624.1444 | 1196476.5288 | 2597623.9791 | 1196476.9175
27 | 2597528.4324 | 1196462.5572 | 2597508.4415 | 1196454.2058
28 | 2597528.4324 | 1196462.5572 | 2597537.2478 | 1196441.3387
29 | 2597631.3536 | 1196459.5794 | 2597624.1444 | 1196476.5288
30 | 2597508.4415 | 1196454.2058 | 2597500.9982 | 1196451.0962
31 | 2597508.4415 | 1196454.2058 | 2597503.6014 | 1196464.4911
32 | 2597631.3536 | 1196459.5794 | 2597591.3818 | 1196444.173
33 | 2597286.1513 | 1196552.8243 | 2597293.5031 | 1196555.8114 | 2597297.2765 | 1196557.0983
34 | 2597205.4821 | 1196541.9123 | 2597233.4204 | 1196540.1091 | 2597255.0447 | 1196539.2317 | 2597272.2136 | 1196539.4682 | 2597287.6383 | 1196540.0613 | 2597287.5277 | 1196547.821 | 2597286.1513 | 1196552.8243
35 | 2597286.1513 | 1196552.8243 | 2597281.0116 | 1196556.5621 | 2597279.3627 | 1196559.1853
36 | 2597309.3566 | 1196561.218 | 2597308.3017 | 1196569.6786 | 2597312.0888 | 1196572.8452 | 2597313.7502 | 1196574.7232 | 2597309.9976 | 1196580.3168 | 2597350.7143 | 1196605.945
37 | 2597350.7143 | 1196605.945 | 2597357.4083 | 1196603.1072
38 | 2597309.3566 | 1196561.218 | 2597297.2765 | 1196557.0983
39 | 2597309.3566 | 1196561.218 | 2597308.3017 | 1196569.6786 | 2597312.0888 | 1196572.8452 | 2597313.7502 | 1196574.7232 | 2597327.0783 | 1196554.7398 | 2597335.5049 | 1196559.5607 | 2597336.7468 | 1196560.2494
40 | 2597357.4083 | 1196603.1072 | 2597357.4083 | 1196603.1072 | 2597367.4025 | 1196606.1812
41 | 2597336.7468 | 1196560.2494 | 2597339.9774 | 1196562.4157 | 2597339.7494 | 1196563.4719 | 2597340.0621 | 1196564.5057 | 2597340.8318 | 1196565.2613 | 2597341.8755 | 1196565.5609 | 2597342.9341 | 1196565.3159 | 2597343.7412 | 1196564.604 | 2597347.6194 | 1196567.2148
42 | 2597347.6194 | 1196567.2148 | 2597344.0419 | 1196572.5081 | 2597343.3665 | 1196572.0542
43 | 2597205.4821 | 1196541.9123 | 2597209.8985 | 1196570.6699 | 2597218.7183 | 1196585.3179 | 2597230.5327 | 1196594.0794
44 | 2597243.0326 | 1196603.3492 | 2597230.5327 | 1196594.0794
45 | 2597243.0326 | 1196603.3492 | 2597244.394 | 1196604.2197

## bus_geodata
| x | y | coords
0 | 2597493.1813 | 1196167.9672
1 | 2597480.5766 | 1196187.6429
2 | 2597552.4244 | 1196115.1737
3 | 2597480.524 | 1196195.1101
4 | 2597586.3331 | 1196143.3851
5 | 2597568.4607 | 1196263.757
6 | 2597657.9092 | 1196201.7984
7 | 2597529.5428 | 1196279.793
8 | 2597682.3081 | 1196169.1841
9 | 2597246.3651 | 1196218.125
10 | 2597517.1697 | 1196305.0017
11 | 2597685.8638 | 1196165.0669
12 | 2597500.2511 | 1196333.6876
13 | 2597424.9243 | 1196413.0314
14 | 2597706.9182 | 1196145.3655
15 | 2597574.9534 | 1196485.6068
16 | 2597575.2125 | 1196485.7065
17 | 2597550.728 | 1196471.8619
18 | 2597602.6777 | 1196496.2666
19 | 2597550.4343 | 1196471.7391
20 | 2597613.912 | 1196500.5861
21 | 2597550.0128 | 1196471.563
22 | 2597626.2534 | 1196504.8611
23 | 2597606.4564 | 1196518.1179
24 | 2597623.9791 | 1196476.9175
25 | 2597528.4324 | 1196462.5572
26 | 2597624.1444 | 1196476.5288
27 | 2597508.4415 | 1196454.2058
28 | 2597537.2478 | 1196441.3387
29 | 2597631.3536 | 1196459.5794
30 | 2597591.3818 | 1196444.173
31 | 2597286.1513 | 1196552.8243
32 | 2597350.7143 | 1196605.945
33 | 2597309.3566 | 1196561.218
34 | 2597357.4083 | 1196603.1072
35 | 2597336.7468 | 1196560.2494
36 | 2597347.6194 | 1196567.2148
37 | 2597297.2765 | 1196557.0983
38 | 2597205.4821 | 1196541.9123
39 | 2597279.3627 | 1196559.1853
40 | 2597230.5327 | 1196594.0794
41 | 2597500.9982 | 1196451.0962
42 | 2597503.6014 | 1196464.4911
43 | 2597367.4025 | 1196606.1812
44 | 2597343.3665 | 1196572.0542
45 | 2597243.0326 | 1196603.3492
46 | 2597244.394 | 1196604.2197
47 | 2597528.4324 | 1196462.5572

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1