## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-20_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-20_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-20_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-20_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_355-20_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_355-20_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_355-20_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_355-20_0_4_node_65 | 0.4 | n |  | TRUE
8 | bus_LV_355-20_0_4_node_66 | 0.4 | n |  | TRUE
9 | bus_LV_355-20_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_355-20_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_355-20_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_355-20_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_355-20_0_4_node_69 | 0.4 | n |  | TRUE
14 | bus_LV_355-20_0_4_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_355-20_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_355-20_0_4_node_70 | 0.4 | n |  | TRUE
17 | bus_LV_355-20_0_4_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_355-20_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_355-20_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_355-20_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_355-20_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_355-20_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_355-20_0_4_node_73 | 0.4 | n |  | TRUE
24 | bus_LV_355-20_0_4_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_355-20_0_4_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_355-20_0_4_node_72 | 0.4 | n |  | TRUE
27 | bus_LV_355-20_0_4_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_355-20_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_355-20_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_355-20_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_355-20_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_355-20_0_4_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_355-20_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_355-20_0_4_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_355-20_0_4_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_355-20_0_4_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_355-20_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_355-20_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_355-20_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_355-20_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_355-20_0_4_node_71 | 0.4 | n |  | TRUE
42 | bus_LV_355-20_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_355-20_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_355-20_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_355-20_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_355-20_0_4_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_355-20_0_4_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_355-20_0_4_node_75 | 0.4 | n |  | TRUE
49 | bus_LV_355-20_0_4_node_76 | 0.4 | n |  | TRUE
50 | bus_LV_355-20_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_355-20_0_4_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_355-20_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_355-20_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_355-20_0_4_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_355-20_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_355-20_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_355-20_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_355-20_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_355-20_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_355-20_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_355-20_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_355-20_0_4_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_355-20_0_4_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_355-20_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_355-20_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_355-20_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_355-20_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_355-20_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_355-20_0_4_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_355-20_0_4_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_355-20_0_4_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_355-20_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_355-20_0_4_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_355-20_0_4_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_355-20_0_4_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_355-20_0_4_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_355-20_0_4_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_355-20_0_4_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_355-20_0_4_node_79 | 0.4 | n |  | TRUE
80 | bus_MV_55_0_node_147 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-20_0_4_load_0 | 0 | 0.0021196 | 0.00053122 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-20_0_4_load_1 | 1 | 0.0057574 | 0.0014429 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-20_0_4_load_3 | 3 | 0.0044737 | 0.0011212 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-20_0_4_load_10 | 5 | 0.0037886 | 0.00094951 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-20_0_4_load_65 | 7 | 0.0030357 | 0.00076082 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-20_0_4_load_66 | 8 | 0.00042601 | 0.00010677 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-20_0_4_load_5 | 9 | 0.0021043 | 0.00052739 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-20_0_4_load_6 | 10 | 0.00038277 | 9.5931e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-20_0_4_load_8 | 11 | 0.0011789 | 0.00029545 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-20_0_4_load_7 | 12 | 0.00052077 | 0.00013052 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-20_0_4_load_69 | 13 | 0.00038839 | 9.7339e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-20_0_4_load_70 | 16 | 0.01431 | 0.0035864 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-20_0_4_load_12 | 18 | 0.0035073 | 0.00087901 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-20_0_4_load_13 | 19 | 0.0033063 | 0.00082862 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-20_0_4_load_14 | 20 | 0.0032152 | 0.00080579 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-20_0_4_load_15 | 21 | 0.0033868 | 0.0008488 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-20_0_4_load_16 | 22 | 0.0032016 | 0.0008024 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-20_0_4_load_31 | 24 | 0.0031556 | 0.00079088 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-20_0_4_load_74 | 25 | 0.036993 | 0.0092712 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-20_0_4_load_72 | 26 | 0.0034147 | 0.00085581 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-20_0_4_load_32 | 27 | 0.013932 | 0.0034916 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-20_0_4_load_17 | 28 | 0.012157 | 0.0030468 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-20_0_4_load_30 | 30 | 0.013557 | 0.0033977 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-20_0_4_load_19 | 31 | 0.0085795 | 0.0021502 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-20_0_4_load_41 | 34 | 0.026701 | 0.0066918 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-20_0_4_load_35 | 35 | 0.0045713 | 0.0011457 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-20_0_4_load_20 | 36 | 0.01233 | 0.0030902 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-20_0_4_load_22 | 38 | 0.012656 | 0.003172 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-20_0_4_load_24 | 39 | 0.0035775 | 0.00089662 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-20_0_4_load_29 | 40 | 0.014342 | 0.0035945 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-20_0_4_load_71 | 41 | 0.0033793 | 0.00084694 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-20_0_4_load_25 | 42 | 0.0068742 | 0.0017228 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-20_0_4_load_26 | 43 | 0.022353 | 0.0056021 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-20_0_4_load_28 | 44 | 0.02677 | 0.0067091 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-20_0_4_load_68 | 46 | 0.0087321 | 0.0021885 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-20_0_4_load_45 | 47 | 0.0030248 | 0.00075809 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-20_0_4_load_75 | 48 | 0.0032824 | 0.00082265 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-20_0_4_load_76 | 49 | 0.0034788 | 0.00087187 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-20_0_4_load_44 | 50 | 0.0098445 | 0.0024673 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-20_0_4_load_34 | 51 | 0.0040258 | 0.001009 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-20_0_4_load_38 | 53 | 0.016871 | 0.0042283 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-20_0_4_load_39 | 54 | 0.008705 | 0.0021817 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-20_0_4_load_40 | 55 | 0.0056601 | 0.0014186 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-20_0_4_load_42 | 56 | 0.007255 | 0.0018183 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-20_0_4_load_43 | 57 | 0.0059178 | 0.0014831 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-20_0_4_load_48 | 60 | 0.0070744 | 0.001773 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-20_0_4_load_49 | 62 | 0.0070026 | 0.001755 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-20_0_4_load_54 | 63 | 0.012234 | 0.0030662 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-20_0_4_load_50 | 64 | 0.014116 | 0.0035379 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-20_0_4_load_53 | 65 | 0.0052214 | 0.0013086 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-20_0_4_load_52 | 66 | 0.0072138 | 0.0018079 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-20_0_4_load_55 | 67 | 0.0015572 | 0.00039027 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-20_0_4_load_60 | 69 | 0.00072305 | 0.00018121 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-20_0_4_load_59 | 71 | 0.00025487 | 6.3877e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-20_0_4_load_63 | 74 | 0.0014392 | 0.00036069 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-20_0_4_load_80 | 75 | 0.0048051 | 0.0012043 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-20_0_4_load_77 | 77 | 0.0033859 | 0.00084858 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_355-20_0_4_load_78 | 78 | 0.0033598 | 0.00084204 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_355-20_0_4_load_79 | 79 | 0.0034091 | 0.0008544 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-20_0_4_line_0 |  | 0 | 1 | 0.082164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-20_0_4_line_1 |  | 1 | 2 | 0.17308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-20_0_4_line_2 |  | 2 | 3 | 0.043685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-20_0_4_line_3 |  | 2 | 4 | 0.095221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-20_0_4_line_4 |  | 3 | 9 | 0.0034069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-20_0_4_line_5 |  | 4 | 5 | 0.14924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-20_0_4_line_6 |  | 5 | 6 | 0.059705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-20_0_4_line_7 |  | 6 | 15 | 0.061104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-20_0_4_line_8 |  | 6 | 11 | 0.062076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-20_0_4_line_9 |  | 7 | 8 | 0.013392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-20_0_4_line_10 |  | 8 | 76 | 0.066065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-20_0_4_line_11 |  | 9 | 10 | 0.036539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-20_0_4_line_12 |  | 10 | 12 | 0.0092814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_355-20_0_4_line_13 |  | 12 | 13 | 0.18894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-20_0_4_line_14 |  | 13 | 14 | 0.084841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-20_0_4_line_15 |  | 14 | 68 | 0.051708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-20_0_4_line_16 |  | 14 | 72 | 0.04803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-20_0_4_line_17 |  | 15 | 16 | 0.12063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-20_0_4_line_18 |  | 16 | 17 | 0.046376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-20_0_4_line_19 |  | 17 | 40 | 0.030388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_355-20_0_4_line_20 |  | 17 | 37 | 0.050561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_355-20_0_4_line_21 |  | 18 | 19 | 0.0044855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-20_0_4_line_22 |  | 18 | 20 | 0.015036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-20_0_4_line_23 |  | 19 | 21 | 0.0022005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-20_0_4_line_24 |  | 20 | 22 | 0.0057254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-20_0_4_line_25 |  | 21 | 23 | 0.0020104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-20_0_4_line_26 |  | 22 | 24 | 0.0047252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-20_0_4_line_27 |  | 23 | 25 | 0.025402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-20_0_4_line_28 |  | 23 | 26 | 0.0022851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-20_0_4_line_29 |  | 24 | 27 | 0.0032651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_355-20_0_4_line_30 |  | 26 | 41 | 0.0054199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-20_0_4_line_31 |  | 27 | 48 | 0.0024416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-20_0_4_line_32 |  | 28 | 29 | 0.012385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-20_0_4_line_33 |  | 28 | 30 | 0.056671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-20_0_4_line_34 |  | 29 | 31 | 0.033231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-20_0_4_line_35 |  | 29 | 32 | 0.065234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-20_0_4_line_36 |  | 30 | 33 | 0.0030775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-20_0_4_line_37 |  | 31 | 34 | 0.0022495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-20_0_4_line_38 |  | 32 | 35 | 0.017642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-20_0_4_line_39 |  | 33 | 40 | 0.058899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_355-20_0_4_line_40 |  | 33 | 42 | 0.022801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-20_0_4_line_41 |  | 35 | 51 | 0.015998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-20_0_4_line_42 |  | 36 | 37 | 0.019779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-20_0_4_line_43 |  | 36 | 38 | 0.00044813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-20_0_4_line_44 |  | 37 | 39 | 0.028376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-20_0_4_line_45 |  | 39 | 41 | 0.0043412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-20_0_4_line_46 |  | 42 | 43 | 0.024427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_355-20_0_4_line_47 |  | 43 | 44 | 0.047705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_355-20_0_4_line_48 |  | 44 | 45 | 0.094295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-20_0_4_line_49 |  | 45 | 46 | 0.033463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-20_0_4_line_50 |  | 45 | 47 | 0.015586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_355-20_0_4_line_51 |  | 47 | 50 | 0.0042103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_355-20_0_4_line_52 |  | 48 | 49 | 0.016713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_355-20_0_4_line_53 |  | 49 | 77 | 0.0058786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_355-20_0_4_line_54 |  | 50 | 58 | 0.0087276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_355-20_0_4_line_55 |  | 51 | 52 | 0.0082433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-20_0_4_line_56 |  | 52 | 53 | 0.015444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_355-20_0_4_line_57 |  | 52 | 54 | 0.02841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-20_0_4_line_58 |  | 53 | 55 | 0.022553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-20_0_4_line_59 |  | 54 | 56 | 0.022234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_355-20_0_4_line_60 |  | 56 | 57 | 0.0064671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-20_0_4_line_61 |  | 58 | 59 | 0.011877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-20_0_4_line_62 |  | 58 | 60 | 0.012184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_355-20_0_4_line_63 |  | 59 | 61 | 0.01451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-20_0_4_line_64 |  | 59 | 62 | 0.02658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-20_0_4_line_65 |  | 61 | 63 | 0.0080737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_355-20_0_4_line_66 |  | 62 | 64 | 0.024342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_355-20_0_4_line_67 |  | 63 | 65 | 0.012451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_355-20_0_4_line_68 |  | 65 | 66 | 0.00065473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_355-20_0_4_line_69 |  | 67 | 68 | 0.025133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_355-20_0_4_line_70 |  | 68 | 69 | 0.0051102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_355-20_0_4_line_71 |  | 69 | 70 | 0.059189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-20_0_4_line_72 |  | 70 | 71 | 0.062246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-20_0_4_line_73 |  | 72 | 73 | 0.030108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_355-20_0_4_line_74 |  | 72 | 74 | 0.057211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_355-20_0_4_line_75 |  | 73 | 75 | 0.033073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_355-20_0_4_line_76 |  | 73 | 76 | 0.018289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_355-20_0_4_line_77 |  | 77 | 78 | 0.0057733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_355-20_0_4_line_78 |  | 78 | 79 | 0.0057943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-20_0_4_trafo_23 | 0.63 MVA 20/0.4 kV | 80 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2598544.4123 | 1194399.8855 | 2598572.1468 | 1194410.9286 | 2598567.7245 | 1194429.6507 | 2598570.1036 | 1194436.5426 | 2598576.2079 | 1194440.1986 | 2598594.4439 | 1194444.1933
1 | 2598559.5342 | 1194613.7167 | 2598594.4439 | 1194444.1933
2 | 2598559.5342 | 1194613.7167 | 2598573.2415 | 1194613.2574 | 2598591.0036 | 1194617.6442 | 2598601.0403 | 1194623.6068
3 | 2598559.5342 | 1194613.7167 | 2598546.4594 | 1194614.2981 | 2598534.8172 | 1194615.7796 | 2598486.9234 | 1194623.8297 | 2598465.3692 | 1194628.7158
4 | 2598601.0403 | 1194623.6068 | 2598603.9693 | 1194625.3469
5 | 2598472.6476 | 1194777.7815 | 2598465.3692 | 1194628.7158
6 | 2598449.4682 | 1194827.981 | 2598458.5466 | 1194785.9563 | 2598463.4827 | 1194781.4304 | 2598467.7797 | 1194780.6399 | 2598468.9148 | 1194779.9504 | 2598472.6476 | 1194777.7815
7 | 2598449.4682 | 1194827.981 | 2598405.6118 | 1194853.9068 | 2598396.1728 | 1194858.0005
8 | 2598449.4682 | 1194827.981 | 2598487.5588 | 1194807.5822 | 2598495.3817 | 1194799.9317 | 2598498.0006 | 1194792.4514
9 | 2598835.6804 | 1194655.7763 | 2598832.6547 | 1194668.8216
10 | 2598833.9286 | 1194734.2505 | 2598829.1104 | 1194684.1028 | 2598832.6547 | 1194668.8216
11 | 2598603.9693 | 1194625.3469 | 2598606.0237 | 1194626.5674 | 2598616.571 | 1194634.558 | 2598619.0648 | 1194643.8956 | 2598622.868 | 1194648.4527 | 2598627.7604 | 1194650.5326
12 | 2598627.7604 | 1194650.5326 | 2598636.3019 | 1194654.1639
13 | 2598710.4399 | 1194827.9553 | 2598636.3019 | 1194654.1639
14 | 2598784.9253 | 1194788.4229 | 2598776.1026 | 1194790.2813 | 2598753.6281 | 1194800.8474 | 2598710.4399 | 1194827.9553
15 | 2598773.5896 | 1194831.7371 | 2598772.1908 | 1194810.8931 | 2598776.0679 | 1194806.0007 | 2598781.9952 | 1194804.0651 | 2598787.5104 | 1194798.8723 | 2598784.9253 | 1194788.4229
16 | 2598832.3536 | 1194781.1534 | 2598812.5668 | 1194783.2476 | 2598801.4735 | 1194784.9397 | 2598784.9253 | 1194788.4229
17 | 2598396.1728 | 1194858.0005 | 2598396.9376 | 1194868.2501 | 2598397.65 | 1194882.035 | 2598397.5715 | 1194900.8783 | 2598397.1329 | 1194912.618 | 2598394.5039 | 1194938.488 | 2598390.8393 | 1194965.8368 | 2598388.6303 | 1194977.9966
18 | 2598380.3414 | 1195023.6259 | 2598388.6303 | 1194977.9966
19 | 2598380.3414 | 1195023.6259 | 2598375.1268 | 1195053.5634
20 | 2598329.9102 | 1195018.8045 | 2598349.3159 | 1195019.666 | 2598365.3162 | 1195021.429 | 2598380.3414 | 1195023.6259
21 | 2598285.6193 | 1195023.6608 | 2598281.2921 | 1195024.842
22 | 2598266.9312 | 1195029.25 | 2598271.9478 | 1195027.3929 | 2598281.2921 | 1195024.842
23 | 2598287.7425 | 1195023.0832 | 2598287.7253 | 1195023.0859 | 2598285.6193 | 1195023.6608
24 | 2598261.5619 | 1195031.2376 | 2598266.9312 | 1195029.25
25 | 2598289.729 | 1195022.774 | 2598287.7425 | 1195023.0832
26 | 2598261.5619 | 1195031.2376 | 2598257.1306 | 1195032.878
27 | 2598289.729 | 1195022.774 | 2598301.5069 | 1195045.2935
28 | 2598289.729 | 1195022.774 | 2598291.9869 | 1195022.4224
29 | 2598257.1306 | 1195032.878 | 2598257.1306 | 1195032.878 | 2598254.1682 | 1195034.2508
30 | 2598297.3423 | 1195021.5884 | 2598291.9869 | 1195022.4224
31 | 2598251.9529 | 1195035.2774 | 2598254.1682 | 1195034.2508
32 | 2598304.4929 | 1195146.0682 | 2598316.8663 | 1195145.5304
33 | 2598364.3466 | 1195114.5921 | 2598316.8663 | 1195145.5304
34 | 2598304.4929 | 1195146.0682 | 2598291.7258 | 1195126.9841 | 2598294.5803 | 1195118.4009 | 2598295.5308 | 1195117.6286
35 | 2598340.5684 | 1195200.4197 | 2598304.4929 | 1195146.0682
36 | 2598365.0143 | 1195111.5879 | 2598364.3466 | 1195114.5921
37 | 2598297.2767 | 1195116.2101 | 2598295.5308 | 1195117.6286
38 | 2598340.5684 | 1195200.4197 | 2598358.2057 | 1195200.026
39 | 2598365.0143 | 1195111.5879 | 2598369.2511 | 1195087.296 | 2598375.1268 | 1195053.5634
40 | 2598365.0143 | 1195111.5879 | 2598372.0693 | 1195111.219 | 2598383.7251 | 1195107.8806 | 2598386.2694 | 1195105.3168
41 | 2598374.1994 | 1195199.669 | 2598358.2057 | 1195200.026
42 | 2598329.9102 | 1195018.8045 | 2598323.6668 | 1195007.089 | 2598329.5322 | 1195004.2792
43 | 2598329.9364 | 1195004.0856 | 2598329.5322 | 1195004.2792
44 | 2598329.9102 | 1195018.8045 | 2598316.6 | 1195019.3086 | 2598302.8177 | 1195020.7357 | 2598301.6318 | 1195020.9204
45 | 2598301.6318 | 1195020.9204 | 2598297.3423 | 1195021.5884
46 | 2598386.2694 | 1195105.3168 | 2598403.4758 | 1195087.9779
47 | 2598403.4758 | 1195087.9779 | 2598437.0791 | 1195054.1159
48 | 2598503.4997 | 1194987.1841 | 2598437.0791 | 1195054.1159
49 | 2598503.4997 | 1194987.1841 | 2598527.0706 | 1194963.4315
50 | 2598503.4997 | 1194987.1841 | 2598492.8057 | 1194975.8459
51 | 2598489.9169 | 1194972.783 | 2598492.8057 | 1194975.8459
52 | 2598251.9529 | 1195035.2774 | 2598238.7183 | 1195041.4104 | 2598236.9084 | 1195042.5267
53 | 2598236.9084 | 1195042.5267 | 2598231.905 | 1195045.6128
54 | 2598483.9286 | 1194966.4339 | 2598489.9169 | 1194972.783
55 | 2598382.4406 | 1195199.485 | 2598374.1994 | 1195199.669
56 | 2598382.4406 | 1195199.485 | 2598397.8707 | 1195198.8403
57 | 2598382.4406 | 1195199.485 | 2598393.7009 | 1195173.4015
58 | 2598420.404 | 1195197.8988 | 2598397.8707 | 1195198.8403
59 | 2598393.7009 | 1195173.4015 | 2598402.5132 | 1195152.9884
60 | 2598405.0764 | 1195147.0509 | 2598402.5132 | 1195152.9884
61 | 2598483.9286 | 1194966.4339 | 2598475.5499 | 1194974.8739
62 | 2598475.5529 | 1194957.5647 | 2598483.9286 | 1194966.4339
63 | 2598465.0155 | 1194984.882 | 2598475.5499 | 1194974.8739
64 | 2598475.5499 | 1194974.8739 | 2598456.8851 | 1194955.9503
65 | 2598465.0155 | 1194984.882 | 2598459.1589 | 1194990.4394
66 | 2598439.7916 | 1194938.6199 | 2598456.8851 | 1194955.9503
67 | 2598459.1589 | 1194990.4394 | 2598450.1269 | 1194999.0099
68 | 2598449.652 | 1194999.4605 | 2598450.1269 | 1194999.0099
69 | 2598773.5896 | 1194831.7371 | 2598798.6655 | 1194830.0489
70 | 2598773.5896 | 1194831.7371 | 2598773.9306 | 1194836.8359
71 | 2598813.7907 | 1194878.3198 | 2598808.3722 | 1194872.5179 | 2598781.396 | 1194851.6348 | 2598778.2256 | 1194848.1781 | 2598774.2394 | 1194841.4532 | 2598773.9306 | 1194836.8359
72 | 2598813.7907 | 1194878.3198 | 2598817.8831 | 1194882.699 | 2598829.1243 | 1194897.46 | 2598835.8701 | 1194911.3215 | 2598839.3465 | 1194921.2928 | 2598842.0324 | 1194932.7039
73 | 2598835.7077 | 1194752.4487 | 2598837.5783 | 1194771.4139 | 2598832.3536 | 1194781.1534
74 | 2598832.3536 | 1194781.1534 | 2598834.4655 | 1194787.8121 | 2598839.45 | 1194795.1483 | 2598844.0223 | 1194799.016 | 2598851.0708 | 1194802.4053 | 2598869.6858 | 1194808.5047 | 2598877.5311 | 1194809.8359
75 | 2598835.7077 | 1194752.4487 | 2598803.545 | 1194744.3623
76 | 2598835.7077 | 1194752.4487 | 2598833.9286 | 1194734.2505
77 | 2598231.905 | 1195045.6128 | 2598226.9913 | 1195048.6435
78 | 2598226.9913 | 1195048.6435 | 2598222.0597 | 1195051.6853

## bus_geodata
| x | y | coords
0 | 2598544.4123 | 1194399.8855
1 | 2598594.4439 | 1194444.1933
2 | 2598559.5342 | 1194613.7167
3 | 2598601.0403 | 1194623.6068
4 | 2598465.3692 | 1194628.7158
5 | 2598472.6476 | 1194777.7815
6 | 2598449.4683 | 1194827.981
7 | 2598835.6804 | 1194655.7763
8 | 2598832.6547 | 1194668.8216
9 | 2598603.9693 | 1194625.3469
10 | 2598627.7604 | 1194650.5326
11 | 2598498.0006 | 1194792.4514
12 | 2598636.3019 | 1194654.1639
13 | 2598710.4399 | 1194827.9553
14 | 2598784.9253 | 1194788.4229
15 | 2598396.1728 | 1194858.0005
16 | 2598388.6303 | 1194977.9966
17 | 2598380.3414 | 1195023.6259
18 | 2598281.2921 | 1195024.842
19 | 2598285.6193 | 1195023.6608
20 | 2598266.9312 | 1195029.2499
21 | 2598287.7425 | 1195023.0832
22 | 2598261.5619 | 1195031.2376
23 | 2598289.729 | 1195022.774
24 | 2598257.1306 | 1195032.878
25 | 2598301.507 | 1195045.2935
26 | 2598291.9869 | 1195022.4224
27 | 2598254.1682 | 1195034.2508
28 | 2598316.8663 | 1195145.5304
29 | 2598304.4929 | 1195146.0682
30 | 2598364.3466 | 1195114.5921
31 | 2598295.5308 | 1195117.6286
32 | 2598340.5684 | 1195200.4197
33 | 2598365.0143 | 1195111.5879
34 | 2598297.2767 | 1195116.2101
35 | 2598358.2057 | 1195200.026
36 | 2598329.5322 | 1195004.2792
37 | 2598329.9102 | 1195018.8045
38 | 2598329.9364 | 1195004.0856
39 | 2598301.6318 | 1195020.9204
40 | 2598375.1268 | 1195053.5634
41 | 2598297.3423 | 1195021.5884
42 | 2598386.2694 | 1195105.3168
43 | 2598403.4758 | 1195087.9779
44 | 2598437.0791 | 1195054.1159
45 | 2598503.4997 | 1194987.1841
46 | 2598527.0706 | 1194963.4315
47 | 2598492.8057 | 1194975.8459
48 | 2598251.9529 | 1195035.2774
49 | 2598236.9084 | 1195042.5267
50 | 2598489.9169 | 1194972.783
51 | 2598374.1994 | 1195199.669
52 | 2598382.4406 | 1195199.485
53 | 2598397.8707 | 1195198.8403
54 | 2598393.7009 | 1195173.4015
55 | 2598420.404 | 1195197.8988
56 | 2598402.5132 | 1195152.9884
57 | 2598405.0764 | 1195147.0509
58 | 2598483.9286 | 1194966.4339
59 | 2598475.5499 | 1194974.8739
60 | 2598475.5529 | 1194957.5647
61 | 2598465.0155 | 1194984.882
62 | 2598456.8851 | 1194955.9503
63 | 2598459.1589 | 1194990.4394
64 | 2598439.7916 | 1194938.6199
65 | 2598450.1269 | 1194999.0099
66 | 2598449.652 | 1194999.4605
67 | 2598798.6655 | 1194830.0489
68 | 2598773.5896 | 1194831.7371
69 | 2598773.9306 | 1194836.8359
70 | 2598813.7907 | 1194878.3198
71 | 2598842.0324 | 1194932.7039
72 | 2598832.3536 | 1194781.1534
73 | 2598835.7077 | 1194752.4487
74 | 2598877.5311 | 1194809.8359
75 | 2598803.545 | 1194744.3623
76 | 2598833.9286 | 1194734.2505
77 | 2598231.905 | 1195045.6128
78 | 2598226.9913 | 1195048.6435
79 | 2598222.0597 | 1195051.6853
80 | 2598329.9102 | 1195018.8045

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1