## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-21_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-21_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-21_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-21_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_355-21_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_355-21_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_355-21_0_2_node_62 | 0.4 | n |  | TRUE
7 | bus_LV_355-21_0_2_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_355-21_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_355-21_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_355-21_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_355-21_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_355-21_0_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_355-21_0_2_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_355-21_0_2_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_355-21_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_355-21_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_355-21_0_2_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_355-21_0_2_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_355-21_0_2_node_68 | 0.4 | n |  | TRUE
20 | bus_LV_355-21_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_355-21_0_2_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_355-21_0_2_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_355-21_0_2_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_355-21_0_2_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_355-21_0_2_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_355-21_0_2_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_355-21_0_2_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_355-21_0_2_node_71 | 0.4 | n |  | TRUE
29 | bus_LV_355-21_0_2_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_355-21_0_2_node_70 | 0.4 | n |  | TRUE
31 | bus_LV_355-21_0_2_node_67 | 0.4 | n |  | TRUE
32 | bus_LV_355-21_0_2_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_355-21_0_2_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_355-21_0_2_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_355-21_0_2_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_355-21_0_2_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_355-21_0_2_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_355-21_0_2_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_355-21_0_2_node_15 | 0.4 | n |  | TRUE
40 | bus_LV_355-21_0_2_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_355-21_0_2_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_355-21_0_2_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_355-21_0_2_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_355-21_0_2_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_355-21_0_2_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_355-21_0_2_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_355-21_0_2_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_355-21_0_2_node_83 | 0.4 | n |  | TRUE
49 | bus_LV_355-21_0_2_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_355-21_0_2_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_355-21_0_2_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_355-21_0_2_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_355-21_0_2_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_355-21_0_2_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_355-21_0_2_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_355-21_0_2_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_355-21_0_2_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_355-21_0_2_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_355-21_0_2_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_355-21_0_2_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_355-21_0_2_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_355-21_0_2_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_355-21_0_2_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_355-21_0_2_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_355-21_0_2_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_355-21_0_2_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_355-21_0_2_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_355-21_0_2_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_355-21_0_2_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_355-21_0_2_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_355-21_0_2_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_355-21_0_2_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_355-21_0_2_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_355-21_0_2_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_355-21_0_2_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_355-21_0_2_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_355-21_0_2_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_355-21_0_2_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_355-21_0_2_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_355-21_0_2_node_80 | 0.4 | n |  | TRUE
81 | bus_MV_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-21_0_2_load_0 | 0 | 0.0040537 | 0.001016 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-21_0_2_load_1 | 1 | 0.00075855 | 0.00019011 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-21_0_2_load_3 | 3 | 0.00074834 | 0.00018755 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-21_0_2_load_5 | 5 | 0.0033002 | 0.0008271 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-21_0_2_load_62 | 6 | 0.0016859 | 0.00042253 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-21_0_2_load_44 | 7 | 0.00034829 | 8.7289e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-21_0_2_load_6 | 8 | 0.00058477 | 0.00014656 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-21_0_2_load_7 | 9 | 0.00025808 | 6.468e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-21_0_2_load_9 | 11 | 0.00018562 | 4.652e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-21_0_2_load_32 | 14 | 0.00022116 | 5.5428e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-21_0_2_load_40 | 17 | 0.00090541 | 0.00022692 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-21_0_2_load_41 | 18 | 0.00020701 | 5.1881e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-21_0_2_load_68 | 19 | 0.0012933 | 0.00032413 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-21_0_2_load_61 | 21 | 0.0005352 | 0.00013413 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-21_0_2_load_19 | 22 | 0.0006319 | 0.00015837 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-21_0_2_load_30 | 24 | 0.00035178 | 8.8164e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-21_0_2_load_33 | 25 | 0.00030548 | 7.656e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-21_0_2_load_38 | 26 | 0.00062353 | 0.00015627 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-21_0_2_load_42 | 27 | 0.00098179 | 0.00024606 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-21_0_2_load_70 | 30 | 0.00071568 | 0.00017937 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-21_0_2_load_67 | 31 | 0.0017174 | 0.00043041 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-21_0_2_load_35 | 32 | 0.00086393 | 0.00021652 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-21_0_2_load_16 | 35 | 0.00021536 | 5.3975e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-21_0_2_load_23 | 37 | 0.00032837 | 8.2298e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-21_0_2_load_15 | 39 | 0.00044109 | 0.00011055 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-21_0_2_load_20 | 40 | 0.0084025 | 0.0021059 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-21_0_2_load_74 | 41 | 0.00021028 | 5.2701e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-21_0_2_load_72 | 42 | 0.00024351 | 6.103e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-21_0_2_load_22 | 43 | 0.00081346 | 0.00020387 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-21_0_2_load_24 | 44 | 0.00057152 | 0.00014324 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-21_0_2_load_56 | 47 | 0.0010259 | 0.00025713 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-21_0_2_load_83 | 48 | 0.00031523 | 7.9004e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-21_0_2_load_28 | 50 | 0.0004259 | 0.00010674 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-21_0_2_load_31 | 51 | 0.00084546 | 0.00021189 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-21_0_2_load_34 | 52 | 0.00025329 | 6.3479e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-21_0_2_load_36 | 53 | 0.0011025 | 0.00027631 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-21_0_2_load_37 | 54 | 0.0018503 | 0.00046372 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-21_0_2_load_39 | 55 | 0.00083754 | 0.00020991 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-21_0_2_load_43 | 56 | 0.000296 | 7.4186e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-21_0_2_load_63 | 57 | 0.0012059 | 0.00030222 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-21_0_2_load_64 | 58 | 0.0008729 | 0.00021877 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-21_0_2_load_45 | 59 | 0.00022562 | 5.6546e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-21_0_2_load_46 | 60 | 0.00021437 | 5.3725e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-21_0_2_load_51 | 62 | 0.0016699 | 0.00041851 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-21_0_2_load_49 | 63 | 0.00031993 | 8.0182e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-21_0_2_load_66 | 64 | 0.00043027 | 0.00010784 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-21_0_2_load_53 | 66 | 0.00064629 | 0.00016198 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-21_0_2_load_60 | 67 | 0.00021907 | 5.4903e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-21_0_2_load_52 | 69 | 0.00097004 | 0.00024312 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-21_0_2_load_57 | 71 | 0.00020133 | 5.0457e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-21_0_2_load_58 | 72 | 0.00046965 | 0.0001177 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-21_0_2_load_69 | 73 | 0.0010939 | 0.00027417 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-21_0_2_load_73 | 74 | 0.0008443 | 0.0002116 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-21_0_2_load_75 | 75 | 0.00044741 | 0.00011213 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-21_0_2_load_76 | 76 | 0.00067663 | 0.00016958 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-21_0_2_load_77 | 77 | 0.0022542 | 0.00056496 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-21_0_2_load_78 | 78 | 0.00031846 | 7.9812e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_355-21_0_2_load_79 | 79 | 0.00029846 | 7.48e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_355-21_0_2_load_80 | 80 | 0.0004624 | 0.00011589 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-21_0_2_line_0 |  | 0 | 1 | 0.04183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-21_0_2_line_1 |  | 0 | 2 | 0.056272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-21_0_2_line_2 |  | 1 | 3 | 0.012368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-21_0_2_line_3 |  | 2 | 4 | 0.54604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-21_0_2_line_4 |  | 3 | 5 | 0.028872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-21_0_2_line_5 |  | 4 | 6 | 0.1284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-21_0_2_line_6 |  | 6 | 7 | 0.01965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-21_0_2_line_7 |  | 7 | 55 | 0.00042052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-21_0_2_line_8 |  | 8 | 9 | 0.036834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-21_0_2_line_9 |  | 8 | 10 | 0.036605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-21_0_2_line_10 |  | 9 | 11 | 0.027927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-21_0_2_line_11 |  | 10 | 12 | 0.021664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-21_0_2_line_12 |  | 10 | 13 | 0.37833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_355-21_0_2_line_13 |  | 11 | 14 | 0.0049413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-21_0_2_line_14 |  | 12 | 19 | 0.020224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-21_0_2_line_15 |  | 13 | 23 | 0.21232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-21_0_2_line_16 |  | 13 | 24 | 0.017148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-21_0_2_line_17 |  | 14 | 25 | 0.0064136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-21_0_2_line_18 |  | 15 | 16 | 0.006103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-21_0_2_line_19 |  | 15 | 17 | 0.017488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_355-21_0_2_line_20 |  | 16 | 18 | 0.02616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_355-21_0_2_line_21 |  | 17 | 26 | 0.01003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-21_0_2_line_22 |  | 18 | 27 | 0.023395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-21_0_2_line_23 |  | 19 | 31 | 0.028552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-21_0_2_line_24 |  | 20 | 21 | 0.017295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-21_0_2_line_25 |  | 20 | 22 | 0.061039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-21_0_2_line_26 |  | 21 | 32 | 0.025603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-21_0_2_line_27 |  | 22 | 36 | 0.17699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-21_0_2_line_28 |  | 23 | 37 | 0.10817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-21_0_2_line_29 |  | 24 | 38 | 0.24285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_355-21_0_2_line_30 |  | 25 | 52 | 0.028099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-21_0_2_line_31 |  | 26 | 53 | 0.0023487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-21_0_2_line_32 |  | 27 | 56 | 0.024576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-21_0_2_line_33 |  | 28 | 29 | 0.050803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-21_0_2_line_34 |  | 28 | 30 | 0.0061572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-21_0_2_line_35 |  | 29 | 58 | 0.025945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-21_0_2_line_36 |  | 29 | 64 | 0.023103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-21_0_2_line_37 |  | 30 | 73 | 0.025944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-21_0_2_line_38 |  | 31 | 73 | 8.5121e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-21_0_2_line_39 |  | 32 | 52 | 0.012121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-21_0_2_line_40 |  | 33 | 34 | 0.40925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-21_0_2_line_41 |  | 33 | 35 | 0.10467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-21_0_2_line_42 |  | 34 | 41 | 0.15024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-21_0_2_line_43 |  | 35 | 39 | 0.040175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-21_0_2_line_44 |  | 36 | 40 | 0.042391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-21_0_2_line_45 |  | 36 | 39 | 0.022182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-21_0_2_line_46 |  | 37 | 43 | 0.046529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_355-21_0_2_line_47 |  | 38 | 51 | 0.034599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_355-21_0_2_line_48 |  | 38 | 50 | 0.019681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-21_0_2_line_49 |  | 41 | 42 | 0.035505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-21_0_2_line_50 |  | 42 | 74 | 0.0096996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_355-21_0_2_line_51 |  | 43 | 44 | 0.28272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_355-21_0_2_line_52 |  | 44 | 45 | 0.38623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_355-21_0_2_line_53 |  | 45 | 46 | 0.34797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_355-21_0_2_line_54 |  | 46 | 47 | 0.44563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_355-21_0_2_line_55 |  | 46 | 48 | 0.1638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-21_0_2_line_56 |  | 47 | 49 | 0.0072871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_355-21_0_2_line_57 |  | 49 | 69 | 0.026615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-21_0_2_line_58 |  | 53 | 54 | 0.0083351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-21_0_2_line_59 |  | 54 | 55 | 0.002481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_355-21_0_2_line_60 |  | 56 | 57 | 0.0050245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-21_0_2_line_61 |  | 57 | 58 | 0.0071736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-21_0_2_line_62 |  | 59 | 60 | 0.0070425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_355-21_0_2_line_63 |  | 60 | 61 | 0.020707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-21_0_2_line_64 |  | 61 | 62 | 0.015961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-21_0_2_line_65 |  | 62 | 68 | 0.018259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_355-21_0_2_line_66 |  | 63 | 64 | 0.0049092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_355-21_0_2_line_67 |  | 65 | 66 | 0.011422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_355-21_0_2_line_68 |  | 65 | 67 | 0.0052828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_355-21_0_2_line_69 |  | 66 | 69 | 0.010338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_355-21_0_2_line_70 |  | 67 | 68 | 0.011912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_355-21_0_2_line_71 |  | 68 | 70 | 0.020793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-21_0_2_line_72 |  | 70 | 71 | 0.0089347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-21_0_2_line_73 |  | 71 | 72 | 0.016728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_355-21_0_2_line_74 |  | 74 | 75 | 0.0072763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_355-21_0_2_line_75 |  | 75 | 76 | 0.0043372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_355-21_0_2_line_76 |  | 75 | 77 | 0.24794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_355-21_0_2_line_77 |  | 77 | 78 | 0.0079679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_355-21_0_2_line_78 |  | 78 | 79 | 0.034833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_355-21_0_2_line_79 |  | 79 | 80 | 0.0020993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-21_0_2_trafo_33 | 0.63 MVA 20/0.4 kV | 81 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36
0 | 2598470.641 | 1194289.7309 | 2598472.2274 | 1194289.6349 | 2598481.3409 | 1194290.2328 | 2598490.0051 | 1194291.5645 | 2598506.5944 | 1194295.0286 | 2598511.9644 | 1194295.5383
1 | 2598414.4694 | 1194292.4188 | 2598425.4117 | 1194292.6937 | 2598455.0753 | 1194290.6734 | 2598470.641 | 1194289.7309
2 | 2598511.9644 | 1194295.5383 | 2598515.8223 | 1194295.9045 | 2598521.6054 | 1194294.291 | 2598523.7236 | 1194292.9849
3 | 2598414.4694 | 1194292.4188 | 2598416.477 | 1194277.7771 | 2598417.5944 | 1194267.8605 | 2598418.3231 | 1194257.7661 | 2598419.7806 | 1194237.7329 | 2598420.3045 | 1194230.9403 | 2598422.4137 | 1194197.9667 | 2598425.1917 | 1194158.1783 | 2598426.5654 | 1194138.2229 | 2598427.4466 | 1194128.184 | 2598428.8078 | 1194118.2451 | 2598430.954 | 1194108.217 | 2598433.3592 | 1194098.2222 | 2598437.0214 | 1194087.1153 | 2598439.2831 | 1194081.7007 | 2598441.8496 | 1194076.1304 | 2598450.213 | 1194063.188 | 2598454.9435 | 1194057.0501 | 2598460.1007 | 1194051.179 | 2598467.4675 | 1194043.9732 | 2598476.4577 | 1194037.723 | 2598504.9907 | 1194019.9839 | 2598515.3521 | 1194012.1104 | 2598526.1784 | 1194003.8921 | 2598530.1782 | 1194000.7116 | 2598533.911 | 1193996.5863 | 2598537.5828 | 1193992.0051 | 2598540.7897 | 1193987.224 | 2598544.6058 | 1193980.4306 | 2598548.1017 | 1193973.6483 | 2598552.8997 | 1193962.6302 | 2598557.4766 | 1193951.3008 | 2598564.6804 | 1193931.1217 | 2598567.6882 | 1193922.2385 | 2598577.0229 | 1193891.1086 | 2598584.8271 | 1193864.0924 | 2598601.448 | 1193805.2128
4 | 2598548.1207 | 1194282.0455 | 2598545.94 | 1194281.478 | 2598540.5069 | 1194280.8457 | 2598536.3391 | 1194281.9473 | 2598527.2508 | 1194290.8099 | 2598523.7236 | 1194292.9849
5 | 2598601.448 | 1193805.2128 | 2598613.1274 | 1193762.5986 | 2598621.1069 | 1193734.215 | 2598628.8195 | 1193705.2534 | 2598632.4197 | 1193686.9207 | 2598633.2915 | 1193680.908
6 | 2598633.2915 | 1193680.908 | 2598633.9108 | 1193676.6371 | 2598635.4395 | 1193663.7411 | 2598635.6737 | 1193661.4047
7 | 2598635.7156 | 1193660.9862 | 2598635.6737 | 1193661.4047
8 | 2598519.4749 | 1193479.2664 | 2598535.5528 | 1193476.3338 | 2598554.9015 | 1193473.4051 | 2598555.8215 | 1193473.3493
9 | 2598591.788 | 1193478.4096 | 2598590.7515 | 1193478.1986 | 2598579.3043 | 1193475.9114 | 2598565.9517 | 1193472.7353 | 2598555.8215 | 1193473.3493
10 | 2598519.4749 | 1193479.2664 | 2598502.6548 | 1193482.3344 | 2598491.9806 | 1193484.1612
11 | 2598591.788 | 1193478.4096 | 2598596.5742 | 1193479.4756 | 2598598.3509 | 1193483.3884 | 2598610.2615 | 1193479.7169
12 | 2598534.5448 | 1193113.3652 | 2598536.2784 | 1193127.1609 | 2598537.5088 | 1193139.934 | 2598536.7128 | 1193156.6874 | 2598530.9319 | 1193200.3563 | 2598529.1384 | 1193220.2451 | 2598528.6311 | 1193233.2409 | 2598529.4674 | 1193254.5853 | 2598530.3166 | 1193267.4696 | 2598531.4174 | 1193280.3984 | 2598533.0668 | 1193292.9379 | 2598534.9601 | 1193305.4217 | 2598536.6927 | 1193315.5155 | 2598538.6463 | 1193325.5536 | 2598540.6302 | 1193335.0915 | 2598537.9029 | 1193339.4278 | 2598537.1792 | 1193340.4285 | 2598538.6212 | 1193346.7203 | 2598540.3453 | 1193353.4234 | 2598541.4286 | 1193357.6698 | 2598543.9074 | 1193365.6289 | 2598548.5142 | 1193379.7685 | 2598551.5951 | 1193387.7831 | 2598554.0278 | 1193393.919 | 2598560.6238 | 1193409.1698 | 2598568.783 | 1193427.7887 | 2598581.8604 | 1193457.5678 | 2598591.788 | 1193478.4096
13 | 2598487.1101 | 1193484.9947 | 2598491.9806 | 1193484.1612
14 | 2598610.2615 | 1193479.7169 | 2598629.2816 | 1193472.8419
15 | 2598534.5448 | 1193113.3652 | 2598531.7378 | 1193104.0165 | 2598528.7403 | 1193095.3016 | 2598520.4741 | 1193077.5944 | 2598508.7548 | 1193057.7871 | 2598498.171 | 1193038.0572 | 2598493.1609 | 1193027.6086 | 2598487.0826 | 1193012.5912 | 2598474.6487 | 1192971.8953 | 2598468.4398 | 1192953.5874 | 2598460.6915 | 1192935.8468 | 2598451.1218 | 1192918.9405
16 | 2598534.5448 | 1193113.3652 | 2598551.6903 | 1193113.6417
17 | 2598487.1101 | 1193484.9947 | 2598480.7885 | 1193486.0766
18 | 2598640.1068 | 1193614.4139 | 2598639.7729 | 1193620.5061
19 | 2598639.7729 | 1193620.5061 | 2598638.0288 | 1193637.9071
20 | 2598640.1068 | 1193614.4139 | 2598644.9681 | 1193611.5446 | 2598654.2331 | 1193603.6605 | 2598659.3089 | 1193597.0311
21 | 2598638.0288 | 1193637.9071 | 2598637.0285 | 1193647.887
22 | 2598659.3089 | 1193597.0311 | 2598671.7707 | 1193580.7554 | 2598673.6843 | 1193578.5814
23 | 2598655.0174 | 1193485.2068 | 2598629.2816 | 1193472.8419 | 2598629.2816 | 1193472.8419
24 | 2598402.2872 | 1193481.5834 | 2598409.5442 | 1193488.1738 | 2598413.7059 | 1193490.9185 | 2598416.1183 | 1193491.6015
25 | 2598402.2872 | 1193481.5834 | 2598397.3114 | 1193483.7638 | 2598390.3082 | 1193485.2109 | 2598382.634 | 1193485.6911 | 2598374.4488 | 1193484.2927 | 2598362.3153 | 1193480.7387 | 2598343.5902 | 1193474.2448
26 | 2598440.8398 | 1193487.4824 | 2598436.5373 | 1193487.6438 | 2598425.4576 | 1193491.7935 | 2598418.7666 | 1193492.3512 | 2598416.1183 | 1193491.6015
27 | 2598172.2879 | 1193504.9088 | 2598290.0893 | 1193471.9886 | 2598302.8764 | 1193469.2166 | 2598314.1168 | 1193467.8904 | 2598328.0255 | 1193469.5427 | 2598337.621 | 1193472.1747 | 2598343.5902 | 1193474.2448
28 | 2598451.1218 | 1192918.9405 | 2598472.7273 | 1192940.7906 | 2598503.7787 | 1192973.5107 | 2598512.6143 | 1192982.1129 | 2598519.3453 | 1192986.4912 | 2598526.1825 | 1192988.8685 | 2598530.6837 | 1192990.3359
29 | 2598694.3331 | 1193205.3191 | 2598706.5646 | 1193202.8149 | 2598715.3361 | 1193200.2783 | 2598722.2631 | 1193196.7193 | 2598725.0058 | 1193192.85 | 2598726.7349 | 1193188.6362 | 2598727.2673 | 1193183.8114 | 2598727.1443 | 1193178.7643 | 2598725.9542 | 1193173.5952 | 2598724.2765 | 1193169.3044 | 2598721.0441 | 1193164.8472 | 2598716.615 | 1193159.9456 | 2598712.4988 | 1193156.9895 | 2598707.9864 | 1193154.6448 | 2598698.0549 | 1193150.6005 | 2598671.2865 | 1193140.8016 | 2598607.2555 | 1193124.2193 | 2598589.1918 | 1193119.8659 | 2598573.7118 | 1193116.0789 | 2598563.6283 | 1193114.5139 | 2598553.545 | 1193113.6716 | 2598551.6903 | 1193113.6417
30 | 2598480.7885 | 1193486.0766 | 2598477.3469 | 1193486.6656 | 2598462.8906 | 1193488.4593 | 2598452.9525 | 1193487.0279
31 | 2598636.7943 | 1193650.2241 | 2598637.0285 | 1193647.887
32 | 2598689.9224 | 1193560.1339 | 2598673.6843 | 1193578.5814
33 | 2598682.1621 | 1193501.0109 | 2598687.664 | 1193499.2643 | 2598689.691 | 1193498.4856 | 2598690.1025 | 1193498.3966 | 2598712.415 | 1193525.3501 | 2598715.7544 | 1193532.0751
34 | 2598682.1621 | 1193501.0109 | 2598680.439 | 1193497.4205 | 2598678.4787 | 1193496.4788
35 | 2598715.7544 | 1193532.0751 | 2598710.7944 | 1193537.1678 | 2598698.121 | 1193551.102
36 | 2598715.7544 | 1193532.0751 | 2598718.5891 | 1193530.8183 | 2598733.8148 | 1193527.691 | 2598738.2732 | 1193527.7231
37 | 2598678.4787 | 1193496.4788 | 2598655.0942 | 1193485.2436
38 | 2598655.0942 | 1193485.2436 | 2598655.0174 | 1193485.2068
39 | 2598452.9525 | 1193487.0279 | 2598452.9525 | 1193487.0279 | 2598440.8398 | 1193487.4824
40 | 2597965.0054 | 1193217.9939 | 2597973.8943 | 1193225.4058 | 2597982.22 | 1193234.6633 | 2597987.7713 | 1193243.4549 | 2597980.1353 | 1193266.6697 | 2597970.0898 | 1193285.9946 | 2597958.5969 | 1193307.1208 | 2597947.1034 | 1193326.0905 | 2597943.9351 | 1193331.8613 | 2597941.8567 | 1193337.9097 | 2597934.0739 | 1193354.7102 | 2597925.1981 | 1193362.3841 | 2597913.5178 | 1193370.159 | 2597902.1957 | 1193377.7449 | 2597895.226 | 1193387.586 | 2597894.5978 | 1193399.4146 | 2597898.1377 | 1193409.6187 | 2597903.4826 | 1193416.7428 | 2597912.2655 | 1193426.6782 | 2597924.5005 | 1193435.7897 | 2597936.9089 | 1193439.8429 | 2597959.7346 | 1193442.5473 | 2597971.3257 | 1193441.2759 | 2597986.9027 | 1193440.6368 | 2598011.2672 | 1193441.451 | 2598029.1083 | 1193442.6121 | 2598051.0264 | 1193443.4162 | 2598060.3541 | 1193442.3347 | 2598062.2665 | 1193440.7332
41 | 2598062.2665 | 1193440.7332 | 2598068.7273 | 1193458.1958 | 2598153.8186 | 1193445.35 | 2598153.8186 | 1193445.35
42 | 2597965.0054 | 1193217.9939 | 2597928.1178 | 1193194.6836 | 2597914.2423 | 1193181.6039 | 2597882.0309 | 1193150.4437 | 2597873.4007 | 1193142.6094 | 2597867.4773 | 1193138.3316 | 2597863.0408 | 1193135.8986 | 2597857.8117 | 1193133.6994 | 2597850.1898 | 1193132.0569 | 2597845.3193 | 1193130.8136 | 2597845.139 | 1193130.7313
43 | 2598165.718 | 1193483.7226 | 2598153.8186 | 1193445.35
44 | 2598172.2879 | 1193504.9088 | 2598151.3629 | 1193511.1855 | 2598132.3201 | 1193518.8958
45 | 2598172.2879 | 1193504.9088 | 2598165.718 | 1193483.7226
46 | 2598574.6264 | 1192995.3418 | 2598572.3546 | 1192992.2808 | 2598567.9639 | 1192989.6471 | 2598557.6746 | 1192988.7048 | 2598545.1148 | 1192990.609 | 2598537.3944 | 1192991.3336 | 2598531.9067 | 1192990.7347 | 2598530.6837 | 1192990.3359
47 | 2598659.6869 | 1193205.7829 | 2598677.5132 | 1193206.4791 | 2598694.3331 | 1193205.3191
48 | 2598694.3331 | 1193205.3191 | 2598689.2752 | 1193216.8041 | 2598685.7678 | 1193223.0134
49 | 2597815.3299 | 1193112.5374 | 2597815.3299 | 1193112.5374 | 2597819.6667 | 1193113.0583 | 2597823.4554 | 1193115.3914 | 2597832.3295 | 1193122.8031 | 2597840.5246 | 1193128.6253 | 2597845.139 | 1193130.7313
50 | 2597815.3299 | 1193112.5374 | 2597809.843 | 1193113.7068 | 2597805.758 | 1193113.8973 | 2597805.758 | 1193113.8973
51 | 2598574.6264 | 1192995.3418 | 2598575.8769 | 1192997.0268 | 2598581.863 | 1193009.5875 | 2598592.1262 | 1193028.3281 | 2598616.487 | 1193070.0886 | 2598623.0738 | 1193077.7465 | 2598632.1755 | 1193085.1038 | 2598646.4371 | 1193092.8711 | 2598662.0928 | 1193098.4926 | 2598675.019 | 1193099.8125 | 2598685.5434 | 1193096.864 | 2598692.714 | 1193091.6707 | 2598697.8263 | 1193084.2879 | 2598699.8063 | 1193077.5839 | 2598699.202 | 1193068.2236 | 2598695.1139 | 1193054.9731 | 2598688.0301 | 1193040.2336 | 2598665.7989 | 1193010.2008 | 2598663.3052 | 1193004.3872 | 2598663.6163 | 1192998.4396 | 2598664.765 | 1192994.2746
52 | 2598928.2804 | 1192833.374 | 2598899.7119 | 1192860.6606 | 2598856.0895 | 1192919.1111 | 2598847.1047 | 1192924.3713 | 2598818.3634 | 1192923.6435 | 2598774.816 | 1192900.2183 | 2598761.1146 | 1192876.3309 | 2598756.4195 | 1192875.4204 | 2598751.3061 | 1192879.0901 | 2598744.8301 | 1192890.1196 | 2598738.7667 | 1192905.2066 | 2598725.4339 | 1192928.0216 | 2598716.145 | 1192936.3281 | 2598706.8786 | 1192942.7669 | 2598689.4529 | 1192963.782 | 2598666.8603 | 1192986.6771 | 2598664.765 | 1192994.2746
53 | 2598928.2804 | 1192833.374 | 2598946.9067 | 1192826.5891 | 2598973.931 | 1192813.6996 | 2599009.0872 | 1192796.6843 | 2599034.6922 | 1192772.5448 | 2599050.764 | 1192757.3007 | 2599066.6377 | 1192742.0678 | 2599072.3466 | 1192742.6783 | 2599076.135 | 1192744.6898 | 2599077.4025 | 1192758.7748 | 2599077.9452 | 1192767.8017 | 2599081.5822 | 1192776.25 | 2599086.7353 | 1192780.8071 | 2599092.3454 | 1192783.7966 | 2599124.2058 | 1192791.4177 | 2599150.647 | 1192799.1398 | 2599177.347 | 1192805.2056 | 2599192.0954 | 1192806.9155 | 2599203.6653 | 1192807.4029 | 2599214.4119 | 1192806.8344
54 | 2599214.4119 | 1192806.8344 | 2599219.8996 | 1192806.6668 | 2599225.6085 | 1192808.0668 | 2599229.7706 | 1192812.4907 | 2599231.6231 | 1192815.2919 | 2599231.6466 | 1192820.1612 | 2599227.7614 | 1192833.6355 | 2599223.8922 | 1192852.1013 | 2599218.4384 | 1192875.3143 | 2599212.4649 | 1192889.0335 | 2599205.0734 | 1192898.8841 | 2599175.9925 | 1192921.5337 | 2599146.0502 | 1192940.9707 | 2599120.201 | 1192961.9636 | 2599096.2806 | 1192984.6683 | 2599071.8276 | 1193011.5865 | 2599049.8142 | 1193041.5059 | 2599044.0005 | 1193050.4672 | 2599039.3606 | 1193059.595 | 2599037.0371 | 1193065.2762 | 2599035.1557 | 1193072.0245 | 2599033.5414 | 1193079.9067 | 2599032.5672 | 1193088.1001 | 2599032.2567 | 1193098.9281 | 2599032.5561 | 1193111.3568 | 2599033.9902 | 1193118.9049 | 2599036.4383 | 1193128.4651 | 2599038.4895 | 1193134.5791 | 2599041.5242 | 1193142.7273 | 2599045.4429 | 1193150.5863 | 2599049.7395 | 1193157.9141
55 | 2599214.4119 | 1192806.8344 | 2599371.4149 | 1192760.1227
56 | 2599054.2478 | 1193163.5138 | 2599051.7781 | 1193161.3909 | 2599049.7395 | 1193157.9141
57 | 2599054.2478 | 1193163.5138 | 2599058.1942 | 1193189.8348
58 | 2598636.7943 | 1193650.2241 | 2598635.963 | 1193658.5176
59 | 2598635.963 | 1193658.5176 | 2598635.7156 | 1193660.9862
60 | 2598693.2942 | 1193556.409 | 2598690.4062 | 1193559.5843 | 2598689.9224 | 1193560.1339
61 | 2598693.2942 | 1193556.409 | 2598698.121 | 1193551.102
62 | 2599036.1702 | 1193262.2159 | 2599040.5041 | 1193256.6649
63 | 2599053.2472 | 1193240.3433 | 2599040.5041 | 1193256.6649
64 | 2599053.2472 | 1193240.3433 | 2599068.6109 | 1193236.0162
65 | 2599076.1685 | 1193220.3289 | 2599074.3335 | 1193230.4123 | 2599068.6109 | 1193236.0162
66 | 2598743.1823 | 1193527.7584 | 2598738.2732 | 1193527.7231
67 | 2599061.7324 | 1193211.3044 | 2599059.7707 | 1193200.0519
68 | 2599061.7324 | 1193211.3044 | 2599066.4662 | 1193213.6494
69 | 2599058.1942 | 1193189.8348 | 2599059.4514 | 1193198.2201 | 2599059.7707 | 1193200.0519
70 | 2599076.1685 | 1193220.3289 | 2599072.0295 | 1193216.4053 | 2599066.4662 | 1193213.6494
71 | 2599089.8995 | 1193205.2743 | 2599086.3331 | 1193206.8646 | 2599079.0184 | 1193217.4047 | 2599076.1685 | 1193220.3289
72 | 2599089.8995 | 1193205.2743 | 2599098.7054 | 1193203.7625
73 | 2599098.7054 | 1193203.7625 | 2599110.9641 | 1193201.6578 | 2599115.1234 | 1193200.6071
74 | 2597798.951 | 1193111.5584 | 2597798.9741 | 1193111.5765 | 2597802.0232 | 1193113.1762 | 2597805.758 | 1193113.8973
75 | 2597795.5659 | 1193108.848 | 2597796.26 | 1193109.443 | 2597798.951 | 1193111.5584
76 | 2597798.951 | 1193111.5584 | 2597696.5392 | 1193337.3589
77 | 2597696.5392 | 1193337.3589 | 2597689.0334 | 1193334.6851
78 | 2597689.0334 | 1193334.6851 | 2597685.687 | 1193333.493 | 2597664.8729 | 1193331.3447 | 2597654.5467 | 1193332.1341
79 | 2597654.5467 | 1193332.1341 | 2597652.4535 | 1193332.2941

## bus_geodata
| x | y | coords
0 | 2598470.641 | 1194289.7309
1 | 2598511.9644 | 1194295.5383
2 | 2598414.4694 | 1194292.4188
3 | 2598523.7236 | 1194292.9849
4 | 2598601.448 | 1193805.2128
5 | 2598548.1207 | 1194282.0455
6 | 2598633.2915 | 1193680.908
7 | 2598635.6737 | 1193661.4047
8 | 2598555.8215 | 1193473.3493
9 | 2598519.4749 | 1193479.2664
10 | 2598591.788 | 1193478.4096
11 | 2598491.9806 | 1193484.1612
12 | 2598610.2615 | 1193479.7169
13 | 2598534.5448 | 1193113.3652
14 | 2598487.1101 | 1193484.9947
15 | 2598639.7729 | 1193620.5061
16 | 2598640.1068 | 1193614.4139
17 | 2598638.0288 | 1193637.9071
18 | 2598659.3089 | 1193597.0311
19 | 2598629.2816 | 1193472.8419
20 | 2598402.2872 | 1193481.5834
21 | 2598416.1183 | 1193491.6015
22 | 2598343.5902 | 1193474.2448
23 | 2598451.1218 | 1192918.9405
24 | 2598551.6903 | 1193113.6417
25 | 2598480.7885 | 1193486.0766
26 | 2598637.0285 | 1193647.887
27 | 2598673.6843 | 1193578.5814
28 | 2598682.1621 | 1193501.0109
29 | 2598715.7544 | 1193532.0751
30 | 2598678.4787 | 1193496.4788
31 | 2598655.0174 | 1193485.2068
32 | 2598440.8398 | 1193487.4824
33 | 2598062.2665 | 1193440.7332
34 | 2597965.0054 | 1193217.9939
35 | 2598153.8186 | 1193445.35
36 | 2598172.2879 | 1193504.9088
37 | 2598530.6836 | 1192990.3359
38 | 2598694.3331 | 1193205.3191
39 | 2598165.718 | 1193483.7226
40 | 2598132.3201 | 1193518.8958
41 | 2597845.139 | 1193130.7313
42 | 2597815.3299 | 1193112.5374
43 | 2598574.6264 | 1192995.3418
44 | 2598664.765 | 1192994.2746
45 | 2598928.2804 | 1192833.374
46 | 2599214.4119 | 1192806.8344
47 | 2599049.7395 | 1193157.9141
48 | 2599371.4149 | 1192760.1227
49 | 2599054.2478 | 1193163.5138
50 | 2598685.7678 | 1193223.0134
51 | 2598659.6869 | 1193205.7829
52 | 2598452.9525 | 1193487.0279
53 | 2598636.7943 | 1193650.2241
54 | 2598635.963 | 1193658.5176
55 | 2598635.7156 | 1193660.9862
56 | 2598689.9224 | 1193560.1339
57 | 2598693.2942 | 1193556.409
58 | 2598698.121 | 1193551.102
59 | 2599036.1702 | 1193262.2159
60 | 2599040.5041 | 1193256.6649
61 | 2599053.2472 | 1193240.3433
62 | 2599068.6109 | 1193236.0162
63 | 2598743.1823 | 1193527.7584
64 | 2598738.2732 | 1193527.7231
65 | 2599061.7324 | 1193211.3044
66 | 2599059.7707 | 1193200.0519
67 | 2599066.4662 | 1193213.6494
68 | 2599076.1685 | 1193220.3289
69 | 2599058.1942 | 1193189.8348
70 | 2599089.8995 | 1193205.2743
71 | 2599098.7054 | 1193203.7625
72 | 2599115.1234 | 1193200.6071
73 | 2598655.0942 | 1193485.2436
74 | 2597805.758 | 1193113.8973
75 | 2597798.951 | 1193111.5584
76 | 2597795.5659 | 1193108.848
77 | 2597696.5392 | 1193337.3589
78 | 2597689.0334 | 1193334.6851
79 | 2597654.5467 | 1193332.1341
80 | 2597652.4535 | 1193332.2941
81 | 2598480.7885 | 1193486.0766

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1