## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-23_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-23_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-23_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-23_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_355-23_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_355-23_0_2_node_49 | 0.4 | n |  | TRUE
6 | bus_LV_355-23_0_2_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_355-23_0_2_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_355-23_0_2_node_65 | 0.4 | n |  | TRUE
9 | bus_LV_355-23_0_2_node_66 | 0.4 | n |  | TRUE
10 | bus_LV_355-23_0_2_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_355-23_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_355-23_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_355-23_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_355-23_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_355-23_0_2_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_355-23_0_2_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_355-23_0_2_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_355-23_0_2_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_355-23_0_2_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_355-23_0_2_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_355-23_0_2_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_355-23_0_2_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_355-23_0_2_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_355-23_0_2_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_355-23_0_2_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_355-23_0_2_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_355-23_0_2_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_355-23_0_2_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_355-23_0_2_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_355-23_0_2_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_355-23_0_2_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_355-23_0_2_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_355-23_0_2_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_355-23_0_2_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_355-23_0_2_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_355-23_0_2_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_355-23_0_2_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_355-23_0_2_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_355-23_0_2_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_355-23_0_2_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_355-23_0_2_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_355-23_0_2_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_355-23_0_2_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_355-23_0_2_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_355-23_0_2_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_355-23_0_2_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_355-23_0_2_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_355-23_0_2_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_355-23_0_2_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_355-23_0_2_node_84 | 0.4 | n |  | TRUE
51 | bus_LV_355-23_0_2_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_355-23_0_2_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_355-23_0_2_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_355-23_0_2_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_355-23_0_2_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_355-23_0_2_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_355-23_0_2_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_355-23_0_2_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_355-23_0_2_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_355-23_0_2_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_355-23_0_2_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_355-23_0_2_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_355-23_0_2_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_355-23_0_2_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_355-23_0_2_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_355-23_0_2_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_355-23_0_2_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_355-23_0_2_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_355-23_0_2_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_355-23_0_2_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_355-23_0_2_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_355-23_0_2_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_355-23_0_2_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_355-23_0_2_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_355-23_0_2_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_355-23_0_2_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_355-23_0_2_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_355-23_0_2_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_355-23_0_2_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_355-23_0_2_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_355-23_0_2_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_355-23_0_2_node_69 | 0.4 | n |  | TRUE
83 | bus_MV_55_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-23_0_2_load_0 | 0 | 0.0029426 | 0.00073748 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-23_0_2_load_1 | 1 | 0.00061535 | 0.00015422 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-23_0_2_load_3 | 3 | 0.0012881 | 0.00032283 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-23_0_2_load_49 | 5 | 0.00095448 | 0.00023922 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-23_0_2_load_67 | 6 | 0.00072883 | 0.00018266 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-23_0_2_load_48 | 7 | 0.0014861 | 0.00037246 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-23_0_2_load_65 | 8 | 0.00087119 | 0.00021834 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-23_0_2_load_66 | 9 | 0.0005884 | 0.00014747 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-23_0_2_load_5 | 10 | 0.00403 | 0.00101 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-23_0_2_load_6 | 11 | 0.002539 | 0.00063634 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-23_0_2_load_7 | 12 | 0.0047986 | 0.0012026 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-23_0_2_load_9 | 14 | 0.0048588 | 0.0012177 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-23_0_2_load_56 | 15 | 0.0033152 | 0.00083086 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-23_0_2_load_58 | 16 | 0.0042409 | 0.0010629 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-23_0_2_load_46 | 17 | 0.0038392 | 0.00096219 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-23_0_2_load_55 | 18 | 0.008167 | 0.0020469 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-23_0_2_load_47 | 20 | 0.0013818 | 0.00034632 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-23_0_2_load_10 | 21 | 0.0029952 | 0.00075067 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-23_0_2_load_11 | 22 | 0.0029968 | 0.00075106 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-23_0_2_load_12 | 23 | 0.0017349 | 0.00043482 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-23_0_2_load_13 | 24 | 0.0028069 | 0.00070347 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-23_0_2_load_14 | 25 | 0.0018713 | 0.00046899 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-23_0_2_load_15 | 26 | 0.0022546 | 0.00056505 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-23_0_2_load_25 | 27 | 0.0030161 | 0.0007559 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-23_0_2_load_16 | 28 | 0.0029971 | 0.00075113 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-23_0_2_load_26 | 29 | 0.0031076 | 0.00077884 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-23_0_2_load_17 | 30 | 0.0027494 | 0.00068907 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-23_0_2_load_18 | 31 | 0.0033782 | 0.00084665 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-23_0_2_load_37 | 32 | 0.0021215 | 0.00053171 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-23_0_2_load_72 | 33 | 0.0028048 | 0.00070294 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-23_0_2_load_19 | 34 | 0.0039412 | 0.00098777 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-23_0_2_load_20 | 35 | 0.0047921 | 0.001201 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-23_0_2_load_21 | 36 | 0.0031281 | 0.00078396 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-23_0_2_load_22 | 37 | 0.0018995 | 0.00047607 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-23_0_2_load_23 | 38 | 0.0020074 | 0.00050309 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-23_0_2_load_24 | 39 | 0.0023225 | 0.00058206 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-23_0_2_load_27 | 40 | 0.00281 | 0.00070425 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-23_0_2_load_35 | 41 | 0.0018577 | 0.00046558 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-23_0_2_load_36 | 42 | 0.002324 | 0.00058245 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-23_0_2_load_28 | 43 | 0.0047104 | 0.0011805 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-23_0_2_load_29 | 44 | 0.0039591 | 0.00099225 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-23_0_2_load_30 | 45 | 0.0048066 | 0.0012046 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-23_0_2_load_31 | 46 | 0.0044772 | 0.0011221 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-23_0_2_load_33 | 47 | 0.0018545 | 0.00046478 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-23_0_2_load_34 | 49 | 0.0023492 | 0.00058877 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-23_0_2_load_84 | 50 | 0.0039975 | 0.0010019 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-23_0_2_load_75 | 51 | 0.0019028 | 0.00047688 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-23_0_2_load_74 | 52 | 0.0023124 | 0.00057955 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-23_0_2_load_73 | 53 | 0.0018838 | 0.00047214 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-23_0_2_load_70 | 54 | 0.0033201 | 0.00083209 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-23_0_2_load_38 | 55 | 0.0017583 | 0.00044068 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-23_0_2_load_39 | 56 | 0.0033866 | 0.00084876 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-23_0_2_load_40 | 57 | 0.0024294 | 0.00060886 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-23_0_2_load_41 | 58 | 0.0031382 | 0.0007865 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-23_0_2_load_42 | 59 | 0.0028962 | 0.00072585 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-23_0_2_load_54 | 60 | 0.0026271 | 0.00065841 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-23_0_2_load_43 | 61 | 0.0040917 | 0.0010255 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_355-23_0_2_load_57 | 63 | 0.0043289 | 0.0010849 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_355-23_0_2_load_45 | 65 | 0.0040992 | 0.0010274 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_355-23_0_2_load_64 | 66 | 0.0027616 | 0.00069213 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_355-23_0_2_load_63 | 67 | 0.0041698 | 0.0010451 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_355-23_0_2_load_53 | 68 | 0.0014851 | 0.0003722 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_355-23_0_2_load_61 | 69 | 0.0033896 | 0.00084952 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_355-23_0_2_load_82 | 70 | 0.00034297 | 8.5956e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_355-23_0_2_load_80 | 72 | 0.00067285 | 0.00016863 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_355-23_0_2_load_62 | 73 | 0.0036438 | 0.00091321 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_355-23_0_2_load_60 | 74 | 0.0041433 | 0.0010384 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_355-23_0_2_load_50 | 75 | 0.0043303 | 0.0010853 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_355-23_0_2_load_51 | 76 | 0.0014766 | 0.00037006 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_355-23_0_2_load_76 | 77 | 0.00014236 | 3.5679e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_355-23_0_2_load_77 | 78 | 0.0014384 | 0.00036051 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_355-23_0_2_load_81 | 80 | 0.00017176 | 4.3046e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_355-23_0_2_load_68 | 81 | 0.0041907 | 0.0010503 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_355-23_0_2_load_69 | 82 | 0.0033149 | 0.0008308 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-23_0_2_line_0 |  | 0 | 1 | 0.013743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-23_0_2_line_1 |  | 0 | 2 | 0.011764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-23_0_2_line_2 |  | 1 | 3 | 0.008592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-23_0_2_line_3 |  | 2 | 4 | 0.007224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-23_0_2_line_4 |  | 3 | 5 | 0.096882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-23_0_2_line_5 |  | 4 | 6 | 0.23843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-23_0_2_line_6 |  | 5 | 7 | 0.022259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-23_0_2_line_7 |  | 6 | 9 | 0.021664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-23_0_2_line_8 |  | 7 | 20 | 0.018851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-23_0_2_line_9 |  | 8 | 9 | 0.013141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-23_0_2_line_10 |  | 10 | 11 | 0.031727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-23_0_2_line_11 |  | 10 | 12 | 0.0076321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-23_0_2_line_12 |  | 11 | 13 | 0.036166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_355-23_0_2_line_13 |  | 12 | 14 | 0.01524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-23_0_2_line_14 |  | 13 | 15 | 0.033541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_355-23_0_2_line_15 |  | 13 | 16 | 0.025363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_355-23_0_2_line_16 |  | 14 | 17 | 0.0074791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-23_0_2_line_17 |  | 15 | 18 | 0.043442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_355-23_0_2_line_18 |  | 16 | 19 | 0.0065775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_355-23_0_2_line_19 |  | 17 | 20 | 0.02288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_355-23_0_2_line_20 |  | 18 | 64 | 0.028137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_355-23_0_2_line_21 |  | 19 | 48 | 0.054047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-23_0_2_line_22 |  | 19 | 45 | 0.015482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_355-23_0_2_line_23 |  | 21 | 22 | 0.020568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-23_0_2_line_24 |  | 21 | 23 | 0.0018671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-23_0_2_line_25 |  | 22 | 24 | 0.0083032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-23_0_2_line_26 |  | 23 | 25 | 0.0081725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-23_0_2_line_27 |  | 24 | 26 | 0.0031145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-23_0_2_line_28 |  | 25 | 27 | 0.0050257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-23_0_2_line_29 |  | 26 | 28 | 0.0036945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_355-23_0_2_line_30 |  | 27 | 29 | 0.012103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-23_0_2_line_31 |  | 28 | 30 | 0.017439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-23_0_2_line_32 |  | 29 | 40 | 0.0032672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-23_0_2_line_33 |  | 30 | 31 | 0.018729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-23_0_2_line_34 |  | 31 | 32 | 0.0036215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-23_0_2_line_35 |  | 32 | 33 | 0.0096832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-23_0_2_line_36 |  | 33 | 54 | 0.0092685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-23_0_2_line_37 |  | 34 | 35 | 0.01541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-23_0_2_line_38 |  | 34 | 36 | 0.002728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-23_0_2_line_39 |  | 35 | 37 | 0.00083677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-23_0_2_line_40 |  | 36 | 38 | 0.003702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-23_0_2_line_41 |  | 37 | 39 | 0.00021036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-23_0_2_line_42 |  | 38 | 40 | 2.2057e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-23_0_2_line_43 |  | 39 | 41 | 0.0050145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-23_0_2_line_44 |  | 41 | 42 | 0.00021433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-23_0_2_line_45 |  | 42 | 53 | 0.0049863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-23_0_2_line_46 |  | 43 | 44 | 0.024828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_355-23_0_2_line_47 |  | 43 | 45 | 0.026551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_355-23_0_2_line_48 |  | 44 | 46 | 0.0017815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-23_0_2_line_49 |  | 46 | 47 | 0.017584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-23_0_2_line_50 |  | 47 | 49 | 0.016482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_355-23_0_2_line_51 |  | 48 | 50 | 0.033541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_355-23_0_2_line_52 |  | 49 | 51 | 0.00021433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_355-23_0_2_line_53 |  | 51 | 52 | 0.0050313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_355-23_0_2_line_54 |  | 52 | 53 | 0.00023123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_355-23_0_2_line_55 |  | 54 | 81 | 0.014886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-23_0_2_line_56 |  | 55 | 56 | 0.013028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_355-23_0_2_line_57 |  | 55 | 57 | 0.0026616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_355-23_0_2_line_58 |  | 56 | 58 | 0.016295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_355-23_0_2_line_59 |  | 57 | 59 | 0.009997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_355-23_0_2_line_60 |  | 58 | 60 | 0.039218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_355-23_0_2_line_61 |  | 59 | 63 | 0.010184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_355-23_0_2_line_62 |  | 60 | 64 | 0.0033781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_355-23_0_2_line_63 |  | 61 | 62 | 0.090955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-23_0_2_line_64 |  | 62 | 65 | 0.068991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-23_0_2_line_65 |  | 64 | 75 | 0.024072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_355-23_0_2_line_66 |  | 65 | 66 | 0.014719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_355-23_0_2_line_67 |  | 66 | 72 | 0.46079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_355-23_0_2_line_68 |  | 66 | 73 | 0.051001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_355-23_0_2_line_69 |  | 67 | 68 | 0.00072444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_355-23_0_2_line_70 |  | 67 | 69 | 0.024311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_355-23_0_2_line_71 |  | 68 | 76 | 0.012002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-23_0_2_line_72 |  | 69 | 74 | 0.0049788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-23_0_2_line_73 |  | 70 | 71 | 0.20275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_355-23_0_2_line_74 |  | 71 | 79 | 0.085294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_355-23_0_2_line_75 |  | 71 | 77 | 0.10648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_355-23_0_2_line_76 |  | 72 | 80 | 0.011824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_355-23_0_2_line_77 |  | 73 | 74 | 0.015573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_355-23_0_2_line_78 |  | 75 | 76 | 0.016451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_355-23_0_2_line_79 |  | 77 | 78 | 0.0053616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_355-23_0_2_line_80 |  | 79 | 80 | 0.036613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_355-23_0_2_line_81 |  | 81 | 82 | 0.014306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-23_0_2_trafo_57 | 0.63 MVA 20/0.4 kV | 83 | 63 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2597335.4815 | 1192563.8822 | 2597332.9295 | 1192569.6313 | 2597330.242 | 1192576.5829
1 | 2597340.2543 | 1192553.1303 | 2597335.4815 | 1192563.8822
2 | 2597327.1439 | 1192584.5969 | 2597330.242 | 1192576.5829
3 | 2597340.2543 | 1192553.1303 | 2597344.5048 | 1192547.2809
4 | 2597327.1439 | 1192584.5969 | 2597325.7123 | 1192588.2999 | 2597320.7536 | 1192595.3948 | 2597313.8431 | 1192601.1566 | 2597306.3903 | 1192604.5729 | 2597297.1533 | 1192606.5672 | 2597288.2585 | 1192606.7825 | 2597278.4026 | 1192605.4642 | 2597240.4958 | 1192597.3354
5 | 2597344.5048 | 1192547.2809 | 2597581.8514 | 1192569.967
6 | 2597218.668 | 1192592.9832 | 2597232.2618 | 1192595.5696 | 2597240.4958 | 1192597.3354
7 | 2597581.8514 | 1192569.967 | 2597602.5707 | 1192563.6402
8 | 2597200.0738 | 1192589.9186 | 2597209.0658 | 1192591.1562 | 2597218.668 | 1192592.9832
9 | 2597615.1388 | 1192559.8024 | 2597602.5707 | 1192563.6402
10 | 2597147.6616 | 1192580.7643 | 2597132.953 | 1192577.6971 | 2597116.4981 | 1192574.8344
11 | 2597147.6616 | 1192580.7643 | 2597151.5146 | 1192581.5678 | 2597155.1386 | 1192582.2948
12 | 2597080.8745 | 1192568.5959 | 2597089.6025 | 1192570.1591 | 2597108.1029 | 1192573.3738 | 2597116.4981 | 1192574.8344
13 | 2597170.0809 | 1192585.2922 | 2597155.1386 | 1192582.2948
14 | 2597080.8745 | 1192568.5959 | 2597085.5657 | 1192575.8196 | 2597088.8059 | 1192577.4855 | 2597109.743 | 1192581.3132
15 | 2597080.8745 | 1192568.5959 | 2597055.8152 | 1192564.6802
16 | 2597170.0809 | 1192585.2922 | 2597177.4139 | 1192586.7632
17 | 2597152.5332 | 1192588.7016 | 2597150.1687 | 1192588.0052 | 2597117.5513 | 1192582.7407 | 2597109.743 | 1192581.3132
18 | 2597049.3166 | 1192563.6648 | 2597055.8152 | 1192564.6802
19 | 2597200.0738 | 1192589.9186 | 2597177.9962 | 1192586.88 | 2597177.4139 | 1192586.7632
20 | 2597170.5903 | 1192608.2392 | 2597167.1106 | 1192599.8032 | 2597161.9701 | 1192593.0688 | 2597158.1196 | 1192590.347 | 2597152.5332 | 1192588.7016
21 | 2596999.0694 | 1192544.1023 | 2597039.0845 | 1192557.3222 | 2597049.3166 | 1192563.6648
22 | 2597049.3166 | 1192563.6648 | 2597039.1403 | 1192562.0691 | 2597034.0493 | 1192561.1056
23 | 2596879.4002 | 1192571.7664 | 2596863.8618 | 1192574.4226 | 2596859.1466 | 1192575.3457
24 | 2596881.2406 | 1192571.4518 | 2596879.4002 | 1192571.7664
25 | 2596850.9981 | 1192576.941 | 2596859.1466 | 1192575.3457
26 | 2596881.2406 | 1192571.4518 | 2596889.2962 | 1192570.0747
27 | 2596847.9416 | 1192577.5394 | 2596850.9981 | 1192576.941
28 | 2596889.2962 | 1192570.0747 | 2596894.25 | 1192569.2278
29 | 2596847.9416 | 1192577.5394 | 2596844.3159 | 1192578.2492
30 | 2596906.1799 | 1192567.1884 | 2596894.25 | 1192569.2278
31 | 2596827.2013 | 1192581.5997 | 2596844.3159 | 1192578.2492
32 | 2596909.4004 | 1192566.6379 | 2596906.1799 | 1192567.1884
33 | 2596827.2013 | 1192581.5997 | 2596817.8523 | 1192583.43 | 2596808.6773 | 1192584.146
34 | 2596808.6773 | 1192584.146 | 2596805.0667 | 1192584.4277
35 | 2596805.0667 | 1192584.4277 | 2596795.4128 | 1192585.181
36 | 2596786.1724 | 1192585.9021 | 2596795.4128 | 1192585.181
37 | 2596915.7602 | 1192565.5507 | 2596930.95 | 1192562.954
38 | 2596913.0712 | 1192566.0104 | 2596915.7602 | 1192565.5507
39 | 2596931.7748 | 1192562.813 | 2596930.95 | 1192562.954
40 | 2596913.0712 | 1192566.0104 | 2596909.4221 | 1192566.6342
41 | 2596931.9822 | 1192562.7776 | 2596931.7748 | 1192562.813
42 | 2596909.4221 | 1192566.6342 | 2596909.4004 | 1192566.6379
43 | 2596931.9822 | 1192562.7776 | 2596936.9249 | 1192561.9326
44 | 2596937.1362 | 1192561.8965 | 2596936.9249 | 1192561.9326
45 | 2596942.0512 | 1192561.0563 | 2596937.1362 | 1192561.8965
46 | 2596983.0317 | 1192556.0924 | 2596988.8237 | 1192555.8249 | 2597005.4938 | 1192557.0058 | 2597007.7976 | 1192557.262
47 | 2597034.0493 | 1192561.1056 | 2597022.21 | 1192558.8649 | 2597007.7976 | 1192557.262
48 | 2596983.0317 | 1192556.0924 | 2596981.2521 | 1192556.1746
49 | 2596981.2521 | 1192556.1746 | 2596973.9762 | 1192556.5107 | 2596963.7441 | 1192557.6923
50 | 2596947.4497 | 1192560.1334 | 2596957.5363 | 1192558.4091 | 2596963.7441 | 1192557.6923
51 | 2596999.0694 | 1192544.1023 | 2596987.482 | 1192540.7065 | 2596976.2458 | 1192538.4556 | 2596966.2081 | 1192539.5725
52 | 2596947.4497 | 1192560.1334 | 2596947.2385 | 1192560.1695
53 | 2596947.2385 | 1192560.1695 | 2596942.2791 | 1192561.0173
54 | 2596942.2791 | 1192561.0173 | 2596942.0512 | 1192561.0563
55 | 2596771.3685 | 1192587.4535 | 2596784.4233 | 1192586.0386 | 2596786.1724 | 1192585.9021
56 | 2597099.7894 | 1192610.3607 | 2597112.6022 | 1192612.7173
57 | 2597099.7894 | 1192610.3607 | 2597097.1718 | 1192609.8792
58 | 2597128.6389 | 1192615.5408 | 2597126.5004 | 1192615.3757 | 2597116.3241 | 1192613.4019 | 2597112.6022 | 1192612.7173
59 | 2597087.3397 | 1192608.0708 | 2597097.1718 | 1192609.8792
60 | 2597167.2614 | 1192608.8137 | 2597152.9545 | 1192611.2828 | 2597132.5903 | 1192615.0836 | 2597128.932 | 1192615.5635 | 2597128.6389 | 1192615.5408
61 | 2597087.3397 | 1192608.0708 | 2597077.3235 | 1192606.2285
62 | 2597170.5903 | 1192608.2392 | 2597167.2614 | 1192608.8137
63 | 2597188.0882 | 1192713.9641 | 2597183.6219 | 1192714.2442 | 2597179.6813 | 1192714.1016 | 2597160.6854 | 1192709.6196 | 2597144.4262 | 1192706.2257 | 2597128.7624 | 1192704.6659 | 2597112.7712 | 1192703.7622 | 2597101.3687 | 1192703.5122 | 2597098.139 | 1192703.1853
64 | 2597188.0882 | 1192713.9641 | 2597190.6331 | 1192712.2842 | 2597195.6824 | 1192703.9886 | 2597199.9145 | 1192692.1581 | 2597201.9559 | 1192689.578 | 2597204.3258 | 1192688.4985 | 2597208.2054 | 1192688.4855 | 2597234.0764 | 1192693.1089 | 2597241.6572 | 1192693.7873
65 | 2597170.5903 | 1192608.2392 | 2597193.0837 | 1192616.8143
66 | 2597241.6572 | 1192693.7873 | 2597248.0404 | 1192694.3585 | 2597256.3363 | 1192693.8626
67 | 2597256.3363 | 1192693.8626 | 2597480.5247 | 1193096.4324
68 | 2597262.2607 | 1192643.2065 | 2597256.3363 | 1192693.8626
69 | 2597220.3471 | 1192627.2079 | 2597219.6702 | 1192626.9498
70 | 2597220.3471 | 1192627.2079 | 2597220.3636 | 1192627.2142 | 2597243.06 | 1192635.8775
71 | 2597219.6702 | 1192626.9498 | 2597208.4557 | 1192622.6745
72 | 2597247.7115 | 1192637.653 | 2597243.06 | 1192635.8775
73 | 2597504.1897 | 1193189.8481 | 2597343.3062 | 1193313.2307
74 | 2597504.1897 | 1193189.8481 | 2597507.0985 | 1193183.9883 | 2597510.9585 | 1193174.6706 | 2597518.4493 | 1193154.6902 | 2597520.2451 | 1193147.897 | 2597520.061 | 1193145.2401 | 2597518.8715 | 1193143.8732 | 2597515.6092 | 1193143.0964 | 2597508.8717 | 1193142.499 | 2597496.9519 | 1193142.4152 | 2597489.1552 | 1193142.3296 | 2597483.1415 | 1193141.2761
75 | 2597504.1897 | 1193189.8481 | 2597609.4793 | 1193205.7537
76 | 2597480.5247 | 1193096.4324 | 2597478.7272 | 1193108.1191
77 | 2597247.7115 | 1192637.653 | 2597262.2607 | 1192643.2065
78 | 2597193.0837 | 1192616.8143 | 2597208.4557 | 1192622.6745
79 | 2597614.7738 | 1193206.5994 | 2597609.4793 | 1193205.7537
80 | 2597483.1415 | 1193141.2761 | 2597478.2625 | 1193138.1877 | 2597476.0273 | 1193133.2194 | 2597475.4616 | 1193129.3509 | 2597478.7272 | 1193108.1191
81 | 2596771.3685 | 1192587.4535 | 2596761.5357 | 1192588.5192 | 2596757.2311 | 1192589.5033

## bus_geodata
| x | y | coords
0 | 2597335.4815 | 1192563.8822
1 | 2597330.242 | 1192576.5829
2 | 2597340.2543 | 1192553.1303
3 | 2597327.1439 | 1192584.5969
4 | 2597344.5048 | 1192547.2809
5 | 2597240.4958 | 1192597.3354
6 | 2597581.8514 | 1192569.967
7 | 2597218.668 | 1192592.9832
8 | 2597615.1388 | 1192559.8024
9 | 2597602.5707 | 1192563.6402
10 | 2597147.6616 | 1192580.7643
11 | 2597116.4981 | 1192574.8344
12 | 2597155.1386 | 1192582.2948
13 | 2597080.8745 | 1192568.5959
14 | 2597170.0809 | 1192585.2922
15 | 2597109.743 | 1192581.3132
16 | 2597055.8152 | 1192564.6802
17 | 2597177.4139 | 1192586.7632
18 | 2597152.5332 | 1192588.7016
19 | 2597049.3166 | 1192563.6648
20 | 2597200.0738 | 1192589.9186
21 | 2596879.4002 | 1192571.7664
22 | 2596859.1466 | 1192575.3457
23 | 2596881.2406 | 1192571.4518
24 | 2596850.9981 | 1192576.941
25 | 2596889.2962 | 1192570.0747
26 | 2596847.9416 | 1192577.5394
27 | 2596894.25 | 1192569.2278
28 | 2596844.3159 | 1192578.2492
29 | 2596906.1799 | 1192567.1884
30 | 2596827.2013 | 1192581.5997
31 | 2596808.6773 | 1192584.146
32 | 2596805.0667 | 1192584.4277
33 | 2596795.4128 | 1192585.181
34 | 2596915.7602 | 1192565.5507
35 | 2596930.95 | 1192562.954
36 | 2596913.0712 | 1192566.0104
37 | 2596931.7748 | 1192562.813
38 | 2596909.4221 | 1192566.6342
39 | 2596931.9822 | 1192562.7776
40 | 2596909.4004 | 1192566.6379
41 | 2596936.9249 | 1192561.9326
42 | 2596937.1362 | 1192561.8965
43 | 2597007.7976 | 1192557.262
44 | 2596983.0317 | 1192556.0924
45 | 2597034.0493 | 1192561.1056
46 | 2596981.2521 | 1192556.1746
47 | 2596963.7441 | 1192557.6923
48 | 2596999.0694 | 1192544.1023
49 | 2596947.4497 | 1192560.1334
50 | 2596966.2081 | 1192539.5725
51 | 2596947.2385 | 1192560.1695
52 | 2596942.2791 | 1192561.0173
53 | 2596942.0512 | 1192561.0563
54 | 2596786.1724 | 1192585.9021
55 | 2597099.7894 | 1192610.3607
56 | 2597112.6022 | 1192612.7173
57 | 2597097.1718 | 1192609.8792
58 | 2597128.6389 | 1192615.5408
59 | 2597087.3397 | 1192608.0708
60 | 2597167.2614 | 1192608.8137
61 | 2597098.139 | 1192703.1853
62 | 2597188.0882 | 1192713.9641
63 | 2597077.3235 | 1192606.2285
64 | 2597170.5903 | 1192608.2392
65 | 2597241.6572 | 1192693.7873
66 | 2597256.3363 | 1192693.8626
67 | 2597220.3471 | 1192627.2079
68 | 2597219.6702 | 1192626.9498
69 | 2597243.06 | 1192635.8775
70 | 2597343.3062 | 1193313.2307
71 | 2597504.1897 | 1193189.8481
72 | 2597480.5247 | 1193096.4324
73 | 2597262.2607 | 1192643.2065
74 | 2597247.7115 | 1192637.653
75 | 2597193.0837 | 1192616.8143
76 | 2597208.4557 | 1192622.6745
77 | 2597609.4793 | 1193205.7537
78 | 2597614.7738 | 1193206.5994
79 | 2597483.1415 | 1193141.2761
80 | 2597478.7272 | 1193108.1191
81 | 2596771.3685 | 1192587.4535
82 | 2596757.2311 | 1192589.5033
83 | 2597072.562 | 1192605.3528

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1