## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-24_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-24_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-24_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-24_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_355-24_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_355-24_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_355-24_0_5_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_355-24_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_355-24_0_5_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_355-24_0_5_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_355-24_0_5_node_123 | 0.4 | n |  | TRUE
11 | bus_LV_355-24_0_5_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_355-24_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_355-24_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_355-24_0_5_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_355-24_0_5_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_355-24_0_5_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_355-24_0_5_node_100 | 0.4 | n |  | TRUE
18 | bus_LV_355-24_0_5_node_113 | 0.4 | n |  | TRUE
19 | bus_LV_355-24_0_5_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_355-24_0_5_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_355-24_0_5_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_355-24_0_5_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_355-24_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_355-24_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_355-24_0_5_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_355-24_0_5_node_118 | 0.4 | n |  | TRUE
27 | bus_LV_355-24_0_5_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_355-24_0_5_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_355-24_0_5_node_101 | 0.4 | n |  | TRUE
30 | bus_LV_355-24_0_5_node_99 | 0.4 | n |  | TRUE
31 | bus_LV_355-24_0_5_node_111 | 0.4 | n |  | TRUE
32 | bus_LV_355-24_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_355-24_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_355-24_0_5_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_355-24_0_5_node_97 | 0.4 | n |  | TRUE
36 | bus_LV_355-24_0_5_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_355-24_0_5_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_355-24_0_5_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_355-24_0_5_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_355-24_0_5_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_355-24_0_5_node_86 | 0.4 | n |  | TRUE
42 | bus_LV_355-24_0_5_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_355-24_0_5_node_94 | 0.4 | n |  | TRUE
44 | bus_LV_355-24_0_5_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_355-24_0_5_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_355-24_0_5_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_355-24_0_5_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_355-24_0_5_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_355-24_0_5_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_355-24_0_5_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_355-24_0_5_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_355-24_0_5_node_85 | 0.4 | n |  | TRUE
53 | bus_LV_355-24_0_5_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_355-24_0_5_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_355-24_0_5_node_122 | 0.4 | n |  | TRUE
56 | bus_LV_355-24_0_5_node_121 | 0.4 | n |  | TRUE
57 | bus_LV_355-24_0_5_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_355-24_0_5_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_355-24_0_5_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_355-24_0_5_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_355-24_0_5_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_355-24_0_5_node_89 | 0.4 | n |  | TRUE
63 | bus_LV_355-24_0_5_node_92 | 0.4 | n |  | TRUE
64 | bus_LV_355-24_0_5_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_355-24_0_5_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_355-24_0_5_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_355-24_0_5_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_355-24_0_5_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_355-24_0_5_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_355-24_0_5_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_355-24_0_5_node_44 | 0.4 | n |  | TRUE
72 | bus_LV_355-24_0_5_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_355-24_0_5_node_46 | 0.4 | n |  | TRUE
74 | bus_LV_355-24_0_5_node_47 | 0.4 | n |  | TRUE
75 | bus_LV_355-24_0_5_node_48 | 0.4 | n |  | TRUE
76 | bus_LV_355-24_0_5_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_355-24_0_5_node_102 | 0.4 | n |  | TRUE
78 | bus_LV_355-24_0_5_node_98 | 0.4 | n |  | TRUE
79 | bus_LV_355-24_0_5_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_355-24_0_5_node_103 | 0.4 | n |  | TRUE
81 | bus_LV_355-24_0_5_node_49 | 0.4 | n |  | TRUE
82 | bus_LV_355-24_0_5_node_50 | 0.4 | n |  | TRUE
83 | bus_LV_355-24_0_5_node_51 | 0.4 | n |  | TRUE
84 | bus_LV_355-24_0_5_node_52 | 0.4 | n |  | TRUE
85 | bus_LV_355-24_0_5_node_53 | 0.4 | n |  | TRUE
86 | bus_LV_355-24_0_5_node_54 | 0.4 | n |  | TRUE
87 | bus_LV_355-24_0_5_node_108 | 0.4 | n |  | TRUE
88 | bus_LV_355-24_0_5_node_105 | 0.4 | n |  | TRUE
89 | bus_LV_355-24_0_5_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_355-24_0_5_node_109 | 0.4 | n |  | TRUE
91 | bus_LV_355-24_0_5_node_106 | 0.4 | n |  | TRUE
92 | bus_LV_355-24_0_5_node_61 | 0.4 | n |  | TRUE
93 | bus_LV_355-24_0_5_node_116 | 0.4 | n |  | TRUE
94 | bus_LV_355-24_0_5_node_57 | 0.4 | n |  | TRUE
95 | bus_LV_355-24_0_5_node_58 | 0.4 | n |  | TRUE
96 | bus_LV_355-24_0_5_node_59 | 0.4 | n |  | TRUE
97 | bus_LV_355-24_0_5_node_60 | 0.4 | n |  | TRUE
98 | bus_LV_355-24_0_5_node_80 | 0.4 | n |  | TRUE
99 | bus_LV_355-24_0_5_node_67 | 0.4 | n |  | TRUE
100 | bus_LV_355-24_0_5_node_81 | 0.4 | n |  | TRUE
101 | bus_LV_355-24_0_5_node_66 | 0.4 | n |  | TRUE
102 | bus_LV_355-24_0_5_node_68 | 0.4 | n |  | TRUE
103 | bus_LV_355-24_0_5_node_70 | 0.4 | n |  | TRUE
104 | bus_LV_355-24_0_5_node_82 | 0.4 | n |  | TRUE
105 | bus_LV_355-24_0_5_node_88 | 0.4 | n |  | TRUE
106 | bus_LV_355-24_0_5_node_90 | 0.4 | n |  | TRUE
107 | bus_LV_355-24_0_5_node_74 | 0.4 | n |  | TRUE
108 | bus_LV_355-24_0_5_node_75 | 0.4 | n |  | TRUE
109 | bus_LV_355-24_0_5_node_77 | 0.4 | n |  | TRUE
110 | bus_LV_355-24_0_5_node_117 | 0.4 | n |  | TRUE
111 | bus_LV_355-24_0_5_node_114 | 0.4 | n |  | TRUE
112 | bus_LV_355-24_0_5_node_93 | 0.4 | n |  | TRUE
113 | bus_LV_355-24_0_5_node_95 | 0.4 | n |  | TRUE
114 | bus_LV_355-24_0_5_node_96 | 0.4 | n |  | TRUE
115 | bus_LV_355-24_0_5_node_104 | 0.4 | n |  | TRUE
116 | bus_LV_355-24_0_5_node_110 | 0.4 | n |  | TRUE
117 | bus_LV_355-24_0_5_node_112 | 0.4 | n |  | TRUE
118 | bus_LV_355-24_0_5_node_119 | 0.4 | n |  | TRUE
119 | bus_LV_355-24_0_5_node_120 | 0.4 | n |  | TRUE
120 | bus_MV_55_0_node_141 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-24_0_5_load_0 | 0 | 0.0092416 | 0.0023162 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-24_0_5_load_17 | 6 | 0.0016077 | 0.00040292 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-24_0_5_load_8 | 7 | 0.0023523 | 0.00058954 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-24_0_5_load_123 | 10 | 0.0072682 | 0.0018216 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-24_0_5_load_20 | 11 | 0.0041767 | 0.0010468 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-24_0_5_load_7 | 12 | 0.0081194 | 0.0020349 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-24_0_5_load_11 | 13 | 0.013255 | 0.0033219 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-24_0_5_load_62 | 14 | 0.0048768 | 0.0012222 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-24_0_5_load_113 | 18 | 0.0025572 | 0.00064089 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-24_0_5_load_79 | 19 | 0.0038382 | 0.00096193 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-24_0_5_load_9 | 21 | 0.0014024 | 0.00035148 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-24_0_5_load_10 | 22 | 0.0010201 | 0.00025567 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-24_0_5_load_63 | 25 | 0.0063812 | 0.0015993 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-24_0_5_load_118 | 26 | 0.0097855 | 0.0024525 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-24_0_5_load_99 | 30 | 0.023139 | 0.0057991 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-24_0_5_load_111 | 31 | 0.016126 | 0.0040416 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-24_0_5_load_18 | 32 | 0.0017668 | 0.0004428 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-24_0_5_load_19 | 33 | 0.00246 | 0.00061654 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-24_0_5_load_21 | 34 | 0.0035417 | 0.00088764 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-24_0_5_load_97 | 35 | 0.00092881 | 0.00023278 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-24_0_5_load_36 | 36 | 0.0040525 | 0.0010156 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-24_0_5_load_22 | 37 | 0.002672 | 0.00066966 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-24_0_5_load_23 | 38 | 0.0055967 | 0.0014027 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-24_0_5_load_24 | 39 | 0.0017285 | 0.00043319 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-24_0_5_load_86 | 41 | 0.0032031 | 0.00080276 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-24_0_5_load_83 | 42 | 0.013141 | 0.0032935 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-24_0_5_load_94 | 43 | 0.0083106 | 0.0020828 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-24_0_5_load_27 | 45 | 0.0039652 | 0.00099377 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-24_0_5_load_28 | 46 | 0.0049518 | 0.001241 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-24_0_5_load_32 | 49 | 0.0020213 | 0.00050658 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-24_0_5_load_33 | 50 | 0.0032542 | 0.00081557 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-24_0_5_load_64 | 51 | 0.0047246 | 0.0011841 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-24_0_5_load_85 | 52 | 0.0053487 | 0.0013405 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-24_0_5_load_34 | 53 | 0.00068746 | 0.00017229 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-24_0_5_load_121 | 56 | 0.0020358 | 0.00051022 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-24_0_5_load_37 | 57 | 0.0055127 | 0.0013816 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-24_0_5_load_38 | 58 | 0.0062441 | 0.0015649 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-24_0_5_load_39 | 59 | 0.010074 | 0.0025248 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-24_0_5_load_40 | 60 | 0.0055279 | 0.0013854 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-24_0_5_load_92 | 63 | 0.017127 | 0.0042924 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-24_0_5_load_41 | 64 | 0.0049078 | 0.00123 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-24_0_5_load_42 | 65 | 0.0051159 | 0.0012822 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-24_0_5_load_43 | 66 | 0.0098783 | 0.0024757 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-24_0_5_load_71 | 67 | 0.001666 | 0.00041754 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-24_0_5_load_87 | 68 | 0.0027879 | 0.0006987 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-24_0_5_load_72 | 70 | 0.0041082 | 0.0010296 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-24_0_5_load_44 | 71 | 0.0042527 | 0.0010658 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-24_0_5_load_45 | 72 | 0.0035433 | 0.00088803 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-24_0_5_load_46 | 73 | 0.0021522 | 0.00053939 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-24_0_5_load_48 | 75 | 0.0011008 | 0.00027587 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-24_0_5_load_102 | 77 | 0.0024438 | 0.00061249 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-24_0_5_load_98 | 78 | 0.0035176 | 0.00088158 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-24_0_5_load_103 | 80 | 0.0044062 | 0.0011043 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-24_0_5_load_49 | 81 | 0.014051 | 0.0035215 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-24_0_5_load_50 | 82 | 0.0039401 | 0.00098748 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-24_0_5_load_53 | 85 | 0.0082594 | 0.00207 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-24_0_5_load_54 | 86 | 0.0038182 | 0.00095692 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_355-24_0_5_load_108 | 87 | 0.0080933 | 0.0020284 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_355-24_0_5_load_105 | 88 | 0.0024068 | 0.00060319 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_355-24_0_5_load_109 | 90 | 0.001795 | 0.00044988 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_355-24_0_5_load_106 | 91 | 0.0075607 | 0.0018949 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_355-24_0_5_load_61 | 92 | 0.0014327 | 0.00035907 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_355-24_0_5_load_116 | 93 | 0.0093288 | 0.002338 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_355-24_0_5_load_57 | 94 | 0.0024309 | 0.00060924 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_355-24_0_5_load_58 | 95 | 0.0024048 | 0.00060271 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_355-24_0_5_load_59 | 96 | 0.0023998 | 0.00060145 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_355-24_0_5_load_60 | 97 | 0.00169 | 0.00042356 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_355-24_0_5_load_80 | 98 | 0.0056482 | 0.0014156 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_355-24_0_5_load_67 | 99 | 0.0019789 | 0.00049596 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_355-24_0_5_load_81 | 100 | 0.0012882 | 0.00032286 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_355-24_0_5_load_66 | 101 | 0.0033608 | 0.0008423 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_355-24_0_5_load_68 | 102 | 0.0003388 | 8.491e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_355-24_0_5_load_70 | 103 | 0.00028598 | 7.1674e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_355-24_0_5_load_82 | 104 | 0.0016884 | 0.00042316 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_355-24_0_5_load_88 | 105 | 0.00083815 | 0.00021006 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_355-24_0_5_load_90 | 106 | 0.012724 | 0.003189 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_355-24_0_5_load_74 | 107 | 0.0049376 | 0.0012375 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_355-24_0_5_load_75 | 108 | 0.015611 | 0.0039124 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_355-24_0_5_load_117 | 110 | 0.0087699 | 0.002198 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_355-24_0_5_load_114 | 111 | 0.0082341 | 0.0020637 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_355-24_0_5_load_93 | 112 | 0.0083288 | 0.0020874 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_355-24_0_5_load_95 | 113 | 0.0019497 | 0.00048863 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_355-24_0_5_load_96 | 114 | 0.022998 | 0.0057638 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_355-24_0_5_load_104 | 115 | 0.0066429 | 0.0016649 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_355-24_0_5_load_110 | 116 | 0.0096997 | 0.002431 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_355-24_0_5_load_112 | 117 | 0.0021345 | 0.00053495 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_355-24_0_5_load_119 | 118 | 0.0023393 | 0.00058628 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_355-24_0_5_load_120 | 119 | 0.00075127 | 0.00018828 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-24_0_5_line_0 |  | 0 | 1 | 0.001598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-24_0_5_line_1 |  | 0 | 2 | 0.012957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-24_0_5_line_2 |  | 1 | 3 | 0.031958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-24_0_5_line_3 |  | 2 | 4 | 0.014789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-24_0_5_line_4 |  | 3 | 8 | 0.029481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-24_0_5_line_5 |  | 4 | 10 | 0.013155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-24_0_5_line_6 |  | 5 | 6 | 0.017418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-24_0_5_line_7 |  | 5 | 7 | 0.0059629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-24_0_5_line_8 |  | 6 | 11 | 0.017751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-24_0_5_line_9 |  | 7 | 12 | 0.030144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-24_0_5_line_10 |  | 8 | 9 | 0.011749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-24_0_5_line_11 |  | 9 | 13 | 0.019158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-24_0_5_line_12 |  | 11 | 32 | 0.0055315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_355-24_0_5_line_13 |  | 12 | 21 | 0.036828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-24_0_5_line_14 |  | 13 | 23 | 0.0090073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-24_0_5_line_15 |  | 14 | 15 | 0.004118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-24_0_5_line_16 |  | 15 | 25 | 0.017909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-24_0_5_line_17 |  | 15 | 23 | 0.008739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_355-24_0_5_line_18 |  | 16 | 17 | 0.022384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-24_0_5_line_19 |  | 16 | 18 | 0.012605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_355-24_0_5_line_20 |  | 17 | 29 | 0.008649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_355-24_0_5_line_21 |  | 17 | 30 | 0.044515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-24_0_5_line_22 |  | 18 | 31 | 0.0088752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-24_0_5_line_23 |  | 19 | 20 | 0.054723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-24_0_5_line_24 |  | 20 | 79 | 0.029654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-24_0_5_line_25 |  | 20 | 74 | 0.038855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-24_0_5_line_26 |  | 21 | 22 | 0.0089453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-24_0_5_line_27 |  | 23 | 24 | 0.005822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_355-24_0_5_line_28 |  | 24 | 26 | 0.008343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_355-24_0_5_line_29 |  | 25 | 27 | 0.0046179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_355-24_0_5_line_30 |  | 26 | 29 | 0.013469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_355-24_0_5_line_31 |  | 27 | 28 | 0.042974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-24_0_5_line_32 |  | 28 | 44 | 0.007026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-24_0_5_line_33 |  | 28 | 46 | 0.011302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-24_0_5_line_34 |  | 29 | 110 | 0.031158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-24_0_5_line_35 |  | 31 | 116 | 0.013639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-24_0_5_line_36 |  | 32 | 33 | 0.019811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-24_0_5_line_37 |  | 33 | 34 | 0.00023286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-24_0_5_line_38 |  | 34 | 35 | 0.017802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-24_0_5_line_39 |  | 35 | 36 | 0.0071966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-24_0_5_line_40 |  | 36 | 48 | 0.016196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-24_0_5_line_41 |  | 37 | 38 | 0.0069777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-24_0_5_line_42 |  | 37 | 39 | 0.0071754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-24_0_5_line_43 |  | 39 | 40 | 0.021046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-24_0_5_line_44 |  | 40 | 41 | 0.0035869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-24_0_5_line_45 |  | 40 | 42 | 0.028441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-24_0_5_line_46 |  | 41 | 43 | 0.018115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_355-24_0_5_line_47 |  | 42 | 44 | 0.017637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_355-24_0_5_line_48 |  | 43 | 112 | 0.0071942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-24_0_5_line_49 |  | 44 | 52 | 0.0077782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-24_0_5_line_50 |  | 45 | 46 | 0.0091154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_355-24_0_5_line_51 |  | 45 | 47 | 0.034745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_355-24_0_5_line_52 |  | 47 | 48 | 0.011235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_355-24_0_5_line_53 |  | 47 | 49 | 0.019104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_355-24_0_5_line_54 |  | 48 | 50 | 0.015618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_355-24_0_5_line_55 |  | 49 | 51 | 0.00025517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-24_0_5_line_56 |  | 50 | 53 | 0.010316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_355-24_0_5_line_57 |  | 53 | 54 | 0.019349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-24_0_5_line_58 |  | 54 | 55 | 0.071978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-24_0_5_line_59 |  | 55 | 56 | 0.010229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_355-24_0_5_line_60 |  | 56 | 118 | 0.00068384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-24_0_5_line_61 |  | 57 | 58 | 0.014695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-24_0_5_line_62 |  | 57 | 59 | 0.004413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_355-24_0_5_line_63 |  | 58 | 60 | 0.00052585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-24_0_5_line_64 |  | 60 | 61 | 0.019149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-24_0_5_line_65 |  | 61 | 62 | 0.00875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_355-24_0_5_line_66 |  | 61 | 63 | 0.011906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_355-24_0_5_line_67 |  | 62 | 106 | 0.022714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_355-24_0_5_line_68 |  | 63 | 89 | 0.040749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_355-24_0_5_line_69 |  | 64 | 65 | 0.014182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_355-24_0_5_line_70 |  | 65 | 66 | 0.00023793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_355-24_0_5_line_71 |  | 66 | 67 | 0.026818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-24_0_5_line_72 |  | 67 | 70 | 0.0060042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-24_0_5_line_73 |  | 68 | 69 | 0.054164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_355-24_0_5_line_74 |  | 69 | 99 | 0.027121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_355-24_0_5_line_75 |  | 70 | 104 | 0.0029124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_355-24_0_5_line_76 |  | 71 | 72 | 0.026295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_355-24_0_5_line_77 |  | 71 | 73 | 0.02545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_355-24_0_5_line_78 |  | 72 | 74 | 0.050952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_355-24_0_5_line_79 |  | 73 | 75 | 0.017035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_355-24_0_5_line_80 |  | 74 | 76 | 0.035272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_355-24_0_5_line_81 |  | 75 | 77 | 0.022249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_355-24_0_5_line_82 |  | 76 | 78 | 0.035092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_355-24_0_5_line_83 |  | 77 | 80 | 0.016308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_355-24_0_5_line_84 |  | 78 | 92 | 0.0010187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_355-24_0_5_line_85 |  | 79 | 93 | 0.029135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_355-24_0_5_line_86 |  | 80 | 115 | 0.018108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_355-24_0_5_line_87 |  | 81 | 82 | 0.042989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_355-24_0_5_line_88 |  | 81 | 83 | 0.0047751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_355-24_0_5_line_89 |  | 82 | 84 | 0.011382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_355-24_0_5_line_90 |  | 83 | 85 | 0.016263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_355-24_0_5_line_91 |  | 83 | 86 | 0.011345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_355-24_0_5_line_92 |  | 84 | 87 | 0.021767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_355-24_0_5_line_93 |  | 84 | 88 | 0.02899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_355-24_0_5_line_94 |  | 85 | 89 | 0.018712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_355-24_0_5_line_95 |  | 86 | 90 | 0.026901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_355-24_0_5_line_96 |  | 88 | 91 | 0.010882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_355-24_0_5_line_97 |  | 92 | 96 | 0.00036246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_355-24_0_5_line_98 |  | 93 | 111 | 0.012679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_355-24_0_5_line_99 |  | 94 | 95 | 0.0058984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_355-24_0_5_line_100 |  | 94 | 96 | 0.021845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_355-24_0_5_line_101 |  | 95 | 97 | 0.019932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_355-24_0_5_line_102 |  | 97 | 98 | 0.0025977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_355-24_0_5_line_103 |  | 98 | 100 | 0.0051374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_355-24_0_5_line_104 |  | 99 | 101 | 0.014369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_355-24_0_5_line_105 |  | 100 | 104 | 0.019247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_355-24_0_5_line_106 |  | 100 | 105 | 0.048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_355-24_0_5_line_107 |  | 101 | 102 | 0.0015796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_355-24_0_5_line_108 |  | 102 | 103 | 0.0031625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_355-24_0_5_line_109 |  | 103 | 105 | 0.0029309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_355-24_0_5_line_110 |  | 106 | 109 | 0.0041459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_355-24_0_5_line_111 |  | 107 | 108 | 0.018235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_355-24_0_5_line_112 |  | 108 | 109 | 0.033969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_355-24_0_5_line_113 |  | 109 | 110 | 0.019507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_355-24_0_5_line_114 |  | 111 | 117 | 0.012861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_355-24_0_5_line_115 |  | 112 | 113 | 0.00020159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_355-24_0_5_line_116 |  | 113 | 114 | 0.012264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_355-24_0_5_line_117 |  | 116 | 117 | 0.017662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_355-24_0_5_line_118 |  | 118 | 119 | 0.0090624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-24_0_5_trafo_101 | 0.63 MVA 20/0.4 kV | 120 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2596171.9304 | 1192820.0187 | 2596170.7153 | 1192818.9809
1 | 2596170.5065 | 1192822.1318 | 2596165.8241 | 1192818.1217 | 2596167.4692 | 1192816.2085 | 2596170.7153 | 1192818.9809
2 | 2596161.3354 | 1192795.6461 | 2596171.4784 | 1192804.7999 | 2596176.7433 | 1192813.8679 | 2596171.9304 | 1192820.0187
3 | 2596170.5065 | 1192822.1318 | 2596160.9562 | 1192833.444
4 | 2596182.1336 | 1192793.109 | 2596171.4784 | 1192804.7999 | 2596161.3354 | 1192795.6461
5 | 2596160.9562 | 1192833.444 | 2596170.9209 | 1192842.0328
6 | 2596207.5135 | 1192839.1056 | 2596220.6399 | 1192827.6564
7 | 2596207.5135 | 1192839.1056 | 2596211.4742 | 1192843.5631
8 | 2596220.6399 | 1192827.6564 | 2596234.0173 | 1192815.9883
9 | 2596231.4962 | 1192866.0964 | 2596211.4742 | 1192843.5631
10 | 2596182.1336 | 1192793.109 | 2596173.9652 | 1192784.6432
11 | 2596173.9652 | 1192784.6432 | 2596187.7001 | 1192771.2879
12 | 2596238.1859 | 1192812.3524 | 2596234.0173 | 1192815.9883
13 | 2596231.4962 | 1192866.0964 | 2596246.3513 | 1192882.8147 | 2596256.9914 | 1192892.6123
14 | 2596194.1578 | 1192765.0086 | 2596187.7001 | 1192771.2879
15 | 2596199.0557 | 1192772.2537 | 2596196.4611 | 1192775.4514
16 | 2596199.0557 | 1192772.2537 | 2596210.3476 | 1192758.353
17 | 2596194.1578 | 1192765.0086 | 2596199.0557 | 1192772.2537
18 | 2596153.8156 | 1192765.2128 | 2596170.2231 | 1192749.9385
19 | 2596153.8156 | 1192765.2128 | 2596144.5154 | 1192756.705
20 | 2596176.5682 | 1192744.0424 | 2596170.2231 | 1192749.9385
21 | 2596170.2231 | 1192749.9385 | 2596171.3965 | 1192737.7202 | 2596170.0186 | 1192728.5496 | 2596166.0362 | 1192722.8603 | 2596154.6837 | 1192711.5534
22 | 2596137.967 | 1192750.7144 | 2596144.5154 | 1192756.705
23 | 2596057.2526 | 1192716.6847 | 2596057.4997 | 1192732.8263 | 2596087.2669 | 1192757.3675
24 | 2596057.2526 | 1192716.6847 | 2596068.5975 | 1192699.2234 | 2596074.5306 | 1192692.6827
25 | 2596057.2526 | 1192716.6847 | 2596051.6867 | 1192725.2596 | 2596043.6248 | 1192739.5392 | 2596039.6159 | 1192751.1147
26 | 2596256.9914 | 1192892.6123 | 2596263.5718 | 1192898.6717
27 | 2596191.7459 | 1192759.7074 | 2596194.1578 | 1192765.0086
28 | 2596191.7459 | 1192759.7074 | 2596185.9405 | 1192753.7155
29 | 2596213.2591 | 1192754.7687 | 2596210.3476 | 1192758.353
30 | 2596176.5682 | 1192744.0424 | 2596185.9405 | 1192753.7155
31 | 2596240.9358 | 1192721.8335 | 2596213.2591 | 1192754.7687
32 | 2596240.9358 | 1192721.8335 | 2596236.3364 | 1192716.5115
33 | 2596240.9358 | 1192721.8335 | 2596248.3228 | 1192730.3875
34 | 2596176.5682 | 1192744.0424 | 2596174.8577 | 1192739.1409 | 2596176.2771 | 1192718.329 | 2596176.8429 | 1192713.2537
35 | 2596127.9034 | 1192741.5082 | 2596137.967 | 1192750.7144
36 | 2596238.1859 | 1192812.3524 | 2596253.1158 | 1192799.3301
37 | 2596253.2913 | 1192799.1771 | 2596253.1158 | 1192799.3301
38 | 2596253.2913 | 1192799.1771 | 2596266.7069 | 1192787.4757
39 | 2596272.1303 | 1192782.7452 | 2596266.7069 | 1192787.4757
40 | 2596284.3362 | 1192772.099 | 2596272.1303 | 1192782.7452
41 | 2596296.605 | 1192711.8881 | 2596302.042 | 1192716.2617
42 | 2596291.014 | 1192707.3907 | 2596296.605 | 1192711.8881
43 | 2596274.2871 | 1192694.6424 | 2596279.9984 | 1192698.5297 | 2596291.014 | 1192707.3907
44 | 2596274.2871 | 1192694.6424 | 2596272.0053 | 1192691.8749
45 | 2596274.2871 | 1192694.6424 | 2596266.8016 | 1192693.3798 | 2596260.3248 | 1192696.241 | 2596249.8079 | 1192705.1279
46 | 2596260.4808 | 1192677.8979 | 2596272.0053 | 1192691.8749
47 | 2596236.3364 | 1192716.5115 | 2596249.8079 | 1192705.1279
48 | 2596265.9836 | 1192673.2638 | 2596260.4808 | 1192677.8979 | 2596260.4808 | 1192677.8979
49 | 2596236.3364 | 1192716.5115 | 2596231.1819 | 1192710.6863
50 | 2596248.3228 | 1192730.3875 | 2596248.4871 | 1192730.5777 | 2596254.2793 | 1192737.2876
51 | 2596276.9833 | 1192763.5881 | 2596254.2793 | 1192737.2876
52 | 2596276.9833 | 1192763.5881 | 2596284.3362 | 1192772.099
53 | 2596276.9833 | 1192763.5881 | 2596291.343 | 1192750.9878
54 | 2596284.3362 | 1192772.099 | 2596294.03 | 1192784.3451
55 | 2596291.5348 | 1192750.8195 | 2596291.343 | 1192750.9878
56 | 2596294.03 | 1192784.3451 | 2596295.8848 | 1192786.6882 | 2596300.5403 | 1192792.3467
57 | 2596312.8334 | 1192807.2884 | 2596300.5403 | 1192792.3467
58 | 2596312.8334 | 1192807.2884 | 2596324.5189 | 1192821.4552 | 2596317.8759 | 1192826.4953 | 2596314.7486 | 1192822.7064 | 2596291.4606 | 1192841.2308 | 2596287.9487 | 1192844.0123 | 2596283.1571 | 1192847.8284
59 | 2596283.1571 | 1192847.8284 | 2596276.6543 | 1192839.933
60 | 2596276.2196 | 1192839.4052 | 2596276.6543 | 1192839.933
61 | 2596221.4708 | 1192647.6994 | 2596210.1936 | 1192657.121
62 | 2596224.8574 | 1192644.8701 | 2596221.4708 | 1192647.6994
63 | 2596210.1936 | 1192657.121 | 2596209.7901 | 1192657.4582
64 | 2596195.0945 | 1192669.7357 | 2596209.7901 | 1192657.4582
65 | 2596200.8152 | 1192676.3688 | 2596199.1295 | 1192674.4133 | 2596195.0945 | 1192669.7357
66 | 2596195.0945 | 1192669.7357 | 2596187.1898 | 1192660.832
67 | 2596200.8152 | 1192676.3688 | 2596194.0277 | 1192681.9761 | 2596184.0343 | 1192691.6517
68 | 2596158.1112 | 1192632.4179 | 2596165.2948 | 1192638.0051 | 2596177.9706 | 1192650.4478 | 2596187.1898 | 1192660.832
69 | 2596127.5948 | 1192912.5463 | 2596124.4486 | 1192903.4048 | 2596122.8214 | 1192899.1936
70 | 2596122.8214 | 1192899.1936 | 2596122.7356 | 1192898.9716
71 | 2596122.7356 | 1192898.9716 | 2596113.2102 | 1192874.3192 | 2596112.9746 | 1192874.0096
72 | 2596109.3377 | 1192869.2322 | 2596112.9746 | 1192874.0096
73 | 2596015.1372 | 1192889.8375 | 2596022.7394 | 1192894.7572 | 2596025.9201 | 1192898.4903 | 2596036.3271 | 1192937.3482
74 | 2596015.1372 | 1192889.8375 | 2596042.2539 | 1192889.3432
75 | 2596109.3377 | 1192869.2322 | 2596107.5736 | 1192866.9149
76 | 2596091.6519 | 1192807.862 | 2596073.5586 | 1192788.7823
77 | 2596091.6519 | 1192807.862 | 2596109.164 | 1192826.3287
78 | 2596039.6159 | 1192751.1147 | 2596046.7 | 1192756.1792 | 2596073.0702 | 1192788.2673 | 2596073.5586 | 1192788.7823
79 | 2596109.164 | 1192826.3287 | 2596120.8859 | 1192838.6897
80 | 2596039.6159 | 1192751.1147 | 2596034.8993 | 1192764.3581 | 2596032.345 | 1192785.4154
81 | 2596135.6919 | 1192855.2917 | 2596125.232 | 1192843.2727 | 2596120.8859 | 1192838.6897
82 | 2596032.345 | 1192785.4154 | 2596057.1927 | 1192810.1949
83 | 2596146.3983 | 1192867.5938 | 2596135.6919 | 1192855.2917
84 | 2596057.1927 | 1192810.1949 | 2596057.914 | 1192810.9143
85 | 2596074.5306 | 1192692.6827 | 2596096.0272 | 1192712.3479
86 | 2596146.3983 | 1192867.5938 | 2596158.2971 | 1192881.2709
87 | 2596185.7107 | 1192608.2254 | 2596191.7546 | 1192608.7502 | 2596208.7691 | 1192612.0632 | 2596212.6111 | 1192612.8166 | 2596228.2031 | 1192614.4102
88 | 2596180.9536 | 1192607.8123 | 2596185.7107 | 1192608.2254
89 | 2596239.5262 | 1192615.5674 | 2596228.2031 | 1192614.4102
90 | 2596180.9536 | 1192607.8123 | 2596171.6724 | 1192611.6092 | 2596167.7976 | 1192616.4939
91 | 2596180.9536 | 1192607.8123 | 2596179.315 | 1192596.5863
92 | 2596239.5262 | 1192615.5674 | 2596252.0724 | 1192616.1041 | 2596261.2772 | 1192615.8212
93 | 2596239.5262 | 1192615.5674 | 2596242.8151 | 1192609.6622 | 2596245.6708 | 1192593.6631 | 2596247.3516 | 1192587.9257
94 | 2596158.1112 | 1192632.4179 | 2596163.8815 | 1192621.4306 | 2596167.7976 | 1192616.4939
95 | 2596175.4296 | 1192569.9677 | 2596179.315 | 1192596.5863
96 | 2596247.3516 | 1192587.9257 | 2596249.8263 | 1192584.1443 | 2596252.7372 | 1192583.0197 | 2596255.9692 | 1192583.2811
97 | 2596058.1707 | 1192811.1702 | 2596057.914 | 1192810.9143
98 | 2596096.0272 | 1192712.3479 | 2596105.3825 | 1192720.9061
99 | 2596073.6384 | 1192826.5955 | 2596077.8149 | 1192830.7606
100 | 2596073.6384 | 1192826.5955 | 2596058.1707 | 1192811.1702
101 | 2596077.8149 | 1192830.7606 | 2596087.0983 | 1192840.0185 | 2596091.2298 | 1192845.4457
102 | 2596092.8033 | 1192847.5126 | 2596091.2298 | 1192845.4457
103 | 2596092.8033 | 1192847.5126 | 2596095.9152 | 1192851.6003
104 | 2596056.6209 | 1192889.0812 | 2596042.2539 | 1192889.3432
105 | 2596095.9152 | 1192851.6003 | 2596107.5736 | 1192866.9149
106 | 2596095.9152 | 1192851.6003 | 2596063.5659 | 1192887.0626
107 | 2596056.6209 | 1192889.0812 | 2596058.2002 | 1192889.0524
108 | 2596058.2002 | 1192889.0524 | 2596061.3621 | 1192888.9948 | 2596061.3621 | 1192888.9948
109 | 2596061.3621 | 1192888.9948 | 2596063.5659 | 1192887.0626
110 | 2596181.0558 | 1192694.5356 | 2596184.0343 | 1192691.6517
111 | 2596143.2496 | 1192659.6386 | 2596144.6461 | 1192660.1191 | 2596156.1971 | 1192672.2608
112 | 2596181.0558 | 1192694.5356 | 2596167.96 | 1192680.8925 | 2596163.0582 | 1192679.4728 | 2596156.1971 | 1192672.2608
113 | 2596181.0558 | 1192694.5356 | 2596178.414 | 1192699.162 | 2596176.8429 | 1192713.2537
114 | 2596105.3825 | 1192720.9061 | 2596114.8718 | 1192729.587
115 | 2596265.9836 | 1192673.2638 | 2596266.1378 | 1192673.1339
116 | 2596275.7778 | 1192665.5595 | 2596269.6755 | 1192670.1547 | 2596266.1378 | 1192673.1339
117 | 2596127.9034 | 1192741.5082 | 2596114.8718 | 1192729.587
118 | 2596276.2196 | 1192839.4052 | 2596270.4582 | 1192832.4099

## bus_geodata
| x | y | coords
0 | 2596170.7153 | 1192818.9809
1 | 2596171.9304 | 1192820.0187
2 | 2596170.5065 | 1192822.1318
3 | 2596161.3354 | 1192795.6461
4 | 2596160.9562 | 1192833.444
5 | 2596207.5135 | 1192839.1056
6 | 2596220.6399 | 1192827.6564
7 | 2596211.4742 | 1192843.5631
8 | 2596182.1336 | 1192793.109
9 | 2596173.9652 | 1192784.6432
10 | 2596170.9209 | 1192842.0328
11 | 2596234.0173 | 1192815.9883
12 | 2596231.4962 | 1192866.0964
13 | 2596187.7001 | 1192771.2879
14 | 2596196.4611 | 1192775.4514
15 | 2596199.0557 | 1192772.2537
16 | 2596153.8156 | 1192765.2128
17 | 2596170.2231 | 1192749.9385
18 | 2596144.5154 | 1192756.705
19 | 2596087.2669 | 1192757.3675
20 | 2596057.2526 | 1192716.6847
21 | 2596256.9914 | 1192892.6123
22 | 2596263.5718 | 1192898.6717
23 | 2596194.1578 | 1192765.0086
24 | 2596191.7459 | 1192759.7074
25 | 2596210.3476 | 1192758.353
26 | 2596185.9405 | 1192753.7155
27 | 2596213.2591 | 1192754.7687
28 | 2596240.9358 | 1192721.8335
29 | 2596176.5682 | 1192744.0424
30 | 2596154.6837 | 1192711.5534
31 | 2596137.967 | 1192750.7144
32 | 2596238.1859 | 1192812.3524
33 | 2596253.1158 | 1192799.3301
34 | 2596253.2913 | 1192799.1771
35 | 2596266.7069 | 1192787.4757
36 | 2596272.1303 | 1192782.7452
37 | 2596296.605 | 1192711.8881
38 | 2596302.042 | 1192716.2617
39 | 2596291.014 | 1192707.3907
40 | 2596274.2871 | 1192694.6424
41 | 2596272.0053 | 1192691.8749
42 | 2596249.8079 | 1192705.1279
43 | 2596260.4808 | 1192677.8979
44 | 2596236.3364 | 1192716.5115
45 | 2596254.2793 | 1192737.2876
46 | 2596248.3228 | 1192730.3875
47 | 2596276.9833 | 1192763.5881
48 | 2596284.3362 | 1192772.099
49 | 2596291.343 | 1192750.9878
50 | 2596294.03 | 1192784.3451
51 | 2596291.5348 | 1192750.8195
52 | 2596231.1819 | 1192710.6863
53 | 2596300.5403 | 1192792.3467
54 | 2596312.8334 | 1192807.2884
55 | 2596283.1571 | 1192847.8284
56 | 2596276.6543 | 1192839.933
57 | 2596221.4708 | 1192647.6994
58 | 2596210.1936 | 1192657.121
59 | 2596224.8574 | 1192644.8701
60 | 2596209.7901 | 1192657.4582
61 | 2596195.0945 | 1192669.7357
62 | 2596200.8152 | 1192676.3688
63 | 2596187.1898 | 1192660.832
64 | 2596127.5948 | 1192912.5463
65 | 2596122.8214 | 1192899.1936
66 | 2596122.7356 | 1192898.9716
67 | 2596112.9746 | 1192874.0096
68 | 2596036.3271 | 1192937.3482
69 | 2596015.1372 | 1192889.8375
70 | 2596109.3377 | 1192869.2322
71 | 2596091.6519 | 1192807.862
72 | 2596073.5586 | 1192788.7823
73 | 2596109.164 | 1192826.3287
74 | 2596039.6159 | 1192751.1147
75 | 2596120.8859 | 1192838.6897
76 | 2596032.345 | 1192785.4154
77 | 2596135.6919 | 1192855.2917
78 | 2596057.1927 | 1192810.1949
79 | 2596074.5306 | 1192692.6827
80 | 2596146.3983 | 1192867.5938
81 | 2596185.7107 | 1192608.2254
82 | 2596228.2031 | 1192614.4102
83 | 2596180.9536 | 1192607.8123
84 | 2596239.5262 | 1192615.5674
85 | 2596167.7976 | 1192616.4939
86 | 2596179.315 | 1192596.5863
87 | 2596261.2772 | 1192615.8212
88 | 2596247.3516 | 1192587.9257
89 | 2596158.1112 | 1192632.4179
90 | 2596175.4296 | 1192569.9677
91 | 2596255.9692 | 1192583.2811
92 | 2596057.914 | 1192810.9143
93 | 2596096.0272 | 1192712.3479
94 | 2596073.6384 | 1192826.5955
95 | 2596077.8149 | 1192830.7606
96 | 2596058.1707 | 1192811.1702
97 | 2596091.2298 | 1192845.4457
98 | 2596092.8033 | 1192847.5126
99 | 2596042.2539 | 1192889.3432
100 | 2596095.9152 | 1192851.6003
101 | 2596056.6209 | 1192889.0812
102 | 2596058.2002 | 1192889.0524
103 | 2596061.3621 | 1192888.9948
104 | 2596107.5736 | 1192866.9149
105 | 2596063.5659 | 1192887.0626
106 | 2596184.0343 | 1192691.6518
107 | 2596143.2496 | 1192659.6386
108 | 2596156.1971 | 1192672.2608
109 | 2596181.0558 | 1192694.5356
110 | 2596176.8429 | 1192713.2537
111 | 2596105.3825 | 1192720.9061
112 | 2596265.9836 | 1192673.2638
113 | 2596266.1378 | 1192673.1339
114 | 2596275.7778 | 1192665.5595
115 | 2596158.2971 | 1192881.2709
116 | 2596127.9034 | 1192741.5082
117 | 2596114.8718 | 1192729.587
118 | 2596276.2196 | 1192839.4052
119 | 2596270.4582 | 1192832.4099
120 | 2596170.2231 | 1192749.9385

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1