## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-25_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-25_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-25_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-25_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_355-25_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_355-25_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_355-25_0_3_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_355-25_0_3_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_355-25_0_3_node_60 | 0.4 | n |  | TRUE
9 | bus_LV_355-25_0_3_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_355-25_0_3_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_355-25_0_3_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_355-25_0_3_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_355-25_0_3_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_355-25_0_3_node_98 | 0.4 | n |  | TRUE
15 | bus_LV_355-25_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_355-25_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_355-25_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_355-25_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_355-25_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_355-25_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_355-25_0_3_node_70 | 0.4 | n |  | TRUE
22 | bus_LV_355-25_0_3_node_69 | 0.4 | n |  | TRUE
23 | bus_LV_355-25_0_3_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_355-25_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_355-25_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_355-25_0_3_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_355-25_0_3_node_79 | 0.4 | n |  | TRUE
28 | bus_LV_355-25_0_3_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_355-25_0_3_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_355-25_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_355-25_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_355-25_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_355-25_0_3_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_355-25_0_3_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_355-25_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_355-25_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_355-25_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_355-25_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_355-25_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_355-25_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_355-25_0_3_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_355-25_0_3_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_355-25_0_3_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_355-25_0_3_node_75 | 0.4 | n |  | TRUE
45 | bus_LV_355-25_0_3_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_355-25_0_3_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_355-25_0_3_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_355-25_0_3_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_355-25_0_3_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_355-25_0_3_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_355-25_0_3_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_355-25_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_355-25_0_3_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_355-25_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_355-25_0_3_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_355-25_0_3_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_355-25_0_3_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_355-25_0_3_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_355-25_0_3_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_355-25_0_3_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_355-25_0_3_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_355-25_0_3_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_355-25_0_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_355-25_0_3_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_355-25_0_3_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_355-25_0_3_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_355-25_0_3_node_92 | 0.4 | n |  | TRUE
68 | bus_LV_355-25_0_3_node_93 | 0.4 | n |  | TRUE
69 | bus_LV_355-25_0_3_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_355-25_0_3_node_99 | 0.4 | n |  | TRUE
71 | bus_LV_355-25_0_3_node_100 | 0.4 | n |  | TRUE
72 | bus_LV_355-25_0_3_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_355-25_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_355-25_0_3_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_355-25_0_3_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_355-25_0_3_node_94 | 0.4 | n |  | TRUE
77 | bus_LV_355-25_0_3_node_95 | 0.4 | n |  | TRUE
78 | bus_LV_355-25_0_3_node_96 | 0.4 | n |  | TRUE
79 | bus_LV_355-25_0_3_node_97 | 0.4 | n |  | TRUE
80 | bus_LV_355-25_0_3_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_355-25_0_3_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_355-25_0_3_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_355-25_0_3_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_355-25_0_3_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_355-25_0_3_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_355-25_0_3_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_355-25_0_3_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_355-25_0_3_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_355-25_0_3_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_355-25_0_3_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_355-25_0_3_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_355-25_0_3_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_355-25_0_3_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_355-25_0_3_node_88 | 0.4 | n |  | TRUE
95 | bus_MV_55_0_node_139 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-25_0_3_load_0 | 0 | 0.0054111 | 0.0013561 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-25_0_3_load_4 | 3 | 0.0024464 | 0.00061312 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-25_0_3_load_41 | 6 | 0.0036568 | 0.00091648 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-25_0_3_load_37 | 7 | 0.0020252 | 0.00050757 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-25_0_3_load_60 | 8 | 0.0022967 | 0.0005756 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-25_0_3_load_40 | 9 | 0.0031111 | 0.00077973 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-25_0_3_load_31 | 13 | 0.0099869 | 0.002503 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-25_0_3_load_98 | 14 | 0.0015272 | 0.00038275 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-25_0_3_load_8 | 15 | 0.0034963 | 0.00087627 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-25_0_3_load_9 | 16 | 0.0033707 | 0.00084477 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-25_0_3_load_11 | 18 | 0.0097108 | 0.0024338 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-25_0_3_load_70 | 21 | 0.0033042 | 0.00082812 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-25_0_3_load_69 | 22 | 0.0044391 | 0.0011125 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-25_0_3_load_57 | 26 | 0.016831 | 0.0042182 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-25_0_3_load_79 | 27 | 0.0013288 | 0.00033302 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-25_0_3_load_61 | 28 | 0.0036336 | 0.00091066 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-25_0_3_load_35 | 29 | 0.0031061 | 0.00077846 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-25_0_3_load_20 | 30 | 0.0093019 | 0.0023313 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-25_0_3_load_17 | 31 | 0.0044459 | 0.0011143 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-25_0_3_load_56 | 33 | 0.0024688 | 0.00061873 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-25_0_3_load_80 | 34 | 0.0015364 | 0.00038506 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-25_0_3_load_36 | 35 | 0.0032322 | 0.00081007 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-25_0_3_load_21 | 36 | 0.0038625 | 0.00096803 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-25_0_3_load_22 | 37 | 0.0050034 | 0.001254 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-25_0_3_load_23 | 38 | 0.0016656 | 0.00041743 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-25_0_3_load_24 | 39 | 0.0015396 | 0.00038586 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-25_0_3_load_25 | 40 | 0.0014271 | 0.00035766 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-25_0_3_load_48 | 41 | 0.0022827 | 0.0005721 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-25_0_3_load_49 | 43 | 0.0026456 | 0.00066306 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-25_0_3_load_75 | 44 | 0.0018233 | 0.00045696 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-25_0_3_load_72 | 45 | 0.0010846 | 0.00027182 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-25_0_3_load_26 | 46 | 0.005533 | 0.0013867 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-25_0_3_load_27 | 47 | 0.0029941 | 0.0007504 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-25_0_3_load_28 | 48 | 0.0049177 | 0.0012325 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-25_0_3_load_29 | 49 | 0.0039207 | 0.00098261 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-25_0_3_load_30 | 50 | 0.0047191 | 0.0011827 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-25_0_3_load_89 | 51 | 0.0035026 | 0.00087783 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-25_0_3_load_45 | 52 | 0.0028367 | 0.00071094 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-25_0_3_load_43 | 53 | 0.0033141 | 0.00083058 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-25_0_3_load_38 | 54 | 0.0023767 | 0.00059565 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-25_0_3_load_62 | 55 | 0.0023808 | 0.00059668 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-25_0_3_load_39 | 57 | 0.0024287 | 0.00060868 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-25_0_3_load_42 | 58 | 0.0043411 | 0.001088 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-25_0_3_load_47 | 60 | 0.0018189 | 0.00045585 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-25_0_3_load_63 | 61 | 0.0060748 | 0.0015225 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-25_0_3_load_55 | 63 | 0.0054326 | 0.0013615 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-25_0_3_load_51 | 64 | 0.0060287 | 0.0015109 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-25_0_3_load_52 | 65 | 0.0021318 | 0.00053428 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-25_0_3_load_93 | 68 | 0.004565 | 0.0011441 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-25_0_3_load_78 | 69 | 0.011655 | 0.002921 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-25_0_3_load_99 | 70 | 0.011603 | 0.0029079 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-25_0_3_load_100 | 71 | 0.011588 | 0.0029042 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-25_0_3_load_58 | 72 | 0.0019576 | 0.00049063 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-25_0_3_load_59 | 73 | 0.0011014 | 0.00027604 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-25_0_3_load_74 | 74 | 0.0014978 | 0.00037539 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-25_0_3_load_94 | 76 | 0.00050354 | 0.0001262 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-25_0_3_load_96 | 78 | 0.00074692 | 0.00018719 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_355-25_0_3_load_97 | 79 | 0.0035746 | 0.00089588 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_355-25_0_3_load_64 | 80 | 0.0018997 | 0.00047611 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_355-25_0_3_load_65 | 81 | 0.0016603 | 0.0004161 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_355-25_0_3_load_66 | 82 | 0.0016271 | 0.00040778 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_355-25_0_3_load_67 | 83 | 0.0016253 | 0.00040733 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_355-25_0_3_load_84 | 84 | 0.0016318 | 0.00040897 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_355-25_0_3_load_71 | 85 | 0.0021776 | 0.00054576 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_355-25_0_3_load_82 | 86 | 0.0016465 | 0.00041266 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_355-25_0_3_load_76 | 87 | 0.005495 | 0.0013772 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_355-25_0_3_load_77 | 88 | 0.0025074 | 0.00062842 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_355-25_0_3_load_81 | 89 | 0.0019528 | 0.00048943 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_355-25_0_3_load_86 | 90 | 0.0074087 | 0.0018568 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_355-25_0_3_load_87 | 91 | 0.0057001 | 0.0014286 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_355-25_0_3_load_83 | 92 | 0.002732 | 0.0006847 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_355-25_0_3_load_85 | 93 | 0.0073955 | 0.0018535 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_355-25_0_3_load_88 | 94 | 0.012173 | 0.0030508 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-25_0_3_line_0 |  | 0 | 1 | 0.024141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-25_0_3_line_1 |  | 0 | 2 | 0.0055695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-25_0_3_line_2 |  | 1 | 3 | 0.011166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-25_0_3_line_3 |  | 2 | 4 | 0.070244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-25_0_3_line_4 |  | 3 | 7 | 0.026841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-25_0_3_line_5 |  | 4 | 5 | 0.069118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-25_0_3_line_6 |  | 4 | 6 | 0.0087385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-25_0_3_line_7 |  | 5 | 8 | 0.022373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-25_0_3_line_8 |  | 6 | 9 | 0.021045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-25_0_3_line_9 |  | 7 | 10 | 0.036029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-25_0_3_line_10 |  | 8 | 14 | 0.59217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-25_0_3_line_11 |  | 9 | 57 | 0.040761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-25_0_3_line_12 |  | 10 | 35 | 0.020509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_355-25_0_3_line_13 |  | 10 | 32 | 0.038855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-25_0_3_line_14 |  | 11 | 12 | 0.028311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-25_0_3_line_15 |  | 11 | 13 | 0.021128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-25_0_3_line_16 |  | 12 | 54 | 0.01019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-25_0_3_line_17 |  | 12 | 35 | 0.014761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-25_0_3_line_18 |  | 14 | 78 | 0.0036113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-25_0_3_line_19 |  | 15 | 16 | 0.012637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_355-25_0_3_line_20 |  | 15 | 17 | 0.035254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_355-25_0_3_line_21 |  | 16 | 18 | 0.00099016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_355-25_0_3_line_22 |  | 17 | 19 | 0.040802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-25_0_3_line_23 |  | 18 | 20 | 0.02176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_355-25_0_3_line_24 |  | 19 | 21 | 0.0022393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-25_0_3_line_25 |  | 19 | 22 | 0.023774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-25_0_3_line_26 |  | 20 | 23 | 0.00882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_355-25_0_3_line_27 |  | 21 | 24 | 0.045936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-25_0_3_line_28 |  | 22 | 28 | 0.0021436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-25_0_3_line_29 |  | 23 | 29 | 0.014685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_355-25_0_3_line_30 |  | 23 | 30 | 0.018901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-25_0_3_line_31 |  | 24 | 25 | 0.049271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-25_0_3_line_32 |  | 24 | 26 | 0.028562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-25_0_3_line_33 |  | 25 | 27 | 0.037607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-25_0_3_line_34 |  | 26 | 33 | 0.0041533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-25_0_3_line_35 |  | 27 | 34 | 0.030677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-25_0_3_line_36 |  | 29 | 55 | 0.017316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_355-25_0_3_line_37 |  | 30 | 32 | 0.0019224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-25_0_3_line_38 |  | 31 | 32 | 0.025271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-25_0_3_line_39 |  | 33 | 72 | 0.0004577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-25_0_3_line_40 |  | 34 | 89 | 0.0097702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-25_0_3_line_41 |  | 36 | 37 | 0.012684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-25_0_3_line_42 |  | 36 | 38 | 0.011608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-25_0_3_line_43 |  | 37 | 39 | 0.0082563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-25_0_3_line_44 |  | 38 | 40 | 0.00074928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-25_0_3_line_45 |  | 39 | 41 | 0.0083135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-25_0_3_line_46 |  | 40 | 42 | 0.027707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_355-25_0_3_line_47 |  | 41 | 43 | 0.029649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_355-25_0_3_line_48 |  | 42 | 44 | 0.0059604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-25_0_3_line_49 |  | 42 | 45 | 0.019981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-25_0_3_line_50 |  | 44 | 87 | 0.083807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_355-25_0_3_line_51 |  | 45 | 85 | 0.017578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_355-25_0_3_line_52 |  | 46 | 47 | 0.013499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_355-25_0_3_line_53 |  | 46 | 48 | 0.032047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_355-25_0_3_line_54 |  | 47 | 49 | 0.0028346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_355-25_0_3_line_55 |  | 48 | 50 | 0.0017228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-25_0_3_line_56 |  | 49 | 51 | 0.019908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_355-25_0_3_line_57 |  | 50 | 52 | 0.029149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-25_0_3_line_58 |  | 52 | 53 | 0.017596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_355-25_0_3_line_59 |  | 53 | 58 | 0.0013471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_355-25_0_3_line_60 |  | 55 | 56 | 0.01473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_355-25_0_3_line_61 |  | 56 | 61 | 0.026447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-25_0_3_line_62 |  | 56 | 59 | 0.013897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_355-25_0_3_line_63 |  | 58 | 59 | 0.017059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_355-25_0_3_line_64 |  | 59 | 60 | 0.025055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-25_0_3_line_65 |  | 60 | 62 | 0.019794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_355-25_0_3_line_66 |  | 62 | 63 | 0.021188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_355-25_0_3_line_67 |  | 62 | 64 | 0.0070512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_355-25_0_3_line_68 |  | 63 | 69 | 0.0037039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_355-25_0_3_line_69 |  | 64 | 65 | 0.013318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_355-25_0_3_line_70 |  | 65 | 66 | 0.0084836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_355-25_0_3_line_71 |  | 66 | 67 | 0.008998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-25_0_3_line_72 |  | 66 | 68 | 0.006761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-25_0_3_line_73 |  | 67 | 70 | 0.020663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_355-25_0_3_line_74 |  | 67 | 71 | 0.035725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_355-25_0_3_line_75 |  | 72 | 73 | 0.011864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_355-25_0_3_line_76 |  | 73 | 74 | 0.01068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_355-25_0_3_line_77 |  | 74 | 75 | 0.0054121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_355-25_0_3_line_78 |  | 75 | 85 | 0.013165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_355-25_0_3_line_79 |  | 75 | 82 | 0.018804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_355-25_0_3_line_80 |  | 76 | 77 | 0.017315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_355-25_0_3_line_81 |  | 77 | 78 | 0.042391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_355-25_0_3_line_82 |  | 77 | 79 | 0.015037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_355-25_0_3_line_83 |  | 80 | 81 | 0.00083419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_355-25_0_3_line_84 |  | 80 | 82 | 0.0056849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_355-25_0_3_line_85 |  | 81 | 83 | 0.0065161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_355-25_0_3_line_86 |  | 83 | 84 | 0.0064591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_355-25_0_3_line_87 |  | 84 | 86 | 0.0065016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_355-25_0_3_line_88 |  | 86 | 92 | 0.0066206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_355-25_0_3_line_89 |  | 87 | 88 | 0.017619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_355-25_0_3_line_90 |  | 89 | 90 | 0.033744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_355-25_0_3_line_91 |  | 90 | 91 | 0.024168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_355-25_0_3_line_92 |  | 91 | 94 | 0.022759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_355-25_0_3_line_93 |  | 92 | 93 | 0.018997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-25_0_3_trafo_45 | 0.63 MVA 20/0.4 kV | 95 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2595973.7247 | 1192717.3973 | 2595967.6054 | 1192718.8578 | 2595962.7947 | 1192717.0268 | 2595956.4602 | 1192716.0084 | 2595953.0874 | 1192721.3135
1 | 2595948.1847 | 1192718.6711 | 2595953.0874 | 1192721.3135
2 | 2595973.7247 | 1192717.3973 | 2595983.7707 | 1192722.2709
3 | 2595948.1847 | 1192718.6711 | 2595938.4144 | 1192709.0839 | 2595909.5309 | 1192703.2008 | 2595890.4533 | 1192703.1808 | 2595883.1717 | 1192699.4617
4 | 2596007.9202 | 1192733.9867 | 2595983.7707 | 1192722.2709
5 | 2595874.5098 | 1192759.6217 | 2595874.5473 | 1192726.3041 | 2595883.4878 | 1192726.3201 | 2595883.2287 | 1192704.6311 | 2595883.1717 | 1192699.4617
6 | 2595883.1717 | 1192699.4617 | 2595874.5124 | 1192700.6347
7 | 2595874.5098 | 1192759.6217 | 2595874.4904 | 1192775.43 | 2595874.4563 | 1192781.1886 | 2595875.2513 | 1192781.0562
8 | 2595853.7967 | 1192704.21 | 2595861.4742 | 1192702.4007 | 2595874.5124 | 1192700.6347
9 | 2596039.6159 | 1192751.1147 | 2596009.2621 | 1192734.6377 | 2596007.9202 | 1192733.9867
10 | 2595875.2513 | 1192781.0562 | 2595575.8752 | 1193291.9746
11 | 2595853.7967 | 1192704.21 | 2595814.1224 | 1192713.5596
12 | 2596039.6159 | 1192751.1147 | 2596034.8993 | 1192764.3581 | 2596034.1225 | 1192770.7618
13 | 2596057.2526 | 1192716.6847 | 2596051.6867 | 1192725.2596 | 2596043.6248 | 1192739.5392 | 2596039.6159 | 1192751.1147
14 | 2596022.0734 | 1192811.8029 | 2596032.345 | 1192785.4154
15 | 2596022.0734 | 1192811.8029 | 2596015.366 | 1192811.5073 | 2596016.3478 | 1192809.3722 | 2596017.9308 | 1192805.9248 | 2596018.9811 | 1192803.6451 | 2596013.7737 | 1192801.1807
16 | 2596032.345 | 1192785.4154 | 2596039.5604 | 1192792.611
17 | 2596032.345 | 1192785.4154 | 2596034.1225 | 1192770.7618
18 | 2595575.8752 | 1193291.9746 | 2595573.338 | 1193294.5443
19 | 2596101.4946 | 1192669.7657 | 2596091.8655 | 1192677.9495
20 | 2596128.4789 | 1192647.0785 | 2596104.704 | 1192667.038 | 2596101.4946 | 1192669.7657
21 | 2596091.1111 | 1192678.5908 | 2596091.8655 | 1192677.9495
22 | 2596128.4789 | 1192647.0785 | 2596123.5725 | 1192638.7329 | 2596121.3609 | 1192636.9556 | 2596118.5632 | 1192636.2237 | 2596114.5621 | 1192636.9379 | 2596106.042 | 1192638.9223 | 2596098.0859 | 1192640.7063 | 2596096.993 | 1192636.3381
23 | 2596074.5306 | 1192692.6827 | 2596091.1111 | 1192678.5908
24 | 2596096.993 | 1192636.3381 | 2596099.1684 | 1192635.8069
25 | 2596096.993 | 1192636.3381 | 2596078.2452 | 1192639.8302 | 2596073.5734 | 1192640.3792
26 | 2596074.5306 | 1192692.6827 | 2596068.5975 | 1192699.2234
27 | 2596144.2902 | 1192628.8251 | 2596136.9574 | 1192628.3074 | 2596128.1927 | 1192629.147 | 2596119.4972 | 1192631.0204 | 2596106.4885 | 1192634.0195 | 2596099.1684 | 1192635.8069
28 | 2596073.5734 | 1192640.3792 | 2596071.4444 | 1192640.6294
29 | 2596068.5975 | 1192699.2234 | 2596057.7707 | 1192689.3024
30 | 2596068.5975 | 1192699.2234 | 2596058.2999 | 1192715.0727
31 | 2596180.9536 | 1192607.8123 | 2596171.6724 | 1192611.6092 | 2596163.8815 | 1192621.4306 | 2596158.1112 | 1192632.4179 | 2596151.1128 | 1192630.2436 | 2596144.2902 | 1192628.8251
32 | 2596144.2902 | 1192628.8251 | 2596141.5934 | 1192619.3997 | 2596130.8264 | 1192604.0391
33 | 2596180.9536 | 1192607.8123 | 2596175.5219 | 1192570.5999
34 | 2596128.4425 | 1192600.638 | 2596130.8264 | 1192604.0391
35 | 2596175.5219 | 1192570.5999 | 2596171.0912 | 1192540.2448
36 | 2596043.6073 | 1192679.7189 | 2596043.6073 | 1192679.7189 | 2596050.9342 | 1192683.0379 | 2596057.7707 | 1192689.3024
37 | 2596057.2526 | 1192716.6847 | 2596058.2999 | 1192715.0727
38 | 2596057.2526 | 1192716.6847 | 2596057.4997 | 1192732.8263 | 2596064.5419 | 1192738.6322
39 | 2596128.1798 | 1192600.2632 | 2596128.4425 | 1192600.638
40 | 2596169.6801 | 1192530.577 | 2596171.0912 | 1192540.2448
41 | 2596069.9786 | 1192527.8021 | 2596059.3407 | 1192534.7098
42 | 2596069.9786 | 1192527.8021 | 2596073.4965 | 1192525.5177 | 2596080.5445 | 1192523.2201
43 | 2596059.3407 | 1192534.7098 | 2596059.3407 | 1192534.7098 | 2596051.4229 | 1192537.0497
44 | 2596081.2569 | 1192522.9878 | 2596080.5445 | 1192523.2201
45 | 2596043.115 | 1192537.3555 | 2596051.4229 | 1192537.0497 | 2596051.4229 | 1192537.0497
46 | 2596108.2917 | 1192525.8058 | 2596105.2576 | 1192525.1297 | 2596089.7443 | 1192521.6493 | 2596085.3539 | 1192521.6522 | 2596081.2569 | 1192522.9878
47 | 2596043.115 | 1192537.3555 | 2596043.115 | 1192537.3555 | 2596031.7259 | 1192534.9174 | 2596018.46 | 1192529.9571 | 2596014.8639 | 1192528.6147
48 | 2596108.2917 | 1192525.8058 | 2596108.8154 | 1192519.8685
49 | 2596108.2917 | 1192525.8058 | 2596110.116 | 1192545.7031
50 | 2596108.8154 | 1192519.8685 | 2596109.0331 | 1192517.4009 | 2596108.9152 | 1192512.0537 | 2596107.4402 | 1192506.0404 | 2596100.2144 | 1192483.2221 | 2596097.2037 | 1192471.8404 | 2596095.5732 | 1192461.2804 | 2596095.8263 | 1192452.2866 | 2596097.2991 | 1192443.4143 | 2596099.2643 | 1192438.3784
51 | 2596111.721 | 1192563.2079 | 2596110.116 | 1192545.7031
52 | 2595973.6806 | 1192610.5548 | 2595972.6982 | 1192609.7636 | 2595963.9347 | 1192601.2227
53 | 2596000.572 | 1192627.8085 | 2595997.4735 | 1192626.3665 | 2595989.4596 | 1192621.8363 | 2595980.6142 | 1192616.1393 | 2595977.5256 | 1192613.6512 | 2595973.6806 | 1192610.5548
54 | 2595963.9347 | 1192601.2227 | 2595961.9047 | 1192599.2443
55 | 2596000.572 | 1192627.8085 | 2596002.134 | 1192628.5353
56 | 2595949.1472 | 1192583.983 | 2595954.3922 | 1192590.6995 | 2595960.2964 | 1192597.6769 | 2595961.9047 | 1192599.2443
57 | 2596029.5168 | 1192638.3066 | 2596020.0716 | 1192635.9229 | 2596007.3013 | 1192630.94 | 2596002.134 | 1192628.5353
58 | 2596029.5168 | 1192638.3066 | 2596022.9677 | 1192654.6386
59 | 2596022.4663 | 1192655.8889 | 2596022.9677 | 1192654.6386
60 | 2596029.6788 | 1192674.9257 | 2596043.6073 | 1192679.7189
61 | 2596019.0626 | 1192699.1568 | 2596029.6788 | 1192674.9257
62 | 2596016.1172 | 1192671.7221 | 2596029.6788 | 1192674.9257
63 | 2596016.1172 | 1192671.7221 | 2596022.4663 | 1192655.8889
64 | 2596016.1172 | 1192671.7221 | 2595992.8745 | 1192662.3662
65 | 2595974.5127 | 1192654.975 | 2595992.8745 | 1192662.3662
66 | 2595974.5127 | 1192654.975 | 2595962.909 | 1192672.7034
67 | 2595974.5127 | 1192654.975 | 2595967.9872 | 1192652.3034
68 | 2595959.6837 | 1192670.8825 | 2595962.909 | 1192672.7034
69 | 2595967.9872 | 1192652.3034 | 2595959.1425 | 1192648.6823 | 2595956.1772 | 1192646.3693
70 | 2595949.4879 | 1192641.1516 | 2595956.1772 | 1192646.3693
71 | 2595949.4879 | 1192641.1516 | 2595943.0974 | 1192647.5038
72 | 2595949.4879 | 1192641.1516 | 2595944.34 | 1192636.7529
73 | 2595943.0974 | 1192647.5038 | 2595930.7812 | 1192659.7744 | 2595928.4396 | 1192657.4414
74 | 2595917.4525 | 1192629.9235 | 2595919.4207 | 1192632.479 | 2595925.1958 | 1192628.9509 | 2595943.0974 | 1192647.5038
75 | 2596121.37 | 1192590.5482 | 2596128.1798 | 1192600.2632
76 | 2596116.7675 | 1192580.9569 | 2596119.9951 | 1192588.5866 | 2596121.37 | 1192590.5482
77 | 2596114.6589 | 1192575.9724 | 2596116.7675 | 1192580.9569
78 | 2596114.6589 | 1192575.9724 | 2596112.1535 | 1192567.9254 | 2596111.721 | 1192563.2079
79 | 2596114.6589 | 1192575.9724 | 2596100.4101 | 1192588.2425
80 | 2595539.115 | 1193317.5714 | 2595540.2323 | 1193333.7791 | 2595540.466 | 1193334.8219
81 | 2595539.115 | 1193317.5714 | 2595544.5101 | 1193316.8113 | 2595557.5528 | 1193310.5315 | 2595573.338 | 1193294.5443
82 | 2595539.115 | 1193317.5714 | 2595534.1313 | 1193318.2755 | 2595524.2135 | 1193316.9633
83 | 2596095.4701 | 1192592.4964 | 2596096.1022 | 1192591.9521
84 | 2596096.1022 | 1192591.9521 | 2596100.4101 | 1192588.2425
85 | 2596095.4701 | 1192592.4964 | 2596090.5324 | 1192596.7484
86 | 2596090.5324 | 1192596.7484 | 2596085.638 | 1192600.9632
87 | 2596080.7114 | 1192605.2056 | 2596085.638 | 1192600.9632
88 | 2596080.7114 | 1192605.2056 | 2596075.6945 | 1192609.5258
89 | 2596105.6694 | 1192421.9653 | 2596099.2643 | 1192438.3784
90 | 2596164.8064 | 1192497.1869 | 2596164.8064 | 1192497.1869 | 2596169.6801 | 1192530.577
91 | 2596164.8064 | 1192497.1869 | 2596151.7356 | 1192499.0742 | 2596150.0857 | 1192488.2376
92 | 2596146.6602 | 1192465.7378 | 2596150.0857 | 1192488.2376
93 | 2596060.1681 | 1192620.3765 | 2596070.4992 | 1192613.9996 | 2596075.6945 | 1192609.5258

## bus_geodata
| x | y | coords
0 | 2595953.0874 | 1192721.3135
1 | 2595973.7247 | 1192717.3973
2 | 2595948.1847 | 1192718.6711
3 | 2595983.7707 | 1192722.2709
4 | 2595883.1717 | 1192699.4617
5 | 2595874.5098 | 1192759.6217
6 | 2595874.5124 | 1192700.6347
7 | 2596007.9202 | 1192733.9867
8 | 2595875.2513 | 1192781.0562
9 | 2595853.7967 | 1192704.21
10 | 2596039.6159 | 1192751.1147
11 | 2596022.0734 | 1192811.8029
12 | 2596032.345 | 1192785.4154
13 | 2596013.7737 | 1192801.1807
14 | 2595575.8752 | 1193291.9746
15 | 2596101.4946 | 1192669.7657
16 | 2596091.8655 | 1192677.9495
17 | 2596128.4789 | 1192647.0785
18 | 2596091.1111 | 1192678.5908
19 | 2596096.993 | 1192636.3381
20 | 2596074.5306 | 1192692.6827
21 | 2596099.1684 | 1192635.8069
22 | 2596073.5734 | 1192640.3792
23 | 2596068.5975 | 1192699.2234
24 | 2596144.2902 | 1192628.8251
25 | 2596180.9536 | 1192607.8123
26 | 2596130.8264 | 1192604.0391
27 | 2596175.5219 | 1192570.5999
28 | 2596071.4444 | 1192640.6294
29 | 2596057.7707 | 1192689.3024
30 | 2596058.2999 | 1192715.0727
31 | 2596064.5419 | 1192738.6322
32 | 2596057.2526 | 1192716.6847
33 | 2596128.4425 | 1192600.638
34 | 2596171.0912 | 1192540.2448
35 | 2596034.1225 | 1192770.7618
36 | 2596069.9786 | 1192527.8021
37 | 2596059.3407 | 1192534.7098
38 | 2596080.5445 | 1192523.2201
39 | 2596051.4229 | 1192537.0497
40 | 2596081.2569 | 1192522.9878
41 | 2596043.115 | 1192537.3555
42 | 2596108.2917 | 1192525.8058
43 | 2596014.8639 | 1192528.6147
44 | 2596108.8154 | 1192519.8685
45 | 2596110.116 | 1192545.7031
46 | 2595973.6806 | 1192610.5548
47 | 2595963.9347 | 1192601.2227
48 | 2596000.572 | 1192627.8085
49 | 2595961.9047 | 1192599.2443
50 | 2596002.134 | 1192628.5353
51 | 2595949.1472 | 1192583.983
52 | 2596029.5168 | 1192638.3066
53 | 2596022.9677 | 1192654.6386
54 | 2596039.5604 | 1192792.611
55 | 2596043.6073 | 1192679.7189
56 | 2596029.6788 | 1192674.9257
57 | 2595814.1224 | 1192713.5596
58 | 2596022.4663 | 1192655.8889
59 | 2596016.1172 | 1192671.7221
60 | 2595992.8745 | 1192662.3662
61 | 2596019.0626 | 1192699.1568
62 | 2595974.5127 | 1192654.975
63 | 2595962.909 | 1192672.7034
64 | 2595967.9872 | 1192652.3034
65 | 2595956.1772 | 1192646.3693
66 | 2595949.4879 | 1192641.1516
67 | 2595943.0974 | 1192647.5038
68 | 2595944.34 | 1192636.7529
69 | 2595959.6837 | 1192670.8825
70 | 2595928.4396 | 1192657.4414
71 | 2595917.4525 | 1192629.9235
72 | 2596128.1798 | 1192600.2632
73 | 2596121.37 | 1192590.5482
74 | 2596116.7675 | 1192580.9569
75 | 2596114.6589 | 1192575.9724
76 | 2595540.466 | 1193334.8219
77 | 2595539.115 | 1193317.5714
78 | 2595573.338 | 1193294.5443
79 | 2595524.2135 | 1193316.9633
80 | 2596096.1022 | 1192591.9521
81 | 2596095.4701 | 1192592.4964
82 | 2596100.4101 | 1192588.2425
83 | 2596090.5324 | 1192596.7484
84 | 2596085.638 | 1192600.9632
85 | 2596111.721 | 1192563.2079
86 | 2596080.7114 | 1192605.2056
87 | 2596099.2643 | 1192438.3784
88 | 2596105.6694 | 1192421.9653
89 | 2596169.6801 | 1192530.577
90 | 2596164.8064 | 1192497.1869
91 | 2596150.0857 | 1192488.2376
92 | 2596075.6945 | 1192609.5258
93 | 2596060.1681 | 1192620.3765
94 | 2596146.6602 | 1192465.7378
95 | 2596016.1172 | 1192671.7221

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1