## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-32_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-32_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-32_0_3_node_22 | 0.4 | n |  | TRUE
3 | bus_LV_355-32_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_355-32_0_3_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_355-32_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_355-32_0_3_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_355-32_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_355-32_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_355-32_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_355-32_0_3_node_58 | 0.4 | n |  | TRUE
11 | bus_LV_355-32_0_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_355-32_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_355-32_0_3_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_355-32_0_3_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_355-32_0_3_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_355-32_0_3_node_66 | 0.4 | n |  | TRUE
17 | bus_LV_355-32_0_3_node_67 | 0.4 | n |  | TRUE
18 | bus_LV_355-32_0_3_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_355-32_0_3_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_355-32_0_3_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_355-32_0_3_node_5 | 0.4 | n |  | TRUE
22 | bus_LV_355-32_0_3_node_6 | 0.4 | n |  | TRUE
23 | bus_LV_355-32_0_3_node_7 | 0.4 | n |  | TRUE
24 | bus_LV_355-32_0_3_node_8 | 0.4 | n |  | TRUE
25 | bus_LV_355-32_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_355-32_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_355-32_0_3_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_355-32_0_3_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_355-32_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_355-32_0_3_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_355-32_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_355-32_0_3_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_355-32_0_3_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_355-32_0_3_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_355-32_0_3_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_355-32_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_355-32_0_3_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_355-32_0_3_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_355-32_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_355-32_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_355-32_0_3_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_355-32_0_3_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_355-32_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_355-32_0_3_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_355-32_0_3_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_355-32_0_3_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_355-32_0_3_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_355-32_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_355-32_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_355-32_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_355-32_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_355-32_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_355-32_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_355-32_0_3_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_355-32_0_3_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_355-32_0_3_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_355-32_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_355-32_0_3_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_355-32_0_3_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_355-32_0_3_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_355-32_0_3_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_355-32_0_3_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_355-32_0_3_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_355-32_0_3_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_355-32_0_3_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_355-32_0_3_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_355-32_0_3_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_355-32_0_3_node_71 | 0.4 | n |  | TRUE
69 | bus_MV_120_0_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-32_0_3_load_0 | 0 | 0.00051992 | 0.0001303 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-32_0_3_load_1 | 1 | 0.00023043 | 5.775e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-32_0_3_load_22 | 2 | 0.0029145 | 0.00073044 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-32_0_3_load_23 | 6 | 0.0019104 | 0.00047878 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-32_0_3_load_9 | 7 | 0.00060317 | 0.00015117 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-32_0_3_load_11 | 9 | 0.00032203 | 8.0708e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-32_0_3_load_13 | 11 | 0.0022873 | 0.00057324 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-32_0_3_load_12 | 12 | 0.0047137 | 0.0011814 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-32_0_3_load_30 | 13 | 0.0014895 | 0.00037331 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-32_0_3_load_27 | 14 | 0.0015219 | 0.00038141 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-32_0_3_load_52 | 15 | 0.00031713 | 7.948e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-32_0_3_load_66 | 16 | 0.001484 | 0.00037193 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-32_0_3_load_65 | 18 | 0.0034466 | 0.00086379 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-32_0_3_load_31 | 19 | 0.00023584 | 5.9106e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-32_0_3_load_29 | 20 | 0.00058219 | 0.00014591 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-32_0_3_load_5 | 21 | 0.0017501 | 0.00043861 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-32_0_3_load_6 | 22 | 0.0008969 | 0.00022478 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-32_0_3_load_7 | 23 | 0.0015594 | 0.00039083 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-32_0_3_load_19 | 26 | 0.00056362 | 0.00014126 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-32_0_3_load_57 | 27 | 0.0014063 | 0.00035244 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-32_0_3_load_53 | 28 | 0.00085677 | 0.00021473 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-32_0_3_load_25 | 29 | 0.00063137 | 0.00015824 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-32_0_3_load_18 | 31 | 0.0010965 | 0.00027481 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-32_0_3_load_56 | 32 | 0.0017607 | 0.00044128 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-32_0_3_load_46 | 37 | 0.00025805 | 6.4674e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-32_0_3_load_47 | 38 | 0.0039207 | 0.00098261 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-32_0_3_load_33 | 39 | 0.0067721 | 0.0016973 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-32_0_3_load_32 | 40 | 0.030025 | 0.007525 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-32_0_3_load_20 | 41 | 0.00096604 | 0.00024211 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-32_0_3_load_43 | 42 | 0.001285 | 0.00032205 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-32_0_3_load_35 | 43 | 0.015694 | 0.0039332 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-32_0_3_load_24 | 44 | 0.00032804 | 8.2214e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-32_0_3_load_28 | 46 | 0.00083357 | 0.00020891 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-32_0_3_load_54 | 47 | 0.00025828 | 6.4732e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-32_0_3_load_37 | 50 | 0.087542 | 0.02194 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-32_0_3_load_40 | 51 | 0.0011956 | 0.00029964 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-32_0_3_load_41 | 52 | 0.00081791 | 0.00020499 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-32_0_3_load_44 | 54 | 0.00017931 | 4.494e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-32_0_3_load_72 | 56 | 0.00083555 | 0.00020941 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-32_0_3_load_48 | 57 | 0.00042902 | 0.00010752 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-32_0_3_load_59 | 59 | 0.0016087 | 0.00040317 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-32_0_3_load_68 | 60 | 0.00043487 | 0.00010899 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-32_0_3_load_69 | 61 | 0.00019042 | 4.7723e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-32_0_3_load_63 | 62 | 0.0006196 | 0.00015529 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-32_0_3_load_61 | 63 | 0.0003551 | 8.8997e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-32_0_3_load_62 | 64 | 0.0010121 | 0.00025366 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-32_0_3_load_64 | 65 | 0.00043429 | 0.00010884 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-32_0_3_load_74 | 67 | 0.0036771 | 0.00092156 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-32_0_3_load_71 | 68 | 0.001148 | 0.00028772 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-32_0_3_line_0 |  | 0 | 1 | 0.06513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-32_0_3_line_1 |  | 0 | 2 | 0.24861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-32_0_3_line_2 |  | 1 | 3 | 0.007129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-32_0_3_line_3 |  | 2 | 6 | 0.013845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_355-32_0_3_line_4 |  | 2 | 7 | 0.013843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_355-32_0_3_line_5 |  | 3 | 8 | 0.019249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-32_0_3_line_6 |  | 3 | 9 | 0.045624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-32_0_3_line_7 |  | 4 | 5 | 0.38331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_355-32_0_3_line_8 |  | 4 | 6 | 0.24175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_355-32_0_3_line_9 |  | 5 | 10 | 0.40205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_355-32_0_3_line_10 |  | 7 | 23 | 0.0034008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_355-32_0_3_line_11 |  | 8 | 13 | 0.030959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-32_0_3_line_12 |  | 8 | 14 | 0.013986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_355-32_0_3_line_13 |  | 9 | 15 | 0.019217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-32_0_3_line_14 |  | 10 | 16 | 0.051319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-32_0_3_line_15 |  | 10 | 17 | 0.45748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-32_0_3_line_16 |  | 10 | 18 | 0.11779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-32_0_3_line_17 |  | 11 | 12 | 0.033189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-32_0_3_line_18 |  | 12 | 24 | 0.017788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-32_0_3_line_19 |  | 13 | 28 | 0.021013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_355-32_0_3_line_20 |  | 14 | 29 | 0.046276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_355-32_0_3_line_21 |  | 15 | 30 | 0.012483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-32_0_3_line_22 |  | 16 | 60 | 0.025941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-32_0_3_line_23 |  | 17 | 61 | 0.038063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-32_0_3_line_24 |  | 18 | 62 | 0.029103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-32_0_3_line_25 |  | 19 | 20 | 0.0067073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-32_0_3_line_26 |  | 20 | 45 | 0.019309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-32_0_3_line_27 |  | 21 | 22 | 0.01151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_355-32_0_3_line_28 |  | 21 | 23 | 0.04019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_355-32_0_3_line_29 |  | 22 | 24 | 0.02332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_355-32_0_3_line_30 |  | 24 | 25 | 0.006513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_355-32_0_3_line_31 |  | 25 | 26 | 0.025854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_355-32_0_3_line_32 |  | 25 | 27 | 0.036184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-32_0_3_line_33 |  | 26 | 31 | 0.022861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_355-32_0_3_line_34 |  | 27 | 32 | 0.011716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-32_0_3_line_35 |  | 28 | 47 | 0.046024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-32_0_3_line_36 |  | 29 | 44 | 0.0080014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-32_0_3_line_37 |  | 30 | 58 | 0.045492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-32_0_3_line_38 |  | 30 | 57 | 0.013302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-32_0_3_line_39 |  | 31 | 41 | 0.039274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_355-32_0_3_line_40 |  | 33 | 34 | 0.15629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-32_0_3_line_41 |  | 33 | 35 | 0.13151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_355-32_0_3_line_42 |  | 33 | 36 | 0.57203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_355-32_0_3_line_43 |  | 34 | 37 | 0.029487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-32_0_3_line_44 |  | 34 | 38 | 0.036338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-32_0_3_line_45 |  | 35 | 39 | 0.037047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-32_0_3_line_46 |  | 35 | 40 | 0.052195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_355-32_0_3_line_47 |  | 36 | 41 | 0.36362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_355-32_0_3_line_48 |  | 37 | 42 | 0.010581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-32_0_3_line_49 |  | 39 | 43 | 0.012427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-32_0_3_line_50 |  | 42 | 52 | 0.02892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_355-32_0_3_line_51 |  | 43 | 48 | 0.098372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_355-32_0_3_line_52 |  | 44 | 45 | 0.016939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_355-32_0_3_line_53 |  | 45 | 46 | 0.0021958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_355-32_0_3_line_54 |  | 48 | 49 | 0.032092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_355-32_0_3_line_55 |  | 49 | 50 | 0.018853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-32_0_3_line_56 |  | 51 | 52 | 0.033031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_355-32_0_3_line_57 |  | 51 | 53 | 0.00051861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-32_0_3_line_58 |  | 53 | 54 | 0.015129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-32_0_3_line_59 |  | 53 | 55 | 0.038347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_355-32_0_3_line_60 |  | 55 | 56 | 0.044115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-32_0_3_line_61 |  | 58 | 59 | 0.13821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-32_0_3_line_62 |  | 62 | 63 | 0.002169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_355-32_0_3_line_63 |  | 63 | 64 | 0.038449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-32_0_3_line_64 |  | 64 | 65 | 0.014447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-32_0_3_line_65 |  | 64 | 66 | 0.13152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_355-32_0_3_line_66 |  | 66 | 67 | 0.015389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_355-32_0_3_line_67 |  | 67 | 68 | 0.33509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-32_0_3_trafo_32 | 0.63 MVA 20/0.4 kV | 69 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2593652.3585 | 1192507.2631 | 2593644.9588 | 1192508.7152 | 2593636.8522 | 1192511.8589 | 2593629.2731 | 1192516.4917 | 2593624.392 | 1192520.7659 | 2593621.6207 | 1192523.7149 | 2593619.0636 | 1192527.4085 | 2593616.6595 | 1192531.5466 | 2593615.0251 | 1192535.5393 | 2593613.4673 | 1192539.9878 | 2593611.692 | 1192547.5826 | 2593611.0862 | 1192550.8993
1 | 2593652.3585 | 1192507.2631 | 2593785.894 | 1192297.5597
2 | 2593609.8052 | 1192557.9123 | 2593611.0862 | 1192550.8993
3 | 2593797.3439 | 1192305.3435 | 2593785.894 | 1192297.5597
4 | 2593785.894 | 1192297.5597 | 2593777.9508 | 1192292.1598 | 2593777.8018 | 1192287.924
5 | 2593609.8052 | 1192557.9123 | 2593608.5042 | 1192567.1408 | 2593607.4522 | 1192574.0789 | 2593607.0438 | 1192576.9586
6 | 2593609.8052 | 1192557.9123 | 2593605.5508 | 1192556.7051 | 2593600.7317 | 1192554.965 | 2593597.0482 | 1192553.1013 | 2593592.0904 | 1192549.8939 | 2593582.9589 | 1192542.7223 | 2593578.8155 | 1192538.4579 | 2593574.5027 | 1192532.6928 | 2593573.7923 | 1192531.6175
7 | 2593888.6376 | 1192529.1912 | 2593897.0954 | 1192526.4699 | 2593907.6236 | 1192528.4712 | 2593932.7184 | 1192538.5396 | 2593945.5873 | 1192541.2167 | 2593954.5055 | 1192541.5855 | 2593962.706 | 1192540.6322 | 2593975.8763 | 1192532.4478 | 2593983.1861 | 1192525.1809 | 2593993.6095 | 1192514.0645 | 2594015.7398 | 1192494.6652 | 2594023.6566 | 1192492.0558 | 2594036.4616 | 1192491.8205 | 2594080.0593 | 1192498.2356 | 2594080.753 | 1192498.2349 | 2594089.3056 | 1192498.8044 | 2594096.2317 | 1192496.3295 | 2594106.8205 | 1192490.3269 | 2594114.7841 | 1192481.103 | 2594127.3805 | 1192470.2959 | 2594137.1601 | 1192470.5974 | 2594142.8375 | 1192469.4245 | 2594140.2576 | 1192481.2333 | 2594137.0414 | 1192489.2295 | 2594129.06 | 1192503.5895 | 2594114.3713 | 1192518.1006 | 2594101.5386 | 1192521.0928 | 2594122.5309 | 1192537.3248
8 | 2593888.6376 | 1192529.1912 | 2593797.3439 | 1192305.3435
9 | 2594122.5309 | 1192537.3248 | 2594138.543 | 1192535.3745 | 2594154.7208 | 1192531.323 | 2594175.7636 | 1192529.4124 | 2594188.4331 | 1192523.2189 | 2594209.4744 | 1192519.7074 | 2594219.4581 | 1192526.1455 | 2594204.6347 | 1192535.5761 | 2594198.162 | 1192541.7635 | 2594185.5071 | 1192562.7536 | 2594175.8117 | 1192578.0935 | 2594165.302 | 1192586.9752 | 2594154.2573 | 1192602.0496 | 2594145.3614 | 1192608.7731 | 2594124.5163 | 1192617.5317 | 2594119.2151 | 1192628.943 | 2594124.9514 | 1192641.1659 | 2594135.9303 | 1192644.4456 | 2594142.7407 | 1192633.0551 | 2594153.2184 | 1192622.8505 | 2594164.733 | 1192612.8227 | 2594179.5997 | 1192601.1241 | 2594191.9233 | 1192592.185 | 2594206.5093 | 1192581.6985 | 2594217.5403 | 1192575.8402 | 2594231.591 | 1192571.3908 | 2594236.9336 | 1192570.8519
10 | 2593777.8018 | 1192287.924 | 2593777.6822 | 1192284.5253
11 | 2593607.0438 | 1192576.9586 | 2593602.8277 | 1192607.6288
12 | 2593607.0438 | 1192576.9586 | 2593620.7219 | 1192574.0392
13 | 2593564.5775 | 1192514.8033 | 2593565.6366 | 1192517.2499 | 2593569.7539 | 1192525.5053 | 2593573.7923 | 1192531.6175
14 | 2594236.9336 | 1192570.8519 | 2594247.0469 | 1192569.597 | 2594261.3523 | 1192568.3046 | 2594273.6841 | 1192567.6034 | 2594287.5929 | 1192571.38
15 | 2593989.3418 | 1192934.0787 | 2593990.8301 | 1192928.6633 | 2593992.6467 | 1192923.6921 | 2593997.0872 | 1192913.4155 | 2594002.0101 | 1192905.1617 | 2594025.3942 | 1192868.3742 | 2594037.1523 | 1192851.1199 | 2594045.1442 | 1192840.3173 | 2594052.7872 | 1192831.2159 | 2594061.2085 | 1192822.8808 | 2594075.6367 | 1192807.914 | 2594077.9747 | 1192798.3622 | 2594087.0767 | 1192761.9339 | 2594093.0713 | 1192735.3028 | 2594098.7174 | 1192718.3327 | 2594105.0723 | 1192701.3507 | 2594110.7996 | 1192689.2386 | 2594118.6735 | 1192674.3896 | 2594135.9303 | 1192644.4456 | 2594142.7407 | 1192633.0551 | 2594153.2184 | 1192622.8505 | 2594164.733 | 1192612.8227 | 2594179.5997 | 1192601.1241 | 2594191.9233 | 1192592.185 | 2594206.5093 | 1192581.6985 | 2594217.5403 | 1192575.8402 | 2594231.591 | 1192571.3908 | 2594236.9336 | 1192570.8519
16 | 2594236.9336 | 1192570.8519 | 2594241.4549 | 1192572.3372 | 2594246.3651 | 1192573.9666 | 2594252.8777 | 1192577.3176 | 2594262.0823 | 1192582.2001 | 2594269.0367 | 1192585.4617 | 2594277.4246 | 1192589.1222 | 2594290.7141 | 1192593.5894 | 2594301.1436 | 1192596.2252 | 2594311.3662 | 1192597.6494 | 2594320.9789 | 1192599.0631 | 2594329.425 | 1192599.9666 | 2594336.7194 | 1192600.0707 | 2594345.7432 | 1192599.3395 | 2594349.3639 | 1192599.3018
17 | 2593795.0814 | 1192215.7866 | 2593818.7502 | 1192223.2475 | 2593827.1206 | 1192223.401
18 | 2593778.1163 | 1192210.4389 | 2593795.0814 | 1192215.7866
19 | 2593600.1229 | 1192628.4672 | 2593601.9618 | 1192613.928 | 2593602.8277 | 1192607.6288
20 | 2593620.7219 | 1192574.0392 | 2593623.115 | 1192573.5284 | 2593631.2157 | 1192572.0633 | 2593636.5888 | 1192571.6239 | 2593641.1244 | 1192572.0193 | 2593645.3096 | 1192572.7151 | 2593650.1513 | 1192574.233 | 2593653.0798 | 1192575.7084 | 2593654.9793 | 1192577.2738 | 2593656.5823 | 1192579.4399 | 2593659.424 | 1192586.8124
21 | 2593560.2857 | 1192503.1039 | 2593562.0146 | 1192508.8828 | 2593564.5775 | 1192514.8033
22 | 2594310.0928 | 1192581.342 | 2594305.4527 | 1192575.2433 | 2594290.6553 | 1192572.2116 | 2594287.5929 | 1192571.38
23 | 2593983.3288 | 1192897.1321 | 2593982.9363 | 1192908.3384 | 2593983.5866 | 1192918.2874 | 2593985.6067 | 1192926.0672 | 2593989.3418 | 1192934.0787
24 | 2594376.82 | 1192592.7253 | 2594375.9667 | 1192593.5075 | 2594370.6574 | 1192596.9811 | 2594364.554 | 1192598.9213 | 2594356.3454 | 1192599.2293 | 2594349.3639 | 1192599.3018
25 | 2593697.0474 | 1192597.8258 | 2593703.6448 | 1192596.6169
26 | 2593678.0542 | 1192601.3062 | 2593697.0474 | 1192597.8258
27 | 2593773.2757 | 1192244.9263 | 2593774.6587 | 1192233.4998
28 | 2593773.2757 | 1192244.9263 | 2593772.7075 | 1192249.6208 | 2593773.4336 | 1192258.6914 | 2593777.2594 | 1192272.5058 | 2593777.6822 | 1192284.5253
29 | 2593778.1163 | 1192210.4389 | 2593774.967 | 1192230.953 | 2593774.6587 | 1192233.4998
30 | 2593771.9094 | 1192208.4111 | 2593778.1163 | 1192210.4389
31 | 2593771.9094 | 1192208.4111 | 2593775.5459 | 1192182.8138
32 | 2593771.9094 | 1192208.4111 | 2593737.9769 | 1192196.9298 | 2593737.6177 | 1192196.8903
33 | 2593777.5093 | 1192160.0819 | 2593777.3573 | 1192170.063 | 2593775.5459 | 1192182.8138
34 | 2593725.9783 | 1192196.119 | 2593728.0665 | 1192195.8397 | 2593737.6177 | 1192196.8903
35 | 2593600.1229 | 1192628.4672 | 2593594.348 | 1192674.1276
36 | 2593662.848 | 1192593.9853 | 2593661.4052 | 1192591.9524 | 2593659.424 | 1192586.8124
37 | 2593514.8623 | 1192507.3669 | 2593560.2857 | 1192503.1039
38 | 2593560.2857 | 1192503.1039 | 2593559.498 | 1192489.8257
39 | 2593777.6319 | 1192120.8202 | 2593777.9918 | 1192128.4071 | 2593777.5093 | 1192160.0819
40 | 2594170.7696 | 1192041.5498 | 2594206.7487 | 1192025.7172 | 2594232.9362 | 1192013.4184 | 2594256.783 | 1192000.6107 | 2594268.2483 | 1191993.329 | 2594278.0663 | 1191985.2597 | 2594283.1765 | 1191980.4078 | 2594289.9695 | 1191973.631 | 2594301.4967 | 1191959.3457
41 | 2594170.7696 | 1192041.5498 | 2594246.2657 | 1192104.4755 | 2594232.1093 | 1192134.5384
42 | 2594170.7696 | 1192041.5498 | 2593658.4531 | 1191787.0882
43 | 2594301.4967 | 1191959.3457 | 2594306.1016 | 1191952.1263 | 2594311.7003 | 1191939.9812 | 2594313.9836 | 1191932.7844
44 | 2594301.4967 | 1191959.3457 | 2594301.1006 | 1191967.5615 | 2594299.9381 | 1191979.391 | 2594299.5917 | 1191991.62 | 2594301.0679 | 1191995.329
45 | 2594232.1093 | 1192134.5384 | 2594264.7558 | 1192152.051
46 | 2594232.1093 | 1192134.5384 | 2594209.2261 | 1192181.4499
47 | 2593658.4531 | 1191787.0882 | 2593669.4388 | 1191795.0361 | 2593692.734 | 1191822.7035 | 2593709.0384 | 1191857.371 | 2593761.5834 | 1191987.0168 | 2593772.4577 | 1192019.8781 | 2593774.5305 | 1192055.4502 | 2593777.6319 | 1192120.8202
48 | 2594315.9194 | 1191922.4145 | 2594314.9074 | 1191929.8728 | 2594313.9836 | 1191932.7844
49 | 2594264.7558 | 1192152.051 | 2594275.7063 | 1192157.9252
50 | 2594315.9194 | 1191922.4145 | 2594318.8055 | 1191901.1429 | 2594319.1443 | 1191893.6968
51 | 2594362.3936 | 1192204.4271 | 2594275.7063 | 1192157.9252
52 | 2593678.0542 | 1192601.3062 | 2593668.6138 | 1192597.2586 | 2593664.9458 | 1192595.5728 | 2593662.848 | 1192593.9853
53 | 2593678.0542 | 1192601.3062 | 2593680.1322 | 1192602.0156
54 | 2594362.3936 | 1192204.4271 | 2594368.6854 | 1192207.8006 | 2594391.3801 | 1192218.3512
55 | 2594391.3801 | 1192218.3512 | 2594390.0815 | 1192223.4662 | 2594387.2228 | 1192231.2175 | 2594382.3159 | 1192233.2566
56 | 2594328.0671 | 1191864.3818 | 2594323.004 | 1191867.6101 | 2594320.7577 | 1191870.1914 | 2594319.8929 | 1191874.6057 | 2594319.6416 | 1191882.7658 | 2594319.1443 | 1191893.6968
57 | 2594328.0671 | 1191864.3818 | 2594328.5044 | 1191864.103
58 | 2594328.5044 | 1191864.103 | 2594318.3993 | 1191852.8437
59 | 2594357.1201 | 1191839.0958 | 2594349.8184 | 1191848.2965 | 2594343.1773 | 1191854.7507 | 2594328.5044 | 1191864.103
60 | 2594357.1201 | 1191839.0958 | 2594358.0572 | 1191846.5655 | 2594359.7008 | 1191851.4554 | 2594362.5657 | 1191857.9672 | 2594371.3385 | 1191880.6485
61 | 2593514.8623 | 1192507.3669 | 2593514.6766 | 1192518.7731 | 2593516.8515 | 1192535.0348 | 2593517.8764 | 1192552.1982 | 2593518.1934 | 1192577.1443 | 2593519.0113 | 1192607.0036 | 2593519.0997 | 1192625.0575 | 2593520.0713 | 1192628.3692 | 2593521.352 | 1192635.5272 | 2593521.9003 | 1192641.9855 | 2593522.3338 | 1192645.0792
62 | 2594378.4189 | 1192591.2596 | 2594376.82 | 1192592.7253
63 | 2594378.4189 | 1192591.2596 | 2594378.4189 | 1192591.2596 | 2594382.2936 | 1192586.1643 | 2594384.9812 | 1192583.0045 | 2594388.6282 | 1192578.8211 | 2594393.9373 | 1192575.1475 | 2594399.2542 | 1192571.6739 | 2594402.3158 | 1192569.0252 | 2594405.2278 | 1192564.3667
64 | 2594412.3454 | 1192551.7955 | 2594405.3752 | 1192564.1308 | 2594405.2278 | 1192564.3667
65 | 2594405.2278 | 1192564.3667 | 2594494.7048 | 1192660.7532
66 | 2594494.7048 | 1192660.7532 | 2594499.148 | 1192660.3044 | 2594510.116 | 1192660.3053
67 | 2594510.116 | 1192660.3053 | 2594828.554 | 1192555.996

## bus_geodata
| x | y | coords
0 | 2593652.3585 | 1192507.2631
1 | 2593611.0862 | 1192550.8993
2 | 2593785.894 | 1192297.5597
3 | 2593609.8052 | 1192557.9123
4 | 2593888.6376 | 1192529.1912
5 | 2594122.5309 | 1192537.3248
6 | 2593797.3439 | 1192305.3435
7 | 2593777.8018 | 1192287.924
8 | 2593607.0438 | 1192576.9586
9 | 2593573.7923 | 1192531.6175
10 | 2594236.9336 | 1192570.8519
11 | 2593827.1206 | 1192223.401
12 | 2593795.0814 | 1192215.7866
13 | 2593602.8277 | 1192607.6288
14 | 2593620.7219 | 1192574.0392
15 | 2593564.5775 | 1192514.8033
16 | 2594287.5929 | 1192571.38
17 | 2593989.3418 | 1192934.0787
18 | 2594349.3639 | 1192599.3018
19 | 2593703.6448 | 1192596.6169
20 | 2593697.0474 | 1192597.8258
21 | 2593773.2757 | 1192244.9263
22 | 2593774.6587 | 1192233.4998
23 | 2593777.6822 | 1192284.5253
24 | 2593778.1163 | 1192210.4389
25 | 2593771.9094 | 1192208.4111
26 | 2593775.5459 | 1192182.8138
27 | 2593737.6177 | 1192196.8903
28 | 2593600.1229 | 1192628.4672
29 | 2593659.424 | 1192586.8124
30 | 2593560.2857 | 1192503.1039
31 | 2593777.5093 | 1192160.0819
32 | 2593725.9783 | 1192196.119
33 | 2594170.7696 | 1192041.5498
34 | 2594301.4967 | 1191959.3457
35 | 2594232.1093 | 1192134.5384
36 | 2593658.4531 | 1191787.0882
37 | 2594313.9836 | 1191932.7844
38 | 2594301.0679 | 1191995.329
39 | 2594264.7558 | 1192152.051
40 | 2594209.2261 | 1192181.4499
41 | 2593777.6319 | 1192120.8202
42 | 2594315.9194 | 1191922.4145
43 | 2594275.7063 | 1192157.9252
44 | 2593662.848 | 1192593.9853
45 | 2593678.0542 | 1192601.3062
46 | 2593680.1322 | 1192602.0156
47 | 2593594.348 | 1192674.1276
48 | 2594362.3936 | 1192204.4271
49 | 2594391.3801 | 1192218.3512
50 | 2594382.3159 | 1192233.2566
51 | 2594328.0671 | 1191864.3818
52 | 2594319.1443 | 1191893.6968
53 | 2594328.5044 | 1191864.103
54 | 2594318.3993 | 1191852.8437
55 | 2594357.1201 | 1191839.0958
56 | 2594371.3385 | 1191880.6485
57 | 2593559.498 | 1192489.8257
58 | 2593514.8623 | 1192507.3668
59 | 2593522.3338 | 1192645.0792
60 | 2594310.0928 | 1192581.342
61 | 2593983.3288 | 1192897.1321
62 | 2594376.82 | 1192592.7253
63 | 2594378.4189 | 1192591.2596
64 | 2594405.2278 | 1192564.3667
65 | 2594412.3454 | 1192551.7955
66 | 2594494.7048 | 1192660.7532
67 | 2594510.116 | 1192660.3053
68 | 2594828.554 | 1192555.996
69 | 2594192.0645 | 1192216.6319

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1