## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-36_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-36_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-36_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-36_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_355-36_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_355-36_0_3_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_355-36_0_3_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_355-36_0_3_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_355-36_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_355-36_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_355-36_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_355-36_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_355-36_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_355-36_0_3_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_355-36_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_355-36_0_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_355-36_0_3_node_63 | 0.4 | n |  | TRUE
17 | bus_LV_355-36_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_355-36_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_355-36_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_355-36_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_355-36_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_355-36_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_355-36_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_355-36_0_3_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_355-36_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_355-36_0_3_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_355-36_0_3_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_355-36_0_3_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_355-36_0_3_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_355-36_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_355-36_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_355-36_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_355-36_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_355-36_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_355-36_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_355-36_0_3_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_355-36_0_3_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_355-36_0_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_355-36_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_355-36_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_355-36_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_355-36_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_355-36_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_355-36_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_355-36_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_355-36_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_355-36_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_355-36_0_3_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_355-36_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_355-36_0_3_node_88 | 0.4 | n |  | TRUE
51 | bus_LV_355-36_0_3_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_355-36_0_3_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_355-36_0_3_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_355-36_0_3_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_355-36_0_3_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_355-36_0_3_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_355-36_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_355-36_0_3_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_355-36_0_3_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_355-36_0_3_node_94 | 0.4 | n |  | TRUE
61 | bus_LV_355-36_0_3_node_92 | 0.4 | n |  | TRUE
62 | bus_LV_355-36_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_355-36_0_3_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_355-36_0_3_node_91 | 0.4 | n |  | TRUE
65 | bus_LV_355-36_0_3_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_355-36_0_3_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_355-36_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_355-36_0_3_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_355-36_0_3_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_355-36_0_3_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_355-36_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_355-36_0_3_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_355-36_0_3_node_90 | 0.4 | n |  | TRUE
74 | bus_LV_355-36_0_3_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_355-36_0_3_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_355-36_0_3_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_355-36_0_3_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_355-36_0_3_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_355-36_0_3_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_355-36_0_3_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_355-36_0_3_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_355-36_0_3_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_355-36_0_3_node_93 | 0.4 | n |  | TRUE
84 | bus_LV_355-36_0_3_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_355-36_0_3_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_355-36_0_3_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_355-36_0_3_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_355-36_0_3_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_355-36_0_3_node_83 | 0.4 | n |  | TRUE
90 | bus_MV_600_0_node_164 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-36_0_3_load_0 | 0 | 0.0028547 | 0.00071546 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-36_0_3_load_1 | 1 | 0.0043117 | 0.0010806 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-36_0_3_load_3 | 3 | 0.0049202 | 0.0012331 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-36_0_3_load_48 | 5 | 0.014733 | 0.0036925 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-36_0_3_load_45 | 6 | 0.0041 | 0.0010276 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-36_0_3_load_49 | 7 | 0.0025864 | 0.0006482 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-36_0_3_load_5 | 8 | 0.0030723 | 0.00076999 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-36_0_3_load_6 | 9 | 0.0023721 | 0.0005945 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-36_0_3_load_7 | 10 | 0.002987 | 0.00074862 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-36_0_3_load_9 | 12 | 0.0026948 | 0.00067539 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-36_0_3_load_65 | 13 | 0.0024896 | 0.00062394 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-36_0_3_load_15 | 14 | 0.0032001 | 0.00080202 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-36_0_3_load_63 | 16 | 0.0033274 | 0.00083393 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-36_0_3_load_14 | 17 | 0.0024032 | 0.00060231 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-36_0_3_load_19 | 19 | 0.0042124 | 0.0010557 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-36_0_3_load_10 | 20 | 0.0056353 | 0.0014123 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-36_0_3_load_11 | 21 | 0.0014977 | 0.00037537 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-36_0_3_load_12 | 22 | 0.0040563 | 0.0010166 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-36_0_3_load_13 | 23 | 0.0013432 | 0.00033663 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-36_0_3_load_40 | 24 | 0.0022687 | 0.0005686 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-36_0_3_load_16 | 25 | 0.0029182 | 0.00073138 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-36_0_3_load_39 | 26 | 0.0017975 | 0.00045049 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-36_0_3_load_59 | 27 | 0.002928 | 0.00073383 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-36_0_3_load_38 | 28 | 0.0028842 | 0.00072285 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-36_0_3_load_57 | 29 | 0.0032081 | 0.00080403 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-36_0_3_load_20 | 30 | 0.0052301 | 0.0013108 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-36_0_3_load_21 | 31 | 0.0036995 | 0.00092718 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-36_0_3_load_22 | 32 | 0.010177 | 0.0025507 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-36_0_3_load_23 | 33 | 0.010181 | 0.0025516 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-36_0_3_load_24 | 34 | 0.007284 | 0.0018255 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-36_0_3_load_31 | 35 | 0.0025543 | 0.00064017 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-36_0_3_load_55 | 37 | 0.0035697 | 0.00089465 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-36_0_3_load_44 | 38 | 0.0048003 | 0.0012031 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-36_0_3_load_35 | 39 | 0.0068422 | 0.0017148 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-36_0_3_load_25 | 40 | 0.022874 | 0.0057328 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-36_0_3_load_26 | 42 | 0.0036249 | 0.00090848 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-36_0_3_load_28 | 43 | 0.0040248 | 0.0010087 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-36_0_3_load_29 | 44 | 0.078456 | 0.019663 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-36_0_3_load_30 | 45 | 0.0037873 | 0.00094918 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-36_0_3_load_37 | 46 | 0.0028616 | 0.00071718 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-36_0_3_load_42 | 47 | 0.011046 | 0.0027683 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-36_0_3_load_43 | 49 | 0.015486 | 0.0038813 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-36_0_3_load_88 | 50 | 0.011404 | 0.002858 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-36_0_3_load_89 | 51 | 0.0049981 | 0.0012526 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-36_0_3_load_53 | 52 | 0.0025373 | 0.0006359 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-36_0_3_load_32 | 53 | 0.0047795 | 0.0011979 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-36_0_3_load_33 | 54 | 0.0053642 | 0.0013444 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-36_0_3_load_36 | 56 | 0.0013845 | 0.00034699 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-36_0_3_load_51 | 57 | 0.017398 | 0.0043603 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-36_0_3_load_50 | 58 | 0.0025472 | 0.00063838 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-36_0_3_load_94 | 60 | 0.0050726 | 0.0012713 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-36_0_3_load_56 | 62 | 0.0027752 | 0.00069554 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-36_0_3_load_54 | 63 | 0.0025075 | 0.00062844 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-36_0_3_load_91 | 64 | 0.0037591 | 0.00094213 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-36_0_3_load_77 | 65 | 0.0059946 | 0.0015024 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-36_0_3_load_58 | 66 | 0.0035294 | 0.00088455 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-36_0_3_load_60 | 67 | 0.002888 | 0.0007238 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_355-36_0_3_load_66 | 68 | 0.002464 | 0.00061753 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_355-36_0_3_load_61 | 70 | 0.0022081 | 0.00055339 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_355-36_0_3_load_62 | 71 | 0.0045584 | 0.0011424 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_355-36_0_3_load_64 | 72 | 0.0030214 | 0.00075723 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_355-36_0_3_load_90 | 73 | 0.0022706 | 0.00056905 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_355-36_0_3_load_85 | 74 | 0.0037988 | 0.00095207 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_355-36_0_3_load_81 | 75 | 0.004576 | 0.0011469 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_355-36_0_3_load_79 | 76 | 0.003723 | 0.00093308 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_355-36_0_3_load_67 | 77 | 0.003655 | 0.00091603 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_355-36_0_3_load_68 | 78 | 0.0029299 | 0.00073431 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_355-36_0_3_load_69 | 79 | 0.0021817 | 0.00054678 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_355-36_0_3_load_70 | 80 | 0.0028476 | 0.00071368 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_355-36_0_3_load_93 | 83 | 0.0022318 | 0.00055934 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_355-36_0_3_load_84 | 84 | 0.0023294 | 0.00058379 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_355-36_0_3_load_72 | 85 | 0.010146 | 0.0025428 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_355-36_0_3_load_76 | 87 | 0.002273 | 0.00056966 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_355-36_0_3_load_82 | 88 | 0.0032781 | 0.00082157 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_355-36_0_3_load_83 | 89 | 0.0022068 | 0.00055308 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-36_0_3_line_0 |  | 0 | 1 | 0.010351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-36_0_3_line_1 |  | 0 | 2 | 0.002091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-36_0_3_line_2 |  | 1 | 3 | 0.011959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-36_0_3_line_3 |  | 2 | 4 | 0.028868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-36_0_3_line_4 |  | 4 | 5 | 0.011684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-36_0_3_line_5 |  | 4 | 6 | 0.022135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-36_0_3_line_6 |  | 5 | 7 | 0.032596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-36_0_3_line_7 |  | 7 | 58 | 0.0085171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-36_0_3_line_8 |  | 8 | 9 | 0.00022841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-36_0_3_line_9 |  | 8 | 10 | 0.021902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-36_0_3_line_10 |  | 9 | 11 | 0.015987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-36_0_3_line_11 |  | 10 | 12 | 0.022641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-36_0_3_line_12 |  | 11 | 13 | 0.0027429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_355-36_0_3_line_13 |  | 11 | 14 | 0.02513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-36_0_3_line_14 |  | 12 | 15 | 0.012079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-36_0_3_line_15 |  | 13 | 16 | 0.0055148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-36_0_3_line_16 |  | 14 | 17 | 0.023542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-36_0_3_line_17 |  | 15 | 18 | 0.02012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-36_0_3_line_18 |  | 15 | 19 | 0.020082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-36_0_3_line_19 |  | 16 | 70 | 0.026081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_355-36_0_3_line_20 |  | 17 | 25 | 0.012052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_355-36_0_3_line_21 |  | 18 | 26 | 0.0018424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-36_0_3_line_22 |  | 18 | 24 | 0.0065171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-36_0_3_line_23 |  | 19 | 27 | 0.0019231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-36_0_3_line_24 |  | 20 | 21 | 0.0044891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-36_0_3_line_25 |  | 20 | 22 | 0.028631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-36_0_3_line_26 |  | 22 | 23 | 0.025144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-36_0_3_line_27 |  | 23 | 24 | 0.013037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-36_0_3_line_28 |  | 26 | 28 | 0.02016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-36_0_3_line_29 |  | 27 | 29 | 0.015983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_355-36_0_3_line_30 |  | 28 | 46 | 0.0036684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-36_0_3_line_31 |  | 29 | 66 | 0.026022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-36_0_3_line_32 |  | 30 | 31 | 0.023305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-36_0_3_line_33 |  | 30 | 32 | 0.0042614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-36_0_3_line_34 |  | 31 | 33 | 0.0035222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-36_0_3_line_35 |  | 32 | 34 | 0.03662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-36_0_3_line_36 |  | 33 | 35 | 0.013993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-36_0_3_line_37 |  | 34 | 36 | 0.0022098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-36_0_3_line_38 |  | 35 | 37 | 0.0062136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-36_0_3_line_39 |  | 36 | 38 | 0.0081638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-36_0_3_line_40 |  | 36 | 39 | 0.020482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-36_0_3_line_41 |  | 37 | 52 | 0.004237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-36_0_3_line_42 |  | 38 | 57 | 0.014435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-36_0_3_line_43 |  | 39 | 54 | 0.0053159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-36_0_3_line_44 |  | 40 | 41 | 0.018853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-36_0_3_line_45 |  | 41 | 44 | 0.011871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_355-36_0_3_line_46 |  | 41 | 45 | 0.026959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_355-36_0_3_line_47 |  | 42 | 43 | 0.011238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_355-36_0_3_line_48 |  | 43 | 46 | 0.017012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-36_0_3_line_49 |  | 44 | 47 | 0.012789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_355-36_0_3_line_50 |  | 45 | 48 | 0.009736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_355-36_0_3_line_51 |  | 47 | 49 | 0.038965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_355-36_0_3_line_52 |  | 48 | 50 | 0.041517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_355-36_0_3_line_53 |  | 48 | 51 | 0.028719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_355-36_0_3_line_54 |  | 49 | 57 | 0.0084879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_355-36_0_3_line_55 |  | 51 | 75 | 0.0035843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-36_0_3_line_56 |  | 52 | 63 | 0.0029467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_355-36_0_3_line_57 |  | 53 | 54 | 0.020007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-36_0_3_line_58 |  | 53 | 55 | 0.017396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-36_0_3_line_59 |  | 55 | 56 | 0.005648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_355-36_0_3_line_60 |  | 58 | 59 | 0.037457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-36_0_3_line_61 |  | 59 | 60 | 0.0076892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-36_0_3_line_62 |  | 60 | 61 | 0.011596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_355-36_0_3_line_63 |  | 61 | 62 | 0.013781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-36_0_3_line_64 |  | 62 | 64 | 0.023993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-36_0_3_line_65 |  | 62 | 63 | 0.037602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_355-36_0_3_line_66 |  | 64 | 65 | 0.010558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_355-36_0_3_line_67 |  | 66 | 67 | 0.0061459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_355-36_0_3_line_68 |  | 67 | 68 | 0.023208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_355-36_0_3_line_69 |  | 68 | 69 | 0.010832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_355-36_0_3_line_70 |  | 69 | 75 | 0.01803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_355-36_0_3_line_71 |  | 69 | 76 | 0.017781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-36_0_3_line_72 |  | 70 | 71 | 0.00058678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-36_0_3_line_73 |  | 71 | 72 | 0.025453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_355-36_0_3_line_74 |  | 72 | 73 | 0.004519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_355-36_0_3_line_75 |  | 73 | 74 | 0.0051807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_355-36_0_3_line_76 |  | 74 | 89 | 0.015673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_355-36_0_3_line_77 |  | 76 | 87 | 0.030913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_355-36_0_3_line_78 |  | 77 | 78 | 0.021154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_355-36_0_3_line_79 |  | 77 | 79 | 0.0010727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_355-36_0_3_line_80 |  | 78 | 80 | 0.0045057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_355-36_0_3_line_81 |  | 79 | 81 | 0.065729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_355-36_0_3_line_82 |  | 81 | 82 | 0.073749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_355-36_0_3_line_83 |  | 82 | 83 | 0.023132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_355-36_0_3_line_84 |  | 82 | 84 | 0.010731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_355-36_0_3_line_85 |  | 84 | 88 | 0.0089177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_355-36_0_3_line_86 |  | 85 | 86 | 0.047497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_355-36_0_3_line_87 |  | 86 | 87 | 0.078467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_355-36_0_3_line_88 |  | 88 | 89 | 0.010462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-36_0_3_trafo_88 | 0.63 MVA 20/0.4 kV | 90 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2599487.0442 | 1197809.577 | 2599478.293 | 1197815.1045
1 | 2599488.812 | 1197808.4603 | 2599487.0442 | 1197809.577
2 | 2599468.1822 | 1197821.4909 | 2599478.293 | 1197815.1045
3 | 2599504.7338 | 1197787.1919 | 2599502.8996 | 1197798.9539 | 2599488.812 | 1197808.4603
4 | 2599504.7338 | 1197787.1919 | 2599502.8603 | 1197786.9142 | 2599493.177 | 1197785.4697
5 | 2599504.7338 | 1197787.1919 | 2599526.6049 | 1197790.6017
6 | 2599493.177 | 1197785.4697 | 2599484.9105 | 1197784.2367 | 2599461.2415 | 1197781.6377 | 2599460.8168 | 1197781.5911
7 | 2599460.8168 | 1197781.5911 | 2599452.3504 | 1197780.6635
8 | 2599623.7907 | 1197460.4918 | 2599623.9196 | 1197460.6804
9 | 2599623.9196 | 1197460.6804 | 2599636.2728 | 1197478.7657
10 | 2599614.7734 | 1197447.2902 | 2599623.7907 | 1197460.4918
11 | 2599649.0429 | 1197497.4612 | 2599636.2728 | 1197478.7657
12 | 2599614.7734 | 1197447.2902 | 2599612.2439 | 1197448.351
13 | 2599614.7734 | 1197447.2902 | 2599635.879 | 1197433.6501
14 | 2599652.1792 | 1197508.698 | 2599651.7217 | 1197501.383 | 2599649.0429 | 1197497.4612
15 | 2599612.2439 | 1197448.351 | 2599607.1582 | 1197450.4837
16 | 2599655.5428 | 1197420.7083 | 2599649.5762 | 1197424.7979 | 2599635.879 | 1197433.6501
17 | 2599668.6376 | 1197520.1029 | 2599661.7146 | 1197516.4681 | 2599656.3223 | 1197511.4658 | 2599652.1792 | 1197508.698
18 | 2599652.1792 | 1197508.698 | 2599648.653 | 1197507.8533 | 2599645.1193 | 1197508.3872 | 2599641.3343 | 1197509.5214 | 2599633.0566 | 1197512.8747
19 | 2599582.9307 | 1197460.1338 | 2599598.1485 | 1197454.2619 | 2599607.1582 | 1197450.4837
20 | 2599655.5428 | 1197420.7083 | 2599660.1847 | 1197417.5266 | 2599663.9507 | 1197412.3214
21 | 2599668.6376 | 1197520.1029 | 2599668.0223 | 1197521.8396
22 | 2599668.6376 | 1197520.1029 | 2599670.3741 | 1197513.8215
23 | 2599633.0566 | 1197512.8747 | 2599631.2742 | 1197513.5968
24 | 2599704.983 | 1197458.0401 | 2599707.8936 | 1197454.6224
25 | 2599686.4201 | 1197479.838 | 2599704.983 | 1197458.0401
26 | 2599686.4201 | 1197479.838 | 2599680.1353 | 1197487.218 | 2599675.909 | 1197494.8445 | 2599673.9695 | 1197501.2905
27 | 2599673.9695 | 1197501.2905 | 2599672.3532 | 1197506.6622 | 2599670.3741 | 1197513.8215
28 | 2599668.0223 | 1197521.8396 | 2599664.8762 | 1197530.7199 | 2599660.5739 | 1197540.5588 | 2599660.5739 | 1197540.5588
29 | 2599616.4605 | 1197519.5978 | 2599631.2742 | 1197513.5968
30 | 2599660.5739 | 1197540.5588 | 2599658.8273 | 1197543.7847
31 | 2599616.4605 | 1197519.5978 | 2599603.2643 | 1197524.9436 | 2599592.3471 | 1197529.3812
32 | 2599483.5281 | 1197700.7372 | 2599479.1147 | 1197702.8272 | 2599471.5223 | 1197705.3182 | 2599461.3245 | 1197707.5115
33 | 2599487.2579 | 1197698.6898 | 2599485.3135 | 1197699.8917 | 2599483.5281 | 1197700.7372
34 | 2599457.8811 | 1197708.2521 | 2599461.3245 | 1197707.5115
35 | 2599487.2579 | 1197698.6898 | 2599492.8143 | 1197695.2552 | 2599514.8692 | 1197674.7888
36 | 2599457.8811 | 1197708.2521 | 2599450.5268 | 1197709.8338 | 2599444.2793 | 1197711.5185
37 | 2599516.489 | 1197673.2856 | 2599514.8692 | 1197674.7888
38 | 2599444.2793 | 1197711.5185 | 2599440.505 | 1197712.5363 | 2599438.3688 | 1197713.4006
39 | 2599516.489 | 1197673.2856 | 2599522.8332 | 1197668.1477
40 | 2599516.489 | 1197673.2856 | 2599526.7832 | 1197690.9932
41 | 2599434.4411 | 1197714.9896 | 2599438.3688 | 1197713.4006
42 | 2599534.4257 | 1197659.5561 | 2599526.1676 | 1197665.4472 | 2599522.8332 | 1197668.1477
43 | 2599529.4549 | 1197695.5889 | 2599526.7832 | 1197690.9932
44 | 2599595.1688 | 1197620.7064 | 2599602.5479 | 1197614.836 | 2599608.0687 | 1197608.799 | 2599608.8926 | 1197607.8685
45 | 2599595.1688 | 1197620.7064 | 2599589.2213 | 1197624.809 | 2599585.2922 | 1197627.2882
46 | 2599595.1688 | 1197620.7064 | 2599578.6952 | 1197599.3662
47 | 2599650.2577 | 1197558.4726 | 2599647.012 | 1197563.7277 | 2599643.9257 | 1197567.7394
48 | 2599650.2577 | 1197558.4726 | 2599655.2588 | 1197550.3755 | 2599658.8273 | 1197543.7847
49 | 2599585.2922 | 1197627.2882 | 2599574.476 | 1197634.113
50 | 2599572.7459 | 1197591.6594 | 2599578.6952 | 1197599.3662
51 | 2599541.5229 | 1197654.9057 | 2599574.476 | 1197634.113
52 | 2599572.7459 | 1197591.6594 | 2599565.625 | 1197588.7251 | 2599556.9966 | 1197590.3267 | 2599533.1603 | 1197598.3442
53 | 2599572.7459 | 1197591.6594 | 2599562.6884 | 1197564.7588
54 | 2599534.4257 | 1197659.5561 | 2599536.5165 | 1197658.0646 | 2599541.5229 | 1197654.9057
55 | 2599561.4332 | 1197561.4015 | 2599562.6884 | 1197564.7588
56 | 2599434.4411 | 1197714.9896 | 2599431.7095 | 1197716.0947
57 | 2599529.4549 | 1197695.5889 | 2599530.519 | 1197697.4194 | 2599539.4818 | 1197712.9014
58 | 2599548.1974 | 1197727.9564 | 2599539.4818 | 1197712.9014
59 | 2599548.1974 | 1197727.9564 | 2599550.6491 | 1197733.0445
60 | 2599415.8145 | 1197772.7822 | 2599424.9533 | 1197775.3381 | 2599430.9621 | 1197776.9495 | 2599437.4049 | 1197778.6386 | 2599445.9343 | 1197779.9606 | 2599452.3504 | 1197780.6635
61 | 2599415.8145 | 1197772.7822 | 2599417.0784 | 1197770.1473 | 2599417.4208 | 1197767.6126 | 2599417.1312 | 1197765.4226
62 | 2599408.5859 | 1197758.7978 | 2599410.0786 | 1197758.931 | 2599411.7997 | 1197759.42 | 2599413.6199 | 1197760.3981 | 2599415.2955 | 1197761.9209 | 2599416.3009 | 1197763.3772 | 2599417.1312 | 1197765.4226
63 | 2599410.8462 | 1197745.2125 | 2599409.7502 | 1197750.5043 | 2599408.5859 | 1197758.7978
64 | 2599410.8462 | 1197745.2125 | 2599395.8198 | 1197726.5083
65 | 2599410.8462 | 1197745.2125 | 2599412.1021 | 1197739.4315 | 2599414.0586 | 1197733.4948 | 2599416.3428 | 1197728.7253 | 2599419.7616 | 1197724.267 | 2599424.7798 | 1197720.0865 | 2599431.7095 | 1197716.0947
66 | 2599395.8198 | 1197726.5083 | 2599389.2074 | 1197718.2774
67 | 2599592.3471 | 1197529.3812 | 2599586.6536 | 1197531.6955
68 | 2599565.1542 | 1197540.4345 | 2599586.6536 | 1197531.6955
69 | 2599555.1192 | 1197544.5136 | 2599565.1542 | 1197540.4345
70 | 2599555.1192 | 1197544.5136 | 2599561.4332 | 1197561.4015
71 | 2599555.1192 | 1197544.5136 | 2599538.5614 | 1197550.9957
72 | 2599582.9307 | 1197460.1338 | 2599582.3832 | 1197460.345
73 | 2599582.3832 | 1197460.345 | 2599567.4577 | 1197466.1041 | 2599558.6769 | 1197469.6116
74 | 2599554.4803 | 1197471.2879 | 2599558.6769 | 1197469.6116
75 | 2599554.4803 | 1197471.2879 | 2599549.6692 | 1197473.2097
76 | 2599535.1148 | 1197479.0235 | 2599549.6692 | 1197473.2097
77 | 2599538.5614 | 1197550.9957 | 2599528.5336 | 1197554.9215 | 2599509.7808 | 1197562.2776
78 | 2599562.951 | 1197401.168 | 2599574.2909 | 1197396.4331 | 2599582.2559 | 1197392.5401
79 | 2599562.951 | 1197401.168 | 2599561.9611 | 1197401.5813 | 2599561.9611 | 1197401.5813
80 | 2599582.2559 | 1197392.5401 | 2599586.3039 | 1197390.5616
81 | 2599497.6384 | 1197414.1605 | 2599518.4752 | 1197411.7017 | 2599539.67 | 1197408.2979 | 2599561.9611 | 1197401.5813
82 | 2599497.6384 | 1197414.1605 | 2599498.1607 | 1197461.0854 | 2599506.1217 | 1197486.6983
83 | 2599506.1217 | 1197486.6983 | 2599502.0398 | 1197488.4885 | 2599495.917 | 1197491.5908 | 2599485.2518 | 1197496.6651
84 | 2599506.1217 | 1197486.6983 | 2599510.9805 | 1197485.2415 | 2599516.5636 | 1197484.3195
85 | 2599525.3153 | 1197482.6687 | 2599523.9119 | 1197483.1059 | 2599516.5636 | 1197484.3195
86 | 2599434.6197 | 1197583.4904 | 2599431.9779 | 1197591.5172 | 2599423.7705 | 1197613.074 | 2599417.6568 | 1197627.8381
87 | 2599434.6197 | 1197583.4904 | 2599439.3185 | 1197583.3009 | 2599442.875 | 1197582.6446 | 2599477.4799 | 1197574.9481 | 2599509.7808 | 1197562.2776
88 | 2599525.3153 | 1197482.6687 | 2599528.3746 | 1197481.7158 | 2599535.1148 | 1197479.0235

## bus_geodata
| x | y | coords
0 | 2599487.0442 | 1197809.577
1 | 2599478.293 | 1197815.1045
2 | 2599488.812 | 1197808.4603
3 | 2599468.1822 | 1197821.4909
4 | 2599504.7338 | 1197787.1919
5 | 2599493.1769 | 1197785.4697
6 | 2599526.6049 | 1197790.6017
7 | 2599460.8168 | 1197781.5911
8 | 2599623.9196 | 1197460.6804
9 | 2599623.7907 | 1197460.4918
10 | 2599636.2728 | 1197478.7657
11 | 2599614.7734 | 1197447.2902
12 | 2599649.0429 | 1197497.4612
13 | 2599612.2439 | 1197448.351
14 | 2599635.879 | 1197433.6501
15 | 2599652.1792 | 1197508.698
16 | 2599607.1582 | 1197450.4837
17 | 2599655.5428 | 1197420.7083
18 | 2599668.6376 | 1197520.1029
19 | 2599633.0566 | 1197512.8747
20 | 2599704.983 | 1197458.0401
21 | 2599707.8936 | 1197454.6224
22 | 2599686.4201 | 1197479.838
23 | 2599673.9695 | 1197501.2905
24 | 2599670.3741 | 1197513.8215
25 | 2599663.9507 | 1197412.3214
26 | 2599668.0223 | 1197521.8396
27 | 2599631.2742 | 1197513.5968
28 | 2599660.5739 | 1197540.5588
29 | 2599616.4605 | 1197519.5978
30 | 2599483.5281 | 1197700.7372
31 | 2599461.3245 | 1197707.5115
32 | 2599487.2579 | 1197698.6898
33 | 2599457.8811 | 1197708.2521
34 | 2599514.8692 | 1197674.7888
35 | 2599444.2793 | 1197711.5185
36 | 2599516.489 | 1197673.2856
37 | 2599438.3688 | 1197713.4006
38 | 2599522.8332 | 1197668.1477
39 | 2599526.7832 | 1197690.9932
40 | 2599608.8926 | 1197607.8685
41 | 2599595.1688 | 1197620.7064
42 | 2599643.9257 | 1197567.7394
43 | 2599650.2577 | 1197558.4726
44 | 2599585.2922 | 1197627.2882
45 | 2599578.6952 | 1197599.3662
46 | 2599658.8273 | 1197543.7847
47 | 2599574.476 | 1197634.113
48 | 2599572.7459 | 1197591.6594
49 | 2599541.5229 | 1197654.9057
50 | 2599533.1603 | 1197598.3442
51 | 2599562.6884 | 1197564.7588
52 | 2599434.4411 | 1197714.9896
53 | 2599539.4818 | 1197712.9014
54 | 2599529.4549 | 1197695.5889
55 | 2599548.1974 | 1197727.9564
56 | 2599550.6491 | 1197733.0445
57 | 2599534.4257 | 1197659.5561
58 | 2599452.3504 | 1197780.6635
59 | 2599415.8145 | 1197772.7822
60 | 2599417.1312 | 1197765.4226
61 | 2599408.5859 | 1197758.7978
62 | 2599410.8462 | 1197745.2125
63 | 2599431.7095 | 1197716.0947
64 | 2599395.8198 | 1197726.5083
65 | 2599389.2074 | 1197718.2774
66 | 2599592.3471 | 1197529.3812
67 | 2599586.6536 | 1197531.6955
68 | 2599565.1542 | 1197540.4345
69 | 2599555.1192 | 1197544.5136
70 | 2599582.9307 | 1197460.1338
71 | 2599582.3832 | 1197460.345
72 | 2599558.6769 | 1197469.6116
73 | 2599554.4803 | 1197471.2879
74 | 2599549.6692 | 1197473.2097
75 | 2599561.4332 | 1197561.4015
76 | 2599538.5614 | 1197550.9957
77 | 2599562.951 | 1197401.168
78 | 2599582.2559 | 1197392.5401
79 | 2599561.9611 | 1197401.5813
80 | 2599586.3039 | 1197390.5616
81 | 2599497.6384 | 1197414.1605
82 | 2599506.1217 | 1197486.6983
83 | 2599485.2518 | 1197496.6651
84 | 2599516.5636 | 1197484.3195
85 | 2599417.6568 | 1197627.8381
86 | 2599434.6197 | 1197583.4904
87 | 2599509.7808 | 1197562.2776
88 | 2599525.3153 | 1197482.6687
89 | 2599535.1148 | 1197479.0235
90 | 2599572.7459 | 1197591.6594

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1