## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-39_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-39_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-39_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_355-39_0_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_355-39_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_355-39_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_355-39_0_4_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_355-39_0_4_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_355-39_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_355-39_0_4_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_355-39_0_4_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_355-39_0_4_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_355-39_0_4_node_107 | 0.4 | n |  | TRUE
13 | bus_LV_355-39_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_355-39_0_4_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_355-39_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_355-39_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_355-39_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_355-39_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_355-39_0_4_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_355-39_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_355-39_0_4_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_355-39_0_4_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_355-39_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_355-39_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_355-39_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_355-39_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_355-39_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_355-39_0_4_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_355-39_0_4_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_355-39_0_4_node_92 | 0.4 | n |  | TRUE
31 | bus_LV_355-39_0_4_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_355-39_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_355-39_0_4_node_101 | 0.4 | n |  | TRUE
34 | bus_LV_355-39_0_4_node_94 | 0.4 | n |  | TRUE
35 | bus_LV_355-39_0_4_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_355-39_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_355-39_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_355-39_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_355-39_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_355-39_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_355-39_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_355-39_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_355-39_0_4_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_355-39_0_4_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_355-39_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_355-39_0_4_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_355-39_0_4_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_355-39_0_4_node_89 | 0.4 | n |  | TRUE
49 | bus_LV_355-39_0_4_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_355-39_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_355-39_0_4_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_355-39_0_4_node_91 | 0.4 | n |  | TRUE
53 | bus_LV_355-39_0_4_node_80 | 0.4 | n |  | TRUE
54 | bus_LV_355-39_0_4_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_355-39_0_4_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_355-39_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_355-39_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_355-39_0_4_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_355-39_0_4_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_355-39_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_355-39_0_4_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_355-39_0_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_355-39_0_4_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_355-39_0_4_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_355-39_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_355-39_0_4_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_355-39_0_4_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_355-39_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_355-39_0_4_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_355-39_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_355-39_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_355-39_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_355-39_0_4_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_355-39_0_4_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_355-39_0_4_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_355-39_0_4_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_355-39_0_4_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_355-39_0_4_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_355-39_0_4_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_355-39_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_355-39_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_355-39_0_4_node_87 | 0.4 | n |  | TRUE
83 | bus_LV_355-39_0_4_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_355-39_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_355-39_0_4_node_102 | 0.4 | n |  | TRUE
86 | bus_LV_355-39_0_4_node_105 | 0.4 | n |  | TRUE
87 | bus_LV_355-39_0_4_node_103 | 0.4 | n |  | TRUE
88 | bus_LV_355-39_0_4_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_355-39_0_4_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_355-39_0_4_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_355-39_0_4_node_106 | 0.4 | n |  | TRUE
92 | bus_LV_355-39_0_4_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_355-39_0_4_node_104 | 0.4 | n |  | TRUE
94 | bus_LV_355-39_0_4_node_98 | 0.4 | n |  | TRUE
95 | bus_LV_355-39_0_4_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_355-39_0_4_node_96 | 0.4 | n |  | TRUE
97 | bus_LV_355-39_0_4_node_93 | 0.4 | n |  | TRUE
98 | bus_LV_355-39_0_4_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_355-39_0_4_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_355-39_0_4_node_99 | 0.4 | n |  | TRUE
101 | bus_LV_355-39_0_4_node_100 | 0.4 | n |  | TRUE
102 | bus_LV_355-39_0_4_node_108 | 0.4 | n |  | TRUE
103 | bus_MV_600_0_node_170 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-39_0_4_load_0 | 0 | 0.0058299 | 0.0014611 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-39_0_4_load_1 | 1 | 0.0010784 | 0.00027027 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-39_0_4_load_6 | 3 | 0.0067824 | 0.0016998 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-39_0_4_load_53 | 7 | 0.0038136 | 0.00095579 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-39_0_4_load_8 | 8 | 0.0014506 | 0.00036355 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-39_0_4_load_51 | 9 | 0.0014393 | 0.00036073 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-39_0_4_load_52 | 10 | 0.0038311 | 0.00096016 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-39_0_4_load_107 | 12 | 0.027098 | 0.0067915 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-39_0_4_load_42 | 14 | 0.0029751 | 0.00074563 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-39_0_4_load_10 | 15 | 0.0080574 | 0.0020194 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-39_0_4_load_11 | 16 | 0.011484 | 0.0028782 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-39_0_4_load_12 | 17 | 0.0064503 | 0.0016166 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-39_0_4_load_25 | 19 | 0.010996 | 0.0027559 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-39_0_4_load_23 | 21 | 0.01147 | 0.0028746 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-39_0_4_load_38 | 22 | 0.015989 | 0.0040072 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-39_0_4_load_15 | 24 | 0.039033 | 0.0097826 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-39_0_4_load_16 | 26 | 0.010508 | 0.0026335 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-39_0_4_load_18 | 27 | 0.011471 | 0.0028748 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-39_0_4_load_33 | 29 | 0.01052 | 0.0026365 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-39_0_4_load_92 | 30 | 0.0042471 | 0.0010644 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-39_0_4_load_20 | 32 | 0.01149 | 0.0028796 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-39_0_4_load_101 | 33 | 0.0083109 | 0.0020829 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-39_0_4_load_94 | 34 | 0.0043442 | 0.0010888 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-39_0_4_load_39 | 35 | 0.01581 | 0.0039623 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-39_0_4_load_27 | 36 | 0.0091353 | 0.0022895 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-39_0_4_load_28 | 37 | 0.0011421 | 0.00028625 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-39_0_4_load_30 | 39 | 0.0019165 | 0.00048031 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-39_0_4_load_31 | 40 | 0.001005 | 0.00025188 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-39_0_4_load_40 | 42 | 0.0031334 | 0.0007853 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-39_0_4_load_66 | 43 | 0.0016442 | 0.00041207 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-39_0_4_load_78 | 44 | 0.012401 | 0.0031079 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-39_0_4_load_37 | 45 | 0.014852 | 0.0037222 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-39_0_4_load_69 | 46 | 0.015553 | 0.003898 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-39_0_4_load_54 | 47 | 0.0023432 | 0.00058726 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-39_0_4_load_89 | 48 | 0.0038622 | 0.00096796 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-39_0_4_load_79 | 51 | 0.026379 | 0.0066113 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-39_0_4_load_91 | 52 | 0.0042429 | 0.0010634 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-39_0_4_load_55 | 54 | 0.0024304 | 0.00060912 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-39_0_4_load_41 | 55 | 0.0035395 | 0.00088707 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-39_0_4_load_43 | 56 | 0.0030589 | 0.00076662 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-39_0_4_load_56 | 58 | 0.0024145 | 0.00060513 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-39_0_4_load_57 | 59 | 0.00074234 | 0.00018605 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-39_0_4_load_50 | 60 | 0.00076703 | 0.00019224 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-39_0_4_load_46 | 61 | 0.007488 | 0.0018767 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-39_0_4_load_47 | 62 | 0.011188 | 0.002804 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-39_0_4_load_49 | 64 | 0.00074389 | 0.00018644 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-39_0_4_load_63 | 65 | 0.00075929 | 0.0001903 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-39_0_4_load_64 | 66 | 0.00077811 | 0.00019501 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-39_0_4_load_58 | 67 | 0.0028494 | 0.00071412 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-39_0_4_load_59 | 68 | 0.00077074 | 0.00019317 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-39_0_4_load_61 | 69 | 0.00075121 | 0.00018827 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-39_0_4_load_60 | 70 | 0.0019112 | 0.000479 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-39_0_4_load_62 | 71 | 0.0082406 | 0.0020653 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-39_0_4_load_65 | 72 | 0.00091058 | 0.00022821 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-39_0_4_load_73 | 76 | 0.0071857 | 0.0018009 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-39_0_4_load_70 | 77 | 0.0015692 | 0.00039328 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-39_0_4_load_71 | 78 | 0.0010814 | 0.00027103 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_355-39_0_4_load_72 | 79 | 0.00074927 | 0.00018778 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_355-39_0_4_load_76 | 80 | 0.0017598 | 0.00044106 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_355-39_0_4_load_77 | 81 | 0.0011031 | 0.00027646 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_355-39_0_4_load_87 | 82 | 0.0036119 | 0.00090523 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_355-39_0_4_load_81 | 83 | 0.0070015 | 0.0017547 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_355-39_0_4_load_82 | 84 | 0.012283 | 0.0030784 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_355-39_0_4_load_102 | 85 | 0.0071233 | 0.0017853 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_355-39_0_4_load_105 | 86 | 0.020892 | 0.005236 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_355-39_0_4_load_83 | 88 | 0.0081836 | 0.002051 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_355-39_0_4_load_84 | 89 | 0.0098975 | 0.0024805 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_355-39_0_4_load_106 | 91 | 0.007161 | 0.0017947 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_355-39_0_4_load_104 | 93 | 0.0035822 | 0.00089779 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_355-39_0_4_load_98 | 94 | 0.0045996 | 0.0011528 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_355-39_0_4_load_86 | 95 | 0.003481 | 0.00087242 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_355-39_0_4_load_93 | 97 | 0.0042529 | 0.0010659 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_355-39_0_4_load_95 | 98 | 0.001417 | 0.00035513 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_355-39_0_4_load_100 | 101 | 0.0062376 | 0.0015633 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_355-39_0_4_load_108 | 102 | 0.0087271 | 0.0021872 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-39_0_4_line_0 |  | 0 | 1 | 0.00042755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-39_0_4_line_1 |  | 1 | 2 | 0.01185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-39_0_4_line_2 |  | 2 | 3 | 0.030355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-39_0_4_line_3 |  | 2 | 4 | 0.027316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-39_0_4_line_4 |  | 3 | 5 | 0.025427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-39_0_4_line_5 |  | 4 | 6 | 0.034594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-39_0_4_line_6 |  | 4 | 7 | 0.022058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-39_0_4_line_7 |  | 5 | 8 | 0.01665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-39_0_4_line_8 |  | 6 | 14 | 0.0067664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-39_0_4_line_9 |  | 7 | 10 | 0.0095232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-39_0_4_line_10 |  | 9 | 10 | 0.010019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-39_0_4_line_11 |  | 11 | 12 | 0.017173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-39_0_4_line_12 |  | 11 | 13 | 0.008868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_355-39_0_4_line_13 |  | 13 | 21 | 0.021582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-39_0_4_line_14 |  | 13 | 17 | 0.02854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-39_0_4_line_15 |  | 14 | 55 | 0.018947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-39_0_4_line_16 |  | 15 | 16 | 0.013852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-39_0_4_line_17 |  | 15 | 17 | 0.015905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-39_0_4_line_18 |  | 16 | 18 | 0.0012619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-39_0_4_line_19 |  | 18 | 19 | 0.020874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_355-39_0_4_line_20 |  | 18 | 20 | 0.022435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_355-39_0_4_line_21 |  | 19 | 22 | 0.017922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_355-39_0_4_line_22 |  | 20 | 23 | 0.039021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_355-39_0_4_line_23 |  | 20 | 24 | 0.031875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-39_0_4_line_24 |  | 21 | 25 | 0.046454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-39_0_4_line_25 |  | 22 | 35 | 0.002685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_355-39_0_4_line_26 |  | 23 | 28 | 0.011544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-39_0_4_line_27 |  | 23 | 29 | 0.0078089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_355-39_0_4_line_28 |  | 24 | 26 | 0.0016458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-39_0_4_line_29 |  | 25 | 32 | 0.046136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_355-39_0_4_line_30 |  | 26 | 27 | 0.019566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-39_0_4_line_31 |  | 28 | 30 | 0.022413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-39_0_4_line_32 |  | 29 | 31 | 0.011036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_355-39_0_4_line_33 |  | 30 | 52 | 0.0076077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-39_0_4_line_34 |  | 31 | 50 | 0.010006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-39_0_4_line_35 |  | 31 | 45 | 0.023002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_355-39_0_4_line_36 |  | 33 | 34 | 0.013087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-39_0_4_line_37 |  | 34 | 97 | 0.0088898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-39_0_4_line_38 |  | 36 | 37 | 0.02265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-39_0_4_line_39 |  | 36 | 38 | 0.0031927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-39_0_4_line_40 |  | 37 | 39 | 0.016163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-39_0_4_line_41 |  | 38 | 40 | 0.014966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-39_0_4_line_42 |  | 38 | 41 | 0.013815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-39_0_4_line_43 |  | 39 | 42 | 0.0070347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-39_0_4_line_44 |  | 40 | 43 | 0.0011369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-39_0_4_line_45 |  | 41 | 44 | 0.018944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-39_0_4_line_46 |  | 41 | 45 | 0.038211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_355-39_0_4_line_47 |  | 41 | 46 | 0.022342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_355-39_0_4_line_48 |  | 42 | 47 | 0.028025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-39_0_4_line_49 |  | 44 | 48 | 0.024182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-39_0_4_line_50 |  | 46 | 49 | 0.0046836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_355-39_0_4_line_51 |  | 47 | 54 | 0.00073049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_355-39_0_4_line_52 |  | 48 | 82 | 0.0068417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_355-39_0_4_line_53 |  | 49 | 75 | 0.011871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_355-39_0_4_line_54 |  | 50 | 51 | 0.015449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_355-39_0_4_line_55 |  | 51 | 53 | 0.0080811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-39_0_4_line_56 |  | 52 | 97 | 0.0087888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_355-39_0_4_line_57 |  | 53 | 83 | 0.017156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-39_0_4_line_58 |  | 53 | 84 | 0.031466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-39_0_4_line_59 |  | 54 | 58 | 0.00074725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_355-39_0_4_line_60 |  | 55 | 56 | 0.018941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-39_0_4_line_61 |  | 56 | 57 | 0.013594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-39_0_4_line_62 |  | 57 | 58 | 0.0084245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_355-39_0_4_line_63 |  | 57 | 59 | 0.013449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-39_0_4_line_64 |  | 59 | 60 | 0.0076389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-39_0_4_line_65 |  | 60 | 63 | 0.0055446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_355-39_0_4_line_66 |  | 61 | 62 | 0.014503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_355-39_0_4_line_67 |  | 61 | 63 | 0.020008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_355-39_0_4_line_68 |  | 63 | 64 | 0.010022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_355-39_0_4_line_69 |  | 64 | 65 | 0.0075639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_355-39_0_4_line_70 |  | 65 | 66 | 0.015882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_355-39_0_4_line_71 |  | 66 | 72 | 0.0079084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-39_0_4_line_72 |  | 67 | 68 | 0.0036158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-39_0_4_line_73 |  | 68 | 69 | 0.0077003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_355-39_0_4_line_74 |  | 69 | 72 | 0.015541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_355-39_0_4_line_75 |  | 70 | 71 | 0.030377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_355-39_0_4_line_76 |  | 71 | 73 | 0.018179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_355-39_0_4_line_77 |  | 73 | 74 | 0.043712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_355-39_0_4_line_78 |  | 74 | 81 | 0.021346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_355-39_0_4_line_79 |  | 74 | 76 | 0.0076362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_355-39_0_4_line_80 |  | 75 | 76 | 0.016753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_355-39_0_4_line_81 |  | 77 | 78 | 0.0082853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_355-39_0_4_line_82 |  | 78 | 79 | 0.0063154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_355-39_0_4_line_83 |  | 79 | 80 | 0.0092759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_355-39_0_4_line_84 |  | 80 | 81 | 0.0075556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_355-39_0_4_line_85 |  | 82 | 95 | 0.0075963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_355-39_0_4_line_86 |  | 83 | 85 | 0.015168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_355-39_0_4_line_87 |  | 84 | 86 | 0.008646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_355-39_0_4_line_88 |  | 85 | 87 | 0.0054472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_355-39_0_4_line_89 |  | 87 | 91 | 0.017214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_355-39_0_4_line_90 |  | 87 | 93 | 0.0089442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_355-39_0_4_line_91 |  | 88 | 89 | 0.01371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_355-39_0_4_line_92 |  | 89 | 90 | 0.011518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_355-39_0_4_line_93 |  | 90 | 91 | 0.011741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_355-39_0_4_line_94 |  | 92 | 93 | 0.019337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_355-39_0_4_line_95 |  | 92 | 94 | 0.015369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_355-39_0_4_line_96 |  | 94 | 96 | 0.014583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_355-39_0_4_line_97 |  | 96 | 98 | 0.009354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_355-39_0_4_line_98 |  | 98 | 99 | 0.0072662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_355-39_0_4_line_99 |  | 99 | 100 | 0.025133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_355-39_0_4_line_100 |  | 99 | 101 | 0.011404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_355-39_0_4_line_101 |  | 100 | 102 | 0.003228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-39_0_4_trafo_39 | 0.63 MVA 20/0.4 kV | 103 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2598646.9768 | 1198132.5308 | 2598646.71 | 1198132.1967
1 | 2598639.3142 | 1198122.9381 | 2598646.71 | 1198132.1967
2 | 2598639.3142 | 1198122.9381 | 2598613.7714 | 1198139.3387
3 | 2598661.0816 | 1198106.7243 | 2598657.0468 | 1198111.55 | 2598639.3142 | 1198122.9381
4 | 2598592.3753 | 1198153.0767 | 2598613.7714 | 1198139.3387
5 | 2598649.9807 | 1198082.1471 | 2598647.7876 | 1198082.37 | 2598643.783 | 1198086.1174 | 2598657.8291 | 1198102.8341 | 2598661.0816 | 1198106.7243
6 | 2598661.0816 | 1198106.7243 | 2598664.776 | 1198111.1369 | 2598675.0942 | 1198123.7589
7 | 2598592.3753 | 1198153.0767 | 2598602.7739 | 1198166.0806
8 | 2598649.9807 | 1198082.1471 | 2598650.4066 | 1198079.7902 | 2598654.0332 | 1198077.3497
9 | 2598681.1216 | 1198131.132 | 2598675.0942 | 1198123.7589
10 | 2598687.4628 | 1198138.8888 | 2598686.165 | 1198137.3014 | 2598681.1216 | 1198131.132
11 | 2598630.6887 | 1198006.2446 | 2598640.0588 | 1198020.65
12 | 2598638.3561 | 1198001.7515 | 2598630.6887 | 1198006.2446
13 | 2598638.3561 | 1198001.7515 | 2598629.3553 | 1197982.1356
14 | 2598638.3561 | 1198001.7515 | 2598662.9693 | 1197987.3047
15 | 2598669.7523 | 1198066.7716 | 2598654.0332 | 1198077.3497
16 | 2598676.659 | 1197979.2074 | 2598688.5814 | 1197972.1546
17 | 2598662.9693 | 1197987.3047 | 2598663.178 | 1197987.1822 | 2598676.659 | 1197979.2074
18 | 2598689.6675 | 1197971.5121 | 2598688.5814 | 1197972.1546
19 | 2598689.6675 | 1197971.5121 | 2598700.4794 | 1197989.3677
20 | 2598708.817 | 1197959.7348 | 2598689.6675 | 1197971.5121
21 | 2598700.4794 | 1197989.3677 | 2598704.4009 | 1197995.8439 | 2598713.2822 | 1197990.5279
22 | 2598708.817 | 1197959.7348 | 2598732.9007 | 1197945.2549 | 2598742.4261 | 1197939.7499
23 | 2598708.817 | 1197959.7348 | 2598695.1411 | 1197930.9422
24 | 2598609.9821 | 1197939.9142 | 2598629.3553 | 1197982.1356
25 | 2598715.586 | 1197989.1489 | 2598713.2822 | 1197990.5279
26 | 2598742.4261 | 1197939.7499 | 2598741.8239 | 1197936.9263 | 2598742.1964 | 1197934.0691 | 2598743.5132 | 1197931.5008 | 2598745.6146 | 1197929.5104
27 | 2598742.4261 | 1197939.7499 | 2598743.805 | 1197942.0619 | 2598745.831 | 1197943.8291 | 2598748.0695 | 1197944.7707
28 | 2598695.1411 | 1197930.9422 | 2598694.435 | 1197929.4556
29 | 2598609.9821 | 1197939.9142 | 2598652.1889 | 1197921.283
30 | 2598694.435 | 1197929.4556 | 2598686.0403 | 1197911.7818
31 | 2598745.6146 | 1197929.5104 | 2598739.6726 | 1197919.8732 | 2598733.4733 | 1197910.6766
32 | 2598757.6644 | 1197941.025 | 2598755.921 | 1197943.0709 | 2598753.6215 | 1197944.4721 | 2598751.002 | 1197945.0953 | 2598748.3138 | 1197944.8735 | 2598748.0695 | 1197944.7707
33 | 2598729.0219 | 1197904.5115 | 2598731.4606 | 1197907.6908 | 2598733.4733 | 1197910.6766
34 | 2598757.6644 | 1197941.025 | 2598758.8136 | 1197937.8897 | 2598758.6606 | 1197934.5546 | 2598757.2435 | 1197931.5422
35 | 2598757.6644 | 1197941.025 | 2598763.1955 | 1197951.9518 | 2598767.7607 | 1197961.6896
36 | 2598710.2973 | 1197880.0997 | 2598718.2624 | 1197890.4841
37 | 2598723.6729 | 1197897.5379 | 2598718.2624 | 1197890.4841
38 | 2598768.1697 | 1198004.8642 | 2598748.6525 | 1198016.3577
39 | 2598770.9209 | 1198003.2441 | 2598768.1697 | 1198004.8642
40 | 2598748.6525 | 1198016.3577 | 2598734.7254 | 1198024.5591
41 | 2598770.9209 | 1198003.2441 | 2598775.1492 | 1198012.148 | 2598777.3378 | 1198016.7645
42 | 2598783.1037 | 1197996.6824 | 2598775.5274 | 1198000.4972 | 2598770.9209 | 1198003.2441
43 | 2598728.6637 | 1198028.1288 | 2598734.7254 | 1198024.5591
44 | 2598777.8248 | 1198017.7918 | 2598777.3378 | 1198016.7645
45 | 2598783.1037 | 1197996.6824 | 2598799.4726 | 1197987.1466
46 | 2598783.1037 | 1197996.6824 | 2598778.258 | 1197985.6109 | 2598769.8086 | 1197966.0579 | 2598767.7607 | 1197961.6896
47 | 2598783.1037 | 1197996.6824 | 2598786.9285 | 1198005.8976 | 2598791.8959 | 1198016.8913 | 2598792.028 | 1198017.162
48 | 2598728.6637 | 1198028.1288 | 2598724.9544 | 1198030.3132 | 2598705.0528 | 1198043.2193
49 | 2598820.3677 | 1197974.974 | 2598799.4726 | 1197987.1466
50 | 2598794.0824 | 1198021.371 | 2598792.028 | 1198017.162
51 | 2598705.0528 | 1198043.2193 | 2598704.4399 | 1198043.6168
52 | 2598820.3677 | 1197974.974 | 2598826.2793 | 1197971.5299
53 | 2598799.2934 | 1198032.0423 | 2598794.0824 | 1198021.371
54 | 2598757.2435 | 1197931.5422 | 2598766.9517 | 1197925.6814 | 2598770.4704 | 1197923.5597
55 | 2598777.3908 | 1197919.3869 | 2598770.4704 | 1197923.5597
56 | 2598729.0219 | 1197904.5115 | 2598723.6729 | 1197897.5379
57 | 2598777.3908 | 1197919.3869 | 2598792.0778 | 1197910.5198
58 | 2598777.3908 | 1197919.3869 | 2598788.0031 | 1197939.1507 | 2598790.7609 | 1197944.2862 | 2598787.936 | 1197945.7987
59 | 2598704.4399 | 1198043.6168 | 2598703.8129 | 1198044.0234
60 | 2598669.7523 | 1198066.7716 | 2598685.4664 | 1198056.1968
61 | 2598696.7446 | 1198048.6072 | 2598685.4664 | 1198056.1968
62 | 2598696.7446 | 1198048.6072 | 2598703.8129 | 1198044.0234
63 | 2598696.7446 | 1198048.6072 | 2598697.3247 | 1198054.4546 | 2598700.9379 | 1198061.1094
64 | 2598704.5828 | 1198067.8227 | 2598700.9379 | 1198061.1094
65 | 2598707.2284 | 1198072.6954 | 2598704.5828 | 1198067.8227
66 | 2598678.0214 | 1198091.0786 | 2598690.2957 | 1198083.3531
67 | 2598707.2284 | 1198072.6954 | 2598690.2957 | 1198083.3531
68 | 2598707.2284 | 1198072.6954 | 2598712.0125 | 1198081.5017
69 | 2598715.6232 | 1198088.1482 | 2598712.0125 | 1198081.5017
70 | 2598715.6232 | 1198088.1482 | 2598723.2045 | 1198102.1038
71 | 2598726.9796 | 1198109.053 | 2598723.2045 | 1198102.1038
72 | 2598739.8 | 1198132.6524 | 2598738.0739 | 1198129.4752
73 | 2598738.0739 | 1198129.4752 | 2598734.3981 | 1198122.7089
74 | 2598726.9796 | 1198109.053 | 2598734.3981 | 1198122.7089
75 | 2598812.4246 | 1198101.6389 | 2598804.5102 | 1198105.6137 | 2598785.6805 | 1198116.0334
76 | 2598828.6701 | 1198093.48 | 2598812.4246 | 1198101.6389
77 | 2598809.7536 | 1198054.074 | 2598819.5738 | 1198074.9275 | 2598823.3678 | 1198082.6642 | 2598828.6701 | 1198093.48
78 | 2598809.7536 | 1198054.074 | 2598790.8244 | 1198063.9392
79 | 2598809.7536 | 1198054.074 | 2598806.5002 | 1198047.1656
80 | 2598799.2934 | 1198032.0423 | 2598801.7389 | 1198037.0555 | 2598806.5002 | 1198047.1656
81 | 2598773.0929 | 1198046.2555 | 2598776.9208 | 1198053.6035
82 | 2598779.8386 | 1198059.2045 | 2598776.9208 | 1198053.6035
83 | 2598784.1242 | 1198067.4311 | 2598784.1242 | 1198067.4311 | 2598779.8386 | 1198059.2045
84 | 2598784.1242 | 1198067.4311 | 2598790.8244 | 1198063.9392
85 | 2598832.8429 | 1197967.7059 | 2598826.2793 | 1197971.5299
86 | 2598792.0778 | 1197910.5198 | 2598793.9137 | 1197909.4113 | 2598805.0646 | 1197902.6836
87 | 2598782.6882 | 1197941.8199 | 2598785.1401 | 1197940.5965 | 2598787.936 | 1197945.7987
88 | 2598809.7286 | 1197899.8696 | 2598805.0646 | 1197902.6836
89 | 2598809.7286 | 1197899.8696 | 2598818.6688 | 1197914.5798
90 | 2598809.7286 | 1197899.8696 | 2598816.5206 | 1197895.7771 | 2598817.3891 | 1197895.2526
91 | 2598803.0289 | 1197937.4171 | 2598814.8418 | 1197930.4588
92 | 2598824.7664 | 1197924.6129 | 2598814.8418 | 1197930.4588
93 | 2598824.7664 | 1197924.6129 | 2598818.6688 | 1197914.5798
94 | 2598833.9422 | 1197885.2567 | 2598817.3891 | 1197895.2526
95 | 2598833.9422 | 1197885.2567 | 2598824.9716 | 1197872.7772
96 | 2598816.46 | 1197860.9363 | 2598824.9716 | 1197872.7772
97 | 2598816.46 | 1197860.9363 | 2598808.4848 | 1197865.8245
98 | 2598802.2897 | 1197869.6217 | 2598808.4848 | 1197865.8245
99 | 2598782.4296 | 1197872.7832 | 2598786.7868 | 1197878.5964 | 2598802.2897 | 1197869.6217
100 | 2598793.7361 | 1197862.0528 | 2598802.2897 | 1197869.6217
101 | 2598780.7841 | 1197870.0043 | 2598782.4296 | 1197872.7832

## bus_geodata
| x | y | coords
0 | 2598646.9768 | 1198132.5308
1 | 2598646.71 | 1198132.1967
2 | 2598639.3142 | 1198122.9381
3 | 2598613.7714 | 1198139.3387
4 | 2598661.0816 | 1198106.7243
5 | 2598592.3752 | 1198153.0767
6 | 2598649.9807 | 1198082.1471
7 | 2598675.0942 | 1198123.7589
8 | 2598602.7739 | 1198166.0806
9 | 2598687.4628 | 1198138.8888
10 | 2598681.1216 | 1198131.132
11 | 2598630.6887 | 1198006.2446
12 | 2598640.0588 | 1198020.65
13 | 2598638.3561 | 1198001.7515
14 | 2598654.0332 | 1198077.3497
15 | 2598676.659 | 1197979.2074
16 | 2598688.5814 | 1197972.1546
17 | 2598662.9693 | 1197987.3047
18 | 2598689.6675 | 1197971.5121
19 | 2598700.4794 | 1197989.3677
20 | 2598708.817 | 1197959.7348
21 | 2598629.3553 | 1197982.1356
22 | 2598713.2822 | 1197990.5279
23 | 2598742.4261 | 1197939.7499
24 | 2598695.1411 | 1197930.9422
25 | 2598609.9821 | 1197939.9142
26 | 2598694.435 | 1197929.4556
27 | 2598686.0403 | 1197911.7818
28 | 2598745.6146 | 1197929.5104
29 | 2598748.0695 | 1197944.7707
30 | 2598733.4733 | 1197910.6766
31 | 2598757.6644 | 1197941.025
32 | 2598652.1889 | 1197921.283
33 | 2598710.2973 | 1197880.0997
34 | 2598718.2624 | 1197890.4841
35 | 2598715.586 | 1197989.1489
36 | 2598768.1697 | 1198004.8642
37 | 2598748.6525 | 1198016.3577
38 | 2598770.9209 | 1198003.2441
39 | 2598734.7254 | 1198024.5591
40 | 2598777.3378 | 1198016.7645
41 | 2598783.1037 | 1197996.6824
42 | 2598728.6637 | 1198028.1288
43 | 2598777.8248 | 1198017.7918
44 | 2598799.4726 | 1197987.1466
45 | 2598767.7607 | 1197961.6896
46 | 2598792.028 | 1198017.162
47 | 2598705.0528 | 1198043.2193
48 | 2598820.3677 | 1197974.974
49 | 2598794.0824 | 1198021.371
50 | 2598757.2435 | 1197931.5422
51 | 2598770.4704 | 1197923.5597
52 | 2598729.0219 | 1197904.5115
53 | 2598777.3908 | 1197919.3869
54 | 2598704.4399 | 1198043.6168
55 | 2598669.7523 | 1198066.7716
56 | 2598685.4664 | 1198056.1968
57 | 2598696.7446 | 1198048.6072
58 | 2598703.8129 | 1198044.0234
59 | 2598700.9379 | 1198061.1094
60 | 2598704.5828 | 1198067.8227
61 | 2598690.2957 | 1198083.3531
62 | 2598678.0214 | 1198091.0786
63 | 2598707.2284 | 1198072.6954
64 | 2598712.0125 | 1198081.5017
65 | 2598715.6232 | 1198088.1482
66 | 2598723.2045 | 1198102.1038
67 | 2598739.8 | 1198132.6524
68 | 2598738.0739 | 1198129.4752
69 | 2598734.3981 | 1198122.7089
70 | 2598785.6805 | 1198116.0334
71 | 2598812.4246 | 1198101.6389
72 | 2598726.9796 | 1198109.053
73 | 2598828.6701 | 1198093.48
74 | 2598809.7536 | 1198054.074
75 | 2598799.2934 | 1198032.0423
76 | 2598806.5002 | 1198047.1656
77 | 2598773.0929 | 1198046.2555
78 | 2598776.9208 | 1198053.6035
79 | 2598779.8386 | 1198059.2045
80 | 2598784.1242 | 1198067.4311
81 | 2598790.8244 | 1198063.9392
82 | 2598826.2793 | 1197971.5299
83 | 2598792.0778 | 1197910.5198
84 | 2598787.936 | 1197945.7987
85 | 2598805.0646 | 1197902.6836
86 | 2598782.6882 | 1197941.8199
87 | 2598809.7286 | 1197899.8696
88 | 2598803.0289 | 1197937.4171
89 | 2598814.8418 | 1197930.4588
90 | 2598824.7664 | 1197924.6129
91 | 2598818.6688 | 1197914.5798
92 | 2598833.9422 | 1197885.2567
93 | 2598817.3891 | 1197895.2526
94 | 2598824.9716 | 1197872.7772
95 | 2598832.8429 | 1197967.7059
96 | 2598816.46 | 1197860.9363
97 | 2598723.6729 | 1197897.5379
98 | 2598808.4848 | 1197865.8245
99 | 2598802.2897 | 1197869.6217
100 | 2598782.4296 | 1197872.7832
101 | 2598793.7361 | 1197862.0528
102 | 2598780.7841 | 1197870.0043
103 | 2598689.6675 | 1197971.5121

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1