## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-44_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-44_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-44_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-44_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_355-44_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_355-44_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_355-44_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_355-44_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_355-44_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_355-44_0_4_node_86 | 0.4 | n |  | TRUE
10 | bus_LV_355-44_0_4_node_85 | 0.4 | n |  | TRUE
11 | bus_LV_355-44_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_355-44_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_355-44_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_355-44_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_355-44_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_355-44_0_4_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_355-44_0_4_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_355-44_0_4_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_355-44_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_355-44_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_355-44_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_355-44_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_355-44_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_355-44_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_355-44_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_355-44_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_355-44_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_355-44_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_355-44_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_355-44_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_355-44_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_355-44_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_355-44_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_355-44_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_355-44_0_4_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_355-44_0_4_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_355-44_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_355-44_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_355-44_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_355-44_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_355-44_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_355-44_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_355-44_0_4_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_355-44_0_4_node_114 | 0.4 | n |  | TRUE
45 | bus_LV_355-44_0_4_node_113 | 0.4 | n |  | TRUE
46 | bus_LV_355-44_0_4_node_100 | 0.4 | n |  | TRUE
47 | bus_LV_355-44_0_4_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_355-44_0_4_node_115 | 0.4 | n |  | TRUE
49 | bus_LV_355-44_0_4_node_112 | 0.4 | n |  | TRUE
50 | bus_LV_355-44_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_355-44_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_355-44_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_355-44_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_355-44_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_355-44_0_4_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_355-44_0_4_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_355-44_0_4_node_94 | 0.4 | n |  | TRUE
58 | bus_LV_355-44_0_4_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_355-44_0_4_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_355-44_0_4_node_75 | 0.4 | n |  | TRUE
61 | bus_LV_355-44_0_4_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_355-44_0_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_355-44_0_4_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_355-44_0_4_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_355-44_0_4_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_355-44_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_355-44_0_4_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_355-44_0_4_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_355-44_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_355-44_0_4_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_355-44_0_4_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_355-44_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_355-44_0_4_node_101 | 0.4 | n |  | TRUE
74 | bus_LV_355-44_0_4_node_87 | 0.4 | n |  | TRUE
75 | bus_LV_355-44_0_4_node_90 | 0.4 | n |  | TRUE
76 | bus_LV_355-44_0_4_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_355-44_0_4_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_355-44_0_4_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_355-44_0_4_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_355-44_0_4_node_91 | 0.4 | n |  | TRUE
81 | bus_LV_355-44_0_4_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_355-44_0_4_node_116 | 0.4 | n |  | TRUE
83 | bus_LV_355-44_0_4_node_95 | 0.4 | n |  | TRUE
84 | bus_LV_355-44_0_4_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_355-44_0_4_node_99 | 0.4 | n |  | TRUE
86 | bus_LV_355-44_0_4_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_355-44_0_4_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_355-44_0_4_node_92 | 0.4 | n |  | TRUE
89 | bus_LV_355-44_0_4_node_93 | 0.4 | n |  | TRUE
90 | bus_LV_355-44_0_4_node_73 | 0.4 | n |  | TRUE
91 | bus_LV_355-44_0_4_node_74 | 0.4 | n |  | TRUE
92 | bus_LV_355-44_0_4_node_76 | 0.4 | n |  | TRUE
93 | bus_LV_355-44_0_4_node_77 | 0.4 | n |  | TRUE
94 | bus_LV_355-44_0_4_node_78 | 0.4 | n |  | TRUE
95 | bus_LV_355-44_0_4_node_79 | 0.4 | n |  | TRUE
96 | bus_LV_355-44_0_4_node_80 | 0.4 | n |  | TRUE
97 | bus_LV_355-44_0_4_node_81 | 0.4 | n |  | TRUE
98 | bus_LV_355-44_0_4_node_111 | 0.4 | n |  | TRUE
99 | bus_LV_355-44_0_4_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_355-44_0_4_node_82 | 0.4 | n |  | TRUE
101 | bus_LV_355-44_0_4_node_110 | 0.4 | n |  | TRUE
102 | bus_LV_355-44_0_4_node_83 | 0.4 | n |  | TRUE
103 | bus_LV_355-44_0_4_node_84 | 0.4 | n |  | TRUE
104 | bus_LV_355-44_0_4_node_108 | 0.4 | n |  | TRUE
105 | bus_LV_355-44_0_4_node_97 | 0.4 | n |  | TRUE
106 | bus_LV_355-44_0_4_node_109 | 0.4 | n |  | TRUE
107 | bus_LV_355-44_0_4_node_98 | 0.4 | n |  | TRUE
108 | bus_LV_355-44_0_4_node_102 | 0.4 | n |  | TRUE
109 | bus_LV_355-44_0_4_node_103 | 0.4 | n |  | TRUE
110 | bus_LV_355-44_0_4_node_104 | 0.4 | n |  | TRUE
111 | bus_LV_355-44_0_4_node_106 | 0.4 | n |  | TRUE
112 | bus_LV_355-44_0_4_node_117 | 0.4 | n |  | TRUE
113 | bus_MV_600_0_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-44_0_4_load_0 | 0 | 0.0028744 | 0.00072039 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-44_0_4_load_1 | 1 | 0.0022106 | 0.00055403 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-44_0_4_load_2 | 2 | 0.0022586 | 0.00056607 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-44_0_4_load_3 | 3 | 0.0016347 | 0.0004097 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-44_0_4_load_4 | 4 | 0.0029078 | 0.00072875 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-44_0_4_load_8 | 6 | 0.0022155 | 0.00055526 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-44_0_4_load_6 | 7 | 0.002439 | 0.00061128 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-44_0_4_load_7 | 8 | 0.0024311 | 0.0006093 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-44_0_4_load_86 | 9 | 0.0031122 | 0.00078 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-44_0_4_load_9 | 11 | 0.002724 | 0.0006827 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-44_0_4_load_10 | 12 | 0.0016297 | 0.00040845 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-44_0_4_load_12 | 14 | 0.0018889 | 0.00047341 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-44_0_4_load_13 | 15 | 0.0034417 | 0.00086258 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-44_0_4_load_25 | 18 | 0.0021216 | 0.00053172 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-44_0_4_load_14 | 19 | 0.002303 | 0.00057719 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-44_0_4_load_15 | 20 | 0.0020639 | 0.00051725 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-44_0_4_load_16 | 21 | 0.0019805 | 0.00049635 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-44_0_4_load_18 | 22 | 0.0032789 | 0.00082177 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-44_0_4_load_19 | 23 | 0.0010568 | 0.00026486 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-44_0_4_load_20 | 24 | 0.0028163 | 0.00070584 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-44_0_4_load_21 | 25 | 0.0010614 | 0.00026602 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-44_0_4_load_23 | 26 | 0.0021239 | 0.00053231 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-44_0_4_load_22 | 27 | 0.002027 | 0.00050801 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-44_0_4_load_24 | 28 | 0.0020339 | 0.00050974 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-44_0_4_load_26 | 29 | 0.0035884 | 0.00089933 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-44_0_4_load_27 | 30 | 0.0029626 | 0.00074251 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-44_0_4_load_28 | 31 | 0.0032982 | 0.00082661 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-44_0_4_load_29 | 32 | 0.003039 | 0.00076164 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-44_0_4_load_30 | 33 | 0.0035699 | 0.0008947 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-44_0_4_load_31 | 34 | 0.0039504 | 0.00099006 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-44_0_4_load_40 | 35 | 0.0020417 | 0.00051169 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-44_0_4_load_32 | 37 | 0.0056096 | 0.0014059 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-44_0_4_load_35 | 39 | 0.0047089 | 0.0011802 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-44_0_4_load_36 | 40 | 0.0059985 | 0.0015034 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-44_0_4_load_113 | 45 | 0.004079 | 0.0010223 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-44_0_4_load_100 | 46 | 0.0030978 | 0.00077638 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-44_0_4_load_115 | 48 | 0.0029938 | 0.00075032 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-44_0_4_load_112 | 49 | 0.011432 | 0.002865 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-44_0_4_load_41 | 50 | 0.003099 | 0.00077669 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-44_0_4_load_42 | 51 | 0.0027366 | 0.00068587 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-44_0_4_load_44 | 53 | 0.0026878 | 0.00067363 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-44_0_4_load_46 | 55 | 0.003671 | 0.00092003 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-44_0_4_load_67 | 56 | 0.0041882 | 0.0010497 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-44_0_4_load_94 | 57 | 0.0020268 | 0.00050797 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-44_0_4_load_49 | 58 | 0.0026379 | 0.00066111 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-44_0_4_load_72 | 59 | 0.0018368 | 0.00046034 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-44_0_4_load_75 | 60 | 0.0018368 | 0.00046035 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-44_0_4_load_66 | 61 | 0.003378 | 0.0008466 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-44_0_4_load_47 | 62 | 0.0025624 | 0.0006422 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-44_0_4_load_71 | 63 | 0.0024471 | 0.00061331 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-44_0_4_load_48 | 64 | 0.0025381 | 0.0006361 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-44_0_4_load_50 | 65 | 0.0021344 | 0.00053494 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-44_0_4_load_57 | 66 | 0.0022657 | 0.00056784 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-44_0_4_load_54 | 67 | 0.0019571 | 0.00049049 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-44_0_4_load_51 | 68 | 0.0024184 | 0.00060612 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-44_0_4_load_52 | 69 | 0.0051169 | 0.0012824 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-44_0_4_load_55 | 71 | 0.0019639 | 0.00049219 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_355-44_0_4_load_56 | 72 | 0.0030369 | 0.00076112 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_355-44_0_4_load_90 | 75 | 0.0038826 | 0.00097306 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_355-44_0_4_load_58 | 76 | 0.0030869 | 0.00077365 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_355-44_0_4_load_59 | 77 | 0.0049268 | 0.0012348 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_355-44_0_4_load_63 | 79 | 0.0093374 | 0.0023402 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_355-44_0_4_load_91 | 80 | 0.0057509 | 0.0014413 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_355-44_0_4_load_88 | 81 | 0.0039684 | 0.00099458 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_355-44_0_4_load_116 | 82 | 0.009225 | 0.002312 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_355-44_0_4_load_95 | 83 | 0.010314 | 0.0025849 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_355-44_0_4_load_89 | 84 | 0.0058002 | 0.0014537 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_355-44_0_4_load_99 | 85 | 0.0045884 | 0.00115 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_355-44_0_4_load_65 | 86 | 0.0017593 | 0.00044092 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_355-44_0_4_load_68 | 87 | 0.0017417 | 0.00043651 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_355-44_0_4_load_92 | 88 | 0.0025448 | 0.00063779 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_355-44_0_4_load_93 | 89 | 0.0021524 | 0.00053943 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_355-44_0_4_load_73 | 90 | 0.0020251 | 0.00050753 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_355-44_0_4_load_74 | 91 | 0.0016115 | 0.00040387 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_355-44_0_4_load_76 | 92 | 0.005835 | 0.0014624 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_355-44_0_4_load_77 | 93 | 0.005846 | 0.0014651 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_355-44_0_4_load_81 | 97 | 0.0096906 | 0.0024287 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_355-44_0_4_load_111 | 98 | 0.0086421 | 0.0021659 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_355-44_0_4_load_96 | 99 | 0.010319 | 0.0025862 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_355-44_0_4_load_82 | 100 | 0.011743 | 0.002943 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_355-44_0_4_load_110 | 101 | 0.0037791 | 0.00094714 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_355-44_0_4_load_83 | 102 | 0.01023 | 0.0025638 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_355-44_0_4_load_84 | 103 | 0.0176 | 0.0044109 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_355-44_0_4_load_108 | 104 | 0.0035927 | 0.00090041 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_355-44_0_4_load_97 | 105 | 0.0081561 | 0.0020441 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_355-44_0_4_load_109 | 106 | 0.0037577 | 0.00094176 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_355-44_0_4_load_102 | 108 | 0.0058891 | 0.001476 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_355-44_0_4_load_103 | 109 | 0.0038014 | 0.00095272 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_355-44_0_4_load_106 | 111 | 0.0053659 | 0.0013448 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_355-44_0_4_load_117 | 112 | 0.0074436 | 0.0018656 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 76 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-44_0_4_line_0 |  | 0 | 1 | 0.012965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-44_0_4_line_1 |  | 0 | 2 | 0.01083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-44_0_4_line_2 |  | 1 | 3 | 0.0049529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-44_0_4_line_3 |  | 2 | 4 | 0.01894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-44_0_4_line_4 |  | 3 | 5 | 0.0099644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-44_0_4_line_5 |  | 4 | 6 | 0.01254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-44_0_4_line_6 |  | 5 | 7 | 0.0084162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-44_0_4_line_7 |  | 5 | 8 | 0.0047978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-44_0_4_line_8 |  | 7 | 9 | 0.028332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-44_0_4_line_9 |  | 9 | 10 | 0.010179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-44_0_4_line_10 |  | 10 | 71 | 0.021158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-44_0_4_line_11 |  | 11 | 12 | 0.010233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-44_0_4_line_12 |  | 11 | 13 | 0.011645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_355-44_0_4_line_13 |  | 12 | 14 | 0.016796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-44_0_4_line_14 |  | 13 | 15 | 0.047778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-44_0_4_line_15 |  | 14 | 16 | 0.014225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-44_0_4_line_16 |  | 16 | 17 | 0.011694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-44_0_4_line_17 |  | 16 | 18 | 0.014938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-44_0_4_line_18 |  | 17 | 88 | 0.015569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-44_0_4_line_19 |  | 17 | 57 | 0.0035162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_355-44_0_4_line_20 |  | 18 | 28 | 0.0039136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_355-44_0_4_line_21 |  | 19 | 20 | 0.015224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-44_0_4_line_22 |  | 19 | 21 | 0.0074641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-44_0_4_line_23 |  | 21 | 22 | 0.0095601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-44_0_4_line_24 |  | 22 | 23 | 0.013297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-44_0_4_line_25 |  | 23 | 24 | 0.0049733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-44_0_4_line_26 |  | 24 | 25 | 0.0039213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-44_0_4_line_27 |  | 25 | 26 | 0.0061519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-44_0_4_line_28 |  | 26 | 27 | 0.016963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-44_0_4_line_29 |  | 27 | 28 | 0.0059699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_355-44_0_4_line_30 |  | 29 | 30 | 0.0045809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-44_0_4_line_31 |  | 29 | 31 | 0.02162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-44_0_4_line_32 |  | 30 | 32 | 0.022188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-44_0_4_line_33 |  | 31 | 33 | 0.015058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-44_0_4_line_34 |  | 31 | 34 | 0.023001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-44_0_4_line_35 |  | 32 | 35 | 0.01046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-44_0_4_line_36 |  | 35 | 36 | 0.019079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-44_0_4_line_37 |  | 36 | 43 | 0.003796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-44_0_4_line_38 |  | 37 | 38 | 0.011609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-44_0_4_line_39 |  | 38 | 39 | 0.011283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-44_0_4_line_40 |  | 39 | 40 | 0.023029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-44_0_4_line_41 |  | 40 | 41 | 0.01611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-44_0_4_line_42 |  | 41 | 42 | 0.001047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-44_0_4_line_43 |  | 42 | 44 | 0.021888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-44_0_4_line_44 |  | 42 | 45 | 0.014242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-44_0_4_line_45 |  | 43 | 46 | 0.013939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-44_0_4_line_46 |  | 43 | 47 | 0.024402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_355-44_0_4_line_47 |  | 44 | 48 | 0.011731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_355-44_0_4_line_48 |  | 45 | 49 | 0.0098434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-44_0_4_line_49 |  | 46 | 85 | 0.00041108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-44_0_4_line_50 |  | 47 | 79 | 0.017283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_355-44_0_4_line_51 |  | 47 | 76 | 0.012189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_355-44_0_4_line_52 |  | 48 | 82 | 0.0069452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_355-44_0_4_line_53 |  | 50 | 51 | 0.02534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_355-44_0_4_line_54 |  | 50 | 52 | 0.0031642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_355-44_0_4_line_55 |  | 51 | 53 | 0.0021166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-44_0_4_line_56 |  | 52 | 54 | 0.02309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_355-44_0_4_line_57 |  | 52 | 55 | 0.01042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-44_0_4_line_58 |  | 53 | 56 | 0.016345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-44_0_4_line_59 |  | 54 | 57 | 0.036815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_355-44_0_4_line_60 |  | 54 | 58 | 0.015218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-44_0_4_line_61 |  | 54 | 59 | 0.015412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-44_0_4_line_62 |  | 55 | 60 | 0.0099439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_355-44_0_4_line_63 |  | 56 | 61 | 0.019109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-44_0_4_line_64 |  | 58 | 62 | 0.017063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-44_0_4_line_65 |  | 59 | 63 | 0.0021972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_355-44_0_4_line_66 |  | 61 | 87 | 0.0073386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_355-44_0_4_line_67 |  | 62 | 64 | 0.0072678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_355-44_0_4_line_68 |  | 63 | 90 | 0.0062914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_355-44_0_4_line_69 |  | 64 | 65 | 0.016154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_355-44_0_4_line_70 |  | 65 | 66 | 0.0084622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_355-44_0_4_line_71 |  | 66 | 67 | 0.011706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-44_0_4_line_72 |  | 67 | 69 | 0.010002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-44_0_4_line_73 |  | 68 | 69 | 0.02605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_355-44_0_4_line_74 |  | 68 | 70 | 0.003476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_355-44_0_4_line_75 |  | 70 | 71 | 0.01875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_355-44_0_4_line_76 |  | 70 | 72 | 0.014276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_355-44_0_4_line_77 |  | 73 | 74 | 0.010793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_355-44_0_4_line_78 |  | 73 | 75 | 0.018265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_355-44_0_4_line_79 |  | 74 | 101 | 0.027354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_355-44_0_4_line_80 |  | 75 | 84 | 0.02273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_355-44_0_4_line_81 |  | 76 | 77 | 0.024246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_355-44_0_4_line_82 |  | 77 | 78 | 0.0053288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_355-44_0_4_line_83 |  | 78 | 80 | 0.01669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_355-44_0_4_line_84 |  | 78 | 81 | 0.021823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_355-44_0_4_line_85 |  | 79 | 82 | 0.020433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_355-44_0_4_line_86 |  | 80 | 83 | 0.01283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_355-44_0_4_line_87 |  | 81 | 84 | 0.0055711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_355-44_0_4_line_88 |  | 83 | 99 | 0.024974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_355-44_0_4_line_89 |  | 85 | 91 | 0.010933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_355-44_0_4_line_90 |  | 86 | 87 | 0.0080421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_355-44_0_4_line_91 |  | 88 | 89 | 0.0053667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_355-44_0_4_line_92 |  | 90 | 91 | 0.0088618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_355-44_0_4_line_93 |  | 92 | 93 | 0.015861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_355-44_0_4_line_94 |  | 92 | 94 | 0.0082296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_355-44_0_4_line_95 |  | 93 | 95 | 0.021995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_355-44_0_4_line_96 |  | 94 | 96 | 0.012142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_355-44_0_4_line_97 |  | 94 | 97 | 0.021079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_355-44_0_4_line_98 |  | 95 | 98 | 0.033596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_355-44_0_4_line_99 |  | 96 | 99 | 0.017435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_355-44_0_4_line_100 |  | 97 | 100 | 0.00056678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_355-44_0_4_line_101 |  | 100 | 102 | 0.01721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_355-44_0_4_line_102 |  | 102 | 103 | 0.020708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_355-44_0_4_line_103 |  | 102 | 104 | 0.042563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_355-44_0_4_line_104 |  | 103 | 105 | 0.0042838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_355-44_0_4_line_105 |  | 104 | 106 | 0.00779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_355-44_0_4_line_106 |  | 105 | 107 | 0.01245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_355-44_0_4_line_107 |  | 106 | 111 | 0.015993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_355-44_0_4_line_108 |  | 107 | 112 | 0.021036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_355-44_0_4_line_109 |  | 108 | 109 | 0.010749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_355-44_0_4_line_110 |  | 108 | 110 | 0.017243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_355-44_0_4_line_111 |  | 110 | 111 | 0.025383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-44_0_4_trafo_58 | 0.63 MVA 20/0.4 kV | 113 | 76 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2599525.2884 | 1197410.6075 | 2599518.4752 | 1197411.7017 | 2599512.4529 | 1197412.4123
1 | 2599525.2884 | 1197410.6075 | 2599535.9817 | 1197408.8902
2 | 2599507.5341 | 1197412.9928 | 2599512.4529 | 1197412.4123
3 | 2599554.2277 | 1197403.9115 | 2599539.67 | 1197408.2979 | 2599535.9817 | 1197408.8902
4 | 2599497.6384 | 1197414.1605 | 2599507.5341 | 1197412.9928
5 | 2599554.2277 | 1197403.9115 | 2599561.9611 | 1197401.5813 | 2599566.0798 | 1197399.8616
6 | 2599497.6384 | 1197414.1605 | 2599497.732 | 1197422.5762
7 | 2599497.6384 | 1197414.1605 | 2599497.0356 | 1197409.4007
8 | 2599498.0474 | 1197450.9068 | 2599497.732 | 1197422.5762
9 | 2599498.1607 | 1197461.0854 | 2599498.0474 | 1197450.9068
10 | 2599498.1607 | 1197461.0854 | 2599477.0113 | 1197460.4923
11 | 2599361.4384 | 1197355.3189 | 2599359.6747 | 1197365.3988
12 | 2599363.4455 | 1197343.8486 | 2599361.4384 | 1197355.3189
13 | 2599356.7796 | 1197381.9435 | 2599359.6747 | 1197365.3988
14 | 2599363.4455 | 1197343.8486 | 2599316.7304 | 1197354.4822
15 | 2599354.3279 | 1197395.9552 | 2599356.7796 | 1197381.9435
16 | 2599352.1282 | 1197407.4394 | 2599354.3279 | 1197395.9552
17 | 2599354.3279 | 1197395.9552 | 2599369.2653 | 1197395.7907
18 | 2599352.1282 | 1197407.4394 | 2599336.9615 | 1197410.9548
19 | 2599352.1282 | 1197407.4394 | 2599351.4321 | 1197410.886
20 | 2599373.1787 | 1197395.7476 | 2599369.2653 | 1197395.7907
21 | 2599441.2354 | 1197391.6336 | 2599456.3275 | 1197389.6374
22 | 2599433.8358 | 1197392.6123 | 2599441.2354 | 1197391.6336
23 | 2599433.8358 | 1197392.6123 | 2599424.3582 | 1197393.8659
24 | 2599411.1562 | 1197395.3293 | 2599413.4882 | 1197395.3036 | 2599424.3582 | 1197393.8659
25 | 2599411.1562 | 1197395.3293 | 2599406.1832 | 1197395.384
26 | 2599406.1832 | 1197395.384 | 2599402.2621 | 1197395.4272
27 | 2599396.1106 | 1197395.495 | 2599402.2621 | 1197395.4272
28 | 2599379.1483 | 1197395.6818 | 2599396.1106 | 1197395.495
29 | 2599373.1787 | 1197395.7476 | 2599379.1483 | 1197395.6818
30 | 2599283.6083 | 1197483.5001 | 2599287.8923 | 1197485.1224
31 | 2599263.9984 | 1197474.4419 | 2599278.3247 | 1197481.4993 | 2599283.6083 | 1197483.5001
32 | 2599305.1802 | 1197497.76 | 2599305.1802 | 1197497.76 | 2599298.104 | 1197488.9895 | 2599287.8923 | 1197485.1224
33 | 2599263.9984 | 1197474.4419 | 2599276.0912 | 1197465.4243
34 | 2599263.9984 | 1197474.4419 | 2599247.3415 | 1197466.4288 | 2599243.683 | 1197463.7802
35 | 2599305.1802 | 1197497.76 | 2599309.3466 | 1197502.2952 | 2599313.5346 | 1197503.2757
36 | 2599332.1108 | 1197507.6285 | 2599328.8664 | 1197506.8729 | 2599325.4849 | 1197506.0729 | 2599321.258 | 1197505.084 | 2599313.5346 | 1197503.2757
37 | 2599332.7196 | 1197503.882 | 2599332.1108 | 1197507.6285
38 | 2599275.4001 | 1197537.3961 | 2599264.4093 | 1197533.6571
39 | 2599275.4001 | 1197537.3961 | 2599282.7573 | 1197540.0521 | 2599286.015 | 1197541.2204
40 | 2599307.692 | 1197548.9942 | 2599286.015 | 1197541.2204
41 | 2599322.8559 | 1197554.4324 | 2599307.692 | 1197548.9942
42 | 2599322.8559 | 1197554.4324 | 2599323.8308 | 1197554.8213
43 | 2599344.4322 | 1197562.3784 | 2599323.8308 | 1197554.8213
44 | 2599323.8308 | 1197554.8213 | 2599322.6968 | 1197560.5801 | 2599321.6997 | 1197565.6829 | 2599321.4942 | 1197566.7168 | 2599321.0871 | 1197568.7968
45 | 2599332.7196 | 1197503.882 | 2599335.4631 | 1197490.2158
46 | 2599356.4968 | 1197509.6599 | 2599332.7196 | 1197503.882
47 | 2599344.4322 | 1197562.3784 | 2599346.7734 | 1197550.8834
48 | 2599319.1964 | 1197578.4569 | 2599321.0871 | 1197568.7968
49 | 2599335.4631 | 1197490.2158 | 2599335.544 | 1197489.8127
50 | 2599356.4968 | 1197509.6599 | 2599353.6063 | 1197526.6993
51 | 2599356.4968 | 1197509.6599 | 2599368.4772 | 1197511.9037
52 | 2599346.7734 | 1197550.8834 | 2599348.1596 | 1197544.0779
53 | 2599319.843 | 1197440.5799 | 2599319.3992 | 1197440.083 | 2599305.7265 | 1197422.7422 | 2599304.2934 | 1197420.5834
54 | 2599321.9509 | 1197442.9397 | 2599319.843 | 1197440.5799
55 | 2599303.1228 | 1197418.82 | 2599304.2934 | 1197420.5834
56 | 2599321.9509 | 1197442.9397 | 2599326.1094 | 1197445.2182 | 2599332.6669 | 1197447.4408 | 2599344.144 | 1197446.9725
57 | 2599321.9509 | 1197442.9397 | 2599316.0948 | 1197451.5585
58 | 2599303.1228 | 1197418.82 | 2599301.0037 | 1197415.6279 | 2599294.9105 | 1197411.8711 | 2599289.7205 | 1197410.5496
59 | 2599344.144 | 1197446.9725 | 2599351.4321 | 1197410.886
60 | 2599344.144 | 1197446.9725 | 2599358.8543 | 1197450.8694
61 | 2599344.144 | 1197446.9725 | 2599341.1106 | 1197462.0828
62 | 2599310.5064 | 1197459.7835 | 2599316.0948 | 1197451.5585
63 | 2599271.6116 | 1197414.6773 | 2599275.4825 | 1197412.6519 | 2599286.3576 | 1197409.6933 | 2599289.7205 | 1197410.5496
64 | 2599375.3769 | 1197455.087 | 2599374.3037 | 1197454.962 | 2599358.8543 | 1197450.8694
65 | 2599340.6782 | 1197464.237 | 2599341.1106 | 1197462.0828
66 | 2599271.6116 | 1197414.6773 | 2599266.047 | 1197417.5891 | 2599265.0906 | 1197418.0419
67 | 2599375.3769 | 1197455.087 | 2599382.5958 | 1197455.9279
68 | 2599340.6782 | 1197464.237 | 2599339.4399 | 1197470.4054
69 | 2599382.5958 | 1197455.9279 | 2599398.6415 | 1197457.7969
70 | 2599407.0507 | 1197458.7198 | 2599406.4354 | 1197458.7048 | 2599398.6415 | 1197457.7969
71 | 2599418.7529 | 1197459.0046 | 2599407.0507 | 1197458.7198
72 | 2599418.7529 | 1197459.0046 | 2599428.7515 | 1197459.248
73 | 2599454.7939 | 1197459.882 | 2599428.7515 | 1197459.248
74 | 2599458.2689 | 1197459.9666 | 2599454.7939 | 1197459.882
75 | 2599458.2689 | 1197459.9666 | 2599477.0113 | 1197460.4923
76 | 2599458.2689 | 1197459.9666 | 2599460.0072 | 1197474.1361
77 | 2599473.8551 | 1197502.0874 | 2599463.9779 | 1197506.5019
78 | 2599463.9779 | 1197506.5019 | 2599457.3296 | 1197509.2374 | 2599446.9327 | 1197513.0555
79 | 2599473.8551 | 1197502.0874 | 2599470.2916 | 1197508.7802 | 2599464.086 | 1197520.6539 | 2599460.8743 | 1197526.16
80 | 2599446.9327 | 1197513.0555 | 2599443.34 | 1197514.3749 | 2599435.9224 | 1197516.4434 | 2599427.926 | 1197517.8339 | 2599424.841 | 1197517.8987
81 | 2599368.4772 | 1197511.9037 | 2599392.3089 | 1197516.3672
82 | 2599397.5467 | 1197517.3481 | 2599392.3089 | 1197516.3672
83 | 2599397.5467 | 1197517.3481 | 2599396.3336 | 1197533.994
84 | 2599397.5467 | 1197517.3481 | 2599402.9083 | 1197518.3592 | 2599419.2711 | 1197518.0156
85 | 2599353.6063 | 1197526.6993 | 2599351.7631 | 1197537.5643 | 2599349.5926 | 1197537.042 | 2599348.1596 | 1197544.0779
86 | 2599396.3336 | 1197533.994 | 2599396.0867 | 1197537.3812 | 2599386.9323 | 1197535.1033 | 2599386.9323 | 1197535.1033
87 | 2599419.2711 | 1197518.0156 | 2599424.841 | 1197517.8987
88 | 2599386.9323 | 1197535.1033 | 2599384.7633 | 1197547.4101 | 2599382.9583 | 1197546.6988 | 2599381.5123 | 1197555.6704 | 2599380.073 | 1197555.8484
89 | 2599335.544 | 1197489.8127 | 2599337.6957 | 1197479.0939
90 | 2599257.8219 | 1197421.4831 | 2599265.0906 | 1197418.0419
91 | 2599331.7334 | 1197412.1666 | 2599336.9615 | 1197410.9548
92 | 2599337.6957 | 1197479.0939 | 2599339.4399 | 1197470.4054
93 | 2599397.1829 | 1197578.9725 | 2599403.4027 | 1197580.6256 | 2599412.5264 | 1197582.081 | 2599412.7106 | 1197582.1101
94 | 2599389.2295 | 1197576.8586 | 2599397.1829 | 1197578.9725
95 | 2599434.6197 | 1197583.4904 | 2599426.9735 | 1197583.469 | 2599418.9923 | 1197583.103 | 2599412.7106 | 1197582.1101
96 | 2599377.6456 | 1197573.1135 | 2599389.2295 | 1197576.8586
97 | 2599389.2295 | 1197576.8586 | 2599381.5137 | 1197596.4741
98 | 2599434.6197 | 1197583.4904 | 2599439.3185 | 1197583.3009 | 2599442.875 | 1197582.6446 | 2599467.5485 | 1197577.157
99 | 2599377.6456 | 1197573.1135 | 2599380.073 | 1197555.8484
100 | 2599381.3062 | 1197597.0016 | 2599381.5137 | 1197596.4741
101 | 2599381.3062 | 1197597.0016 | 2599375.0066 | 1197613.0169
102 | 2599360.7676 | 1197623.4645 | 2599371.2999 | 1197622.4405 | 2599375.0066 | 1197613.0169
103 | 2599375.0066 | 1197613.0169 | 2599396.1606 | 1197649.9506
104 | 2599360.7676 | 1197623.4645 | 2599360.7676 | 1197623.4645 | 2599356.7239 | 1197622.0505
105 | 2599396.1606 | 1197649.9506 | 2599394.2567 | 1197651.9091 | 2599390.5349 | 1197655.3353
106 | 2599344.9721 | 1197617.9412 | 2599356.7239 | 1197622.0505
107 | 2599378.5294 | 1197665.8334 | 2599380.0171 | 1197665.0177 | 2599390.5349 | 1197655.3353
108 | 2599344.9721 | 1197617.9412 | 2599325.1124 | 1197611.0066
109 | 2599366.2424 | 1197689.6915 | 2599372.9745 | 1197698.0713
110 | 2599355.443 | 1197676.2488 | 2599366.2424 | 1197689.6915
111 | 2599355.443 | 1197676.2488 | 2599369.1884 | 1197670.9555 | 2599378.5294 | 1197665.8334

## bus_geodata
| x | y | coords
0 | 2599525.2884 | 1197410.6075
1 | 2599512.4529 | 1197412.4123
2 | 2599535.9817 | 1197408.8902
3 | 2599507.5341 | 1197412.9928
4 | 2599554.2277 | 1197403.9115
5 | 2599497.6384 | 1197414.1605
6 | 2599566.0798 | 1197399.8616
7 | 2599497.732 | 1197422.5762
8 | 2599497.0356 | 1197409.4007
9 | 2599498.0474 | 1197450.9068
10 | 2599498.1607 | 1197461.0854
11 | 2599361.4384 | 1197355.3189
12 | 2599359.6747 | 1197365.3988
13 | 2599363.4455 | 1197343.8486
14 | 2599356.7796 | 1197381.9435
15 | 2599316.7304 | 1197354.4822
16 | 2599354.3279 | 1197395.9552
17 | 2599352.1282 | 1197407.4394
18 | 2599369.2653 | 1197395.7907
19 | 2599441.2354 | 1197391.6336
20 | 2599456.3275 | 1197389.6374
21 | 2599433.8358 | 1197392.6123
22 | 2599424.3582 | 1197393.8659
23 | 2599411.1562 | 1197395.3293
24 | 2599406.1832 | 1197395.384
25 | 2599402.2621 | 1197395.4272
26 | 2599396.1106 | 1197395.495
27 | 2599379.1483 | 1197395.6818
28 | 2599373.1787 | 1197395.7476
29 | 2599283.6083 | 1197483.5001
30 | 2599287.8923 | 1197485.1224
31 | 2599263.9984 | 1197474.4419
32 | 2599305.1802 | 1197497.76
33 | 2599276.0912 | 1197465.4243
34 | 2599243.683 | 1197463.7802
35 | 2599313.5346 | 1197503.2757
36 | 2599332.1108 | 1197507.6285
37 | 2599264.4093 | 1197533.6571
38 | 2599275.4001 | 1197537.3961
39 | 2599286.015 | 1197541.2204
40 | 2599307.692 | 1197548.9942
41 | 2599322.8559 | 1197554.4324
42 | 2599323.8308 | 1197554.8213
43 | 2599332.7196 | 1197503.882
44 | 2599344.4322 | 1197562.3784
45 | 2599321.0871 | 1197568.7968
46 | 2599335.4631 | 1197490.2158
47 | 2599356.4968 | 1197509.6599
48 | 2599346.7734 | 1197550.8834
49 | 2599319.1964 | 1197578.4569
50 | 2599319.843 | 1197440.5799
51 | 2599304.2934 | 1197420.5834
52 | 2599321.9509 | 1197442.9397
53 | 2599303.1228 | 1197418.82
54 | 2599344.144 | 1197446.9725
55 | 2599316.0948 | 1197451.5585
56 | 2599289.7205 | 1197410.5496
57 | 2599351.4321 | 1197410.886
58 | 2599358.8543 | 1197450.8694
59 | 2599341.1106 | 1197462.0828
60 | 2599310.5064 | 1197459.7835
61 | 2599271.6116 | 1197414.6773
62 | 2599375.3769 | 1197455.087
63 | 2599340.6782 | 1197464.237
64 | 2599382.5958 | 1197455.9279
65 | 2599398.6415 | 1197457.7969
66 | 2599407.0507 | 1197458.7198
67 | 2599418.7529 | 1197459.0046
68 | 2599454.7939 | 1197459.882
69 | 2599428.7515 | 1197459.248
70 | 2599458.2689 | 1197459.9666
71 | 2599477.0113 | 1197460.4923
72 | 2599460.0072 | 1197474.1361
73 | 2599463.9779 | 1197506.5019
74 | 2599473.8551 | 1197502.0874
75 | 2599446.9327 | 1197513.0555
76 | 2599368.4772 | 1197511.9037
77 | 2599392.3089 | 1197516.3672
78 | 2599397.5467 | 1197517.3481
79 | 2599353.6063 | 1197526.6993
80 | 2599396.3336 | 1197533.9939
81 | 2599419.2711 | 1197518.0156
82 | 2599348.1596 | 1197544.0779
83 | 2599386.9323 | 1197535.1033
84 | 2599424.841 | 1197517.8987
85 | 2599335.544 | 1197489.8127
86 | 2599257.8219 | 1197421.4831
87 | 2599265.0906 | 1197418.0419
88 | 2599336.9615 | 1197410.9548
89 | 2599331.7334 | 1197412.1666
90 | 2599339.4399 | 1197470.4054
91 | 2599337.6957 | 1197479.0939
92 | 2599397.1829 | 1197578.9725
93 | 2599412.7106 | 1197582.1101
94 | 2599389.2295 | 1197576.8586
95 | 2599434.6197 | 1197583.4904
96 | 2599377.6456 | 1197573.1135
97 | 2599381.5137 | 1197596.4741
98 | 2599467.5485 | 1197577.157
99 | 2599380.073 | 1197555.8484
100 | 2599381.3062 | 1197597.0016
101 | 2599460.8743 | 1197526.16
102 | 2599375.0066 | 1197613.0169
103 | 2599360.7676 | 1197623.4645
104 | 2599396.1606 | 1197649.9506
105 | 2599356.7239 | 1197622.0505
106 | 2599390.5349 | 1197655.3353
107 | 2599344.9721 | 1197617.9412
108 | 2599366.2424 | 1197689.6915
109 | 2599372.9745 | 1197698.0713
110 | 2599355.443 | 1197676.2488
111 | 2599378.5294 | 1197665.8334
112 | 2599325.1124 | 1197611.0066
113 | 2599356.4968 | 1197509.6599

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1