## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-51_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-51_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-51_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_355-51_0_5_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_355-51_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_355-51_0_5_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_355-51_0_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_355-51_0_5_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_355-51_0_5_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_355-51_0_5_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_355-51_0_5_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_355-51_0_5_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_355-51_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_355-51_0_5_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_355-51_0_5_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_355-51_0_5_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_355-51_0_5_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_355-51_0_5_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_355-51_0_5_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_355-51_0_5_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_355-51_0_5_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_355-51_0_5_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_355-51_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_355-51_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_355-51_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_355-51_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_355-51_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_355-51_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_355-51_0_5_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_355-51_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_355-51_0_5_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_355-51_0_5_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_355-51_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_355-51_0_5_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_355-51_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_355-51_0_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_355-51_0_5_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_355-51_0_5_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_355-51_0_5_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_355-51_0_5_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_355-51_0_5_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_355-51_0_5_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_355-51_0_5_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_355-51_0_5_node_45 | 0.4 | n |  | TRUE
44 | bus_MV_608_0_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-51_0_5_load_0 | 0 | 0.0012467 | 0.00031244 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-51_0_5_load_1 | 1 | 0.022236 | 0.0055729 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-51_0_5_load_14 | 7 | 0.0024975 | 0.00062593 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-51_0_5_load_39 | 8 | 0.0048807 | 0.0012232 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-51_0_5_load_28 | 10 | 0.0076631 | 0.0019205 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-51_0_5_load_5 | 11 | 0.0048941 | 0.0012266 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-51_0_5_load_40 | 15 | 0.016816 | 0.0042144 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-51_0_5_load_29 | 16 | 0.0099308 | 0.0024889 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-51_0_5_load_27 | 17 | 0.0061117 | 0.0015317 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-51_0_5_load_37 | 18 | 0.0043063 | 0.0010793 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-51_0_5_load_42 | 19 | 0.028736 | 0.007202 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-51_0_5_load_33 | 21 | 0.011048 | 0.0027688 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-51_0_5_load_15 | 22 | 0.023103 | 0.0057901 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-51_0_5_load_16 | 23 | 0.0012946 | 0.00032446 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-51_0_5_load_18 | 25 | 0.038888 | 0.0097463 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-51_0_5_load_20 | 27 | 0.032266 | 0.0080867 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-51_0_5_load_30 | 28 | 0.009199 | 0.0023055 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-51_0_5_load_21 | 29 | 0.0092814 | 0.0023261 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-51_0_5_load_31 | 30 | 0.0093052 | 0.0023321 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-51_0_5_load_22 | 31 | 0.0046643 | 0.001169 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-51_0_5_load_23 | 32 | 0.0042191 | 0.0010574 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-51_0_5_load_24 | 33 | 0.0049718 | 0.0012461 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-51_0_5_load_25 | 34 | 0.0092783 | 0.0023254 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-51_0_5_load_26 | 35 | 0.0049818 | 0.0012486 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-51_0_5_load_32 | 36 | 0.0067307 | 0.0016869 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-51_0_5_load_34 | 37 | 0.0088444 | 0.0022166 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-51_0_5_load_35 | 38 | 0.030718 | 0.0076988 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-51_0_5_load_36 | 39 | 0.0062572 | 0.0015682 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-51_0_5_load_38 | 40 | 0.0063422 | 0.0015895 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-51_0_5_load_46 | 41 | 0.044326 | 0.011109 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-51_0_5_load_45 | 43 | 0.030911 | 0.0077471 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-51_0_5_line_0 |  | 0 | 1 | 0.052873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-51_0_5_line_1 |  | 1 | 2 | 0.059668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-51_0_5_line_2 |  | 2 | 3 | 0.0288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-51_0_5_line_3 |  | 3 | 7 | 0.026367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-51_0_5_line_4 |  | 4 | 5 | 0.032796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_355-51_0_5_line_5 |  | 4 | 6 | 0.24448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_355-51_0_5_line_6 |  | 4 | 7 | 0.039319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-51_0_5_line_7 |  | 5 | 8 | 0.0064999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-51_0_5_line_8 |  | 6 | 9 | 0.033366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_355-51_0_5_line_9 |  | 6 | 10 | 0.034526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_355-51_0_5_line_10 |  | 8 | 18 | 0.021528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-51_0_5_line_11 |  | 9 | 19 | 0.012071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-51_0_5_line_12 |  | 9 | 20 | 0.065097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_355-51_0_5_line_13 |  | 10 | 17 | 0.019639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_355-51_0_5_line_14 |  | 11 | 12 | 0.012646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-51_0_5_line_15 |  | 12 | 13 | 0.05712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-51_0_5_line_16 |  | 12 | 14 | 0.23899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-51_0_5_line_17 |  | 13 | 15 | 0.017063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-51_0_5_line_18 |  | 14 | 16 | 0.11606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_355-51_0_5_line_19 |  | 14 | 17 | 0.054587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_355-51_0_5_line_20 |  | 16 | 21 | 0.013656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_355-51_0_5_line_21 |  | 18 | 38 | 0.0081751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-51_0_5_line_22 |  | 20 | 41 | 0.011075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-51_0_5_line_23 |  | 20 | 42 | 0.062169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_355-51_0_5_line_24 |  | 21 | 35 | 0.019727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_355-51_0_5_line_25 |  | 22 | 23 | 0.04491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-51_0_5_line_26 |  | 22 | 24 | 0.031426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-51_0_5_line_27 |  | 24 | 25 | 0.086781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_355-51_0_5_line_28 |  | 24 | 26 | 0.023839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_355-51_0_5_line_29 |  | 25 | 27 | 0.025135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_355-51_0_5_line_30 |  | 26 | 28 | 0.075472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_355-51_0_5_line_31 |  | 27 | 29 | 0.026644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_355-51_0_5_line_32 |  | 28 | 30 | 0.00065825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_355-51_0_5_line_33 |  | 30 | 36 | 0.027584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_355-51_0_5_line_34 |  | 31 | 32 | 0.023469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_355-51_0_5_line_35 |  | 31 | 33 | 0.019329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_355-51_0_5_line_36 |  | 32 | 34 | 0.023312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_355-51_0_5_line_37 |  | 33 | 35 | 0.0064528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_355-51_0_5_line_38 |  | 34 | 36 | 0.00014953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_355-51_0_5_line_39 |  | 37 | 38 | 0.015308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-51_0_5_line_40 |  | 37 | 39 | 0.022291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-51_0_5_line_41 |  | 39 | 40 | 0.0059527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-51_0_5_line_42 |  | 42 | 43 | 0.01152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-51_0_5_trafo_45 | 0.63 MVA 20/0.4 kV | 44 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2598771.9552 | 1196241.3677 | 2598775.7565 | 1196249.2876 | 2598776.5647 | 1196252.8004 | 2598775.4609 | 1196256.0913 | 2598741.8311 | 1196271.55
1 | 2598692.9455 | 1196304.9801 | 2598723.173 | 1196280.1267 | 2598741.8311 | 1196271.55
2 | 2598692.9455 | 1196304.9801 | 2598684.8864 | 1196304.7485 | 2598679.1967 | 1196306.7954 | 2598677.2988 | 1196301.5708 | 2598672.7437 | 1196301.8721 | 2598669.4142 | 1196298.66
3 | 2598669.4142 | 1196298.66 | 2598667.6536 | 1196294.7695 | 2598666.6247 | 1196292.2573 | 2598659.8146 | 1196274.1115
4 | 2598635.9033 | 1196225.8849 | 2598634.8907 | 1196228.1086 | 2598632.1425 | 1196234.9573 | 2598631.9006 | 1196242.7949 | 2598645.9991 | 1196237.2997
5 | 2598478.759 | 1196408.0437 | 2598490.8527 | 1196399.1357 | 2598505.4817 | 1196385.2245 | 2598515.0689 | 1196374.1272 | 2598526.2395 | 1196359.1386 | 2598552.7514 | 1196314.8305 | 2598569.2901 | 1196290.5578 | 2598579.045 | 1196279.1049 | 2598589.5544 | 1196269.008 | 2598604.8394 | 1196256.3864 | 2598615.3194 | 1196250.1361 | 2598625.0228 | 1196245.787 | 2598631.9006 | 1196242.7949 | 2598645.9991 | 1196237.2997
6 | 2598645.9991 | 1196237.2997 | 2598659.8146 | 1196274.1115
7 | 2598635.9033 | 1196225.8849 | 2598633.2375 | 1196219.9568
8 | 2598496.8656 | 1196381.4136 | 2598482.7315 | 1196394.4354 | 2598478.759 | 1196408.0437
9 | 2598478.759 | 1196408.0437 | 2598474.2352 | 1196410.9909 | 2598461.7757 | 1196419.3098 | 2598453.0935 | 1196424.237 | 2598449.3248 | 1196426.0054
10 | 2598633.2375 | 1196219.9568 | 2598630.0348 | 1196212.835 | 2598627.8412 | 1196213.8027 | 2598616.8328 | 1196216.4475
11 | 2598496.8656 | 1196381.4136 | 2598492.3685 | 1196370.2089
12 | 2598533.5287 | 1196327.809 | 2598519.9607 | 1196350.9025 | 2598513.4583 | 1196361.5209 | 2598506.4224 | 1196370.4497 | 2598496.8656 | 1196381.4136
13 | 2598431.4336 | 1196434.0886 | 2598435.5991 | 1196432.4461 | 2598449.3248 | 1196426.0054
14 | 2598460.4574 | 1196473.739 | 2598462.6057 | 1196474.6723 | 2598465.531 | 1196475.9166 | 2598471.3578 | 1196480.0173
15 | 2598456.456 | 1196521.0208 | 2598448.6532 | 1196510.0171 | 2598443.0067 | 1196501.981 | 2598449.1599 | 1196496.8988 | 2598451.7868 | 1196493.0405 | 2598459.8027 | 1196475.0399 | 2598460.4574 | 1196473.739
16 | 2598382.75 | 1196427.4804 | 2598370.8627 | 1196438.4896 | 2598352.959 | 1196453.0358 | 2598349.3417 | 1196455.9717 | 2598324.5458 | 1196474.5555 | 2598327.9072 | 1196482.3364 | 2598332.8162 | 1196494.4859 | 2598338.2924 | 1196493.1169 | 2598373.1762 | 1196484.4133 | 2598390.0609 | 1196476.3265 | 2598391.7441 | 1196475.5256 | 2598416.6085 | 1196455.9638 | 2598459.8027 | 1196475.0399 | 2598460.4574 | 1196473.739
17 | 2598456.456 | 1196521.0208 | 2598466.2274 | 1196516.4379 | 2598468.7108 | 1196517.3489 | 2598471.9876 | 1196518.8995
18 | 2598382.75 | 1196427.4804 | 2598389.6261 | 1196419.7521 | 2598412.0902 | 1196396.2222 | 2598429.7246 | 1196370.9817 | 2598434.9475 | 1196361.6642 | 2598445.8012 | 1196331.8662
19 | 2598382.75 | 1196427.4804 | 2598393.4091 | 1196437.3604 | 2598397.2489 | 1196439.8384 | 2598402.8174 | 1196441.2154 | 2598406.9688 | 1196441.3365 | 2598413.4735 | 1196440.223 | 2598423.8624 | 1196437.074 | 2598431.4336 | 1196434.0886
20 | 2598450.4747 | 1196319.0353 | 2598445.8012 | 1196331.8662
21 | 2598608.9026 | 1196218.2973 | 2598608.9434 | 1196218.343 | 2598616.8328 | 1196216.4475
22 | 2598533.5287 | 1196327.809 | 2598529.4356 | 1196317.5157
23 | 2598568.7153 | 1196276.6173 | 2598560.8336 | 1196285.6907 | 2598546.686 | 1196306.85 | 2598533.5287 | 1196327.809
24 | 2598457.2262 | 1196300.4996 | 2598450.4747 | 1196319.0353
25 | 2598417.2855 | 1196040.4987 | 2598438.3573 | 1196073.3214 | 2598441.005 | 1196078.6
26 | 2598455.0946 | 1196106.6901 | 2598441.005 | 1196078.6
27 | 2598455.0946 | 1196106.6901 | 2598474.6453 | 1196093.3222 | 2598485.7425 | 1196087.0048 | 2598495.9286 | 1196092.5383 | 2598498.0012 | 1196094.8168 | 2598518.8028 | 1196123.7755
28 | 2598455.0946 | 1196106.6901 | 2598457.5258 | 1196110.9584 | 2598464.2568 | 1196128.6548
29 | 2598533.4669 | 1196144.19 | 2598518.8028 | 1196123.7755
30 | 2598464.2568 | 1196128.6548 | 2598473.5433 | 1196159.7244 | 2598477.6849 | 1196179.4226 | 2598479.1611 | 1196202.2899
31 | 2598549.0114 | 1196165.8301 | 2598533.4669 | 1196144.19
32 | 2598479.1611 | 1196202.2899 | 2598479.0736 | 1196202.9423
33 | 2598479.0736 | 1196202.9423 | 2598475.4056 | 1196230.281
34 | 2598471.0545 | 1196253.3004 | 2598465.4237 | 1196276.084
35 | 2598459.4347 | 1196294.4364 | 2598463.9554 | 1196282.0252 | 2598465.4237 | 1196276.084
36 | 2598475.3858 | 1196230.4292 | 2598473.8167 | 1196242.1236 | 2598471.0545 | 1196253.3004
37 | 2598457.2262 | 1196300.4996 | 2598459.4347 | 1196294.4364
38 | 2598475.4056 | 1196230.281 | 2598475.3858 | 1196230.4292
39 | 2598601.1544 | 1196205.3544 | 2598604.3413 | 1196213.197 | 2598608.9026 | 1196218.2973
40 | 2598601.1544 | 1196205.3544 | 2598598.4646 | 1196198.7352 | 2598594.382 | 1196199.9591 | 2598584.308 | 1196204.0795
41 | 2598578.7983 | 1196206.333 | 2598584.308 | 1196204.0795
42 | 2598568.7153 | 1196276.6173 | 2598564.5078 | 1196265.8904

## bus_geodata
| x | y | coords
0 | 2598771.9552 | 1196241.3677
1 | 2598741.8311 | 1196271.55
2 | 2598692.9455 | 1196304.9801
3 | 2598669.4142 | 1196298.66
4 | 2598645.9991 | 1196237.2997
5 | 2598635.9033 | 1196225.8849
6 | 2598478.759 | 1196408.0437
7 | 2598659.8146 | 1196274.1115
8 | 2598633.2375 | 1196219.9568
9 | 2598496.8656 | 1196381.4136
10 | 2598449.3248 | 1196426.0054
11 | 2598471.3578 | 1196480.0173
12 | 2598460.4574 | 1196473.739
13 | 2598456.456 | 1196521.0208
14 | 2598382.75 | 1196427.4804
15 | 2598471.9876 | 1196518.8995
16 | 2598445.8012 | 1196331.8662
17 | 2598431.4336 | 1196434.0886
18 | 2598616.8328 | 1196216.4475
19 | 2598492.3685 | 1196370.2089
20 | 2598533.5287 | 1196327.809
21 | 2598450.4747 | 1196319.0353
22 | 2598441.005 | 1196078.6
23 | 2598417.2855 | 1196040.4987
24 | 2598455.0946 | 1196106.6901
25 | 2598518.8028 | 1196123.7755
26 | 2598464.2568 | 1196128.6548
27 | 2598533.4669 | 1196144.19
28 | 2598479.1611 | 1196202.2899
29 | 2598549.0114 | 1196165.8301
30 | 2598479.0736 | 1196202.9423
31 | 2598465.4237 | 1196276.084
32 | 2598471.0545 | 1196253.3004
33 | 2598459.4347 | 1196294.4364
34 | 2598475.3858 | 1196230.4292
35 | 2598457.2262 | 1196300.4996
36 | 2598475.4056 | 1196230.281
37 | 2598601.1544 | 1196205.3544
38 | 2598608.9026 | 1196218.2973
39 | 2598584.308 | 1196204.0795
40 | 2598578.7983 | 1196206.333
41 | 2598529.4356 | 1196317.5157
42 | 2598568.7153 | 1196276.6173
43 | 2598564.5078 | 1196265.8904
44 | 2598568.7153 | 1196276.6173

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1