## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-56_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-56_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-56_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-56_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_355-56_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_355-56_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_355-56_0_5_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_355-56_0_5_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_355-56_0_5_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_355-56_0_5_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_355-56_0_5_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_355-56_0_5_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_355-56_0_5_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_355-56_0_5_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_355-56_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_355-56_0_5_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_355-56_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_355-56_0_5_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_355-56_0_5_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_355-56_0_5_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_355-56_0_5_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_355-56_0_5_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_355-56_0_5_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_355-56_0_5_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_355-56_0_5_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_355-56_0_5_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_355-56_0_5_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_355-56_0_5_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_355-56_0_5_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_355-56_0_5_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_355-56_0_5_node_75 | 0.4 | n |  | TRUE
31 | bus_LV_355-56_0_5_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_355-56_0_5_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_355-56_0_5_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_355-56_0_5_node_84 | 0.4 | n |  | TRUE
35 | bus_LV_355-56_0_5_node_77 | 0.4 | n |  | TRUE
36 | bus_LV_355-56_0_5_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_355-56_0_5_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_355-56_0_5_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_355-56_0_5_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_355-56_0_5_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_355-56_0_5_node_68 | 0.4 | n |  | TRUE
42 | bus_LV_355-56_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_355-56_0_5_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_355-56_0_5_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_355-56_0_5_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_355-56_0_5_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_355-56_0_5_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_355-56_0_5_node_80 | 0.4 | n |  | TRUE
49 | bus_LV_355-56_0_5_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_355-56_0_5_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_355-56_0_5_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_355-56_0_5_node_89 | 0.4 | n |  | TRUE
53 | bus_LV_355-56_0_5_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_355-56_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_355-56_0_5_node_87 | 0.4 | n |  | TRUE
56 | bus_LV_355-56_0_5_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_355-56_0_5_node_86 | 0.4 | n |  | TRUE
58 | bus_LV_355-56_0_5_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_355-56_0_5_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_355-56_0_5_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_355-56_0_5_node_88 | 0.4 | n |  | TRUE
62 | bus_LV_355-56_0_5_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_355-56_0_5_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_355-56_0_5_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_355-56_0_5_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_355-56_0_5_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_355-56_0_5_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_355-56_0_5_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_355-56_0_5_node_83 | 0.4 | n |  | TRUE
70 | bus_LV_355-56_0_5_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_355-56_0_5_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_355-56_0_5_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_355-56_0_5_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_355-56_0_5_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_355-56_0_5_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_355-56_0_5_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_355-56_0_5_node_49 | 0.4 | n |  | TRUE
78 | bus_LV_355-56_0_5_node_50 | 0.4 | n |  | TRUE
79 | bus_LV_355-56_0_5_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_355-56_0_5_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_355-56_0_5_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_355-56_0_5_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_355-56_0_5_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_355-56_0_5_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_355-56_0_5_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_355-56_0_5_node_55 | 0.4 | n |  | TRUE
87 | bus_LV_355-56_0_5_node_56 | 0.4 | n |  | TRUE
88 | bus_MV_55_0_node_154 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-56_0_5_load_0 | 0 | 0.0010724 | 0.00026876 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-56_0_5_load_1 | 1 | 0.00038748 | 9.7111e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-56_0_5_load_4 | 4 | 0.00019257 | 4.8263e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-56_0_5_load_5 | 5 | 0.00033429 | 8.378e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-56_0_5_load_54 | 6 | 0.027169 | 0.0068092 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-56_0_5_load_11 | 9 | 0.00028676 | 7.1869e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-56_0_5_load_12 | 10 | 0.0013612 | 0.00034115 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-56_0_5_load_13 | 13 | 0.00015275 | 3.8284e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-56_0_5_load_10 | 14 | 0.00040647 | 0.00010187 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-56_0_5_load_16 | 15 | 0.00050511 | 0.00012659 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-56_0_5_load_9 | 16 | 0.00038646 | 9.6856e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-56_0_5_load_18 | 17 | 0.0018455 | 0.00046253 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-56_0_5_load_6 | 18 | 0.0011135 | 0.00027908 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-56_0_5_load_7 | 19 | 0.00036596 | 9.1718e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-56_0_5_load_17 | 20 | 0.00029188 | 7.3152e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-56_0_5_load_23 | 21 | 0.00047012 | 0.00011782 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-56_0_5_load_20 | 22 | 0.00049499 | 0.00012406 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-56_0_5_load_21 | 23 | 0.0010638 | 0.0002666 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-56_0_5_load_22 | 24 | 0.00022099 | 5.5385e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-56_0_5_load_27 | 27 | 0.011753 | 0.0029457 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-56_0_5_load_75 | 30 | 0.010798 | 0.0027061 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-56_0_5_load_84 | 34 | 0.01245 | 0.0031202 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-56_0_5_load_76 | 37 | 0.0125 | 0.0031327 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-56_0_5_load_74 | 39 | 0.0078304 | 0.0019625 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-56_0_5_load_57 | 44 | 0.0079136 | 0.0019833 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-56_0_5_load_82 | 45 | 0.0079376 | 0.0019893 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-56_0_5_load_79 | 47 | 0.01056 | 0.0026466 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-56_0_5_load_69 | 49 | 0.011954 | 0.002996 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-56_0_5_load_89 | 52 | 0.010513 | 0.0026348 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-56_0_5_load_87 | 55 | 0.007762 | 0.0019453 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-56_0_5_load_86 | 57 | 0.010348 | 0.0025933 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-56_0_5_load_59 | 59 | 0.0076067 | 0.0019064 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-56_0_5_load_88 | 61 | 0.009913 | 0.0024844 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-56_0_5_load_64 | 64 | 0.0096432 | 0.0024168 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-56_0_5_load_70 | 66 | 0.010593 | 0.0026549 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-56_0_5_load_83 | 69 | 0.0099512 | 0.002494 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-56_0_5_load_62 | 70 | 0.0098884 | 0.0024783 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-56_0_5_load_61 | 71 | 0.010206 | 0.0025578 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-56_0_5_load_72 | 72 | 0.010709 | 0.0026838 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-56_0_5_load_65 | 73 | 0.01012 | 0.0025364 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-56_0_5_load_66 | 74 | 0.009665 | 0.0024223 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-56_0_5_load_52 | 76 | 0.012135 | 0.0030413 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-56_0_5_load_49 | 77 | 0.012216 | 0.0030616 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-56_0_5_load_53 | 79 | 0.011715 | 0.0029361 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-56_0_5_load_85 | 80 | 0.01188 | 0.0029775 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-56_0_5_load_73 | 81 | 0.0076481 | 0.0019168 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-56_0_5_load_71 | 82 | 0.010146 | 0.0025429 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-56_0_5_load_78 | 83 | 0.0073904 | 0.0018522 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-56_0_5_load_81 | 84 | 0.0097472 | 0.0024429 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-56_0_5_load_67 | 85 | 0.010493 | 0.0026299 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-56_0_5_load_55 | 86 | 0.012391 | 0.0031054 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-56_0_5_load_56 | 87 | 0.011851 | 0.00297 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-56_0_5_line_0 |  | 0 | 1 | 0.0066327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-56_0_5_line_1 |  | 0 | 2 | 0.043426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-56_0_5_line_2 |  | 1 | 3 | 0.012321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-56_0_5_line_3 |  | 2 | 4 | 0.012524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-56_0_5_line_4 |  | 2 | 5 | 0.031431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-56_0_5_line_5 |  | 3 | 9 | 0.021058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-56_0_5_line_6 |  | 3 | 10 | 0.032477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-56_0_5_line_7 |  | 4 | 11 | 0.022713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-56_0_5_line_8 |  | 5 | 12 | 0.015321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-56_0_5_line_9 |  | 6 | 7 | 0.42408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-56_0_5_line_10 |  | 6 | 8 | 0.062446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-56_0_5_line_11 |  | 7 | 25 | 0.26555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-56_0_5_line_12 |  | 8 | 53 | 0.15055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_355-56_0_5_line_13 |  | 9 | 13 | 0.013543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-56_0_5_line_14 |  | 10 | 14 | 0.020219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-56_0_5_line_15 |  | 11 | 15 | 0.037179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-56_0_5_line_16 |  | 12 | 16 | 0.019509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-56_0_5_line_17 |  | 12 | 17 | 0.028439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-56_0_5_line_18 |  | 16 | 19 | 0.013052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-56_0_5_line_19 |  | 17 | 20 | 0.014137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_355-56_0_5_line_20 |  | 18 | 19 | 0.02008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_355-56_0_5_line_21 |  | 20 | 21 | 0.32089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-56_0_5_line_22 |  | 21 | 23 | 0.040991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-56_0_5_line_23 |  | 22 | 23 | 0.020063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-56_0_5_line_24 |  | 22 | 24 | 0.016492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-56_0_5_line_25 |  | 24 | 25 | 0.086627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-56_0_5_line_26 |  | 26 | 27 | 0.00689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-56_0_5_line_27 |  | 26 | 28 | 0.018407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-56_0_5_line_28 |  | 28 | 29 | 0.014042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-56_0_5_line_29 |  | 28 | 30 | 0.007599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_355-56_0_5_line_30 |  | 29 | 49 | 0.006841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-56_0_5_line_31 |  | 29 | 50 | 0.097334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-56_0_5_line_32 |  | 31 | 32 | 0.086566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_355-56_0_5_line_33 |  | 31 | 33 | 0.012151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-56_0_5_line_34 |  | 31 | 34 | 0.01029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-56_0_5_line_35 |  | 32 | 35 | 0.018835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-56_0_5_line_36 |  | 32 | 36 | 0.079132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_355-56_0_5_line_37 |  | 32 | 37 | 0.008416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-56_0_5_line_38 |  | 33 | 79 | 0.008265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-56_0_5_line_39 |  | 33 | 75 | 0.013819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-56_0_5_line_40 |  | 35 | 80 | 0.010518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-56_0_5_line_41 |  | 35 | 67 | 0.015067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-56_0_5_line_42 |  | 36 | 47 | 0.014073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-56_0_5_line_43 |  | 36 | 48 | 0.008935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-56_0_5_line_44 |  | 36 | 38 | 0.07793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_355-56_0_5_line_45 |  | 38 | 39 | 0.004708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-56_0_5_line_46 |  | 38 | 40 | 0.068232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_355-56_0_5_line_47 |  | 38 | 41 | 0.020477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_355-56_0_5_line_48 |  | 40 | 45 | 0.008541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-56_0_5_line_49 |  | 40 | 46 | 0.015761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-56_0_5_line_50 |  | 40 | 42 | 0.080197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_355-56_0_5_line_51 |  | 41 | 81 | 0.011876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_355-56_0_5_line_52 |  | 41 | 63 | 0.040512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_355-56_0_5_line_53 |  | 42 | 43 | 0.019046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_355-56_0_5_line_54 |  | 42 | 44 | 0.005654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_355-56_0_5_line_55 |  | 43 | 82 | 0.007635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-56_0_5_line_56 |  | 43 | 65 | 0.012044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_355-56_0_5_line_57 |  | 46 | 83 | 0.010889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-56_0_5_line_58 |  | 46 | 58 | 0.012947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-56_0_5_line_59 |  | 48 | 84 | 0.012729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_355-56_0_5_line_60 |  | 48 | 60 | 0.017304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-56_0_5_line_61 |  | 50 | 77 | 0.012871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-56_0_5_line_62 |  | 50 | 78 | 0.010884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_355-56_0_5_line_63 |  | 50 | 75 | 0.076404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-56_0_5_line_64 |  | 51 | 52 | 0.014271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-56_0_5_line_65 |  | 51 | 53 | 0.016281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_355-56_0_5_line_66 |  | 53 | 72 | 0.012109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_355-56_0_5_line_67 |  | 53 | 65 | 0.068213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_355-56_0_5_line_68 |  | 54 | 55 | 0.020807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_355-56_0_5_line_69 |  | 54 | 56 | 0.084385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_355-56_0_5_line_70 |  | 54 | 57 | 0.018786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_355-56_0_5_line_71 |  | 56 | 73 | 0.025159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-56_0_5_line_72 |  | 56 | 74 | 0.011764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-56_0_5_line_73 |  | 56 | 62 | 0.075992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_355-56_0_5_line_74 |  | 58 | 59 | 0.014467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_355-56_0_5_line_75 |  | 60 | 61 | 0.013798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_355-56_0_5_line_76 |  | 62 | 63 | 0.012433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_355-56_0_5_line_77 |  | 62 | 64 | 0.018177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_355-56_0_5_line_78 |  | 63 | 85 | 0.008926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_355-56_0_5_line_79 |  | 65 | 66 | 0.013276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_355-56_0_5_line_80 |  | 67 | 68 | 0.081767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_355-56_0_5_line_81 |  | 67 | 69 | 0.009736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_355-56_0_5_line_82 |  | 68 | 70 | 0.011195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_355-56_0_5_line_83 |  | 68 | 71 | 0.021134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_355-56_0_5_line_84 |  | 75 | 76 | 0.014274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_355-56_0_5_line_85 |  | 78 | 86 | 0.021966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_355-56_0_5_line_86 |  | 78 | 87 | 0.008021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-56_0_5_trafo_40 | 0.63 MVA 20/0.4 kV | 88 | 62 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2601345.1519 | 1195838.6609 | 2601348.3084 | 1195832.8274
1 | 2601330.6662 | 1195879.2386 | 2601333.3506 | 1195865.1317 | 2601338.3052 | 1195851.3143 | 2601345.1519 | 1195838.6609
2 | 2601354.1719 | 1195821.9911 | 2601348.3084 | 1195832.8274
3 | 2601330.6662 | 1195879.2386 | 2601343.0066 | 1195881.3757
4 | 2601330.6662 | 1195879.2386 | 2601326.686 | 1195896.7804 | 2601325.1897 | 1195910.14
5 | 2601354.1719 | 1195821.9911 | 2601362.3797 | 1195806.8181 | 2601364.5692 | 1195803.703
6 | 2601354.1719 | 1195821.9911 | 2601344.9247 | 1195817.52 | 2601335.0068 | 1195814.4052 | 2601323.2449 | 1195813.3355
7 | 2601361.1037 | 1195894.8868 | 2601352.9162 | 1195887.2698 | 2601343.0066 | 1195881.3757
8 | 2601325.5373 | 1195925.3509 | 2601324.4498 | 1195916.7461 | 2601325.1897 | 1195910.14
9 | 2601979.1247 | 1196391.7045 | 2601571.4358 | 1196274.9374
10 | 2602004.5833 | 1196433.0124 | 2601970.0699 | 1196409.2554 | 2601969.6588 | 1196408.7217 | 2601969.3771 | 1196408.2547 | 2601969.2554 | 1196407.6543 | 2601969.3927 | 1196406.9873 | 2601969.6443 | 1196406.4093 | 2601979.1247 | 1196391.7045
11 | 2601571.4358 | 1196274.9374 | 2601559.3784 | 1196271.2769 | 2601535.6782 | 1196282.0657 | 2601514.4292 | 1196299.3808 | 2601471.7174 | 1196338.2691 | 2601432.0717 | 1196362.2949 | 2601394.6305 | 1196373.6926 | 2601429.177 | 1196329.3101
12 | 2602004.5833 | 1196433.0124 | 2602033.4122 | 1196392.7782 | 2602041.5218 | 1196400.8296 | 2602039.3574 | 1196404.2085 | 2602047.5898 | 1196409.6474 | 2602053.3148 | 1196419.0654 | 2602053.7479 | 1196422.2228 | 2602053.6557 | 1196424.8908 | 2602048.3057 | 1196432.9934 | 2602036.5558 | 1196446.1076 | 2602029.2846 | 1196459.5568 | 2602032.3443 | 1196466.9617 | 2602040.5859 | 1196467.3313
13 | 2601364.5692 | 1195803.703 | 2601372.3565 | 1195792.6231
14 | 2601307.0296 | 1195824.3641 | 2601317.0817 | 1195814.9906 | 2601319.9768 | 1195813.6461 | 2601323.2449 | 1195813.3355 | 2601323.2449 | 1195813.3355
15 | 2601361.1037 | 1195894.8868 | 2601367.3304 | 1195881.7033 | 2601374.4765 | 1195879.1924 | 2601381.4296 | 1195865.8731
16 | 2601325.5373 | 1195925.3509 | 2601321.4544 | 1195924.205 | 2601317.3567 | 1195920.769 | 2601312.6275 | 1195913.9533 | 2601311.8036 | 1195912.5529
17 | 2601325.5373 | 1195925.3509 | 2601327.8055 | 1195934.5785 | 2601328.4216 | 1195939.0254 | 2601328.4206 | 1195943.55 | 2601325.6695 | 1195948.6966 | 2601323.0637 | 1195951.8448
18 | 2601305 | 1195901.417 | 2601308.0356 | 1195906.1482 | 2601311.8036 | 1195912.5529
19 | 2601314.2741 | 1195962.917 | 2601321.7225 | 1195953.465 | 2601323.0637 | 1195951.8448
20 | 2601296.128 | 1195883.47 | 2601299.0344 | 1195891.0494 | 2601304.5401 | 1195900.7001 | 2601305 | 1195901.417
21 | 2601314.2741 | 1195962.917 | 2601529.6267 | 1196200.8132
22 | 2601529.6267 | 1196200.8132 | 2601516.141 | 1196213.7136 | 2601510.2657 | 1196223.2728 | 2601504.0808 | 1196232.5002
23 | 2601491.2399 | 1196247.6532 | 2601497.2352 | 1196242.7133 | 2601504.0808 | 1196232.5002
24 | 2601491.2399 | 1196247.6532 | 2601478.5118 | 1196258.1407
25 | 2601429.177 | 1196329.3101 | 2601446.5804 | 1196305.4903 | 2601478.2033 | 1196258.3949 | 2601478.5118 | 1196258.1407
26 | 2601834.962 | 1196803.3012 | 2601834.6716 | 1196806.6362 | 2601832.4695 | 1196809.4148
27 | 2601818.5849 | 1196807.4652 | 2601819.0026 | 1196811.612 | 2601824.4482 | 1196812.7475 | 2601830.1461 | 1196810.7148 | 2601832.4695 | 1196809.4148
28 | 2601805.8358 | 1196803.3038 | 2601810.4276 | 1196807.0182 | 2601818.5849 | 1196807.4652
29 | 2601819.9504 | 1196800.1506 | 2601819.8272 | 1196804.8865 | 2601818.5849 | 1196807.4652
30 | 2601805.8358 | 1196803.3038 | 2601806.0282 | 1196796.4668
31 | 2601805.8358 | 1196803.3038 | 2601803.2379 | 1196805.3041 | 2601800.0688 | 1196807.2931 | 2601788.7988 | 1196798.2851 | 2601788.1065 | 1196795.2833 | 2601787.9702 | 1196792.3483 | 2601789.1069 | 1196786.0675 | 2601800.0179 | 1196772.7747 | 2601813.3408 | 1196768.2762 | 2601818.0862 | 1196767.7551 | 2601823.0985 | 1196765.9223 | 2601825.7281 | 1196759.7308 | 2601840.4347 | 1196764.2598
32 | 2601881.2518 | 1196742.3048 | 2601880.2458 | 1196744.1722 | 2601880.3513 | 1196747.8408 | 2601881.4321 | 1196750.5426 | 2601883.6096 | 1196753.5004 | 2601886.9448 | 1196756.314 | 2601891.842 | 1196757.7496 | 2601898.8417 | 1196757.9518 | 2601903.9375 | 1196757.1752 | 2601908.7975 | 1196755.5091 | 2601912.5688 | 1196752.2196 | 2601915.8985 | 1196748.2297 | 2601921.1249 | 1196744.0068 | 2601925.4825 | 1196741.429 | 2601929.3297 | 1196739.1623 | 2601936.4303 | 1196733.5616 | 2601942.83 | 1196728.383 | 2601940.3554 | 1196725.6252
33 | 2601881.2518 | 1196742.3048 | 2601877.7028 | 1196740.7807 | 2601876.3023 | 1196737.6564 | 2601874.3537 | 1196733.1868
34 | 2601890.2471 | 1196742.5632 | 2601888.3575 | 1196744.6638 | 2601881.2518 | 1196742.3048
35 | 2601923.4632 | 1196719.8169 | 2601932.7157 | 1196725.923 | 2601937.7273 | 1196726.4471 | 2601940.3554 | 1196725.6252
36 | 2601981.8616 | 1196670.4312 | 2601982.8653 | 1196675.9567 | 2601976.1001 | 1196680.2457 | 2601969.5633 | 1196685.2908 | 2601964.8311 | 1196692.0373 | 2601960.0442 | 1196703.3529 | 2601960.9788 | 1196710.3013 | 2601950.692 | 1196723.5607 | 2601942.83 | 1196728.383 | 2601940.3554 | 1196725.6252
37 | 2601942.1402 | 1196717.5548 | 2601941.7044 | 1196723.0132 | 2601940.3554 | 1196725.6252
38 | 2601880.6692 | 1196729.1865 | 2601877.9184 | 1196733.01 | 2601874.3537 | 1196733.1868
39 | 2601862.2222 | 1196726.5129 | 2601867.7891 | 1196729.7385 | 2601874.3537 | 1196733.1868
40 | 2601926.9621 | 1196710.6909 | 2601926.5412 | 1196717.0831 | 2601923.4632 | 1196719.8169
41 | 2601923.4632 | 1196719.8169 | 2601910.0293 | 1196712.9202
42 | 2601981.8616 | 1196670.4312 | 2601987.0643 | 1196669.0544 | 2601988.7941 | 1196666.8204 | 2601989.1768 | 1196660.9508
43 | 2601981.8616 | 1196670.4312 | 2601973.667 | 1196666.8156
44 | 2601981.8616 | 1196670.4312 | 2601982.8653 | 1196675.9567 | 2601988.2815 | 1196673.6906 | 2602002.7192 | 1196662.2336 | 2602011.3451 | 1196651.086 | 2602018.7602 | 1196639.0265 | 2602022.5409 | 1196630.5899 | 2602024.5376 | 1196627.4778 | 2602020.891 | 1196621.718
45 | 2602021.7075 | 1196617.0824 | 2602020.891 | 1196621.718
46 | 2602020.891 | 1196621.718 | 2602024.5376 | 1196627.4778 | 2602027.8369 | 1196623.8102 | 2602034.4885 | 1196617.4757 | 2602040.6915 | 1196609.0399 | 2602039.07 | 1196606.1934 | 2602038.4163 | 1196602.2911 | 2602039.1108 | 1196598.1114 | 2602042.815 | 1196590.7976 | 2602049.1783 | 1196581.3836 | 2602051.4945 | 1196579.2832 | 2602050.4823 | 1196576.8149
47 | 2602000.5471 | 1196618.921 | 2602020.891 | 1196621.718
48 | 2602052.8766 | 1196569.0005 | 2602052.7227 | 1196573.7251 | 2602050.4823 | 1196576.8149
49 | 2602035.2955 | 1196572.452 | 2602040.7488 | 1196573.8991 | 2602050.4823 | 1196576.8149
50 | 2602050.4823 | 1196576.8149 | 2602051.4945 | 1196579.2832 | 2602060.1561 | 1196575.8954 | 2602072.912 | 1196560.6694 | 2602082.751 | 1196544.5419 | 2602093.4885 | 1196529.4708 | 2602093.0475 | 1196527.1028 | 2602092.4552 | 1196521.6552 | 2602091.5955 | 1196518.6978
51 | 2602000.5471 | 1196618.921 | 2602005.8953 | 1196615.5543 | 2602007.2291 | 1196612.7643 | 2602007.4432 | 1196610.2964
52 | 2602000.5471 | 1196618.921 | 2601982.1367 | 1196619.8378 | 2601967.2534 | 1196619.544 | 2601960.5057 | 1196616.7404
53 | 2602091.5955 | 1196518.6978 | 2602089.7518 | 1196519.6644 | 2602083.8641 | 1196518.7841 | 2602074.8172 | 1196512.4333
54 | 2602093.1131 | 1196513.2955 | 2602092.2662 | 1196517.4196 | 2602091.5955 | 1196518.6978
55 | 2602078.3154 | 1196506.5647 | 2602077.7961 | 1196510.7556 | 2602074.8172 | 1196512.4333
56 | 2602062.8507 | 1196512.9851 | 2602068.7618 | 1196511.9421 | 2602074.8172 | 1196512.4333
57 | 2602038.2619 | 1196562.2587 | 2602038.1386 | 1196566.4943 | 2602037.1245 | 1196569.5845 | 2602035.2955 | 1196572.452
58 | 2602035.2955 | 1196572.452 | 2602031.2053 | 1196572.0171 | 2602022.5989 | 1196569.8687
59 | 2601974.8364 | 1196654.1426 | 2601973.667 | 1196666.8156
60 | 2601957.7117 | 1196660.5961 | 2601961.9846 | 1196661.1089 | 2601965.2062 | 1196662.1771 | 2601973.667 | 1196666.8156
61 | 2601840.4347 | 1196764.2598 | 2601846.4781 | 1196752.8889
62 | 2601840.4347 | 1196764.2598 | 2601845.834 | 1196767.6187 | 2601849.6949 | 1196770.0212
63 | 2601840.4347 | 1196764.2598 | 2601825.7281 | 1196759.7308 | 2601831.331 | 1196744.1798 | 2601849.5574 | 1196720.2169 | 2601856.2283 | 1196724.9658 | 2601862.2222 | 1196726.5129
64 | 2602061.6875 | 1196460.4902 | 2602055.5682 | 1196468.7926 | 2602054.0588 | 1196472.4607
65 | 2602054.0588 | 1196472.4607 | 2602053.4568 | 1196473.3721 | 2602050.1583 | 1196474.0269 | 2602047.2415 | 1196472.4028 | 2602044.3176 | 1196469.1668 | 2602040.5859 | 1196467.3313
66 | 2602045.7081 | 1196456.5495 | 2602043.399 | 1196459.995 | 2602042.2625 | 1196464.7416 | 2602040.5859 | 1196467.3313
67 | 2602040.5859 | 1196467.3313 | 2602032.3443 | 1196466.9617 | 2602036.3096 | 1196476.557 | 2602038.7377 | 1196482.0496 | 2602042.6897 | 1196485.9419 | 2602047.1715 | 1196499.7507 | 2602050.9252 | 1196504.4211 | 2602053.6118 | 1196511.0255 | 2602056.635 | 1196513.3388 | 2602060.1005 | 1196514.2071 | 2602062.8507 | 1196512.9851
68 | 2602028.3139 | 1196516.4311 | 2602024.9991 | 1196520.5544 | 2602023.2925 | 1196521.799 | 2602016.2854 | 1196519.8623 | 2602010.1081 | 1196519.6158
69 | 2601971.8544 | 1196570.4305 | 2601961.2912 | 1196565.6023 | 2601973.2948 | 1196544.1281 | 2601982.5382 | 1196531.7244 | 2601990.4098 | 1196521.4882 | 2602010.1081 | 1196519.6158
70 | 2602018.637 | 1196503.0208 | 2602011.9228 | 1196513.7688 | 2602010.1081 | 1196519.6158
71 | 2601971.8544 | 1196570.4305 | 2601975.1356 | 1196575.6787 | 2601980.7629 | 1196580.8944 | 2601984.4418 | 1196581.218 | 2601989.1358 | 1196575.1941
72 | 2601979.2305 | 1196561.5392 | 2601975.679 | 1196567.5746 | 2601971.8544 | 1196570.4305
73 | 2601948.8379 | 1196612.7012 | 2601943.2701 | 1196612.1436 | 2601934.6959 | 1196604.1589 | 2601941.6469 | 1196590.2648 | 2601961.2912 | 1196565.6023 | 2601971.8544 | 1196570.4305
74 | 2602023.6014 | 1196555.4392 | 2602022.5989 | 1196569.8687
75 | 2601957.7117 | 1196660.5961 | 2601959.4797 | 1196657.7952 | 2601960.4732 | 1196647.3566
76 | 2601948.8379 | 1196612.7012 | 2601953.5601 | 1196613.6143 | 2601958.1678 | 1196615.2833 | 2601960.5057 | 1196616.7404
77 | 2601956.5133 | 1196596.3505 | 2601952.6572 | 1196602.4525 | 2601950.6366 | 1196608.9776 | 2601948.8379 | 1196612.7012
78 | 2601965.9083 | 1196609.6828 | 2601962.8982 | 1196614.3398 | 2601960.5057 | 1196616.7404
79 | 2602062.8507 | 1196512.9851 | 2602063.9367 | 1196499.7562
80 | 2601909.9912 | 1196663.5606 | 2601904.4385 | 1196663.6256 | 2601898.9777 | 1196662.0342 | 2601893.5749 | 1196670.0368 | 2601883.5567 | 1196676.6928 | 2601889.3502 | 1196686.1885 | 2601889.2171 | 1196698.1949 | 2601897.533 | 1196703.5225 | 2601904.7668 | 1196710.4728 | 2601910.0293 | 1196712.9202
81 | 2601912.5456 | 1196703.9051 | 2601912.079 | 1196710.2972 | 2601910.0293 | 1196712.9202
82 | 2601909.9912 | 1196663.5606 | 2601912.3989 | 1196660.7932 | 2601916.3921 | 1196654.4022
83 | 2601926.2441 | 1196667.9902 | 2601924.0952 | 1196671.3246 | 2601922.0764 | 1196672.1689 | 2601920.0963 | 1196671.3901 | 2601915.0555 | 1196666.4526 | 2601909.9912 | 1196663.5606
84 | 2601871.4265 | 1196715.8878 | 2601868.8889 | 1196719.8447 | 2601865.8028 | 1196724.1572 | 2601862.2222 | 1196726.5129
85 | 2601849.6949 | 1196770.0212 | 2601851.1791 | 1196773.5124 | 2601854.9788 | 1196777.0932 | 2601861.6496 | 1196781.9422 | 2601863.5005 | 1196781.6426 | 2601865.3673 | 1196779.4753
86 | 2601849.6949 | 1196770.0212 | 2601853.3282 | 1196769.7554 | 2601855.6752 | 1196766.0431

## bus_geodata
| x | y | coords
0 | 2601345.1519 | 1195838.6609
1 | 2601348.3084 | 1195832.8274
2 | 2601330.6662 | 1195879.2386
3 | 2601354.1719 | 1195821.9911
4 | 2601343.0066 | 1195881.3757
5 | 2601325.1897 | 1195910.14
6 | 2601979.1247 | 1196391.7045
7 | 2601571.4358 | 1196274.9374
8 | 2602004.5833 | 1196433.0124
9 | 2601364.5692 | 1195803.703
10 | 2601323.2449 | 1195813.3355
11 | 2601361.1037 | 1195894.8868
12 | 2601325.5373 | 1195925.3509
13 | 2601372.3565 | 1195792.6231
14 | 2601307.0296 | 1195824.3641
15 | 2601381.4296 | 1195865.8731
16 | 2601311.8036 | 1195912.5529
17 | 2601323.0637 | 1195951.8448
18 | 2601296.128 | 1195883.47
19 | 2601305 | 1195901.417
20 | 2601314.2741 | 1195962.917
21 | 2601529.6267 | 1196200.8132
22 | 2601491.2399 | 1196247.6532
23 | 2601504.0808 | 1196232.5002
24 | 2601478.5118 | 1196258.1407
25 | 2601429.177 | 1196329.3101
26 | 2601832.4695 | 1196809.4148
27 | 2601834.962 | 1196803.3012
28 | 2601818.5849 | 1196807.4652
29 | 2601805.8358 | 1196803.3038
30 | 2601819.9504 | 1196800.1506
31 | 2601881.2518 | 1196742.3048
32 | 2601940.3554 | 1196725.6252
33 | 2601874.3537 | 1196733.1868
34 | 2601890.2471 | 1196742.5632
35 | 2601923.4632 | 1196719.8169
36 | 2601981.8616 | 1196670.4312
37 | 2601942.1402 | 1196717.5548
38 | 2602020.891 | 1196621.718
39 | 2602021.7075 | 1196617.0824
40 | 2602050.4823 | 1196576.8149
41 | 2602000.5471 | 1196618.921
42 | 2602091.5955 | 1196518.6978
43 | 2602074.8172 | 1196512.4333
44 | 2602093.1131 | 1196513.2955
45 | 2602052.8766 | 1196569.0005
46 | 2602035.2955 | 1196572.452
47 | 2601989.1768 | 1196660.9508
48 | 2601973.667 | 1196666.8156
49 | 2601806.0282 | 1196796.4668
50 | 2601840.4347 | 1196764.2598
51 | 2602054.0588 | 1196472.4607
52 | 2602061.6875 | 1196460.4902
53 | 2602040.5859 | 1196467.3313
54 | 2602010.1081 | 1196519.6158
55 | 2602028.3139 | 1196516.4311
56 | 2601971.8544 | 1196570.4305
57 | 2602018.637 | 1196503.0208
58 | 2602022.5989 | 1196569.8687
59 | 2602023.6014 | 1196555.4392
60 | 2601957.7117 | 1196660.5961
61 | 2601960.4732 | 1196647.3566
62 | 2601948.8379 | 1196612.7012
63 | 2601960.5057 | 1196616.7404
64 | 2601956.5133 | 1196596.3505
65 | 2602062.8507 | 1196512.9851
66 | 2602063.9367 | 1196499.7562
67 | 2601910.0293 | 1196712.9202
68 | 2601909.9912 | 1196663.5606
69 | 2601912.5456 | 1196703.9051
70 | 2601916.3921 | 1196654.4022
71 | 2601926.2441 | 1196667.9902
72 | 2602045.7081 | 1196456.5495
73 | 2601989.1358 | 1196575.1941
74 | 2601979.2305 | 1196561.5392
75 | 2601862.2222 | 1196726.5129
76 | 2601871.4265 | 1196715.8878
77 | 2601846.4781 | 1196752.8889
78 | 2601849.6949 | 1196770.0212
79 | 2601880.6692 | 1196729.1865
80 | 2601926.9621 | 1196710.6909
81 | 2602007.4432 | 1196610.2964
82 | 2602078.3154 | 1196506.5647
83 | 2602038.2619 | 1196562.2587
84 | 2601974.8364 | 1196654.1426
85 | 2601965.9083 | 1196609.6828
86 | 2601865.3673 | 1196779.4753
87 | 2601855.6752 | 1196766.0431
88 | 2601960.5057 | 1196616.7404

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1