## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-57_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-57_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-57_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-57_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_355-57_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_355-57_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_355-57_0_5_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_355-57_0_5_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_355-57_0_5_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_355-57_0_5_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_355-57_0_5_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_355-57_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_355-57_0_5_node_75 | 0.4 | n |  | TRUE
13 | bus_LV_355-57_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_355-57_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_355-57_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_355-57_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_355-57_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_355-57_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_355-57_0_5_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_355-57_0_5_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_355-57_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_355-57_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_355-57_0_5_node_76 | 0.4 | n |  | TRUE
24 | bus_LV_355-57_0_5_node_77 | 0.4 | n |  | TRUE
25 | bus_LV_355-57_0_5_node_98 | 0.4 | n |  | TRUE
26 | bus_LV_355-57_0_5_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_355-57_0_5_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_355-57_0_5_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_355-57_0_5_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_355-57_0_5_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_355-57_0_5_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_355-57_0_5_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_355-57_0_5_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_355-57_0_5_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_355-57_0_5_node_118 | 0.4 | n |  | TRUE
36 | bus_LV_355-57_0_5_node_116 | 0.4 | n |  | TRUE
37 | bus_LV_355-57_0_5_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_355-57_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_355-57_0_5_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_355-57_0_5_node_117 | 0.4 | n |  | TRUE
41 | bus_LV_355-57_0_5_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_355-57_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_355-57_0_5_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_355-57_0_5_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_355-57_0_5_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_355-57_0_5_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_355-57_0_5_node_114 | 0.4 | n |  | TRUE
48 | bus_LV_355-57_0_5_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_355-57_0_5_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_355-57_0_5_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_355-57_0_5_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_355-57_0_5_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_355-57_0_5_node_108 | 0.4 | n |  | TRUE
54 | bus_LV_355-57_0_5_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_355-57_0_5_node_106 | 0.4 | n |  | TRUE
56 | bus_LV_355-57_0_5_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_355-57_0_5_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_355-57_0_5_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_355-57_0_5_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_355-57_0_5_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_355-57_0_5_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_355-57_0_5_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_355-57_0_5_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_355-57_0_5_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_355-57_0_5_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_355-57_0_5_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_355-57_0_5_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_355-57_0_5_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_355-57_0_5_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_355-57_0_5_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_355-57_0_5_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_355-57_0_5_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_355-57_0_5_node_85 | 0.4 | n |  | TRUE
74 | bus_LV_355-57_0_5_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_355-57_0_5_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_355-57_0_5_node_93 | 0.4 | n |  | TRUE
77 | bus_LV_355-57_0_5_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_355-57_0_5_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_355-57_0_5_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_355-57_0_5_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_355-57_0_5_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_355-57_0_5_node_59 | 0.4 | n |  | TRUE
83 | bus_LV_355-57_0_5_node_60 | 0.4 | n |  | TRUE
84 | bus_LV_355-57_0_5_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_355-57_0_5_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_355-57_0_5_node_119 | 0.4 | n |  | TRUE
87 | bus_LV_355-57_0_5_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_355-57_0_5_node_71 | 0.4 | n |  | TRUE
89 | bus_LV_355-57_0_5_node_72 | 0.4 | n |  | TRUE
90 | bus_LV_355-57_0_5_node_73 | 0.4 | n |  | TRUE
91 | bus_LV_355-57_0_5_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_355-57_0_5_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_355-57_0_5_node_78 | 0.4 | n |  | TRUE
94 | bus_LV_355-57_0_5_node_99 | 0.4 | n |  | TRUE
95 | bus_LV_355-57_0_5_node_97 | 0.4 | n |  | TRUE
96 | bus_LV_355-57_0_5_node_100 | 0.4 | n |  | TRUE
97 | bus_LV_355-57_0_5_node_92 | 0.4 | n |  | TRUE
98 | bus_LV_355-57_0_5_node_81 | 0.4 | n |  | TRUE
99 | bus_LV_355-57_0_5_node_94 | 0.4 | n |  | TRUE
100 | bus_LV_355-57_0_5_node_87 | 0.4 | n |  | TRUE
101 | bus_LV_355-57_0_5_node_88 | 0.4 | n |  | TRUE
102 | bus_LV_355-57_0_5_node_89 | 0.4 | n |  | TRUE
103 | bus_LV_355-57_0_5_node_110 | 0.4 | n |  | TRUE
104 | bus_LV_355-57_0_5_node_90 | 0.4 | n |  | TRUE
105 | bus_LV_355-57_0_5_node_91 | 0.4 | n |  | TRUE
106 | bus_LV_355-57_0_5_node_109 | 0.4 | n |  | TRUE
107 | bus_LV_355-57_0_5_node_101 | 0.4 | n |  | TRUE
108 | bus_LV_355-57_0_5_node_111 | 0.4 | n |  | TRUE
109 | bus_LV_355-57_0_5_node_102 | 0.4 | n |  | TRUE
110 | bus_LV_355-57_0_5_node_95 | 0.4 | n |  | TRUE
111 | bus_LV_355-57_0_5_node_96 | 0.4 | n |  | TRUE
112 | bus_LV_355-57_0_5_node_112 | 0.4 | n |  | TRUE
113 | bus_LV_355-57_0_5_node_113 | 0.4 | n |  | TRUE
114 | bus_LV_355-57_0_5_node_103 | 0.4 | n |  | TRUE
115 | bus_LV_355-57_0_5_node_104 | 0.4 | n |  | TRUE
116 | bus_LV_355-57_0_5_node_105 | 0.4 | n |  | TRUE
117 | bus_LV_355-57_0_5_node_115 | 0.4 | n |  | TRUE
118 | bus_LV_355-57_0_5_node_107 | 0.4 | n |  | TRUE
119 | bus_MV_600_0_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-57_0_5_load_0 | 0 | 0.0029477 | 0.00073876 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-57_0_5_load_1 | 1 | 0.0043852 | 0.001099 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-57_0_5_load_4 | 4 | 0.0055111 | 0.0013812 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-57_0_5_load_16 | 6 | 0.0042503 | 0.0010652 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-57_0_5_load_15 | 8 | 0.0047153 | 0.0011818 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-57_0_5_load_21 | 10 | 0.0039109 | 0.00098015 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-57_0_5_load_9 | 11 | 0.0031812 | 0.0007973 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-57_0_5_load_75 | 12 | 0.0018113 | 0.00045395 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-57_0_5_load_6 | 14 | 0.0024069 | 0.00060323 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-57_0_5_load_8 | 15 | 0.0034719 | 0.00087014 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-57_0_5_load_10 | 16 | 0.0029763 | 0.00074592 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-57_0_5_load_11 | 17 | 0.0043466 | 0.0010894 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-57_0_5_load_12 | 18 | 0.0032573 | 0.00081635 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-57_0_5_load_19 | 19 | 0.0034818 | 0.00087262 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-57_0_5_load_20 | 20 | 0.0039473 | 0.00098929 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-57_0_5_load_14 | 22 | 0.0030102 | 0.00075443 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-57_0_5_load_76 | 23 | 0.0023141 | 0.00057997 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-57_0_5_load_77 | 24 | 0.0026247 | 0.0006578 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-57_0_5_load_98 | 25 | 0.0021123 | 0.0005294 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-57_0_5_load_74 | 26 | 0.0032757 | 0.00082096 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-57_0_5_load_22 | 27 | 0.0061012 | 0.0015291 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-57_0_5_load_23 | 28 | 0.0057152 | 0.0014324 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-57_0_5_load_67 | 32 | 0.011289 | 0.0028293 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-57_0_5_load_27 | 34 | 0.0060729 | 0.001522 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-57_0_5_load_118 | 35 | 0.0071689 | 0.0017967 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-57_0_5_load_116 | 36 | 0.013385 | 0.0033547 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-57_0_5_load_28 | 37 | 0.0056665 | 0.0014202 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-57_0_5_load_29 | 38 | 0.0061969 | 0.0015531 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-57_0_5_load_31 | 41 | 0.0022737 | 0.00056984 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-57_0_5_load_32 | 42 | 0.0030875 | 0.00077381 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-57_0_5_load_33 | 43 | 0.0032681 | 0.00081907 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-57_0_5_load_34 | 44 | 0.0029871 | 0.00074863 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-57_0_5_load_35 | 45 | 0.0045921 | 0.0011509 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-57_0_5_load_36 | 46 | 0.0020936 | 0.00052471 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-57_0_5_load_114 | 47 | 0.0036759 | 0.00092126 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-57_0_5_load_38 | 50 | 0.0046757 | 0.0011718 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-57_0_5_load_108 | 53 | 0.0031081 | 0.00077897 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-57_0_5_load_56 | 54 | 0.0048335 | 0.0012114 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-57_0_5_load_40 | 56 | 0.0046753 | 0.0011717 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-57_0_5_load_41 | 57 | 0.002557 | 0.00064084 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-57_0_5_load_42 | 58 | 0.00756 | 0.0018947 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-57_0_5_load_43 | 59 | 0.0022752 | 0.00057023 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-57_0_5_load_44 | 60 | 0.0037462 | 0.00093889 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-57_0_5_load_51 | 61 | 0.0036474 | 0.00091413 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-57_0_5_load_68 | 62 | 0.0032469 | 0.00081374 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-57_0_5_load_50 | 63 | 0.0020902 | 0.00052385 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-57_0_5_load_45 | 64 | 0.003059 | 0.00076666 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-57_0_5_load_46 | 65 | 0.0025818 | 0.00064706 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-57_0_5_load_47 | 66 | 0.0030282 | 0.00075894 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-57_0_5_load_48 | 67 | 0.0060444 | 0.0015149 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-57_0_5_load_49 | 68 | 0.0018995 | 0.00047605 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-57_0_5_load_65 | 69 | 0.0029832 | 0.00074766 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-57_0_5_load_83 | 72 | 0.0027917 | 0.00069966 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-57_0_5_load_85 | 73 | 0.0026157 | 0.00065556 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-57_0_5_load_86 | 75 | 0.0024727 | 0.00061972 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-57_0_5_load_93 | 76 | 0.0014359 | 0.00035986 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-57_0_5_load_84 | 77 | 0.0030205 | 0.00075702 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_355-57_0_5_load_57 | 80 | 0.0029173 | 0.00073115 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_355-57_0_5_load_58 | 81 | 0.0020804 | 0.00052139 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_355-57_0_5_load_59 | 82 | 0.0032179 | 0.00080648 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_355-57_0_5_load_60 | 83 | 0.0030309 | 0.00075961 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_355-57_0_5_load_61 | 84 | 0.018723 | 0.0046924 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_355-57_0_5_load_119 | 86 | 0.013428 | 0.0033654 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_355-57_0_5_load_70 | 87 | 0.0023853 | 0.00059781 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_355-57_0_5_load_71 | 88 | 0.0024355 | 0.0006104 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_355-57_0_5_load_72 | 89 | 0.0024447 | 0.0006127 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_355-57_0_5_load_73 | 90 | 0.0019731 | 0.0004945 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_355-57_0_5_load_79 | 91 | 0.0027135 | 0.00068006 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_355-57_0_5_load_80 | 92 | 0.0026062 | 0.00065318 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_355-57_0_5_load_97 | 95 | 0.0019014 | 0.00047654 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_355-57_0_5_load_100 | 96 | 0.0031622 | 0.00079252 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_355-57_0_5_load_92 | 97 | 0.0033258 | 0.00083352 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_355-57_0_5_load_81 | 98 | 0.0031449 | 0.00078819 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_355-57_0_5_load_87 | 100 | 0.0019349 | 0.00048493 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_355-57_0_5_load_89 | 102 | 0.0033841 | 0.00084813 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_355-57_0_5_load_110 | 103 | 0.0012639 | 0.00031676 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_355-57_0_5_load_90 | 104 | 0.0028198 | 0.00070672 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_355-57_0_5_load_91 | 105 | 0.0044795 | 0.0011227 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_355-57_0_5_load_101 | 107 | 0.003766 | 0.00094385 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_355-57_0_5_load_111 | 108 | 0.0018001 | 0.00045115 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_355-57_0_5_load_95 | 110 | 0.0036027 | 0.00090291 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_355-57_0_5_load_96 | 111 | 0.0030294 | 0.00075923 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_355-57_0_5_load_112 | 112 | 0.0036383 | 0.00091183 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_355-57_0_5_load_113 | 113 | 0.0023387 | 0.00058614 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_355-57_0_5_load_104 | 115 | 0.0028476 | 0.00071367 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_355-57_0_5_load_105 | 116 | 0.0044708 | 0.0011205 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_355-57_0_5_load_115 | 117 | 0.0096162 | 0.00241 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_355-57_0_5_load_107 | 118 | 0.0025298 | 0.00063403 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-57_0_5_line_0 |  | 0 | 1 | 0.022631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-57_0_5_line_1 |  | 0 | 2 | 0.024449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-57_0_5_line_2 |  | 1 | 3 | 0.014536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-57_0_5_line_3 |  | 2 | 4 | 0.016893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-57_0_5_line_4 |  | 2 | 5 | 0.001452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-57_0_5_line_5 |  | 3 | 9 | 0.058198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-57_0_5_line_6 |  | 5 | 10 | 0.023189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-57_0_5_line_7 |  | 5 | 11 | 0.022298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-57_0_5_line_8 |  | 6 | 7 | 0.0078585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-57_0_5_line_9 |  | 6 | 8 | 0.021511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-57_0_5_line_10 |  | 7 | 19 | 0.013743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-57_0_5_line_11 |  | 7 | 20 | 0.022405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-57_0_5_line_12 |  | 8 | 9 | 0.022474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_355-57_0_5_line_13 |  | 10 | 12 | 0.0011248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-57_0_5_line_14 |  | 11 | 13 | 0.020032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-57_0_5_line_15 |  | 12 | 26 | 0.019232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-57_0_5_line_16 |  | 13 | 16 | 0.020621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-57_0_5_line_17 |  | 13 | 14 | 0.0068416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-57_0_5_line_18 |  | 14 | 15 | 0.025301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-57_0_5_line_19 |  | 15 | 17 | 0.023989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_355-57_0_5_line_20 |  | 15 | 18 | 0.018462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_355-57_0_5_line_21 |  | 17 | 21 | 0.020083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-57_0_5_line_22 |  | 21 | 22 | 0.012308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-57_0_5_line_23 |  | 23 | 24 | 0.015476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_355-57_0_5_line_24 |  | 23 | 25 | 0.0302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_355-57_0_5_line_25 |  | 24 | 93 | 0.012397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_355-57_0_5_line_26 |  | 25 | 94 | 0.015593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_355-57_0_5_line_27 |  | 25 | 95 | 0.014488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-57_0_5_line_28 |  | 26 | 89 | 0.0037099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-57_0_5_line_29 |  | 27 | 28 | 0.016502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_355-57_0_5_line_30 |  | 28 | 29 | 0.032305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-57_0_5_line_31 |  | 29 | 30 | 0.034854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-57_0_5_line_32 |  | 29 | 31 | 0.035856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-57_0_5_line_33 |  | 30 | 32 | 0.048295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-57_0_5_line_34 |  | 31 | 33 | 0.037866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-57_0_5_line_35 |  | 31 | 34 | 0.018031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-57_0_5_line_36 |  | 33 | 35 | 0.021502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-57_0_5_line_37 |  | 33 | 36 | 0.027897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-57_0_5_line_38 |  | 34 | 37 | 0.016491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-57_0_5_line_39 |  | 35 | 39 | 0.049173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-57_0_5_line_40 |  | 36 | 40 | 0.036255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-57_0_5_line_41 |  | 37 | 38 | 0.01651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-57_0_5_line_42 |  | 39 | 69 | 0.010813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-57_0_5_line_43 |  | 39 | 68 | 0.0040277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-57_0_5_line_44 |  | 40 | 85 | 0.010407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-57_0_5_line_45 |  | 41 | 42 | 0.015931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_355-57_0_5_line_46 |  | 41 | 43 | 0.0066674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_355-57_0_5_line_47 |  | 42 | 44 | 0.0061644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_355-57_0_5_line_48 |  | 43 | 45 | 0.01177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_355-57_0_5_line_49 |  | 44 | 46 | 0.019817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_355-57_0_5_line_50 |  | 45 | 47 | 0.01297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_355-57_0_5_line_51 |  | 46 | 48 | 0.012348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_355-57_0_5_line_52 |  | 47 | 49 | 0.0084607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_355-57_0_5_line_53 |  | 48 | 50 | 0.040758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_355-57_0_5_line_54 |  | 48 | 51 | 0.001832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_355-57_0_5_line_55 |  | 49 | 70 | 0.026915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_355-57_0_5_line_56 |  | 50 | 52 | 0.01072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_355-57_0_5_line_57 |  | 51 | 53 | 0.018572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_355-57_0_5_line_58 |  | 52 | 54 | 0.011184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-57_0_5_line_59 |  | 53 | 55 | 0.034128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_355-57_0_5_line_60 |  | 54 | 78 | 0.010471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-57_0_5_line_61 |  | 55 | 118 | 0.015765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_355-57_0_5_line_62 |  | 55 | 115 | 0.0057423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_355-57_0_5_line_63 |  | 56 | 57 | 0.030675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-57_0_5_line_64 |  | 56 | 58 | 0.015273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-57_0_5_line_65 |  | 57 | 59 | 0.03239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_355-57_0_5_line_66 |  | 58 | 60 | 0.022203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_355-57_0_5_line_67 |  | 59 | 61 | 0.011934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_355-57_0_5_line_68 |  | 60 | 62 | 0.022247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_355-57_0_5_line_69 |  | 61 | 63 | 0.018617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_355-57_0_5_line_70 |  | 63 | 70 | 0.0075411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_355-57_0_5_line_71 |  | 64 | 65 | 0.01608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-57_0_5_line_72 |  | 64 | 66 | 0.0017859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-57_0_5_line_73 |  | 65 | 67 | 0.0077969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_355-57_0_5_line_74 |  | 66 | 68 | 0.010894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_355-57_0_5_line_75 |  | 69 | 83 | 0.0018395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_355-57_0_5_line_76 |  | 71 | 72 | 0.0098776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_355-57_0_5_line_77 |  | 71 | 73 | 0.029705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_355-57_0_5_line_78 |  | 72 | 74 | 0.023379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_355-57_0_5_line_79 |  | 73 | 77 | 0.0025442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_355-57_0_5_line_80 |  | 74 | 98 | 0.033881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_355-57_0_5_line_81 |  | 74 | 93 | 0.014619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_355-57_0_5_line_82 |  | 75 | 76 | 0.013435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_355-57_0_5_line_83 |  | 76 | 99 | 0.015232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_355-57_0_5_line_84 |  | 77 | 92 | 0.017141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_355-57_0_5_line_85 |  | 78 | 79 | 0.005265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_355-57_0_5_line_86 |  | 79 | 85 | 0.056984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_355-57_0_5_line_87 |  | 79 | 84 | 0.031033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_355-57_0_5_line_88 |  | 80 | 81 | 0.017528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_355-57_0_5_line_89 |  | 80 | 82 | 0.0018349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_355-57_0_5_line_90 |  | 81 | 83 | 0.010215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_355-57_0_5_line_91 |  | 85 | 86 | 0.029469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_355-57_0_5_line_92 |  | 87 | 88 | 0.0071724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_355-57_0_5_line_93 |  | 87 | 89 | 0.016067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_355-57_0_5_line_94 |  | 88 | 90 | 0.013883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
95 | LV_355-57_0_5_line_95 |  | 90 | 91 | 0.010269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_355-57_0_5_line_96 |  | 91 | 92 | 0.010069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_355-57_0_5_line_97 |  | 93 | 97 | 0.033978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_355-57_0_5_line_98 |  | 94 | 96 | 0.030659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_355-57_0_5_line_99 |  | 96 | 104 | 0.026055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_355-57_0_5_line_100 |  | 99 | 110 | 0.010629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_355-57_0_5_line_101 |  | 99 | 111 | 0.033094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_355-57_0_5_line_102 |  | 100 | 101 | 0.027754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_355-57_0_5_line_103 |  | 100 | 102 | 0.0077747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_355-57_0_5_line_104 |  | 100 | 103 | 0.022951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_355-57_0_5_line_105 |  | 101 | 104 | 0.016691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_355-57_0_5_line_106 |  | 101 | 105 | 0.043896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_355-57_0_5_line_107 |  | 103 | 106 | 0.005962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
108 | LV_355-57_0_5_line_108 |  | 105 | 107 | 0.0221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_355-57_0_5_line_109 |  | 106 | 108 | 0.009468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_355-57_0_5_line_110 |  | 106 | 110 | 0.016378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
111 | LV_355-57_0_5_line_111 |  | 107 | 109 | 0.022626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_355-57_0_5_line_112 |  | 109 | 114 | 0.027187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_355-57_0_5_line_113 |  | 111 | 112 | 0.020816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
114 | LV_355-57_0_5_line_114 |  | 112 | 113 | 0.0030323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
115 | LV_355-57_0_5_line_115 |  | 113 | 118 | 0.00042209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
116 | LV_355-57_0_5_line_116 |  | 114 | 117 | 0.014102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_355-57_0_5_line_117 |  | 115 | 116 | 0.0040286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-57_0_5_trafo_50 | 0.63 MVA 20/0.4 kV | 119 | 63 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2599195.7264 | 1197509.7577 | 2599217.0502 | 1197517.337
1 | 2599172.6889 | 1197501.5694 | 2599195.7264 | 1197509.7577
2 | 2599230.7469 | 1197522.2052 | 2599217.0502 | 1197517.337
3 | 2599172.402 | 1197518.4562 | 2599172.6889 | 1197501.5694
4 | 2599171.3179 | 1197501.0804 | 2599172.6889 | 1197501.5694
5 | 2599230.7469 | 1197522.2052 | 2599263.9984 | 1197474.4419
6 | 2599171.3179 | 1197501.0804 | 2599149.4128 | 1197493.4715
7 | 2599171.3179 | 1197501.0804 | 2599163.8168 | 1197480.0816
8 | 2599222.2519 | 1197444.743 | 2599227.4413 | 1197450.6443
9 | 2599244.1096 | 1197464.089 | 2599230.7754 | 1197454.4358 | 2599227.4413 | 1197450.6443
10 | 2599213.4465 | 1197434.1719 | 2599222.2519 | 1197444.743
11 | 2599222.2519 | 1197444.743 | 2599221.543 | 1197440.274 | 2599224.5661 | 1197437.2275 | 2599236.8473 | 1197431.4132
12 | 2599263.9984 | 1197474.4419 | 2599247.3415 | 1197466.4288 | 2599244.1096 | 1197464.089
13 | 2599148.3502 | 1197493.1024 | 2599149.4128 | 1197493.4715
14 | 2599157.0779 | 1197461.2169 | 2599163.8168 | 1197480.0816
15 | 2599130.1834 | 1197486.792 | 2599148.3502 | 1197493.1024
16 | 2599157.0779 | 1197461.2169 | 2599145.799 | 1197461.9301 | 2599137.3816 | 1197457.9299
17 | 2599157.0779 | 1197461.2169 | 2599156.3507 | 1197454.414
18 | 2599153.6611 | 1197429.256 | 2599156.3507 | 1197454.414
19 | 2599153.6611 | 1197429.256 | 2599150.7391 | 1197405.4452
20 | 2599153.6611 | 1197429.256 | 2599135.8934 | 1197424.2388
21 | 2599148.2928 | 1197385.5113 | 2599150.7391 | 1197405.4452
22 | 2599148.2928 | 1197385.5113 | 2599136.3892 | 1197388.6413
23 | 2599107.2939 | 1197397.0676 | 2599095.4637 | 1197401.9729 | 2599093.0674 | 1197403.1492
24 | 2599107.2939 | 1197397.0676 | 2599095.763 | 1197369.1554
25 | 2599081.939 | 1197408.612 | 2599093.0674 | 1197403.1492
26 | 2599099.0506 | 1197353.9134 | 2599095.763 | 1197369.1554 | 2599095.763 | 1197369.1554
27 | 2599084.4327 | 1197372.5791 | 2599090.2271 | 1197374.3702 | 2599094.2481 | 1197373.0688 | 2599095.763 | 1197369.1554
28 | 2599130.1834 | 1197486.792 | 2599128.0351 | 1197486.0458 | 2599126.7062 | 1197485.5022
29 | 2598991.4055 | 1197515.4566 | 2598982.4755 | 1197529.3338
30 | 2598964.9938 | 1197556.5002 | 2598982.4755 | 1197529.3338
31 | 2598964.9938 | 1197556.5002 | 2598995.0562 | 1197574.2819
32 | 2598933.2026 | 1197539.7861 | 2598943.6371 | 1197544.6868 | 2598954.3002 | 1197550.4212 | 2598964.9938 | 1197556.5002
33 | 2598995.0562 | 1197574.2819 | 2599021.5419 | 1197533.8974
34 | 2598899.4996 | 1197522.5502 | 2598904.9302 | 1197525.6174 | 2598914.2909 | 1197530.5626 | 2598923.781 | 1197535.3189 | 2598933.2026 | 1197539.7861
35 | 2598933.2026 | 1197539.7861 | 2598942.9502 | 1197524.6173
36 | 2598899.4996 | 1197522.5502 | 2598911.3851 | 1197504.6313
37 | 2598899.4996 | 1197522.5502 | 2598877.7922 | 1197510.2257 | 2598875.2164 | 1197508.8178
38 | 2598942.9502 | 1197524.6173 | 2598951.8655 | 1197510.7436
39 | 2598939.8064 | 1197464.5115 | 2598916.9117 | 1197496.2994 | 2598911.3851 | 1197504.6313
40 | 2598841.684 | 1197501.5728 | 2598846.3978 | 1197499.6931 | 2598851.1118 | 1197498.9695 | 2598855.3691 | 1197499.2243 | 2598859.9617 | 1197500.4796 | 2598875.2164 | 1197508.8178
41 | 2598960.7908 | 1197496.8544 | 2598951.8655 | 1197510.7436
42 | 2598939.8064 | 1197464.5115 | 2598930.8214 | 1197458.4957
43 | 2598939.8064 | 1197464.5115 | 2598943.2283 | 1197466.6357
44 | 2598841.684 | 1197501.5728 | 2598836.3207 | 1197492.647
45 | 2598953.7154 | 1197405.3559 | 2598946.8545 | 1197401.9546 | 2598939.5538 | 1197398.062
46 | 2598953.7154 | 1197405.3559 | 2598959.689 | 1197408.3174
47 | 2598934.1143 | 1197395.1617 | 2598939.5538 | 1197398.062
48 | 2598959.689 | 1197408.3174 | 2598963.7786 | 1197410.3448 | 2598970.3263 | 1197413.3529
49 | 2598916.6274 | 1197385.838 | 2598934.1143 | 1197395.1617
50 | 2598982.208 | 1197418.546 | 2598976.9857 | 1197416.4122 | 2598970.3263 | 1197413.3529
51 | 2598905.7319 | 1197380.0286 | 2598916.6274 | 1197385.838
52 | 2598990.0403 | 1197421.746 | 2598982.208 | 1197418.546
53 | 2598905.7319 | 1197380.0286 | 2598898.91 | 1197390.3132 | 2598883.271 | 1197414.0395
54 | 2598905.7319 | 1197380.0286 | 2598904.1856 | 1197379.0395
55 | 2599003.5848 | 1197441.4319 | 2598990.2553 | 1197431.4401 | 2598989.5164 | 1197430.7065 | 2598988.884 | 1197429.4392 | 2598988.7771 | 1197427.9162 | 2598989.0358 | 1197426.1597 | 2598990.0403 | 1197421.746
56 | 2598877.3711 | 1197422.9904 | 2598883.271 | 1197414.0395
57 | 2598904.1856 | 1197379.0395 | 2598915.7139 | 1197364.4788
58 | 2598877.3711 | 1197422.9904 | 2598870.7406 | 1197431.9966
59 | 2598936.9263 | 1197337.7445 | 2598924.9873 | 1197352.7659 | 2598915.7139 | 1197364.4788
60 | 2598864.5114 | 1197440.4134 | 2598865.9275 | 1197438.5343 | 2598870.7406 | 1197431.9966
61 | 2598936.9263 | 1197337.7445 | 2598948.8627 | 1197348.0436
62 | 2598936.9263 | 1197337.7445 | 2598932.7884 | 1197333.7631
63 | 2599075.1267 | 1197512.4867 | 2599075.0868 | 1197512.4462 | 2599061.1854 | 1197497.2849 | 2599054.8323 | 1197489.5004
64 | 2599075.1267 | 1197512.4867 | 2599079.2533 | 1197516.67 | 2599086.3451 | 1197522.8345
65 | 2599032.9386 | 1197465.6863 | 2599046.2173 | 1197478.9444 | 2599054.8323 | 1197489.5004
66 | 2599086.3451 | 1197522.8345 | 2599103.1026 | 1197537.4008
67 | 2599032.9386 | 1197465.6863 | 2599031.0439 | 1197463.7945 | 2599023.9173 | 1197457.8871
68 | 2599119.893 | 1197551.9958 | 2599103.1026 | 1197537.4008
69 | 2599009.4983 | 1197446.1115 | 2599014.2028 | 1197449.8344 | 2599023.9173 | 1197457.8871
70 | 2599003.5848 | 1197441.4319 | 2599009.4983 | 1197446.1115
71 | 2598954.0013 | 1197473.3234 | 2598967.6629 | 1197481.8042
72 | 2598954.0013 | 1197473.3234 | 2598952.484 | 1197472.3815
73 | 2598974.2872 | 1197485.9164 | 2598967.6629 | 1197481.8042
74 | 2598952.484 | 1197472.3815 | 2598943.2283 | 1197466.6357
75 | 2598929.2929 | 1197457.4723 | 2598930.8214 | 1197458.4957
76 | 2599037.9756 | 1197427.485 | 2599047.2577 | 1197424.107
77 | 2599037.9756 | 1197427.485 | 2599044.4884 | 1197434.6211 | 2599060.3724 | 1197446.8459
78 | 2599068.9169 | 1197415.3289 | 2599061.3397 | 1197418.7097 | 2599049.6501 | 1197423.2363 | 2599047.2577 | 1197424.107
79 | 2599062.3886 | 1197448.3976 | 2599060.3724 | 1197446.8459
80 | 2599068.9169 | 1197415.3289 | 2599085.9873 | 1197434.2694 | 2599092.9682 | 1197438.9102
81 | 2599068.9169 | 1197415.3289 | 2599081.939 | 1197408.612
82 | 2599004.786 | 1197394.3271 | 2599009.388 | 1197398.0855 | 2599014.8343 | 1197403.2318
83 | 2598992.9885 | 1197384.6924 | 2599004.786 | 1197394.3271
84 | 2599062.3886 | 1197448.3976 | 2599075.032 | 1197458.1284 | 2599076.025 | 1197458.7785
85 | 2598864.5114 | 1197440.4134 | 2598861.6182 | 1197444.8163
86 | 2598836.3207 | 1197492.647 | 2598833.4941 | 1197487.6115 | 2598861.6182 | 1197444.8163
87 | 2598861.6182 | 1197444.8163 | 2598873.0816 | 1197452.0845 | 2598888.903 | 1197459.4681
88 | 2598906.2403 | 1197442.0377 | 2598920.8051 | 1197451.7893
89 | 2598904.7156 | 1197441.0168 | 2598906.2403 | 1197442.0377
90 | 2598929.2929 | 1197457.4723 | 2598920.8051 | 1197451.7893
91 | 2598836.3207 | 1197492.647 | 2598852.8982 | 1197468.2828
92 | 2599111.835 | 1197479.4197 | 2599111.2716 | 1197479.1892 | 2599105.437 | 1197476.1828
93 | 2599111.835 | 1197479.4197 | 2599126.7062 | 1197485.5022
94 | 2599093.0963 | 1197469.8241 | 2599105.437 | 1197476.1828
95 | 2599093.0963 | 1197469.8241 | 2599092.1619 | 1197469.3426 | 2599084.4494 | 1197464.2936
96 | 2599084.4494 | 1197464.2936 | 2599076.025 | 1197458.7785
97 | 2599081.939 | 1197408.612 | 2599050.6994 | 1197395.2491
98 | 2599099.0506 | 1197353.9134 | 2599069.8909 | 1197344.4417
99 | 2599069.8909 | 1197344.4417 | 2599065.4928 | 1197343.0131 | 2599049.2009 | 1197335.4563 | 2599046.2043 | 1197333.7036
100 | 2598992.9885 | 1197384.6924 | 2598995.2119 | 1197381.9906 | 2598997.2449 | 1197379.5223 | 2598999.7422 | 1197376.4848
101 | 2598992.9885 | 1197384.6924 | 2598967.377 | 1197363.7339
102 | 2599031.7966 | 1197325.2761 | 2599022.5156 | 1197342.0756 | 2599020.1167 | 1197342.7097 | 2599015.1394 | 1197339.2174
103 | 2599008.7751 | 1197334.7519 | 2599015.1394 | 1197339.2174
104 | 2599005.5199 | 1197360.0549 | 2599015.1394 | 1197339.2174
105 | 2599031.7966 | 1197325.2761 | 2599046.2043 | 1197333.7036
106 | 2599031.7966 | 1197325.2761 | 2599024.3703 | 1197321.3642 | 2599003.8723 | 1197302.7357 | 2598999.8711 | 1197296.0359
107 | 2599010.1435 | 1197363.8338 | 2599005.5199 | 1197360.0549
108 | 2598989.1381 | 1197276.7634 | 2598990.8144 | 1197280.8709 | 2598999.8711 | 1197296.0359
109 | 2599017.4864 | 1197369.8357 | 2599010.1435 | 1197363.8338
110 | 2599010.1435 | 1197363.8338 | 2598999.7422 | 1197376.4848
111 | 2598980.5891 | 1197255.815 | 2598989.1381 | 1197276.7634
112 | 2598968.5131 | 1197231.4598 | 2598975.6597 | 1197246.233 | 2598980.5891 | 1197255.815
113 | 2598967.377 | 1197363.7339 | 2598960.9891 | 1197358.5066 | 2598951.4781 | 1197350.3002
114 | 2598949.1823 | 1197348.3193 | 2598951.4781 | 1197350.3002
115 | 2598948.8627 | 1197348.0436 | 2598949.1823 | 1197348.3193
116 | 2598968.5131 | 1197231.4598 | 2598978.5993 | 1197221.6041
117 | 2598932.7884 | 1197333.7631 | 2598929.8853 | 1197330.9699

## bus_geodata
| x | y | coords
0 | 2599195.7264 | 1197509.7577
1 | 2599217.0502 | 1197517.337
2 | 2599172.6889 | 1197501.5694
3 | 2599230.7469 | 1197522.2052
4 | 2599172.402 | 1197518.4562
5 | 2599171.3179 | 1197501.0804
6 | 2599227.4413 | 1197450.6443
7 | 2599222.2519 | 1197444.743
8 | 2599244.1096 | 1197464.089
9 | 2599263.9984 | 1197474.4419
10 | 2599149.4128 | 1197493.4715
11 | 2599163.8168 | 1197480.0816
12 | 2599148.3502 | 1197493.1024
13 | 2599157.0779 | 1197461.2169
14 | 2599156.3507 | 1197454.414
15 | 2599153.6611 | 1197429.256
16 | 2599137.3816 | 1197457.9299
17 | 2599150.7391 | 1197405.4452
18 | 2599135.8934 | 1197424.2388
19 | 2599213.4465 | 1197434.1719
20 | 2599236.8473 | 1197431.4132
21 | 2599148.2928 | 1197385.5113
22 | 2599136.3892 | 1197388.6413
23 | 2599107.2939 | 1197397.0676
24 | 2599093.0674 | 1197403.1492
25 | 2599095.763 | 1197369.1554
26 | 2599130.1834 | 1197486.792
27 | 2598991.4055 | 1197515.4566
28 | 2598982.4755 | 1197529.3338
29 | 2598964.9938 | 1197556.5002
30 | 2598995.0562 | 1197574.2819
31 | 2598933.2026 | 1197539.7861
32 | 2599021.5419 | 1197533.8974
33 | 2598899.4996 | 1197522.5502
34 | 2598942.9502 | 1197524.6173
35 | 2598911.3851 | 1197504.6313
36 | 2598875.2164 | 1197508.8178
37 | 2598951.8655 | 1197510.7436
38 | 2598960.7908 | 1197496.8544
39 | 2598939.8064 | 1197464.5115
40 | 2598841.684 | 1197501.5728
41 | 2598953.7154 | 1197405.3559
42 | 2598939.5538 | 1197398.062
43 | 2598959.689 | 1197408.3174
44 | 2598934.1143 | 1197395.1617
45 | 2598970.3263 | 1197413.3529
46 | 2598916.6274 | 1197385.838
47 | 2598982.208 | 1197418.546
48 | 2598905.7319 | 1197380.0286
49 | 2598990.0403 | 1197421.746
50 | 2598883.271 | 1197414.0395
51 | 2598904.1856 | 1197379.0395
52 | 2598877.3711 | 1197422.9904
53 | 2598915.7139 | 1197364.4788
54 | 2598870.7406 | 1197431.9966
55 | 2598936.9263 | 1197337.7445
56 | 2599075.1267 | 1197512.4867
57 | 2599054.8323 | 1197489.5004
58 | 2599086.3451 | 1197522.8345
59 | 2599032.9386 | 1197465.6863
60 | 2599103.1026 | 1197537.4008
61 | 2599023.9173 | 1197457.8871
62 | 2599119.893 | 1197551.9958
63 | 2599009.4983 | 1197446.1115
64 | 2598954.0013 | 1197473.3234
65 | 2598967.6629 | 1197481.8042
66 | 2598952.484 | 1197472.3815
67 | 2598974.2872 | 1197485.9164
68 | 2598943.2283 | 1197466.6357
69 | 2598930.8214 | 1197458.4957
70 | 2599003.5848 | 1197441.4319
71 | 2599037.9756 | 1197427.485
72 | 2599047.2577 | 1197424.107
73 | 2599060.3724 | 1197446.8459
74 | 2599068.9169 | 1197415.3289
75 | 2599014.8343 | 1197403.2318
76 | 2599004.786 | 1197394.3271
77 | 2599062.3886 | 1197448.3976
78 | 2598864.5114 | 1197440.4134
79 | 2598861.6182 | 1197444.8163
80 | 2598906.2403 | 1197442.0377
81 | 2598920.8051 | 1197451.7893
82 | 2598904.7156 | 1197441.0168
83 | 2598929.2929 | 1197457.4723
84 | 2598888.903 | 1197459.4681
85 | 2598836.3207 | 1197492.647
86 | 2598852.8982 | 1197468.2828
87 | 2599111.835 | 1197479.4197
88 | 2599105.4369 | 1197476.1828
89 | 2599126.7062 | 1197485.5022
90 | 2599093.0963 | 1197469.8241
91 | 2599084.4494 | 1197464.2936
92 | 2599076.0251 | 1197458.7785
93 | 2599081.939 | 1197408.612
94 | 2599099.0506 | 1197353.9134
95 | 2599084.4327 | 1197372.5791
96 | 2599069.8909 | 1197344.4417
97 | 2599050.6994 | 1197395.2491
98 | 2599092.9682 | 1197438.9102
99 | 2598992.9885 | 1197384.6924
100 | 2599015.1394 | 1197339.2174
101 | 2599031.7966 | 1197325.2761
102 | 2599008.7751 | 1197334.7519
103 | 2599005.5199 | 1197360.0549
104 | 2599046.2043 | 1197333.7036
105 | 2598999.8711 | 1197296.0359
106 | 2599010.1435 | 1197363.8338
107 | 2598989.1381 | 1197276.7634
108 | 2599017.4864 | 1197369.8357
109 | 2598980.5891 | 1197255.815
110 | 2598999.7422 | 1197376.4848
111 | 2598967.377 | 1197363.7339
112 | 2598951.4781 | 1197350.3002
113 | 2598949.1823 | 1197348.3193
114 | 2598968.5131 | 1197231.4598
115 | 2598932.7884 | 1197333.7631
116 | 2598929.8853 | 1197330.9699
117 | 2598978.5993 | 1197221.6041
118 | 2598948.8627 | 1197348.0436
119 | 2599003.5848 | 1197441.4319

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1