## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-7_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-7_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-7_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-7_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_355-7_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_355-7_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_355-7_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_355-7_0_6_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_355-7_0_6_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_355-7_0_6_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_355-7_0_6_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_355-7_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_355-7_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_355-7_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_355-7_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_355-7_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_355-7_0_6_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_355-7_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_355-7_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_355-7_0_6_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_355-7_0_6_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_355-7_0_6_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_355-7_0_6_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_355-7_0_6_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_355-7_0_6_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_355-7_0_6_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_355-7_0_6_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_355-7_0_6_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_355-7_0_6_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_355-7_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_355-7_0_6_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_355-7_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_355-7_0_6_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_355-7_0_6_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_355-7_0_6_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_355-7_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_355-7_0_6_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_355-7_0_6_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_355-7_0_6_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_355-7_0_6_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_355-7_0_6_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_355-7_0_6_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_355-7_0_6_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_355-7_0_6_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_355-7_0_6_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_355-7_0_6_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_355-7_0_6_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_355-7_0_6_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_355-7_0_6_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_355-7_0_6_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_355-7_0_6_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_355-7_0_6_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_355-7_0_6_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_355-7_0_6_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_355-7_0_6_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_355-7_0_6_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_355-7_0_6_node_82 | 0.4 | n |  | TRUE
57 | bus_LV_355-7_0_6_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_355-7_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_355-7_0_6_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_355-7_0_6_node_83 | 0.4 | n |  | TRUE
61 | bus_LV_355-7_0_6_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_355-7_0_6_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_355-7_0_6_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_355-7_0_6_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_355-7_0_6_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_355-7_0_6_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_355-7_0_6_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_355-7_0_6_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_355-7_0_6_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_355-7_0_6_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_355-7_0_6_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_355-7_0_6_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_355-7_0_6_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_355-7_0_6_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_355-7_0_6_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_355-7_0_6_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_355-7_0_6_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_355-7_0_6_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_355-7_0_6_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_355-7_0_6_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_355-7_0_6_node_81 | 0.4 | n |  | TRUE
82 | bus_MV_608_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-7_0_6_load_0 | 0 | 0.020145 | 0.0050488 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-7_0_6_load_1 | 1 | 0.014975 | 0.0037531 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-7_0_6_load_2 | 2 | 0.0081933 | 0.0020534 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-7_0_6_load_3 | 3 | 0.0087592 | 0.0021953 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-7_0_6_load_4 | 4 | 0.0103 | 0.0025813 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-7_0_6_load_5 | 5 | 0.010697 | 0.0026808 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-7_0_6_load_6 | 6 | 0.0076586 | 0.0019194 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-7_0_6_load_15 | 8 | 0.010691 | 0.0026794 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-7_0_6_load_43 | 9 | 0.0095837 | 0.0024019 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-7_0_6_load_16 | 10 | 0.014491 | 0.0036318 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-7_0_6_load_7 | 11 | 0.0085528 | 0.0021435 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-7_0_6_load_8 | 12 | 0.010659 | 0.0026714 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-7_0_6_load_9 | 13 | 0.0098684 | 0.0024733 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-7_0_6_load_12 | 15 | 0.010437 | 0.0026157 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-7_0_6_load_13 | 16 | 0.0087903 | 0.002203 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-7_0_6_load_11 | 17 | 0.010704 | 0.0026828 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-7_0_6_load_14 | 18 | 0.010735 | 0.0026905 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-7_0_6_load_51 | 19 | 0.009561 | 0.0023962 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-7_0_6_load_54 | 20 | 0.0082868 | 0.0020769 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-7_0_6_load_30 | 21 | 0.0080561 | 0.0020191 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-7_0_6_load_50 | 22 | 0.0086852 | 0.0021767 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-7_0_6_load_18 | 26 | 0.0074499 | 0.0018671 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-7_0_6_load_35 | 28 | 0.0075363 | 0.0018888 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-7_0_6_load_20 | 29 | 0.013669 | 0.0034258 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-7_0_6_load_33 | 30 | 0.010257 | 0.0025706 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-7_0_6_load_25 | 33 | 0.011862 | 0.0029729 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-7_0_6_load_26 | 36 | 0.014192 | 0.0035568 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-7_0_6_load_58 | 37 | 0.01206 | 0.0030226 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-7_0_6_load_56 | 38 | 0.014131 | 0.0035417 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-7_0_6_load_27 | 40 | 0.0090445 | 0.0022668 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-7_0_6_load_31 | 42 | 0.0074237 | 0.0018606 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-7_0_6_load_32 | 43 | 0.010311 | 0.0025841 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-7_0_6_load_34 | 44 | 0.0036328 | 0.00091047 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-7_0_6_load_39 | 45 | 0.0038885 | 0.00097456 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-7_0_6_load_36 | 47 | 0.0071543 | 0.001793 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-7_0_6_load_40 | 49 | 0.0098359 | 0.0024651 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-7_0_6_load_87 | 51 | 0.0081173 | 0.0020344 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-7_0_6_load_47 | 54 | 0.0024858 | 0.00062301 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-7_0_6_load_46 | 55 | 0.0084595 | 0.0021202 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-7_0_6_load_52 | 58 | 0.009125 | 0.0022869 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-7_0_6_load_49 | 59 | 0.0094202 | 0.0023609 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-7_0_6_load_83 | 60 | 0.0010402 | 0.00026069 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-7_0_6_load_68 | 61 | 0.0030514 | 0.00076475 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-7_0_6_load_86 | 63 | 0.0086139 | 0.0021589 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-7_0_6_load_61 | 64 | 0.0026394 | 0.0006615 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-7_0_6_load_62 | 65 | 0.0055584 | 0.0013931 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-7_0_6_load_63 | 66 | 0.0028395 | 0.00071164 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-7_0_6_load_65 | 68 | 0.0026777 | 0.00067111 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-7_0_6_load_66 | 69 | 0.0025133 | 0.00062989 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-7_0_6_load_67 | 70 | 0.002782 | 0.00069724 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-7_0_6_load_76 | 73 | 0.0017664 | 0.0004427 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-7_0_6_load_74 | 74 | 0.0027511 | 0.00068948 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-7_0_6_load_71 | 75 | 0.0062691 | 0.0015712 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-7_0_6_load_72 | 76 | 0.0029647 | 0.00074302 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-7_0_6_load_73 | 77 | 0.0027821 | 0.00069727 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-7_0_6_load_77 | 78 | 0.001789 | 0.00044838 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-7_0_6_load_78 | 79 | 0.0027047 | 0.00067785 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_355-7_0_6_load_79 | 80 | 0.0021376 | 0.00053573 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_355-7_0_6_load_81 | 81 | 0.0030327 | 0.00076007 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-7_0_6_line_0 |  | 0 | 1 | 0.0016341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_355-7_0_6_line_1 |  | 0 | 2 | 0.039302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_355-7_0_6_line_2 |  | 1 | 3 | 0.040187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_355-7_0_6_line_3 |  | 2 | 4 | 0.0017578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_355-7_0_6_line_4 |  | 3 | 5 | 0.0022296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_355-7_0_6_line_5 |  | 4 | 6 | 0.040228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_355-7_0_6_line_6 |  | 5 | 7 | 0.021619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_355-7_0_6_line_7 |  | 6 | 8 | 0.0019043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_355-7_0_6_line_8 |  | 7 | 9 | 0.016562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_355-7_0_6_line_9 |  | 8 | 10 | 0.041084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_355-7_0_6_line_10 |  | 9 | 52 | 0.015319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_355-7_0_6_line_11 |  | 10 | 25 | 0.024819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_355-7_0_6_line_12 |  | 11 | 12 | 0.036375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_355-7_0_6_line_13 |  | 11 | 13 | 0.0060646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-7_0_6_line_14 |  | 12 | 14 | 0.017329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_355-7_0_6_line_15 |  | 14 | 15 | 0.024595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_355-7_0_6_line_16 |  | 14 | 16 | 0.015085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-7_0_6_line_17 |  | 15 | 19 | 0.0028548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_355-7_0_6_line_18 |  | 16 | 20 | 0.016703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-7_0_6_line_19 |  | 17 | 18 | 0.030423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_355-7_0_6_line_20 |  | 18 | 21 | 0.02702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_355-7_0_6_line_21 |  | 19 | 22 | 0.037967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_355-7_0_6_line_22 |  | 20 | 23 | 0.032892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-7_0_6_line_23 |  | 21 | 24 | 0.027046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-7_0_6_line_24 |  | 22 | 59 | 0.0094367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_355-7_0_6_line_25 |  | 23 | 50 | 0.038798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-7_0_6_line_26 |  | 24 | 42 | 0.008106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-7_0_6_line_27 |  | 24 | 40 | 0.0077221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-7_0_6_line_28 |  | 25 | 26 | 0.025298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_355-7_0_6_line_29 |  | 25 | 27 | 0.009671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_355-7_0_6_line_30 |  | 26 | 28 | 0.0029373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_355-7_0_6_line_31 |  | 27 | 29 | 0.033447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_355-7_0_6_line_32 |  | 28 | 30 | 0.012198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_355-7_0_6_line_33 |  | 29 | 34 | 0.045622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_355-7_0_6_line_34 |  | 30 | 41 | 0.025753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-7_0_6_line_35 |  | 31 | 32 | 0.009001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-7_0_6_line_36 |  | 31 | 33 | 0.018808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-7_0_6_line_37 |  | 32 | 37 | 0.045089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-7_0_6_line_38 |  | 32 | 38 | 0.010858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-7_0_6_line_39 |  | 33 | 39 | 0.043646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-7_0_6_line_40 |  | 34 | 35 | 0.034031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_355-7_0_6_line_41 |  | 35 | 36 | 0.025449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_355-7_0_6_line_42 |  | 36 | 39 | 0.0044616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-7_0_6_line_43 |  | 40 | 41 | 0.0038183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-7_0_6_line_44 |  | 41 | 43 | 0.013885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-7_0_6_line_45 |  | 42 | 44 | 0.0027907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-7_0_6_line_46 |  | 44 | 45 | 0.020108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_355-7_0_6_line_47 |  | 45 | 46 | 0.031633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_355-7_0_6_line_48 |  | 46 | 47 | 0.053912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-7_0_6_line_49 |  | 47 | 48 | 0.007809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-7_0_6_line_50 |  | 48 | 49 | 0.027614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_355-7_0_6_line_51 |  | 50 | 51 | 0.033421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_355-7_0_6_line_52 |  | 52 | 55 | 0.022091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_355-7_0_6_line_53 |  | 52 | 53 | 0.008028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_355-7_0_6_line_54 |  | 53 | 54 | 0.078017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_355-7_0_6_line_55 |  | 54 | 56 | 0.027936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-7_0_6_line_56 |  | 55 | 57 | 0.028278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_355-7_0_6_line_57 |  | 56 | 60 | 0.1973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-7_0_6_line_58 |  | 56 | 61 | 0.017744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-7_0_6_line_59 |  | 57 | 58 | 0.058188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_355-7_0_6_line_60 |  | 57 | 59 | 0.0098523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_355-7_0_6_line_61 |  | 58 | 62 | 0.032405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-7_0_6_line_62 |  | 61 | 68 | 0.0021569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_355-7_0_6_line_63 |  | 62 | 63 | 0.023946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-7_0_6_line_64 |  | 64 | 65 | 0.012539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-7_0_6_line_65 |  | 64 | 66 | 3.8553e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_355-7_0_6_line_66 |  | 65 | 67 | 0.0074053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_355-7_0_6_line_67 |  | 66 | 68 | 0.020183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_355-7_0_6_line_68 |  | 67 | 69 | 0.008017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_355-7_0_6_line_69 |  | 67 | 70 | 0.030205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_355-7_0_6_line_70 |  | 70 | 71 | 0.020235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_355-7_0_6_line_71 |  | 71 | 72 | 0.029849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-7_0_6_line_72 |  | 72 | 73 | 0.016079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-7_0_6_line_73 |  | 72 | 74 | 0.0046907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_355-7_0_6_line_74 |  | 73 | 78 | 0.0064117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_355-7_0_6_line_75 |  | 74 | 77 | 0.0082753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_355-7_0_6_line_76 |  | 75 | 76 | 0.0041589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_355-7_0_6_line_77 |  | 76 | 77 | 0.0069388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_355-7_0_6_line_78 |  | 78 | 79 | 0.0081033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_355-7_0_6_line_79 |  | 79 | 80 | 0.0080883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_355-7_0_6_line_80 |  | 80 | 81 | 0.0078494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-7_0_6_trafo_7 | 0.63 MVA 20/0.4 kV | 82 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2599070.9188 | 1196735.3012 | 2599072.114 | 1196736.4156
1 | 2599070.9188 | 1196735.3012 | 2599042.1722 | 1196708.5001
2 | 2599072.114 | 1196736.4156 | 2599101.5077 | 1196763.8199
3 | 2599040.8865 | 1196707.3014 | 2599042.1722 | 1196708.5001
4 | 2599103.1384 | 1196765.3403 | 2599101.5077 | 1196763.8199
5 | 2599040.8865 | 1196707.3014 | 2599011.4628 | 1196679.8691
6 | 2599118.9509 | 1196780.0827 | 2599103.1384 | 1196765.3403
7 | 2599010.07 | 1196678.5705 | 2599011.4628 | 1196679.8691
8 | 2599118.9509 | 1196780.0827 | 2599131.0647 | 1196791.3773
9 | 2599010.07 | 1196678.5705 | 2598980.0201 | 1196650.5543
10 | 2599142.269 | 1196801.8239 | 2599131.0647 | 1196791.3773
11 | 2598962.7506 | 1196632.7758 | 2598970.453 | 1196641.6346 | 2598980.0201 | 1196650.5543
12 | 2599089.7548 | 1196669.1992 | 2599100.9973 | 1196679.7322 | 2599114.9164 | 1196695.4158
13 | 2599089.7548 | 1196669.1992 | 2599085.3292 | 1196665.0528
14 | 2599126.4192 | 1196708.3767 | 2599114.9164 | 1196695.4158
15 | 2599126.4192 | 1196708.3767 | 2599142.8534 | 1196726.6748
16 | 2599126.4192 | 1196708.3767 | 2599136.662 | 1196697.3026
17 | 2599144.761 | 1196728.7987 | 2599142.8534 | 1196726.6748
18 | 2599136.662 | 1196697.3026 | 2599147.7962 | 1196686.7174 | 2599148.7059 | 1196685.7331
19 | 2599054.9835 | 1196636.622 | 2599042.201 | 1196624.6461 | 2599050.9436 | 1196615.1507
20 | 2599034.8303 | 1196594.9094 | 2599035.3416 | 1196600.5123 | 2599050.9436 | 1196615.1507
21 | 2599144.761 | 1196728.7987 | 2599149.7001 | 1196734.298 | 2599157.2729 | 1196745.8251 | 2599168.8416 | 1196757.9834
22 | 2599171.0313 | 1196661.5783 | 2599148.7059 | 1196685.7331
23 | 2599015.6551 | 1196575.836 | 2599034.8303 | 1196594.9094
24 | 2599175.3465 | 1196764.8199 | 2599168.8416 | 1196757.9834
25 | 2599153.0133 | 1196634.6111 | 2599175.9967 | 1196656.208 | 2599171.0313 | 1196661.5783
26 | 2599015.6551 | 1196575.836 | 2599021.19 | 1196569.9138
27 | 2599015.6551 | 1196575.836 | 2599010.5186 | 1196581.6019
28 | 2598962.7506 | 1196632.7758 | 2598980.038 | 1196614.3056
29 | 2598955.95 | 1196639.6696 | 2598962.7506 | 1196632.7758
30 | 2598980.038 | 1196614.3056 | 2598982.0452 | 1196612.1611
31 | 2598955.95 | 1196639.6696 | 2598946.3663 | 1196630.4665 | 2598939.3422 | 1196623.8866 | 2598931.6528 | 1196616.6842
32 | 2598990.3807 | 1196603.2552 | 2598982.0452 | 1196612.1611
33 | 2598898.3558 | 1196585.4963 | 2598931.6528 | 1196616.6842
34 | 2599007.9788 | 1196584.453 | 2598990.3807 | 1196603.2552
35 | 2598919.6015 | 1196675.1954 | 2598912.8084 | 1196681.1221
36 | 2598919.6015 | 1196675.1954 | 2598907.3537 | 1196660.9222
37 | 2598912.8084 | 1196681.1221 | 2598923.913 | 1196724.8225
38 | 2598912.8084 | 1196681.1221 | 2598904.2664 | 1196687.8246
39 | 2598892.0351 | 1196631.1107 | 2598898.7929 | 1196639.3248 | 2598892.015 | 1196644.9847 | 2598903.8013 | 1196660.6129 | 2598906.01 | 1196659.3563 | 2598907.3537 | 1196660.9222
40 | 2598872.8968 | 1196608.1245 | 2598880.1927 | 1196602.3533 | 2598898.3558 | 1196585.4963
41 | 2598872.8968 | 1196608.1245 | 2598889.1804 | 1196627.682
42 | 2598892.0351 | 1196631.1107 | 2598889.1804 | 1196627.682
43 | 2599007.9788 | 1196584.453 | 2599010.5186 | 1196581.6019
44 | 2599007.9788 | 1196584.453 | 2599018.3547 | 1196593.7116
45 | 2599023.0955 | 1196567.8749 | 2599023.0955 | 1196567.8749 | 2599021.19 | 1196569.9138
46 | 2599033.6502 | 1196550.7991 | 2599030.4897 | 1196556.9678 | 2599023.0955 | 1196567.8749
47 | 2599043.8818 | 1196521.013 | 2599040.1368 | 1196536.1884 | 2599036.5279 | 1196545.1827 | 2599033.6502 | 1196550.7991
48 | 2599043.8818 | 1196521.013 | 2599077.9613 | 1196562.7868
49 | 2599083.9094 | 1196567.8089 | 2599078.7216 | 1196563.7187 | 2599077.9613 | 1196562.7868
50 | 2599083.9094 | 1196567.8089 | 2599093.2262 | 1196575.5226 | 2599104.7728 | 1196585.8903
51 | 2599153.0133 | 1196634.6111 | 2599129.9197 | 1196658.7699
52 | 2599142.269 | 1196801.8239 | 2599150.9734 | 1196791.9062 | 2599157.9911 | 1196786.4396
53 | 2599136.8393 | 1196807.7501 | 2599142.269 | 1196801.8239
54 | 2599136.8393 | 1196807.7501 | 2599163.6232 | 1196832.3479 | 2599194.3045 | 1196860.5169
55 | 2599214.8824 | 1196879.4098 | 2599194.3045 | 1196860.5169
56 | 2599182.1379 | 1196771.9575 | 2599166.1897 | 1196780.0531 | 2599157.9911 | 1196786.4396
57 | 2599214.8824 | 1196879.4098 | 2599160.2517 | 1197068.9998
58 | 2599214.8824 | 1196879.4098 | 2599227.0633 | 1196866.5073
59 | 2599182.1379 | 1196771.9575 | 2599212.0243 | 1196761.1807 | 2599218.5202 | 1196752.9866 | 2599208.8712 | 1196740.2722
60 | 2599182.1379 | 1196771.9575 | 2599175.3465 | 1196764.8199
61 | 2599189.2815 | 1196714.4592 | 2599208.8712 | 1196740.2722
62 | 2599227.0633 | 1196866.5073 | 2599228.5439 | 1196864.939
63 | 2599189.2815 | 1196714.4592 | 2599179.0385 | 1196725.3221 | 2599172.5481 | 1196719.0197
64 | 2599242.4254 | 1196850.2352 | 2599251.033 | 1196841.1177
65 | 2599242.4254 | 1196850.2352 | 2599242.3989 | 1196850.2633
66 | 2599256.708 | 1196845.875 | 2599251.033 | 1196841.1177
67 | 2599228.5439 | 1196864.939 | 2599242.3989 | 1196850.2633
68 | 2599256.708 | 1196845.875 | 2599262.3058 | 1196851.6141
69 | 2599256.708 | 1196845.875 | 2599267.8799 | 1196833.2891 | 2599270.8184 | 1196821.7603 | 2599271.8163 | 1196820.6688
70 | 2599288.678 | 1196810.7632 | 2599277.7105 | 1196814.222 | 2599271.8163 | 1196820.6688
71 | 2599266.3966 | 1196790.8334 | 2599288.678 | 1196810.7632
72 | 2599266.3966 | 1196790.8334 | 2599277.1657 | 1196778.8931
73 | 2599266.3966 | 1196790.8334 | 2599262.9008 | 1196787.7057
74 | 2599277.1657 | 1196778.8931 | 2599281.4599 | 1196774.1318
75 | 2599256.7337 | 1196782.1878 | 2599262.9008 | 1196787.7057
76 | 2599248.4632 | 1196774.788 | 2599251.5626 | 1196777.5611
77 | 2599256.7337 | 1196782.1878 | 2599251.5626 | 1196777.5611
78 | 2599281.4599 | 1196774.1318 | 2599286.8871 | 1196768.1145
79 | 2599286.8871 | 1196768.1145 | 2599292.3043 | 1196762.1082
80 | 2599292.3043 | 1196762.1082 | 2599297.5614 | 1196756.2793

## bus_geodata
| x | y | coords
0 | 2599070.9188 | 1196735.3012
1 | 2599072.114 | 1196736.4156
2 | 2599042.1722 | 1196708.5001
3 | 2599101.5077 | 1196763.8199
4 | 2599040.8865 | 1196707.3014
5 | 2599103.1384 | 1196765.3403
6 | 2599011.4628 | 1196679.8691
7 | 2599118.9509 | 1196780.0827
8 | 2599010.07 | 1196678.5705
9 | 2599131.0647 | 1196791.3773
10 | 2598980.0201 | 1196650.5543
11 | 2599089.7548 | 1196669.1992
12 | 2599114.9164 | 1196695.4158
13 | 2599085.3292 | 1196665.0528
14 | 2599126.4192 | 1196708.3767
15 | 2599142.8534 | 1196726.6748
16 | 2599136.662 | 1196697.3026
17 | 2599054.9835 | 1196636.622
18 | 2599050.9436 | 1196615.1507
19 | 2599144.761 | 1196728.7987
20 | 2599148.7059 | 1196685.7331
21 | 2599034.8303 | 1196594.9094
22 | 2599168.8416 | 1196757.9835
23 | 2599171.0313 | 1196661.5783
24 | 2599015.6551 | 1196575.836
25 | 2598962.7506 | 1196632.7758
26 | 2598980.038 | 1196614.3056
27 | 2598955.95 | 1196639.6696
28 | 2598982.0452 | 1196612.1611
29 | 2598931.6528 | 1196616.6842
30 | 2598990.3807 | 1196603.2552
31 | 2598919.6015 | 1196675.1954
32 | 2598912.8084 | 1196681.1221
33 | 2598907.3537 | 1196660.9222
34 | 2598898.3558 | 1196585.4963
35 | 2598872.8968 | 1196608.1245
36 | 2598889.1803 | 1196627.682
37 | 2598923.913 | 1196724.8225
38 | 2598904.2664 | 1196687.8246
39 | 2598892.0351 | 1196631.1107
40 | 2599010.5186 | 1196581.6019
41 | 2599007.9788 | 1196584.453
42 | 2599021.19 | 1196569.9138
43 | 2599018.3547 | 1196593.7116
44 | 2599023.0955 | 1196567.8749
45 | 2599033.6503 | 1196550.7991
46 | 2599043.8818 | 1196521.013
47 | 2599077.9613 | 1196562.7868
48 | 2599083.9094 | 1196567.8089
49 | 2599104.7728 | 1196585.8903
50 | 2599153.0133 | 1196634.6111
51 | 2599129.9197 | 1196658.7699
52 | 2599142.2691 | 1196801.8239
53 | 2599136.8393 | 1196807.7501
54 | 2599194.3044 | 1196860.5169
55 | 2599157.9911 | 1196786.4396
56 | 2599214.8824 | 1196879.4098
57 | 2599182.1379 | 1196771.9575
58 | 2599208.8712 | 1196740.2722
59 | 2599175.3465 | 1196764.8199
60 | 2599160.2517 | 1197068.9998
61 | 2599227.0633 | 1196866.5073
62 | 2599189.2815 | 1196714.4592
63 | 2599172.5481 | 1196719.0197
64 | 2599242.4254 | 1196850.2352
65 | 2599251.033 | 1196841.1177
66 | 2599242.3989 | 1196850.2633
67 | 2599256.708 | 1196845.875
68 | 2599228.5439 | 1196864.939
69 | 2599262.3058 | 1196851.6141
70 | 2599271.8163 | 1196820.6688
71 | 2599288.678 | 1196810.7632
72 | 2599266.3966 | 1196790.8334
73 | 2599277.1657 | 1196778.8931
74 | 2599262.9008 | 1196787.7057
75 | 2599248.4632 | 1196774.788
76 | 2599251.5626 | 1196777.5611
77 | 2599256.7337 | 1196782.1878
78 | 2599281.4599 | 1196774.1318
79 | 2599286.8871 | 1196768.1145
80 | 2599292.3043 | 1196762.1082
81 | 2599297.5614 | 1196756.2793
82 | 2599126.4192 | 1196708.3767

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1