## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-81_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-81_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-81_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-81_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_355-81_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_355-81_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_355-81_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_355-81_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_355-81_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_355-81_0_6_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_355-81_0_6_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_355-81_0_6_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_355-81_0_6_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_355-81_0_6_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_355-81_0_6_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_355-81_0_6_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_355-81_0_6_node_67 | 0.4 | n |  | TRUE
17 | bus_LV_355-81_0_6_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_355-81_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_355-81_0_6_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_355-81_0_6_node_79 | 0.4 | n |  | TRUE
21 | bus_LV_355-81_0_6_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_355-81_0_6_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_355-81_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_355-81_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_355-81_0_6_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_355-81_0_6_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_355-81_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_355-81_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_355-81_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_355-81_0_6_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_355-81_0_6_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_355-81_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_355-81_0_6_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_355-81_0_6_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_355-81_0_6_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_355-81_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_355-81_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_355-81_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_355-81_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_355-81_0_6_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_355-81_0_6_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_355-81_0_6_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_355-81_0_6_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_355-81_0_6_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_355-81_0_6_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_355-81_0_6_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_355-81_0_6_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_355-81_0_6_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_355-81_0_6_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_355-81_0_6_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_355-81_0_6_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_355-81_0_6_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_355-81_0_6_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_355-81_0_6_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_355-81_0_6_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_355-81_0_6_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_355-81_0_6_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_355-81_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_355-81_0_6_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_355-81_0_6_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_355-81_0_6_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_355-81_0_6_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_355-81_0_6_node_83 | 0.4 | n |  | TRUE
64 | bus_LV_355-81_0_6_node_84 | 0.4 | n |  | TRUE
65 | bus_LV_355-81_0_6_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_355-81_0_6_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_355-81_0_6_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_355-81_0_6_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_355-81_0_6_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_355-81_0_6_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_355-81_0_6_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_355-81_0_6_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_355-81_0_6_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_355-81_0_6_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_355-81_0_6_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_355-81_0_6_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_355-81_0_6_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_355-81_0_6_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_355-81_0_6_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_355-81_0_6_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_355-81_0_6_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_355-81_0_6_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_355-81_0_6_node_110 | 0.4 | n |  | TRUE
84 | bus_LV_355-81_0_6_node_108 | 0.4 | n |  | TRUE
85 | bus_LV_355-81_0_6_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_355-81_0_6_node_96 | 0.4 | n |  | TRUE
87 | bus_LV_355-81_0_6_node_93 | 0.4 | n |  | TRUE
88 | bus_LV_355-81_0_6_node_97 | 0.4 | n |  | TRUE
89 | bus_LV_355-81_0_6_node_94 | 0.4 | n |  | TRUE
90 | bus_LV_355-81_0_6_node_106 | 0.4 | n |  | TRUE
91 | bus_LV_355-81_0_6_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_355-81_0_6_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_355-81_0_6_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_355-81_0_6_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_355-81_0_6_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_355-81_0_6_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_355-81_0_6_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_355-81_0_6_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_355-81_0_6_node_103 | 0.4 | n |  | TRUE
100 | bus_LV_355-81_0_6_node_101 | 0.4 | n |  | TRUE
101 | bus_LV_355-81_0_6_node_98 | 0.4 | n |  | TRUE
102 | bus_LV_355-81_0_6_node_99 | 0.4 | n |  | TRUE
103 | bus_LV_355-81_0_6_node_95 | 0.4 | n |  | TRUE
104 | bus_LV_355-81_0_6_node_111 | 0.4 | n |  | TRUE
105 | bus_LV_355-81_0_6_node_100 | 0.4 | n |  | TRUE
106 | bus_LV_355-81_0_6_node_102 | 0.4 | n |  | TRUE
107 | bus_LV_355-81_0_6_node_107 | 0.4 | n |  | TRUE
108 | bus_LV_355-81_0_6_node_105 | 0.4 | n |  | TRUE
109 | bus_LV_355-81_0_6_node_104 | 0.4 | n |  | TRUE
110 | bus_LV_355-81_0_6_node_109 | 0.4 | n |  | TRUE
111 | bus_LV_355-81_0_6_node_112 | 0.4 | n |  | TRUE
112 | bus_MV_55_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-81_0_6_load_0 | 0 | 0.001894 | 0.00047468 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-81_0_6_load_1 | 1 | 0.0021979 | 0.00055084 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-81_0_6_load_2 | 2 | 0.007925 | 0.0019862 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-81_0_6_load_8 | 8 | 0.006739 | 0.001689 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-81_0_6_load_49 | 9 | 0.0046525 | 0.001166 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-81_0_6_load_21 | 10 | 0.0048006 | 0.0012031 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-81_0_6_load_23 | 11 | 0.0030569 | 0.00076614 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-81_0_6_load_22 | 12 | 0.00365 | 0.00091478 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-81_0_6_load_43 | 13 | 0.0089683 | 0.0022477 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-81_0_6_load_80 | 15 | 0.0067868 | 0.0017009 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-81_0_6_load_67 | 16 | 0.003939 | 0.0009872 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-81_0_6_load_20 | 17 | 0.0030032 | 0.00075266 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-81_0_6_load_14 | 18 | 0.0042823 | 0.0010732 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-81_0_6_load_41 | 19 | 0.0023647 | 0.00059265 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-81_0_6_load_79 | 20 | 0.0089137 | 0.002234 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-81_0_6_load_9 | 21 | 0.0028828 | 0.00072249 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-81_0_6_load_12 | 23 | 0.009937 | 0.0024904 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-81_0_6_load_13 | 24 | 0.0030138 | 0.00075533 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-81_0_6_load_15 | 25 | 0.0030261 | 0.00075842 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-81_0_6_load_16 | 26 | 0.0030225 | 0.00075752 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-81_0_6_load_17 | 27 | 0.0024275 | 0.00060838 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-81_0_6_load_18 | 28 | 0.0030181 | 0.0007564 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-81_0_6_load_19 | 29 | 0.0061232 | 0.0015346 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-81_0_6_load_24 | 30 | 0.0016164 | 0.0004051 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-81_0_6_load_25 | 31 | 0.0016388 | 0.00041073 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-81_0_6_load_27 | 33 | 0.0016429 | 0.00041175 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-81_0_6_load_28 | 34 | 0.001778 | 0.00044561 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-81_0_6_load_29 | 35 | 0.0016839 | 0.00042203 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-81_0_6_load_30 | 36 | 0.0016595 | 0.00041592 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-81_0_6_load_31 | 37 | 0.0016368 | 0.00041023 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-81_0_6_load_33 | 39 | 0.0017071 | 0.00042785 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-81_0_6_load_58 | 42 | 0.015486 | 0.0038811 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-81_0_6_load_36 | 44 | 0.0018006 | 0.00045127 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-81_0_6_load_37 | 45 | 0.0021549 | 0.00054007 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-81_0_6_load_38 | 46 | 0.0017882 | 0.00044816 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-81_0_6_load_40 | 48 | 0.0031801 | 0.00079701 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-81_0_6_load_44 | 49 | 0.0021125 | 0.00052944 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-81_0_6_load_45 | 50 | 0.0011539 | 0.0002892 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-81_0_6_load_46 | 51 | 0.0011371 | 0.00028498 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-81_0_6_load_47 | 52 | 0.0017973 | 0.00045044 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-81_0_6_load_48 | 53 | 0.0073144 | 0.0018332 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-81_0_6_load_64 | 54 | 0.0053482 | 0.0013404 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-81_0_6_load_50 | 55 | 0.014265 | 0.0035752 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-81_0_6_load_51 | 56 | 0.016161 | 0.0040503 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-81_0_6_load_53 | 57 | 0.014444 | 0.00362 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-81_0_6_load_54 | 59 | 0.015561 | 0.0038999 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-81_0_6_load_56 | 60 | 0.015444 | 0.0038706 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-81_0_6_load_57 | 61 | 0.015281 | 0.0038298 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-81_0_6_load_83 | 63 | 0.016208 | 0.0040621 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-81_0_6_load_84 | 64 | 0.014989 | 0.0037566 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-81_0_6_load_59 | 65 | 0.0051563 | 0.0012923 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-81_0_6_load_60 | 66 | 0.0054889 | 0.0013756 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-81_0_6_load_62 | 68 | 0.0012181 | 0.00030529 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-81_0_6_load_63 | 69 | 0.0044413 | 0.0011131 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-81_0_6_load_65 | 70 | 0.0054411 | 0.0013637 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-81_0_6_load_66 | 71 | 0.0037872 | 0.00094915 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-81_0_6_load_73 | 72 | 0.0013569 | 0.00034007 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_355-81_0_6_load_75 | 73 | 0.0031549 | 0.0007907 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_355-81_0_6_load_68 | 76 | 0.0054251 | 0.0013597 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_355-81_0_6_load_70 | 78 | 0.0051838 | 0.0012992 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_355-81_0_6_load_74 | 80 | 0.0024176 | 0.0006059 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_355-81_0_6_load_78 | 82 | 0.0018385 | 0.00046077 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_355-81_0_6_load_110 | 83 | 0.0016727 | 0.00041923 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_355-81_0_6_load_108 | 84 | 0.0029231 | 0.0007326 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_355-81_0_6_load_77 | 85 | 0.0077129 | 0.001933 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_355-81_0_6_load_96 | 86 | 0.0020851 | 0.00052257 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_355-81_0_6_load_93 | 87 | 0.0020822 | 0.00052185 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_355-81_0_6_load_97 | 88 | 0.0022682 | 0.00056846 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_355-81_0_6_load_94 | 89 | 0.002106 | 0.00052782 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_355-81_0_6_load_91 | 91 | 0.015993 | 0.0040082 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_355-81_0_6_load_85 | 93 | 0.010035 | 0.0025149 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_355-81_0_6_load_86 | 94 | 0.0035028 | 0.00087789 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_355-81_0_6_load_87 | 95 | 0.01469 | 0.0036817 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_355-81_0_6_load_88 | 96 | 0.0033516 | 0.00083999 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_355-81_0_6_load_90 | 97 | 0.0033594 | 0.00084194 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_355-81_0_6_load_103 | 99 | 0.0033809 | 0.00084733 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_355-81_0_6_load_101 | 100 | 0.0033884 | 0.00084922 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_355-81_0_6_load_98 | 101 | 0.015964 | 0.0040008 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_355-81_0_6_load_99 | 102 | 0.0034196 | 0.00085704 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_355-81_0_6_load_95 | 103 | 0.0064651 | 0.0016203 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_355-81_0_6_load_111 | 104 | 0.0042688 | 0.0010699 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_355-81_0_6_load_100 | 105 | 0.0035015 | 0.00087755 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_355-81_0_6_load_107 | 107 | 0.0089641 | 0.0022466 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_355-81_0_6_load_104 | 109 | 0.0090023 | 0.0022562 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_355-81_0_6_load_109 | 110 | 0.0046602 | 0.0011679 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_355-81_0_6_load_112 | 111 | 0.0089837 | 0.0022515 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-81_0_6_line_0 |  | 0 | 1 | 0.030306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-81_0_6_line_1 |  | 0 | 2 | 0.0016518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-81_0_6_line_2 |  | 1 | 3 | 0.012249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-81_0_6_line_3 |  | 2 | 4 | 0.023135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-81_0_6_line_4 |  | 3 | 5 | 0.005367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-81_0_6_line_5 |  | 3 | 6 | 0.018443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-81_0_6_line_6 |  | 4 | 7 | 0.005823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-81_0_6_line_7 |  | 4 | 8 | 0.03722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_355-81_0_6_line_8 |  | 5 | 9 | 0.011712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-81_0_6_line_9 |  | 5 | 10 | 0.021437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-81_0_6_line_10 |  | 6 | 11 | 0.011922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-81_0_6_line_11 |  | 6 | 12 | 0.013092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-81_0_6_line_12 |  | 7 | 13 | 0.019661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_355-81_0_6_line_13 |  | 7 | 14 | 0.015077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-81_0_6_line_14 |  | 8 | 15 | 0.013775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_355-81_0_6_line_15 |  | 9 | 16 | 0.01431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-81_0_6_line_16 |  | 10 | 17 | 0.0026937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-81_0_6_line_17 |  | 12 | 18 | 0.00978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-81_0_6_line_18 |  | 14 | 19 | 0.015458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-81_0_6_line_19 |  | 15 | 20 | 0.021188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_355-81_0_6_line_20 |  | 16 | 54 | 0.021333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_355-81_0_6_line_21 |  | 17 | 28 | 0.0068964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-81_0_6_line_22 |  | 18 | 24 | 0.0090171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-81_0_6_line_23 |  | 19 | 47 | 0.007436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-81_0_6_line_24 |  | 20 | 85 | 0.023521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_355-81_0_6_line_25 |  | 21 | 22 | 0.0028449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-81_0_6_line_26 |  | 22 | 23 | 0.011839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-81_0_6_line_27 |  | 22 | 24 | 0.019249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-81_0_6_line_28 |  | 25 | 26 | 0.0068905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-81_0_6_line_29 |  | 25 | 27 | 0.018564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_355-81_0_6_line_30 |  | 26 | 28 | 0.0068686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-81_0_6_line_31 |  | 27 | 29 | 0.0055763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-81_0_6_line_32 |  | 30 | 31 | 0.0063301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-81_0_6_line_33 |  | 30 | 32 | 0.0066894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-81_0_6_line_34 |  | 31 | 33 | 0.0085684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-81_0_6_line_35 |  | 32 | 34 | 0.018374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-81_0_6_line_36 |  | 33 | 35 | 0.0064314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-81_0_6_line_37 |  | 34 | 36 | 0.013324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-81_0_6_line_38 |  | 35 | 37 | 0.0037746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-81_0_6_line_39 |  | 37 | 38 | 0.019118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-81_0_6_line_40 |  | 38 | 39 | 0.014223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-81_0_6_line_41 |  | 39 | 40 | 0.0098112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-81_0_6_line_42 |  | 40 | 41 | 0.016924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-81_0_6_line_43 |  | 41 | 42 | 0.019285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-81_0_6_line_44 |  | 42 | 43 | 0.010103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-81_0_6_line_45 |  | 43 | 60 | 0.014099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-81_0_6_line_46 |  | 43 | 58 | 0.007607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_355-81_0_6_line_47 |  | 44 | 45 | 0.00021835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_355-81_0_6_line_48 |  | 44 | 46 | 0.011241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-81_0_6_line_49 |  | 45 | 47 | 0.017449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-81_0_6_line_50 |  | 47 | 48 | 0.0093428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_355-81_0_6_line_51 |  | 48 | 49 | 0.015532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_355-81_0_6_line_52 |  | 49 | 50 | 0.019917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_355-81_0_6_line_53 |  | 50 | 51 | 0.0048343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_355-81_0_6_line_54 |  | 50 | 52 | 0.017776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_355-81_0_6_line_55 |  | 52 | 53 | 0.011749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-81_0_6_line_56 |  | 54 | 67 | 0.0042926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_355-81_0_6_line_57 |  | 55 | 56 | 0.013382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-81_0_6_line_58 |  | 56 | 57 | 0.0142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-81_0_6_line_59 |  | 57 | 60 | 0.019386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_355-81_0_6_line_60 |  | 58 | 59 | 0.012475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-81_0_6_line_61 |  | 59 | 61 | 0.0030703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-81_0_6_line_62 |  | 61 | 62 | 0.019355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_355-81_0_6_line_63 |  | 62 | 63 | 0.048209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-81_0_6_line_64 |  | 62 | 64 | 0.016958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-81_0_6_line_65 |  | 64 | 91 | 0.0039128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_355-81_0_6_line_66 |  | 65 | 66 | 0.018856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_355-81_0_6_line_67 |  | 65 | 67 | 0.0062442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_355-81_0_6_line_68 |  | 66 | 68 | 0.0052873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_355-81_0_6_line_69 |  | 67 | 69 | 0.0185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_355-81_0_6_line_70 |  | 68 | 70 | 0.0028482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_355-81_0_6_line_71 |  | 69 | 71 | 0.0028841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-81_0_6_line_72 |  | 70 | 72 | 0.0032935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-81_0_6_line_73 |  | 71 | 73 | 0.025096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_355-81_0_6_line_74 |  | 72 | 74 | 0.022268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_355-81_0_6_line_75 |  | 73 | 75 | 0.010242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_355-81_0_6_line_76 |  | 74 | 80 | 0.027351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_355-81_0_6_line_77 |  | 74 | 77 | 0.014189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_355-81_0_6_line_78 |  | 75 | 86 | 0.014824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_355-81_0_6_line_79 |  | 75 | 87 | 0.020976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_355-81_0_6_line_80 |  | 76 | 77 | 0.028626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_355-81_0_6_line_81 |  | 78 | 79 | 0.024328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_355-81_0_6_line_82 |  | 79 | 81 | 0.007845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_355-81_0_6_line_83 |  | 79 | 82 | 0.034525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_355-81_0_6_line_84 |  | 80 | 83 | 0.019691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_355-81_0_6_line_85 |  | 81 | 84 | 0.010732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_355-81_0_6_line_86 |  | 82 | 85 | 0.018216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_355-81_0_6_line_87 |  | 84 | 90 | 0.019242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_355-81_0_6_line_88 |  | 86 | 88 | 0.021443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_355-81_0_6_line_89 |  | 87 | 89 | 0.007384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_355-81_0_6_line_90 |  | 88 | 104 | 0.0022608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_355-81_0_6_line_91 |  | 89 | 103 | 0.017242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_355-81_0_6_line_92 |  | 90 | 110 | 0.014001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_355-81_0_6_line_93 |  | 90 | 108 | 0.022264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_355-81_0_6_line_94 |  | 91 | 92 | 0.011925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_355-81_0_6_line_95 |  | 92 | 98 | 0.007126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_355-81_0_6_line_96 |  | 93 | 94 | 0.0071449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_355-81_0_6_line_97 |  | 93 | 95 | 0.013812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_355-81_0_6_line_98 |  | 94 | 96 | 0.0055241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_355-81_0_6_line_99 |  | 96 | 97 | 0.0053679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_355-81_0_6_line_100 |  | 97 | 99 | 0.005395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_355-81_0_6_line_101 |  | 98 | 100 | 0.017586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_355-81_0_6_line_102 |  | 98 | 101 | 0.01215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_355-81_0_6_line_103 |  | 99 | 100 | 0.0054425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_355-81_0_6_line_104 |  | 101 | 102 | 0.0024016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_355-81_0_6_line_105 |  | 102 | 105 | 2.7818e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
106 | LV_355-81_0_6_line_106 |  | 105 | 106 | 0.023511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
107 | LV_355-81_0_6_line_107 |  | 106 | 107 | 0.01667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_355-81_0_6_line_108 |  | 106 | 108 | 0.019416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_355-81_0_6_line_109 |  | 108 | 109 | 0.014884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_355-81_0_6_line_110 |  | 110 | 111 | 0.0024735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-81_0_6_trafo_79 | 0.63 MVA 20/0.4 kV | 112 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2601505.0975 | 1197886.4873 | 2601513.8333 | 1197915.5074
1 | 2601505.0975 | 1197886.4873 | 2601504.6214 | 1197884.9057
2 | 2601517.364 | 1197927.2366 | 2601513.8333 | 1197915.5074
3 | 2601497.9529 | 1197862.7531 | 2601504.6214 | 1197884.9057
4 | 2601522.5351 | 1197925.7482 | 2601517.364 | 1197927.2366
5 | 2601517.364 | 1197927.2366 | 2601499.6269 | 1197932.4684
6 | 2601494.7709 | 1197857.9609 | 2601495.8288 | 1197860.3958 | 2601497.9529 | 1197862.7531
7 | 2601497.9529 | 1197862.7531 | 2601533.5965 | 1197852.0363
8 | 2601522.5351 | 1197925.7482 | 2601533.7264 | 1197922.2946
9 | 2601522.5351 | 1197925.7482 | 2601528.5009 | 1197946.3387
10 | 2601499.6269 | 1197932.4684 | 2601501.2553 | 1197937.7272 | 2601502.3744 | 1197938.8948 | 2601504.6436 | 1197939.5623 | 2601507.0273 | 1197938.9959
11 | 2601499.6269 | 1197932.4684 | 2601487.0895 | 1197936.2386
12 | 2601494.7709 | 1197857.9609 | 2601513.6082 | 1197852.3281
13 | 2601494.7709 | 1197857.9609 | 2601490.4031 | 1197843.5299
14 | 2601546.7877 | 1197848.0701 | 2601533.5965 | 1197852.0363
15 | 2601533.7264 | 1197922.2946 | 2601547.3999 | 1197918.0751
16 | 2601529.2505 | 1197948.926 | 2601528.5009 | 1197946.3387
17 | 2601487.0895 | 1197936.2386 | 2601477.7238 | 1197939.055
18 | 2601490.4031 | 1197843.5299 | 2601487.372 | 1197844.2629 | 2601475.3871 | 1197847.2014
19 | 2601546.7877 | 1197848.0701 | 2601567.0783 | 1197841.9694
20 | 2601567.784 | 1197911.7847 | 2601547.3999 | 1197918.0751
21 | 2601531.1697 | 1197955.55 | 2601529.2505 | 1197948.926
22 | 2601468.9785 | 1197941.2517 | 2601477.6478 | 1197939.0779 | 2601477.7238 | 1197939.055
23 | 2601468.165 | 1197848.972 | 2601475.3871 | 1197847.2014
24 | 2601589.6031 | 1197835.1969 | 2601567.0783 | 1197841.9694
25 | 2601449.9348 | 1197943.974 | 2601447.1018 | 1197944.2334
26 | 2601449.9348 | 1197943.974 | 2601450.6022 | 1197955.7916
27 | 2601449.9348 | 1197943.974 | 2601457.3979 | 1197943.1976 | 2601468.2576 | 1197941.4325 | 2601468.9785 | 1197941.2517
28 | 2601534.9987 | 1197968.7656 | 2601533.0811 | 1197962.1472
29 | 2601534.9987 | 1197968.7656 | 2601540.1647 | 1197986.596
30 | 2601531.1697 | 1197955.55 | 2601533.0811 | 1197962.1472
31 | 2601534.8033 | 1197988.1289 | 2601540.1647 | 1197986.596 | 2601540.1647 | 1197986.596
32 | 2601427.8394 | 1197782.0431 | 2601433.9631 | 1197780.4395
33 | 2601421.3683 | 1197783.7376 | 2601427.8394 | 1197782.0431
34 | 2601442.252 | 1197778.269 | 2601433.9631 | 1197780.4395
35 | 2601421.3683 | 1197783.7376 | 2601414.8407 | 1197788.95 | 2601405.861 | 1197793.3976
36 | 2601442.252 | 1197778.269 | 2601448.4737 | 1197776.6398
37 | 2601393.3487 | 1197797.9626 | 2601394.0258 | 1197797.7946 | 2601405.7545 | 1197793.4504 | 2601405.861 | 1197793.3976
38 | 2601452.1251 | 1197775.6836 | 2601448.4737 | 1197776.6398
39 | 2601470.6431 | 1197770.931 | 2601462.258 | 1197773.0302 | 2601452.1251 | 1197775.6836
40 | 2601470.6431 | 1197770.931 | 2601474.2542 | 1197784.6884
41 | 2601476.7452 | 1197794.1782 | 2601474.2542 | 1197784.6884
42 | 2601492.7389 | 1197788.5123 | 2601476.7452 | 1197794.1782
43 | 2601492.7389 | 1197788.5123 | 2601511.1805 | 1197782.8702
44 | 2601520.8419 | 1197779.9144 | 2601511.1805 | 1197782.8702
45 | 2601520.8419 | 1197779.9144 | 2601524.8179 | 1197793.441
46 | 2601520.8419 | 1197779.9144 | 2601528.1456 | 1197777.715
47 | 2601472.2148 | 1197866.1694 | 2601472.1647 | 1197865.9569
48 | 2601474.7914 | 1197877.1108 | 2601472.2148 | 1197866.1694
49 | 2601468.165 | 1197848.972 | 2601472.1647 | 1197865.9569
50 | 2601468.165 | 1197848.972 | 2601459.0723 | 1197851.1195
51 | 2601443.956 | 1197854.6896 | 2601459.0723 | 1197851.1195
52 | 2601424.5725 | 1197859.2675 | 2601443.956 | 1197854.6896
53 | 2601424.5725 | 1197859.2675 | 2601419.8777 | 1197860.4206
54 | 2601424.5725 | 1197859.2675 | 2601428.6445 | 1197876.5703
55 | 2601431.336 | 1197888.0066 | 2601428.6445 | 1197876.5703
56 | 2601571.8857 | 1197910.5189 | 2601567.784 | 1197911.7847
57 | 2601537.5154 | 1197809.6027 | 2601540.3734 | 1197819.3291 | 2601537.2587 | 1197820.2367
58 | 2601530.2849 | 1197812.0398 | 2601533.0545 | 1197821.4618 | 2601537.2587 | 1197820.2367
59 | 2601530.2849 | 1197812.0398 | 2601524.8179 | 1197793.441
60 | 2601528.1456 | 1197777.715 | 2601540.0882 | 1197774.1099
61 | 2601540.0882 | 1197774.1099 | 2601543.0275 | 1197773.2226
62 | 2601561.557 | 1197767.629 | 2601543.0275 | 1197773.2226
63 | 2601561.557 | 1197767.629 | 2601575.3522 | 1197813.8238
64 | 2601561.557 | 1197767.629 | 2601577.7938 | 1197762.7355
65 | 2601581.5401 | 1197761.6064 | 2601577.7938 | 1197762.7355
66 | 2601577.8659 | 1197908.7224 | 2601595.9248 | 1197903.2972
67 | 2601571.8857 | 1197910.5189 | 2601577.8659 | 1197908.7224
68 | 2601600.9886 | 1197901.776 | 2601595.9248 | 1197903.2972
69 | 2601571.8857 | 1197910.5189 | 2601577.2338 | 1197928.2291
70 | 2601600.9886 | 1197901.776 | 2601603.7163 | 1197900.9565
71 | 2601577.2338 | 1197928.2291 | 2601578.0675 | 1197930.9901
72 | 2601606.8706 | 1197900.0089 | 2601603.7163 | 1197900.9565
73 | 2601585.3222 | 1197955.0144 | 2601578.0675 | 1197930.9901
74 | 2601628.1974 | 1197893.602 | 2601606.8706 | 1197900.0089
75 | 2601588.2829 | 1197964.8187 | 2601585.3222 | 1197955.0144
76 | 2601628.1974 | 1197893.602 | 2601635.7732 | 1197919.883
77 | 2601628.1974 | 1197893.602 | 2601636.3845 | 1197891.0695 | 2601641.632 | 1197888.9586
78 | 2601588.2829 | 1197964.8187 | 2601574.2056 | 1197969.4647
79 | 2601588.2829 | 1197964.8187 | 2601590.7413 | 1197969.6441 | 2601595.6128 | 1197984.4225
80 | 2601641.632 | 1197888.9586 | 2601650.9455 | 1197888.9944 | 2601669.4958 | 1197883.6211
81 | 2601640.3549 | 1197822.1782 | 2601642.5171 | 1197824.4356 | 2601644.0543 | 1197828.8383 | 2601644.8649 | 1197845.3571
82 | 2601640.6464 | 1197814.3408 | 2601640.3549 | 1197822.1782
83 | 2601640.3549 | 1197822.1782 | 2601637.3775 | 1197821.5994 | 2601630.9879 | 1197822.7539 | 2601607.0475 | 1197829.952
84 | 2601641.2272 | 1197938.8033 | 2601635.7732 | 1197919.883
85 | 2601640.6464 | 1197814.3408 | 2601644.5847 | 1197809.8839 | 2601644.3676 | 1197805.1041
86 | 2601589.6031 | 1197835.1969 | 2601607.0475 | 1197829.952
87 | 2601643.4944 | 1197785.8819 | 2601644.3676 | 1197805.1041
88 | 2601553.8434 | 1197976.1851 | 2601574.2056 | 1197969.4647
89 | 2601595.6128 | 1197984.4225 | 2601597.9245 | 1197991.4353 | 2601597.9245 | 1197991.4353
90 | 2601551.6965 | 1197976.8937 | 2601553.8434 | 1197976.1851
91 | 2601585.2763 | 1198001.0934 | 2601593.3155 | 1197998.4712 | 2601596.3013 | 1197996.2041 | 2601597.9245 | 1197991.4353
92 | 2601643.4944 | 1197785.8819 | 2601657.4832 | 1197785.3089
93 | 2601641.8858 | 1197763.6808 | 2601643.4944 | 1197785.8819
94 | 2601592.9579 | 1197758.1652 | 2601581.5401 | 1197761.6064
95 | 2601592.9579 | 1197758.1652 | 2601599.7971 | 1197756.0992
96 | 2601608.9453 | 1197798.3724 | 2601612.1387 | 1197797.4244 | 2601611.0474 | 1197793.7702
97 | 2601608.9453 | 1197798.3724 | 2601605.292 | 1197799.457 | 2601602.4295 | 1197789.8743
98 | 2601611.0474 | 1197793.7702 | 2601609.4666 | 1197788.477
99 | 2601607.9306 | 1197783.3336 | 2601609.4666 | 1197788.477
100 | 2601606.3868 | 1197778.1642 | 2601607.9306 | 1197783.3336
101 | 2601599.7971 | 1197756.0992 | 2601604.8293 | 1197772.9493
102 | 2601599.7971 | 1197756.0992 | 2601611.4294 | 1197752.5892
103 | 2601604.8293 | 1197772.9493 | 2601606.3868 | 1197778.1642
104 | 2601611.4294 | 1197752.5892 | 2601613.7286 | 1197751.8954
105 | 2601613.7312 | 1197751.8946 | 2601613.7286 | 1197751.8954
106 | 2601636.24 | 1197745.1027 | 2601613.7312 | 1197751.8946
107 | 2601636.24 | 1197745.1027 | 2601635.182 | 1197742.8235 | 2601647.3575 | 1197735.6002
108 | 2601641.8858 | 1197763.6808 | 2601636.24 | 1197745.1027
109 | 2601641.8858 | 1197763.6808 | 2601656.0222 | 1197759.0239
110 | 2601657.3248 | 1197782.8729 | 2601657.5145 | 1197785.3076 | 2601657.4832 | 1197785.3089

## bus_geodata
| x | y | coords
0 | 2601505.0975 | 1197886.4873
1 | 2601513.8333 | 1197915.5074
2 | 2601504.6214 | 1197884.9057
3 | 2601517.364 | 1197927.2366
4 | 2601497.9529 | 1197862.7531
5 | 2601522.5351 | 1197925.7482
6 | 2601499.6269 | 1197932.4684
7 | 2601494.7709 | 1197857.9609
8 | 2601533.5965 | 1197852.0363
9 | 2601533.7264 | 1197922.2946
10 | 2601528.5009 | 1197946.3387
11 | 2601507.0273 | 1197938.9959
12 | 2601487.0895 | 1197936.2386
13 | 2601513.6082 | 1197852.3281
14 | 2601490.4031 | 1197843.5299
15 | 2601546.7877 | 1197848.0701
16 | 2601547.3999 | 1197918.0751
17 | 2601529.2505 | 1197948.926
18 | 2601477.7238 | 1197939.055
19 | 2601475.3871 | 1197847.2014
20 | 2601567.0783 | 1197841.9694
21 | 2601447.1018 | 1197944.2334
22 | 2601449.9348 | 1197943.974
23 | 2601450.6022 | 1197955.7916
24 | 2601468.9785 | 1197941.2517
25 | 2601534.9987 | 1197968.7656
26 | 2601533.0811 | 1197962.1472
27 | 2601540.1647 | 1197986.596
28 | 2601531.1697 | 1197955.55
29 | 2601534.8033 | 1197988.1289
30 | 2601427.8394 | 1197782.0431
31 | 2601433.9631 | 1197780.4395
32 | 2601421.3683 | 1197783.7376
33 | 2601442.252 | 1197778.269
34 | 2601405.861 | 1197793.3976
35 | 2601448.4737 | 1197776.6398
36 | 2601393.3487 | 1197797.9626
37 | 2601452.1251 | 1197775.6836
38 | 2601470.6431 | 1197770.931
39 | 2601474.2542 | 1197784.6884
40 | 2601476.7452 | 1197794.1782
41 | 2601492.7389 | 1197788.5123
42 | 2601511.1805 | 1197782.8702
43 | 2601520.8419 | 1197779.9144
44 | 2601472.2148 | 1197866.1694
45 | 2601472.1647 | 1197865.9569
46 | 2601474.7914 | 1197877.1108
47 | 2601468.165 | 1197848.972
48 | 2601459.0723 | 1197851.1195
49 | 2601443.956 | 1197854.6896
50 | 2601424.5725 | 1197859.2675
51 | 2601419.8777 | 1197860.4206
52 | 2601428.6445 | 1197876.5703
53 | 2601431.336 | 1197888.0066
54 | 2601567.784 | 1197911.7847
55 | 2601537.5154 | 1197809.6027
56 | 2601537.2587 | 1197820.2367
57 | 2601530.2849 | 1197812.0398
58 | 2601528.1456 | 1197777.715
59 | 2601540.0882 | 1197774.1099
60 | 2601524.8179 | 1197793.441
61 | 2601543.0275 | 1197773.2226
62 | 2601561.557 | 1197767.629
63 | 2601575.3522 | 1197813.8238
64 | 2601577.7938 | 1197762.7355
65 | 2601577.8659 | 1197908.7224
66 | 2601595.9248 | 1197903.2972
67 | 2601571.8857 | 1197910.5189
68 | 2601600.9886 | 1197901.776
69 | 2601577.2338 | 1197928.2291
70 | 2601603.7163 | 1197900.9565
71 | 2601578.0675 | 1197930.9901
72 | 2601606.8706 | 1197900.0089
73 | 2601585.3222 | 1197955.0144
74 | 2601628.1974 | 1197893.602
75 | 2601588.2829 | 1197964.8187
76 | 2601669.4958 | 1197883.6211
77 | 2601641.632 | 1197888.9586
78 | 2601644.8649 | 1197845.3571
79 | 2601640.3549 | 1197822.1782
80 | 2601635.7732 | 1197919.883
81 | 2601640.6464 | 1197814.3408
82 | 2601607.0475 | 1197829.952
83 | 2601641.2272 | 1197938.8033
84 | 2601644.3676 | 1197805.1041
85 | 2601589.6031 | 1197835.1969
86 | 2601574.2056 | 1197969.4647
87 | 2601595.6128 | 1197984.4225
88 | 2601553.8434 | 1197976.1851
89 | 2601597.9245 | 1197991.4353
90 | 2601643.4944 | 1197785.8819
91 | 2601581.5401 | 1197761.6064
92 | 2601592.9579 | 1197758.1652
93 | 2601608.9453 | 1197798.3724
94 | 2601611.0474 | 1197793.7702
95 | 2601602.4295 | 1197789.8743
96 | 2601609.4666 | 1197788.477
97 | 2601607.9306 | 1197783.3336
98 | 2601599.7971 | 1197756.0992
99 | 2601606.3868 | 1197778.1642
100 | 2601604.8293 | 1197772.9493
101 | 2601611.4294 | 1197752.5892
102 | 2601613.7286 | 1197751.8954
103 | 2601585.2763 | 1198001.0934
104 | 2601551.6965 | 1197976.8937
105 | 2601613.7312 | 1197751.8946
106 | 2601636.24 | 1197745.1027
107 | 2601647.3575 | 1197735.6002
108 | 2601641.8858 | 1197763.6808
109 | 2601656.0222 | 1197759.0239
110 | 2601657.4832 | 1197785.3089
111 | 2601657.3248 | 1197782.8729
112 | 2601497.9529 | 1197862.7531

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1