## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-82_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-82_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-82_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-82_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_355-82_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_355-82_0_6_node_42 | 0.4 | n |  | TRUE
6 | bus_LV_355-82_0_6_node_96 | 0.4 | n |  | TRUE
7 | bus_LV_355-82_0_6_node_74 | 0.4 | n |  | TRUE
8 | bus_LV_355-82_0_6_node_135 | 0.4 | n |  | TRUE
9 | bus_LV_355-82_0_6_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_355-82_0_6_node_145 | 0.4 | n |  | TRUE
11 | bus_LV_355-82_0_6_node_103 | 0.4 | n |  | TRUE
12 | bus_LV_355-82_0_6_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_355-82_0_6_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_355-82_0_6_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_355-82_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_355-82_0_6_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_355-82_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_355-82_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_355-82_0_6_node_62 | 0.4 | n |  | TRUE
20 | bus_LV_355-82_0_6_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_355-82_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_355-82_0_6_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_355-82_0_6_node_65 | 0.4 | n |  | TRUE
24 | bus_LV_355-82_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_355-82_0_6_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_355-82_0_6_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_355-82_0_6_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_355-82_0_6_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_355-82_0_6_node_92 | 0.4 | n |  | TRUE
30 | bus_LV_355-82_0_6_node_71 | 0.4 | n |  | TRUE
31 | bus_LV_355-82_0_6_node_106 | 0.4 | n |  | TRUE
32 | bus_LV_355-82_0_6_node_72 | 0.4 | n |  | TRUE
33 | bus_LV_355-82_0_6_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_355-82_0_6_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_355-82_0_6_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_355-82_0_6_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_355-82_0_6_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_355-82_0_6_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_355-82_0_6_node_97 | 0.4 | n |  | TRUE
40 | bus_LV_355-82_0_6_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_355-82_0_6_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_355-82_0_6_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_355-82_0_6_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_355-82_0_6_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_355-82_0_6_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_355-82_0_6_node_142 | 0.4 | n |  | TRUE
47 | bus_LV_355-82_0_6_node_107 | 0.4 | n |  | TRUE
48 | bus_LV_355-82_0_6_node_108 | 0.4 | n |  | TRUE
49 | bus_LV_355-82_0_6_node_133 | 0.4 | n |  | TRUE
50 | bus_LV_355-82_0_6_node_144 | 0.4 | n |  | TRUE
51 | bus_LV_355-82_0_6_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_355-82_0_6_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_355-82_0_6_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_355-82_0_6_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_355-82_0_6_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_355-82_0_6_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_355-82_0_6_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_355-82_0_6_node_117 | 0.4 | n |  | TRUE
59 | bus_LV_355-82_0_6_node_32 | 0.4 | n |  | TRUE
60 | bus_LV_355-82_0_6_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_355-82_0_6_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_355-82_0_6_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_355-82_0_6_node_100 | 0.4 | n |  | TRUE
64 | bus_LV_355-82_0_6_node_101 | 0.4 | n |  | TRUE
65 | bus_LV_355-82_0_6_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_355-82_0_6_node_38 | 0.4 | n |  | TRUE
67 | bus_LV_355-82_0_6_node_39 | 0.4 | n |  | TRUE
68 | bus_LV_355-82_0_6_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_355-82_0_6_node_119 | 0.4 | n |  | TRUE
70 | bus_LV_355-82_0_6_node_105 | 0.4 | n |  | TRUE
71 | bus_LV_355-82_0_6_node_118 | 0.4 | n |  | TRUE
72 | bus_LV_355-82_0_6_node_104 | 0.4 | n |  | TRUE
73 | bus_LV_355-82_0_6_node_44 | 0.4 | n |  | TRUE
74 | bus_LV_355-82_0_6_node_45 | 0.4 | n |  | TRUE
75 | bus_LV_355-82_0_6_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_355-82_0_6_node_47 | 0.4 | n |  | TRUE
77 | bus_LV_355-82_0_6_node_48 | 0.4 | n |  | TRUE
78 | bus_LV_355-82_0_6_node_49 | 0.4 | n |  | TRUE
79 | bus_LV_355-82_0_6_node_110 | 0.4 | n |  | TRUE
80 | bus_LV_355-82_0_6_node_149 | 0.4 | n |  | TRUE
81 | bus_LV_355-82_0_6_node_109 | 0.4 | n |  | TRUE
82 | bus_LV_355-82_0_6_node_148 | 0.4 | n |  | TRUE
83 | bus_LV_355-82_0_6_node_50 | 0.4 | n |  | TRUE
84 | bus_LV_355-82_0_6_node_52 | 0.4 | n |  | TRUE
85 | bus_LV_355-82_0_6_node_54 | 0.4 | n |  | TRUE
86 | bus_LV_355-82_0_6_node_55 | 0.4 | n |  | TRUE
87 | bus_LV_355-82_0_6_node_56 | 0.4 | n |  | TRUE
88 | bus_LV_355-82_0_6_node_98 | 0.4 | n |  | TRUE
89 | bus_LV_355-82_0_6_node_99 | 0.4 | n |  | TRUE
90 | bus_LV_355-82_0_6_node_57 | 0.4 | n |  | TRUE
91 | bus_LV_355-82_0_6_node_58 | 0.4 | n |  | TRUE
92 | bus_LV_355-82_0_6_node_59 | 0.4 | n |  | TRUE
93 | bus_LV_355-82_0_6_node_61 | 0.4 | n |  | TRUE
94 | bus_LV_355-82_0_6_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_355-82_0_6_node_80 | 0.4 | n |  | TRUE
96 | bus_LV_355-82_0_6_node_67 | 0.4 | n |  | TRUE
97 | bus_LV_355-82_0_6_node_68 | 0.4 | n |  | TRUE
98 | bus_LV_355-82_0_6_node_66 | 0.4 | n |  | TRUE
99 | bus_LV_355-82_0_6_node_85 | 0.4 | n |  | TRUE
100 | bus_LV_355-82_0_6_node_86 | 0.4 | n |  | TRUE
101 | bus_LV_355-82_0_6_node_77 | 0.4 | n |  | TRUE
102 | bus_LV_355-82_0_6_node_78 | 0.4 | n |  | TRUE
103 | bus_LV_355-82_0_6_node_73 | 0.4 | n |  | TRUE
104 | bus_LV_355-82_0_6_node_75 | 0.4 | n |  | TRUE
105 | bus_LV_355-82_0_6_node_76 | 0.4 | n |  | TRUE
106 | bus_LV_355-82_0_6_node_143 | 0.4 | n |  | TRUE
107 | bus_LV_355-82_0_6_node_115 | 0.4 | n |  | TRUE
108 | bus_LV_355-82_0_6_node_116 | 0.4 | n |  | TRUE
109 | bus_LV_355-82_0_6_node_79 | 0.4 | n |  | TRUE
110 | bus_LV_355-82_0_6_node_91 | 0.4 | n |  | TRUE
111 | bus_LV_355-82_0_6_node_87 | 0.4 | n |  | TRUE
112 | bus_LV_355-82_0_6_node_90 | 0.4 | n |  | TRUE
113 | bus_LV_355-82_0_6_node_167 | 0.4 | n |  | TRUE
114 | bus_LV_355-82_0_6_node_166 | 0.4 | n |  | TRUE
115 | bus_LV_355-82_0_6_node_162 | 0.4 | n |  | TRUE
116 | bus_LV_355-82_0_6_node_163 | 0.4 | n |  | TRUE
117 | bus_LV_355-82_0_6_node_88 | 0.4 | n |  | TRUE
118 | bus_LV_355-82_0_6_node_82 | 0.4 | n |  | TRUE
119 | bus_LV_355-82_0_6_node_83 | 0.4 | n |  | TRUE
120 | bus_LV_355-82_0_6_node_84 | 0.4 | n |  | TRUE
121 | bus_LV_355-82_0_6_node_122 | 0.4 | n |  | TRUE
122 | bus_LV_355-82_0_6_node_123 | 0.4 | n |  | TRUE
123 | bus_LV_355-82_0_6_node_89 | 0.4 | n |  | TRUE
124 | bus_LV_355-82_0_6_node_93 | 0.4 | n |  | TRUE
125 | bus_LV_355-82_0_6_node_94 | 0.4 | n |  | TRUE
126 | bus_LV_355-82_0_6_node_95 | 0.4 | n |  | TRUE
127 | bus_LV_355-82_0_6_node_168 | 0.4 | n |  | TRUE
128 | bus_LV_355-82_0_6_node_151 | 0.4 | n |  | TRUE
129 | bus_LV_355-82_0_6_node_140 | 0.4 | n |  | TRUE
130 | bus_LV_355-82_0_6_node_141 | 0.4 | n |  | TRUE
131 | bus_LV_355-82_0_6_node_113 | 0.4 | n |  | TRUE
132 | bus_LV_355-82_0_6_node_114 | 0.4 | n |  | TRUE
133 | bus_LV_355-82_0_6_node_102 | 0.4 | n |  | TRUE
134 | bus_LV_355-82_0_6_node_111 | 0.4 | n |  | TRUE
135 | bus_LV_355-82_0_6_node_112 | 0.4 | n |  | TRUE
136 | bus_LV_355-82_0_6_node_147 | 0.4 | n |  | TRUE
137 | bus_LV_355-82_0_6_node_128 | 0.4 | n |  | TRUE
138 | bus_LV_355-82_0_6_node_126 | 0.4 | n |  | TRUE
139 | bus_LV_355-82_0_6_node_136 | 0.4 | n |  | TRUE
140 | bus_LV_355-82_0_6_node_137 | 0.4 | n |  | TRUE
141 | bus_LV_355-82_0_6_node_120 | 0.4 | n |  | TRUE
142 | bus_LV_355-82_0_6_node_127 | 0.4 | n |  | TRUE
143 | bus_LV_355-82_0_6_node_129 | 0.4 | n |  | TRUE
144 | bus_LV_355-82_0_6_node_125 | 0.4 | n |  | TRUE
145 | bus_LV_355-82_0_6_node_124 | 0.4 | n |  | TRUE
146 | bus_LV_355-82_0_6_node_157 | 0.4 | n |  | TRUE
147 | bus_LV_355-82_0_6_node_155 | 0.4 | n |  | TRUE
148 | bus_LV_355-82_0_6_node_130 | 0.4 | n |  | TRUE
149 | bus_LV_355-82_0_6_node_131 | 0.4 | n |  | TRUE
150 | bus_LV_355-82_0_6_node_132 | 0.4 | n |  | TRUE
151 | bus_LV_355-82_0_6_node_134 | 0.4 | n |  | TRUE
152 | bus_LV_355-82_0_6_node_146 | 0.4 | n |  | TRUE
153 | bus_LV_355-82_0_6_node_138 | 0.4 | n |  | TRUE
154 | bus_LV_355-82_0_6_node_150 | 0.4 | n |  | TRUE
155 | bus_LV_355-82_0_6_node_152 | 0.4 | n |  | TRUE
156 | bus_LV_355-82_0_6_node_153 | 0.4 | n |  | TRUE
157 | bus_LV_355-82_0_6_node_154 | 0.4 | n |  | TRUE
158 | bus_LV_355-82_0_6_node_156 | 0.4 | n |  | TRUE
159 | bus_LV_355-82_0_6_node_159 | 0.4 | n |  | TRUE
160 | bus_LV_355-82_0_6_node_158 | 0.4 | n |  | TRUE
161 | bus_LV_355-82_0_6_node_160 | 0.4 | n |  | TRUE
162 | bus_LV_355-82_0_6_node_161 | 0.4 | n |  | TRUE
163 | bus_LV_355-82_0_6_node_165 | 0.4 | n |  | TRUE
164 | bus_LV_355-82_0_6_node_164 | 0.4 | n |  | TRUE
165 | bus_MV_593_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-82_0_6_load_0 | 0 | 0.003974 | 0.00099599 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-82_0_6_load_1 | 1 | 0.0030597 | 0.00076683 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-82_0_6_load_2 | 2 | 0.0039062 | 0.00097898 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-82_0_6_load_4 | 4 | 0.0033697 | 0.00084452 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-82_0_6_load_135 | 8 | 0.0058863 | 0.0014752 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-82_0_6_load_145 | 10 | 0.0080467 | 0.0020167 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-82_0_6_load_103 | 11 | 0.0031652 | 0.00079328 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-82_0_6_load_35 | 12 | 0.0039459 | 0.00098893 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-82_0_6_load_5 | 13 | 0.005113 | 0.0012814 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-82_0_6_load_6 | 14 | 0.006425 | 0.0016103 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-82_0_6_load_8 | 15 | 0.0036809 | 0.00092251 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-82_0_6_load_9 | 17 | 0.0025326 | 0.00063472 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-82_0_6_load_10 | 18 | 0.003344 | 0.00083808 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-82_0_6_load_62 | 19 | 0.0030496 | 0.0007643 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-82_0_6_load_64 | 20 | 0.0028718 | 0.00071974 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-82_0_6_load_15 | 21 | 0.0050917 | 0.0012761 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-82_0_6_load_63 | 22 | 0.0035648 | 0.00089342 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-82_0_6_load_65 | 23 | 0.0015051 | 0.00037722 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-82_0_6_load_11 | 25 | 0.0028133 | 0.00070509 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-82_0_6_load_12 | 26 | 0.0046567 | 0.0011671 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-82_0_6_load_14 | 27 | 0.0030431 | 0.00076267 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-82_0_6_load_16 | 28 | 0.0031449 | 0.00078818 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-82_0_6_load_92 | 29 | 0.0027165 | 0.00068081 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-82_0_6_load_71 | 30 | 0.0027739 | 0.00069521 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-82_0_6_load_106 | 31 | 0.0035398 | 0.00088715 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-82_0_6_load_72 | 32 | 0.0033599 | 0.00084207 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-82_0_6_load_17 | 33 | 0.0052288 | 0.0013105 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-82_0_6_load_18 | 34 | 0.0032935 | 0.00082542 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-82_0_6_load_20 | 36 | 0.0020808 | 0.0005215 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-82_0_6_load_21 | 37 | 0.0029762 | 0.00074591 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-82_0_6_load_69 | 38 | 0.0029335 | 0.00073521 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-82_0_6_load_97 | 39 | 0.010063 | 0.002522 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-82_0_6_load_22 | 41 | 0.0015051 | 0.00037721 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-82_0_6_load_23 | 42 | 0.0025995 | 0.00065149 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-82_0_6_load_24 | 43 | 0.0030142 | 0.00075544 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-82_0_6_load_25 | 44 | 0.0016794 | 0.0004209 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-82_0_6_load_142 | 46 | 0.0022375 | 0.00056076 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-82_0_6_load_108 | 48 | 0.0032171 | 0.00080628 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-82_0_6_load_133 | 49 | 0.0024834 | 0.0006224 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-82_0_6_load_144 | 50 | 0.0026719 | 0.00066965 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-82_0_6_load_31 | 52 | 0.0024769 | 0.00062077 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-82_0_6_load_27 | 53 | 0.0033759 | 0.00084608 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-82_0_6_load_28 | 54 | 0.0025918 | 0.00064957 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-82_0_6_load_29 | 55 | 0.0024753 | 0.00062036 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-82_0_6_load_30 | 56 | 0.0024645 | 0.00061766 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-82_0_6_load_37 | 57 | 0.0023856 | 0.00059789 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-82_0_6_load_117 | 58 | 0.0028723 | 0.00071987 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-82_0_6_load_32 | 59 | 0.0018596 | 0.00046607 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-82_0_6_load_33 | 60 | 0.0032113 | 0.00080483 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-82_0_6_load_34 | 61 | 0.0020846 | 0.00052246 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-82_0_6_load_36 | 62 | 0.003979 | 0.00099724 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-82_0_6_load_100 | 63 | 0.0020815 | 0.00052166 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-82_0_6_load_101 | 64 | 0.0023842 | 0.00059753 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-82_0_6_load_38 | 66 | 0.0028631 | 0.00071756 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-82_0_6_load_39 | 67 | 0.0014614 | 0.00036626 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-82_0_6_load_41 | 68 | 0.005947 | 0.0014905 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-82_0_6_load_119 | 69 | 0.004854 | 0.0012165 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_355-82_0_6_load_105 | 70 | 0.0028235 | 0.00070764 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_355-82_0_6_load_118 | 71 | 0.0064302 | 0.0016115 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_355-82_0_6_load_104 | 72 | 0.0019226 | 0.00048184 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_355-82_0_6_load_44 | 73 | 0.0058169 | 0.0014578 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_355-82_0_6_load_45 | 74 | 0.0026564 | 0.00066577 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_355-82_0_6_load_47 | 76 | 0.0026885 | 0.00067381 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_355-82_0_6_load_48 | 77 | 0.0040283 | 0.0010096 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_355-82_0_6_load_49 | 78 | 0.0025762 | 0.00064567 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_355-82_0_6_load_110 | 79 | 0.0043997 | 0.0011027 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_355-82_0_6_load_149 | 80 | 0.0026559 | 0.00066563 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_355-82_0_6_load_109 | 81 | 0.006282 | 0.0015744 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_355-82_0_6_load_148 | 82 | 0.0026171 | 0.00065592 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_355-82_0_6_load_50 | 83 | 0.0015392 | 0.00038577 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_355-82_0_6_load_54 | 85 | 0.0014598 | 0.00036586 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_355-82_0_6_load_55 | 86 | 0.0057412 | 0.0014389 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_355-82_0_6_load_56 | 87 | 0.0014949 | 0.00037466 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_355-82_0_6_load_98 | 88 | 0.0025258 | 0.00063304 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_355-82_0_6_load_99 | 89 | 0.0060677 | 0.0015207 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_355-82_0_6_load_57 | 90 | 0.0032082 | 0.00080404 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_355-82_0_6_load_58 | 91 | 0.002888 | 0.00072379 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_355-82_0_6_load_61 | 93 | 0.0074125 | 0.0018577 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_355-82_0_6_load_81 | 94 | 0.0030979 | 0.0007764 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_355-82_0_6_load_80 | 95 | 0.0027778 | 0.00069618 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_355-82_0_6_load_67 | 96 | 0.003706 | 0.00092882 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_355-82_0_6_load_68 | 97 | 0.0031763 | 0.00079606 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_355-82_0_6_load_85 | 99 | 0.0028766 | 0.00072094 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_355-82_0_6_load_77 | 101 | 0.0030585 | 0.00076653 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_355-82_0_6_load_78 | 102 | 0.003538 | 0.00088672 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_355-82_0_6_load_73 | 103 | 0.0029282 | 0.00073388 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_355-82_0_6_load_75 | 104 | 0.004783 | 0.0011987 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_355-82_0_6_load_76 | 105 | 0.0027954 | 0.0007006 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_355-82_0_6_load_143 | 106 | 0.001611 | 0.00040375 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_355-82_0_6_load_115 | 107 | 0.0049168 | 0.0012323 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_355-82_0_6_load_116 | 108 | 0.0026775 | 0.00067104 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_355-82_0_6_load_87 | 111 | 0.0029908 | 0.00074956 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_355-82_0_6_load_166 | 114 | 0.0024295 | 0.00060889 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_355-82_0_6_load_162 | 115 | 0.0019939 | 0.00049971 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_355-82_0_6_load_163 | 116 | 0.0017958 | 0.00045008 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_355-82_0_6_load_88 | 117 | 0.0039838 | 0.00099843 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_355-82_0_6_load_83 | 119 | 0.0044622 | 0.0011183 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_355-82_0_6_load_84 | 120 | 0.0042102 | 0.0010552 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_355-82_0_6_load_122 | 121 | 0.0037299 | 0.00093479 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_355-82_0_6_load_123 | 122 | 0.0024182 | 0.00060606 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_355-82_0_6_load_89 | 123 | 0.0032765 | 0.00082116 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_355-82_0_6_load_94 | 125 | 0.0033324 | 0.00083519 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_355-82_0_6_load_95 | 126 | 0.0032116 | 0.00080491 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_355-82_0_6_load_168 | 127 | 0.0044028 | 0.0011034 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_355-82_0_6_load_151 | 128 | 0.0029796 | 0.00074675 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_355-82_0_6_load_140 | 129 | 0.001939 | 0.00048596 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_355-82_0_6_load_141 | 130 | 0.0031124 | 0.00078005 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_355-82_0_6_load_102 | 133 | 0.0030076 | 0.00075377 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_355-82_0_6_load_111 | 134 | 0.0026133 | 0.00065496 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_355-82_0_6_load_147 | 136 | 0.0026319 | 0.00065962 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_355-82_0_6_load_128 | 137 | 0.0064243 | 0.0016101 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_355-82_0_6_load_126 | 138 | 0.0026269 | 0.00065835 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_355-82_0_6_load_136 | 139 | 0.0025582 | 0.00064114 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_355-82_0_6_load_137 | 140 | 0.0024413 | 0.00061186 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_355-82_0_6_load_120 | 141 | 0.0024261 | 0.00060805 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_355-82_0_6_load_125 | 144 | 0.0027064 | 0.00067829 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_355-82_0_6_load_124 | 145 | 0.0052753 | 0.0013221 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_355-82_0_6_load_157 | 146 | 0.0025401 | 0.00063661 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_355-82_0_6_load_155 | 147 | 0.0024863 | 0.00062314 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_355-82_0_6_load_130 | 148 | 0.0017553 | 0.00043993 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_355-82_0_6_load_131 | 149 | 0.0019933 | 0.00049958 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_355-82_0_6_load_132 | 150 | 0.0015564 | 0.00039008 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_355-82_0_6_load_146 | 152 | 0.003153 | 0.00079022 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_355-82_0_6_load_138 | 153 | 0.0031956 | 0.00080089 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_355-82_0_6_load_150 | 154 | 0.0028716 | 0.00071969 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_355-82_0_6_load_152 | 155 | 0.0050748 | 0.0012719 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_355-82_0_6_load_153 | 156 | 0.0042831 | 0.0010734 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_355-82_0_6_load_156 | 158 | 0.0049817 | 0.0012485 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_355-82_0_6_load_159 | 159 | 0.0039211 | 0.00098272 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_355-82_0_6_load_158 | 160 | 0.0022542 | 0.00056495 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_355-82_0_6_load_160 | 161 | 0.0022932 | 0.00057472 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_355-82_0_6_load_161 | 162 | 0.0038448 | 0.00096361 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_355-82_0_6_load_164 | 164 | 0.0053212 | 0.0013336 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-82_0_6_line_0 |  | 0 | 1 | 0.007986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_355-82_0_6_line_1 |  | 0 | 2 | 0.017527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_355-82_0_6_line_2 |  | 1 | 3 | 0.019316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_355-82_0_6_line_3 |  | 2 | 4 | 0.011319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_355-82_0_6_line_4 |  | 3 | 5 | 0.017612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-82_0_6_line_5 |  | 3 | 6 | 0.014689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_355-82_0_6_line_6 |  | 4 | 7 | 0.021701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_355-82_0_6_line_7 |  | 5 | 8 | 0.0031503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-82_0_6_line_8 |  | 5 | 9 | 0.010259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-82_0_6_line_9 |  | 6 | 10 | 0.0080371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_355-82_0_6_line_10 |  | 7 | 11 | 0.0097418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-82_0_6_line_11 |  | 7 | 12 | 0.0020704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-82_0_6_line_12 |  | 9 | 66 | 0.022987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_355-82_0_6_line_13 |  | 10 | 130 | 0.021562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_355-82_0_6_line_14 |  | 11 | 106 | 0.023376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-82_0_6_line_15 |  | 12 | 60 | 0.0038989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-82_0_6_line_16 |  | 13 | 14 | 0.024693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-82_0_6_line_17 |  | 14 | 15 | 0.00699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-82_0_6_line_18 |  | 15 | 19 | 0.016473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-82_0_6_line_19 |  | 16 | 17 | 0.027085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_355-82_0_6_line_20 |  | 16 | 18 | 0.025493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_355-82_0_6_line_21 |  | 17 | 20 | 0.0013852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-82_0_6_line_22 |  | 18 | 21 | 0.020483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-82_0_6_line_23 |  | 19 | 22 | 0.0085515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-82_0_6_line_24 |  | 20 | 23 | 0.020261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-82_0_6_line_25 |  | 21 | 24 | 0.020926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-82_0_6_line_26 |  | 22 | 96 | 0.0040489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-82_0_6_line_27 |  | 23 | 98 | 0.021376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-82_0_6_line_28 |  | 24 | 28 | 0.01815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-82_0_6_line_29 |  | 24 | 25 | 0.020906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_355-82_0_6_line_30 |  | 25 | 26 | 0.018229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-82_0_6_line_31 |  | 26 | 27 | 0.011923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-82_0_6_line_32 |  | 27 | 29 | 0.019957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-82_0_6_line_33 |  | 28 | 30 | 0.0085559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-82_0_6_line_34 |  | 29 | 31 | 0.0032973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-82_0_6_line_35 |  | 30 | 32 | 0.008983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-82_0_6_line_36 |  | 31 | 126 | 0.007493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-82_0_6_line_37 |  | 32 | 103 | 0.012698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-82_0_6_line_38 |  | 33 | 34 | 0.0185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-82_0_6_line_39 |  | 33 | 35 | 0.036609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-82_0_6_line_40 |  | 34 | 36 | 0.020438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-82_0_6_line_41 |  | 35 | 37 | 0.027831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-82_0_6_line_42 |  | 36 | 38 | 0.020785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-82_0_6_line_43 |  | 37 | 39 | 0.0076495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-82_0_6_line_44 |  | 38 | 40 | 0.010431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-82_0_6_line_45 |  | 40 | 100 | 0.043623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-82_0_6_line_46 |  | 41 | 42 | 0.0097478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_355-82_0_6_line_47 |  | 41 | 43 | 0.00078262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_355-82_0_6_line_48 |  | 42 | 44 | 0.017301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-82_0_6_line_49 |  | 43 | 45 | 0.015725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-82_0_6_line_50 |  | 44 | 46 | 0.0043567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_355-82_0_6_line_51 |  | 45 | 47 | 0.025185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_355-82_0_6_line_52 |  | 45 | 48 | 0.0044862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_355-82_0_6_line_53 |  | 46 | 49 | 0.0027377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_355-82_0_6_line_54 |  | 47 | 50 | 0.014368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_355-82_0_6_line_55 |  | 47 | 51 | 0.006322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-82_0_6_line_56 |  | 48 | 52 | 0.017822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_355-82_0_6_line_57 |  | 49 | 149 | 0.014759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-82_0_6_line_58 |  | 50 | 106 | 0.0018467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-82_0_6_line_59 |  | 51 | 70 | 0.014206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_355-82_0_6_line_60 |  | 52 | 55 | 0.0073373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-82_0_6_line_61 |  | 53 | 54 | 0.0092594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-82_0_6_line_62 |  | 53 | 55 | 0.0089055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_355-82_0_6_line_63 |  | 54 | 56 | 0.0060466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-82_0_6_line_64 |  | 56 | 57 | 0.0084378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-82_0_6_line_65 |  | 57 | 58 | 0.018853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_355-82_0_6_line_66 |  | 58 | 65 | 0.0087246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_355-82_0_6_line_67 |  | 59 | 60 | 0.019209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_355-82_0_6_line_68 |  | 59 | 61 | 0.0042763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_355-82_0_6_line_69 |  | 61 | 62 | 0.002615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_355-82_0_6_line_70 |  | 62 | 63 | 0.012742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_355-82_0_6_line_71 |  | 63 | 64 | 0.014024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-82_0_6_line_72 |  | 64 | 133 | 0.0034644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-82_0_6_line_73 |  | 65 | 94 | 0.016013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_355-82_0_6_line_74 |  | 65 | 91 | 0.015509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_355-82_0_6_line_75 |  | 66 | 67 | 0.0033648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_355-82_0_6_line_76 |  | 67 | 68 | 0.012386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_355-82_0_6_line_77 |  | 68 | 69 | 0.020706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_355-82_0_6_line_78 |  | 69 | 71 | 0.0062684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_355-82_0_6_line_79 |  | 70 | 72 | 0.018223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_355-82_0_6_line_80 |  | 71 | 141 | 0.026701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_355-82_0_6_line_81 |  | 73 | 74 | 0.002398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_355-82_0_6_line_82 |  | 73 | 75 | 0.029744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_355-82_0_6_line_83 |  | 74 | 76 | 0.0090604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_355-82_0_6_line_84 |  | 75 | 77 | 0.0034118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_355-82_0_6_line_85 |  | 75 | 78 | 0.016738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_355-82_0_6_line_86 |  | 76 | 79 | 0.018194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_355-82_0_6_line_87 |  | 78 | 80 | 0.0079585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_355-82_0_6_line_88 |  | 79 | 81 | 0.0026879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_355-82_0_6_line_89 |  | 80 | 82 | 0.021913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_355-82_0_6_line_90 |  | 81 | 134 | 0.0092913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_355-82_0_6_line_91 |  | 82 | 154 | 0.01015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_355-82_0_6_line_92 |  | 83 | 84 | 0.013355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_355-82_0_6_line_93 |  | 84 | 85 | 0.013098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_355-82_0_6_line_94 |  | 84 | 86 | 0.013317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_355-82_0_6_line_95 |  | 85 | 87 | 0.020393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_355-82_0_6_line_96 |  | 86 | 88 | 0.016779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_355-82_0_6_line_97 |  | 88 | 89 | 0.01151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_355-82_0_6_line_98 |  | 89 | 131 | 0.020874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_355-82_0_6_line_99 |  | 90 | 91 | 0.0054284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_355-82_0_6_line_100 |  | 90 | 92 | 0.019057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_355-82_0_6_line_101 |  | 92 | 93 | 0.011839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_355-82_0_6_line_102 |  | 94 | 95 | 0.00098449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_355-82_0_6_line_103 |  | 95 | 118 | 0.010589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_355-82_0_6_line_104 |  | 96 | 97 | 0.019074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_355-82_0_6_line_105 |  | 97 | 101 | 0.0078245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_355-82_0_6_line_106 |  | 98 | 99 | 0.027066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_355-82_0_6_line_107 |  | 99 | 100 | 0.019071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_355-82_0_6_line_108 |  | 101 | 102 | 0.012465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_355-82_0_6_line_109 |  | 102 | 109 | 0.018026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_355-82_0_6_line_110 |  | 103 | 104 | 0.013214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_355-82_0_6_line_111 |  | 104 | 105 | 0.0080074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_355-82_0_6_line_112 |  | 105 | 107 | 0.016812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_355-82_0_6_line_113 |  | 107 | 108 | 0.0054252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_355-82_0_6_line_114 |  | 109 | 110 | 0.020863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
115 | LV_355-82_0_6_line_115 |  | 109 | 111 | 0.019381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
116 | LV_355-82_0_6_line_116 |  | 110 | 114 | 0.009252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_355-82_0_6_line_117 |  | 110 | 115 | 0.028564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
118 | LV_355-82_0_6_line_118 |  | 110 | 116 | 0.011869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_355-82_0_6_line_119 |  | 111 | 117 | 0.014228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
120 | LV_355-82_0_6_line_120 |  | 112 | 113 | 0.091841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_355-82_0_6_line_121 |  | 112 | 114 | 0.018837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_355-82_0_6_line_122 |  | 113 | 127 | 0.054738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_355-82_0_6_line_123 |  | 115 | 128 | 0.0016712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_355-82_0_6_line_124 |  | 117 | 123 | 0.020081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
125 | LV_355-82_0_6_line_125 |  | 118 | 119 | 0.0040083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_355-82_0_6_line_126 |  | 118 | 120 | 0.009209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_355-82_0_6_line_127 |  | 119 | 121 | 0.0078209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_355-82_0_6_line_128 |  | 121 | 122 | 0.0061121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_355-82_0_6_line_129 |  | 122 | 145 | 0.0055307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_355-82_0_6_line_130 |  | 123 | 124 | 0.0042687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
131 | LV_355-82_0_6_line_131 |  | 124 | 125 | 0.022077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
132 | LV_355-82_0_6_line_132 |  | 124 | 126 | 0.013141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_355-82_0_6_line_133 |  | 125 | 129 | 0.01284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
134 | LV_355-82_0_6_line_134 |  | 128 | 154 | 0.0070003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_355-82_0_6_line_135 |  | 129 | 130 | 0.0097878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
136 | LV_355-82_0_6_line_136 |  | 131 | 132 | 0.01576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_355-82_0_6_line_137 |  | 131 | 133 | 0.015294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_355-82_0_6_line_138 |  | 132 | 139 | 0.022814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_355-82_0_6_line_139 |  | 134 | 135 | 0.01307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_355-82_0_6_line_140 |  | 135 | 136 | 0.011265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_355-82_0_6_line_141 |  | 135 | 137 | 0.0051238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_355-82_0_6_line_142 |  | 137 | 138 | 0.011392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_355-82_0_6_line_143 |  | 138 | 144 | 0.010287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_355-82_0_6_line_144 |  | 139 | 140 | 0.0067039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_355-82_0_6_line_145 |  | 140 | 153 | 0.017394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_355-82_0_6_line_146 |  | 142 | 143 | 0.045455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_355-82_0_6_line_147 |  | 142 | 144 | 0.0022796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_355-82_0_6_line_148 |  | 143 | 146 | 0.012384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_355-82_0_6_line_149 |  | 146 | 147 | 0.0055645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_355-82_0_6_line_150 |  | 147 | 156 | 0.021235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_355-82_0_6_line_151 |  | 148 | 149 | 0.001055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_355-82_0_6_line_152 |  | 148 | 150 | 0.0075792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_355-82_0_6_line_153 |  | 150 | 151 | 0.022765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_355-82_0_6_line_154 |  | 151 | 152 | 0.016083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_355-82_0_6_line_155 |  | 155 | 156 | 0.0050033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_355-82_0_6_line_156 |  | 155 | 157 | 0.021526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_355-82_0_6_line_157 |  | 157 | 158 | 0.028191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_355-82_0_6_line_158 |  | 158 | 159 | 0.012262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_355-82_0_6_line_159 |  | 159 | 160 | 0.023241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_355-82_0_6_line_160 |  | 160 | 161 | 0.01129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_355-82_0_6_line_161 |  | 161 | 162 | 0.021521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_355-82_0_6_line_162 |  | 162 | 163 | 0.0060065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_355-82_0_6_line_163 |  | 163 | 164 | 0.0084748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-82_0_6_trafo_1 | 0.63 MVA 20/0.4 kV | 165 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2601276.7718 | 1197845.2946 | 2601276.679 | 1197840.2591 | 2601276.3903 | 1197837.3236
1 | 2601276.7718 | 1197845.2946 | 2601277.0949 | 1197862.8188
2 | 2601273.8201 | 1197818.2023 | 2601275.1667 | 1197824.8839 | 2601276.3903 | 1197837.3236
3 | 2601277.3035 | 1197874.1361 | 2601277.0949 | 1197862.8188
4 | 2601273.8201 | 1197818.2023 | 2601280.2709 | 1197815.3576 | 2601289.4713 | 1197810.09
5 | 2601259.1831 | 1197819.2666 | 2601264.2625 | 1197819.3565 | 2601268.4967 | 1197819.1906 | 2601273.8201 | 1197818.2023
6 | 2601277.7035 | 1197895.8333 | 2601277.3035 | 1197874.1361
7 | 2601289.4713 | 1197810.09 | 2601287.872 | 1197807.3759
8 | 2601294.8765 | 1197818.818 | 2601289.4713 | 1197810.09
9 | 2601259.1831 | 1197819.2666 | 2601258.407 | 1197815.6867 | 2601255.9099 | 1197812.0954
10 | 2601277.7035 | 1197895.8333 | 2601286.3996 | 1197891.4422
11 | 2601277.7035 | 1197895.8333 | 2601277.802 | 1197897.9014
12 | 2601294.8765 | 1197818.818 | 2601300.7484 | 1197816.7625 | 2601317.4269 | 1197815.0511
13 | 2601236.5883 | 1197802.5624 | 2601253.3819 | 1197810.5274 | 2601255.9099 | 1197812.0954 | 2601255.9099 | 1197812.0954
14 | 2601286.3996 | 1197891.4422 | 2601307.2659 | 1197880.9058
15 | 2601277.9875 | 1197901.7958 | 2601277.802 | 1197897.9014
16 | 2601084.6271 | 1197825.593 | 2601090.838 | 1197816.5118 | 2601099.236 | 1197805.6985
17 | 2601103.5235 | 1197800.1779 | 2601099.236 | 1197805.6985
18 | 2601103.5235 | 1197800.1779 | 2601112.4629 | 1197788.6674 | 2601113.7675 | 1197787.2874
19 | 2601070.8573 | 1197849.8818 | 2601043.8165 | 1197848.3349
20 | 2601070.8573 | 1197849.8818 | 2601095.2413 | 1197851.3311 | 2601096.3055 | 1197851.391
21 | 2601042.4336 | 1197848.2558 | 2601043.8165 | 1197848.3349
22 | 2601096.3055 | 1197851.391 | 2601116.7562 | 1197852.5407
23 | 2601119.6421 | 1197781.0731 | 2601113.7675 | 1197787.2874
24 | 2601042.4336 | 1197848.2558 | 2601022.2053 | 1197847.0986
25 | 2601137.6511 | 1197851.761 | 2601120.0366 | 1197852.7251 | 2601116.7562 | 1197852.5407
26 | 2601122.4235 | 1197778.1309 | 2601119.6421 | 1197781.0731
27 | 2601000.9035 | 1197845.357 | 2601010.7576 | 1197846.3479 | 2601021.16 | 1197847.0388 | 2601022.2053 | 1197847.0986
28 | 2601137.6511 | 1197851.761 | 2601155.679 | 1197849.6563
29 | 2601137.6511 | 1197851.761 | 2601139.1294 | 1197846.3473 | 2601141.4608 | 1197840.4668 | 2601143.7994 | 1197836.4651 | 2601146.3619 | 1197832.971
30 | 2601146.3619 | 1197832.971 | 2601146.7016 | 1197832.5079 | 2601159.0509 | 1197819.891
31 | 2601167.391 | 1197811.3703 | 2601159.0509 | 1197819.891
32 | 2601167.391 | 1197811.3703 | 2601181.3509 | 1197797.108
33 | 2601164.1097 | 1197848.2467 | 2601159.4238 | 1197849.2191 | 2601155.679 | 1197849.6563
34 | 2601181.3509 | 1197797.108 | 2601183.6573 | 1197794.7516
35 | 2601164.1097 | 1197848.2467 | 2601172.8045 | 1197846.4423 | 2601172.9035 | 1197846.414
36 | 2601188.8987 | 1197789.3967 | 2601183.6573 | 1197794.7516
37 | 2601185.113 | 1197842.9256 | 2601172.9035 | 1197846.414
38 | 2601135.4897 | 1197895.2258 | 2601121.743 | 1197893.2247 | 2601117.1953 | 1197892.482
39 | 2601167.2866 | 1197911.7094 | 2601161.8958 | 1197907.3839 | 2601149.5911 | 1197898.6882 | 2601146.5376 | 1197897.1757 | 2601140.2476 | 1197895.9183 | 2601135.4897 | 1197895.2258
40 | 2601096.893 | 1197890.4168 | 2601098.8366 | 1197890.7194 | 2601103.8627 | 1197890.8092 | 2601111.3179 | 1197891.522 | 2601117.1953 | 1197892.482
41 | 2601167.2866 | 1197911.7094 | 2601169.7996 | 1197911.6765 | 2601175.1912 | 1197912.0444 | 2601180.7579 | 1197912.4901 | 2601190.8173 | 1197914.3708 | 2601194.8753 | 1197914.9264
42 | 2601096.893 | 1197890.4168 | 2601089.0436 | 1197889.1947 | 2601083.0201 | 1197887.9375 | 2601076.6921 | 1197886.3578 | 2601076.5265 | 1197886.3478
43 | 2601202.4228 | 1197914.9288 | 2601199.3537 | 1197915.5397 | 2601194.8753 | 1197914.9264
44 | 2601066.1146 | 1197885.7223 | 2601076.5265 | 1197886.3478
45 | 2601022.6392 | 1197883.503 | 2601023.7207 | 1197882.8584 | 2601066.1146 | 1197885.7223
46 | 2601349.4168 | 1197884.7611 | 2601357.3537 | 1197879.102
47 | 2601348.7796 | 1197885.2154 | 2601349.4168 | 1197884.7611
48 | 2601372.8576 | 1197871.9697 | 2601367.1879 | 1197873.3623 | 2601364.6214 | 1197874.2511 | 2601362.1308 | 1197875.6958 | 2601357.3537 | 1197879.102
49 | 2601335.9759 | 1197894.3446 | 2601348.7796 | 1197885.2154
50 | 2601372.8576 | 1197871.9697 | 2601377.0885 | 1197870.9305
51 | 2601321.7397 | 1197873.5972 | 2601326.1474 | 1197881.1355 | 2601331.0273 | 1197888.1402 | 2601335.9759 | 1197894.3446
52 | 2601335.9759 | 1197894.3446 | 2601338.8213 | 1197897.813
53 | 2601379.7472 | 1197870.2775 | 2601377.0885 | 1197870.9305
54 | 2601321.7397 | 1197873.5972 | 2601308.9143 | 1197880.0734
55 | 2601318.7861 | 1197868.0047 | 2601321.7397 | 1197873.5972
56 | 2601338.8213 | 1197897.813 | 2601341.7773 | 1197901.4163 | 2601349.3376 | 1197909.122 | 2601351.1456 | 1197910.648
57 | 2601379.7472 | 1197870.2775 | 2601394.0801 | 1197866.757
58 | 2601307.2659 | 1197880.9058 | 2601308.9143 | 1197880.0734
59 | 2601318.7861 | 1197868.0047 | 2601331.4542 | 1197861.575
60 | 2601356.7525 | 1197915.3807 | 2601351.1456 | 1197910.648
61 | 2601363.829 | 1197920.781 | 2601367.87 | 1197923.756 | 2601371.4297 | 1197926.0621
62 | 2601356.7525 | 1197915.3807 | 2601358.5199 | 1197916.8725 | 2601363.829 | 1197920.781
63 | 2601376.5044 | 1197929.3497 | 2601376.5044 | 1197929.3497 | 2601371.4297 | 1197926.0621
64 | 2601384.1249 | 1197932.9725 | 2601376.5044 | 1197929.3497
65 | 2601384.1249 | 1197932.9725 | 2601387.4769 | 1197934.566 | 2601397.6424 | 1197938.3147 | 2601401.7746 | 1197939.5281
66 | 2601410.1457 | 1197941.9861 | 2601401.7746 | 1197939.5281
67 | 2601277.9875 | 1197901.7958 | 2601278.1054 | 1197904.2713 | 2601278.4239 | 1197911.0194 | 2601280.5698 | 1197918.9907 | 2601281.1827 | 1197920.5977
68 | 2601282.7068 | 1197924.5932 | 2601281.1827 | 1197920.5977
69 | 2601282.7068 | 1197924.5932 | 2601283.462 | 1197926.5731 | 2601283.6403 | 1197927.0359
70 | 2601288.2222 | 1197938.9257 | 2601283.6403 | 1197927.0359
71 | 2601293.2652 | 1197952.012 | 2601288.2222 | 1197938.9257
72 | 2601293.2652 | 1197952.012 | 2601294.5109 | 1197955.2447
73 | 2601410.1457 | 1197941.9861 | 2601406.6281 | 1197957.6079
74 | 2601410.1457 | 1197941.9861 | 2601418.2252 | 1197943.3554 | 2601425.4935 | 1197944.1726
75 | 2601320.7742 | 1197814.7076 | 2601317.4269 | 1197815.0511
76 | 2601320.7742 | 1197814.7076 | 2601325.9406 | 1197814.1775 | 2601332.9477 | 1197812.5543
77 | 2601332.9477 | 1197812.5543 | 2601353.12 | 1197807.8815
78 | 2601359.2187 | 1197806.4331 | 2601357.0586 | 1197806.9692 | 2601353.12 | 1197807.8815
79 | 2601348.5076 | 1197855.4227 | 2601338.0093 | 1197858.248 | 2601331.4542 | 1197861.575
80 | 2601359.2187 | 1197806.4331 | 2601385.1334 | 1197800.0015
81 | 2601286.2538 | 1197758.095 | 2601288.5735 | 1197757.4873
82 | 2601257.5868 | 1197766.0045 | 2601266.6193 | 1197763.2382 | 2601286.2538 | 1197758.095
83 | 2601297.3382 | 1197755.1914 | 2601288.5735 | 1197757.4873
84 | 2601257.5868 | 1197766.0045 | 2601259.9751 | 1197768.441
85 | 2601257.5868 | 1197766.0045 | 2601251.0233 | 1197761.0562 | 2601243.9812 | 1197756.2638
86 | 2601314.9383 | 1197750.5811 | 2601297.3382 | 1197755.1914
87 | 2601243.9812 | 1197756.2638 | 2601238.3757 | 1197752.4491 | 2601237.351 | 1197751.8677
88 | 2601314.9383 | 1197750.5811 | 2601317.5384 | 1197749.9
89 | 2601218.2915 | 1197741.055 | 2601237.351 | 1197751.8677
90 | 2601326.5277 | 1197747.5502 | 2601322.893 | 1197748.4974 | 2601317.5384 | 1197749.9
91 | 2601209.2352 | 1197736.4867 | 2601215.0292 | 1197739.2042 | 2601218.2915 | 1197741.055
92 | 2601240.6268 | 1197962.8506 | 2601236.9792 | 1197975.6976
93 | 2601240.6268 | 1197962.8506 | 2601233.8723 | 1197961.6375 | 2601227.7252 | 1197960.5929
94 | 2601240.6268 | 1197962.8506 | 2601247.6782 | 1197964.1082 | 2601253.7189 | 1197965.287
95 | 2601207.6206 | 1197957.1764 | 2601227.7252 | 1197960.5929
96 | 2601253.7189 | 1197965.287 | 2601255.3769 | 1197965.6105 | 2601260.8748 | 1197967.068 | 2601269.6413 | 1197970.4669
97 | 2601280.4638 | 1197974.3448 | 2601278.0304 | 1197973.7194 | 2601269.6413 | 1197970.4669
98 | 2601299.3233 | 1197969.7438 | 2601295.9644 | 1197972.956 | 2601291.9202 | 1197975.3119 | 2601285.9651 | 1197975.3107 | 2601283.635 | 1197975.0101 | 2601281.1906 | 1197974.5316 | 2601280.4638 | 1197974.3448
99 | 2601430.9067 | 1197944.5026 | 2601427.7363 | 1197944.4247 | 2601425.4935 | 1197944.1726
100 | 2601449.9348 | 1197943.974 | 2601443.5151 | 1197944.5618 | 2601436.4177 | 1197944.6379 | 2601430.9067 | 1197944.5026
101 | 2601449.9348 | 1197943.974 | 2601450.6022 | 1197955.7916
102 | 2601406.4119 | 1197958.5683 | 2601406.6281 | 1197957.6079
103 | 2601404.0856 | 1197968.8991 | 2601406.4119 | 1197958.5683
104 | 2601122.4235 | 1197778.1309 | 2601135.5271 | 1197764.2697
105 | 2601140.9023 | 1197758.5837 | 2601135.5271 | 1197764.2697
106 | 2601000.9035 | 1197845.357 | 2601001.2681 | 1197851.2935 | 2601003.2394 | 1197857.8751 | 2601010.5207 | 1197870.122
107 | 2601022.6392 | 1197883.503 | 2601017.5372 | 1197881.9235 | 2601010.5207 | 1197870.122
108 | 2601149.4651 | 1197749.5258 | 2601140.9023 | 1197758.5837
109 | 2601161.0361 | 1197735.7256 | 2601153.7159 | 1197745.0292 | 2601149.4651 | 1197749.5258
110 | 2601185.113 | 1197842.9256 | 2601185.6751 | 1197842.765 | 2601197.5115 | 1197838.3613
111 | 2601197.5115 | 1197838.3613 | 2601200.9069 | 1197837.0981 | 2601204.9328 | 1197835.3609
112 | 2601220.4126 | 1197828.8047 | 2601214.3491 | 1197831.2976 | 2601204.9328 | 1197835.3609
113 | 2601220.4126 | 1197828.8047 | 2601225.4303 | 1197826.7417 | 2601225.4303 | 1197826.7417
114 | 2601161.0361 | 1197735.7256 | 2601170.8086 | 1197725.5775 | 2601175.5235 | 1197720.6758
115 | 2601161.0361 | 1197735.7256 | 2601173.4456 | 1197750.6126
116 | 2601175.5235 | 1197720.6758 | 2601166.9248 | 1197717.261
117 | 2601175.5235 | 1197720.6758 | 2601201.3842 | 1197732.8046
118 | 2601175.5235 | 1197720.6758 | 2601185.1722 | 1197713.7647
119 | 2601173.4456 | 1197750.6126 | 2601180.3142 | 1197758.8526 | 2601182.4691 | 1197761.6112
120 | 2601085.079 | 1197692.0111 | 2601099.8102 | 1197676.3053 | 2601107.808 | 1197667.9689 | 2601142.9172 | 1197702.4601 | 2601150.227 | 1197708.5869
121 | 2601150.227 | 1197708.5869 | 2601163.8727 | 1197716.0489 | 2601166.9248 | 1197717.261
122 | 2601085.079 | 1197692.0111 | 2601076.9213 | 1197700.7144 | 2601058.7173 | 1197718.6209 | 2601046.0227 | 1197730.3359
123 | 2601201.3842 | 1197732.8046 | 2601202.8973 | 1197733.5142
124 | 2601195.3344 | 1197777.008 | 2601189.8769 | 1197771.0942 | 2601182.4691 | 1197761.6112
125 | 2601404.0856 | 1197968.8991 | 2601400.0832 | 1197969.1159
126 | 2601412.6672 | 1197972.0472 | 2601407.5273 | 1197970.8454 | 2601404.0856 | 1197968.8991
127 | 2601392.5414 | 1197967.0623 | 2601392.5414 | 1197967.0623 | 2601399.9962 | 1197969.1206 | 2601400.0832 | 1197969.1159
128 | 2601390.8192 | 1197972.9267 | 2601392.5414 | 1197967.0623
129 | 2601390.8192 | 1197972.9267 | 2601389.2608 | 1197978.2333
130 | 2601198.2294 | 1197780.145 | 2601195.3344 | 1197777.008
131 | 2601198.2294 | 1197780.145 | 2601202.8435 | 1197784.4927 | 2601207.8233 | 1197788.2067 | 2601216.2868 | 1197792.5772
132 | 2601198.2294 | 1197780.145 | 2601192.4711 | 1197785.7469 | 2601188.8987 | 1197789.3967
133 | 2601227.7448 | 1197798.368 | 2601224.7507 | 1197796.9479 | 2601216.2868 | 1197792.5772
134 | 2601209.2352 | 1197736.4867 | 2601202.8973 | 1197733.5142
135 | 2601236.5883 | 1197802.5624 | 2601227.7448 | 1197798.368
136 | 2601299.3233 | 1197969.7438 | 2601301.5453 | 1197977.4817 | 2601302.4957 | 1197985.1305
137 | 2601299.3233 | 1197969.7438 | 2601297.2535 | 1197962.3617 | 2601294.5109 | 1197955.2447
138 | 2601302.4957 | 1197985.1305 | 2601324.5018 | 1197991.1471
139 | 2601339.1757 | 1197744.2541 | 2601326.5277 | 1197747.5502
140 | 2601339.1757 | 1197744.2541 | 2601336.1232 | 1197733.4105
141 | 2601339.1757 | 1197744.2541 | 2601344.178 | 1197743.1446
142 | 2601355.2996 | 1197740.6779 | 2601344.178 | 1197743.1446
143 | 2601355.2996 | 1197740.6779 | 2601365.3421 | 1197738.4505
144 | 2601330.9684 | 1197992.9151 | 2601324.5018 | 1197991.1471
145 | 2601330.9684 | 1197992.9151 | 2601346.0367 | 1197997.0348 | 2601347.7441 | 1197997.5115
146 | 2601356.1995 | 1197693.9977 | 2601357.7219 | 1197697.5554 | 2601367.5676 | 1197737.9569
147 | 2601367.5676 | 1197737.9569 | 2601365.3421 | 1197738.4505
148 | 2601356.1995 | 1197693.9977 | 2601349.7457 | 1197683.4283
149 | 2601346.8458 | 1197678.6791 | 2601349.7457 | 1197683.4283
150 | 2601346.8458 | 1197678.6791 | 2601339.3217 | 1197666.3571 | 2601335.8888 | 1197660.4908
151 | 2601395.1046 | 1197866.5054 | 2601394.0801 | 1197866.757
152 | 2601402.4651 | 1197864.6975 | 2601395.1046 | 1197866.5054
153 | 2601424.5725 | 1197859.2675 | 2601402.4651 | 1197864.6975
154 | 2601424.5725 | 1197859.2675 | 2601428.2568 | 1197874.9226
155 | 2601333.3618 | 1197656.1726 | 2601335.8888 | 1197660.4908
156 | 2601322.4897 | 1197637.5938 | 2601333.3618 | 1197656.1726
157 | 2601322.4897 | 1197637.5938 | 2601297.6338 | 1197650.8949
158 | 2601297.6338 | 1197650.8949 | 2601292.1915 | 1197653.8073 | 2601286.7615 | 1197656.5627
159 | 2601266.0363 | 1197667.0795 | 2601286.7615 | 1197656.5627
160 | 2601255.9685 | 1197672.1883 | 2601266.0363 | 1197667.0795
161 | 2601236.777 | 1197681.9269 | 2601255.9685 | 1197672.1883
162 | 2601231.4207 | 1197684.6449 | 2601236.777 | 1197681.9269
163 | 2601231.4207 | 1197684.6449 | 2601224.1158 | 1197688.9414

## bus_geodata
| x | y | coords
0 | 2601276.7718 | 1197845.2946
1 | 2601276.3903 | 1197837.3236
2 | 2601277.0949 | 1197862.8188
3 | 2601273.8201 | 1197818.2023
4 | 2601277.3035 | 1197874.1361
5 | 2601289.4713 | 1197810.09
6 | 2601259.1831 | 1197819.2666
7 | 2601277.7035 | 1197895.8333
8 | 2601287.872 | 1197807.3759
9 | 2601294.8765 | 1197818.818
10 | 2601255.9099 | 1197812.0954
11 | 2601286.3996 | 1197891.4422
12 | 2601277.802 | 1197897.9014
13 | 2601084.6271 | 1197825.593
14 | 2601099.236 | 1197805.6985
15 | 2601103.5235 | 1197800.1779
16 | 2601070.8573 | 1197849.8818
17 | 2601043.8165 | 1197848.3349
18 | 2601096.3055 | 1197851.391
19 | 2601113.7675 | 1197787.2874
20 | 2601042.4336 | 1197848.2558
21 | 2601116.7562 | 1197852.5407
22 | 2601119.6421 | 1197781.0731
23 | 2601022.2053 | 1197847.0986
24 | 2601137.6511 | 1197851.761
25 | 2601146.3619 | 1197832.971
26 | 2601159.0509 | 1197819.891
27 | 2601167.391 | 1197811.3703
28 | 2601155.679 | 1197849.6563
29 | 2601181.3509 | 1197797.108
30 | 2601164.1097 | 1197848.2467
31 | 2601183.6573 | 1197794.7516
32 | 2601172.9035 | 1197846.414
33 | 2601135.4897 | 1197895.2258
34 | 2601117.1953 | 1197892.482
35 | 2601167.2866 | 1197911.7094
36 | 2601096.893 | 1197890.4168
37 | 2601194.8753 | 1197914.9264
38 | 2601076.5265 | 1197886.3478
39 | 2601202.4228 | 1197914.9288
40 | 2601066.1146 | 1197885.7223
41 | 2601349.4168 | 1197884.7611
42 | 2601357.3537 | 1197879.102
43 | 2601348.7796 | 1197885.2154
44 | 2601372.8576 | 1197871.9697
45 | 2601335.9759 | 1197894.3446
46 | 2601377.0885 | 1197870.9305
47 | 2601321.7397 | 1197873.5972
48 | 2601338.8213 | 1197897.813
49 | 2601379.7472 | 1197870.2775
50 | 2601308.9143 | 1197880.0734
51 | 2601318.7861 | 1197868.0047
52 | 2601351.1456 | 1197910.648
53 | 2601363.829 | 1197920.781
54 | 2601371.4297 | 1197926.0621
55 | 2601356.7525 | 1197915.3807
56 | 2601376.5044 | 1197929.3497
57 | 2601384.1249 | 1197932.9725
58 | 2601401.7746 | 1197939.5281
59 | 2601281.1827 | 1197920.5977
60 | 2601277.9875 | 1197901.7958
61 | 2601282.7068 | 1197924.5932
62 | 2601283.6403 | 1197927.0359
63 | 2601288.2222 | 1197938.9257
64 | 2601293.2652 | 1197952.012
65 | 2601410.1457 | 1197941.9861
66 | 2601317.4269 | 1197815.0511
67 | 2601320.7742 | 1197814.7076
68 | 2601332.9477 | 1197812.5543
69 | 2601353.12 | 1197807.8815
70 | 2601331.4542 | 1197861.575
71 | 2601359.2187 | 1197806.4331
72 | 2601348.5076 | 1197855.4227
73 | 2601286.2538 | 1197758.095
74 | 2601288.5735 | 1197757.4873
75 | 2601257.5868 | 1197766.0045
76 | 2601297.3382 | 1197755.1914
77 | 2601259.9751 | 1197768.441
78 | 2601243.9812 | 1197756.2638
79 | 2601314.9383 | 1197750.5811
80 | 2601237.351 | 1197751.8677
81 | 2601317.5384 | 1197749.9
82 | 2601218.2915 | 1197741.055
83 | 2601236.9792 | 1197975.6976
84 | 2601240.6268 | 1197962.8506
85 | 2601227.7252 | 1197960.5929
86 | 2601253.7189 | 1197965.287
87 | 2601207.6206 | 1197957.1764
88 | 2601269.6413 | 1197970.4669
89 | 2601280.4638 | 1197974.3448
90 | 2601430.9067 | 1197944.5026
91 | 2601425.4935 | 1197944.1726
92 | 2601449.9348 | 1197943.974
93 | 2601450.6022 | 1197955.7916
94 | 2601406.6281 | 1197957.6079
95 | 2601406.4119 | 1197958.5683
96 | 2601122.4235 | 1197778.1309
97 | 2601135.5271 | 1197764.2697
98 | 2601000.9035 | 1197845.357
99 | 2601010.5207 | 1197870.122
100 | 2601022.6392 | 1197883.503
101 | 2601140.9023 | 1197758.5837
102 | 2601149.4651 | 1197749.5258
103 | 2601185.113 | 1197842.9256
104 | 2601197.5115 | 1197838.3613
105 | 2601204.9328 | 1197835.3609
106 | 2601307.2659 | 1197880.9058
107 | 2601220.4126 | 1197828.8047
108 | 2601225.4303 | 1197826.7417
109 | 2601161.0361 | 1197735.7256
110 | 2601175.5235 | 1197720.6758
111 | 2601173.4456 | 1197750.6126
112 | 2601150.227 | 1197708.5869
113 | 2601085.079 | 1197692.0111
114 | 2601166.9248 | 1197717.261
115 | 2601201.3842 | 1197732.8046
116 | 2601185.1722 | 1197713.7647
117 | 2601182.4691 | 1197761.6112
118 | 2601404.0856 | 1197968.8991
119 | 2601400.0832 | 1197969.1159
120 | 2601412.6672 | 1197972.0472
121 | 2601392.5414 | 1197967.0623
122 | 2601390.8192 | 1197972.9267
123 | 2601195.3344 | 1197777.008
124 | 2601198.2294 | 1197780.145
125 | 2601216.2868 | 1197792.5772
126 | 2601188.8987 | 1197789.3967
127 | 2601046.0227 | 1197730.3359
128 | 2601202.8973 | 1197733.5142
129 | 2601227.7448 | 1197798.368
130 | 2601236.5883 | 1197802.5624
131 | 2601299.3233 | 1197969.7438
132 | 2601302.4957 | 1197985.1305
133 | 2601294.5109 | 1197955.2447
134 | 2601326.5277 | 1197747.5502
135 | 2601339.1757 | 1197744.2541
136 | 2601336.1232 | 1197733.4105
137 | 2601344.178 | 1197743.1446
138 | 2601355.2996 | 1197740.6779
139 | 2601324.5018 | 1197991.1471
140 | 2601330.9684 | 1197992.9151
141 | 2601385.1334 | 1197800.0015
142 | 2601367.5676 | 1197737.9569
143 | 2601356.1995 | 1197693.9977
144 | 2601365.3421 | 1197738.4505
145 | 2601389.2608 | 1197978.2333
146 | 2601349.7457 | 1197683.4283
147 | 2601346.8458 | 1197678.6791
148 | 2601395.1046 | 1197866.5054
149 | 2601394.0801 | 1197866.757
150 | 2601402.4651 | 1197864.6975
151 | 2601424.5725 | 1197859.2675
152 | 2601428.2568 | 1197874.9226
153 | 2601347.7441 | 1197997.5115
154 | 2601209.2352 | 1197736.4867
155 | 2601333.3618 | 1197656.1726
156 | 2601335.8888 | 1197660.4908
157 | 2601322.4897 | 1197637.5938
158 | 2601297.6338 | 1197650.8949
159 | 2601286.7615 | 1197656.5627
160 | 2601266.0363 | 1197667.0795
161 | 2601255.9685 | 1197672.1883
162 | 2601236.777 | 1197681.9269
163 | 2601231.4207 | 1197684.6449
164 | 2601224.1158 | 1197688.9414
165 | 2601273.8201 | 1197818.2023

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1