## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-84_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-84_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-84_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-84_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_355-84_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_355-84_0_5_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_355-84_0_5_node_90 | 0.4 | n |  | TRUE
7 | bus_LV_355-84_0_5_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_355-84_0_5_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_355-84_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_355-84_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_355-84_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_355-84_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_355-84_0_5_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_355-84_0_5_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_355-84_0_5_node_83 | 0.4 | n |  | TRUE
16 | bus_LV_355-84_0_5_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_355-84_0_5_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_355-84_0_5_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_355-84_0_5_node_84 | 0.4 | n |  | TRUE
20 | bus_LV_355-84_0_5_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_355-84_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_355-84_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_355-84_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_355-84_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_355-84_0_5_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_355-84_0_5_node_91 | 0.4 | n |  | TRUE
27 | bus_LV_355-84_0_5_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_355-84_0_5_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_355-84_0_5_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_355-84_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_355-84_0_5_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_355-84_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_355-84_0_5_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_355-84_0_5_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_355-84_0_5_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_355-84_0_5_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_355-84_0_5_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_355-84_0_5_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_355-84_0_5_node_80 | 0.4 | n |  | TRUE
40 | bus_LV_355-84_0_5_node_79 | 0.4 | n |  | TRUE
41 | bus_LV_355-84_0_5_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_355-84_0_5_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_355-84_0_5_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_355-84_0_5_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_355-84_0_5_node_92 | 0.4 | n |  | TRUE
46 | bus_LV_355-84_0_5_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_355-84_0_5_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_355-84_0_5_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_355-84_0_5_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_355-84_0_5_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_355-84_0_5_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_355-84_0_5_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_355-84_0_5_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_355-84_0_5_node_93 | 0.4 | n |  | TRUE
55 | bus_LV_355-84_0_5_node_76 | 0.4 | n |  | TRUE
56 | bus_LV_355-84_0_5_node_86 | 0.4 | n |  | TRUE
57 | bus_LV_355-84_0_5_node_88 | 0.4 | n |  | TRUE
58 | bus_LV_355-84_0_5_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_355-84_0_5_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_355-84_0_5_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_355-84_0_5_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_355-84_0_5_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_355-84_0_5_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_355-84_0_5_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_355-84_0_5_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_355-84_0_5_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_355-84_0_5_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_355-84_0_5_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_355-84_0_5_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_355-84_0_5_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_355-84_0_5_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_355-84_0_5_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_355-84_0_5_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_355-84_0_5_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_355-84_0_5_node_95 | 0.4 | n |  | TRUE
76 | bus_LV_355-84_0_5_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_355-84_0_5_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_355-84_0_5_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_355-84_0_5_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_355-84_0_5_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_355-84_0_5_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_355-84_0_5_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_355-84_0_5_node_65 | 0.4 | n |  | TRUE
84 | bus_LV_355-84_0_5_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_355-84_0_5_node_96 | 0.4 | n |  | TRUE
86 | bus_LV_355-84_0_5_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_355-84_0_5_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_355-84_0_5_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_355-84_0_5_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_355-84_0_5_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_355-84_0_5_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_355-84_0_5_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_355-84_0_5_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_355-84_0_5_node_87 | 0.4 | n |  | TRUE
95 | bus_MV_608_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-84_0_5_load_0 | 0 | 0.0026597 | 0.00066658 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-84_0_5_load_1 | 1 | 0.0025544 | 0.00064021 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-84_0_5_load_2 | 2 | 0.0026935 | 0.00067505 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-84_0_5_load_3 | 3 | 0.0026127 | 0.00065481 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-84_0_5_load_4 | 4 | 0.0019937 | 0.00049967 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-84_0_5_load_36 | 5 | 0.0046161 | 0.0011569 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-84_0_5_load_90 | 6 | 0.0020566 | 0.00051544 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-84_0_5_load_35 | 8 | 0.0028609 | 0.00071702 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-84_0_5_load_5 | 9 | 0.0046067 | 0.0011545 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-84_0_5_load_7 | 11 | 0.0023139 | 0.00057991 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-84_0_5_load_83 | 15 | 0.0021053 | 0.00052763 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-84_0_5_load_30 | 18 | 0.0049271 | 0.0012348 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-84_0_5_load_9 | 20 | 0.0097338 | 0.0024395 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-84_0_5_load_10 | 21 | 0.01168 | 0.0029272 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-84_0_5_load_11 | 22 | 0.0093985 | 0.0023555 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-84_0_5_load_12 | 23 | 0.0092779 | 0.0023253 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-84_0_5_load_13 | 24 | 0.010334 | 0.00259 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-84_0_5_load_29 | 25 | 0.009767 | 0.0024478 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-84_0_5_load_91 | 26 | 0.0054612 | 0.0013687 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-84_0_5_load_27 | 27 | 0.021732 | 0.0054465 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-84_0_5_load_14 | 28 | 0.00228 | 0.00057143 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-84_0_5_load_15 | 29 | 0.0039271 | 0.00098423 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-84_0_5_load_16 | 30 | 0.0044031 | 0.0011035 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-84_0_5_load_17 | 31 | 0.0013353 | 0.00033467 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-84_0_5_load_18 | 32 | 0.0095038 | 0.0023819 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-84_0_5_load_40 | 33 | 0.0013381 | 0.00033537 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-84_0_5_load_22 | 34 | 0.011492 | 0.0028802 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-84_0_5_load_39 | 35 | 0.0022807 | 0.00057161 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-84_0_5_load_23 | 36 | 0.011544 | 0.0028933 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-84_0_5_load_19 | 37 | 0.012331 | 0.0030904 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-84_0_5_load_80 | 39 | 0.0021043 | 0.00052738 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-84_0_5_load_79 | 40 | 0.0022004 | 0.00055148 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-84_0_5_load_28 | 42 | 0.015387 | 0.0038565 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-84_0_5_load_38 | 43 | 0.012375 | 0.0031016 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-84_0_5_load_26 | 44 | 0.012238 | 0.0030672 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-84_0_5_load_25 | 46 | 0.012515 | 0.0031366 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-84_0_5_load_32 | 47 | 0.0020318 | 0.00050921 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-84_0_5_load_42 | 49 | 0.003315 | 0.00083082 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-84_0_5_load_59 | 53 | 0.0026077 | 0.00065355 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-84_0_5_load_93 | 54 | 0.096687 | 0.024232 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-84_0_5_load_86 | 56 | 0.0021164 | 0.00053043 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-84_0_5_load_88 | 57 | 0.0027065 | 0.00067831 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-84_0_5_load_44 | 58 | 0.0040115 | 0.0010054 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-84_0_5_load_45 | 59 | 0.0032376 | 0.00081143 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-84_0_5_load_47 | 61 | 0.0023482 | 0.0005885 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-84_0_5_load_68 | 62 | 0.0023061 | 0.00057797 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-84_0_5_load_69 | 63 | 0.0022074 | 0.00055322 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-84_0_5_load_48 | 64 | 0.0029098 | 0.00072926 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-84_0_5_load_49 | 65 | 0.0029161 | 0.00073084 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-84_0_5_load_50 | 66 | 0.002091 | 0.00052404 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-84_0_5_load_56 | 67 | 0.0018946 | 0.00047483 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-84_0_5_load_57 | 68 | 0.0023444 | 0.00058756 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-84_0_5_load_51 | 69 | 0.0022957 | 0.00057536 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-84_0_5_load_52 | 70 | 0.0044183 | 0.0011073 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-84_0_5_load_53 | 71 | 0.0018377 | 0.00046057 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-84_0_5_load_54 | 72 | 0.0022727 | 0.0005696 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-84_0_5_load_55 | 73 | 0.0022752 | 0.00057021 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_355-84_0_5_load_95 | 75 | 0.0025888 | 0.00064881 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_355-84_0_5_load_70 | 76 | 0.0022373 | 0.00056072 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_355-84_0_5_load_64 | 77 | 0.0017307 | 0.00043375 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_355-84_0_5_load_58 | 78 | 0.0019748 | 0.00049493 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_355-84_0_5_load_60 | 79 | 0.0037277 | 0.00093425 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_355-84_0_5_load_78 | 80 | 0.002319 | 0.00058121 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_355-84_0_5_load_77 | 81 | 0.0018778 | 0.00047062 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_355-84_0_5_load_63 | 82 | 0.0023191 | 0.00058121 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_355-84_0_5_load_65 | 83 | 0.0021676 | 0.00054325 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_355-84_0_5_load_67 | 84 | 0.009541 | 0.0023912 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_355-84_0_5_load_96 | 85 | 0.0093295 | 0.0023382 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_355-84_0_5_load_71 | 86 | 0.0023189 | 0.00058118 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_355-84_0_5_load_72 | 87 | 0.0029824 | 0.00074746 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_355-84_0_5_load_73 | 88 | 0.0027708 | 0.00069444 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_355-84_0_5_load_74 | 89 | 0.0062645 | 0.00157 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_355-84_0_5_load_75 | 90 | 0.0040555 | 0.0010164 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_355-84_0_5_load_89 | 91 | 0.0027912 | 0.00069953 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_355-84_0_5_load_82 | 92 | 0.0021615 | 0.00054173 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_355-84_0_5_load_87 | 94 | 0.0022288 | 0.00055858 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-84_0_5_line_0 |  | 0 | 1 | 0.0025385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_355-84_0_5_line_1 |  | 0 | 2 | 0.018939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_355-84_0_5_line_2 |  | 1 | 3 | 0.019858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_355-84_0_5_line_3 |  | 2 | 4 | 0.0020918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_355-84_0_5_line_4 |  | 3 | 5 | 0.00011193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_355-84_0_5_line_5 |  | 4 | 6 | 0.010925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_355-84_0_5_line_6 |  | 5 | 7 | 0.015376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_355-84_0_5_line_7 |  | 6 | 8 | 0.0099609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_355-84_0_5_line_8 |  | 7 | 50 | 0.046743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_355-84_0_5_line_9 |  | 7 | 51 | 0.011426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-84_0_5_line_10 |  | 8 | 48 | 0.0086542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_355-84_0_5_line_11 |  | 9 | 10 | 0.028075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_355-84_0_5_line_12 |  | 10 | 11 | 0.0047472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_355-84_0_5_line_13 |  | 10 | 12 | 0.012403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-84_0_5_line_14 |  | 11 | 13 | 0.013881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_355-84_0_5_line_15 |  | 12 | 14 | 0.014287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-84_0_5_line_16 |  | 12 | 15 | 0.010791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-84_0_5_line_17 |  | 13 | 16 | 0.004425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_355-84_0_5_line_18 |  | 14 | 17 | 0.010989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-84_0_5_line_19 |  | 14 | 18 | 0.02879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_355-84_0_5_line_20 |  | 15 | 19 | 0.016194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_355-84_0_5_line_21 |  | 16 | 49 | 0.02776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-84_0_5_line_22 |  | 16 | 48 | 0.004444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_355-84_0_5_line_23 |  | 17 | 39 | 0.010572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-84_0_5_line_24 |  | 17 | 38 | 0.017279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-84_0_5_line_25 |  | 19 | 56 | 0.017161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-84_0_5_line_26 |  | 19 | 93 | 0.003718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-84_0_5_line_27 |  | 20 | 21 | 0.0083695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-84_0_5_line_28 |  | 20 | 22 | 0.026382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-84_0_5_line_29 |  | 21 | 23 | 8.6852e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_355-84_0_5_line_30 |  | 22 | 24 | 0.0010462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-84_0_5_line_31 |  | 23 | 25 | 0.019996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-84_0_5_line_32 |  | 25 | 26 | 0.080946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-84_0_5_line_33 |  | 25 | 27 | 0.019198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-84_0_5_line_34 |  | 27 | 46 | 0.0093925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-84_0_5_line_35 |  | 28 | 29 | 0.0056779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_355-84_0_5_line_36 |  | 28 | 30 | 0.028688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_355-84_0_5_line_37 |  | 29 | 31 | 0.010692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_355-84_0_5_line_38 |  | 30 | 32 | 0.029821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_355-84_0_5_line_39 |  | 31 | 33 | 0.0064412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_355-84_0_5_line_40 |  | 32 | 34 | 0.027015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_355-84_0_5_line_41 |  | 33 | 35 | 0.020963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_355-84_0_5_line_42 |  | 34 | 36 | 0.025943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_355-84_0_5_line_43 |  | 35 | 50 | 0.031471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_355-84_0_5_line_44 |  | 36 | 41 | 0.038379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_355-84_0_5_line_45 |  | 37 | 38 | 0.029307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-84_0_5_line_46 |  | 39 | 40 | 0.0078894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_355-84_0_5_line_47 |  | 41 | 42 | 0.00061926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_355-84_0_5_line_48 |  | 41 | 43 | 0.0094713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-84_0_5_line_49 |  | 42 | 44 | 0.0097714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_355-84_0_5_line_50 |  | 43 | 45 | 0.0024107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_355-84_0_5_line_51 |  | 44 | 46 | 0.0096003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_355-84_0_5_line_52 |  | 45 | 54 | 0.025242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_355-84_0_5_line_53 |  | 47 | 48 | 0.010034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_355-84_0_5_line_54 |  | 51 | 52 | 0.03463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_355-84_0_5_line_55 |  | 51 | 53 | 0.030753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-84_0_5_line_56 |  | 52 | 80 | 0.012946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_355-84_0_5_line_57 |  | 52 | 74 | 0.028148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-84_0_5_line_58 |  | 53 | 79 | 0.0013794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-84_0_5_line_59 |  | 55 | 56 | 0.0097051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_355-84_0_5_line_60 |  | 55 | 57 | 0.014963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-84_0_5_line_61 |  | 57 | 91 | 0.011373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-84_0_5_line_62 |  | 58 | 59 | 0.02525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_355-84_0_5_line_63 |  | 58 | 60 | 0.0461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-84_0_5_line_64 |  | 60 | 61 | 0.04125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-84_0_5_line_65 |  | 61 | 62 | 0.00022515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_355-84_0_5_line_66 |  | 62 | 63 | 0.00014061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_355-84_0_5_line_67 |  | 63 | 76 | 0.00029079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_355-84_0_5_line_68 |  | 64 | 65 | 0.015974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_355-84_0_5_line_69 |  | 65 | 66 | 0.0079326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_355-84_0_5_line_70 |  | 66 | 67 | 0.0028774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_355-84_0_5_line_71 |  | 67 | 68 | 0.0034384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-84_0_5_line_72 |  | 68 | 78 | 0.002641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-84_0_5_line_73 |  | 69 | 70 | 0.0042643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_355-84_0_5_line_74 |  | 69 | 71 | 0.0070487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_355-84_0_5_line_75 |  | 70 | 72 | 0.0020964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_355-84_0_5_line_76 |  | 71 | 73 | 0.0070525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_355-84_0_5_line_77 |  | 72 | 74 | 0.018124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_355-84_0_5_line_78 |  | 73 | 75 | 0.0021084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_355-84_0_5_line_79 |  | 74 | 76 | 0.017494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_355-84_0_5_line_80 |  | 74 | 77 | 0.025019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_355-84_0_5_line_81 |  | 75 | 78 | 0.004044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_355-84_0_5_line_82 |  | 77 | 82 | 0.0070207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_355-84_0_5_line_83 |  | 80 | 81 | 0.0065105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_355-84_0_5_line_84 |  | 81 | 90 | 0.018434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_355-84_0_5_line_85 |  | 82 | 83 | 0.0060121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_355-84_0_5_line_86 |  | 83 | 84 | 0.0059912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_355-84_0_5_line_87 |  | 84 | 85 | 0.006105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_355-84_0_5_line_88 |  | 86 | 87 | 0.00719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_355-84_0_5_line_89 |  | 86 | 88 | 0.018077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_355-84_0_5_line_90 |  | 87 | 89 | 0.0081834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_355-84_0_5_line_91 |  | 88 | 90 | 0.0038466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_355-84_0_5_line_92 |  | 92 | 93 | 0.0049006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_355-84_0_5_line_93 |  | 93 | 94 | 0.013326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-84_0_5_trafo_5 | 0.63 MVA 20/0.4 kV | 95 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2598574.4583 | 1197057.4724 | 2598576.1458 | 1197059.3687
1 | 2598574.4583 | 1197057.4724 | 2598572.4529 | 1197055.219 | 2598562.2338 | 1197043.0088
2 | 2598589.347 | 1197074.203 | 2598576.1458 | 1197059.3687
3 | 2598562.2338 | 1197043.0088 | 2598560.8913 | 1197041.4046
4 | 2598589.4214 | 1197074.2866 | 2598589.347 | 1197074.203
5 | 2598553.8798 | 1197033.027 | 2598560.8913 | 1197041.4046
6 | 2598599.6432 | 1197085.7729 | 2598589.4214 | 1197074.2866
7 | 2598547.4868 | 1197025.3884 | 2598553.8798 | 1197033.027
8 | 2598561.5533 | 1197112.8524 | 2598565.7187 | 1197110.2277 | 2598599.6432 | 1197085.7729
9 | 2598609.0782 | 1197079.2894 | 2598599.6432 | 1197085.7729
10 | 2598541.9324 | 1197018.7518 | 2598547.4868 | 1197025.3884
11 | 2598528.1559 | 1196995.0983 | 2598514.6918 | 1197001.7831 | 2598512.2393 | 1197001.7837 | 2598509.5809 | 1197000.7617 | 2598506.3572 | 1196993.7231
12 | 2598528.1559 | 1196995.0983 | 2598530.2901 | 1196999.3387
13 | 2598522.5854 | 1196984.016 | 2598524.2238 | 1196987.2729 | 2598528.1559 | 1196995.0983
14 | 2598536.5306 | 1197011.7383 | 2598530.2901 | 1196999.3387
15 | 2598522.5854 | 1196984.016 | 2598516.1462 | 1196971.2554
16 | 2598522.5854 | 1196984.016 | 2598526.8729 | 1196982.0139 | 2598529.386 | 1196980.7681 | 2598532.298 | 1196979.3159
17 | 2598538.9612 | 1197015.4396 | 2598536.5306 | 1197011.7383
18 | 2598516.1462 | 1196971.2554 | 2598511.2157 | 1196961.4292
19 | 2598516.1462 | 1196971.2554 | 2598499.6889 | 1196978.4746 | 2598497.3123 | 1196977.5748 | 2598493.6509 | 1196970.1509
20 | 2598546.9246 | 1196972.3703 | 2598537.5879 | 1196976.6749 | 2598535.6307 | 1196977.6537 | 2598532.298 | 1196979.3159
21 | 2598538.9612 | 1197015.4396 | 2598526.0233 | 1197024.4144 | 2598523.7384 | 1197024.7596 | 2598521.6514 | 1197024.171 | 2598519.9295 | 1197021.9147 | 2598517.4454 | 1197017.9286
22 | 2598538.9612 | 1197015.4396 | 2598541.9324 | 1197018.7518
23 | 2598511.2157 | 1196961.4292 | 2598520.6817 | 1196956.7206
24 | 2598511.2157 | 1196961.4292 | 2598503.4429 | 1196945.9897
25 | 2598546.9246 | 1196972.3703 | 2598554.6104 | 1196987.7137
26 | 2598546.9246 | 1196972.3703 | 2598545.2557 | 1196969.0467
27 | 2598453.8631 | 1197032.7503 | 2598450.2048 | 1197025.2227
28 | 2598453.8631 | 1197032.7503 | 2598465.3945 | 1197056.4783
29 | 2598450.1668 | 1197025.1446 | 2598450.2048 | 1197025.2227
30 | 2598465.8518 | 1197057.4193 | 2598465.3945 | 1197056.4783
31 | 2598441.4267 | 1197007.1603 | 2598450.1668 | 1197025.1446
32 | 2598441.4267 | 1197007.1603 | 2598367.1939 | 1197039.4372
33 | 2598441.4267 | 1197007.1603 | 2598433.0354 | 1196989.8937
34 | 2598433.0354 | 1196989.8937 | 2598428.9299 | 1196981.446
35 | 2598512.5855 | 1197055.7214 | 2598516.2805 | 1197060.0325
36 | 2598494.1487 | 1197033.7481 | 2598498.6691 | 1197039.4851 | 2598512.5855 | 1197055.7214
37 | 2598516.2805 | 1197060.0325 | 2598523.2385 | 1197068.1503
38 | 2598494.1487 | 1197033.7481 | 2598491.4616 | 1197030.3377 | 2598485.3433 | 1197021.5236 | 2598478.5691 | 1197008.422
39 | 2598527.4303 | 1197073.0409 | 2598523.2385 | 1197068.1503
40 | 2598466.161 | 1196984.4247 | 2598478.5691 | 1197008.422
41 | 2598541.0728 | 1197088.9577 | 2598527.4303 | 1197073.0409
42 | 2598454.089 | 1196961.4729 | 2598454.9685 | 1196962.7782 | 2598466.161 | 1196984.4247
43 | 2598561.5533 | 1197112.8524 | 2598541.0728 | 1197088.9577
44 | 2598420.1918 | 1196963.4659 | 2598437.5018 | 1196955.1567 | 2598440.533 | 1196954.5111 | 2598443.8462 | 1196954.6992 | 2598446.9463 | 1196955.4654 | 2598450.039 | 1196956.9209 | 2598452.355 | 1196958.8991 | 2598454.089 | 1196961.4729
45 | 2598503.4429 | 1196945.9897 | 2598486.0414 | 1196954.2543 | 2598483.6875 | 1196952.6207 | 2598480.412 | 1196946.2344
46 | 2598527.7455 | 1196953.2069 | 2598520.6817 | 1196956.7206
47 | 2598420.1918 | 1196963.4659 | 2598420.4625 | 1196964.0229
48 | 2598420.1918 | 1196963.4659 | 2598415.8668 | 1196955.0398
49 | 2598424.7336 | 1196972.8113 | 2598420.4625 | 1196964.0229
50 | 2598414.766 | 1196952.8951 | 2598415.8668 | 1196955.0398
51 | 2598424.7336 | 1196972.8113 | 2598428.9299 | 1196981.446
52 | 2598414.766 | 1196952.8951 | 2598403.2466 | 1196930.4351
53 | 2598541.9324 | 1197018.7518 | 2598534.3092 | 1197025.2756
54 | 2598609.0782 | 1197079.2894 | 2598636.7205 | 1197058.3271
55 | 2598609.0782 | 1197079.2894 | 2598629.1364 | 1197102.6005
56 | 2598636.7205 | 1197058.3271 | 2598628.4375 | 1197048.3771
57 | 2598660.2437 | 1197042.7687 | 2598636.7205 | 1197058.3271
58 | 2598629.1364 | 1197102.6005 | 2598630.0361 | 1197103.6461
59 | 2598558.9571 | 1196996.3911 | 2598554.6104 | 1196987.7137
60 | 2598558.9571 | 1196996.3911 | 2598569.9243 | 1196986.2129
61 | 2598578.2602 | 1196978.4767 | 2598569.9243 | 1196986.2129
62 | 2598747.2312 | 1197049.123 | 2598755.4205 | 1197054.7645 | 2598767.0717 | 1197064.6903
63 | 2598710.3926 | 1197021.4902 | 2598717.2183 | 1197027.5586 | 2598729.399 | 1197036.8385 | 2598747.2312 | 1197049.123
64 | 2598710.3926 | 1197021.4902 | 2598707.7271 | 1197022.6136 | 2598690.1178 | 1197021.6394 | 2598685.4108 | 1197021.3848 | 2598682.7375 | 1197021.6411 | 2598672.2814 | 1197029.8964
65 | 2598672.1047 | 1197030.036 | 2598672.2814 | 1197029.8964
66 | 2598671.9943 | 1197030.1231 | 2598672.1047 | 1197030.036
67 | 2598671.7661 | 1197030.3033 | 2598671.9943 | 1197030.1231
68 | 2598711.7868 | 1197100.7615 | 2598701.0096 | 1197089.4841 | 2598700.762 | 1197089.2029
69 | 2598700.762 | 1197089.2029 | 2598695.5201 | 1197083.249
70 | 2598693.6188 | 1197081.0894 | 2598695.5201 | 1197083.249
71 | 2598693.6188 | 1197081.0894 | 2598691.3467 | 1197078.5086
72 | 2598691.3467 | 1197078.5086 | 2598689.6015 | 1197076.5264
73 | 2598676.2178 | 1197061.3249 | 2598673.3999 | 1197058.1243
74 | 2598676.2178 | 1197061.3249 | 2598680.8756 | 1197066.6153
75 | 2598673.3999 | 1197058.1243 | 2598672.6999 | 1197057.3291 | 2598672.0258 | 1197056.5411
76 | 2598680.8756 | 1197066.6153 | 2598685.5359 | 1197071.9087
77 | 2598660.2437 | 1197042.7687 | 2598672.0258 | 1197056.5411
78 | 2598686.9291 | 1197073.4911 | 2598685.5359 | 1197071.9087
79 | 2598660.2437 | 1197042.7687 | 2598662.0933 | 1197037.9435 | 2598664.3245 | 1197036.1754 | 2598665.878 | 1197034.9521 | 2598671.7661 | 1197030.3033
80 | 2598660.2437 | 1197042.7687 | 2598645.1703 | 1197022.7998
81 | 2598686.9291 | 1197073.4911 | 2598689.6015 | 1197076.5264
82 | 2598640.9405 | 1197017.1963 | 2598645.1703 | 1197022.7998
83 | 2598624.2722 | 1197043.3734 | 2598628.4375 | 1197048.3771
84 | 2598624.2722 | 1197043.3734 | 2598612.4784 | 1197029.2059
85 | 2598640.9405 | 1197017.1963 | 2598637.3185 | 1197012.3978
86 | 2598637.3185 | 1197012.3978 | 2598633.7089 | 1197007.616
87 | 2598633.7089 | 1197007.616 | 2598630.0309 | 1197002.7434
88 | 2598598.4521 | 1197012.3567 | 2598593.8521 | 1197006.8308
89 | 2598598.4521 | 1197012.3567 | 2598610.0174 | 1197026.2496
90 | 2598588.6165 | 1197000.5414 | 2598593.8521 | 1197006.8308
91 | 2598612.4784 | 1197029.2059 | 2598610.0174 | 1197026.2496
92 | 2598545.2557 | 1196969.0467 | 2598543.0607 | 1196964.6652
93 | 2598553.2436 | 1196961.8631 | 2598554.5619 | 1196964.5975 | 2598545.2557 | 1196969.0467

## bus_geodata
| x | y | coords
0 | 2598574.4583 | 1197057.4724
1 | 2598576.1458 | 1197059.3687
2 | 2598562.2338 | 1197043.0088
3 | 2598589.347 | 1197074.203
4 | 2598560.8913 | 1197041.4046
5 | 2598589.4214 | 1197074.2866
6 | 2598553.8798 | 1197033.027
7 | 2598599.6432 | 1197085.7729
8 | 2598547.4868 | 1197025.3884
9 | 2598506.3572 | 1196993.7231
10 | 2598528.1559 | 1196995.0983
11 | 2598530.2901 | 1196999.3387
12 | 2598522.5854 | 1196984.016
13 | 2598536.5306 | 1197011.7383
14 | 2598516.1462 | 1196971.2554
15 | 2598532.298 | 1196979.3159
16 | 2598538.9612 | 1197015.4396
17 | 2598511.2157 | 1196961.4292
18 | 2598493.6509 | 1196970.1509
19 | 2598546.9246 | 1196972.3703
20 | 2598453.8631 | 1197032.7503
21 | 2598450.2048 | 1197025.2227
22 | 2598465.3945 | 1197056.4783
23 | 2598450.1668 | 1197025.1446
24 | 2598465.8518 | 1197057.4193
25 | 2598441.4267 | 1197007.1603
26 | 2598367.1939 | 1197039.4372
27 | 2598433.0354 | 1196989.8937
28 | 2598512.5855 | 1197055.7214
29 | 2598516.2805 | 1197060.0325
30 | 2598494.1487 | 1197033.7481
31 | 2598523.2385 | 1197068.1503
32 | 2598478.5691 | 1197008.422
33 | 2598527.4303 | 1197073.0409
34 | 2598466.161 | 1196984.4247
35 | 2598541.0728 | 1197088.9577
36 | 2598454.089 | 1196961.4729
37 | 2598480.412 | 1196946.2344
38 | 2598503.4429 | 1196945.9897
39 | 2598520.6817 | 1196956.7206
40 | 2598527.7455 | 1196953.2069
41 | 2598420.1918 | 1196963.4659
42 | 2598420.4625 | 1196964.0229
43 | 2598415.8668 | 1196955.0398
44 | 2598424.7336 | 1196972.8113
45 | 2598414.766 | 1196952.8951
46 | 2598428.9299 | 1196981.446
47 | 2598534.3092 | 1197025.2756
48 | 2598541.9324 | 1197018.7518
49 | 2598517.4454 | 1197017.9286
50 | 2598561.5533 | 1197112.8524
51 | 2598609.0782 | 1197079.2894
52 | 2598636.7205 | 1197058.3271
53 | 2598629.1364 | 1197102.6005
54 | 2598403.2466 | 1196930.4351
55 | 2598558.9571 | 1196996.3911
56 | 2598554.6104 | 1196987.7137
57 | 2598569.9243 | 1196986.2129
58 | 2598747.2312 | 1197049.123
59 | 2598767.0717 | 1197064.6903
60 | 2598710.3926 | 1197021.4902
61 | 2598672.2814 | 1197029.8964
62 | 2598672.1047 | 1197030.036
63 | 2598671.9943 | 1197030.1231
64 | 2598711.7868 | 1197100.7615
65 | 2598700.762 | 1197089.2029
66 | 2598695.5201 | 1197083.249
67 | 2598693.6188 | 1197081.0894
68 | 2598691.3467 | 1197078.5086
69 | 2598676.2178 | 1197061.3249
70 | 2598673.3999 | 1197058.1243
71 | 2598680.8756 | 1197066.6153
72 | 2598672.0258 | 1197056.5411
73 | 2598685.5359 | 1197071.9087
74 | 2598660.2437 | 1197042.7687
75 | 2598686.9291 | 1197073.4911
76 | 2598671.7661 | 1197030.3033
77 | 2598645.1703 | 1197022.7998
78 | 2598689.6015 | 1197076.5264
79 | 2598630.0361 | 1197103.6461
80 | 2598628.4375 | 1197048.3771
81 | 2598624.2722 | 1197043.3734
82 | 2598640.9405 | 1197017.1963
83 | 2598637.3185 | 1197012.3978
84 | 2598633.7089 | 1197007.616
85 | 2598630.0309 | 1197002.7434
86 | 2598598.4521 | 1197012.3567
87 | 2598593.8521 | 1197006.8308
88 | 2598610.0174 | 1197026.2496
89 | 2598588.6165 | 1197000.5414
90 | 2598612.4784 | 1197029.2059
91 | 2598578.2602 | 1196978.4767
92 | 2598543.0607 | 1196964.6652
93 | 2598545.2557 | 1196969.0467
94 | 2598553.2436 | 1196961.8631
95 | 2598505.9 | 1196992.725

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1