## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-87_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_355-87_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_355-87_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_355-87_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_355-87_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_355-87_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_355-87_0_5_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_355-87_0_5_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_355-87_0_5_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_355-87_0_5_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_355-87_0_5_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_355-87_0_5_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_355-87_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_355-87_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_355-87_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_355-87_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_355-87_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_355-87_0_5_node_91 | 0.4 | n |  | TRUE
18 | bus_LV_355-87_0_5_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_355-87_0_5_node_95 | 0.4 | n |  | TRUE
20 | bus_LV_355-87_0_5_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_355-87_0_5_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_355-87_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_355-87_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_355-87_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_355-87_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_355-87_0_5_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_355-87_0_5_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_355-87_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_355-87_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_355-87_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_355-87_0_5_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_355-87_0_5_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_355-87_0_5_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_355-87_0_5_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_355-87_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_355-87_0_5_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_355-87_0_5_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_355-87_0_5_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_355-87_0_5_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_355-87_0_5_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_355-87_0_5_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_355-87_0_5_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_355-87_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_355-87_0_5_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_355-87_0_5_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_355-87_0_5_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_355-87_0_5_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_355-87_0_5_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_355-87_0_5_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_355-87_0_5_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_355-87_0_5_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_355-87_0_5_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_355-87_0_5_node_97 | 0.4 | n |  | TRUE
54 | bus_LV_355-87_0_5_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_355-87_0_5_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_355-87_0_5_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_355-87_0_5_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_355-87_0_5_node_77 | 0.4 | n |  | TRUE
59 | bus_LV_355-87_0_5_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_355-87_0_5_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_355-87_0_5_node_81 | 0.4 | n |  | TRUE
62 | bus_LV_355-87_0_5_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_355-87_0_5_node_75 | 0.4 | n |  | TRUE
64 | bus_LV_355-87_0_5_node_84 | 0.4 | n |  | TRUE
65 | bus_LV_355-87_0_5_node_82 | 0.4 | n |  | TRUE
66 | bus_LV_355-87_0_5_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_355-87_0_5_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_355-87_0_5_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_355-87_0_5_node_86 | 0.4 | n |  | TRUE
70 | bus_LV_355-87_0_5_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_355-87_0_5_node_93 | 0.4 | n |  | TRUE
72 | bus_LV_355-87_0_5_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_355-87_0_5_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_355-87_0_5_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_355-87_0_5_node_89 | 0.4 | n |  | TRUE
76 | bus_LV_355-87_0_5_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_355-87_0_5_node_90 | 0.4 | n |  | TRUE
78 | bus_LV_355-87_0_5_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_355-87_0_5_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_355-87_0_5_node_43 | 0.4 | n |  | TRUE
81 | bus_LV_355-87_0_5_node_44 | 0.4 | n |  | TRUE
82 | bus_LV_355-87_0_5_node_46 | 0.4 | n |  | TRUE
83 | bus_LV_355-87_0_5_node_51 | 0.4 | n |  | TRUE
84 | bus_LV_355-87_0_5_node_53 | 0.4 | n |  | TRUE
85 | bus_LV_355-87_0_5_node_57 | 0.4 | n |  | TRUE
86 | bus_LV_355-87_0_5_node_58 | 0.4 | n |  | TRUE
87 | bus_LV_355-87_0_5_node_63 | 0.4 | n |  | TRUE
88 | bus_LV_355-87_0_5_node_65 | 0.4 | n |  | TRUE
89 | bus_LV_355-87_0_5_node_67 | 0.4 | n |  | TRUE
90 | bus_LV_355-87_0_5_node_96 | 0.4 | n |  | TRUE
91 | bus_LV_355-87_0_5_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_355-87_0_5_node_94 | 0.4 | n |  | TRUE
93 | bus_MV_608_0_node_125 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-87_0_5_load_0 | 0 | 0.0038469 | 0.00096412 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-87_0_5_load_1 | 1 | 0.0032892 | 0.00082436 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-87_0_5_load_3 | 3 | 0.0043845 | 0.0010989 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-87_0_5_load_4 | 4 | 0.0040101 | 0.001005 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-87_0_5_load_5 | 5 | 0.0010826 | 0.00027131 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-87_0_5_load_20 | 6 | 0.012589 | 0.0031552 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-87_0_5_load_47 | 8 | 0.0074604 | 0.0018697 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-87_0_5_load_50 | 9 | 0.0089668 | 0.0022473 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-87_0_5_load_48 | 10 | 0.0083213 | 0.0020855 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-87_0_5_load_45 | 11 | 0.0018223 | 0.00045672 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-87_0_5_load_6 | 12 | 0.0076103 | 0.0019073 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-87_0_5_load_7 | 13 | 0.0065155 | 0.0016329 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-87_0_5_load_8 | 14 | 0.0064784 | 0.0016236 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-87_0_5_load_10 | 16 | 0.0083804 | 0.0021003 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-87_0_5_load_91 | 17 | 0.0048146 | 0.0012067 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-87_0_5_load_95 | 19 | 0.0063646 | 0.0015951 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-87_0_5_load_11 | 21 | 0.0052301 | 0.0013108 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-87_0_5_load_12 | 22 | 0.0016569 | 0.00041526 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-87_0_5_load_14 | 24 | 0.011333 | 0.0028403 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-87_0_5_load_15 | 25 | 0.0068826 | 0.0017249 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-87_0_5_load_16 | 26 | 0.0035658 | 0.00089367 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-87_0_5_load_17 | 28 | 0.0042765 | 0.0010718 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-87_0_5_load_18 | 29 | 0.0062255 | 0.0015602 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-87_0_5_load_19 | 30 | 0.0043469 | 0.0010894 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-87_0_5_load_21 | 31 | 0.0044519 | 0.0011157 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-87_0_5_load_27 | 32 | 0.0037065 | 0.00092894 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-87_0_5_load_22 | 34 | 0.0038585 | 0.00096704 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-87_0_5_load_23 | 35 | 0.0040323 | 0.0010106 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-87_0_5_load_24 | 36 | 0.0035639 | 0.0008932 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-87_0_5_load_25 | 37 | 0.003241 | 0.00081227 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-87_0_5_load_26 | 38 | 0.0023198 | 0.0005814 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-87_0_5_load_42 | 39 | 0.0039355 | 0.00098633 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-87_0_5_load_52 | 42 | 0.0030561 | 0.00076592 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-87_0_5_load_66 | 44 | 0.012544 | 0.0031437 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-87_0_5_load_92 | 48 | 0.001674 | 0.00041954 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-87_0_5_load_59 | 51 | 0.014032 | 0.0035167 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-87_0_5_load_76 | 52 | 0.014173 | 0.003552 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-87_0_5_load_97 | 53 | 0.00092332 | 0.00023141 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-87_0_5_load_70 | 56 | 0.023359 | 0.0058544 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-87_0_5_load_77 | 58 | 0.023508 | 0.0058917 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-87_0_5_load_81 | 61 | 0.008946 | 0.0022421 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-87_0_5_load_78 | 62 | 0.0035182 | 0.00088175 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-87_0_5_load_84 | 64 | 0.011908 | 0.0029845 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-87_0_5_load_82 | 65 | 0.0079778 | 0.0019994 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-87_0_5_load_64 | 67 | 0.057398 | 0.014385 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-87_0_5_load_85 | 68 | 0.017805 | 0.0044622 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-87_0_5_load_93 | 71 | 0.001726 | 0.00043257 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-87_0_5_load_79 | 72 | 0.01588 | 0.00398 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-87_0_5_load_73 | 73 | 0.014164 | 0.0035498 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-87_0_5_load_74 | 74 | 0.016317 | 0.0040893 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-87_0_5_load_89 | 75 | 0.0010397 | 0.00026058 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-87_0_5_load_87 | 76 | 0.00071122 | 0.00017825 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-87_0_5_load_83 | 79 | 0.011242 | 0.0028176 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-87_0_5_load_43 | 80 | 0.0032171 | 0.00080628 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-87_0_5_load_44 | 81 | 0.0059068 | 0.0014804 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-87_0_5_load_46 | 82 | 0.0031265 | 0.00078356 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-87_0_5_load_51 | 83 | 0.0040087 | 0.0010047 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_355-87_0_5_load_53 | 84 | 0.0025368 | 0.00063578 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_355-87_0_5_load_57 | 85 | 0.0062898 | 0.0015764 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_355-87_0_5_load_58 | 86 | 0.0065403 | 0.0016392 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_355-87_0_5_load_63 | 87 | 0.0040272 | 0.0010093 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_355-87_0_5_load_65 | 88 | 0.0038451 | 0.00096368 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_355-87_0_5_load_67 | 89 | 0.0041758 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_355-87_0_5_load_96 | 90 | 0.0032263 | 0.00080859 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_355-87_0_5_load_94 | 92 | 0.017549 | 0.0043983 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-87_0_5_line_0 |  | 0 | 1 | 0.012018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-87_0_5_line_1 |  | 0 | 2 | 0.0088038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-87_0_5_line_2 |  | 1 | 3 | 0.014612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-87_0_5_line_3 |  | 2 | 4 | 0.010468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-87_0_5_line_4 |  | 2 | 5 | 0.0072859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-87_0_5_line_5 |  | 3 | 6 | 0.014672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-87_0_5_line_6 |  | 4 | 7 | 0.05227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-87_0_5_line_7 |  | 5 | 8 | 0.0094377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_355-87_0_5_line_8 |  | 7 | 9 | 0.0045665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-87_0_5_line_9 |  | 7 | 10 | 0.0070738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-87_0_5_line_10 |  | 8 | 11 | 0.0028932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_355-87_0_5_line_11 |  | 9 | 20 | 0.022942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_355-87_0_5_line_12 |  | 11 | 80 | 0.014373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_355-87_0_5_line_13 |  | 12 | 13 | 0.028487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-87_0_5_line_14 |  | 12 | 14 | 0.017896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-87_0_5_line_15 |  | 13 | 15 | 0.029993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-87_0_5_line_16 |  | 14 | 16 | 0.026892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-87_0_5_line_17 |  | 15 | 17 | 0.022481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-87_0_5_line_18 |  | 16 | 18 | 0.033302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-87_0_5_line_19 |  | 17 | 19 | 0.019735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_355-87_0_5_line_20 |  | 18 | 20 | 0.005501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_355-87_0_5_line_21 |  | 20 | 27 | 0.11229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-87_0_5_line_22 |  | 21 | 22 | 0.020048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-87_0_5_line_23 |  | 21 | 23 | 0.015384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-87_0_5_line_24 |  | 22 | 24 | 0.012999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-87_0_5_line_25 |  | 23 | 25 | 0.004698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-87_0_5_line_26 |  | 23 | 26 | 0.019534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-87_0_5_line_27 |  | 26 | 27 | 0.023605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-87_0_5_line_28 |  | 28 | 29 | 0.029825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-87_0_5_line_29 |  | 29 | 30 | 0.031724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_355-87_0_5_line_30 |  | 30 | 31 | 0.026463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-87_0_5_line_31 |  | 31 | 32 | 0.023882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-87_0_5_line_32 |  | 32 | 33 | 0.01683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-87_0_5_line_33 |  | 33 | 40 | 0.072939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_355-87_0_5_line_34 |  | 33 | 41 | 0.010086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_355-87_0_5_line_35 |  | 34 | 35 | 0.028015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-87_0_5_line_36 |  | 34 | 36 | 0.022744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-87_0_5_line_37 |  | 35 | 37 | 0.013326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-87_0_5_line_38 |  | 36 | 38 | 0.0052291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-87_0_5_line_39 |  | 38 | 39 | 0.024093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-87_0_5_line_40 |  | 39 | 40 | 0.0077524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-87_0_5_line_41 |  | 40 | 42 | 0.024241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_355-87_0_5_line_42 |  | 41 | 43 | 0.04941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_355-87_0_5_line_43 |  | 41 | 44 | 0.018851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-87_0_5_line_44 |  | 42 | 66 | 0.039927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_355-87_0_5_line_45 |  | 43 | 45 | 0.0096237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_355-87_0_5_line_46 |  | 44 | 67 | 0.038433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_355-87_0_5_line_47 |  | 45 | 65 | 0.0038838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_355-87_0_5_line_48 |  | 45 | 61 | 0.013365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_355-87_0_5_line_49 |  | 46 | 47 | 0.065687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-87_0_5_line_50 |  | 46 | 48 | 0.10738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_355-87_0_5_line_51 |  | 47 | 70 | 0.05891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_355-87_0_5_line_52 |  | 48 | 71 | 0.012085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_355-87_0_5_line_53 |  | 49 | 50 | 0.017175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_355-87_0_5_line_54 |  | 49 | 51 | 0.02329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_355-87_0_5_line_55 |  | 50 | 52 | 0.011071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-87_0_5_line_56 |  | 50 | 53 | 0.15328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_355-87_0_5_line_57 |  | 52 | 72 | 0.022583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-87_0_5_line_58 |  | 53 | 77 | 0.037229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-87_0_5_line_59 |  | 54 | 55 | 0.0636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_355-87_0_5_line_60 |  | 54 | 56 | 0.050045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-87_0_5_line_61 |  | 55 | 57 | 0.0085346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-87_0_5_line_62 |  | 55 | 58 | 0.0060119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_355-87_0_5_line_63 |  | 57 | 63 | 0.030486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_355-87_0_5_line_64 |  | 57 | 64 | 0.017488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_355-87_0_5_line_65 |  | 58 | 60 | 0.0018634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_355-87_0_5_line_66 |  | 59 | 60 | 0.0085883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_355-87_0_5_line_67 |  | 59 | 61 | 0.014121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_355-87_0_5_line_68 |  | 60 | 62 | 0.01238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_355-87_0_5_line_69 |  | 63 | 69 | 0.014363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_355-87_0_5_line_70 |  | 63 | 74 | 0.0078276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_355-87_0_5_line_71 |  | 64 | 79 | 0.017487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_355-87_0_5_line_72 |  | 66 | 85 | 0.02904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_355-87_0_5_line_73 |  | 66 | 86 | 0.013255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_355-87_0_5_line_74 |  | 66 | 84 | 0.010588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_355-87_0_5_line_75 |  | 67 | 87 | 0.0076453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_355-87_0_5_line_76 |  | 68 | 69 | 0.021759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_355-87_0_5_line_77 |  | 69 | 91 | 0.022628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_355-87_0_5_line_78 |  | 70 | 90 | 0.097852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_355-87_0_5_line_79 |  | 71 | 86 | 9.2068e-07 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_355-87_0_5_line_80 |  | 72 | 91 | 0.036993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_355-87_0_5_line_81 |  | 73 | 74 | 0.02254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_355-87_0_5_line_82 |  | 75 | 76 | 0.019192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_355-87_0_5_line_83 |  | 76 | 78 | 0.014809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_355-87_0_5_line_84 |  | 77 | 78 | 0.11367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_355-87_0_5_line_85 |  | 80 | 81 | 0.0044239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_355-87_0_5_line_86 |  | 81 | 82 | 0.004924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_355-87_0_5_line_87 |  | 82 | 83 | 0.018249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_355-87_0_5_line_88 |  | 83 | 84 | 0.017978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
89 | LV_355-87_0_5_line_89 |  | 87 | 88 | 0.026817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_355-87_0_5_line_90 |  | 88 | 89 | 0.027106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_355-87_0_5_line_91 |  | 91 | 92 | 0.017675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-87_0_5_trafo_30 | 0.63 MVA 20/0.4 kV | 93 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2597716.8816 | 1196559.8034 | 2597722.453 | 1196549.1543
1 | 2597712.8003 | 1196567.604 | 2597716.8816 | 1196559.8034
2 | 2597722.453 | 1196549.1543 | 2597723.7605 | 1196546.6553 | 2597729.069 | 1196545.019 | 2597734.3729 | 1196548.2996
3 | 2597712.8003 | 1196567.604 | 2597707.8519 | 1196558.3795
4 | 2597712.8003 | 1196567.604 | 2597716.2477 | 1196574.0228
5 | 2597746.8513 | 1196556.0179 | 2597734.3729 | 1196548.2996
6 | 2597688.8066 | 1196509.7606 | 2597704.6975 | 1196552.4992 | 2597707.8519 | 1196558.3795
7 | 2597716.2477 | 1196574.0228 | 2597716.4058 | 1196574.3173 | 2597723.7048 | 1196579.7577
8 | 2597688.8066 | 1196509.7606 | 2597687.213 | 1196505.4812
9 | 2597688.8066 | 1196509.7606 | 2597691.3739 | 1196510.5378 | 2597692.8877 | 1196514.6601
10 | 2597726.0245 | 1196581.4867 | 2597723.7048 | 1196579.7577
11 | 2597694.6157 | 1196483.7667 | 2597691.4507 | 1196493.0618 | 2597687.213 | 1196505.4812
12 | 2597737.7429 | 1196589.8082 | 2597728.4061 | 1196583.2618 | 2597726.0245 | 1196581.4867
13 | 2597771.245 | 1196517.0338 | 2597797.254 | 1196528.6553
14 | 2597771.245 | 1196517.0338 | 2597754.9056 | 1196509.7329
15 | 2597824.638 | 1196540.8912 | 2597797.254 | 1196528.6553
16 | 2597754.9056 | 1196509.7329 | 2597730.3528 | 1196498.762
17 | 2597824.638 | 1196540.8912 | 2597817.5725 | 1196549.2316 | 2597809.8736 | 1196557.841
18 | 2597699.9482 | 1196485.1765 | 2597730.3528 | 1196498.762
19 | 2597796.7185 | 1196572.5519 | 2597809.8736 | 1196557.841
20 | 2597699.9482 | 1196485.1765 | 2597694.6157 | 1196483.7667
21 | 2597613.912 | 1196500.5861 | 2597631.3536 | 1196459.5794 | 2597643.0325 | 1196464.1882 | 2597692.0864 | 1196482.8005 | 2597694.6157 | 1196483.7667
22 | 2597617.6325 | 1196546.2927 | 2597635.117 | 1196556.1017
23 | 2597604.216 | 1196538.7659 | 2597617.6325 | 1196546.2927
24 | 2597635.117 | 1196556.1017 | 2597642.3936 | 1196560.1839 | 2597646.4549 | 1196562.4591
25 | 2597604.216 | 1196538.7659 | 2597602.8773 | 1196543.2689
26 | 2597604.216 | 1196538.7659 | 2597599.5374 | 1196534.3877 | 2597604.6744 | 1196522.3082
27 | 2597613.912 | 1196500.5861 | 2597604.6744 | 1196522.3082
28 | 2597538.5703 | 1196586.2163 | 2597556.5179 | 1196591.9808 | 2597566.9412 | 1196595.4147
29 | 2597597.0724 | 1196605.3413 | 2597566.9412 | 1196595.4147
30 | 2597622.1842 | 1196613.688 | 2597605.9586 | 1196608.2688 | 2597597.0724 | 1196605.3413
31 | 2597644.8648 | 1196621.1632 | 2597642.4943 | 1196620.4714 | 2597622.1842 | 1196613.688
32 | 2597661.0208 | 1196625.8779 | 2597644.8648 | 1196621.1632
33 | 2597661.0208 | 1196625.8779 | 2597670.1316 | 1196628.3422 | 2597678.5337 | 1196630.062 | 2597686.8444 | 1196631.6039 | 2597697.5924 | 1196632.967 | 2597733.1346 | 1196637.611
34 | 2597658.2826 | 1196635.5842 | 2597659.6364 | 1196630.5143 | 2597661.0208 | 1196625.8779
35 | 2597682.0149 | 1196606.9976 | 2597677.8915 | 1196605.1379 | 2597656.3135 | 1196595.8505
36 | 2597701.8726 | 1196618.0204 | 2597688.062 | 1196609.7251 | 2597682.0149 | 1196606.9976
37 | 2597643.9067 | 1196590.9885 | 2597655.2349 | 1196595.3863 | 2597656.3135 | 1196595.8505
38 | 2597701.8726 | 1196618.0204 | 2597706.3552 | 1196620.7128
39 | 2597727.205 | 1196632.7862 | 2597707.2612 | 1196621.257 | 2597706.3552 | 1196620.7128
40 | 2597733.1346 | 1196637.611 | 2597732.5325 | 1196636.5885 | 2597729.5152 | 1196634.1217 | 2597727.205 | 1196632.7862
41 | 2597733.1346 | 1196637.611 | 2597742.9151 | 1196638.6744 | 2597755.0346 | 1196641.3156 | 2597756.9861 | 1196641.7507
42 | 2597626.6747 | 1196659.4986 | 2597640.4056 | 1196635.1134 | 2597642.468 | 1196630.6991 | 2597658.2826 | 1196635.5842
43 | 2597658.2826 | 1196635.5842 | 2597671.4155 | 1196639.014 | 2597676.6091 | 1196639.9493
44 | 2597783.3622 | 1196622.528 | 2597773.8217 | 1196631.6587 | 2597769.3633 | 1196644.8786 | 2597761.7533 | 1196642.8138 | 2597756.9861 | 1196641.7507
45 | 2597618.2638 | 1196654.8218 | 2597622.7512 | 1196657.3213 | 2597626.6747 | 1196659.4986
46 | 2597714.6902 | 1196645.0878 | 2597693.3536 | 1196642.4849 | 2597681.4553 | 1196640.8221 | 2597676.6091 | 1196639.9493
47 | 2597618.2638 | 1196654.8218 | 2597620.1743 | 1196651.4404
48 | 2597618.2638 | 1196654.8218 | 2597615.8212 | 1196660.6037 | 2597614.1927 | 1196664.4508 | 2597612.8807 | 1196667.0495
49 | 2597919.1815 | 1196734.4259 | 2597925.1845 | 1196737.0584 | 2597927.1783 | 1196732.1996 | 2597928.9284 | 1196727.2185 | 2597926.7193 | 1196726.6635 | 2597903.4465 | 1196716.8444 | 2597894.1754 | 1196712.8457 | 2597884.6296 | 1196707.4463
50 | 2597884.6296 | 1196707.4463 | 2597864.6309 | 1196694.8358 | 2597847.6637 | 1196682.7246 | 2597830.0789 | 1196668.9349 | 2597811.6398 | 1196652.2108 | 2597800.8415 | 1196640.8759
51 | 2597919.1815 | 1196734.4259 | 2597892.7434 | 1196754.3905 | 2597873.3042 | 1196771.4734
52 | 2597800.8415 | 1196640.8759 | 2597792.5056 | 1196632.1257
53 | 2597515.5367 | 1196694.108 | 2597511.731 | 1196700.4908 | 2597510.1707 | 1196703.0595 | 2597515.9686 | 1196706.4922
54 | 2597515.9686 | 1196706.4922 | 2597504.0019 | 1196726.4732
55 | 2597515.5367 | 1196694.108 | 2597521.2029 | 1196684.5973
56 | 2597515.5367 | 1196694.108 | 2597386.1358 | 1196611.9433
57 | 2597521.2029 | 1196684.5973 | 2597532.7613 | 1196665.1964 | 2597532.7613 | 1196665.1964
58 | 2597350.7143 | 1196605.945 | 2597357.4083 | 1196603.1072 | 2597386.1358 | 1196611.9433
59 | 2597609.5037 | 1196689.9774 | 2597584.7904 | 1196734.6114 | 2597582.3545 | 1196738.1476 | 2597577.0102 | 1196744.531
60 | 2597577.0102 | 1196744.531 | 2597586.869 | 1196750.9525 | 2597619.8478 | 1196770.3875
61 | 2597602.1441 | 1196685.7226 | 2597602.7155 | 1196686.1671 | 2597603.8203 | 1196687.0338 | 2597604.8488 | 1196687.6892 | 2597609.5037 | 1196689.9774
62 | 2597609.5037 | 1196689.9774 | 2597612.4553 | 1196684.74
63 | 2597578.7143 | 1196666.6 | 2597586.1807 | 1196670.9881 | 2597591.7654 | 1196674.8767 | 2597595.6363 | 1196678.5882 | 2597597.7014 | 1196680.8997 | 2597599.1112 | 1196682.4777 | 2597602.1441 | 1196685.7226
64 | 2597602.1441 | 1196685.7226 | 2597593.2226 | 1196700.7642
65 | 2597613.3702 | 1196683.1166 | 2597612.4553 | 1196684.74
66 | 2597605.7213 | 1196679.2177 | 2597606.247 | 1196679.5065 | 2597608.8297 | 1196680.9284 | 2597613.3702 | 1196683.1166
67 | 2597605.7213 | 1196679.2177 | 2597612.2672 | 1196668.2647 | 2597612.8807 | 1196667.0495
68 | 2597613.3702 | 1196683.1166 | 2597619.4462 | 1196672.3306
69 | 2597581.8477 | 1196655.2037 | 2597584.3237 | 1196656.4367 | 2597578.7143 | 1196666.6
70 | 2597578.7143 | 1196666.6 | 2597577.3513 | 1196667.4232 | 2597574.0154 | 1196668.1806 | 2597572.6673 | 1196668.4368 | 2597571.6394 | 1196669.2043 | 2597571.5527 | 1196669.3381
71 | 2597583.0382 | 1196714.9119 | 2597584.8038 | 1196711.7548 | 2597591.7696 | 1196703.214 | 2597593.2226 | 1196700.7642
72 | 2597783.3622 | 1196622.528 | 2597805.7797 | 1196604.0681
73 | 2597783.3622 | 1196622.528 | 2597792.5049 | 1196632.1251
74 | 2597783.3622 | 1196622.528 | 2597777.9906 | 1196618.0277 | 2597775.0588 | 1196615.9721
75 | 2597722.2793 | 1196646.0136 | 2597714.6902 | 1196645.0878
76 | 2597581.8477 | 1196655.2037 | 2597592.7944 | 1196636.3989
77 | 2597581.8477 | 1196655.2037 | 2597561.9479 | 1196644.3285
78 | 2597873.3042 | 1196771.4734 | 2597865.0246 | 1196770.9651 | 2597859.7828 | 1196766.9315 | 2597844.9212 | 1196742.7909 | 2597800.0694 | 1196711.3911
79 | 2597792.5056 | 1196632.1257 | 2597792.5049 | 1196632.1251
80 | 2597561.9479 | 1196644.3285 | 2597560.1665 | 1196646.6082 | 2597557.9431 | 1196648.3546 | 2597555.0189 | 1196650.0233 | 2597544.5396 | 1196653.5296 | 2597541.8362 | 1196654.8426 | 2597538.7372 | 1196657.4564 | 2597535.266 | 1196662.4161 | 2597532.7613 | 1196665.1964
81 | 2597559.3728 | 1196688.3 | 2597559.9627 | 1196687.2299 | 2597571.5527 | 1196669.3381
82 | 2597366.5351 | 1196640.4006 | 2597355.0198 | 1196655.7546
83 | 2597346.1342 | 1196667.6021 | 2597355.0198 | 1196655.7546
84 | 2597350.7143 | 1196605.945 | 2597344.1838 | 1196616.5203 | 2597335.8213 | 1196618.3362 | 2597324.7779 | 1196620.7314 | 2597311.0525 | 1196637.769 | 2597302.8966 | 1196641.6304 | 2597315.3084 | 1196650.1292 | 2597346.1342 | 1196667.6021
85 | 2597737.7429 | 1196589.8082 | 2597741.3651 | 1196592.348
86 | 2597741.3651 | 1196592.348 | 2597745.3969 | 1196595.1748
87 | 2597760.3388 | 1196605.6512 | 2597745.3969 | 1196595.1748
88 | 2597760.3388 | 1196605.6512 | 2597775.0588 | 1196615.9721
89 | 2597722.2793 | 1196646.0136 | 2597733.3212 | 1196647.3606 | 2597742.0812 | 1196648.769 | 2597748.7691 | 1196650.1086
90 | 2597774.8751 | 1196657.3165 | 2597766.625 | 1196654.5848 | 2597753.2713 | 1196651.0103 | 2597748.7691 | 1196650.1086
91 | 2597553.587 | 1196631.9699 | 2597554.6079 | 1196632.5142 | 2597553.512 | 1196634.7714 | 2597553.7726 | 1196638.6734 | 2597555.1978 | 1196640.6405 | 2597561.9479 | 1196644.3285

## bus_geodata
| x | y | coords
0 | 2597716.8816 | 1196559.8034
1 | 2597722.453 | 1196549.1543
2 | 2597712.8003 | 1196567.604
3 | 2597734.3729 | 1196548.2996
4 | 2597707.8519 | 1196558.3795
5 | 2597716.2477 | 1196574.0228
6 | 2597746.8513 | 1196556.0179
7 | 2597688.8066 | 1196509.7606
8 | 2597723.7048 | 1196579.7577
9 | 2597687.213 | 1196505.4812
10 | 2597692.8877 | 1196514.6601
11 | 2597726.0245 | 1196581.4867
12 | 2597771.245 | 1196517.0338
13 | 2597797.254 | 1196528.6553
14 | 2597754.9056 | 1196509.7329
15 | 2597824.638 | 1196540.8912
16 | 2597730.3528 | 1196498.762
17 | 2597809.8736 | 1196557.841
18 | 2597699.9482 | 1196485.1765
19 | 2597796.7185 | 1196572.5519
20 | 2597694.6157 | 1196483.7667
21 | 2597617.6325 | 1196546.2927
22 | 2597635.117 | 1196556.1017
23 | 2597604.216 | 1196538.7659
24 | 2597646.4549 | 1196562.4591
25 | 2597602.8773 | 1196543.2689
26 | 2597604.6744 | 1196522.3082
27 | 2597613.912 | 1196500.5861
28 | 2597538.5703 | 1196586.2163
29 | 2597566.9412 | 1196595.4147
30 | 2597597.0723 | 1196605.3413
31 | 2597622.1842 | 1196613.688
32 | 2597644.8648 | 1196621.1632
33 | 2597661.0208 | 1196625.8779
34 | 2597682.0149 | 1196606.9976
35 | 2597656.3135 | 1196595.8505
36 | 2597701.8726 | 1196618.0204
37 | 2597643.9067 | 1196590.9885
38 | 2597706.3552 | 1196620.7128
39 | 2597727.205 | 1196632.7862
40 | 2597733.1346 | 1196637.611
41 | 2597658.2826 | 1196635.5842
42 | 2597756.9861 | 1196641.7507
43 | 2597626.6747 | 1196659.4986
44 | 2597676.6091 | 1196639.9493
45 | 2597618.2638 | 1196654.8218
46 | 2597884.6296 | 1196707.4463
47 | 2597919.1815 | 1196734.4259
48 | 2597800.8415 | 1196640.8759
49 | 2597515.9686 | 1196706.4922
50 | 2597515.5367 | 1196694.108
51 | 2597504.0019 | 1196726.4732
52 | 2597521.2029 | 1196684.5973
53 | 2597386.1358 | 1196611.9433
54 | 2597577.0103 | 1196744.531
55 | 2597609.5037 | 1196689.9774
56 | 2597619.8478 | 1196770.3875
57 | 2597602.1441 | 1196685.7226
58 | 2597612.4553 | 1196684.74
59 | 2597605.7213 | 1196679.2177
60 | 2597613.3702 | 1196683.1166
61 | 2597612.8807 | 1196667.0495
62 | 2597619.4462 | 1196672.3306
63 | 2597578.7143 | 1196666.6
64 | 2597593.2226 | 1196700.7642
65 | 2597620.1743 | 1196651.4404
66 | 2597783.3622 | 1196622.528
67 | 2597714.6902 | 1196645.0878
68 | 2597592.7944 | 1196636.3989
69 | 2597581.8477 | 1196655.2037
70 | 2597873.3042 | 1196771.4734
71 | 2597792.5056 | 1196632.1257
72 | 2597532.7613 | 1196665.1964
73 | 2597559.3728 | 1196688.3
74 | 2597571.5527 | 1196669.3381
75 | 2597366.5351 | 1196640.4006
76 | 2597355.0198 | 1196655.7546
77 | 2597350.7143 | 1196605.945
78 | 2597346.1342 | 1196667.6021
79 | 2597583.0382 | 1196714.9119
80 | 2597737.7429 | 1196589.8082
81 | 2597741.3651 | 1196592.348
82 | 2597745.3969 | 1196595.1748
83 | 2597760.3388 | 1196605.6512
84 | 2597775.0588 | 1196615.9721
85 | 2597805.7797 | 1196604.0681
86 | 2597792.5049 | 1196632.1251
87 | 2597722.2793 | 1196646.0136
88 | 2597748.7691 | 1196650.1086
89 | 2597774.8751 | 1196657.3165
90 | 2597800.0694 | 1196711.3911
91 | 2597561.9479 | 1196644.3285
92 | 2597553.587 | 1196631.9699
93 | 2597659.6364 | 1196630.5143

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1