## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_355-9_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_355-9_1_3_node_126 | 0.4 | n |  | TRUE
2 | bus_LV_355-9_1_3_node_140 | 0.4 | n |  | TRUE
3 | bus_LV_355-9_1_3_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_355-9_1_3_node_127 | 0.4 | n |  | TRUE
5 | bus_LV_355-9_1_3_node_133 | 0.4 | n |  | TRUE
6 | bus_LV_355-9_1_3_node_130 | 0.4 | n |  | TRUE
7 | bus_LV_355-9_1_3_node_117 | 0.4 | n |  | TRUE
8 | bus_LV_355-9_1_3_node_132 | 0.4 | n |  | TRUE
9 | bus_LV_355-9_1_3_node_134 | 0.4 | n |  | TRUE
10 | bus_LV_355-9_1_3_node_135 | 0.4 | n |  | TRUE
11 | bus_LV_355-9_1_3_node_137 | 0.4 | n |  | TRUE
12 | bus_LV_355-9_1_3_node_136 | 0.4 | n |  | TRUE
13 | bus_LV_355-9_1_3_node_102 | 0.4 | n |  | TRUE
14 | bus_LV_355-9_1_3_node_120 | 0.4 | n |  | TRUE
15 | bus_LV_355-9_1_3_node_122 | 0.4 | n |  | TRUE
16 | bus_LV_355-9_1_3_node_138 | 0.4 | n |  | TRUE
17 | bus_LV_355-9_1_3_node_141 | 0.4 | n |  | TRUE
18 | bus_LV_355-9_1_3_node_78 | 0.4 | n |  | TRUE
19 | bus_LV_355-9_1_3_node_118 | 0.4 | n |  | TRUE
20 | bus_LV_355-9_1_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_355-9_1_3_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_355-9_1_3_node_100 | 0.4 | n |  | TRUE
23 | bus_LV_355-9_1_3_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_355-9_1_3_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_355-9_1_3_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_355-9_1_3_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_355-9_1_3_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_355-9_1_3_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_355-9_1_3_node_98 | 0.4 | n |  | TRUE
30 | bus_LV_355-9_1_3_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_355-9_1_3_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_355-9_1_3_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_355-9_1_3_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_355-9_1_3_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_355-9_1_3_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_355-9_1_3_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_355-9_1_3_node_66 | 0.4 | n |  | TRUE
38 | bus_LV_355-9_1_3_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_355-9_1_3_node_92 | 0.4 | n |  | TRUE
40 | bus_LV_355-9_1_3_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_355-9_1_3_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_355-9_1_3_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_355-9_1_3_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_355-9_1_3_node_77 | 0.4 | n |  | TRUE
45 | bus_LV_355-9_1_3_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_355-9_1_3_node_79 | 0.4 | n |  | TRUE
47 | bus_LV_355-9_1_3_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_355-9_1_3_node_80 | 0.4 | n |  | TRUE
49 | bus_LV_355-9_1_3_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_355-9_1_3_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_355-9_1_3_node_93 | 0.4 | n |  | TRUE
52 | bus_LV_355-9_1_3_node_95 | 0.4 | n |  | TRUE
53 | bus_LV_355-9_1_3_node_96 | 0.4 | n |  | TRUE
54 | bus_LV_355-9_1_3_node_99 | 0.4 | n |  | TRUE
55 | bus_LV_355-9_1_3_node_103 | 0.4 | n |  | TRUE
56 | bus_LV_355-9_1_3_node_113 | 0.4 | n |  | TRUE
57 | bus_LV_355-9_1_3_node_114 | 0.4 | n |  | TRUE
58 | bus_LV_355-9_1_3_node_115 | 0.4 | n |  | TRUE
59 | bus_LV_355-9_1_3_node_116 | 0.4 | n |  | TRUE
60 | bus_LV_355-9_1_3_node_119 | 0.4 | n |  | TRUE
61 | bus_LV_355-9_1_3_node_121 | 0.4 | n |  | TRUE
62 | bus_LV_355-9_1_3_node_124 | 0.4 | n |  | TRUE
63 | bus_LV_355-9_1_3_node_125 | 0.4 | n |  | TRUE
64 | bus_MV_600_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_355-9_1_3_load_128 | 0 | 0.003143 | 0.0007877 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_355-9_1_3_load_126 | 1 | 0.0031287 | 0.00078412 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_355-9_1_3_load_140 | 2 | 0.0030625 | 0.00076753 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_355-9_1_3_load_129 | 3 | 0.0019292 | 0.00048351 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_355-9_1_3_load_127 | 4 | 0.0056462 | 0.0014151 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_355-9_1_3_load_133 | 5 | 0.0019172 | 0.0004805 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_355-9_1_3_load_130 | 6 | 0.0096887 | 0.0024282 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_355-9_1_3_load_117 | 7 | 0.0036778 | 0.00092175 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_355-9_1_3_load_132 | 8 | 0.0094502 | 0.0023684 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_355-9_1_3_load_134 | 9 | 0.0042037 | 0.0010536 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_355-9_1_3_load_135 | 10 | 0.0096391 | 0.0024158 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_355-9_1_3_load_137 | 11 | 0.0039606 | 0.00099261 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_355-9_1_3_load_136 | 12 | 0.0032347 | 0.00081069 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_355-9_1_3_load_120 | 14 | 0.0046798 | 0.0011729 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_355-9_1_3_load_122 | 15 | 0.0024907 | 0.00062423 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_355-9_1_3_load_138 | 16 | 0.0036454 | 0.00091362 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_355-9_1_3_load_141 | 17 | 0.0054528 | 0.0013666 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_355-9_1_3_load_78 | 18 | 0.0040865 | 0.0010242 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_355-9_1_3_load_118 | 19 | 0.0031512 | 0.00078976 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_355-9_1_3_load_33 | 20 | 0.0024968 | 0.00062575 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_355-9_1_3_load_35 | 21 | 0.0038183 | 0.00095696 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_355-9_1_3_load_100 | 22 | 0.0025857 | 0.00064803 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_355-9_1_3_load_51 | 23 | 0.0019698 | 0.00049368 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_355-9_1_3_load_52 | 24 | 0.0013521 | 0.00033886 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_355-9_1_3_load_54 | 26 | 0.0035737 | 0.00089566 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_355-9_1_3_load_55 | 27 | 0.0014663 | 0.00036749 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_355-9_1_3_load_56 | 28 | 0.0021897 | 0.0005488 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_355-9_1_3_load_98 | 29 | 0.0051714 | 0.0012961 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_355-9_1_3_load_58 | 30 | 0.0034715 | 0.00087004 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_355-9_1_3_load_75 | 31 | 0.0014806 | 0.00037107 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_355-9_1_3_load_69 | 32 | 0.0025581 | 0.00064112 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_355-9_1_3_load_57 | 33 | 0.0091754 | 0.0022996 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_355-9_1_3_load_63 | 34 | 0.0032747 | 0.00082071 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_355-9_1_3_load_64 | 35 | 0.0059659 | 0.0014952 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_355-9_1_3_load_65 | 36 | 0.0032073 | 0.00080383 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_355-9_1_3_load_66 | 37 | 0.0023507 | 0.00058915 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_355-9_1_3_load_67 | 38 | 0.001742 | 0.00043658 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_355-9_1_3_load_92 | 39 | 0.0029958 | 0.00075081 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_355-9_1_3_load_68 | 40 | 0.0021904 | 0.00054897 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_355-9_1_3_load_70 | 41 | 0.0035798 | 0.00089717 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_355-9_1_3_load_71 | 42 | 0.0039978 | 0.0010019 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_355-9_1_3_load_72 | 43 | 0.00191 | 0.00047869 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_355-9_1_3_load_77 | 44 | 0.0055826 | 0.0013991 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_355-9_1_3_load_84 | 45 | 0.0018253 | 0.00045746 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_355-9_1_3_load_79 | 46 | 0.0031741 | 0.0007955 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_355-9_1_3_load_81 | 47 | 0.003172 | 0.00079499 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_355-9_1_3_load_80 | 48 | 0.0032563 | 0.00081611 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_355-9_1_3_load_85 | 49 | 0.0026399 | 0.00066163 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_355-9_1_3_load_86 | 50 | 0.0014947 | 0.0003746 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_355-9_1_3_load_93 | 51 | 0.0033743 | 0.00084569 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_355-9_1_3_load_95 | 52 | 0.0018858 | 0.00047262 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_355-9_1_3_load_96 | 53 | 0.0020456 | 0.00051269 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_355-9_1_3_load_99 | 54 | 0.0059436 | 0.0014896 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_355-9_1_3_load_103 | 55 | 0.0017756 | 0.00044501 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_355-9_1_3_load_113 | 56 | 0.0041276 | 0.0010345 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_355-9_1_3_load_114 | 57 | 0.010225 | 0.0025626 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_355-9_1_3_load_115 | 58 | 0.0039483 | 0.00098954 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_355-9_1_3_load_116 | 59 | 0.0031103 | 0.0007795 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_355-9_1_3_load_119 | 60 | 0.0037753 | 0.00094619 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_355-9_1_3_load_121 | 61 | 0.0031368 | 0.00078616 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_355-9_1_3_load_124 | 62 | 0.0033306 | 0.00083472 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_355-9_1_3_load_125 | 63 | 0.0065229 | 0.0016348 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_355-9_1_3_line_0 |  | 0 | 1 | 0.0090666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_355-9_1_3_line_1 |  | 0 | 2 | 0.0089709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_355-9_1_3_line_2 |  | 1 | 63 | 0.0045544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_355-9_1_3_line_3 |  | 2 | 18 | 0.025251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_355-9_1_3_line_4 |  | 3 | 4 | 0.011245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_355-9_1_3_line_5 |  | 3 | 5 | 0.0090008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_355-9_1_3_line_6 |  | 4 | 63 | 0.013302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_355-9_1_3_line_7 |  | 5 | 8 | 0.0084867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_355-9_1_3_line_8 |  | 6 | 7 | 0.0097953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_355-9_1_3_line_9 |  | 7 | 58 | 0.038197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_355-9_1_3_line_10 |  | 8 | 9 | 0.016975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_355-9_1_3_line_11 |  | 9 | 10 | 0.010197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_355-9_1_3_line_12 |  | 10 | 11 | 0.0025345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_355-9_1_3_line_13 |  | 11 | 16 | 0.010918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_355-9_1_3_line_14 |  | 12 | 13 | 0.040429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_355-9_1_3_line_15 |  | 12 | 14 | 0.037239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_355-9_1_3_line_16 |  | 12 | 15 | 0.027812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_355-9_1_3_line_17 |  | 13 | 55 | 0.023554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_355-9_1_3_line_18 |  | 14 | 60 | 0.013143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_355-9_1_3_line_19 |  | 15 | 62 | 0.028012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_355-9_1_3_line_20 |  | 15 | 61 | 0.013221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_355-9_1_3_line_21 |  | 16 | 17 | 0.012395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_355-9_1_3_line_22 |  | 17 | 19 | 0.025107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_355-9_1_3_line_23 |  | 18 | 46 | 0.0095318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_355-9_1_3_line_24 |  | 18 | 44 | 0.030343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_355-9_1_3_line_25 |  | 19 | 58 | 0.005128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_355-9_1_3_line_26 |  | 20 | 21 | 0.018062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_355-9_1_3_line_27 |  | 21 | 22 | 0.0059356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_355-9_1_3_line_28 |  | 22 | 55 | 0.0095457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_355-9_1_3_line_29 |  | 23 | 24 | 0.0081033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_355-9_1_3_line_30 |  | 23 | 25 | 0.036201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_355-9_1_3_line_31 |  | 24 | 26 | 0.018183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_355-9_1_3_line_32 |  | 25 | 27 | 0.017743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_355-9_1_3_line_33 |  | 25 | 28 | 0.033234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_355-9_1_3_line_34 |  | 25 | 29 | 0.035386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_355-9_1_3_line_35 |  | 26 | 30 | 0.007384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_355-9_1_3_line_36 |  | 27 | 31 | 0.0057672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_355-9_1_3_line_37 |  | 28 | 32 | 0.047144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_355-9_1_3_line_38 |  | 29 | 54 | 0.020595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_355-9_1_3_line_39 |  | 29 | 53 | 0.0024146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_355-9_1_3_line_40 |  | 30 | 33 | 0.023915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_355-9_1_3_line_41 |  | 32 | 42 | 0.044305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_355-9_1_3_line_42 |  | 32 | 40 | 0.010285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_355-9_1_3_line_43 |  | 34 | 35 | 0.022119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_355-9_1_3_line_44 |  | 34 | 36 | 0.017437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_355-9_1_3_line_45 |  | 35 | 37 | 0.010478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_355-9_1_3_line_46 |  | 36 | 38 | 0.003907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_355-9_1_3_line_47 |  | 38 | 39 | 0.0047862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_355-9_1_3_line_48 |  | 39 | 51 | 0.0056542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_355-9_1_3_line_49 |  | 40 | 41 | 0.015479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_355-9_1_3_line_50 |  | 41 | 43 | 0.022418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_355-9_1_3_line_51 |  | 42 | 44 | 0.0060107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_355-9_1_3_line_52 |  | 43 | 45 | 0.0062281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_355-9_1_3_line_53 |  | 45 | 49 | 0.0056477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_355-9_1_3_line_54 |  | 46 | 47 | 0.0090551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_355-9_1_3_line_55 |  | 47 | 48 | 0.0091782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_355-9_1_3_line_56 |  | 49 | 50 | 0.0039908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_355-9_1_3_line_57 |  | 50 | 51 | 0.013506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_355-9_1_3_line_58 |  | 52 | 53 | 0.02972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_355-9_1_3_line_59 |  | 56 | 57 | 0.011863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_355-9_1_3_line_60 |  | 56 | 58 | 0.013351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_355-9_1_3_line_61 |  | 57 | 59 | 0.017914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_355-9_1_3_line_62 |  | 59 | 60 | 0.00015203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_355-9_1_3_trafo_137 | 0.63 MVA 20/0.4 kV | 64 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2600243.1731 | 1197326.1877 | 2600250.9537 | 1197321.533
1 | 2600235.4746 | 1197330.7932 | 2600243.1731 | 1197326.1877
2 | 2600254.8621 | 1197319.1948 | 2600250.9537 | 1197321.533
3 | 2600237.8332 | 1197355.9341 | 2600235.4746 | 1197330.7932
4 | 2600275.9274 | 1197306.5927 | 2600266.2776 | 1197312.3656
5 | 2600275.9274 | 1197306.5927 | 2600283.6515 | 1197301.9718
6 | 2600266.2776 | 1197312.3656 | 2600254.8621 | 1197319.1948
7 | 2600290.9344 | 1197297.6149 | 2600283.6515 | 1197301.9718
8 | 2600389.6439 | 1197247.4548 | 2600398.1137 | 1197242.5344
9 | 2600362.7814 | 1197255.5555 | 2600380.0022 | 1197239.7813 | 2600381.3884 | 1197238.514 | 2600388.806 | 1197247.9416 | 2600389.6439 | 1197247.4548
10 | 2600305.5016 | 1197288.9002 | 2600290.9344 | 1197297.6149
11 | 2600305.5016 | 1197288.9002 | 2600314.252 | 1197283.6654
12 | 2600316.445 | 1197282.3948 | 2600314.2657 | 1197283.6572 | 2600314.252 | 1197283.6654
13 | 2600325.8926 | 1197276.9225 | 2600316.445 | 1197282.3948
14 | 2600280.3842 | 1197214.3079 | 2600283.7127 | 1197207.6266 | 2600286.607 | 1197203.1355 | 2600304.3683 | 1197194.1202 | 2600310.9012 | 1197190.0378
15 | 2600334.4657 | 1197206.7555 | 2600330.4382 | 1197199.7132 | 2600319.8448 | 1197184.449 | 2600310.9012 | 1197190.0378
16 | 2600310.9012 | 1197190.0378 | 2600307.8685 | 1197162.3915
17 | 2600280.3842 | 1197214.3079 | 2600287.8403 | 1197217.8545 | 2600289.2796 | 1197223.4686 | 2600285.2886 | 1197226.937 | 2600281.8305 | 1197229.3459
18 | 2600340.9906 | 1197218.1647 | 2600334.4657 | 1197206.7555
19 | 2600284.3017 | 1197177.3247 | 2600289.4108 | 1197174.8761 | 2600301.9474 | 1197167.3614 | 2600307.8685 | 1197162.3915
20 | 2600317.4114 | 1197153.2602 | 2600311.1785 | 1197159.6132 | 2600307.8685 | 1197162.3915
21 | 2600325.8926 | 1197276.9225 | 2600336.618 | 1197270.7101
22 | 2600358.344 | 1197258.1257 | 2600336.618 | 1197270.7101
23 | 2600237.8332 | 1197355.9341 | 2600228.3227 | 1197356.572
24 | 2600237.8332 | 1197355.9341 | 2600249.0472 | 1197355.1818 | 2600268.12 | 1197354.0877
25 | 2600362.7814 | 1197255.5555 | 2600358.344 | 1197258.1257
26 | 2600253.353 | 1197247.0624 | 2600268.7402 | 1197237.6036
27 | 2600268.7402 | 1197237.6036 | 2600273.7968 | 1197234.4952
28 | 2600281.8305 | 1197229.3459 | 2600279.2565 | 1197231.139 | 2600273.7968 | 1197234.4952
29 | 2600391.4901 | 1197389.0109 | 2600383.4524 | 1197390.0403
30 | 2600347.4666 | 1197393.8839 | 2600363.3307 | 1197392.6174 | 2600383.4524 | 1197390.0403
31 | 2600391.4901 | 1197389.0109 | 2600409.5254 | 1197386.7011
32 | 2600347.4666 | 1197393.8839 | 2600363.5893 | 1197386.4764
33 | 2600347.4666 | 1197393.8839 | 2600342.661 | 1197394.2506 | 2600319.7523 | 1197394.6165 | 2600314.254 | 1197394.3985
34 | 2600347.4666 | 1197393.8839 | 2600356.1524 | 1197428.1869
35 | 2600416.8495 | 1197385.7631 | 2600409.5254 | 1197386.7011
36 | 2600368.8298 | 1197384.0686 | 2600363.5893 | 1197386.4764
37 | 2600317.8165 | 1197347.3894 | 2600314.254 | 1197394.3985
38 | 2600335.6984 | 1197430.5918 | 2600356.1524 | 1197428.1869
39 | 2600358.5505 | 1197427.905 | 2600356.1524 | 1197428.1869
40 | 2600416.8495 | 1197385.7631 | 2600422.7658 | 1197385.0054 | 2600440.4624 | 1197381.9972
41 | 2600274.1208 | 1197353.7435 | 2600294.9488 | 1197352.5486 | 2600317.8165 | 1197347.3894
42 | 2600327.7487 | 1197344.7447 | 2600322.4884 | 1197346.3353 | 2600317.8165 | 1197347.3894
43 | 2600440.1373 | 1197300.3544 | 2600420.7445 | 1197310.9931
44 | 2600404.8024 | 1197317.9537 | 2600415.0397 | 1197314.1227 | 2600420.7445 | 1197310.9931
45 | 2600440.1373 | 1197300.3544 | 2600449.3238 | 1197295.3148
46 | 2600404.8024 | 1197317.9537 | 2600401.1433 | 1197319.323
47 | 2600401.1433 | 1197319.323 | 2600396.6606 | 1197321.0005
48 | 2600396.6606 | 1197321.0005 | 2600391.365 | 1197322.9822
49 | 2600327.7487 | 1197344.7447 | 2600342.5656 | 1197340.2644
50 | 2600363.8552 | 1197333.2768 | 2600356.1972 | 1197336.1425 | 2600342.5656 | 1197340.2644
51 | 2600274.1208 | 1197353.7435 | 2600268.12 | 1197354.0877
52 | 2600369.6882 | 1197331.094 | 2600363.8552 | 1197333.2768
53 | 2600369.6882 | 1197331.094 | 2600374.9778 | 1197329.1145
54 | 2600228.3227 | 1197356.572 | 2600219.2879 | 1197357.1781
55 | 2600219.2879 | 1197357.1781 | 2600210.1303 | 1197357.7923
56 | 2600378.7154 | 1197327.7158 | 2600374.9778 | 1197329.1145
57 | 2600378.7154 | 1197327.7158 | 2600391.365 | 1197322.9822
58 | 2600358.5505 | 1197427.905 | 2600371.4247 | 1197426.3913 | 2600385.7189 | 1197435.137
59 | 2600355.9406 | 1197244.09 | 2600354.9146 | 1197242.3703 | 2600350.1473 | 1197233.8989 | 2600350.0781 | 1197233.7776
60 | 2600362.7814 | 1197255.5555 | 2600355.9406 | 1197244.09
61 | 2600341.0661 | 1197218.2967 | 2600342.2195 | 1197220.3135 | 2600346.5528 | 1197227.5954 | 2600350.0781 | 1197233.7776
62 | 2600341.0661 | 1197218.2967 | 2600340.9906 | 1197218.1647

## bus_geodata
| x | y | coords
0 | 2600243.1731 | 1197326.1877
1 | 2600250.9537 | 1197321.533
2 | 2600235.4746 | 1197330.7932
3 | 2600275.9274 | 1197306.5927
4 | 2600266.2776 | 1197312.3656
5 | 2600283.6515 | 1197301.9718
6 | 2600398.1137 | 1197242.5344
7 | 2600389.6439 | 1197247.4548
8 | 2600290.9344 | 1197297.6149
9 | 2600305.5016 | 1197288.9002
10 | 2600314.252 | 1197283.6654
11 | 2600316.445 | 1197282.3948
12 | 2600310.9012 | 1197190.0378
13 | 2600280.3842 | 1197214.3079
14 | 2600334.4657 | 1197206.7555
15 | 2600307.8685 | 1197162.3915
16 | 2600325.8926 | 1197276.9225
17 | 2600336.618 | 1197270.7101
18 | 2600237.8332 | 1197355.9341
19 | 2600358.344 | 1197258.1257
20 | 2600253.353 | 1197247.0624
21 | 2600268.7402 | 1197237.6036
22 | 2600273.7968 | 1197234.4952
23 | 2600383.4524 | 1197390.0403
24 | 2600391.4901 | 1197389.0109
25 | 2600347.4666 | 1197393.8839
26 | 2600409.5254 | 1197386.7011
27 | 2600363.5893 | 1197386.4764
28 | 2600314.254 | 1197394.3985
29 | 2600356.1524 | 1197428.1869
30 | 2600416.8495 | 1197385.7631
31 | 2600368.8298 | 1197384.0686
32 | 2600317.8165 | 1197347.3894
33 | 2600440.4624 | 1197381.9972
34 | 2600420.7445 | 1197310.9931
35 | 2600440.1373 | 1197300.3544
36 | 2600404.8024 | 1197317.9537
37 | 2600449.3238 | 1197295.3148
38 | 2600401.1433 | 1197319.323
39 | 2600396.6606 | 1197321.0005
40 | 2600327.7487 | 1197344.7447
41 | 2600342.5656 | 1197340.2644
42 | 2600274.1208 | 1197353.7435
43 | 2600363.8552 | 1197333.2768
44 | 2600268.12 | 1197354.0877
45 | 2600369.6882 | 1197331.094
46 | 2600228.3227 | 1197356.572
47 | 2600219.2879 | 1197357.1781
48 | 2600210.1303 | 1197357.7923
49 | 2600374.9778 | 1197329.1145
50 | 2600378.7154 | 1197327.7158
51 | 2600391.365 | 1197322.9822
52 | 2600385.7189 | 1197435.137
53 | 2600358.5505 | 1197427.905
54 | 2600335.6984 | 1197430.5918
55 | 2600281.8305 | 1197229.3459
56 | 2600355.9406 | 1197244.09
57 | 2600350.0781 | 1197233.7776
58 | 2600362.7814 | 1197255.5555
59 | 2600341.0661 | 1197218.2967
60 | 2600340.9906 | 1197218.1648
61 | 2600317.4114 | 1197153.2602
62 | 2600284.3017 | 1197177.3247
63 | 2600254.8621 | 1197319.1948
64 | 2600362.7814 | 1197255.5555

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1