## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_356-15_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_356-15_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_356-15_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_356-15_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_356-15_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_356-15_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_356-15_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_356-15_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_356-15_0_4_node_113 | 0.4 | n |  | TRUE
9 | bus_LV_356-15_0_4_node_101 | 0.4 | n |  | TRUE
10 | bus_LV_356-15_0_4_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_356-15_0_4_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_356-15_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_356-15_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_356-15_0_4_node_90 | 0.4 | n |  | TRUE
15 | bus_LV_356-15_0_4_node_95 | 0.4 | n |  | TRUE
16 | bus_LV_356-15_0_4_node_94 | 0.4 | n |  | TRUE
17 | bus_LV_356-15_0_4_node_99 | 0.4 | n |  | TRUE
18 | bus_LV_356-15_0_4_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_356-15_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_356-15_0_4_node_106 | 0.4 | n |  | TRUE
21 | bus_LV_356-15_0_4_node_109 | 0.4 | n |  | TRUE
22 | bus_LV_356-15_0_4_node_110 | 0.4 | n |  | TRUE
23 | bus_LV_356-15_0_4_node_107 | 0.4 | n |  | TRUE
24 | bus_LV_356-15_0_4_node_81 | 0.4 | n |  | TRUE
25 | bus_LV_356-15_0_4_node_69 | 0.4 | n |  | TRUE
26 | bus_LV_356-15_0_4_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_356-15_0_4_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_356-15_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_356-15_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_356-15_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_356-15_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_356-15_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_356-15_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_356-15_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_356-15_0_4_node_112 | 0.4 | n |  | TRUE
36 | bus_LV_356-15_0_4_node_111 | 0.4 | n |  | TRUE
37 | bus_LV_356-15_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_356-15_0_4_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_356-15_0_4_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_356-15_0_4_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_356-15_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_356-15_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_356-15_0_4_node_105 | 0.4 | n |  | TRUE
44 | bus_LV_356-15_0_4_node_97 | 0.4 | n |  | TRUE
45 | bus_LV_356-15_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_356-15_0_4_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_356-15_0_4_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_356-15_0_4_node_96 | 0.4 | n |  | TRUE
49 | bus_LV_356-15_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_356-15_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_356-15_0_4_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_356-15_0_4_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_356-15_0_4_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_356-15_0_4_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_356-15_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_356-15_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_356-15_0_4_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_356-15_0_4_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_356-15_0_4_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_356-15_0_4_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_356-15_0_4_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_356-15_0_4_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_356-15_0_4_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_356-15_0_4_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_356-15_0_4_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_356-15_0_4_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_356-15_0_4_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_356-15_0_4_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_356-15_0_4_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_356-15_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_356-15_0_4_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_356-15_0_4_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_356-15_0_4_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_356-15_0_4_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_356-15_0_4_node_83 | 0.4 | n |  | TRUE
76 | bus_LV_356-15_0_4_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_356-15_0_4_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_356-15_0_4_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_356-15_0_4_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_356-15_0_4_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_356-15_0_4_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_356-15_0_4_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_356-15_0_4_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_356-15_0_4_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_356-15_0_4_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_356-15_0_4_node_67 | 0.4 | n |  | TRUE
87 | bus_LV_356-15_0_4_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_356-15_0_4_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_356-15_0_4_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_356-15_0_4_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_356-15_0_4_node_114 | 0.4 | n |  | TRUE
92 | bus_LV_356-15_0_4_node_76 | 0.4 | n |  | TRUE
93 | bus_LV_356-15_0_4_node_77 | 0.4 | n |  | TRUE
94 | bus_LV_356-15_0_4_node_78 | 0.4 | n |  | TRUE
95 | bus_LV_356-15_0_4_node_79 | 0.4 | n |  | TRUE
96 | bus_LV_356-15_0_4_node_85 | 0.4 | n |  | TRUE
97 | bus_LV_356-15_0_4_node_86 | 0.4 | n |  | TRUE
98 | bus_LV_356-15_0_4_node_93 | 0.4 | n |  | TRUE
99 | bus_LV_356-15_0_4_node_88 | 0.4 | n |  | TRUE
100 | bus_LV_356-15_0_4_node_87 | 0.4 | n |  | TRUE
101 | bus_LV_356-15_0_4_node_89 | 0.4 | n |  | TRUE
102 | bus_LV_356-15_0_4_node_91 | 0.4 | n |  | TRUE
103 | bus_LV_356-15_0_4_node_92 | 0.4 | n |  | TRUE
104 | bus_LV_356-15_0_4_node_108 | 0.4 | n |  | TRUE
105 | bus_LV_356-15_0_4_node_98 | 0.4 | n |  | TRUE
106 | bus_LV_356-15_0_4_node_100 | 0.4 | n |  | TRUE
107 | bus_LV_356-15_0_4_node_102 | 0.4 | n |  | TRUE
108 | bus_LV_356-15_0_4_node_103 | 0.4 | n |  | TRUE
109 | bus_LV_356-15_0_4_node_104 | 0.4 | n |  | TRUE
110 | bus_MV_456_0_node_129 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_356-15_0_4_load_0 | 0 | 0.003944 | 0.00098847 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_356-15_0_4_load_1 | 1 | 0.017855 | 0.0044748 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_356-15_0_4_load_3 | 3 | 0.0037351 | 0.00093609 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_356-15_0_4_load_113 | 8 | 0.0023878 | 0.00059844 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_356-15_0_4_load_101 | 9 | 0.0065772 | 0.0016484 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_356-15_0_4_load_71 | 10 | 0.0024611 | 0.0006168 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_356-15_0_4_load_70 | 11 | 0.0021928 | 0.00054958 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_356-15_0_4_load_10 | 12 | 0.0022494 | 0.00056376 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_356-15_0_4_load_6 | 13 | 0.043748 | 0.010964 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_356-15_0_4_load_90 | 14 | 0.0068062 | 0.0017058 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_356-15_0_4_load_95 | 15 | 0.0060603 | 0.0015189 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_356-15_0_4_load_94 | 16 | 0.0065625 | 0.0016447 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_356-15_0_4_load_99 | 17 | 0.0060724 | 0.0015219 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_356-15_0_4_load_7 | 18 | 0.0024362 | 0.00061057 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_356-15_0_4_load_9 | 19 | 0.0022884 | 0.00057352 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_356-15_0_4_load_109 | 21 | 0.0023055 | 0.00057781 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_356-15_0_4_load_110 | 22 | 0.0076585 | 0.0019194 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_356-15_0_4_load_107 | 23 | 0.0024386 | 0.00061117 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_356-15_0_4_load_81 | 24 | 0.0026063 | 0.00065319 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_356-15_0_4_load_69 | 25 | 0.0026946 | 0.00067533 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_356-15_0_4_load_12 | 26 | 0.095455 | 0.023923 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_356-15_0_4_load_13 | 27 | 0.0019256 | 0.0004826 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_356-15_0_4_load_15 | 29 | 0.0063827 | 0.0015996 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_356-15_0_4_load_16 | 30 | 0.0019034 | 0.00047704 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_356-15_0_4_load_17 | 31 | 0.0015486 | 0.00038811 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_356-15_0_4_load_18 | 32 | 0.00068096 | 0.00017067 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_356-15_0_4_load_21 | 33 | 0.0085721 | 0.0021484 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_356-15_0_4_load_112 | 35 | 0.0072327 | 0.0018127 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_356-15_0_4_load_23 | 37 | 0.0031931 | 0.00080027 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_356-15_0_4_load_57 | 38 | 0.002872 | 0.0007198 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_356-15_0_4_load_56 | 39 | 0.0025966 | 0.00065077 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_356-15_0_4_load_24 | 40 | 0.0059631 | 0.0014945 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_356-15_0_4_load_105 | 43 | 0.0062338 | 0.0015623 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_356-15_0_4_load_97 | 44 | 0.0055048 | 0.0013796 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_356-15_0_4_load_28 | 45 | 0.0037792 | 0.00094716 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_356-15_0_4_load_82 | 47 | 0.0038799 | 0.0009724 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_356-15_0_4_load_96 | 48 | 0.0050715 | 0.001271 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_356-15_0_4_load_33 | 49 | 0.002447 | 0.00061326 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_356-15_0_4_load_35 | 50 | 0.0015223 | 0.00038153 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_356-15_0_4_load_29 | 51 | 0.0019607 | 0.0004914 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_356-15_0_4_load_30 | 52 | 0.0027851 | 0.00069801 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_356-15_0_4_load_31 | 53 | 0.0027858 | 0.00069819 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_356-15_0_4_load_32 | 54 | 0.0020958 | 0.00052526 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_356-15_0_4_load_45 | 55 | 0.00216 | 0.00054134 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_356-15_0_4_load_43 | 56 | 0.0020969 | 0.00052554 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_356-15_0_4_load_34 | 57 | 0.0018775 | 0.00047054 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_356-15_0_4_load_38 | 59 | 0.0025882 | 0.00064868 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_356-15_0_4_load_39 | 60 | 0.0016814 | 0.00042139 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_356-15_0_4_load_40 | 61 | 0.0023818 | 0.00059692 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_356-15_0_4_load_41 | 62 | 0.0012367 | 0.00030996 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_356-15_0_4_load_42 | 63 | 0.0012936 | 0.00032421 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_356-15_0_4_load_44 | 64 | 0.0019496 | 0.00048862 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_356-15_0_4_load_46 | 65 | 0.0042172 | 0.0010569 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_356-15_0_4_load_47 | 66 | 0.0019448 | 0.00048742 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_356-15_0_4_load_49 | 67 | 0.0036134 | 0.0009056 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_356-15_0_4_load_48 | 68 | 0.002497 | 0.00062581 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_356-15_0_4_load_50 | 69 | 0.0049048 | 0.0012293 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_356-15_0_4_load_51 | 70 | 0.0025542 | 0.00064014 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_356-15_0_4_load_53 | 72 | 0.0033543 | 0.00084068 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_356-15_0_4_load_54 | 73 | 0.0023681 | 0.00059349 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_356-15_0_4_load_55 | 74 | 0.0032059 | 0.00080346 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_356-15_0_4_load_83 | 75 | 0.002486 | 0.00062304 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_356-15_0_4_load_58 | 77 | 0.0016114 | 0.00040385 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_356-15_0_4_load_59 | 78 | 0.0032766 | 0.00082119 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_356-15_0_4_load_60 | 79 | 0.0016062 | 0.00040256 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_356-15_0_4_load_61 | 80 | 0.0014039 | 0.00035186 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_356-15_0_4_load_62 | 81 | 0.0032743 | 0.00082061 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_356-15_0_4_load_63 | 82 | 0.0018398 | 0.00046109 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_356-15_0_4_load_65 | 84 | 0.0036194 | 0.0009071 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_356-15_0_4_load_66 | 85 | 0.0016425 | 0.00041164 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_356-15_0_4_load_72 | 87 | 0.0016397 | 0.00041094 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_356-15_0_4_load_68 | 88 | 0.0051789 | 0.0012979 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_356-15_0_4_load_73 | 89 | 0.0011697 | 0.00029315 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_356-15_0_4_load_114 | 91 | 0.0010313 | 0.00025846 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_356-15_0_4_load_76 | 92 | 0.0025314 | 0.00063444 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_356-15_0_4_load_77 | 93 | 0.004122 | 0.0010331 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_356-15_0_4_load_78 | 94 | 0.0025969 | 0.00065085 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_356-15_0_4_load_79 | 95 | 0.0036477 | 0.00091421 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_356-15_0_4_load_85 | 96 | 0.0030154 | 0.00075572 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_356-15_0_4_load_86 | 97 | 0.0067908 | 0.0017019 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_356-15_0_4_load_93 | 98 | 0.0018815 | 0.00047154 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_356-15_0_4_load_87 | 100 | 0.0043136 | 0.0010811 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_356-15_0_4_load_91 | 102 | 0.0023817 | 0.00059692 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_356-15_0_4_load_92 | 103 | 0.0030329 | 0.00076012 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_356-15_0_4_load_108 | 104 | 0.0022301 | 0.00055891 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_356-15_0_4_load_98 | 105 | 0.0073571 | 0.0018439 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_356-15_0_4_load_102 | 107 | 0.0067933 | 0.0017026 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_356-15_0_4_load_103 | 108 | 0.0073204 | 0.0018347 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_356-15_0_4_load_104 | 109 | 0.0073631 | 0.0018454 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 99 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_356-15_0_4_line_0 |  | 0 | 1 | 0.022599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_356-15_0_4_line_1 |  | 0 | 2 | 0.0094785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_356-15_0_4_line_2 |  | 1 | 3 | 0.0073863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_356-15_0_4_line_3 |  | 2 | 4 | 0.016153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_356-15_0_4_line_4 |  | 2 | 5 | 0.025925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_356-15_0_4_line_5 |  | 3 | 6 | 0.025234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_356-15_0_4_line_6 |  | 4 | 7 | 0.039606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_356-15_0_4_line_7 |  | 4 | 8 | 0.017091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_356-15_0_4_line_8 |  | 5 | 9 | 0.024508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_356-15_0_4_line_9 |  | 6 | 10 | 0.0087413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_356-15_0_4_line_10 |  | 6 | 11 | 0.010181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_356-15_0_4_line_11 |  | 7 | 12 | 0.017912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_356-15_0_4_line_12 |  | 7 | 13 | 0.017472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_356-15_0_4_line_13 |  | 8 | 14 | 0.012877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_356-15_0_4_line_14 |  | 9 | 17 | 0.00013336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_356-15_0_4_line_15 |  | 10 | 24 | 0.021816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_356-15_0_4_line_16 |  | 11 | 25 | 0.0045579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_356-15_0_4_line_17 |  | 12 | 21 | 0.007213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_356-15_0_4_line_18 |  | 13 | 18 | 0.029209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_356-15_0_4_line_19 |  | 15 | 16 | 0.012465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_356-15_0_4_line_20 |  | 16 | 48 | 0.022417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_356-15_0_4_line_21 |  | 17 | 105 | 0.0059824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_356-15_0_4_line_22 |  | 18 | 19 | 0.012483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_356-15_0_4_line_23 |  | 19 | 20 | 0.0061858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_356-15_0_4_line_24 |  | 20 | 22 | 0.01673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_356-15_0_4_line_25 |  | 21 | 23 | 0.00058083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_356-15_0_4_line_26 |  | 22 | 36 | 0.02509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_356-15_0_4_line_27 |  | 23 | 104 | 0.02643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_356-15_0_4_line_28 |  | 24 | 90 | 0.0052796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_356-15_0_4_line_29 |  | 25 | 86 | 0.01074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_356-15_0_4_line_30 |  | 26 | 27 | 0.0037012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_356-15_0_4_line_31 |  | 26 | 28 | 0.010242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_356-15_0_4_line_32 |  | 27 | 29 | 0.020242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_356-15_0_4_line_33 |  | 28 | 30 | 0.027563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_356-15_0_4_line_34 |  | 30 | 31 | 0.012063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_356-15_0_4_line_35 |  | 31 | 32 | 0.0091693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_356-15_0_4_line_36 |  | 32 | 33 | 8.7614e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_356-15_0_4_line_37 |  | 33 | 34 | 0.029777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_356-15_0_4_line_38 |  | 34 | 37 | 0.034145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_356-15_0_4_line_39 |  | 35 | 36 | 0.024781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_356-15_0_4_line_40 |  | 37 | 38 | 0.0071654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_356-15_0_4_line_41 |  | 38 | 39 | 0.017414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_356-15_0_4_line_42 |  | 39 | 74 | 0.0037029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_356-15_0_4_line_43 |  | 40 | 41 | 0.036924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_356-15_0_4_line_44 |  | 41 | 42 | 0.009455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_356-15_0_4_line_45 |  | 42 | 43 | 0.014302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_356-15_0_4_line_46 |  | 42 | 44 | 0.0098656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_356-15_0_4_line_47 |  | 43 | 47 | 0.037591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_356-15_0_4_line_48 |  | 44 | 48 | 0.012503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_356-15_0_4_line_49 |  | 45 | 46 | 0.011532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_356-15_0_4_line_50 |  | 46 | 49 | 0.010452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_356-15_0_4_line_51 |  | 46 | 50 | 0.013488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_356-15_0_4_line_52 |  | 47 | 90 | 0.005351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_356-15_0_4_line_53 |  | 49 | 53 | 0.0085311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_356-15_0_4_line_54 |  | 50 | 57 | 0.00068848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_356-15_0_4_line_55 |  | 51 | 52 | 0.0033782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_356-15_0_4_line_56 |  | 51 | 53 | 0.0095265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_356-15_0_4_line_57 |  | 52 | 54 | 0.012977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_356-15_0_4_line_58 |  | 54 | 55 | 0.0069055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_356-15_0_4_line_59 |  | 55 | 56 | 0.0040449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_356-15_0_4_line_60 |  | 56 | 62 | 0.0019666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_356-15_0_4_line_61 |  | 57 | 58 | 0.017391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_356-15_0_4_line_62 |  | 58 | 59 | 0.006745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_356-15_0_4_line_63 |  | 58 | 60 | 0.006634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_356-15_0_4_line_64 |  | 61 | 62 | 0.014416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_356-15_0_4_line_65 |  | 61 | 63 | 0.0044376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_356-15_0_4_line_66 |  | 63 | 64 | 0.014805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_356-15_0_4_line_67 |  | 64 | 65 | 0.0017629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_356-15_0_4_line_68 |  | 65 | 66 | 0.0048623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_356-15_0_4_line_69 |  | 66 | 67 | 0.014391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_356-15_0_4_line_70 |  | 67 | 68 | 0.0094646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_356-15_0_4_line_71 |  | 68 | 69 | 0.010094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_356-15_0_4_line_72 |  | 69 | 70 | 0.011305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_356-15_0_4_line_73 |  | 70 | 71 | 0.016606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_356-15_0_4_line_74 |  | 71 | 72 | 0.015864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_356-15_0_4_line_75 |  | 71 | 73 | 0.019619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_356-15_0_4_line_76 |  | 72 | 74 | 0.017306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_356-15_0_4_line_77 |  | 73 | 75 | 0.0054911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_356-15_0_4_line_78 |  | 75 | 76 | 0.023965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_356-15_0_4_line_79 |  | 76 | 96 | 0.01788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_356-15_0_4_line_80 |  | 76 | 97 | 0.015358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_356-15_0_4_line_81 |  | 77 | 78 | 0.0022082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_356-15_0_4_line_82 |  | 77 | 79 | 0.0073202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_356-15_0_4_line_83 |  | 78 | 80 | 0.0098436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_356-15_0_4_line_84 |  | 79 | 81 | 0.013052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_356-15_0_4_line_85 |  | 80 | 82 | 0.0058887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_356-15_0_4_line_86 |  | 82 | 83 | 0.011013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_356-15_0_4_line_87 |  | 83 | 84 | 0.015207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_356-15_0_4_line_88 |  | 83 | 85 | 0.019131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_356-15_0_4_line_89 |  | 84 | 86 | 0.010591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_356-15_0_4_line_90 |  | 85 | 87 | 0.00659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_356-15_0_4_line_91 |  | 86 | 88 | 0.02077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_356-15_0_4_line_92 |  | 87 | 89 | 0.017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_356-15_0_4_line_93 |  | 89 | 91 | 0.0034976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_356-15_0_4_line_94 |  | 90 | 95 | 0.022545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_356-15_0_4_line_95 |  | 92 | 93 | 0.0089278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_356-15_0_4_line_96 |  | 93 | 94 | 0.0088401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_356-15_0_4_line_97 |  | 94 | 95 | 0.020153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_356-15_0_4_line_98 |  | 96 | 98 | 0.015289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_356-15_0_4_line_99 |  | 97 | 99 | 0.0088906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
100 | LV_356-15_0_4_line_100 |  | 99 | 100 | 0.013546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
101 | LV_356-15_0_4_line_101 |  | 100 | 101 | 0.011874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
102 | LV_356-15_0_4_line_102 |  | 101 | 102 | 0.030355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
103 | LV_356-15_0_4_line_103 |  | 101 | 103 | 0.01003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_356-15_0_4_line_104 |  | 102 | 104 | 0.012327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
105 | LV_356-15_0_4_line_105 |  | 105 | 106 | 0.02008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_356-15_0_4_line_106 |  | 106 | 107 | 0.010692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_356-15_0_4_line_107 |  | 106 | 108 | 0.019692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_356-15_0_4_line_108 |  | 107 | 109 | 0.012486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_356-15_0_4_trafo_88 | 0.63 MVA 20/0.4 kV | 110 | 99 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2605414.1518 | 1197698.795 | 2605416.3228 | 1197698.0743 | 2605434.944 | 1197689.9613
1 | 2605404.7158 | 1197699.1978 | 2605411.6154 | 1197699.2596 | 2605414.1518 | 1197698.795
2 | 2605434.944 | 1197689.9613 | 2605441.7155 | 1197687.011
3 | 2605404.7158 | 1197699.1978 | 2605396.8592 | 1197713.3206
4 | 2605404.7158 | 1197699.1978 | 2605411.3827 | 1197686.8972 | 2605415.7838 | 1197679.2415 | 2605417.3017 | 1197676.5192
5 | 2605464.6705 | 1197676.5507 | 2605457.8286 | 1197679.9908 | 2605441.7155 | 1197687.011
6 | 2605396.8592 | 1197713.3206 | 2605384.76 | 1197736.8335 | 2605378.4213 | 1197748.3896
7 | 2605396.8592 | 1197713.3206 | 2605391.8958 | 1197711.1039 | 2605381.5758 | 1197705.6867
8 | 2605417.3017 | 1197676.5192 | 2605395.6748 | 1197664.9899
9 | 2605464.6705 | 1197676.5507 | 2605463.8839 | 1197670.5801 | 2605464.0954 | 1197667.8692
10 | 2605464.6705 | 1197676.5507 | 2605468.0757 | 1197675.3865 | 2605472.3182 | 1197674.7233 | 2605474.6041 | 1197674.627
11 | 2605378.4213 | 1197748.3896 | 2605363.0514 | 1197739.1912
12 | 2605378.4213 | 1197748.3896 | 2605369.9726 | 1197763.6827
13 | 2605381.5758 | 1197705.6867 | 2605370.1739 | 1197699.7016
14 | 2605395.5571 | 1197664.9272 | 2605395.6748 | 1197664.9899
15 | 2605464.0954 | 1197667.8692 | 2605465.7923 | 1197646.1189
16 | 2605479.158 | 1197674.4352 | 2605474.6041 | 1197674.627
17 | 2605356.8621 | 1197735.4872 | 2605363.0514 | 1197739.1912
18 | 2605369.9726 | 1197763.6827 | 2605369.6799 | 1197764.2125 | 2605356.0963 | 1197789.3855
19 | 2605444.4689 | 1197625.7617 | 2605438.5867 | 1197636.7518
20 | 2605444.4689 | 1197625.7617 | 2605450.3632 | 1197614.7493 | 2605455.0635 | 1197606.0061
21 | 2605390.278 | 1197662.1129 | 2605395.5571 | 1197664.9272
22 | 2605356.0963 | 1197789.3855 | 2605350.1684 | 1197800.371
23 | 2605347.2309 | 1197805.8148 | 2605350.1684 | 1197800.371
24 | 2605347.2309 | 1197805.8148 | 2605339.0345 | 1197820.3994
25 | 2605356.8621 | 1197735.4872 | 2605356.3637 | 1197735.1889
26 | 2605326.5459 | 1197842.1604 | 2605337.4144 | 1197823.2821 | 2605339.0345 | 1197820.3994
27 | 2605356.3637 | 1197735.1889 | 2605343.4466 | 1197727.4585 | 2605333.4574 | 1197722.0143
28 | 2605466.203 | 1197640.8553 | 2605465.7923 | 1197646.1189
29 | 2605489.888 | 1197673.9833 | 2605479.158 | 1197674.4352
30 | 2605209.5776 | 1197766.3917 | 2605209.912 | 1197767.9749 | 2605210.0716 | 1197770.0519
31 | 2605207.7897 | 1197756.3113 | 2605208.6227 | 1197761.8706 | 2605209.5776 | 1197766.3917
32 | 2605210.6281 | 1197790.2294 | 2605209.8144 | 1197784.0834 | 2605210.1982 | 1197771.6994 | 2605210.0716 | 1197770.0519
33 | 2605207.7897 | 1197756.3113 | 2605211.379 | 1197735.9035 | 2605211.5035 | 1197729.0622
34 | 2605211.5035 | 1197729.0622 | 2605211.7227 | 1197717.0271 | 2605211.7311 | 1197717.0031
35 | 2605211.7311 | 1197717.0031 | 2605213.5625 | 1197711.7814 | 2605213.1457 | 1197708.1697
36 | 2605213.1457 | 1197708.1697 | 2605213.1357 | 1197708.0827
37 | 2605209.7986 | 1197678.4938 | 2605210.5615 | 1197685.7761 | 2605213.1357 | 1197708.0827
38 | 2605209.7986 | 1197678.4938 | 2605220.6796 | 1197671.5995 | 2605230.8295 | 1197664.7601 | 2605237.7888 | 1197659.0143
39 | 2605326.5459 | 1197842.1604 | 2605304.4503 | 1197830.9418
40 | 2605237.7888 | 1197659.0143 | 2605243.3142 | 1197654.4524
41 | 2605256.7426 | 1197643.3656 | 2605243.3142 | 1197654.4524
42 | 2605256.7426 | 1197643.3656 | 2605258.6996 | 1197641.7498 | 2605259.6122 | 1197641.0256
43 | 2605467.6011 | 1197576.9891 | 2605467.6922 | 1197568.8182 | 2605466.776 | 1197563.0032 | 2605464.7728 | 1197554.8303 | 2605461.2553 | 1197540.8139
44 | 2605465.3005 | 1197586.1253 | 2605466.8964 | 1197581.4131 | 2605467.6011 | 1197576.9891
45 | 2605465.3005 | 1197586.1253 | 2605468.9156 | 1197588.7077 | 2605470.2921 | 1197590.7989 | 2605470.671 | 1197592.8893 | 2605470.1858 | 1197598.0981
46 | 2605465.3005 | 1197586.1253 | 2605462.0118 | 1197593.0816 | 2605460.9838 | 1197594.9939
47 | 2605470.1858 | 1197598.0981 | 2605466.6993 | 1197635.5273
48 | 2605460.9838 | 1197594.9939 | 2605455.0635 | 1197606.0061
49 | 2605411.3094 | 1197521.8981 | 2605421.4685 | 1197516.4407
50 | 2605411.3094 | 1197521.8981 | 2605402.2524 | 1197527.115
51 | 2605411.3094 | 1197521.8981 | 2605405.9089 | 1197509.5382
52 | 2605466.203 | 1197640.8553 | 2605466.6993 | 1197635.5273
53 | 2605402.2524 | 1197527.115 | 2605397.3578 | 1197529.9344 | 2605394.9934 | 1197531.5833
54 | 2605405.6332 | 1197508.9073 | 2605405.9089 | 1197509.5382
55 | 2605387.2344 | 1197537.1058 | 2605384.6053 | 1197539.2273
56 | 2605387.2344 | 1197537.1058 | 2605388.2513 | 1197536.2852 | 2605394.9934 | 1197531.5833
57 | 2605384.6053 | 1197539.2273 | 2605374.5062 | 1197547.3769
58 | 2605369.1322 | 1197551.7135 | 2605374.5062 | 1197547.3769
59 | 2605369.1322 | 1197551.7135 | 2605365.9844 | 1197554.2536
60 | 2605364.4539 | 1197555.4887 | 2605365.9844 | 1197554.2536
61 | 2605398.6702 | 1197492.9714 | 2605405.6332 | 1197508.9073
62 | 2605398.6702 | 1197492.9714 | 2605392.0357 | 1197494.2884
63 | 2605398.6702 | 1197492.9714 | 2605403.1679 | 1197488.0839
64 | 2605353.2352 | 1197564.5416 | 2605364.4539 | 1197555.4887
65 | 2605353.2352 | 1197564.5416 | 2605350.435 | 1197566.8013 | 2605349.7881 | 1197567.3361
66 | 2605338.3777 | 1197576.7692 | 2605349.7881 | 1197567.3361
67 | 2605338.3777 | 1197576.7692 | 2605337.019 | 1197577.8924
68 | 2605337.019 | 1197577.8924 | 2605333.2715 | 1197580.9905
69 | 2605322.18 | 1197590.16 | 2605333.2715 | 1197580.9905
70 | 2605314.8855 | 1197596.1905 | 2605322.18 | 1197590.16
71 | 2605314.8855 | 1197596.1905 | 2605307.1058 | 1197602.622
72 | 2605298.3925 | 1197609.8254 | 2605307.1058 | 1197602.622
73 | 2605285.5938 | 1197620.4062 | 2605298.3925 | 1197609.8254
74 | 2605285.5938 | 1197620.4062 | 2605273.1677 | 1197630.2677
75 | 2605285.5938 | 1197620.4062 | 2605297.9137 | 1197635.6742
76 | 2605273.1677 | 1197630.2677 | 2605259.6122 | 1197641.0256
77 | 2605301.3619 | 1197639.9476 | 2605297.9137 | 1197635.6742
78 | 2605316.4112 | 1197658.598 | 2605301.3619 | 1197639.9476
79 | 2605316.4112 | 1197658.598 | 2605302.3449 | 1197669.6365
80 | 2605316.4112 | 1197658.598 | 2605325.0531 | 1197671.2935
81 | 2605544.587 | 1197671.6157 | 2605542.3803 | 1197671.6963
82 | 2605544.587 | 1197671.6157 | 2605551.9023 | 1197671.3485
83 | 2605542.3803 | 1197671.6963 | 2605532.5433 | 1197672.0557
84 | 2605564.9458 | 1197670.8721 | 2605551.9023 | 1197671.3485
85 | 2605526.6586 | 1197672.2706 | 2605532.5433 | 1197672.0557
86 | 2605515.6526 | 1197672.6726 | 2605526.6586 | 1197672.2706
87 | 2605515.6526 | 1197672.6726 | 2605500.4655 | 1197673.4452
88 | 2605515.6526 | 1197672.6726 | 2605516.1427 | 1197691.7974
89 | 2605489.888 | 1197673.9833 | 2605500.4655 | 1197673.4452
90 | 2605516.1427 | 1197691.7974 | 2605516.3115 | 1197698.3852
91 | 2605489.888 | 1197673.9833 | 2605490.8059 | 1197694.7285
92 | 2605516.3115 | 1197698.3852 | 2605516.747 | 1197715.3797
93 | 2605516.8366 | 1197718.8761 | 2605516.747 | 1197715.3797
94 | 2605466.203 | 1197640.8553 | 2605480.2089 | 1197640.0008 | 2605488.7167 | 1197639.711
95 | 2605526.6156 | 1197638.4203 | 2605517.693 | 1197638.7242
96 | 2605508.858 | 1197639.0251 | 2605517.693 | 1197638.7242
97 | 2605488.7167 | 1197639.711 | 2605508.858 | 1197639.0251
98 | 2605290.3175 | 1197679.075 | 2605302.3449 | 1197669.6365
99 | 2605330.0559 | 1197678.6429 | 2605325.0531 | 1197671.2935
100 | 2605330.0559 | 1197678.6429 | 2605328.9186 | 1197681.5435 | 2605320.9462 | 1197688.2687
101 | 2605311.87 | 1197695.9251 | 2605320.9462 | 1197688.2687
102 | 2605311.87 | 1197695.9251 | 2605313.7031 | 1197698.4836 | 2605308.3908 | 1197703.3704 | 2605311.7585 | 1197710.1881 | 2605322.6333 | 1197716.115
103 | 2605304.1878 | 1197702.3996 | 2605311.87 | 1197695.9251
104 | 2605333.4574 | 1197722.0143 | 2605322.6333 | 1197716.115
105 | 2605372.5586 | 1197652.6666 | 2605390.278 | 1197662.1129
106 | 2605372.5586 | 1197652.6666 | 2605377.4058 | 1197643.137
107 | 2605372.5586 | 1197652.6666 | 2605366.8495 | 1197649.6933 | 2605363.8097 | 1197651.0469 | 2605358.806 | 1197659.6207
108 | 2605383.0664 | 1197632.0083 | 2605377.4058 | 1197643.137

## bus_geodata
| x | y | coords
0 | 2605414.1518 | 1197698.795
1 | 2605434.944 | 1197689.9613
2 | 2605404.7158 | 1197699.1978
3 | 2605441.7155 | 1197687.011
4 | 2605396.8592 | 1197713.3206
5 | 2605417.3017 | 1197676.5192
6 | 2605464.6705 | 1197676.5507
7 | 2605378.4213 | 1197748.3896
8 | 2605381.5758 | 1197705.6867
9 | 2605395.6748 | 1197664.9899
10 | 2605464.0954 | 1197667.8692
11 | 2605474.6041 | 1197674.627
12 | 2605363.0514 | 1197739.1912
13 | 2605369.9726 | 1197763.6827
14 | 2605370.1739 | 1197699.7016
15 | 2605438.5867 | 1197636.7518
16 | 2605444.4689 | 1197625.7617
17 | 2605395.5571 | 1197664.9272
18 | 2605356.0963 | 1197789.3855
19 | 2605350.1684 | 1197800.371
20 | 2605347.2309 | 1197805.8148
21 | 2605356.8621 | 1197735.4872
22 | 2605339.0345 | 1197820.3994
23 | 2605356.3637 | 1197735.1889
24 | 2605465.7923 | 1197646.1189
25 | 2605479.158 | 1197674.4352
26 | 2605209.5776 | 1197766.3917
27 | 2605210.0716 | 1197770.0519
28 | 2605207.7897 | 1197756.3113
29 | 2605210.6281 | 1197790.2294
30 | 2605211.5035 | 1197729.0622
31 | 2605211.7311 | 1197717.0031
32 | 2605213.1457 | 1197708.1697
33 | 2605213.1357 | 1197708.0827
34 | 2605209.7986 | 1197678.4938
35 | 2605304.4503 | 1197830.9418
36 | 2605326.5459 | 1197842.1604
37 | 2605237.7888 | 1197659.0143
38 | 2605243.3142 | 1197654.4524
39 | 2605256.7426 | 1197643.3656
40 | 2605461.2553 | 1197540.8139
41 | 2605467.6011 | 1197576.9891
42 | 2605465.3005 | 1197586.1253
43 | 2605470.1858 | 1197598.0981
44 | 2605460.9838 | 1197594.9939
45 | 2605421.4685 | 1197516.4407
46 | 2605411.3094 | 1197521.8981
47 | 2605466.6993 | 1197635.5273
48 | 2605455.0635 | 1197606.0061
49 | 2605402.2524 | 1197527.115
50 | 2605405.9089 | 1197509.5382
51 | 2605387.2344 | 1197537.1058
52 | 2605384.6054 | 1197539.2273
53 | 2605394.9934 | 1197531.5833
54 | 2605374.5062 | 1197547.3769
55 | 2605369.1322 | 1197551.7135
56 | 2605365.9844 | 1197554.2536
57 | 2605405.6332 | 1197508.9073
58 | 2605398.6702 | 1197492.9714
59 | 2605392.0357 | 1197494.2884
60 | 2605403.1679 | 1197488.0839
61 | 2605353.2352 | 1197564.5416
62 | 2605364.4539 | 1197555.4887
63 | 2605349.7881 | 1197567.3361
64 | 2605338.3777 | 1197576.7692
65 | 2605337.019 | 1197577.8924
66 | 2605333.2715 | 1197580.9905
67 | 2605322.18 | 1197590.16
68 | 2605314.8855 | 1197596.1905
69 | 2605307.1058 | 1197602.622
70 | 2605298.3925 | 1197609.8254
71 | 2605285.5938 | 1197620.4062
72 | 2605273.1677 | 1197630.2677
73 | 2605297.9137 | 1197635.6742
74 | 2605259.6122 | 1197641.0256
75 | 2605301.3619 | 1197639.9476
76 | 2605316.4112 | 1197658.598
77 | 2605544.587 | 1197671.6157
78 | 2605542.3803 | 1197671.6963
79 | 2605551.9023 | 1197671.3485
80 | 2605532.5433 | 1197672.0557
81 | 2605564.9458 | 1197670.8721
82 | 2605526.6586 | 1197672.2706
83 | 2605515.6526 | 1197672.6726
84 | 2605500.4655 | 1197673.4452
85 | 2605516.1427 | 1197691.7974
86 | 2605489.888 | 1197673.9833
87 | 2605516.3115 | 1197698.3852
88 | 2605490.8059 | 1197694.7285
89 | 2605516.747 | 1197715.3797
90 | 2605466.203 | 1197640.8553
91 | 2605516.8366 | 1197718.8761
92 | 2605526.6156 | 1197638.4203
93 | 2605517.693 | 1197638.7242
94 | 2605508.858 | 1197639.0251
95 | 2605488.7167 | 1197639.711
96 | 2605302.3449 | 1197669.6365
97 | 2605325.0531 | 1197671.2935
98 | 2605290.3175 | 1197679.075
99 | 2605330.0559 | 1197678.6429
100 | 2605320.9462 | 1197688.2687
101 | 2605311.87 | 1197695.9251
102 | 2605322.6333 | 1197716.115
103 | 2605304.1878 | 1197702.3996
104 | 2605333.4574 | 1197722.0143
105 | 2605390.278 | 1197662.1129
106 | 2605372.5586 | 1197652.6666
107 | 2605377.4058 | 1197643.137
108 | 2605358.806 | 1197659.6207
109 | 2605383.0664 | 1197632.0083
110 | 2605316.4112 | 1197658.598

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1