## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_356-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_356-16_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_356-16_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_356-16_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_356-16_0_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_356-16_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_356-16_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_356-16_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_356-16_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_356-16_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_356-16_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_356-16_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_356-16_0_4_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_356-16_0_4_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_356-16_0_4_node_93 | 0.4 | n |  | TRUE
15 | bus_LV_356-16_0_4_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_356-16_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_356-16_0_4_node_94 | 0.4 | n |  | TRUE
18 | bus_LV_356-16_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_356-16_0_4_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_356-16_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_356-16_0_4_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_356-16_0_4_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_356-16_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_356-16_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_356-16_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_356-16_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_356-16_0_4_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_356-16_0_4_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_356-16_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_356-16_0_4_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_356-16_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_356-16_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_356-16_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_356-16_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_356-16_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_356-16_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_356-16_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_356-16_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_356-16_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_356-16_0_4_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_356-16_0_4_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_356-16_0_4_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_356-16_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_356-16_0_4_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_356-16_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_356-16_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_356-16_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_356-16_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_356-16_0_4_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_356-16_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_356-16_0_4_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_356-16_0_4_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_356-16_0_4_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_356-16_0_4_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_356-16_0_4_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_356-16_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_356-16_0_4_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_356-16_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_356-16_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_356-16_0_4_node_84 | 0.4 | n |  | TRUE
61 | bus_LV_356-16_0_4_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_356-16_0_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_356-16_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_356-16_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_356-16_0_4_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_356-16_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_356-16_0_4_node_95 | 0.4 | n |  | TRUE
68 | bus_LV_356-16_0_4_node_96 | 0.4 | n |  | TRUE
69 | bus_LV_356-16_0_4_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_356-16_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_356-16_0_4_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_356-16_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_356-16_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_356-16_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_356-16_0_4_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_356-16_0_4_node_85 | 0.4 | n |  | TRUE
77 | bus_LV_356-16_0_4_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_356-16_0_4_node_91 | 0.4 | n |  | TRUE
79 | bus_LV_356-16_0_4_node_92 | 0.4 | n |  | TRUE
80 | bus_LV_356-16_0_4_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_356-16_0_4_node_90 | 0.4 | n |  | TRUE
82 | bus_LV_356-16_0_4_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_356-16_0_4_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_356-16_0_4_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_356-16_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_356-16_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_356-16_0_4_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_356-16_0_4_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_356-16_0_4_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_356-16_0_4_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_356-16_0_4_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_356-16_0_4_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_356-16_0_4_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_356-16_0_4_node_89 | 0.4 | n |  | TRUE
95 | bus_MV_456_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_356-16_0_4_load_0 | 0 | 0.010083 | 0.0025271 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_356-16_0_4_load_1 | 1 | 0.0041498 | 0.00104 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_356-16_0_4_load_2 | 2 | 0.0068708 | 0.001722 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_356-16_0_4_load_3 | 3 | 0.0069945 | 0.001753 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_356-16_0_4_load_9 | 4 | 0.0070531 | 0.0017677 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_356-16_0_4_load_10 | 5 | 0.0066293 | 0.0016615 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_356-16_0_4_load_11 | 6 | 0.0068939 | 0.0017278 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_356-16_0_4_load_4 | 7 | 0.0053015 | 0.0013287 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_356-16_0_4_load_5 | 8 | 0.0054303 | 0.001361 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_356-16_0_4_load_7 | 10 | 0.0026776 | 0.00067107 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_356-16_0_4_load_58 | 12 | 0.0020356 | 0.00051018 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_356-16_0_4_load_60 | 13 | 0.0047558 | 0.0011919 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_356-16_0_4_load_93 | 14 | 0.011801 | 0.0029577 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_356-16_0_4_load_57 | 15 | 0.0020905 | 0.00052393 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_356-16_0_4_load_16 | 16 | 0.011841 | 0.0029676 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_356-16_0_4_load_17 | 18 | 0.0072823 | 0.0018251 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_356-16_0_4_load_18 | 20 | 0.0052213 | 0.0013086 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_356-16_0_4_load_44 | 21 | 0.0082249 | 0.0020614 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_356-16_0_4_load_39 | 22 | 0.0041508 | 0.0010403 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_356-16_0_4_load_12 | 23 | 0.005529 | 0.0013857 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_356-16_0_4_load_13 | 24 | 0.0084344 | 0.0021138 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_356-16_0_4_load_14 | 25 | 0.0055489 | 0.0013907 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_356-16_0_4_load_15 | 26 | 0.0086952 | 0.0021792 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_356-16_0_4_load_50 | 27 | 0.0025412 | 0.00063688 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_356-16_0_4_load_49 | 28 | 0.004318 | 0.0010822 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_356-16_0_4_load_45 | 30 | 0.0025341 | 0.00063511 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_356-16_0_4_load_30 | 32 | 0.0046623 | 0.0011685 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_356-16_0_4_load_26 | 33 | 0.0052649 | 0.0013195 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_356-16_0_4_load_20 | 34 | 0.0017555 | 0.00043996 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_356-16_0_4_load_21 | 35 | 0.0019736 | 0.00049464 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_356-16_0_4_load_22 | 36 | 0.0018057 | 0.00045256 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_356-16_0_4_load_24 | 38 | 0.0018437 | 0.00046207 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_356-16_0_4_load_25 | 39 | 0.0014471 | 0.00036268 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_356-16_0_4_load_69 | 41 | 0.0014029 | 0.00035161 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_356-16_0_4_load_47 | 42 | 0.0042072 | 0.0010544 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_356-16_0_4_load_68 | 44 | 0.0014026 | 0.00035152 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_356-16_0_4_load_27 | 45 | 0.0038453 | 0.00096373 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_356-16_0_4_load_36 | 48 | 0.01015 | 0.0025438 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_356-16_0_4_load_51 | 49 | 0.0020304 | 0.00050886 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_356-16_0_4_load_38 | 50 | 0.0017885 | 0.00044824 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_356-16_0_4_load_32 | 51 | 0.0019334 | 0.00048456 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_356-16_0_4_load_33 | 52 | 0.007448 | 0.0018666 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_356-16_0_4_load_34 | 53 | 0.0033528 | 0.00084029 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_356-16_0_4_load_37 | 55 | 0.002524 | 0.00063257 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_356-16_0_4_load_43 | 56 | 0.0042658 | 0.0010691 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_356-16_0_4_load_61 | 57 | 0.0061255 | 0.0015352 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_356-16_0_4_load_46 | 58 | 0.0051602 | 0.0012933 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_356-16_0_4_load_48 | 59 | 0.0036167 | 0.00090644 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_356-16_0_4_load_72 | 61 | 0.0014086 | 0.00035303 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_356-16_0_4_load_52 | 62 | 0.012065 | 0.0030238 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_356-16_0_4_load_53 | 63 | 0.0061287 | 0.001536 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_356-16_0_4_load_56 | 66 | 0.011895 | 0.0029811 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_356-16_0_4_load_95 | 67 | 0.012286 | 0.0030791 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_356-16_0_4_load_96 | 68 | 0.01216 | 0.0030475 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_356-16_0_4_load_62 | 69 | 0.003903 | 0.00097817 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_356-16_0_4_load_63 | 70 | 0.0031618 | 0.00079243 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_356-16_0_4_load_67 | 74 | 0.001574 | 0.00039449 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_356-16_0_4_load_86 | 75 | 0.0022718 | 0.00056936 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_356-16_0_4_load_85 | 76 | 0.003648 | 0.00091427 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_356-16_0_4_load_70 | 77 | 0.0027886 | 0.0006989 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_356-16_0_4_load_91 | 78 | 0.0014383 | 0.00036047 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_356-16_0_4_load_92 | 79 | 0.0028323 | 0.00070985 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_356-16_0_4_load_83 | 80 | 0.0021738 | 0.00054481 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_356-16_0_4_load_90 | 81 | 0.0027975 | 0.00070112 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_356-16_0_4_load_71 | 82 | 0.0093032 | 0.0023316 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_356-16_0_4_load_73 | 83 | 0.0015526 | 0.00038912 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_356-16_0_4_load_75 | 84 | 0.012381 | 0.0031029 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_356-16_0_4_load_82 | 85 | 0.0026719 | 0.00066965 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_356-16_0_4_load_81 | 86 | 0.0066496 | 0.0016666 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_356-16_0_4_load_76 | 87 | 0.004541 | 0.0011381 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_356-16_0_4_load_77 | 88 | 0.0024156 | 0.0006054 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_356-16_0_4_load_78 | 89 | 0.0045068 | 0.0011295 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_356-16_0_4_load_87 | 90 | 0.0031866 | 0.00079864 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_356-16_0_4_load_88 | 91 | 0.0031996 | 0.0008019 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_356-16_0_4_load_79 | 92 | 0.00099682 | 0.00024983 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_356-16_0_4_load_80 | 93 | 0.021109 | 0.0052903 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_356-16_0_4_load_89 | 94 | 0.0029387 | 0.0007365 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_356-16_0_4_line_0 |  | 0 | 1 | 0.028439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_356-16_0_4_line_1 |  | 0 | 2 | 0.037355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_356-16_0_4_line_2 |  | 2 | 3 | 0.015274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_356-16_0_4_line_3 |  | 3 | 4 | 0.02097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_356-16_0_4_line_4 |  | 4 | 5 | 0.036177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_356-16_0_4_line_5 |  | 4 | 6 | 0.027437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_356-16_0_4_line_6 |  | 5 | 18 | 0.021955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_356-16_0_4_line_7 |  | 6 | 19 | 0.0060032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_356-16_0_4_line_8 |  | 7 | 8 | 0.014363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_356-16_0_4_line_9 |  | 7 | 9 | 0.005708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_356-16_0_4_line_10 |  | 8 | 10 | 0.025982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_356-16_0_4_line_11 |  | 9 | 11 | 0.024561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_356-16_0_4_line_12 |  | 10 | 12 | 0.0066553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_356-16_0_4_line_13 |  | 11 | 13 | 0.017834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_356-16_0_4_line_14 |  | 11 | 14 | 0.031798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_356-16_0_4_line_15 |  | 12 | 15 | 0.0055212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_356-16_0_4_line_16 |  | 13 | 16 | 0.019403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_356-16_0_4_line_17 |  | 14 | 17 | 0.047697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_356-16_0_4_line_18 |  | 16 | 25 | 0.0069438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_356-16_0_4_line_19 |  | 17 | 65 | 0.020637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_356-16_0_4_line_20 |  | 18 | 20 | 0.0083767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_356-16_0_4_line_21 |  | 19 | 21 | 0.019767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_356-16_0_4_line_22 |  | 19 | 22 | 0.023156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_356-16_0_4_line_23 |  | 20 | 29 | 0.013719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_356-16_0_4_line_24 |  | 21 | 57 | 0.014335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_356-16_0_4_line_25 |  | 22 | 43 | 0.0098426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_356-16_0_4_line_26 |  | 23 | 24 | 0.010093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_356-16_0_4_line_27 |  | 23 | 25 | 0.016063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_356-16_0_4_line_28 |  | 24 | 26 | 0.005157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_356-16_0_4_line_29 |  | 26 | 27 | 0.01448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_356-16_0_4_line_30 |  | 27 | 28 | 0.0021896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_356-16_0_4_line_31 |  | 28 | 30 | 0.0035759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_356-16_0_4_line_32 |  | 29 | 30 | 0.04913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_356-16_0_4_line_33 |  | 29 | 31 | 0.012963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_356-16_0_4_line_34 |  | 31 | 32 | 0.040489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_356-16_0_4_line_35 |  | 31 | 33 | 0.01047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_356-16_0_4_line_36 |  | 32 | 48 | 0.035708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_356-16_0_4_line_37 |  | 34 | 35 | 0.0060423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_356-16_0_4_line_38 |  | 34 | 36 | 0.0047816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_356-16_0_4_line_39 |  | 35 | 37 | 0.021148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_356-16_0_4_line_40 |  | 36 | 38 | 0.020412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_356-16_0_4_line_41 |  | 36 | 39 | 0.017701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_356-16_0_4_line_42 |  | 37 | 40 | 0.03097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_356-16_0_4_line_43 |  | 39 | 41 | 0.0057632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_356-16_0_4_line_44 |  | 40 | 42 | 0.01276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_356-16_0_4_line_45 |  | 40 | 43 | 0.004106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_356-16_0_4_line_46 |  | 41 | 44 | 0.005675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_356-16_0_4_line_47 |  | 42 | 58 | 0.031655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_356-16_0_4_line_48 |  | 43 | 56 | 0.019503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_356-16_0_4_line_49 |  | 44 | 73 | 0.0017293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_356-16_0_4_line_50 |  | 45 | 46 | 0.013654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_356-16_0_4_line_51 |  | 46 | 47 | 0.029543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_356-16_0_4_line_52 |  | 47 | 49 | 0.034743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_356-16_0_4_line_53 |  | 47 | 50 | 0.011751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_356-16_0_4_line_54 |  | 48 | 53 | 0.001739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_356-16_0_4_line_55 |  | 49 | 54 | 0.021338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_356-16_0_4_line_56 |  | 50 | 55 | 0.02918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_356-16_0_4_line_57 |  | 51 | 52 | 0.0094945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_356-16_0_4_line_58 |  | 51 | 53 | 0.0030017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_356-16_0_4_line_59 |  | 54 | 60 | 0.019432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_356-16_0_4_line_60 |  | 54 | 61 | 0.017196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_356-16_0_4_line_61 |  | 58 | 59 | 0.01519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_356-16_0_4_line_62 |  | 60 | 86 | 0.031689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_356-16_0_4_line_63 |  | 61 | 82 | 0.018191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_356-16_0_4_line_64 |  | 62 | 63 | 0.017219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_356-16_0_4_line_65 |  | 62 | 64 | 0.017929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_356-16_0_4_line_66 |  | 64 | 65 | 0.04195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_356-16_0_4_line_67 |  | 64 | 66 | 0.030759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_356-16_0_4_line_68 |  | 65 | 67 | 0.013601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_356-16_0_4_line_69 |  | 67 | 68 | 0.014784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_356-16_0_4_line_70 |  | 69 | 70 | 0.015388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_356-16_0_4_line_71 |  | 69 | 71 | 0.014962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_356-16_0_4_line_72 |  | 70 | 72 | 0.0079736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_356-16_0_4_line_73 |  | 71 | 73 | 0.016672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_356-16_0_4_line_74 |  | 71 | 74 | 0.014336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_356-16_0_4_line_75 |  | 72 | 75 | 0.011253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_356-16_0_4_line_76 |  | 72 | 76 | 0.011496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_356-16_0_4_line_77 |  | 73 | 77 | 0.016145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_356-16_0_4_line_78 |  | 74 | 78 | 0.024429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_356-16_0_4_line_79 |  | 75 | 79 | 0.021776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_356-16_0_4_line_80 |  | 76 | 80 | 0.0037851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_356-16_0_4_line_81 |  | 78 | 81 | 0.017242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_356-16_0_4_line_82 |  | 80 | 85 | 0.013418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_356-16_0_4_line_83 |  | 81 | 94 | 0.0023388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_356-16_0_4_line_84 |  | 82 | 83 | 0.0052831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_356-16_0_4_line_85 |  | 83 | 84 | 0.01362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_356-16_0_4_line_86 |  | 84 | 85 | 5.9132e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_356-16_0_4_line_87 |  | 86 | 93 | 0.0030192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_356-16_0_4_line_88 |  | 87 | 88 | 0.0097439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_356-16_0_4_line_89 |  | 88 | 89 | 0.0062052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_356-16_0_4_line_90 |  | 89 | 90 | 0.039312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_356-16_0_4_line_91 |  | 90 | 91 | 0.015486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_356-16_0_4_line_92 |  | 91 | 94 | 0.015021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_356-16_0_4_line_93 |  | 92 | 93 | 0.004372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_356-16_0_4_trafo_10 | 0.63 MVA 20/0.4 kV | 95 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2604323.2913 | 1198965.2734 | 2604295.6811 | 1198972.088
1 | 2604323.2913 | 1198965.2734 | 2604323.2913 | 1198965.2734 | 2604351.6817 | 1198957.3561 | 2604348.6228 | 1198950.0921
2 | 2604342.695 | 1198936.0154 | 2604348.6228 | 1198950.0921
3 | 2604334.5565 | 1198916.6888 | 2604342.695 | 1198936.0154
4 | 2604334.5565 | 1198916.6888 | 2604349.5122 | 1198914.2092 | 2604365.2733 | 1198913.9093 | 2604370.5182 | 1198914.2092
5 | 2604334.5565 | 1198916.6888 | 2604320.857 | 1198919.4916 | 2604308.0397 | 1198923.5797
6 | 2604370.5182 | 1198914.2092 | 2604382.0082 | 1198914.8663 | 2604392.3278 | 1198916.491
7 | 2604302.3204 | 1198925.4038 | 2604308.0397 | 1198923.5797
8 | 2604451.9365 | 1199043.0246 | 2604452.93 | 1199042.664 | 2604457.4311 | 1199040.8775 | 2604461.4754 | 1199039.0239 | 2604465.0611 | 1199037.2194
9 | 2604446.5708 | 1199044.9717 | 2604451.9365 | 1199043.0246
10 | 2604485.2395 | 1199021.018 | 2604478.7903 | 1199027.2971 | 2604474.1507 | 1199031.129 | 2604470.0445 | 1199034.2721 | 2604465.9312 | 1199036.7815 | 2604465.0611 | 1199037.2194
11 | 2604422.394 | 1199049.034 | 2604431.3256 | 1199048.1956 | 2604439.1384 | 1199046.7895 | 2604446.5708 | 1199044.9717
12 | 2604485.2395 | 1199021.018 | 2604490.008 | 1199016.3753
13 | 2604422.394 | 1199049.034 | 2604421.2159 | 1199031.2392
14 | 2604422.394 | 1199049.034 | 2604406.023 | 1199050.723 | 2604398.3245 | 1199052.0404 | 2604391.6233 | 1199053.4585 | 2604390.9761 | 1199053.6674
15 | 2604493.9639 | 1199012.5237 | 2604490.008 | 1199016.3753
16 | 2604415.1485 | 1199013.6998 | 2604420.5112 | 1199020.5952 | 2604421.2159 | 1199031.2392
17 | 2604350.9476 | 1199078.5204 | 2604360.2578 | 1199069.967 | 2604366.8397 | 1199064.9912 | 2604372.8803 | 1199061.0602 | 2604382.3095 | 1199056.4645 | 2604390.9761 | 1199053.6674
18 | 2604415.1485 | 1199013.6998 | 2604410.8856 | 1199008.2186
19 | 2604334.7471 | 1199065.6797 | 2604350.9476 | 1199078.5204
20 | 2604400.6025 | 1198917.7939 | 2604392.3278 | 1198916.491
21 | 2604302.3204 | 1198925.4038 | 2604310.4239 | 1198943.4335
22 | 2604302.3204 | 1198925.4038 | 2604287.188 | 1198930.2291 | 2604280.295 | 1198932.5484
23 | 2604414.281 | 1198918.814 | 2604401.4445 | 1198917.9264 | 2604400.6025 | 1198917.7939
24 | 2604316.3003 | 1198956.5082 | 2604310.4239 | 1198943.4335
25 | 2604270.9664 | 1198935.6872 | 2604280.295 | 1198932.5484
26 | 2604404.572 | 1198993.8582 | 2604399.02 | 1198985.4297
27 | 2604404.572 | 1198993.8582 | 2604404.572 | 1198993.8582 | 2604406.5833 | 1199002.6866 | 2604410.8856 | 1199008.2186
28 | 2604396.1831 | 1198981.1231 | 2604396.1831 | 1198981.1231 | 2604399.02 | 1198985.4297
29 | 2604396.1831 | 1198981.1231 | 2604395.6536 | 1198976.2868 | 2604396.1123 | 1198973.8414 | 2604397.7968 | 1198971.1856 | 2604400.2965 | 1198968.0858 | 2604400.2965 | 1198968.0858
30 | 2604400.2965 | 1198968.0858 | 2604401.9187 | 1198966.6151
31 | 2604404.568 | 1198964.2133 | 2604401.9187 | 1198966.6151
32 | 2604414.281 | 1198918.814 | 2604414.6979 | 1198931.8101 | 2604415.1075 | 1198944.4283 | 2604412.243 | 1198957.2553 | 2604404.568 | 1198964.2133
33 | 2604414.281 | 1198918.814 | 2604420.5172 | 1198918.2738 | 2604427.1423 | 1198917.0335
34 | 2604442.1813 | 1198946.2935 | 2604447.6946 | 1198945.2747 | 2604427.1423 | 1198917.0335
35 | 2604427.1423 | 1198917.0335 | 2604435.8392 | 1198914.6497 | 2604437.2066 | 1198914.1612
36 | 2604442.1813 | 1198946.2935 | 2604477.5062 | 1198951.5111
37 | 2604271.6642 | 1198892.9882 | 2604265.8777 | 1198894.7275
38 | 2604276.2435 | 1198891.6118 | 2604271.6642 | 1198892.9882
39 | 2604256.2147 | 1198907.9954 | 2604254.1856 | 1198902.5688 | 2604254.6827 | 1198899.4675 | 2604260.7457 | 1198896.2701 | 2604265.8777 | 1198894.7275
40 | 2604276.2435 | 1198891.6118 | 2604281.4071 | 1198911.3593
41 | 2604276.2435 | 1198891.6118 | 2604293.6012 | 1198888.1434
42 | 2604256.2147 | 1198907.9954 | 2604267.0671 | 1198937.0074
43 | 2604293.6012 | 1198888.1434 | 2604299.2527 | 1198887.0141
44 | 2604267.0671 | 1198937.0074 | 2604255.1329 | 1198941.5237 | 2604255.1329 | 1198941.5237
45 | 2604270.9664 | 1198935.6872 | 2604267.0671 | 1198937.0074
46 | 2604304.8177 | 1198885.9021 | 2604299.2527 | 1198887.0141
47 | 2604250.9478 | 1198965.1365 | 2604246.0478 | 1198954.8244 | 2604257.9007 | 1198946.695 | 2604255.1329 | 1198941.5237
48 | 2604270.9664 | 1198935.6872 | 2604278.8409 | 1198953.5301
49 | 2604306.5135 | 1198885.5633 | 2604304.8177 | 1198885.9021
50 | 2604477.2517 | 1198883.708 | 2604468.1408 | 1198893.8781
51 | 2604458.9189 | 1198860.5043 | 2604477.2517 | 1198883.708
52 | 2604458.9189 | 1198860.5043 | 2604437.3726 | 1198833.2497
53 | 2604458.9189 | 1198860.5043 | 2604449.7824 | 1198867.8948
54 | 2604477.5062 | 1198951.5111 | 2604478.7647 | 1198952.7112
55 | 2604424.1395 | 1198816.5109 | 2604437.3726 | 1198833.2497
56 | 2604425.4965 | 1198883.6462 | 2604436.3451 | 1198878.7642 | 2604449.7824 | 1198867.8948
57 | 2604487.8082 | 1198961.3351 | 2604480.937 | 1198954.7828
58 | 2604478.7647 | 1198952.7112 | 2604480.937 | 1198954.7828
59 | 2604438.8517 | 1198803.7703 | 2604424.1395 | 1198816.5109
60 | 2604424.1395 | 1198816.5109 | 2604410.1065 | 1198826.4487
61 | 2604257.467 | 1198978.8564 | 2604250.9478 | 1198965.1365
62 | 2604438.8517 | 1198803.7703 | 2604418.6712 | 1198779.3386
63 | 2604395.2608 | 1198836.962 | 2604410.1065 | 1198826.4487
64 | 2604292.7184 | 1199023.0346 | 2604280.9025 | 1199010.509
65 | 2604305.021 | 1199036.0761 | 2604292.7184 | 1199023.0346
66 | 2604305.021 | 1199036.0761 | 2604326.0117 | 1199058.314 | 2604334.7471 | 1199065.6797
67 | 2604328.5923 | 1199016.2378 | 2604305.021 | 1199036.0761
68 | 2604334.7471 | 1199065.6797 | 2604345.3953 | 1199057.2174
69 | 2604356.9692 | 1199048.0195 | 2604345.3953 | 1199057.2174
70 | 2604337.0455 | 1198877.4157 | 2604339.3668 | 1198876.5485 | 2604349.9016 | 1198869.0856
71 | 2604322.9164 | 1198882.3287 | 2604331.3775 | 1198879.5333 | 2604337.0455 | 1198877.4157
72 | 2604356.4081 | 1198864.4765 | 2604349.9016 | 1198869.0856
73 | 2604306.5135 | 1198885.5633 | 2604322.9164 | 1198882.3287
74 | 2604322.9164 | 1198882.3287 | 2604316.4513 | 1198869.5333
75 | 2604356.4081 | 1198864.4765 | 2604349.3378 | 1198855.7224
76 | 2604356.4081 | 1198864.4765 | 2604365.79 | 1198857.8324
77 | 2604310.4997 | 1198901.2078 | 2604306.5135 | 1198885.5633
78 | 2604316.4513 | 1198869.5333 | 2604305.4344 | 1198847.7291
79 | 2604335.6553 | 1198838.7812 | 2604349.3378 | 1198855.7224
80 | 2604368.879 | 1198855.6449 | 2604365.79 | 1198857.8324
81 | 2604297.6587 | 1198832.3398 | 2604305.4344 | 1198847.7291
82 | 2604368.879 | 1198855.6449 | 2604379.8293 | 1198847.8902
83 | 2604297.6587 | 1198832.3398 | 2604296.604 | 1198830.2523
84 | 2604395.2608 | 1198836.962 | 2604390.9494 | 1198840.0152
85 | 2604379.8341 | 1198847.8868 | 2604390.9494 | 1198840.0152
86 | 2604379.8293 | 1198847.8902 | 2604379.8341 | 1198847.8868
87 | 2604416.7484 | 1198777.0108 | 2604418.6712 | 1198779.3386
88 | 2604348.7994 | 1198766.0822 | 2604341.1919 | 1198772.1708
89 | 2604336.3473 | 1198776.0481 | 2604341.1919 | 1198772.1708
90 | 2604318.4725 | 1198811.0615 | 2604336.3473 | 1198776.0481
91 | 2604318.4725 | 1198811.0615 | 2604306.2304 | 1198820.5459
92 | 2604296.604 | 1198830.2523 | 2604295.7875 | 1198828.6363 | 2604306.2304 | 1198820.5459
93 | 2604413.9642 | 1198773.64 | 2604416.7484 | 1198777.0108

## bus_geodata
| x | y | coords
0 | 2604323.2913 | 1198965.2734
1 | 2604295.6811 | 1198972.088
2 | 2604348.6228 | 1198950.0921
3 | 2604342.695 | 1198936.0154
4 | 2604334.5565 | 1198916.6888
5 | 2604370.5182 | 1198914.2092
6 | 2604308.0397 | 1198923.5797
7 | 2604451.9365 | 1199043.0246
8 | 2604465.0611 | 1199037.2194
9 | 2604446.5708 | 1199044.9717
10 | 2604485.2395 | 1199021.018
11 | 2604422.394 | 1199049.034
12 | 2604490.008 | 1199016.3753
13 | 2604421.2159 | 1199031.2392
14 | 2604390.9761 | 1199053.6674
15 | 2604493.9639 | 1199012.5237
16 | 2604415.1485 | 1199013.6998
17 | 2604350.9476 | 1199078.5204
18 | 2604392.3278 | 1198916.491
19 | 2604302.3204 | 1198925.4038
20 | 2604400.6025 | 1198917.7939
21 | 2604310.4239 | 1198943.4335
22 | 2604280.295 | 1198932.5484
23 | 2604404.572 | 1198993.8582
24 | 2604399.02 | 1198985.4297
25 | 2604410.8856 | 1199008.2186
26 | 2604396.1831 | 1198981.1231
27 | 2604400.2965 | 1198968.0858
28 | 2604401.9187 | 1198966.6151
29 | 2604414.281 | 1198918.814
30 | 2604404.568 | 1198964.2133
31 | 2604427.1423 | 1198917.0335
32 | 2604442.1813 | 1198946.2935
33 | 2604437.2066 | 1198914.1612
34 | 2604271.6642 | 1198892.9882
35 | 2604265.8777 | 1198894.7275
36 | 2604276.2435 | 1198891.6118
37 | 2604256.2147 | 1198907.9954
38 | 2604281.4071 | 1198911.3593
39 | 2604293.6012 | 1198888.1434
40 | 2604267.0671 | 1198937.0074
41 | 2604299.2527 | 1198887.0141
42 | 2604255.1329 | 1198941.5237
43 | 2604270.9664 | 1198935.6872
44 | 2604304.8177 | 1198885.9021
45 | 2604468.1408 | 1198893.8781
46 | 2604477.2517 | 1198883.708
47 | 2604458.9189 | 1198860.5043
48 | 2604477.5062 | 1198951.5111
49 | 2604437.3726 | 1198833.2497
50 | 2604449.7824 | 1198867.8948
51 | 2604480.937 | 1198954.7827
52 | 2604487.8082 | 1198961.3351
53 | 2604478.7647 | 1198952.7112
54 | 2604424.1395 | 1198816.5109
55 | 2604425.4965 | 1198883.6462
56 | 2604278.8409 | 1198953.5301
57 | 2604316.3003 | 1198956.5082
58 | 2604250.9478 | 1198965.1365
59 | 2604257.467 | 1198978.8564
60 | 2604438.8517 | 1198803.7703
61 | 2604410.1065 | 1198826.4487
62 | 2604292.7184 | 1199023.0346
63 | 2604280.9025 | 1199010.5091
64 | 2604305.021 | 1199036.0761
65 | 2604334.7471 | 1199065.6797
66 | 2604328.5923 | 1199016.2378
67 | 2604345.3953 | 1199057.2174
68 | 2604356.9692 | 1199048.0195
69 | 2604337.0455 | 1198877.4157
70 | 2604349.9016 | 1198869.0856
71 | 2604322.9164 | 1198882.3287
72 | 2604356.4081 | 1198864.4765
73 | 2604306.5135 | 1198885.5633
74 | 2604316.4513 | 1198869.5333
75 | 2604349.3378 | 1198855.7224
76 | 2604365.79 | 1198857.8324
77 | 2604310.4997 | 1198901.2078
78 | 2604305.4344 | 1198847.7291
79 | 2604335.6553 | 1198838.7812
80 | 2604368.879 | 1198855.6449
81 | 2604297.6587 | 1198832.3398
82 | 2604395.2608 | 1198836.962
83 | 2604390.9494 | 1198840.0152
84 | 2604379.8341 | 1198847.8868
85 | 2604379.8293 | 1198847.8902
86 | 2604418.6712 | 1198779.3386
87 | 2604348.7994 | 1198766.0822
88 | 2604341.1919 | 1198772.1708
89 | 2604336.3473 | 1198776.0481
90 | 2604318.4725 | 1198811.0615
91 | 2604306.2304 | 1198820.5459
92 | 2604413.9642 | 1198773.64
93 | 2604416.7484 | 1198777.0108
94 | 2604296.604 | 1198830.2523
95 | 2604334.5565 | 1198916.6888

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1