## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_356-25_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_356-25_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_356-25_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_356-25_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_356-25_0_4_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_356-25_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_356-25_0_4_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_356-25_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_356-25_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_356-25_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_356-25_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_356-25_0_4_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_356-25_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_356-25_0_4_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_356-25_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_356-25_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_356-25_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_356-25_0_4_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_356-25_0_4_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_356-25_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_356-25_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_356-25_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_356-25_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_356-25_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_356-25_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_356-25_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_356-25_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_356-25_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_356-25_0_4_node_71 | 0.4 | n |  | TRUE
29 | bus_LV_356-25_0_4_node_74 | 0.4 | n |  | TRUE
30 | bus_LV_356-25_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_356-25_0_4_node_72 | 0.4 | n |  | TRUE
32 | bus_LV_356-25_0_4_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_356-25_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_356-25_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_356-25_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_356-25_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_356-25_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_356-25_0_4_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_356-25_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_356-25_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_356-25_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_356-25_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_356-25_0_4_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_356-25_0_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_356-25_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_356-25_0_4_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_356-25_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_356-25_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_356-25_0_4_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_356-25_0_4_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_356-25_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_356-25_0_4_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_356-25_0_4_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_356-25_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_356-25_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_356-25_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_356-25_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_356-25_0_4_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_356-25_0_4_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_356-25_0_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_356-25_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_356-25_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_356-25_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_356-25_0_4_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_356-25_0_4_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_356-25_0_4_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_356-25_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_356-25_0_4_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_356-25_0_4_node_90 | 0.4 | n |  | TRUE
70 | bus_LV_356-25_0_4_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_356-25_0_4_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_356-25_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_356-25_0_4_node_89 | 0.4 | n |  | TRUE
74 | bus_LV_356-25_0_4_node_100 | 0.4 | n |  | TRUE
75 | bus_LV_356-25_0_4_node_101 | 0.4 | n |  | TRUE
76 | bus_LV_356-25_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_356-25_0_4_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_356-25_0_4_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_356-25_0_4_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_356-25_0_4_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_356-25_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_356-25_0_4_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_356-25_0_4_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_356-25_0_4_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_356-25_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_356-25_0_4_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_356-25_0_4_node_103 | 0.4 | n |  | TRUE
88 | bus_LV_356-25_0_4_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_356-25_0_4_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_356-25_0_4_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_356-25_0_4_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_356-25_0_4_node_96 | 0.4 | n |  | TRUE
93 | bus_LV_356-25_0_4_node_91 | 0.4 | n |  | TRUE
94 | bus_LV_356-25_0_4_node_104 | 0.4 | n |  | TRUE
95 | bus_LV_356-25_0_4_node_88 | 0.4 | n |  | TRUE
96 | bus_LV_356-25_0_4_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_356-25_0_4_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_356-25_0_4_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_356-25_0_4_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_356-25_0_4_node_98 | 0.4 | n |  | TRUE
101 | bus_LV_356-25_0_4_node_99 | 0.4 | n |  | TRUE
102 | bus_LV_356-25_0_4_node_102 | 0.4 | n |  | TRUE
103 | bus_LV_356-25_0_4_node_108 | 0.4 | n |  | TRUE
104 | bus_LV_356-25_0_4_node_110 | 0.4 | n |  | TRUE
105 | bus_LV_356-25_0_4_node_109 | 0.4 | n |  | TRUE
106 | bus_LV_356-25_0_4_node_106 | 0.4 | n |  | TRUE
107 | bus_LV_356-25_0_4_node_105 | 0.4 | n |  | TRUE
108 | bus_LV_356-25_0_4_node_107 | 0.4 | n |  | TRUE
109 | bus_LV_356-25_0_4_node_111 | 0.4 | n |  | TRUE
110 | bus_MV_456_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_356-25_0_4_load_0 | 0 | 0.010217 | 0.0025607 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_356-25_0_4_load_1 | 1 | 0.010153 | 0.0025445 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_356-25_0_4_load_2 | 2 | 0.010079 | 0.0025261 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_356-25_0_4_load_3 | 3 | 0.010116 | 0.0025354 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_356-25_0_4_load_12 | 5 | 0.010123 | 0.002537 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_356-25_0_4_load_26 | 6 | 0.010247 | 0.0025682 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_356-25_0_4_load_4 | 7 | 0.010051 | 0.0025191 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_356-25_0_4_load_6 | 9 | 0.0050708 | 0.0012709 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_356-25_0_4_load_7 | 10 | 0.010401 | 0.0026066 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_356-25_0_4_load_35 | 11 | 0.016985 | 0.0042567 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_356-25_0_4_load_36 | 13 | 0.0033877 | 0.00084904 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_356-25_0_4_load_8 | 14 | 0.0087053 | 0.0021817 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_356-25_0_4_load_9 | 15 | 0.0088363 | 0.0022146 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_356-25_0_4_load_11 | 16 | 0.0097374 | 0.0024404 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_356-25_0_4_load_45 | 17 | 0.0058656 | 0.0014701 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_356-25_0_4_load_46 | 18 | 0.0015876 | 0.00039788 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_356-25_0_4_load_13 | 19 | 0.0016098 | 0.00040346 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_356-25_0_4_load_14 | 20 | 0.022298 | 0.0055884 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_356-25_0_4_load_16 | 22 | 0.011777 | 0.0029515 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_356-25_0_4_load_17 | 23 | 0.00093992 | 0.00023557 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_356-25_0_4_load_18 | 24 | 0.0028546 | 0.00071542 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_356-25_0_4_load_20 | 26 | 0.0013311 | 0.00033362 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_356-25_0_4_load_71 | 28 | 0.003671 | 0.00092004 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_356-25_0_4_load_74 | 29 | 0.0025572 | 0.0006409 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_356-25_0_4_load_23 | 30 | 0.0023664 | 0.00059306 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_356-25_0_4_load_72 | 31 | 0.0023212 | 0.00058175 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_356-25_0_4_load_76 | 32 | 0.0032339 | 0.0008105 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_356-25_0_4_load_22 | 33 | 0.0017807 | 0.00044628 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_356-25_0_4_load_25 | 34 | 0.00647 | 0.0016215 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_356-25_0_4_load_29 | 36 | 0.00081456 | 0.00020415 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_356-25_0_4_load_30 | 37 | 0.008876 | 0.0022245 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_356-25_0_4_load_40 | 38 | 0.010263 | 0.0025721 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_356-25_0_4_load_32 | 39 | 0.0030407 | 0.00076207 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_356-25_0_4_load_41 | 40 | 0.00062369 | 0.00015631 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_356-25_0_4_load_31 | 41 | 0.010452 | 0.0026196 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_356-25_0_4_load_33 | 42 | 0.0065216 | 0.0016345 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_356-25_0_4_load_34 | 43 | 0.010478 | 0.002626 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_356-25_0_4_load_43 | 44 | 0.0099596 | 0.0024961 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_356-25_0_4_load_51 | 49 | 0.0024068 | 0.00060321 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_356-25_0_4_load_67 | 50 | 0.0022656 | 0.0005678 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_356-25_0_4_load_48 | 51 | 0.004651 | 0.0011656 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_356-25_0_4_load_56 | 52 | 0.0016263 | 0.00040759 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_356-25_0_4_load_73 | 53 | 0.002451 | 0.00061427 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_356-25_0_4_load_42 | 54 | 0.00019972 | 5.0055e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_356-25_0_4_load_47 | 55 | 0.00082874 | 0.0002077 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_356-25_0_4_load_49 | 56 | 0.0047674 | 0.0011948 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_356-25_0_4_load_50 | 57 | 0.00093882 | 0.00023529 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_356-25_0_4_load_65 | 58 | 0.0026834 | 0.00067254 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_356-25_0_4_load_64 | 59 | 0.0021961 | 0.0005504 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_356-25_0_4_load_54 | 60 | 0.0020017 | 0.00050166 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_356-25_0_4_load_52 | 61 | 0.0014317 | 0.00035883 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_356-25_0_4_load_53 | 62 | 0.0012477 | 0.0003127 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_356-25_0_4_load_55 | 63 | 0.0014965 | 0.00037506 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_356-25_0_4_load_60 | 68 | 0.0034872 | 0.00087396 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_356-25_0_4_load_66 | 70 | 0.0021252 | 0.00053262 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_356-25_0_4_load_63 | 71 | 0.0027665 | 0.00069336 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_356-25_0_4_load_61 | 72 | 0.0023459 | 0.00058793 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_356-25_0_4_load_89 | 73 | 0.0027564 | 0.00069082 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_356-25_0_4_load_100 | 74 | 0.0037006 | 0.00092745 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_356-25_0_4_load_101 | 75 | 0.0045854 | 0.0011492 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_356-25_0_4_load_68 | 76 | 0.0051144 | 0.0012818 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_356-25_0_4_load_70 | 77 | 0.0039676 | 0.00099438 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_356-25_0_4_load_75 | 78 | 0.0029644 | 0.00074294 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_356-25_0_4_load_77 | 79 | 0.0036802 | 0.00092235 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_356-25_0_4_load_78 | 80 | 0.0040092 | 0.0010048 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_356-25_0_4_load_79 | 81 | 0.0040939 | 0.001026 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_356-25_0_4_load_81 | 83 | 0.0071222 | 0.001785 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_356-25_0_4_load_85 | 84 | 0.0093418 | 0.0023413 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_356-25_0_4_load_82 | 85 | 0.0037773 | 0.00094667 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_356-25_0_4_load_86 | 86 | 0.002759 | 0.00069148 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_356-25_0_4_load_103 | 87 | 0.0039309 | 0.00098518 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_356-25_0_4_load_83 | 88 | 0.0037233 | 0.00093315 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_356-25_0_4_load_87 | 89 | 0.0028574 | 0.00071612 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_356-25_0_4_load_84 | 90 | 0.010492 | 0.0026294 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_356-25_0_4_load_96 | 92 | 0.0034916 | 0.00087508 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_356-25_0_4_load_91 | 93 | 0.0055111 | 0.0013812 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_356-25_0_4_load_104 | 94 | 0.0071488 | 0.0017917 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_356-25_0_4_load_88 | 95 | 0.0071399 | 0.0017894 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_356-25_0_4_load_94 | 97 | 0.0012789 | 0.00032053 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_356-25_0_4_load_95 | 98 | 0.0014556 | 0.00036482 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_356-25_0_4_load_97 | 99 | 0.0018925 | 0.00047432 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_356-25_0_4_load_98 | 100 | 0.0072398 | 0.0018145 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_356-25_0_4_load_99 | 101 | 0.0022452 | 0.00056271 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_356-25_0_4_load_102 | 102 | 0.0040705 | 0.0010202 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_356-25_0_4_load_105 | 107 | 0.0016687 | 0.00041821 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_356-25_0_4_load_107 | 108 | 0.0029252 | 0.00073312 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_356-25_0_4_load_111 | 109 | 0.0035097 | 0.00087961 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_356-25_0_4_line_0 |  | 0 | 1 | 0.021502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_356-25_0_4_line_1 |  | 0 | 2 | 0.028059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_356-25_0_4_line_2 |  | 1 | 3 | 0.0089937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_356-25_0_4_line_3 |  | 3 | 4 | 0.013015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_356-25_0_4_line_4 |  | 4 | 5 | 0.016493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_356-25_0_4_line_5 |  | 4 | 6 | 0.0090253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_356-25_0_4_line_6 |  | 5 | 12 | 0.01252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_356-25_0_4_line_7 |  | 7 | 8 | 0.020631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_356-25_0_4_line_8 |  | 8 | 9 | 0.0099995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_356-25_0_4_line_9 |  | 8 | 10 | 0.015399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_356-25_0_4_line_10 |  | 9 | 11 | 0.012641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_356-25_0_4_line_11 |  | 10 | 12 | 0.016671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_356-25_0_4_line_12 |  | 11 | 13 | 0.0097239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_356-25_0_4_line_13 |  | 13 | 46 | 0.014621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_356-25_0_4_line_14 |  | 14 | 15 | 0.027527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_356-25_0_4_line_15 |  | 15 | 16 | 0.028976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_356-25_0_4_line_16 |  | 16 | 17 | 0.015928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_356-25_0_4_line_17 |  | 17 | 18 | 0.018454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_356-25_0_4_line_18 |  | 18 | 47 | 0.010325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_356-25_0_4_line_19 |  | 19 | 20 | 0.014042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_356-25_0_4_line_20 |  | 19 | 21 | 0.044022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_356-25_0_4_line_21 |  | 20 | 22 | 0.021367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_356-25_0_4_line_22 |  | 21 | 23 | 0.030477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_356-25_0_4_line_23 |  | 21 | 24 | 0.018163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_356-25_0_4_line_24 |  | 22 | 25 | 0.03024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_356-25_0_4_line_25 |  | 25 | 26 | 0.013564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_356-25_0_4_line_26 |  | 25 | 27 | 0.009173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_356-25_0_4_line_27 |  | 26 | 28 | 0.021521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_356-25_0_4_line_28 |  | 27 | 29 | 0.033985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_356-25_0_4_line_29 |  | 27 | 30 | 0.01426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_356-25_0_4_line_30 |  | 28 | 31 | 0.0052191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_356-25_0_4_line_31 |  | 29 | 32 | 0.01048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_356-25_0_4_line_32 |  | 30 | 33 | 0.030156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_356-25_0_4_line_33 |  | 31 | 57 | 0.0081772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_356-25_0_4_line_34 |  | 32 | 78 | 0.0086704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_356-25_0_4_line_35 |  | 34 | 35 | 0.012463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_356-25_0_4_line_36 |  | 35 | 36 | 0.010907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_356-25_0_4_line_37 |  | 35 | 37 | 0.018558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_356-25_0_4_line_38 |  | 36 | 38 | 0.012634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_356-25_0_4_line_39 |  | 37 | 39 | 0.01491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_356-25_0_4_line_40 |  | 38 | 40 | 0.018809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_356-25_0_4_line_41 |  | 39 | 41 | 0.0060358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_356-25_0_4_line_42 |  | 40 | 54 | 0.019948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_356-25_0_4_line_43 |  | 41 | 42 | 0.0065408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_356-25_0_4_line_44 |  | 42 | 43 | 0.026738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_356-25_0_4_line_45 |  | 43 | 44 | 0.0020017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_356-25_0_4_line_46 |  | 44 | 45 | 0.020307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_356-25_0_4_line_47 |  | 45 | 56 | 0.01791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_356-25_0_4_line_48 |  | 45 | 57 | 0.031936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_356-25_0_4_line_49 |  | 45 | 51 | 0.019409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_356-25_0_4_line_50 |  | 46 | 47 | 0.025676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_356-25_0_4_line_51 |  | 46 | 48 | 0.003702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_356-25_0_4_line_52 |  | 47 | 49 | 0.013965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_356-25_0_4_line_53 |  | 48 | 50 | 0.014317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_356-25_0_4_line_54 |  | 48 | 51 | 0.039346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_356-25_0_4_line_55 |  | 49 | 52 | 0.013891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_356-25_0_4_line_56 |  | 50 | 53 | 0.030199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_356-25_0_4_line_57 |  | 52 | 60 | 0.011262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_356-25_0_4_line_58 |  | 54 | 55 | 0.01003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_356-25_0_4_line_59 |  | 56 | 58 | 0.024873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_356-25_0_4_line_60 |  | 58 | 59 | 0.013832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_356-25_0_4_line_61 |  | 59 | 71 | 0.022479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_356-25_0_4_line_62 |  | 60 | 61 | 0.0078133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_356-25_0_4_line_63 |  | 61 | 62 | 0.012173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_356-25_0_4_line_64 |  | 62 | 63 | 0.0071178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_356-25_0_4_line_65 |  | 63 | 64 | 0.078131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_356-25_0_4_line_66 |  | 64 | 65 | 0.10561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_356-25_0_4_line_67 |  | 65 | 69 | 0.054334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_356-25_0_4_line_68 |  | 66 | 67 | 0.031129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_356-25_0_4_line_69 |  | 66 | 68 | 0.037463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_356-25_0_4_line_70 |  | 67 | 70 | 0.012736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_356-25_0_4_line_71 |  | 67 | 71 | 0.0047769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_356-25_0_4_line_72 |  | 68 | 72 | 0.014101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_356-25_0_4_line_73 |  | 69 | 73 | 0.02253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_356-25_0_4_line_74 |  | 70 | 76 | 0.0081304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_356-25_0_4_line_75 |  | 73 | 95 | 0.0023851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_356-25_0_4_line_76 |  | 74 | 75 | 0.0049286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_356-25_0_4_line_77 |  | 75 | 102 | 0.0049772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_356-25_0_4_line_78 |  | 77 | 78 | 0.019184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_356-25_0_4_line_79 |  | 79 | 80 | 0.0079144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_356-25_0_4_line_80 |  | 79 | 81 | 0.024109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_356-25_0_4_line_81 |  | 80 | 82 | 0.009152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_356-25_0_4_line_82 |  | 81 | 83 | 0.0043711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_356-25_0_4_line_83 |  | 82 | 84 | 0.023684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_356-25_0_4_line_84 |  | 82 | 85 | 0.015205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_356-25_0_4_line_85 |  | 83 | 86 | 0.0035224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_356-25_0_4_line_86 |  | 84 | 87 | 0.0077252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_356-25_0_4_line_87 |  | 85 | 88 | 0.0079687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_356-25_0_4_line_88 |  | 86 | 89 | 0.023919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_356-25_0_4_line_89 |  | 87 | 94 | 0.0096702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_356-25_0_4_line_90 |  | 88 | 90 | 0.031491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_356-25_0_4_line_91 |  | 89 | 95 | 0.005681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_356-25_0_4_line_92 |  | 90 | 91 | 0.0031453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_356-25_0_4_line_93 |  | 91 | 92 | 0.023989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_356-25_0_4_line_94 |  | 91 | 93 | 0.030231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_356-25_0_4_line_95 |  | 92 | 101 | 0.003426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_356-25_0_4_line_96 |  | 93 | 96 | 0.0053615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_356-25_0_4_line_97 |  | 94 | 105 | 0.01058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_356-25_0_4_line_98 |  | 96 | 97 | 0.013101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_356-25_0_4_line_99 |  | 96 | 98 | 0.022572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_356-25_0_4_line_100 |  | 97 | 99 | 0.020486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_356-25_0_4_line_101 |  | 98 | 100 | 0.01846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_356-25_0_4_line_102 |  | 102 | 103 | 0.053911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_356-25_0_4_line_103 |  | 103 | 104 | 0.012827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_356-25_0_4_line_104 |  | 103 | 105 | 0.017818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_356-25_0_4_line_105 |  | 103 | 106 | 0.024817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_356-25_0_4_line_106 |  | 104 | 109 | 0.01966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_356-25_0_4_line_107 |  | 106 | 107 | 0.014679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_356-25_0_4_line_108 |  | 107 | 108 | 0.0067003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_356-25_0_4_trafo_6 | 0.63 MVA 20/0.4 kV | 110 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2604355.6669 | 1198684.8124 | 2604347.6674 | 1198664.8535
1 | 2604355.6669 | 1198684.8124 | 2604360.3738 | 1198696.5562 | 2604347.6217 | 1198705.2036
2 | 2604347.6674 | 1198664.8535 | 2604344.3215 | 1198656.5054
3 | 2604339.4794 | 1198644.4244 | 2604344.3215 | 1198656.5054
4 | 2604339.4794 | 1198644.4244 | 2604352.5455 | 1198634.3604
5 | 2604339.4794 | 1198644.4244 | 2604333.1102 | 1198638.9058 | 2604332.8815 | 1198638.3534
6 | 2604362.4646 | 1198626.7203 | 2604352.5455 | 1198634.3604
7 | 2604387.2792 | 1198606.4051 | 2604396.445 | 1198624.8881
8 | 2604387.2792 | 1198606.4051 | 2604394.9264 | 1198599.9623
9 | 2604387.2792 | 1198606.4051 | 2604375.3642 | 1198616.1597
10 | 2604404.5937 | 1198591.8176 | 2604394.9264 | 1198599.9623
11 | 2604362.4646 | 1198626.7203 | 2604375.3642 | 1198616.1597
12 | 2604412.0169 | 1198585.5368 | 2604410.3116 | 1198587.0003 | 2604404.5937 | 1198591.8176
13 | 2604423.1118 | 1198576.0149 | 2604412.0169 | 1198585.5368
14 | 2604424.7286 | 1198646.8442 | 2604403.2623 | 1198664.076
15 | 2604424.7286 | 1198646.8442 | 2604430.0989 | 1198642.5333 | 2604436.9104 | 1198636.6796 | 2604447.1462 | 1198628.4913
16 | 2604447.1462 | 1198628.4913 | 2604458.4031 | 1198619.4861 | 2604457.4574 | 1198618.306
17 | 2604457.4574 | 1198618.306 | 2604445.9176 | 1198603.9058
18 | 2604439.4607 | 1198595.8485 | 2604445.9176 | 1198603.9058
19 | 2604288.0004 | 1198498.6623 | 2604298.4452 | 1198489.2775
20 | 2604256.0026 | 1198526.1911 | 2604276.6983 | 1198505.2055 | 2604279.3549 | 1198506.4302 | 2604288.0004 | 1198498.6623
21 | 2604315.6253 | 1198476.6303 | 2604302.4492 | 1198485.6799 | 2604298.4452 | 1198489.2775
22 | 2604256.0026 | 1198526.1911 | 2604246.6691 | 1198534.4445 | 2604242.4533 | 1198530.7396 | 2604232.8423 | 1198538.5828
23 | 2604256.0026 | 1198526.1911 | 2604258.4749 | 1198529.5946 | 2604267.8117 | 1198539.9672
24 | 2604341.0958 | 1198460.3383 | 2604321.5939 | 1198472.5309 | 2604315.6253 | 1198476.6303
25 | 2604341.0958 | 1198460.3383 | 2604345.9904 | 1198472.9887
26 | 2604338.3456 | 1198451.5872 | 2604341.0958 | 1198460.3383
27 | 2604345.9904 | 1198472.9887 | 2604346.4998 | 1198474.3052 | 2604352.4602 | 1198487.4387 | 2604355.1926 | 1198492.4264
28 | 2604338.3456 | 1198451.5872 | 2604370.311 | 1198440.0455
29 | 2604338.3456 | 1198451.5872 | 2604333.3641 | 1198438.2255
30 | 2604357.8998 | 1198496.881 | 2604356.5666 | 1198494.9345 | 2604355.1926 | 1198492.4264
31 | 2604370.311 | 1198440.0455 | 2604380.1685 | 1198436.4862
32 | 2604333.3641 | 1198438.2255 | 2604322.8297 | 1198409.9697
33 | 2604357.8998 | 1198496.881 | 2604361.5337 | 1198502.1864 | 2604362.6422 | 1198503.5361
34 | 2604388.3237 | 1198433.5417 | 2604380.1685 | 1198436.4862
35 | 2604311.3368 | 1198590.8202 | 2604316.7274 | 1198602.0575
36 | 2604311.3368 | 1198590.8202 | 2604303.3605 | 1198598.2593
37 | 2604311.3368 | 1198590.8202 | 2604325.2924 | 1198578.5872
38 | 2604294.1215 | 1198606.8761 | 2604303.3605 | 1198598.2593
39 | 2604325.2924 | 1198578.5872 | 2604336.5045 | 1198568.7591
40 | 2604294.1215 | 1198606.8761 | 2604280.3662 | 1198619.705
41 | 2604341.0434 | 1198564.7805 | 2604336.5045 | 1198568.7591
42 | 2604280.3662 | 1198619.705 | 2604278.3677 | 1198621.5689 | 2604263.4272 | 1198630.1212
43 | 2604345.962 | 1198560.469 | 2604341.0434 | 1198564.7805
44 | 2604366.1037 | 1198542.884 | 2604347.9089 | 1198558.7624 | 2604345.962 | 1198560.469
45 | 2604366.1037 | 1198542.884 | 2604367.6118 | 1198541.5678
46 | 2604382.9117 | 1198528.2157 | 2604367.6118 | 1198541.5678
47 | 2604382.9117 | 1198528.2157 | 2604394.3935 | 1198518.8301 | 2604396.8803 | 1198517.0131
48 | 2604382.9117 | 1198528.2157 | 2604362.6422 | 1198503.5361
49 | 2604382.9117 | 1198528.2157 | 2604395.5366 | 1198542.9574
50 | 2604423.1118 | 1198576.0149 | 2604439.4607 | 1198595.8485
51 | 2604420.7534 | 1198573.1561 | 2604423.1118 | 1198576.0149
52 | 2604439.4607 | 1198595.8485 | 2604450.2272 | 1198586.9548
53 | 2604420.7534 | 1198573.1561 | 2604431.8485 | 1198564.1078
54 | 2604420.7534 | 1198573.1561 | 2604407.9954 | 1198557.5051 | 2604395.5366 | 1198542.9574
55 | 2604460.9366 | 1198578.1082 | 2604450.2272 | 1198586.9548
56 | 2604455.2521 | 1198545.0218 | 2604431.8485 | 1198564.1078
57 | 2604460.9366 | 1198578.1082 | 2604469.6195 | 1198570.9357
58 | 2604254.7225 | 1198635.1039 | 2604263.4272 | 1198630.1212
59 | 2604396.8803 | 1198517.0131 | 2604406.7203 | 1198509.8231 | 2604417.2535 | 1198502.7526
60 | 2604428.9348 | 1198495.3472 | 2604419.0618 | 1198501.5388 | 2604417.2535 | 1198502.7526
61 | 2604448.2933 | 1198483.9244 | 2604432.1115 | 1198493.355 | 2604428.9348 | 1198495.3472
62 | 2604475.6433 | 1198565.9597 | 2604469.6195 | 1198570.9357
63 | 2604475.6433 | 1198565.9597 | 2604485.0282 | 1198558.2073
64 | 2604490.5159 | 1198553.6742 | 2604485.0282 | 1198558.2073
65 | 2604550.753 | 1198503.9151 | 2604490.5159 | 1198553.6742
66 | 2604550.753 | 1198503.9151 | 2604570.6398 | 1198527.2981 | 2604572.0353 | 1198534.5919 | 2604582.1188 | 1198542.0924 | 2604587.7178 | 1198549.1338 | 2604601.8882 | 1198569.2997 | 2604589.3037 | 1198576.4718 | 2604586.3828 | 1198582.6062
67 | 2604552.4655 | 1198606.4712 | 2604569.3266 | 1198592.5764 | 2604583.7347 | 1198580.2474 | 2604589.3037 | 1198576.4718 | 2604586.3828 | 1198582.6062
68 | 2604480.0871 | 1198467.0984 | 2604452.4205 | 1198481.5191
69 | 2604480.0871 | 1198467.0984 | 2604490.8149 | 1198489.1626 | 2604480.4263 | 1198496.8593
70 | 2604452.4205 | 1198481.5191 | 2604447.5589 | 1198469.7479
71 | 2604452.4205 | 1198481.5191 | 2604448.2933 | 1198483.9244
72 | 2604475.1996 | 1198506.9606 | 2604473.2462 | 1198502.1788 | 2604480.4263 | 1198496.8593
73 | 2604552.4655 | 1198606.4712 | 2604549.7455 | 1198608.6926 | 2604535.095 | 1198620.8194
74 | 2604444.4553 | 1198462.2332 | 2604447.5589 | 1198469.7479
75 | 2604535.095 | 1198620.8194 | 2604533.2577 | 1198622.3403
76 | 2604546.2244 | 1198668.5941 | 2604544.0068 | 1198672.9957
77 | 2604544.0068 | 1198672.9957 | 2604541.7674 | 1198677.4406
78 | 2604388.3237 | 1198433.5417 | 2604397.374 | 1198430.2738 | 2604406.5072 | 1198427.4446
79 | 2604485.8031 | 1198661.6205 | 2604479.7063 | 1198666.667
80 | 2604485.8031 | 1198661.6205 | 2604504.3753 | 1198646.2475
81 | 2604472.6562 | 1198672.5027 | 2604479.7063 | 1198666.667
82 | 2604507.7425 | 1198643.4603 | 2604504.3753 | 1198646.2475
83 | 2604472.6562 | 1198672.5027 | 2604487.9435 | 1198690.5926
84 | 2604472.6562 | 1198672.5027 | 2604460.7912 | 1198682.0117
85 | 2604510.4559 | 1198641.2143 | 2604507.7425 | 1198643.4603
86 | 2604487.9435 | 1198690.5926 | 2604492.9299 | 1198696.493
87 | 2604460.7912 | 1198682.0117 | 2604454.5731 | 1198686.9951
88 | 2604510.4559 | 1198641.2143 | 2604528.8814 | 1198625.9627
89 | 2604492.9299 | 1198696.493 | 2604499.1716 | 1198703.879
90 | 2604429.9999 | 1198706.6887 | 2604454.5731 | 1198686.9951
91 | 2604533.2577 | 1198622.3403 | 2604528.8814 | 1198625.9627
92 | 2604427.5456 | 1198708.6557 | 2604429.9999 | 1198706.6887
93 | 2604427.5456 | 1198708.6557 | 2604432.3226 | 1198725.5793 | 2604435.4535 | 1198731.1655
94 | 2604427.5456 | 1198708.6557 | 2604405.7409 | 1198726.1269 | 2604403.8416 | 1198727.4066
95 | 2604437.1285 | 1198734.1541 | 2604435.4535 | 1198731.1655
96 | 2604399.3952 | 1198730.4024 | 2604403.8416 | 1198727.4066
97 | 2604506.0004 | 1198711.9596 | 2604499.1716 | 1198703.879
98 | 2604399.3952 | 1198730.4024 | 2604390.4144 | 1198739.9402
99 | 2604399.3952 | 1198730.4024 | 2604378.9957 | 1198740.0643
100 | 2604390.4144 | 1198739.9402 | 2604389.4053 | 1198741.012 | 2604372.4554 | 1198749.6286
101 | 2604362.3126 | 1198747.9661 | 2604378.9957 | 1198740.0643
102 | 2604517.5106 | 1198725.5866 | 2604541.7674 | 1198677.4406
103 | 2604525.6199 | 1198735.5424 | 2604517.5106 | 1198725.5866
104 | 2604506.0004 | 1198711.9596 | 2604517.5106 | 1198725.5866
105 | 2604500.7989 | 1198743.9729 | 2604517.5106 | 1198725.5866
106 | 2604540.9946 | 1198723.2362 | 2604525.6199 | 1198735.5424
107 | 2604500.7989 | 1198743.9729 | 2604491.7265 | 1198732.4326
108 | 2604487.5855 | 1198727.1652 | 2604491.7265 | 1198732.4326

## bus_geodata
| x | y | coords
0 | 2604355.6669 | 1198684.8124
1 | 2604347.6674 | 1198664.8535
2 | 2604347.6217 | 1198705.2036
3 | 2604344.3215 | 1198656.5054
4 | 2604339.4794 | 1198644.4244
5 | 2604352.5455 | 1198634.3604
6 | 2604332.8815 | 1198638.3534
7 | 2604396.445 | 1198624.8881
8 | 2604387.2792 | 1198606.4051
9 | 2604394.9264 | 1198599.9623
10 | 2604375.3642 | 1198616.1597
11 | 2604404.5937 | 1198591.8176
12 | 2604362.4646 | 1198626.7203
13 | 2604412.0169 | 1198585.5368
14 | 2604403.2623 | 1198664.076
15 | 2604424.7286 | 1198646.8442
16 | 2604447.1462 | 1198628.4913
17 | 2604457.4574 | 1198618.306
18 | 2604445.9176 | 1198603.9058
19 | 2604288.0004 | 1198498.6623
20 | 2604298.4452 | 1198489.2775
21 | 2604256.0026 | 1198526.1911
22 | 2604315.6253 | 1198476.6303
23 | 2604232.8423 | 1198538.5828
24 | 2604267.8117 | 1198539.9672
25 | 2604341.0958 | 1198460.3383
26 | 2604345.9904 | 1198472.9887
27 | 2604338.3456 | 1198451.5872
28 | 2604355.1926 | 1198492.4264
29 | 2604370.311 | 1198440.0455
30 | 2604333.3641 | 1198438.2255
31 | 2604357.8998 | 1198496.881
32 | 2604380.1685 | 1198436.4862
33 | 2604322.8297 | 1198409.9697
34 | 2604316.7274 | 1198602.0575
35 | 2604311.3368 | 1198590.8202
36 | 2604303.3605 | 1198598.2593
37 | 2604325.2924 | 1198578.5872
38 | 2604294.1215 | 1198606.8761
39 | 2604336.5045 | 1198568.7591
40 | 2604280.3662 | 1198619.705
41 | 2604341.0434 | 1198564.7805
42 | 2604345.962 | 1198560.469
43 | 2604366.1037 | 1198542.884
44 | 2604367.6118 | 1198541.5678
45 | 2604382.9117 | 1198528.2157
46 | 2604423.1118 | 1198576.0149
47 | 2604439.4607 | 1198595.8485
48 | 2604420.7534 | 1198573.1561
49 | 2604450.2272 | 1198586.9548
50 | 2604431.8485 | 1198564.1078
51 | 2604395.5366 | 1198542.9574
52 | 2604460.9366 | 1198578.1082
53 | 2604455.2521 | 1198545.0218
54 | 2604263.4272 | 1198630.1212
55 | 2604254.7225 | 1198635.1039
56 | 2604396.8803 | 1198517.0131
57 | 2604362.6422 | 1198503.5361
58 | 2604417.2535 | 1198502.7526
59 | 2604428.9348 | 1198495.3472
60 | 2604469.6195 | 1198570.9357
61 | 2604475.6433 | 1198565.9597
62 | 2604485.0282 | 1198558.2073
63 | 2604490.5159 | 1198553.6742
64 | 2604550.7531 | 1198503.9151
65 | 2604586.3828 | 1198582.6062
66 | 2604480.0871 | 1198467.0984
67 | 2604452.4205 | 1198481.5191
68 | 2604480.4263 | 1198496.8593
69 | 2604552.4655 | 1198606.4712
70 | 2604447.5589 | 1198469.7479
71 | 2604448.2933 | 1198483.9244
72 | 2604475.1996 | 1198506.9606
73 | 2604535.095 | 1198620.8194
74 | 2604546.2244 | 1198668.5941
75 | 2604544.0068 | 1198672.9957
76 | 2604444.4553 | 1198462.2332
77 | 2604406.5072 | 1198427.4446
78 | 2604388.3237 | 1198433.5417
79 | 2604485.8031 | 1198661.6205
80 | 2604479.7063 | 1198666.667
81 | 2604504.3753 | 1198646.2475
82 | 2604472.6562 | 1198672.5027
83 | 2604507.7425 | 1198643.4603
84 | 2604487.9436 | 1198690.5926
85 | 2604460.7912 | 1198682.0117
86 | 2604510.4559 | 1198641.2143
87 | 2604492.9299 | 1198696.493
88 | 2604454.5731 | 1198686.9951
89 | 2604528.8814 | 1198625.9627
90 | 2604429.9999 | 1198706.6887
91 | 2604427.5456 | 1198708.6557
92 | 2604435.4535 | 1198731.1655
93 | 2604403.8416 | 1198727.4066
94 | 2604499.1716 | 1198703.879
95 | 2604533.2577 | 1198622.3403
96 | 2604399.3952 | 1198730.4024
97 | 2604390.4144 | 1198739.9402
98 | 2604378.9957 | 1198740.0643
99 | 2604372.4554 | 1198749.6286
100 | 2604362.3126 | 1198747.9661
101 | 2604437.1285 | 1198734.1541
102 | 2604541.7674 | 1198677.4406
103 | 2604517.5106 | 1198725.5866
104 | 2604525.6199 | 1198735.5424
105 | 2604506.0004 | 1198711.9596
106 | 2604500.7989 | 1198743.9729
107 | 2604491.7265 | 1198732.4326
108 | 2604487.5855 | 1198727.1652
109 | 2604540.9946 | 1198723.2362
110 | 2604387.2792 | 1198606.4051

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1