## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_356-31_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_356-31_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_356-31_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_356-31_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_356-31_0_8_node_62 | 0.4 | n |  | TRUE
5 | bus_LV_356-31_0_8_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_356-31_0_8_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_356-31_0_8_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_356-31_0_8_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_356-31_0_8_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_356-31_0_8_node_107 | 0.4 | n |  | TRUE
11 | bus_LV_356-31_0_8_node_111 | 0.4 | n |  | TRUE
12 | bus_LV_356-31_0_8_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_356-31_0_8_node_4 | 0.4 | n |  | TRUE
14 | bus_LV_356-31_0_8_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_356-31_0_8_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_356-31_0_8_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_356-31_0_8_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_356-31_0_8_node_105 | 0.4 | n |  | TRUE
19 | bus_LV_356-31_0_8_node_106 | 0.4 | n |  | TRUE
20 | bus_LV_356-31_0_8_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_356-31_0_8_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_356-31_0_8_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_356-31_0_8_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_356-31_0_8_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_356-31_0_8_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_356-31_0_8_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_356-31_0_8_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_356-31_0_8_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_356-31_0_8_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_356-31_0_8_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_356-31_0_8_node_90 | 0.4 | n |  | TRUE
32 | bus_LV_356-31_0_8_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_356-31_0_8_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_356-31_0_8_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_356-31_0_8_node_91 | 0.4 | n |  | TRUE
36 | bus_LV_356-31_0_8_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_356-31_0_8_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_356-31_0_8_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_356-31_0_8_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_356-31_0_8_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_356-31_0_8_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_356-31_0_8_node_77 | 0.4 | n |  | TRUE
43 | bus_LV_356-31_0_8_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_356-31_0_8_node_85 | 0.4 | n |  | TRUE
45 | bus_LV_356-31_0_8_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_356-31_0_8_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_356-31_0_8_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_356-31_0_8_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_356-31_0_8_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_356-31_0_8_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_356-31_0_8_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_356-31_0_8_node_79 | 0.4 | n |  | TRUE
53 | bus_LV_356-31_0_8_node_80 | 0.4 | n |  | TRUE
54 | bus_LV_356-31_0_8_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_356-31_0_8_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_356-31_0_8_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_356-31_0_8_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_356-31_0_8_node_108 | 0.4 | n |  | TRUE
59 | bus_LV_356-31_0_8_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_356-31_0_8_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_356-31_0_8_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_356-31_0_8_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_356-31_0_8_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_356-31_0_8_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_356-31_0_8_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_356-31_0_8_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_356-31_0_8_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_356-31_0_8_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_356-31_0_8_node_112 | 0.4 | n |  | TRUE
70 | bus_LV_356-31_0_8_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_356-31_0_8_node_110 | 0.4 | n |  | TRUE
72 | bus_LV_356-31_0_8_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_356-31_0_8_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_356-31_0_8_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_356-31_0_8_node_113 | 0.4 | n |  | TRUE
76 | bus_LV_356-31_0_8_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_356-31_0_8_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_356-31_0_8_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_356-31_0_8_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_356-31_0_8_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_356-31_0_8_node_98 | 0.4 | n |  | TRUE
82 | bus_LV_356-31_0_8_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_356-31_0_8_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_356-31_0_8_node_100 | 0.4 | n |  | TRUE
85 | bus_LV_356-31_0_8_node_97 | 0.4 | n |  | TRUE
86 | bus_LV_356-31_0_8_node_70 | 0.4 | n |  | TRUE
87 | bus_LV_356-31_0_8_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_356-31_0_8_node_99 | 0.4 | n |  | TRUE
89 | bus_LV_356-31_0_8_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_356-31_0_8_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_356-31_0_8_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_356-31_0_8_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_356-31_0_8_node_75 | 0.4 | n |  | TRUE
94 | bus_LV_356-31_0_8_node_76 | 0.4 | n |  | TRUE
95 | bus_LV_356-31_0_8_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_356-31_0_8_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_356-31_0_8_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_356-31_0_8_node_93 | 0.4 | n |  | TRUE
99 | bus_LV_356-31_0_8_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_356-31_0_8_node_94 | 0.4 | n |  | TRUE
101 | bus_LV_356-31_0_8_node_81 | 0.4 | n |  | TRUE
102 | bus_LV_356-31_0_8_node_88 | 0.4 | n |  | TRUE
103 | bus_LV_356-31_0_8_node_92 | 0.4 | n |  | TRUE
104 | bus_LV_356-31_0_8_node_104 | 0.4 | n |  | TRUE
105 | bus_LV_356-31_0_8_node_102 | 0.4 | n |  | TRUE
106 | bus_LV_356-31_0_8_node_95 | 0.4 | n |  | TRUE
107 | bus_LV_356-31_0_8_node_103 | 0.4 | n |  | TRUE
108 | bus_LV_356-31_0_8_node_101 | 0.4 | n |  | TRUE
109 | bus_MV_456_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_356-31_0_8_load_0 | 0 | 0.052517 | 0.013162 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_356-31_0_8_load_62 | 4 | 0.0015362 | 0.00038502 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_356-31_0_8_load_44 | 5 | 0.012655 | 0.0031715 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_356-31_0_8_load_42 | 6 | 0.0028941 | 0.00072534 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_356-31_0_8_load_39 | 7 | 0.0065299 | 0.0016365 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_356-31_0_8_load_7 | 8 | 0.022067 | 0.0055306 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_356-31_0_8_load_38 | 9 | 0.0024481 | 0.00061355 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_356-31_0_8_load_107 | 10 | 0.070541 | 0.017679 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_356-31_0_8_load_111 | 11 | 0.001966 | 0.00049272 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_356-31_0_8_load_60 | 12 | 0.0016402 | 0.00041108 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_356-31_0_8_load_4 | 13 | 0.0083625 | 0.0020959 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_356-31_0_8_load_5 | 14 | 0.0031245 | 0.00078307 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_356-31_0_8_load_8 | 16 | 0.0016919 | 0.00042402 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_356-31_0_8_load_56 | 17 | 0.0016597 | 0.00041596 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_356-31_0_8_load_105 | 18 | 0.0045947 | 0.0011515 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_356-31_0_8_load_106 | 19 | 0.0038931 | 0.00097569 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_356-31_0_8_load_57 | 20 | 0.0018236 | 0.00045703 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_356-31_0_8_load_9 | 21 | 0.020102 | 0.0050382 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_356-31_0_8_load_16 | 26 | 0.0020881 | 0.00052332 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_356-31_0_8_load_17 | 28 | 0.012466 | 0.0031242 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_356-31_0_8_load_90 | 31 | 0.0036135 | 0.00090562 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_356-31_0_8_load_37 | 32 | 0.010176 | 0.0025505 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_356-31_0_8_load_34 | 33 | 0.0013953 | 0.00034969 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_356-31_0_8_load_19 | 36 | 0.019953 | 0.0050007 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_356-31_0_8_load_20 | 37 | 0.0080363 | 0.0020141 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_356-31_0_8_load_25 | 38 | 0.010251 | 0.002569 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_356-31_0_8_load_35 | 40 | 0.0018085 | 0.00045326 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_356-31_0_8_load_23 | 41 | 0.0049912 | 0.0012509 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_356-31_0_8_load_77 | 42 | 0.0034873 | 0.000874 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_356-31_0_8_load_24 | 43 | 0.01628 | 0.0040803 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_356-31_0_8_load_85 | 44 | 0.0046224 | 0.0011585 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_356-31_0_8_load_82 | 46 | 0.00286 | 0.0007168 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_356-31_0_8_load_27 | 47 | 0.0031828 | 0.00079769 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_356-31_0_8_load_28 | 48 | 0.0029482 | 0.0007389 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_356-31_0_8_load_30 | 50 | 0.0010511 | 0.00026342 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_356-31_0_8_load_31 | 51 | 0.0031879 | 0.00079896 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_356-31_0_8_load_79 | 52 | 0.0028234 | 0.00070761 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_356-31_0_8_load_80 | 53 | 0.0026902 | 0.00067422 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_356-31_0_8_load_40 | 54 | 0.0076038 | 0.0019057 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_356-31_0_8_load_41 | 55 | 0.012124 | 0.0030386 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_356-31_0_8_load_43 | 56 | 0.0017941 | 0.00044966 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_356-31_0_8_load_45 | 57 | 0.0025407 | 0.00063677 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_356-31_0_8_load_108 | 58 | 0.0047928 | 0.0012012 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_356-31_0_8_load_46 | 59 | 0.0024394 | 0.00061137 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_356-31_0_8_load_47 | 60 | 0.0015055 | 0.00037731 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_356-31_0_8_load_48 | 61 | 0.0014994 | 0.00037577 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_356-31_0_8_load_49 | 62 | 0.0024149 | 0.00060524 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_356-31_0_8_load_50 | 63 | 0.0019016 | 0.00047659 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_356-31_0_8_load_55 | 64 | 0.0014881 | 0.00037297 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_356-31_0_8_load_54 | 65 | 0.001776 | 0.00044511 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_356-31_0_8_load_51 | 66 | 0.0013447 | 0.00033701 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_356-31_0_8_load_52 | 67 | 0.0013535 | 0.00033923 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_356-31_0_8_load_53 | 68 | 0.011388 | 0.0028541 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_356-31_0_8_load_110 | 71 | 0.010044 | 0.0025173 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_356-31_0_8_load_63 | 72 | 0.0017419 | 0.00043657 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_356-31_0_8_load_59 | 73 | 0.0017957 | 0.00045004 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_356-31_0_8_load_61 | 74 | 0.001806 | 0.00045263 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_356-31_0_8_load_113 | 75 | 0.0015053 | 0.00037727 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_356-31_0_8_load_64 | 76 | 0.0082389 | 0.0020649 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_356-31_0_8_load_65 | 77 | 0.0046595 | 0.0011678 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_356-31_0_8_load_66 | 78 | 0.0024681 | 0.00061856 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_356-31_0_8_load_98 | 81 | 0.0032239 | 0.00080798 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_356-31_0_8_load_71 | 82 | 0.0038237 | 0.00095832 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_356-31_0_8_load_87 | 83 | 0.0021887 | 0.00054854 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_356-31_0_8_load_100 | 84 | 0.0025919 | 0.0006496 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_356-31_0_8_load_86 | 87 | 0.004229 | 0.0010599 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_356-31_0_8_load_99 | 88 | 0.0021746 | 0.00054501 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_356-31_0_8_load_69 | 89 | 0.0069058 | 0.0017308 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_356-31_0_8_load_72 | 90 | 0.0073275 | 0.0018365 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_356-31_0_8_load_73 | 91 | 0.0034981 | 0.0008767 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_356-31_0_8_load_74 | 92 | 0.0055642 | 0.0013945 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_356-31_0_8_load_75 | 93 | 0.0047806 | 0.0011981 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_356-31_0_8_load_76 | 94 | 0.0037896 | 0.00094977 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_356-31_0_8_load_84 | 95 | 0.0021222 | 0.00053187 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_356-31_0_8_load_83 | 96 | 0.0019022 | 0.00047675 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_356-31_0_8_load_96 | 97 | 0.0027806 | 0.00069688 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_356-31_0_8_load_93 | 98 | 0.0028363 | 0.00071084 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_356-31_0_8_load_89 | 99 | 0.0041334 | 0.0010359 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_356-31_0_8_load_94 | 100 | 0.0083051 | 0.0020814 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_356-31_0_8_load_88 | 102 | 0.0034846 | 0.00087332 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_356-31_0_8_load_104 | 104 | 0.0032091 | 0.00080428 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_356-31_0_8_load_102 | 105 | 0.0041296 | 0.001035 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_356-31_0_8_load_95 | 106 | 0.0021747 | 0.00054503 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_356-31_0_8_load_103 | 107 | 0.007694 | 0.0019283 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_356-31_0_8_load_101 | 108 | 0.0034508 | 0.00086485 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_356-31_0_8_line_0 |  | 0 | 1 | 0.046249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_356-31_0_8_line_1 |  | 0 | 2 | 0.029075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_356-31_0_8_line_2 |  | 1 | 3 | 0.024678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_356-31_0_8_line_3 |  | 2 | 4 | 0.17823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_356-31_0_8_line_4 |  | 3 | 10 | 0.10081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_356-31_0_8_line_5 |  | 4 | 11 | 0.0065289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_356-31_0_8_line_6 |  | 4 | 12 | 0.00015822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_356-31_0_8_line_7 |  | 5 | 6 | 0.015915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_356-31_0_8_line_8 |  | 6 | 10 | 0.085929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_356-31_0_8_line_9 |  | 6 | 54 | 0.014032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_356-31_0_8_line_10 |  | 7 | 8 | 0.051934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_356-31_0_8_line_11 |  | 7 | 9 | 0.094266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_356-31_0_8_line_12 |  | 8 | 14 | 0.043178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_356-31_0_8_line_13 |  | 9 | 27 | 0.028137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_356-31_0_8_line_14 |  | 11 | 69 | 0.0058424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_356-31_0_8_line_15 |  | 12 | 73 | 0.0057708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_356-31_0_8_line_16 |  | 13 | 14 | 0.0074523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_356-31_0_8_line_17 |  | 13 | 15 | 0.039886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_356-31_0_8_line_18 |  | 15 | 16 | 0.043272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_356-31_0_8_line_19 |  | 16 | 17 | 0.0060726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_356-31_0_8_line_20 |  | 17 | 20 | 0.0058636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_356-31_0_8_line_21 |  | 18 | 19 | 0.026532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_356-31_0_8_line_22 |  | 19 | 25 | 0.014745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_356-31_0_8_line_23 |  | 20 | 70 | 0.016354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_356-31_0_8_line_24 |  | 21 | 22 | 0.023086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_356-31_0_8_line_25 |  | 21 | 23 | 0.0042398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_356-31_0_8_line_26 |  | 22 | 24 | 0.036783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_356-31_0_8_line_27 |  | 22 | 25 | 0.021203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_356-31_0_8_line_28 |  | 23 | 26 | 0.005187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_356-31_0_8_line_29 |  | 24 | 27 | 0.019567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_356-31_0_8_line_30 |  | 24 | 28 | 0.0084547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_356-31_0_8_line_31 |  | 25 | 29 | 0.01826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_356-31_0_8_line_32 |  | 27 | 30 | 0.081762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_356-31_0_8_line_33 |  | 28 | 34 | 0.047165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_356-31_0_8_line_34 |  | 29 | 31 | 0.026465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_356-31_0_8_line_35 |  | 30 | 32 | 0.0043231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_356-31_0_8_line_36 |  | 30 | 33 | 0.021752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_356-31_0_8_line_37 |  | 31 | 35 | 0.012205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_356-31_0_8_line_38 |  | 33 | 40 | 0.0047745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_356-31_0_8_line_39 |  | 34 | 36 | 0.027098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_356-31_0_8_line_40 |  | 34 | 37 | 0.014901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_356-31_0_8_line_41 |  | 35 | 103 | 0.04079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_356-31_0_8_line_42 |  | 37 | 38 | 0.027744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_356-31_0_8_line_43 |  | 38 | 39 | 0.022796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_356-31_0_8_line_44 |  | 39 | 47 | 0.026625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_356-31_0_8_line_45 |  | 39 | 48 | 0.035587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_356-31_0_8_line_46 |  | 41 | 42 | 0.039896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_356-31_0_8_line_47 |  | 42 | 45 | 0.025003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_356-31_0_8_line_48 |  | 43 | 44 | 0.0084264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_356-31_0_8_line_49 |  | 44 | 46 | 0.028523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_356-31_0_8_line_50 |  | 45 | 97 | 0.0087734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_356-31_0_8_line_51 |  | 45 | 98 | 0.0029539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_356-31_0_8_line_52 |  | 46 | 101 | 0.0082292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_356-31_0_8_line_53 |  | 47 | 49 | 0.018257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_356-31_0_8_line_54 |  | 49 | 50 | 0.02104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_356-31_0_8_line_55 |  | 50 | 51 | 0.01388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_356-31_0_8_line_56 |  | 52 | 53 | 0.0019119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_356-31_0_8_line_57 |  | 53 | 101 | 0.023708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_356-31_0_8_line_58 |  | 54 | 55 | 0.027031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_356-31_0_8_line_59 |  | 55 | 56 | 0.0099577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_356-31_0_8_line_60 |  | 56 | 57 | 0.026896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_356-31_0_8_line_61 |  | 57 | 58 | 0.0060577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_356-31_0_8_line_62 |  | 59 | 60 | 0.0010321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_356-31_0_8_line_63 |  | 59 | 61 | 0.0045663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_356-31_0_8_line_64 |  | 60 | 62 | 0.0051633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_356-31_0_8_line_65 |  | 61 | 63 | 0.0013482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_356-31_0_8_line_66 |  | 62 | 64 | 0.00041406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_356-31_0_8_line_67 |  | 63 | 65 | 0.005383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_356-31_0_8_line_68 |  | 64 | 69 | 0.016736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_356-31_0_8_line_69 |  | 65 | 67 | 0.011921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_356-31_0_8_line_70 |  | 66 | 67 | 0.0055575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_356-31_0_8_line_71 |  | 66 | 68 | 0.0019566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_356-31_0_8_line_72 |  | 69 | 75 | 0.007621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_356-31_0_8_line_73 |  | 70 | 71 | 0.006342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_356-31_0_8_line_74 |  | 70 | 72 | 0.012904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_356-31_0_8_line_75 |  | 72 | 74 | 0.0040304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_356-31_0_8_line_76 |  | 73 | 74 | 0.0065903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_356-31_0_8_line_77 |  | 76 | 77 | 0.035646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_356-31_0_8_line_78 |  | 76 | 78 | 0.0018799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_356-31_0_8_line_79 |  | 77 | 79 | 0.018146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_356-31_0_8_line_80 |  | 78 | 80 | 0.01005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_356-31_0_8_line_81 |  | 79 | 81 | 0.0090239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_356-31_0_8_line_82 |  | 80 | 82 | 0.015407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_356-31_0_8_line_83 |  | 80 | 83 | 0.015097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_356-31_0_8_line_84 |  | 80 | 84 | 0.019877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_356-31_0_8_line_85 |  | 81 | 85 | 0.037914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_356-31_0_8_line_86 |  | 82 | 86 | 0.036513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_356-31_0_8_line_87 |  | 83 | 87 | 0.0094229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_356-31_0_8_line_88 |  | 84 | 88 | 0.0087456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_356-31_0_8_line_89 |  | 85 | 94 | 0.052333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_356-31_0_8_line_90 |  | 86 | 89 | 0.059769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_356-31_0_8_line_91 |  | 87 | 102 | 0.0009126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_356-31_0_8_line_92 |  | 88 | 108 | 0.020999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_356-31_0_8_line_93 |  | 90 | 91 | 0.017723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_356-31_0_8_line_94 |  | 90 | 92 | 0.01239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_356-31_0_8_line_95 |  | 91 | 93 | 0.0023849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
96 | LV_356-31_0_8_line_96 |  | 92 | 94 | 0.026065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_356-31_0_8_line_97 |  | 93 | 95 | 0.0016646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_356-31_0_8_line_98 |  | 95 | 96 | 0.021607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_356-31_0_8_line_99 |  | 96 | 101 | 0.0046474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_356-31_0_8_line_100 |  | 97 | 99 | 0.017979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_356-31_0_8_line_101 |  | 98 | 100 | 0.011575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_356-31_0_8_line_102 |  | 99 | 102 | 0.0090561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_356-31_0_8_line_103 |  | 100 | 106 | 0.012557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_356-31_0_8_line_104 |  | 103 | 104 | 0.031866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_356-31_0_8_line_105 |  | 103 | 105 | 0.027217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_356-31_0_8_line_106 |  | 104 | 106 | 0.0098885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
107 | LV_356-31_0_8_line_107 |  | 105 | 107 | 0.0024946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_356-31_0_8_trafo_5 | 0.63 MVA 20/0.4 kV | 109 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2604860.9334 | 1197398.4325 | 2604831.4031 | 1197434.0263
1 | 2604812.8385 | 1197456.4028 | 2604831.4031 | 1197434.0263
2 | 2604860.9334 | 1197398.4325 | 2604874.6016 | 1197382.4127 | 2604876.9496 | 1197379.6575
3 | 2604671.8923 | 1197347.3234 | 2604812.8385 | 1197456.4028
4 | 2604876.9496 | 1197379.6575 | 2604868.8136 | 1197372.7807 | 2604846.7658 | 1197343.7142 | 2604869.9038 | 1197295.2836
5 | 2604673.7554 | 1197341.0659 | 2604671.8923 | 1197347.3234 | 2604671.8923 | 1197347.3234
6 | 2604671.7766 | 1197347.4312 | 2604671.8923 | 1197347.3234
7 | 2604784.7085 | 1197277.5256 | 2604790.4066 | 1197262.6651
8 | 2604790.4066 | 1197262.6651 | 2604869.9038 | 1197295.2836
9 | 2604795.4303 | 1197249.5633 | 2604790.4066 | 1197262.6651
10 | 2604574.8038 | 1197448.2032 | 2604612.4153 | 1197412.3903
11 | 2604574.8038 | 1197448.2032 | 2604580.2537 | 1197462.3593 | 2604584.744 | 1197476.4035 | 2604584.619 | 1197480.6278 | 2604583.3518 | 1197484.5067 | 2604580.5236 | 1197488.1621 | 2604576.303 | 1197490.1489 | 2604570.6672 | 1197490.2891 | 2604565.8328 | 1197488.0065 | 2604559.045 | 1197480.7197 | 2604548.4315 | 1197466.7154 | 2604542.088 | 1197461.4481
12 | 2604612.4153 | 1197412.3903 | 2604605.9033 | 1197382.8585 | 2604601.9054 | 1197370.5553
13 | 2604516.8532 | 1197450.3498 | 2604526.9506 | 1197451.9137 | 2604531.4194 | 1197454.2183 | 2604541.4901 | 1197460.9516 | 2604542.088 | 1197461.4481
14 | 2604671.3072 | 1197335.7612 | 2604673.7554 | 1197341.0659 | 2604673.7554 | 1197341.0659
15 | 2604667.5552 | 1197351.366 | 2604671.7766 | 1197347.4312
16 | 2604600.0282 | 1197363.3557 | 2604600.8049 | 1197367.1685 | 2604601.9054 | 1197370.5553
17 | 2604593.5719 | 1197324.0623 | 2604594.4995 | 1197336.2139 | 2604600.0282 | 1197363.3557
18 | 2604593.5719 | 1197324.0623 | 2604624.5379 | 1197344.9525 | 2604629.0032 | 1197348.8374
19 | 2604633.5846 | 1197352.8233 | 2604629.0032 | 1197348.8374
20 | 2604633.5846 | 1197352.8233 | 2604638.0083 | 1197356.672
21 | 2604507.0651 | 1197372.8038 | 2604505.2034 | 1197375.1566 | 2604490.4504 | 1197393.4898
22 | 2604481.2064 | 1197404.977 | 2604490.4504 | 1197393.4898
23 | 2604650.3465 | 1197367.4064 | 2604638.0083 | 1197356.672
24 | 2604480.6209 | 1197424.2868 | 2604458.4985 | 1197417.6867
25 | 2604454.4356 | 1197416.4745 | 2604458.4985 | 1197417.6867
26 | 2604501.5916 | 1197449.538 | 2604478.2173 | 1197430.5884 | 2604480.6209 | 1197424.2868
27 | 2604480.6209 | 1197424.2868 | 2604484.8815 | 1197409.571 | 2604481.2064 | 1197404.977
28 | 2604449.4712 | 1197414.9256 | 2604454.4356 | 1197416.4745
29 | 2604501.5916 | 1197449.538 | 2604511.018 | 1197452.202 | 2604518.1385 | 1197452.652 | 2604516.8532 | 1197450.3498
30 | 2604501.5916 | 1197449.538 | 2604493.4406 | 1197447.2924
31 | 2604469.5263 | 1197390.9164 | 2604481.2064 | 1197404.977
32 | 2604516.8532 | 1197450.3498 | 2604518.1385 | 1197452.652 | 2604521.6664 | 1197460.5032 | 2604524.387 | 1197468.4762 | 2604526.8243 | 1197478.3277 | 2604529.2119 | 1197493.6154 | 2604529.3694 | 1197507.0894 | 2604552.2531 | 1197509.3744
33 | 2604469.4651 | 1197474.0718 | 2604479.0152 | 1197443.318 | 2604493.4406 | 1197447.2924
34 | 2604469.5263 | 1197390.9164 | 2604452.7165 | 1197370.4761
35 | 2604552.2531 | 1197509.3744 | 2604555.8571 | 1197506.9869
36 | 2604552.2531 | 1197509.3744 | 2604558.9983 | 1197512.4366 | 2604561.6819 | 1197518.8976 | 2604560.1588 | 1197526.0859
37 | 2604444.964 | 1197361.0492 | 2604452.7165 | 1197370.4761
38 | 2604560.1588 | 1197526.0859 | 2604559.1691 | 1197530.7566
39 | 2604469.4651 | 1197474.0718 | 2604443.5104 | 1197466.2833
40 | 2604469.4651 | 1197474.0718 | 2604464.8272 | 1197488.2329
41 | 2604444.964 | 1197361.0492 | 2604440.8339 | 1197364.1033 | 2604435.097 | 1197366.9673 | 2604407.0715 | 1197375.6627
42 | 2604464.8272 | 1197488.2329 | 2604460.8017 | 1197500.524 | 2604457.0412 | 1197514.8493
43 | 2604451.5903 | 1197536.97 | 2604452.7518 | 1197531.6791 | 2604453.1801 | 1197529.1225 | 2604454.333 | 1197525.1657 | 2604457.0412 | 1197514.8493
44 | 2604451.5903 | 1197536.97 | 2604445.8517 | 1197562.9695
45 | 2604416.1497 | 1197532.7641 | 2604451.5903 | 1197536.97
46 | 2604370.7378 | 1197448.1335 | 2604370.5316 | 1197447.7413 | 2604350.1244 | 1197432.6298 | 2604341.6559 | 1197421.4066
47 | 2604341.4301 | 1197396.4042 | 2604341.6559 | 1197421.4066
48 | 2604342.4494 | 1197512.0189 | 2604349.3969 | 1197507.2506
49 | 2604342.4494 | 1197512.0189 | 2604334.7103 | 1197517.3305 | 2604316.6784 | 1197523.7391
50 | 2604341.4301 | 1197396.4042 | 2604332.9723 | 1197398.7365
51 | 2604341.4301 | 1197396.4042 | 2604344.2467 | 1197395.5142
52 | 2604308.9244 | 1197526.4949 | 2604316.6784 | 1197523.7391
53 | 2604441.9167 | 1197580.7974 | 2604445.8517 | 1197562.9695
54 | 2604441.9167 | 1197580.7974 | 2604421.327 | 1197576.4689
55 | 2604407.5305 | 1197577.9924 | 2604421.327 | 1197576.4689
56 | 2604313.87 | 1197551.6334 | 2604313.5009 | 1197549.7574
57 | 2604308.9244 | 1197526.4949 | 2604313.5009 | 1197549.7574
58 | 2604795.4303 | 1197249.5633 | 2604796.0124 | 1197248.0451 | 2604806.373 | 1197224.8483
59 | 2604806.373 | 1197224.8483 | 2604810.4339 | 1197215.7563
60 | 2604810.4339 | 1197215.7563 | 2604817.7875 | 1197199.292 | 2604821.3384 | 1197191.1706
61 | 2604821.3384 | 1197191.1706 | 2604823.7652 | 1197185.6202
62 | 2604683.9312 | 1197316.1229 | 2604683.3731 | 1197316.9911
63 | 2604683.9312 | 1197316.1229 | 2604686.4004 | 1197312.2817
64 | 2604683.3731 | 1197316.9911 | 2604680.5811 | 1197321.3344
65 | 2604687.1295 | 1197311.1476 | 2604686.4004 | 1197312.2817
66 | 2604680.3572 | 1197321.6827 | 2604680.5811 | 1197321.3344
67 | 2604690.0403 | 1197306.6195 | 2604687.1295 | 1197311.1476
68 | 2604671.3072 | 1197335.7612 | 2604680.3572 | 1197321.6827
69 | 2604696.4866 | 1197296.5914 | 2604690.0403 | 1197306.6195
70 | 2604699.4918 | 1197291.9165 | 2604696.4866 | 1197296.5914
71 | 2604700.5498 | 1197290.2707 | 2604699.4918 | 1197291.9165
72 | 2604665.2789 | 1197331.0763 | 2604671.3072 | 1197335.7612
73 | 2604654.7298 | 1197372.0011 | 2604650.3465 | 1197367.4064
74 | 2604650.3465 | 1197367.4064 | 2604659.7861 | 1197358.6076
75 | 2604659.7861 | 1197358.6076 | 2604662.7344 | 1197355.8596
76 | 2604667.5552 | 1197351.366 | 2604662.7344 | 1197355.8596
77 | 2604271.7864 | 1197411.4824 | 2604263.825 | 1197416.4266 | 2604242.1739 | 1197431.3118
78 | 2604271.7864 | 1197411.4824 | 2604273.3834 | 1197410.4907
79 | 2604227.2207 | 1197441.5922 | 2604242.1739 | 1197431.3118
80 | 2604281.9207 | 1197405.1889 | 2604273.3834 | 1197410.4907
81 | 2604227.2207 | 1197441.5922 | 2604219.9384 | 1197446.9211
82 | 2604281.9207 | 1197405.1889 | 2604284.6009 | 1197395.1744 | 2604285.7222 | 1197390.2612
83 | 2604281.9207 | 1197405.1889 | 2604296.7621 | 1197407.9564 | 2604296.7621 | 1197407.9564
84 | 2604281.9207 | 1197405.1889 | 2604273.7732 | 1197423.3189
85 | 2604195.9041 | 1197474.9439 | 2604204.6664 | 1197458.0965 | 2604219.9384 | 1197446.9211
86 | 2604279.4961 | 1197355.016 | 2604283.2816 | 1197365.2575 | 2604285.0059 | 1197371.6955 | 2604287.1984 | 1197383.7923 | 2604285.7222 | 1197390.2612
87 | 2604305.9262 | 1197405.7629 | 2604296.7621 | 1197407.9564
88 | 2604270.1884 | 1197431.296 | 2604273.7732 | 1197423.3189
89 | 2604195.9041 | 1197474.9439 | 2604198.195 | 1197488.0524 | 2604204.4608 | 1197501.9642 | 2604216.5485 | 1197510.8884 | 2604224.9081 | 1197513.448
90 | 2604279.4961 | 1197355.016 | 2604221.7869 | 1197370.5713
91 | 2604306.8137 | 1197405.5505 | 2604305.9262 | 1197405.7629
92 | 2604270.1884 | 1197431.296 | 2604268.9305 | 1197434.0952 | 2604267.3871 | 1197451.9592
93 | 2604261.679 | 1197524.7068 | 2604269.1698 | 1197527.0004 | 2604278.9722 | 1197528.3077
94 | 2604261.679 | 1197524.7068 | 2604249.8314 | 1197521.0792
95 | 2604281.3362 | 1197528.623 | 2604278.9722 | 1197528.3077
96 | 2604224.9081 | 1197513.448 | 2604249.8314 | 1197521.0792
97 | 2604281.3362 | 1197528.623 | 2604282.9861 | 1197528.8431
98 | 2604304.338 | 1197527.245 | 2604289.3649 | 1197529.6938 | 2604282.9861 | 1197528.8431
99 | 2604308.9244 | 1197526.4949 | 2604304.338 | 1197527.245
100 | 2604315.621 | 1197403.4423 | 2604317.7856 | 1197402.9242 | 2604332.9723 | 1197398.7365
101 | 2604344.2467 | 1197395.5142 | 2604355.2839 | 1197392.0267
102 | 2604315.621 | 1197403.4423 | 2604306.8137 | 1197405.5505
103 | 2604355.2839 | 1197392.0267 | 2604367.2573 | 1197388.2433
104 | 2604407.0715 | 1197375.6627 | 2604376.6863 | 1197385.2639
105 | 2604407.0715 | 1197375.6627 | 2604413.0568 | 1197397.7788 | 2604414.2159 | 1197401.9255
106 | 2604376.6863 | 1197385.2639 | 2604367.2573 | 1197388.2433
107 | 2604414.8875 | 1197404.3281 | 2604414.2159 | 1197401.9255

## bus_geodata
| x | y | coords
0 | 2604831.4031 | 1197434.0263
1 | 2604860.9334 | 1197398.4325
2 | 2604812.8385 | 1197456.4028
3 | 2604876.9496 | 1197379.6575
4 | 2604671.8923 | 1197347.3234
5 | 2604784.7085 | 1197277.5256
6 | 2604790.4066 | 1197262.6651
7 | 2604574.8038 | 1197448.2032
8 | 2604612.4153 | 1197412.3903
9 | 2604542.088 | 1197461.4481
10 | 2604869.9038 | 1197295.2836
11 | 2604673.7554 | 1197341.0659
12 | 2604671.7766 | 1197347.4312
13 | 2604600.0282 | 1197363.3557
14 | 2604601.9054 | 1197370.5553
15 | 2604593.5719 | 1197324.0623
16 | 2604629.0032 | 1197348.8374
17 | 2604633.5846 | 1197352.8233
18 | 2604507.0651 | 1197372.8038
19 | 2604490.4504 | 1197393.4898
20 | 2604638.0083 | 1197356.672
21 | 2604458.4985 | 1197417.6867
22 | 2604480.6209 | 1197424.2868
23 | 2604454.4356 | 1197416.4745
24 | 2604501.5916 | 1197449.538
25 | 2604481.2064 | 1197404.977
26 | 2604449.4712 | 1197414.9256
27 | 2604516.8532 | 1197450.3498
28 | 2604493.4406 | 1197447.2924
29 | 2604469.5263 | 1197390.9164
30 | 2604552.2531 | 1197509.3744
31 | 2604452.7165 | 1197370.4761
32 | 2604555.8571 | 1197506.9869
33 | 2604560.1588 | 1197526.0859
34 | 2604469.4651 | 1197474.0718
35 | 2604444.964 | 1197361.0492
36 | 2604443.5104 | 1197466.2833
37 | 2604464.8272 | 1197488.2329
38 | 2604457.0412 | 1197514.8493
39 | 2604451.5903 | 1197536.97
40 | 2604559.1691 | 1197530.7566
41 | 2604370.7378 | 1197448.1335
42 | 2604341.6559 | 1197421.4066
43 | 2604349.3969 | 1197507.2506
44 | 2604342.4494 | 1197512.0189
45 | 2604341.4301 | 1197396.4042
46 | 2604316.6784 | 1197523.7391
47 | 2604445.8517 | 1197562.9695
48 | 2604416.1497 | 1197532.7641
49 | 2604441.9167 | 1197580.7974
50 | 2604421.327 | 1197576.4689
51 | 2604407.5305 | 1197577.9924
52 | 2604313.87 | 1197551.6334
53 | 2604313.5009 | 1197549.7574
54 | 2604795.4303 | 1197249.5633
55 | 2604806.373 | 1197224.8483
56 | 2604810.4339 | 1197215.7563
57 | 2604821.3384 | 1197191.1706
58 | 2604823.7652 | 1197185.6202
59 | 2604683.9312 | 1197316.1229
60 | 2604683.3731 | 1197316.9911
61 | 2604686.4004 | 1197312.2817
62 | 2604680.5811 | 1197321.3344
63 | 2604687.1295 | 1197311.1476
64 | 2604680.3572 | 1197321.6827
65 | 2604690.0403 | 1197306.6195
66 | 2604699.4918 | 1197291.9165
67 | 2604696.4866 | 1197296.5914
68 | 2604700.5498 | 1197290.2707
69 | 2604671.3072 | 1197335.7612
70 | 2604650.3465 | 1197367.4064
71 | 2604654.7298 | 1197372.0011
72 | 2604659.7861 | 1197358.6076
73 | 2604667.5552 | 1197351.366
74 | 2604662.7344 | 1197355.8596
75 | 2604665.2789 | 1197331.0763
76 | 2604271.7864 | 1197411.4824
77 | 2604242.1739 | 1197431.3118
78 | 2604273.3834 | 1197410.4907
79 | 2604227.2207 | 1197441.5922
80 | 2604281.9207 | 1197405.1889
81 | 2604219.9384 | 1197446.9211
82 | 2604285.7222 | 1197390.2612
83 | 2604296.7621 | 1197407.9564
84 | 2604273.7732 | 1197423.3189
85 | 2604195.9041 | 1197474.9439
86 | 2604279.4961 | 1197355.016
87 | 2604305.9262 | 1197405.7629
88 | 2604270.1884 | 1197431.296
89 | 2604221.7869 | 1197370.5713
90 | 2604261.679 | 1197524.7068
91 | 2604278.9722 | 1197528.3077
92 | 2604249.8314 | 1197521.0792
93 | 2604281.3362 | 1197528.623
94 | 2604224.9081 | 1197513.448
95 | 2604282.9861 | 1197528.8431
96 | 2604304.338 | 1197527.245
97 | 2604332.9723 | 1197398.7365
98 | 2604344.2467 | 1197395.5142
99 | 2604315.621 | 1197403.4423
100 | 2604355.2839 | 1197392.0267
101 | 2604308.9244 | 1197526.4949
102 | 2604306.8137 | 1197405.5505
103 | 2604407.0715 | 1197375.6627
104 | 2604376.6863 | 1197385.2639
105 | 2604414.2159 | 1197401.9255
106 | 2604367.2573 | 1197388.2433
107 | 2604414.8875 | 1197404.3281
108 | 2604267.3871 | 1197451.9592
109 | 2604612.4153 | 1197412.3903

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1