## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_356-41_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_356-41_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_356-41_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_356-41_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_356-41_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_356-41_0_6_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_356-41_0_6_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_356-41_0_6_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_356-41_0_6_node_84 | 0.4 | n |  | TRUE
9 | bus_LV_356-41_0_6_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_356-41_0_6_node_75 | 0.4 | n |  | TRUE
11 | bus_LV_356-41_0_6_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_356-41_0_6_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_356-41_0_6_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_356-41_0_6_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_356-41_0_6_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_356-41_0_6_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_356-41_0_6_node_90 | 0.4 | n |  | TRUE
18 | bus_LV_356-41_0_6_node_71 | 0.4 | n |  | TRUE
19 | bus_LV_356-41_0_6_node_99 | 0.4 | n |  | TRUE
20 | bus_LV_356-41_0_6_node_74 | 0.4 | n |  | TRUE
21 | bus_LV_356-41_0_6_node_91 | 0.4 | n |  | TRUE
22 | bus_LV_356-41_0_6_node_92 | 0.4 | n |  | TRUE
23 | bus_LV_356-41_0_6_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_356-41_0_6_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_356-41_0_6_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_356-41_0_6_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_356-41_0_6_node_5 | 0.4 | n |  | TRUE
28 | bus_LV_356-41_0_6_node_6 | 0.4 | n |  | TRUE
29 | bus_LV_356-41_0_6_node_7 | 0.4 | n |  | TRUE
30 | bus_LV_356-41_0_6_node_8 | 0.4 | n |  | TRUE
31 | bus_LV_356-41_0_6_node_9 | 0.4 | n |  | TRUE
32 | bus_LV_356-41_0_6_node_10 | 0.4 | n |  | TRUE
33 | bus_LV_356-41_0_6_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_356-41_0_6_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_356-41_0_6_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_356-41_0_6_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_356-41_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_356-41_0_6_node_13 | 0.4 | n |  | TRUE
39 | bus_LV_356-41_0_6_node_11 | 0.4 | n |  | TRUE
40 | bus_LV_356-41_0_6_node_12 | 0.4 | n |  | TRUE
41 | bus_LV_356-41_0_6_node_14 | 0.4 | n |  | TRUE
42 | bus_LV_356-41_0_6_node_15 | 0.4 | n |  | TRUE
43 | bus_LV_356-41_0_6_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_356-41_0_6_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_356-41_0_6_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_356-41_0_6_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_356-41_0_6_node_87 | 0.4 | n |  | TRUE
48 | bus_LV_356-41_0_6_node_63 | 0.4 | n |  | TRUE
49 | bus_LV_356-41_0_6_node_17 | 0.4 | n |  | TRUE
50 | bus_LV_356-41_0_6_node_18 | 0.4 | n |  | TRUE
51 | bus_LV_356-41_0_6_node_19 | 0.4 | n |  | TRUE
52 | bus_LV_356-41_0_6_node_21 | 0.4 | n |  | TRUE
53 | bus_LV_356-41_0_6_node_96 | 0.4 | n |  | TRUE
54 | bus_LV_356-41_0_6_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_356-41_0_6_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_356-41_0_6_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_356-41_0_6_node_85 | 0.4 | n |  | TRUE
58 | bus_LV_356-41_0_6_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_356-41_0_6_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_356-41_0_6_node_32 | 0.4 | n |  | TRUE
61 | bus_LV_356-41_0_6_node_33 | 0.4 | n |  | TRUE
62 | bus_LV_356-41_0_6_node_31 | 0.4 | n |  | TRUE
63 | bus_LV_356-41_0_6_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_356-41_0_6_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_356-41_0_6_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_356-41_0_6_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_356-41_0_6_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_356-41_0_6_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_356-41_0_6_node_97 | 0.4 | n |  | TRUE
70 | bus_LV_356-41_0_6_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_356-41_0_6_node_34 | 0.4 | n |  | TRUE
72 | bus_LV_356-41_0_6_node_35 | 0.4 | n |  | TRUE
73 | bus_LV_356-41_0_6_node_36 | 0.4 | n |  | TRUE
74 | bus_LV_356-41_0_6_node_37 | 0.4 | n |  | TRUE
75 | bus_LV_356-41_0_6_node_38 | 0.4 | n |  | TRUE
76 | bus_LV_356-41_0_6_node_39 | 0.4 | n |  | TRUE
77 | bus_LV_356-41_0_6_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_356-41_0_6_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_356-41_0_6_node_86 | 0.4 | n |  | TRUE
80 | bus_LV_356-41_0_6_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_356-41_0_6_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_356-41_0_6_node_41 | 0.4 | n |  | TRUE
83 | bus_LV_356-41_0_6_node_42 | 0.4 | n |  | TRUE
84 | bus_LV_356-41_0_6_node_98 | 0.4 | n |  | TRUE
85 | bus_LV_356-41_0_6_node_43 | 0.4 | n |  | TRUE
86 | bus_LV_356-41_0_6_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_356-41_0_6_node_55 | 0.4 | n |  | TRUE
88 | bus_LV_356-41_0_6_node_51 | 0.4 | n |  | TRUE
89 | bus_LV_356-41_0_6_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_356-41_0_6_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_356-41_0_6_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_356-41_0_6_node_77 | 0.4 | n |  | TRUE
93 | bus_LV_356-41_0_6_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_356-41_0_6_node_68 | 0.4 | n |  | TRUE
95 | bus_LV_356-41_0_6_node_69 | 0.4 | n |  | TRUE
96 | bus_LV_356-41_0_6_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_356-41_0_6_node_100 | 0.4 | n |  | TRUE
98 | bus_MV_456_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_356-41_0_6_load_0 | 0 | 0.0043887 | 0.0010999 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_356-41_0_6_load_1 | 1 | 0.0051173 | 0.0012825 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_356-41_0_6_load_2 | 2 | 0.0027831 | 0.00069751 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_356-41_0_6_load_3 | 3 | 0.003939 | 0.0009872 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_356-41_0_6_load_4 | 4 | 0.0046887 | 0.0011751 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_356-41_0_6_load_44 | 5 | 0.0021124 | 0.00052942 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_356-41_0_6_load_45 | 6 | 0.0035034 | 0.00087803 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_356-41_0_6_load_46 | 7 | 0.0016473 | 0.00041286 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_356-41_0_6_load_84 | 8 | 0.0050005 | 0.0012533 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_356-41_0_6_load_48 | 9 | 0.0018894 | 0.00047352 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_356-41_0_6_load_75 | 10 | 0.0026322 | 0.00065969 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_356-41_0_6_load_22 | 11 | 0.0075006 | 0.0018798 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_356-41_0_6_load_23 | 12 | 0.003226 | 0.0008085 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_356-41_0_6_load_24 | 13 | 0.0066795 | 0.001674 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_356-41_0_6_load_25 | 14 | 0.0032053 | 0.00080333 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_356-41_0_6_load_30 | 15 | 0.0059051 | 0.00148 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_356-41_0_6_load_26 | 16 | 0.0027624 | 0.00069232 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_356-41_0_6_load_90 | 17 | 0.0066793 | 0.001674 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_356-41_0_6_load_71 | 18 | 0.0031386 | 0.00078661 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_356-41_0_6_load_99 | 19 | 0.0032746 | 0.0008207 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_356-41_0_6_load_74 | 20 | 0.0017151 | 0.00042984 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_356-41_0_6_load_91 | 21 | 0.0075107 | 0.0018824 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_356-41_0_6_load_92 | 22 | 0.0075524 | 0.0018928 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_356-41_0_6_load_29 | 23 | 0.0050178 | 0.0012576 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_356-41_0_6_load_47 | 24 | 0.003786 | 0.00094885 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_356-41_0_6_load_56 | 25 | 0.002804 | 0.00070275 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_356-41_0_6_load_54 | 26 | 0.0025077 | 0.00062849 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_356-41_0_6_load_5 | 27 | 0.0063997 | 0.0016039 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_356-41_0_6_load_6 | 28 | 0.0051964 | 0.0013023 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_356-41_0_6_load_8 | 30 | 0.0033104 | 0.00082966 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_356-41_0_6_load_9 | 31 | 0.0096282 | 0.0024131 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_356-41_0_6_load_27 | 34 | 0.0099726 | 0.0024994 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_356-41_0_6_load_16 | 35 | 0.0067012 | 0.0016795 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_356-41_0_6_load_65 | 36 | 0.007639 | 0.0019145 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_356-41_0_6_load_28 | 37 | 0.0099688 | 0.0024984 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_356-41_0_6_load_11 | 39 | 0.0084 | 0.0021052 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_356-41_0_6_load_14 | 41 | 0.0061692 | 0.0015462 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_356-41_0_6_load_49 | 43 | 0.0058205 | 0.0014588 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_356-41_0_6_load_64 | 44 | 0.00252 | 0.00063156 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_356-41_0_6_load_62 | 45 | 0.016916 | 0.0042395 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_356-41_0_6_load_50 | 46 | 0.0037223 | 0.0009329 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_356-41_0_6_load_87 | 47 | 0.0058019 | 0.0014541 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_356-41_0_6_load_63 | 48 | 0.023988 | 0.0060121 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_356-41_0_6_load_17 | 49 | 0.0041855 | 0.001049 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_356-41_0_6_load_18 | 50 | 0.0037423 | 0.00093791 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_356-41_0_6_load_19 | 51 | 0.0017329 | 0.0004343 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_356-41_0_6_load_21 | 52 | 0.0034107 | 0.00085481 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_356-41_0_6_load_96 | 53 | 0.013577 | 0.0034028 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_356-41_0_6_load_59 | 54 | 0.0039739 | 0.00099595 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_356-41_0_6_load_60 | 55 | 0.0037276 | 0.00093422 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_356-41_0_6_load_85 | 57 | 0.0020124 | 0.00050435 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_356-41_0_6_load_67 | 59 | 0.0060426 | 0.0015144 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_356-41_0_6_load_32 | 60 | 0.0049081 | 0.0012301 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_356-41_0_6_load_33 | 61 | 0.001343 | 0.0003366 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_356-41_0_6_load_31 | 62 | 0.0060307 | 0.0015114 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_356-41_0_6_load_72 | 63 | 0.0028005 | 0.00070188 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_356-41_0_6_load_73 | 64 | 0.0035248 | 0.00088339 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_356-41_0_6_load_58 | 65 | 0.0028761 | 0.00072081 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_356-41_0_6_load_57 | 66 | 0.0025253 | 0.0006329 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_356-41_0_6_load_52 | 67 | 0.0066957 | 0.0016781 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_356-41_0_6_load_53 | 68 | 0.0056994 | 0.0014284 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_356-41_0_6_load_97 | 69 | 0.0012862 | 0.00032236 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_356-41_0_6_load_40 | 70 | 0.002327 | 0.00058321 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_356-41_0_6_load_34 | 71 | 0.0039357 | 0.00098639 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_356-41_0_6_load_35 | 72 | 0.0015949 | 0.00039972 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_356-41_0_6_load_37 | 74 | 0.0053774 | 0.0013477 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_356-41_0_6_load_38 | 75 | 0.0045562 | 0.0011419 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_356-41_0_6_load_39 | 76 | 0.0038121 | 0.0009554 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_356-41_0_6_load_83 | 77 | 0.003873 | 0.00097066 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_356-41_0_6_load_82 | 78 | 0.0038531 | 0.00096567 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_356-41_0_6_load_86 | 79 | 0.0033348 | 0.00083577 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_356-41_0_6_load_80 | 80 | 0.0048246 | 0.0012092 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_356-41_0_6_load_81 | 81 | 0.0042081 | 0.0010546 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_356-41_0_6_load_41 | 82 | 0.0018695 | 0.00046855 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_356-41_0_6_load_42 | 83 | 0.0024139 | 0.00060499 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_356-41_0_6_load_98 | 84 | 0.0038297 | 0.00095982 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_356-41_0_6_load_43 | 85 | 0.0016509 | 0.00041375 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_356-41_0_6_load_55 | 87 | 0.0014669 | 0.00036764 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_356-41_0_6_load_79 | 89 | 0.0058863 | 0.0014752 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_356-41_0_6_load_76 | 90 | 0.0067939 | 0.0017027 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_356-41_0_6_load_77 | 92 | 0.0016379 | 0.0004105 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_356-41_0_6_load_68 | 94 | 0.0025122 | 0.00062962 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_356-41_0_6_load_69 | 95 | 0.0031663 | 0.00079356 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_356-41_0_6_load_100 | 97 | 0.024977 | 0.0062597 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 82 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_356-41_0_6_line_0 |  | 0 | 1 | 0.028509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_356-41_0_6_line_1 |  | 0 | 2 | 0.013684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_356-41_0_6_line_2 |  | 1 | 3 | 0.029176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_356-41_0_6_line_3 |  | 2 | 4 | 0.023094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_356-41_0_6_line_4 |  | 3 | 8 | 0.03042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_356-41_0_6_line_5 |  | 4 | 15 | 0.028817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_356-41_0_6_line_6 |  | 5 | 6 | 0.024065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_356-41_0_6_line_7 |  | 5 | 7 | 0.021411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_356-41_0_6_line_8 |  | 6 | 24 | 0.029546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_356-41_0_6_line_9 |  | 7 | 9 | 0.010864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_356-41_0_6_line_10 |  | 8 | 18 | 0.02584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_356-41_0_6_line_11 |  | 9 | 10 | 0.021892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_356-41_0_6_line_12 |  | 10 | 19 | 0.058246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_356-41_0_6_line_13 |  | 10 | 20 | 0.024346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_356-41_0_6_line_14 |  | 11 | 12 | 0.00020641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_356-41_0_6_line_15 |  | 11 | 13 | 0.028763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_356-41_0_6_line_16 |  | 12 | 14 | 0.027095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_356-41_0_6_line_17 |  | 13 | 16 | 6.0653e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_356-41_0_6_line_18 |  | 14 | 21 | 0.00010799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_356-41_0_6_line_19 |  | 15 | 23 | 0.030612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_356-41_0_6_line_20 |  | 16 | 17 | 0.02739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_356-41_0_6_line_21 |  | 17 | 25 | 5.9987e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_356-41_0_6_line_22 |  | 18 | 58 | 0.023898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_356-41_0_6_line_23 |  | 20 | 51 | 0.0084459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_356-41_0_6_line_24 |  | 21 | 22 | 0.029138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_356-41_0_6_line_25 |  | 22 | 95 | 0.00040247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_356-41_0_6_line_26 |  | 23 | 62 | 0.03201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_356-41_0_6_line_27 |  | 24 | 66 | 0.026815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_356-41_0_6_line_28 |  | 25 | 26 | 0.029084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_356-41_0_6_line_29 |  | 26 | 67 | 1.3075e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_356-41_0_6_line_30 |  | 27 | 28 | 0.016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_356-41_0_6_line_31 |  | 27 | 29 | 0.032708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_356-41_0_6_line_32 |  | 28 | 30 | 0.0073433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_356-41_0_6_line_33 |  | 29 | 31 | 0.017759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_356-41_0_6_line_34 |  | 29 | 32 | 0.013909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_356-41_0_6_line_35 |  | 30 | 33 | 0.0047907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_356-41_0_6_line_36 |  | 31 | 34 | 0.042009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_356-41_0_6_line_37 |  | 32 | 35 | 0.043573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_356-41_0_6_line_38 |  | 33 | 36 | 0.020479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_356-41_0_6_line_39 |  | 34 | 37 | 0.031602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_356-41_0_6_line_40 |  | 35 | 38 | 0.041903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_356-41_0_6_line_41 |  | 37 | 60 | 0.0028234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_356-41_0_6_line_42 |  | 38 | 39 | 0.03901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_356-41_0_6_line_43 |  | 39 | 40 | 0.019833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_356-41_0_6_line_44 |  | 40 | 41 | 0.029937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_356-41_0_6_line_45 |  | 40 | 42 | 0.014503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_356-41_0_6_line_46 |  | 41 | 43 | 0.034908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_356-41_0_6_line_47 |  | 42 | 44 | 0.0066078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_356-41_0_6_line_48 |  | 42 | 45 | 0.041999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_356-41_0_6_line_49 |  | 43 | 46 | 0.025654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_356-41_0_6_line_50 |  | 44 | 47 | 0.00036067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_356-41_0_6_line_51 |  | 45 | 48 | 0.028024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_356-41_0_6_line_52 |  | 46 | 88 | 0.043179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_356-41_0_6_line_53 |  | 47 | 93 | 0.014433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_356-41_0_6_line_54 |  | 49 | 50 | 0.027905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_356-41_0_6_line_55 |  | 50 | 51 | 0.027773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_356-41_0_6_line_56 |  | 52 | 53 | 0.0058962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_356-41_0_6_line_57 |  | 53 | 57 | 0.018244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_356-41_0_6_line_58 |  | 54 | 55 | 0.012516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_356-41_0_6_line_59 |  | 55 | 56 | 0.0044218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_356-41_0_6_line_60 |  | 56 | 57 | 0.047767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_356-41_0_6_line_61 |  | 56 | 58 | 0.009635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_356-41_0_6_line_62 |  | 58 | 59 | 0.064635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_356-41_0_6_line_63 |  | 59 | 94 | 0.00019198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_356-41_0_6_line_64 |  | 60 | 61 | 0.029064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_356-41_0_6_line_65 |  | 61 | 70 | 0.00062978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_356-41_0_6_line_66 |  | 62 | 63 | 0.037247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_356-41_0_6_line_67 |  | 63 | 69 | 0.074607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_356-41_0_6_line_68 |  | 63 | 64 | 0.011289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_356-41_0_6_line_69 |  | 64 | 65 | 0.021251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_356-41_0_6_line_70 |  | 65 | 66 | 0.0079426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_356-41_0_6_line_71 |  | 67 | 68 | 0.028385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_356-41_0_6_line_72 |  | 68 | 87 | 0.0015875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_356-41_0_6_line_73 |  | 69 | 77 | 0.039238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_356-41_0_6_line_74 |  | 71 | 72 | 0.00024091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_356-41_0_6_line_75 |  | 71 | 73 | 0.031119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_356-41_0_6_line_76 |  | 72 | 74 | 0.0091595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_356-41_0_6_line_77 |  | 73 | 75 | 0.022802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_356-41_0_6_line_78 |  | 73 | 76 | 0.0097661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_356-41_0_6_line_79 |  | 74 | 79 | 0.023395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_356-41_0_6_line_80 |  | 77 | 78 | 0.010691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_356-41_0_6_line_81 |  | 78 | 80 | 0.0088656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_356-41_0_6_line_82 |  | 79 | 81 | 0.061017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_356-41_0_6_line_83 |  | 80 | 81 | 0.01682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_356-41_0_6_line_84 |  | 82 | 83 | 0.0016254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_356-41_0_6_line_85 |  | 82 | 84 | 0.027531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_356-41_0_6_line_86 |  | 83 | 85 | 0.019546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_356-41_0_6_line_87 |  | 84 | 86 | 0.026775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_356-41_0_6_line_88 |  | 85 | 87 | 0.010424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_356-41_0_6_line_89 |  | 86 | 91 | 0.022997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_356-41_0_6_line_90 |  | 88 | 89 | 0.023451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_356-41_0_6_line_91 |  | 88 | 90 | 0.018708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_356-41_0_6_line_92 |  | 89 | 91 | 0.0021166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_356-41_0_6_line_93 |  | 90 | 92 | 0.0029151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_356-41_0_6_line_94 |  | 93 | 96 | 0.00952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_356-41_0_6_line_95 |  | 94 | 95 | 0.026894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_356-41_0_6_line_96 |  | 96 | 97 | 0.011369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_356-41_0_6_trafo_41 | 0.63 MVA 20/0.4 kV | 98 | 82 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2606011.9615 | 1198310.2242 | 2606014.5542 | 1198310.0216 | 2606040.4065 | 1198308.3147
1 | 2606011.9615 | 1198310.2242 | 2606002.3315 | 1198310.9767 | 2605998.3195 | 1198311.2904
2 | 2606069.5192 | 1198306.3924 | 2606040.4065 | 1198308.3147
3 | 2605975.2932 | 1198313.0512 | 2605978.6097 | 1198312.8319 | 2605998.3195 | 1198311.2904
4 | 2606069.5192 | 1198306.3924 | 2606075.423 | 1198306.0026 | 2606099.8508 | 1198304.086
5 | 2605946.5388 | 1198314.9526 | 2605975.2932 | 1198313.0512
6 | 2606010.0515 | 1198357.8455 | 2606009.7474 | 1198357.8535 | 2605986.075 | 1198359.9026
7 | 2606010.0515 | 1198357.8455 | 2606031.4549 | 1198357.2768
8 | 2605956.6315 | 1198362.3106 | 2605958.7017 | 1198362.272 | 2605986.075 | 1198359.9026
9 | 2606042.2879 | 1198356.6903 | 2606039.9938 | 1198357.0499 | 2606031.4549 | 1198357.2768
10 | 2606125.6228 | 1198302.2187 | 2606108.7174 | 1198303.3903 | 2606099.8508 | 1198304.086
11 | 2606042.2879 | 1198356.6903 | 2606059.3001 | 1198354.0232 | 2606063.9682 | 1198353.8357
12 | 2606063.9682 | 1198353.8357 | 2606075.0369 | 1198411.0204
13 | 2606088.2943 | 1198352.8586 | 2606063.9682 | 1198353.8357
14 | 2606024.4826 | 1198242.1482 | 2606024.2767 | 1198242.1626
15 | 2605995.5656 | 1198243.867 | 2606009.1075 | 1198243.225 | 2606024.2767 | 1198242.1626
16 | 2606024.4826 | 1198242.1482 | 2606051.5117 | 1198240.2551
17 | 2605995.5656 | 1198243.867 | 2605995.5596 | 1198243.8673
18 | 2606051.6194 | 1198240.2476 | 2606051.5117 | 1198240.2551
19 | 2605946.5388 | 1198314.9526 | 2605933.0553 | 1198315.8442 | 2605916.0146 | 1198317.2563
20 | 2605968.2007 | 1198245.1644 | 2605995.5596 | 1198243.8673
21 | 2605968.2007 | 1198245.1644 | 2605968.1408 | 1198245.1672
22 | 2606144.3683 | 1198289.7969 | 2606138.7484 | 1198297.5176 | 2606131.7994 | 1198301.7906 | 2606125.6228 | 1198302.2187
23 | 2606096.7334 | 1198352.5197 | 2606088.2943 | 1198352.8586
24 | 2606051.6194 | 1198240.2476 | 2606080.6861 | 1198238.2118
25 | 2606081.0876 | 1198238.1837 | 2606080.6861 | 1198238.2118
26 | 2605884.1142 | 1198319.8997 | 2605916.0146 | 1198317.2563
27 | 2605956.6315 | 1198362.3106 | 2605938.2787 | 1198362.6522 | 2605929.8817 | 1198361.6277
28 | 2605968.1408 | 1198245.1672 | 2605939.0894 | 1198246.5445
29 | 2605939.0894 | 1198246.5445 | 2605939.0764 | 1198246.5451
30 | 2605701.9065 | 1198288.7094 | 2605711.4696 | 1198295.8758 | 2605715.1091 | 1198297.6512
31 | 2605678.1446 | 1198266.3731 | 2605693.5114 | 1198282.4184 | 2605701.9065 | 1198288.7094
32 | 2605721.709 | 1198300.8708 | 2605715.1091 | 1198297.6512
33 | 2605678.1446 | 1198266.3731 | 2605695.648 | 1198263.374
34 | 2605666.9052 | 1198258.136 | 2605678.1446 | 1198266.3731
35 | 2605726.0147 | 1198302.9711 | 2605721.709 | 1198300.8708
36 | 2605695.648 | 1198263.374 | 2605700.4063 | 1198262.5587 | 2605737.4894 | 1198259.8617
37 | 2605666.9052 | 1198258.136 | 2605662.9633 | 1198247.2487 | 2605657.2819 | 1198223.6752 | 2605655.0859 | 1198216.2475
38 | 2605726.0147 | 1198302.9711 | 2605730.3125 | 1198299.818 | 2605738.2781 | 1198299.2141 | 2605745.4382 | 1198299.2209
39 | 2605737.4894 | 1198259.8617 | 2605769.0084 | 1198257.5694
40 | 2605639.034 | 1198177.5447 | 2605654.8983 | 1198215.6131 | 2605655.0859 | 1198216.2475
41 | 2605771.8243 | 1198257.3646 | 2605769.0084 | 1198257.5694
42 | 2605639.034 | 1198177.5447 | 2605648.8128 | 1198176.2309 | 2605677.129 | 1198169.3387
43 | 2605694.8975 | 1198160.9326 | 2605688.0626 | 1198165.4285 | 2605681.5264 | 1198168.2684 | 2605677.129 | 1198169.3387
44 | 2605694.8975 | 1198160.9326 | 2605717.5079 | 1198175.2838 | 2605720.1819 | 1198176.9613
45 | 2605698.1776 | 1198146.8059 | 2605694.8975 | 1198160.9326
46 | 2605749.6501 | 1198195.6731 | 2605739.6922 | 1198189.2011 | 2605720.1819 | 1198176.9613
47 | 2605698.1776 | 1198146.8059 | 2605699.8083 | 1198140.4025
48 | 2605698.1776 | 1198146.8059 | 2605709.6553 | 1198152.7866 | 2605710.8781 | 1198156.2451 | 2605713.1195 | 1198161.5501 | 2605719.2363 | 1198167.459 | 2605723.9334 | 1198168.8864 | 2605730.0716 | 1198167.9139
49 | 2605749.6501 | 1198195.6731 | 2605758.5351 | 1198201.4478 | 2605773.5731 | 1198200.6805
50 | 2605699.8083 | 1198140.4025 | 2605699.8973 | 1198140.053
51 | 2605730.0716 | 1198167.9139 | 2605757.7499 | 1198163.5283
52 | 2605809.7343 | 1198204.9542 | 2605810.1518 | 1198198.44 | 2605797.8908 | 1198199.4399 | 2605773.5731 | 1198200.6805
53 | 2605703.4591 | 1198126.0665 | 2605699.8973 | 1198140.053
54 | 2606151.5139 | 1198342.678 | 2606124.0745 | 1198347.7519
55 | 2606096.7334 | 1198352.5197 | 2606098.723 | 1198352.4397 | 2606124.0745 | 1198347.7519
56 | 2606215.9038 | 1198295.1285 | 2606219.6875 | 1198295.8883 | 2606221.343 | 1198297.0751
57 | 2606215.9038 | 1198295.1285 | 2606215.9038 | 1198295.1285 | 2606197.7494 | 1198296.9389
58 | 2606170.1874 | 1198285.7532 | 2606168.3133 | 1198285.7858 | 2606157.6724 | 1198285.9399
59 | 2606153.251 | 1198286.0039 | 2606157.6724 | 1198285.9399
60 | 2606153.251 | 1198286.0039 | 2606157.5707 | 1198291.4779 | 2606190.4145 | 1198297.6704 | 2606197.7494 | 1198296.9389
61 | 2606153.251 | 1198286.0039 | 2606144.3683 | 1198289.7969
62 | 2606144.3683 | 1198289.7969 | 2606108.1079 | 1198236.2913
63 | 2606108.1079 | 1198236.2913 | 2606107.9164 | 1198236.3047
64 | 2605771.8243 | 1198257.3646 | 2605800.8115 | 1198255.2565
65 | 2605801.4397 | 1198255.2108 | 2605800.8115 | 1198255.2565
66 | 2605889.6978 | 1198356.7254 | 2605884.1142 | 1198319.8997
67 | 2605889.6978 | 1198356.7254 | 2605827.5619 | 1198398.0212
68 | 2605889.6978 | 1198356.7254 | 2605900.9034 | 1198358.0924
69 | 2605921.9975 | 1198360.6659 | 2605900.9034 | 1198358.0924
70 | 2605929.8817 | 1198361.6277 | 2605921.9975 | 1198360.6659
71 | 2605939.0764 | 1198246.5451 | 2605910.7234 | 1198247.8893
72 | 2605910.7234 | 1198247.8893 | 2605909.1377 | 1198247.9645
73 | 2605788.3839 | 1198399.9378 | 2605790.1375 | 1198399.6394 | 2605827.5619 | 1198398.0212
74 | 2605768.067 | 1198340.5198 | 2605767.8363 | 1198340.5894
75 | 2605783.5974 | 1198319.1012 | 2605783.334 | 1198331.7744 | 2605779.3159 | 1198337.129 | 2605768.067 | 1198340.5198
76 | 2605758.8994 | 1198342.5586 | 2605765.7502 | 1198341.2182 | 2605767.8363 | 1198340.5894
77 | 2605783.5974 | 1198319.1012 | 2605794.8295 | 1198318.7117 | 2605806.3548 | 1198317.7778
78 | 2605783.5974 | 1198319.1012 | 2605774.0884 | 1198316.8749
79 | 2605736.0069 | 1198347.3006 | 2605737.7609 | 1198346.6945 | 2605758.8994 | 1198342.5586
80 | 2605788.3839 | 1198399.9378 | 2605777.8443 | 1198401.7311
81 | 2605769.1043 | 1198403.2181 | 2605777.8443 | 1198401.7311
82 | 2605736.0069 | 1198347.3006 | 2605752.5224 | 1198406.0395
83 | 2605769.1043 | 1198403.2181 | 2605752.5224 | 1198406.0395
84 | 2605877.5907 | 1198249.6725 | 2605879.2118 | 1198249.5546
85 | 2605860.328 | 1198228.2265 | 2605877.5907 | 1198249.6725
86 | 2605898.7252 | 1198248.4582 | 2605885.9774 | 1198249.0626 | 2605879.2118 | 1198249.5546
87 | 2605858.2445 | 1198201.5325 | 2605860.328 | 1198228.2265
88 | 2605898.7252 | 1198248.4582 | 2605909.1377 | 1198247.9645
89 | 2605858.2445 | 1198201.5325 | 2605835.2383 | 1198203.1555
90 | 2605809.7343 | 1198204.9542 | 2605833.1269 | 1198203.3044
91 | 2605809.7343 | 1198204.9542 | 2605810.6314 | 1198223.6411
92 | 2605835.2383 | 1198203.1555 | 2605833.1269 | 1198203.3044
93 | 2605810.6314 | 1198223.6411 | 2605810.7712 | 1198226.5528
94 | 2605703.6585 | 1198116.5505 | 2605703.4591 | 1198126.0665
95 | 2606081.0876 | 1198238.1837 | 2606107.9164 | 1198236.3047
96 | 2605714.7939 | 1198114.1041 | 2605703.6585 | 1198116.5505

## bus_geodata
| x | y | coords
0 | 2606011.9615 | 1198310.2242
1 | 2606040.4065 | 1198308.3147
2 | 2605998.3195 | 1198311.2904
3 | 2606069.5192 | 1198306.3924
4 | 2605975.2932 | 1198313.0512
5 | 2606010.0515 | 1198357.8455
6 | 2605986.075 | 1198359.9026
7 | 2606031.4549 | 1198357.2768
8 | 2606099.8508 | 1198304.086
9 | 2606042.2879 | 1198356.6903
10 | 2606063.9682 | 1198353.8357
11 | 2606024.2767 | 1198242.1626
12 | 2606024.4826 | 1198242.1482
13 | 2605995.5656 | 1198243.867
14 | 2606051.5117 | 1198240.2551
15 | 2605946.5388 | 1198314.9526
16 | 2605995.5596 | 1198243.8673
17 | 2605968.2007 | 1198245.1644
18 | 2606125.6228 | 1198302.2187
19 | 2606075.0369 | 1198411.0204
20 | 2606088.2943 | 1198352.8586
21 | 2606051.6194 | 1198240.2476
22 | 2606080.6861 | 1198238.2118
23 | 2605916.0146 | 1198317.2563
24 | 2605956.6315 | 1198362.3106
25 | 2605968.1408 | 1198245.1672
26 | 2605939.0894 | 1198246.5445
27 | 2605701.9065 | 1198288.7094
28 | 2605715.1091 | 1198297.6512
29 | 2605678.1446 | 1198266.3731
30 | 2605721.709 | 1198300.8708
31 | 2605695.648 | 1198263.374
32 | 2605666.9052 | 1198258.136
33 | 2605726.0147 | 1198302.9711
34 | 2605737.4894 | 1198259.8617
35 | 2605655.0859 | 1198216.2475
36 | 2605745.4382 | 1198299.2209
37 | 2605769.0084 | 1198257.5694
38 | 2605639.034 | 1198177.5447
39 | 2605677.129 | 1198169.3387
40 | 2605694.8975 | 1198160.9326
41 | 2605720.1819 | 1198176.9613
42 | 2605698.1776 | 1198146.8059
43 | 2605749.6501 | 1198195.6731
44 | 2605699.8083 | 1198140.4025
45 | 2605730.0716 | 1198167.9139
46 | 2605773.5731 | 1198200.6805
47 | 2605699.8973 | 1198140.053
48 | 2605757.7499 | 1198163.5283
49 | 2606151.5139 | 1198342.678
50 | 2606124.0745 | 1198347.7519
51 | 2606096.7334 | 1198352.5197
52 | 2606221.343 | 1198297.0751
53 | 2606215.9038 | 1198295.1285
54 | 2606170.1874 | 1198285.7532
55 | 2606157.6724 | 1198285.9399
56 | 2606153.251 | 1198286.0039
57 | 2606197.7494 | 1198296.9389
58 | 2606144.3683 | 1198289.7969
59 | 2606108.1079 | 1198236.2913
60 | 2605771.8243 | 1198257.3646
61 | 2605800.8115 | 1198255.2565
62 | 2605884.1142 | 1198319.8997
63 | 2605889.6978 | 1198356.7254
64 | 2605900.9034 | 1198358.0924
65 | 2605921.9975 | 1198360.6659
66 | 2605929.8817 | 1198361.6277
67 | 2605939.0764 | 1198246.5451
68 | 2605910.7234 | 1198247.8893
69 | 2605827.5619 | 1198398.0212
70 | 2605801.4397 | 1198255.2108
71 | 2605768.067 | 1198340.5198
72 | 2605767.8363 | 1198340.5894
73 | 2605783.5974 | 1198319.1012
74 | 2605758.8994 | 1198342.5586
75 | 2605806.3548 | 1198317.7778
76 | 2605774.0884 | 1198316.8749
77 | 2605788.3839 | 1198399.9378
78 | 2605777.8443 | 1198401.731
79 | 2605736.0069 | 1198347.3006
80 | 2605769.1043 | 1198403.2181
81 | 2605752.5224 | 1198406.0395
82 | 2605877.5907 | 1198249.6725
83 | 2605879.2118 | 1198249.5546
84 | 2605860.328 | 1198228.2265
85 | 2605898.7252 | 1198248.4582
86 | 2605858.2445 | 1198201.5325
87 | 2605909.1377 | 1198247.9645
88 | 2605809.7343 | 1198204.9542
89 | 2605833.1269 | 1198203.3044
90 | 2605810.6314 | 1198223.6411
91 | 2605835.2383 | 1198203.1555
92 | 2605810.7712 | 1198226.5528
93 | 2605703.4591 | 1198126.0665
94 | 2606107.9164 | 1198236.3047
95 | 2606081.0876 | 1198238.1837
96 | 2605703.6585 | 1198116.5505
97 | 2605714.7939 | 1198114.1041
98 | 2605678.1446 | 1198266.3731

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1