## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_356-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_356-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_356-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_356-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_356-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_356-4_0_4_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_356-4_0_4_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_356-4_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_356-4_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_356-4_0_4_node_68 | 0.4 | n |  | TRUE
10 | bus_LV_356-4_0_4_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_356-4_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_356-4_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_356-4_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_356-4_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_356-4_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_356-4_0_4_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_356-4_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_356-4_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_356-4_0_4_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_356-4_0_4_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_356-4_0_4_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_356-4_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_356-4_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_356-4_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_356-4_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_356-4_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_356-4_0_4_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_356-4_0_4_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_356-4_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_356-4_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_356-4_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_356-4_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_356-4_0_4_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_356-4_0_4_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_356-4_0_4_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_356-4_0_4_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_356-4_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_356-4_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_356-4_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_356-4_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_356-4_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_356-4_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_356-4_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_356-4_0_4_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_356-4_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_356-4_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_356-4_0_4_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_356-4_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_356-4_0_4_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_356-4_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_356-4_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_356-4_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_356-4_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_356-4_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_356-4_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_356-4_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_356-4_0_4_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_356-4_0_4_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_356-4_0_4_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_356-4_0_4_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_356-4_0_4_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_356-4_0_4_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_356-4_0_4_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_356-4_0_4_node_65 | 0.4 | n |  | TRUE
65 | bus_MV_592_1_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_356-4_0_4_load_0 | 0 | 0.024193 | 0.0060633 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_356-4_0_4_load_3 | 3 | 0.012886 | 0.0032295 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_356-4_0_4_load_26 | 5 | 0.027694 | 0.0069407 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_356-4_0_4_load_24 | 6 | 0.0095925 | 0.0024041 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_356-4_0_4_load_10 | 7 | 0.011235 | 0.0028158 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_356-4_0_4_load_68 | 9 | 0.017559 | 0.0044006 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_356-4_0_4_load_5 | 11 | 0.0072884 | 0.0018266 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_356-4_0_4_load_6 | 12 | 0.0059199 | 0.0014837 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_356-4_0_4_load_7 | 13 | 0.0063799 | 0.001599 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_356-4_0_4_load_8 | 14 | 0.0065045 | 0.0016302 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_356-4_0_4_load_9 | 15 | 0.010729 | 0.002689 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_356-4_0_4_load_22 | 16 | 0.0077242 | 0.0019359 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_356-4_0_4_load_12 | 17 | 0.0049994 | 0.001253 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_356-4_0_4_load_13 | 18 | 0.0072033 | 0.0018053 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_356-4_0_4_load_39 | 19 | 0.0083397 | 0.0020901 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_356-4_0_4_load_54 | 20 | 0.0059392 | 0.0014885 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_356-4_0_4_load_40 | 21 | 0.004116 | 0.0010316 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_356-4_0_4_load_14 | 22 | 0.0088848 | 0.0022267 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_356-4_0_4_load_15 | 23 | 0.004714 | 0.0011814 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_356-4_0_4_load_16 | 24 | 0.002833 | 0.00071002 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_356-4_0_4_load_17 | 25 | 0.0017316 | 0.00043399 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_356-4_0_4_load_18 | 26 | 0.0057304 | 0.0014362 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_356-4_0_4_load_43 | 27 | 0.001745 | 0.00043735 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_356-4_0_4_load_55 | 28 | 0.0037844 | 0.00094845 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_356-4_0_4_load_19 | 29 | 0.0040588 | 0.0010172 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_356-4_0_4_load_20 | 30 | 0.0051318 | 0.0012862 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_356-4_0_4_load_21 | 31 | 0.0025128 | 0.00062976 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_356-4_0_4_load_62 | 34 | 0.0037113 | 0.00093014 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_356-4_0_4_load_60 | 35 | 0.010243 | 0.0025671 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_356-4_0_4_load_56 | 36 | 0.004068 | 0.0010195 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_356-4_0_4_load_32 | 37 | 0.0050391 | 0.0012629 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_356-4_0_4_load_27 | 38 | 0.0038276 | 0.00095929 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_356-4_0_4_load_28 | 39 | 0.0046532 | 0.0011662 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_356-4_0_4_load_30 | 41 | 0.0052265 | 0.0013099 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_356-4_0_4_load_31 | 42 | 0.0028518 | 0.00071472 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_356-4_0_4_load_52 | 44 | 0.0060591 | 0.0015186 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_356-4_0_4_load_41 | 45 | 0.0052196 | 0.0013082 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_356-4_0_4_load_51 | 47 | 0.0020836 | 0.00052221 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_356-4_0_4_load_33 | 48 | 0.0081029 | 0.0020308 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_356-4_0_4_load_34 | 49 | 0.0034926 | 0.00087532 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_356-4_0_4_load_36 | 50 | 0.0047664 | 0.0011946 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_356-4_0_4_load_38 | 51 | 0.0046472 | 0.0011647 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_356-4_0_4_load_42 | 53 | 0.0054889 | 0.0013756 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_356-4_0_4_load_46 | 54 | 0.0033241 | 0.0008331 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_356-4_0_4_load_44 | 55 | 0.0018061 | 0.00045264 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_356-4_0_4_load_49 | 56 | 0.0033686 | 0.00084424 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_356-4_0_4_load_57 | 57 | 0.0037806 | 0.00094751 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_356-4_0_4_load_59 | 58 | 0.0088138 | 0.0022089 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_356-4_0_4_load_61 | 59 | 0.0033263 | 0.00083366 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_356-4_0_4_load_69 | 60 | 0.012615 | 0.0031617 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_356-4_0_4_load_67 | 61 | 0.0047481 | 0.00119 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_356-4_0_4_load_63 | 62 | 0.02228 | 0.005584 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_356-4_0_4_load_64 | 63 | 0.022321 | 0.0055941 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_356-4_0_4_load_65 | 64 | 0.023489 | 0.0058869 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_356-4_0_4_line_0 |  | 0 | 1 | 0.022537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_356-4_0_4_line_1 |  | 0 | 2 | 0.020768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_356-4_0_4_line_2 |  | 1 | 3 | 0.035737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_356-4_0_4_line_3 |  | 2 | 4 | 0.008522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_356-4_0_4_line_4 |  | 4 | 5 | 0.031174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_356-4_0_4_line_5 |  | 4 | 6 | 0.0042022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_356-4_0_4_line_6 |  | 5 | 9 | 0.016684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_356-4_0_4_line_7 |  | 6 | 10 | 0.042482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_356-4_0_4_line_8 |  | 7 | 8 | 0.013644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_356-4_0_4_line_9 |  | 8 | 17 | 0.017944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_356-4_0_4_line_10 |  | 8 | 18 | 0.019021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_356-4_0_4_line_11 |  | 10 | 16 | 0.018645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_356-4_0_4_line_12 |  | 10 | 14 | 0.012099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_356-4_0_4_line_13 |  | 11 | 12 | 0.024375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_356-4_0_4_line_14 |  | 11 | 13 | 0.00085612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_356-4_0_4_line_15 |  | 12 | 14 | 0.0075796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_356-4_0_4_line_16 |  | 13 | 15 | 0.0057296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_356-4_0_4_line_17 |  | 16 | 30 | 0.0064624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_356-4_0_4_line_18 |  | 17 | 19 | 0.017894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_356-4_0_4_line_19 |  | 18 | 20 | 0.018832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_356-4_0_4_line_20 |  | 19 | 21 | 0.00030971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_356-4_0_4_line_21 |  | 21 | 26 | 0.0099057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_356-4_0_4_line_22 |  | 22 | 23 | 0.0059986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_356-4_0_4_line_23 |  | 22 | 24 | 0.00054897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_356-4_0_4_line_24 |  | 23 | 25 | 0.017684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_356-4_0_4_line_25 |  | 24 | 26 | 0.015061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_356-4_0_4_line_26 |  | 25 | 27 | 0.0059629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_356-4_0_4_line_27 |  | 27 | 28 | 0.0011592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_356-4_0_4_line_28 |  | 28 | 50 | 0.0058827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_356-4_0_4_line_29 |  | 29 | 30 | 0.014554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_356-4_0_4_line_30 |  | 29 | 31 | 0.0069311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_356-4_0_4_line_31 |  | 31 | 32 | 0.0099233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_356-4_0_4_line_32 |  | 32 | 33 | 0.009511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_356-4_0_4_line_33 |  | 32 | 34 | 0.020194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_356-4_0_4_line_34 |  | 33 | 35 | 0.021595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_356-4_0_4_line_35 |  | 33 | 36 | 0.0017575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_356-4_0_4_line_36 |  | 34 | 37 | 0.020014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_356-4_0_4_line_37 |  | 35 | 60 | 0.0043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_356-4_0_4_line_38 |  | 36 | 57 | 0.0099769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_356-4_0_4_line_39 |  | 37 | 40 | 0.029412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_356-4_0_4_line_40 |  | 38 | 39 | 0.0061963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_356-4_0_4_line_41 |  | 38 | 40 | 0.0083489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_356-4_0_4_line_42 |  | 39 | 41 | 0.030482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_356-4_0_4_line_43 |  | 40 | 42 | 0.034381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_356-4_0_4_line_44 |  | 41 | 43 | 0.020537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_356-4_0_4_line_45 |  | 42 | 44 | 0.0051816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_356-4_0_4_line_46 |  | 43 | 45 | 0.014259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_356-4_0_4_line_47 |  | 43 | 46 | 0.002813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_356-4_0_4_line_48 |  | 44 | 47 | 0.0034086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_356-4_0_4_line_49 |  | 45 | 53 | 0.024302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_356-4_0_4_line_50 |  | 46 | 51 | 0.040288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_356-4_0_4_line_51 |  | 46 | 48 | 0.019066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_356-4_0_4_line_52 |  | 48 | 49 | 0.0010647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_356-4_0_4_line_53 |  | 49 | 50 | 0.019089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_356-4_0_4_line_54 |  | 51 | 52 | 0.017641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_356-4_0_4_line_55 |  | 52 | 54 | 0.033142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_356-4_0_4_line_56 |  | 52 | 55 | 0.022325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_356-4_0_4_line_57 |  | 54 | 56 | 0.0077786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_356-4_0_4_line_58 |  | 57 | 58 | 0.011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_356-4_0_4_line_59 |  | 58 | 59 | 0.0083732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_356-4_0_4_line_60 |  | 60 | 61 | 0.017018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_356-4_0_4_line_61 |  | 61 | 64 | 0.033632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_356-4_0_4_line_62 |  | 62 | 63 | 0.018363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_356-4_0_4_line_63 |  | 62 | 64 | 0.018686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_356-4_0_4_trafo_6 | 0.63 MVA 20/0.4 kV | 65 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2603003.2885 | 1198345.4151 | 2603022.3162 | 1198333.3385
1 | 2603039.8507 | 1198322.2097 | 2603022.3162 | 1198333.3385
2 | 2603003.2885 | 1198345.4151 | 2603001.8958 | 1198343.9025 | 2602979.5912 | 1198318.6655
3 | 2603039.8507 | 1198322.2097 | 2603047.0946 | 1198317.6886
4 | 2603047.0946 | 1198317.6886 | 2603053.2138 | 1198323.6727 | 2603073.7348 | 1198333.1775
5 | 2603047.0946 | 1198317.6886 | 2603050.6476 | 1198315.4449
6 | 2603073.7348 | 1198333.1775 | 2603088.8742 | 1198340.1897
7 | 2603086.5667 | 1198292.7618 | 2603050.6476 | 1198315.4449
8 | 2602941.188 | 1198271.4677 | 2602949.6161 | 1198282.1977
9 | 2602941.188 | 1198271.4677 | 2602952.2711 | 1198257.355
10 | 2602941.188 | 1198271.4677 | 2602936.5311 | 1198264.584 | 2602930.8484 | 1198255.5054
11 | 2603086.5667 | 1198292.7618 | 2603102.3308 | 1198282.8049
12 | 2603086.5667 | 1198292.7618 | 2603082.3363 | 1198286.145 | 2603079.2917 | 1198283.1865
13 | 2603073.8559 | 1198277.9042 | 2603073.5227 | 1198277.5804 | 2603057.8415 | 1198259.5298
14 | 2603057.8415 | 1198259.5298 | 2603057.2801 | 1198258.8835
15 | 2603073.8559 | 1198277.9042 | 2603079.2917 | 1198283.1865
16 | 2603053.5225 | 1198254.5581 | 2603057.2801 | 1198258.8835
17 | 2603107.7946 | 1198279.3538 | 2603102.3308 | 1198282.8049
18 | 2602963.3228 | 1198243.2823 | 2602952.2711 | 1198257.355
19 | 2602930.8484 | 1198255.5054 | 2602922.8881 | 1198242.7881 | 2602922.3403 | 1198241.9318 | 2602921.252 | 1198240.5194 | 2602920.5789 | 1198239.741
20 | 2602963.5141 | 1198243.0387 | 2602963.3228 | 1198243.2823
21 | 2602969.6322 | 1198235.2482 | 2602963.5141 | 1198243.0387
22 | 2602982.9786 | 1198218.2535 | 2602979.2737 | 1198222.9712
23 | 2602979.2737 | 1198222.9712 | 2602978.9346 | 1198223.4029
24 | 2602982.9786 | 1198218.2535 | 2602990.837 | 1198208.2469 | 2602994.4552 | 1198204.853
25 | 2602969.6322 | 1198235.2482 | 2602978.9346 | 1198223.4029
26 | 2602994.4552 | 1198204.853 | 2602994.7224 | 1198204.6024 | 2602999.4193 | 1198201.5592
27 | 2602999.4193 | 1198201.5592 | 2603000.3921 | 1198200.9289
28 | 2603000.3921 | 1198200.9289 | 2603005.3291 | 1198197.7301
29 | 2603107.7946 | 1198279.3538 | 2603120.0997 | 1198271.5817
30 | 2603125.9598 | 1198267.8803 | 2603120.0997 | 1198271.5817
31 | 2603134.3497 | 1198262.5811 | 2603125.9598 | 1198267.8803
32 | 2603134.3497 | 1198262.5811 | 2603139.8037 | 1198259.0709 | 2603142.3936 | 1198257.4714
33 | 2603134.3497 | 1198262.5811 | 2603130.8339 | 1198258.277 | 2603128.3453 | 1198255.4075 | 2603120.2812 | 1198248.1657
34 | 2603142.3936 | 1198257.4714 | 2603153.3505 | 1198276.0805
35 | 2603142.3936 | 1198257.4714 | 2603143.8814 | 1198256.5359
36 | 2603105.3901 | 1198234.793 | 2603120.2812 | 1198248.1657
37 | 2603153.3505 | 1198276.0805 | 2603155.5322 | 1198279.7859
38 | 2603143.8814 | 1198256.5359 | 2603152.3275 | 1198251.2253
39 | 2603083.5067 | 1198215.141 | 2603105.3901 | 1198234.793
40 | 2603072.6347 | 1198205.4787 | 2603077.2662 | 1198209.5949
41 | 2603083.5067 | 1198215.141 | 2603077.2662 | 1198209.5949
42 | 2603072.6347 | 1198205.4787 | 2603056.973 | 1198191.5596 | 2603049.8519 | 1198185.2282
43 | 2603083.5067 | 1198215.141 | 2603105.0834 | 1198188.3731
44 | 2603034.5037 | 1198171.5822 | 2603049.8519 | 1198185.2282
45 | 2603108.3352 | 1198184.339 | 2603105.0834 | 1198188.3731
46 | 2603034.5037 | 1198171.5822 | 2603043.4151 | 1198160.4503
47 | 2603034.5037 | 1198171.5822 | 2603032.3953 | 1198169.7134
48 | 2603110.4743 | 1198181.6852 | 2603108.3352 | 1198184.339
49 | 2603043.4151 | 1198160.4503 | 2603058.6028 | 1198141.4783
50 | 2603032.3953 | 1198169.7134 | 2603002.2902 | 1198142.9396
51 | 2603032.3953 | 1198169.7134 | 2603020.1051 | 1198184.29
52 | 2603020.1051 | 1198184.29 | 2603019.4188 | 1198185.104
53 | 2603019.4188 | 1198185.104 | 2603013.8345 | 1198191.7271 | 2603010.993 | 1198194.0603 | 2603005.3291 | 1198197.7301
54 | 2602989.108 | 1198131.2161 | 2603002.2902 | 1198142.9396
55 | 2602989.108 | 1198131.2161 | 2603009.37 | 1198104.9894
56 | 2602989.108 | 1198131.2161 | 2602975.4319 | 1198148.862
57 | 2603009.37 | 1198104.9894 | 2603014.1255 | 1198098.8339
58 | 2603161.6394 | 1198245.3703 | 2603152.3275 | 1198251.2253
59 | 2603161.6394 | 1198245.3703 | 2603168.7278 | 1198240.9134
60 | 2603155.5322 | 1198279.7859 | 2603164.1665 | 1198294.4504
61 | 2603164.1665 | 1198294.4504 | 2603173.9596 | 1198311.083 | 2603174.1416 | 1198312.6728 | 2603165.0274 | 1198321.5602
62 | 2603151.6493 | 1198334.6054 | 2603138.5025 | 1198347.4251
63 | 2603151.6493 | 1198334.6054 | 2603165.0274 | 1198321.5602

## bus_geodata
| x | y | coords
0 | 2603022.3162 | 1198333.3385
1 | 2603003.2885 | 1198345.4151
2 | 2603039.8507 | 1198322.2097
3 | 2602979.5912 | 1198318.6655
4 | 2603047.0946 | 1198317.6886
5 | 2603073.7348 | 1198333.1775
6 | 2603050.6476 | 1198315.4449
7 | 2602949.6161 | 1198282.1977
8 | 2602941.188 | 1198271.4677
9 | 2603088.8742 | 1198340.1897
10 | 2603086.5667 | 1198292.7618
11 | 2603057.8415 | 1198259.5298
12 | 2603073.8559 | 1198277.9042
13 | 2603057.2801 | 1198258.8835
14 | 2603079.2917 | 1198283.1865
15 | 2603053.5225 | 1198254.5581
16 | 2603102.3308 | 1198282.8049
17 | 2602952.2711 | 1198257.355
18 | 2602930.8484 | 1198255.5054
19 | 2602963.3228 | 1198243.2823
20 | 2602920.5789 | 1198239.741
21 | 2602963.5141 | 1198243.0387
22 | 2602979.2737 | 1198222.9712
23 | 2602982.9786 | 1198218.2535
24 | 2602978.9346 | 1198223.4029
25 | 2602994.4552 | 1198204.853
26 | 2602969.6322 | 1198235.2482
27 | 2602999.4193 | 1198201.5592
28 | 2603000.3921 | 1198200.9289
29 | 2603120.0997 | 1198271.5817
30 | 2603107.7946 | 1198279.3538
31 | 2603125.9598 | 1198267.8803
32 | 2603134.3497 | 1198262.5811
33 | 2603142.3936 | 1198257.4714
34 | 2603120.2812 | 1198248.1657
35 | 2603153.3505 | 1198276.0805
36 | 2603143.8814 | 1198256.5359
37 | 2603105.3901 | 1198234.793
38 | 2603077.2662 | 1198209.5949
39 | 2603072.6347 | 1198205.4787
40 | 2603083.5067 | 1198215.141
41 | 2603049.8519 | 1198185.2282
42 | 2603105.0834 | 1198188.3731
43 | 2603034.5037 | 1198171.5822
44 | 2603108.3352 | 1198184.339
45 | 2603043.4151 | 1198160.4503
46 | 2603032.3953 | 1198169.7134
47 | 2603110.4743 | 1198181.6852
48 | 2603020.1051 | 1198184.29
49 | 2603019.4188 | 1198185.104
50 | 2603005.3291 | 1198197.7301
51 | 2603002.2902 | 1198142.9396
52 | 2602989.108 | 1198131.2161
53 | 2603058.6028 | 1198141.4783
54 | 2603009.37 | 1198104.9894
55 | 2602975.4319 | 1198148.862
56 | 2603014.1255 | 1198098.8339
57 | 2603152.3275 | 1198251.2253
58 | 2603161.6394 | 1198245.3703
59 | 2603168.7278 | 1198240.9133
60 | 2603155.5322 | 1198279.7859
61 | 2603164.1665 | 1198294.4504
62 | 2603151.6493 | 1198334.6054
63 | 2603138.5025 | 1198347.4251
64 | 2603165.0274 | 1198321.5602
65 | 2603086.5667 | 1198292.7618

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1