## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_359-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_359-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_359-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_359-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_359-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_359-5_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_359-5_0_3_node_92 | 0.4 | n |  | TRUE
7 | bus_LV_359-5_0_3_node_89 | 0.4 | n |  | TRUE
8 | bus_LV_359-5_0_3_node_95 | 0.4 | n |  | TRUE
9 | bus_LV_359-5_0_3_node_96 | 0.4 | n |  | TRUE
10 | bus_LV_359-5_0_3_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_359-5_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_359-5_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_359-5_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_359-5_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_359-5_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_359-5_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_359-5_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_359-5_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_359-5_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_359-5_0_3_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_359-5_0_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_359-5_0_3_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_359-5_0_3_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_359-5_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_359-5_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_359-5_0_3_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_359-5_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_359-5_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_359-5_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_359-5_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_359-5_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_359-5_0_3_node_73 | 0.4 | n |  | TRUE
33 | bus_LV_359-5_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_359-5_0_3_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_359-5_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_359-5_0_3_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_359-5_0_3_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_359-5_0_3_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_359-5_0_3_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_359-5_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_359-5_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_359-5_0_3_node_88 | 0.4 | n |  | TRUE
43 | bus_LV_359-5_0_3_node_87 | 0.4 | n |  | TRUE
44 | bus_LV_359-5_0_3_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_359-5_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_359-5_0_3_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_359-5_0_3_node_85 | 0.4 | n |  | TRUE
48 | bus_LV_359-5_0_3_node_86 | 0.4 | n |  | TRUE
49 | bus_LV_359-5_0_3_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_359-5_0_3_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_359-5_0_3_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_359-5_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_359-5_0_3_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_359-5_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_359-5_0_3_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_359-5_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_359-5_0_3_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_359-5_0_3_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_359-5_0_3_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_359-5_0_3_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_359-5_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_359-5_0_3_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_359-5_0_3_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_359-5_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_359-5_0_3_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_359-5_0_3_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_359-5_0_3_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_359-5_0_3_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_359-5_0_3_node_83 | 0.4 | n |  | TRUE
70 | bus_LV_359-5_0_3_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_359-5_0_3_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_359-5_0_3_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_359-5_0_3_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_359-5_0_3_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_359-5_0_3_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_359-5_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_359-5_0_3_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_359-5_0_3_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_359-5_0_3_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_359-5_0_3_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_359-5_0_3_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_359-5_0_3_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_359-5_0_3_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_359-5_0_3_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_359-5_0_3_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_359-5_0_3_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_359-5_0_3_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_359-5_0_3_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_359-5_0_3_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_359-5_0_3_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_359-5_0_3_node_93 | 0.4 | n |  | TRUE
92 | bus_MV_92_0_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_359-5_0_3_load_0 | 0 | 0.0028898 | 0.00072425 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_359-5_0_3_load_3 | 3 | 0.0030978 | 0.00077639 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_359-5_0_3_load_5 | 5 | 0.002517 | 0.00063083 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_359-5_0_3_load_92 | 6 | 0.00061327 | 0.0001537 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_359-5_0_3_load_89 | 7 | 0.013932 | 0.0034916 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_359-5_0_3_load_95 | 8 | 0.0068376 | 0.0017137 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_359-5_0_3_load_96 | 9 | 0.0022825 | 0.00057205 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_359-5_0_3_load_6 | 11 | 0.0037881 | 0.00094939 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_359-5_0_3_load_7 | 12 | 0.0064224 | 0.0016096 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_359-5_0_3_load_8 | 13 | 0.0025655 | 0.00064297 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_359-5_0_3_load_9 | 15 | 0.0083967 | 0.0021044 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_359-5_0_3_load_11 | 16 | 0.0084543 | 0.0021188 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_359-5_0_3_load_31 | 20 | 0.013545 | 0.0033946 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_359-5_0_3_load_22 | 21 | 0.0075531 | 0.001893 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_359-5_0_3_load_32 | 23 | 0.0088353 | 0.0022143 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_359-5_0_3_load_26 | 25 | 0.0033423 | 0.00083765 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_359-5_0_3_load_27 | 26 | 0.004648 | 0.0011649 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_359-5_0_3_load_15 | 27 | 0.0025076 | 0.00062848 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_359-5_0_3_load_16 | 28 | 0.0017817 | 0.00044653 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_359-5_0_3_load_17 | 29 | 0.0017817 | 0.00044653 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_359-5_0_3_load_18 | 30 | 0.0026471 | 0.00066342 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_359-5_0_3_load_19 | 31 | 0.0026472 | 0.00066346 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_359-5_0_3_load_73 | 32 | 0.0022207 | 0.00055656 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_359-5_0_3_load_20 | 33 | 0.0025392 | 0.00063638 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_359-5_0_3_load_72 | 34 | 0.0025121 | 0.0006296 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_359-5_0_3_load_67 | 36 | 0.0019753 | 0.00049505 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_359-5_0_3_load_68 | 37 | 0.0062754 | 0.0015728 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_359-5_0_3_load_66 | 38 | 0.0045523 | 0.0011409 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_359-5_0_3_load_25 | 40 | 0.0079605 | 0.0019951 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_359-5_0_3_load_40 | 41 | 0.0081454 | 0.0020414 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_359-5_0_3_load_88 | 42 | 0.0022236 | 0.00055728 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_359-5_0_3_load_87 | 43 | 0.0021899 | 0.00054883 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_359-5_0_3_load_29 | 45 | 0.0015542 | 0.00038953 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_359-5_0_3_load_30 | 46 | 0.0059024 | 0.0014793 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_359-5_0_3_load_85 | 47 | 0.001495 | 0.00037468 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_359-5_0_3_load_86 | 48 | 0.0020007 | 0.00050142 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_359-5_0_3_load_33 | 49 | 0.012687 | 0.0031797 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_359-5_0_3_load_34 | 50 | 0.0052163 | 0.0013073 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_359-5_0_3_load_35 | 51 | 0.0066379 | 0.0016636 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_359-5_0_3_load_37 | 52 | 0.00088991 | 0.00022303 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_359-5_0_3_load_36 | 53 | 0.012567 | 0.0031497 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_359-5_0_3_load_38 | 54 | 0.0015933 | 0.00039931 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_359-5_0_3_load_39 | 55 | 0.0013619 | 0.00034133 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_359-5_0_3_load_52 | 56 | 0.0020043 | 0.00050231 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_359-5_0_3_load_53 | 57 | 0.0015558 | 0.00038991 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_359-5_0_3_load_42 | 58 | 0.008603 | 0.0021561 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_359-5_0_3_load_44 | 59 | 0.0012002 | 0.00030079 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_359-5_0_3_load_45 | 60 | 0.0040635 | 0.0010184 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_359-5_0_3_load_46 | 61 | 0.0045432 | 0.0011386 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_359-5_0_3_load_47 | 62 | 0.0013283 | 0.00033291 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_359-5_0_3_load_49 | 63 | 0.0013387 | 0.0003355 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_359-5_0_3_load_48 | 64 | 0.0020065 | 0.00050287 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_359-5_0_3_load_50 | 65 | 0.0019557 | 0.00049016 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_359-5_0_3_load_51 | 66 | 0.0018673 | 0.00046798 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_359-5_0_3_load_54 | 67 | 0.0010781 | 0.00027019 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_359-5_0_3_load_55 | 68 | 0.0020068 | 0.00050296 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_359-5_0_3_load_83 | 69 | 0.0031332 | 0.00078525 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_359-5_0_3_load_61 | 70 | 0.002205 | 0.00055263 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_359-5_0_3_load_60 | 71 | 0.0021856 | 0.00054776 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_359-5_0_3_load_56 | 72 | 0.0020131 | 0.00050453 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_359-5_0_3_load_57 | 73 | 0.0023316 | 0.00058437 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_359-5_0_3_load_58 | 74 | 0.0021159 | 0.00053028 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_359-5_0_3_load_59 | 75 | 0.0021127 | 0.0005295 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_359-5_0_3_load_62 | 76 | 0.0012204 | 0.00030587 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_359-5_0_3_load_63 | 77 | 0.001185 | 0.00029698 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_359-5_0_3_load_64 | 78 | 0.0020692 | 0.00051859 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_359-5_0_3_load_65 | 79 | 0.0022106 | 0.00055402 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_359-5_0_3_load_70 | 80 | 0.0037333 | 0.00093566 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_359-5_0_3_load_71 | 81 | 0.0034064 | 0.00085372 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_359-5_0_3_load_74 | 82 | 0.0027364 | 0.0006858 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_359-5_0_3_load_75 | 83 | 0.0028356 | 0.00071068 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_359-5_0_3_load_78 | 84 | 0.0025285 | 0.00063369 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_359-5_0_3_load_76 | 85 | 0.0020987 | 0.000526 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_359-5_0_3_load_77 | 86 | 0.0024902 | 0.00062411 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_359-5_0_3_load_79 | 87 | 0.0026318 | 0.00065959 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_359-5_0_3_load_80 | 88 | 0.0012155 | 0.00030463 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_359-5_0_3_load_81 | 89 | 0.0025402 | 0.00063662 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_359-5_0_3_load_82 | 90 | 0.0012172 | 0.00030506 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_359-5_0_3_load_93 | 91 | 0.0021213 | 0.00053164 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_359-5_0_3_line_0 |  | 0 | 1 | 0.030242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_359-5_0_3_line_1 |  | 0 | 2 | 0.021467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_359-5_0_3_line_2 |  | 1 | 3 | 0.0067203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_359-5_0_3_line_3 |  | 1 | 4 | 0.009157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_359-5_0_3_line_4 |  | 2 | 5 | 0.017598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_359-5_0_3_line_5 |  | 4 | 8 | 0.022937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_359-5_0_3_line_6 |  | 4 | 9 | 0.008818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_359-5_0_3_line_7 |  | 5 | 11 | 0.0067251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_359-5_0_3_line_8 |  | 6 | 7 | 0.028848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_359-5_0_3_line_9 |  | 7 | 8 | 0.083126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_359-5_0_3_line_10 |  | 7 | 10 | 0.042695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_359-5_0_3_line_11 |  | 10 | 43 | 0.036105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_359-5_0_3_line_12 |  | 10 | 44 | 0.011287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_359-5_0_3_line_13 |  | 12 | 13 | 0.0015064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_359-5_0_3_line_14 |  | 13 | 14 | 0.018323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_359-5_0_3_line_15 |  | 14 | 17 | 0.02345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_359-5_0_3_line_16 |  | 14 | 18 | 0.024566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_359-5_0_3_line_17 |  | 15 | 16 | 0.019987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_359-5_0_3_line_18 |  | 16 | 18 | 0.019889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_359-5_0_3_line_19 |  | 17 | 19 | 0.014345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_359-5_0_3_line_20 |  | 17 | 20 | 0.038752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_359-5_0_3_line_21 |  | 18 | 21 | 0.040021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_359-5_0_3_line_22 |  | 19 | 22 | 0.19975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_359-5_0_3_line_23 |  | 20 | 23 | 0.026411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_359-5_0_3_line_24 |  | 21 | 24 | 0.025466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_359-5_0_3_line_25 |  | 22 | 26 | 0.029601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_359-5_0_3_line_26 |  | 23 | 49 | 0.018801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_359-5_0_3_line_27 |  | 24 | 40 | 0.064394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_359-5_0_3_line_28 |  | 25 | 26 | 0.044695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_359-5_0_3_line_29 |  | 27 | 28 | 0.011276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_359-5_0_3_line_30 |  | 27 | 29 | 0.0060315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_359-5_0_3_line_31 |  | 28 | 30 | 0.0052557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_359-5_0_3_line_32 |  | 29 | 31 | 0.011151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_359-5_0_3_line_33 |  | 30 | 32 | 0.010919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_359-5_0_3_line_34 |  | 31 | 33 | 0.0072525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_359-5_0_3_line_35 |  | 32 | 34 | 0.004279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_359-5_0_3_line_36 |  | 33 | 35 | 0.048692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_359-5_0_3_line_37 |  | 34 | 82 | 0.0021645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_359-5_0_3_line_38 |  | 35 | 36 | 0.014697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_359-5_0_3_line_39 |  | 35 | 37 | 0.0096781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_359-5_0_3_line_40 |  | 36 | 38 | 0.013976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_359-5_0_3_line_41 |  | 37 | 39 | 0.014046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_359-5_0_3_line_42 |  | 38 | 79 | 0.0087356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_359-5_0_3_line_43 |  | 39 | 80 | 0.039469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_359-5_0_3_line_44 |  | 39 | 81 | 0.018255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_359-5_0_3_line_45 |  | 40 | 41 | 0.034753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_359-5_0_3_line_46 |  | 41 | 44 | 0.0080993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_359-5_0_3_line_47 |  | 42 | 43 | 0.015652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_359-5_0_3_line_48 |  | 44 | 58 | 0.025131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_359-5_0_3_line_49 |  | 45 | 46 | 0.0026875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_359-5_0_3_line_50 |  | 46 | 47 | 0.15217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_359-5_0_3_line_51 |  | 47 | 48 | 0.021827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_359-5_0_3_line_52 |  | 48 | 56 | 0.041255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_359-5_0_3_line_53 |  | 49 | 50 | 0.02446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_359-5_0_3_line_54 |  | 50 | 51 | 0.0022874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_359-5_0_3_line_55 |  | 51 | 52 | 0.018083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_359-5_0_3_line_56 |  | 52 | 53 | 0.0028993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_359-5_0_3_line_57 |  | 53 | 54 | 0.013363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_359-5_0_3_line_58 |  | 54 | 55 | 0.020002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_359-5_0_3_line_59 |  | 55 | 56 | 0.010845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_359-5_0_3_line_60 |  | 56 | 57 | 0.032156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_359-5_0_3_line_61 |  | 57 | 69 | 0.020623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_359-5_0_3_line_62 |  | 58 | 59 | 0.020226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_359-5_0_3_line_63 |  | 59 | 60 | 0.0038353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_359-5_0_3_line_64 |  | 60 | 61 | 0.012156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_359-5_0_3_line_65 |  | 61 | 62 | 0.01023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_359-5_0_3_line_66 |  | 62 | 63 | 0.0072321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_359-5_0_3_line_67 |  | 63 | 64 | 0.0020133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_359-5_0_3_line_68 |  | 64 | 65 | 0.01155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_359-5_0_3_line_69 |  | 65 | 66 | 0.0034409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_359-5_0_3_line_70 |  | 66 | 67 | 0.0015501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_359-5_0_3_line_71 |  | 67 | 68 | 0.0094298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_359-5_0_3_line_72 |  | 68 | 70 | 0.0066674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_359-5_0_3_line_73 |  | 70 | 71 | 0.0067158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_359-5_0_3_line_74 |  | 71 | 74 | 0.0050603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_359-5_0_3_line_75 |  | 72 | 73 | 0.011572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_359-5_0_3_line_76 |  | 72 | 74 | 0.00038173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_359-5_0_3_line_77 |  | 73 | 75 | 0.006621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_359-5_0_3_line_78 |  | 75 | 76 | 0.012438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_359-5_0_3_line_79 |  | 76 | 77 | 0.0092115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_359-5_0_3_line_80 |  | 77 | 78 | 0.0040099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_359-5_0_3_line_81 |  | 78 | 79 | 0.019128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_359-5_0_3_line_82 |  | 82 | 83 | 0.010197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_359-5_0_3_line_83 |  | 83 | 84 | 0.0070131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_359-5_0_3_line_84 |  | 84 | 85 | 0.00492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_359-5_0_3_line_85 |  | 85 | 86 | 0.0049796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_359-5_0_3_line_86 |  | 86 | 87 | 0.0069552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_359-5_0_3_line_87 |  | 87 | 88 | 0.0028715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_359-5_0_3_line_88 |  | 88 | 89 | 0.0071978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_359-5_0_3_line_89 |  | 89 | 90 | 0.00077799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_359-5_0_3_line_90 |  | 90 | 91 | 0.0055687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_359-5_0_3_trafo_49 | 0.63 MVA 20/0.4 kV | 92 | 63 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2608487.1926 | 1200274.0577 | 2608496.4799 | 1200257.5841 | 2608503.4775 | 1200248.6721
1 | 2608516.7347 | 1200231.7877 | 2608503.4775 | 1200248.6721
2 | 2608487.1926 | 1200274.0577 | 2608480.6294 | 1200275.5022
3 | 2608494.3324 | 1200279.8153 | 2608487.1926 | 1200274.0577
4 | 2608516.7347 | 1200231.7877 | 2608531.5089 | 1200241.348
5 | 2608494.3324 | 1200279.8153 | 2608503.7953 | 1200300.7177
6 | 2608494.3324 | 1200279.8153 | 2608503.0127 | 1200278.1266
7 | 2608537.155 | 1200245.0015 | 2608531.5089 | 1200241.348
8 | 2608574.4723 | 1200350.578 | 2608551.8836 | 1200368.5216
9 | 2608551.8836 | 1200368.5216 | 2608503.7953 | 1200300.7177
10 | 2608518.4523 | 1200395.078 | 2608551.8836 | 1200368.5216
11 | 2608518.4523 | 1200395.078 | 2608487.389 | 1200399.3031 | 2608482.6486 | 1200399.6774
12 | 2608518.4523 | 1200395.078 | 2608518.9616 | 1200406.3515
13 | 2608480.2209 | 1200503.8603 | 2608479.0181 | 1200504.7674
14 | 2608464.3889 | 1200515.8001 | 2608479.0181 | 1200504.7674
15 | 2608464.3889 | 1200515.8001 | 2608468.5875 | 1200518.0072 | 2608470.9457 | 1200519.1 | 2608475.389 | 1200520.5959 | 2608478.0751 | 1200521.2334 | 2608481.066 | 1200521.6934 | 2608483.8364 | 1200521.8863 | 2608486.691 | 1200521.8236
16 | 2608448.4218 | 1200497.49 | 2608452.5761 | 1200504.2328 | 2608453.3283 | 1200505.2344 | 2608454.4908 | 1200506.7702 | 2608458.1615 | 1200510.9443 | 2608460.9136 | 1200513.3717 | 2608464.3889 | 1200515.8001
17 | 2608482.1114 | 1200482.0068 | 2608480.1193 | 1200480.4699 | 2608478.1336 | 1200479.7334 | 2608475.675 | 1200479.6632 | 2608473.3447 | 1200480.3936 | 2608464.2565 | 1200485.5537
18 | 2608448.4218 | 1200497.49 | 2608459.7312 | 1200488.1231 | 2608464.2565 | 1200485.5537
19 | 2608491.2472 | 1200535.026 | 2608489.1197 | 1200532.2993 | 2608487.45 | 1200528.7506 | 2608486.691 | 1200521.8236
20 | 2608486.691 | 1200521.8236 | 2608490.7411 | 1200521.4625 | 2608493.5582 | 1200520.9328 | 2608498.8432 | 1200519.3505 | 2608523.4435 | 1200510.0407
21 | 2608448.4218 | 1200497.49 | 2608442.052 | 1200485.6414 | 2608433.7251 | 1200468.9319 | 2608430.3235 | 1200461.8021
22 | 2608491.2472 | 1200535.026 | 2608589.9011 | 1200708.715
23 | 2608523.4435 | 1200510.0407 | 2608548.1444 | 1200500.6929
24 | 2608419.3576 | 1200438.8178 | 2608430.3235 | 1200461.8021
25 | 2608589.9011 | 1200708.715 | 2608604.1766 | 1200734.646
26 | 2608565.606 | 1200493.7444 | 2608561.1805 | 1200495.7595 | 2608548.1444 | 1200500.6929
27 | 2608419.3576 | 1200438.8178 | 2608467.223 | 1200411.2145 | 2608476.3463 | 1200410.6641
28 | 2608625.7316 | 1200773.8 | 2608604.1766 | 1200734.646
29 | 2608785.2967 | 1200291.6505 | 2608796.5266 | 1200290.6355
30 | 2608785.2967 | 1200291.6505 | 2608779.2897 | 1200292.1935
31 | 2608796.5266 | 1200290.6355 | 2608801.761 | 1200290.1623 | 2608801.761 | 1200290.1623
32 | 2608768.184 | 1200293.1973 | 2608779.2897 | 1200292.1935
33 | 2608812.6795 | 1200290.2866 | 2608801.761 | 1200290.1623
34 | 2608768.184 | 1200293.1973 | 2608760.961 | 1200293.8501
35 | 2608816.9582 | 1200290.3353 | 2608812.6795 | 1200290.2866
36 | 2608712.4157 | 1200295.6909 | 2608716.9821 | 1200296.3646 | 2608738.2133 | 1200295.9062 | 2608760.961 | 1200293.8501
37 | 2608816.9582 | 1200290.3353 | 2608819.1226 | 1200290.3599
38 | 2608712.4157 | 1200295.6909 | 2608707.8629 | 1200296.1957 | 2608700.9396 | 1200298.8205 | 2608698.7686 | 1200300.4464
39 | 2608712.4157 | 1200295.6909 | 2608714.2454 | 1200288.5786 | 2608715.0487 | 1200286.387
40 | 2608687.5823 | 1200308.8244 | 2608698.7686 | 1200300.4464
41 | 2608719.7638 | 1200273.1561 | 2608717.4628 | 1200279.8008 | 2608715.0487 | 1200286.387
42 | 2608687.5823 | 1200308.8244 | 2608680.5904 | 1200314.061
43 | 2608719.7638 | 1200273.1561 | 2608706.6203 | 1200260.6415 | 2608702.1019 | 1200247.8058 | 2608696.6149 | 1200242.3857
44 | 2608719.7638 | 1200273.1561 | 2608725.7151 | 1200255.899
45 | 2608476.3463 | 1200410.6641 | 2608491.7132 | 1200409.737 | 2608510.9241 | 1200407.3501
46 | 2608518.9616 | 1200406.3515 | 2608510.9241 | 1200407.3501
47 | 2608482.6486 | 1200399.6774 | 2608467.0453 | 1200400.9095
48 | 2608518.9616 | 1200406.3515 | 2608543.5127 | 1200400.9842
49 | 2608819.1964 | 1200537.2208 | 2608818.4677 | 1200539.8076
50 | 2608689.4432 | 1200457.714 | 2608819.1964 | 1200537.2208
51 | 2608689.4432 | 1200457.714 | 2608678.8943 | 1200462.6324 | 2608670.0718 | 1200467.7278
52 | 2608639.4887 | 1200440.039 | 2608670.0718 | 1200467.7278
53 | 2608565.606 | 1200493.7444 | 2608573.7637 | 1200490.0298 | 2608583.8418 | 1200484.8303 | 2608587.3778 | 1200482.6464
54 | 2608589.3239 | 1200481.4444 | 2608587.3778 | 1200482.6464
55 | 2608589.3239 | 1200481.4444 | 2608592.8928 | 1200479.2402 | 2608601.4875 | 1200473.3937 | 2608604.2445 | 1200471.2481
56 | 2608606.5325 | 1200469.4675 | 2608604.2445 | 1200471.2481
57 | 2608606.5325 | 1200469.4675 | 2608613.8784 | 1200463.7507 | 2608616.8535 | 1200460.9962
58 | 2608631.5308 | 1200447.4069 | 2608616.8535 | 1200460.9962
59 | 2608631.5308 | 1200447.4069 | 2608639.4887 | 1200440.039
60 | 2608639.4887 | 1200440.039 | 2608646.0439 | 1200433.9697 | 2608662.3267 | 1200417.4122
61 | 2608676.4342 | 1200402.3797 | 2608670.8042 | 1200408.7917 | 2608662.3267 | 1200417.4122
62 | 2608543.5127 | 1200400.9842 | 2608545.2848 | 1200400.5968 | 2608562.6698 | 1200394.5348
63 | 2608566.251 | 1200393.177 | 2608565.543 | 1200393.5329 | 2608562.6698 | 1200394.5348
64 | 2608566.251 | 1200393.177 | 2608577.1126 | 1200387.7176
65 | 2608586.2532 | 1200383.1233 | 2608577.1126 | 1200387.7176
66 | 2608586.2532 | 1200383.1233 | 2608592.7149 | 1200379.8753 | 2608592.7149 | 1200379.8753
67 | 2608594.3264 | 1200378.6685 | 2608592.7149 | 1200379.8753
68 | 2608594.3264 | 1200378.6685 | 2608603.5708 | 1200371.7449
69 | 2608606.3249 | 1200369.6822 | 2608603.5708 | 1200371.7449
70 | 2608606.3249 | 1200369.6822 | 2608607.5656 | 1200368.7529
71 | 2608607.5656 | 1200368.7529 | 2608615.1132 | 1200363.1001
72 | 2608620.4499 | 1200359.1033 | 2608615.1132 | 1200363.1001
73 | 2608620.4499 | 1200359.1033 | 2608625.8252 | 1200355.0774
74 | 2608625.8252 | 1200355.0774 | 2608629.8755 | 1200352.0439
75 | 2608630.181 | 1200351.8151 | 2608639.443 | 1200344.8783
76 | 2608629.8755 | 1200352.0439 | 2608630.181 | 1200351.8151
77 | 2608644.7425 | 1200340.9093 | 2608639.443 | 1200344.8783
78 | 2608644.7425 | 1200340.9093 | 2608654.6981 | 1200333.4531
79 | 2608654.6981 | 1200333.4531 | 2608662.071 | 1200327.9311
80 | 2608665.2805 | 1200325.5273 | 2608662.071 | 1200327.9311
81 | 2608665.2805 | 1200325.5273 | 2608680.5904 | 1200314.061
82 | 2608819.1226 | 1200290.3599 | 2608829.3191 | 1200290.4759
83 | 2608836.3318 | 1200290.5557 | 2608829.3191 | 1200290.4759
84 | 2608841.2515 | 1200290.6117 | 2608836.3318 | 1200290.5557
85 | 2608841.2515 | 1200290.6117 | 2608846.2308 | 1200290.6684
86 | 2608853.1855 | 1200290.7475 | 2608846.2308 | 1200290.6684
87 | 2608856.0568 | 1200290.7802 | 2608853.1855 | 1200290.7475
88 | 2608856.0568 | 1200290.7802 | 2608863.2541 | 1200290.8621
89 | 2608864.032 | 1200290.8709 | 2608863.2541 | 1200290.8621
90 | 2608864.032 | 1200290.8709 | 2608869.6004 | 1200290.9343

## bus_geodata
| x | y | coords
0 | 2608503.4775 | 1200248.6721
1 | 2608487.1926 | 1200274.0577
2 | 2608516.7347 | 1200231.7877
3 | 2608480.6294 | 1200275.5022
4 | 2608494.3324 | 1200279.8153
5 | 2608531.5089 | 1200241.348
6 | 2608574.4723 | 1200350.578
7 | 2608551.8836 | 1200368.5216
8 | 2608503.7953 | 1200300.7177
9 | 2608503.0127 | 1200278.1266
10 | 2608518.4523 | 1200395.078
11 | 2608537.155 | 1200245.0015
12 | 2608480.2209 | 1200503.8603
13 | 2608479.0181 | 1200504.7674
14 | 2608464.3889 | 1200515.8001
15 | 2608482.1114 | 1200482.0068
16 | 2608464.2565 | 1200485.5537
17 | 2608486.691 | 1200521.8236
18 | 2608448.4218 | 1200497.49
19 | 2608491.2472 | 1200535.026
20 | 2608523.4435 | 1200510.0407
21 | 2608430.3235 | 1200461.8021
22 | 2608589.9011 | 1200708.715
23 | 2608548.1444 | 1200500.6929
24 | 2608419.3576 | 1200438.8178
25 | 2608625.7316 | 1200773.8
26 | 2608604.1766 | 1200734.646
27 | 2608785.2967 | 1200291.6505
28 | 2608796.5266 | 1200290.6355
29 | 2608779.2897 | 1200292.1935
30 | 2608801.761 | 1200290.1623
31 | 2608768.184 | 1200293.1973
32 | 2608812.6795 | 1200290.2866
33 | 2608760.961 | 1200293.8501
34 | 2608816.9582 | 1200290.3353
35 | 2608712.4157 | 1200295.6909
36 | 2608698.7686 | 1200300.4464
37 | 2608715.0487 | 1200286.387
38 | 2608687.5823 | 1200308.8244
39 | 2608719.7638 | 1200273.1561
40 | 2608476.3463 | 1200410.6641
41 | 2608510.9241 | 1200407.3501
42 | 2608467.0453 | 1200400.9095
43 | 2608482.6486 | 1200399.6774
44 | 2608518.9616 | 1200406.3515
45 | 2608818.4677 | 1200539.8076
46 | 2608819.1964 | 1200537.2208
47 | 2608689.4432 | 1200457.714
48 | 2608670.0718 | 1200467.7278
49 | 2608565.606 | 1200493.7444
50 | 2608587.3778 | 1200482.6464
51 | 2608589.3239 | 1200481.4444
52 | 2608604.2445 | 1200471.2481
53 | 2608606.5325 | 1200469.4675
54 | 2608616.8535 | 1200460.9962
55 | 2608631.5308 | 1200447.4069
56 | 2608639.4887 | 1200440.039
57 | 2608662.3267 | 1200417.4122
58 | 2608543.5127 | 1200400.9842
59 | 2608562.6698 | 1200394.5347
60 | 2608566.251 | 1200393.177
61 | 2608577.1126 | 1200387.7176
62 | 2608586.2532 | 1200383.1233
63 | 2608592.7149 | 1200379.8753
64 | 2608594.3264 | 1200378.6685
65 | 2608603.5708 | 1200371.7449
66 | 2608606.3249 | 1200369.6822
67 | 2608607.5656 | 1200368.7529
68 | 2608615.1132 | 1200363.1001
69 | 2608676.4342 | 1200402.3797
70 | 2608620.4499 | 1200359.1033
71 | 2608625.8252 | 1200355.0774
72 | 2608630.181 | 1200351.8151
73 | 2608639.443 | 1200344.8783
74 | 2608629.8755 | 1200352.0439
75 | 2608644.7425 | 1200340.9093
76 | 2608654.6981 | 1200333.4531
77 | 2608662.071 | 1200327.9311
78 | 2608665.2805 | 1200325.5273
79 | 2608680.5904 | 1200314.061
80 | 2608696.6149 | 1200242.3857
81 | 2608725.7151 | 1200255.899
82 | 2608819.1226 | 1200290.3599
83 | 2608829.3191 | 1200290.4759
84 | 2608836.3318 | 1200290.5557
85 | 2608841.2515 | 1200290.6117
86 | 2608846.2307 | 1200290.6684
87 | 2608853.1855 | 1200290.7475
88 | 2608856.0568 | 1200290.7802
89 | 2608863.2541 | 1200290.8621
90 | 2608864.032 | 1200290.8709
91 | 2608869.6004 | 1200290.9343
92 | 2608518.9616 | 1200406.3515

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1