## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_359-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_359-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_359-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_359-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_359-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_359-6_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_359-6_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_359-6_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_359-6_0_3_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_359-6_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_359-6_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_359-6_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_359-6_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_359-6_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_359-6_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_359-6_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_359-6_0_3_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_359-6_0_3_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_359-6_0_3_node_50 | 0.4 | n |  | TRUE
19 | bus_LV_359-6_0_3_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_359-6_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_359-6_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_359-6_0_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_359-6_0_3_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_359-6_0_3_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_359-6_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_359-6_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_359-6_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_359-6_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_359-6_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_359-6_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_359-6_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_359-6_0_3_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_359-6_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_359-6_0_3_node_86 | 0.4 | n |  | TRUE
35 | bus_LV_359-6_0_3_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_359-6_0_3_node_92 | 0.4 | n |  | TRUE
37 | bus_LV_359-6_0_3_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_359-6_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_359-6_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_359-6_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_359-6_0_3_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_359-6_0_3_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_359-6_0_3_node_94 | 0.4 | n |  | TRUE
44 | bus_LV_359-6_0_3_node_95 | 0.4 | n |  | TRUE
45 | bus_LV_359-6_0_3_node_93 | 0.4 | n |  | TRUE
46 | bus_LV_359-6_0_3_node_85 | 0.4 | n |  | TRUE
47 | bus_LV_359-6_0_3_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_359-6_0_3_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_359-6_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_359-6_0_3_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_359-6_0_3_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_359-6_0_3_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_359-6_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_359-6_0_3_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_359-6_0_3_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_359-6_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_359-6_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_359-6_0_3_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_359-6_0_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_359-6_0_3_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_359-6_0_3_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_359-6_0_3_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_359-6_0_3_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_359-6_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_359-6_0_3_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_359-6_0_3_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_359-6_0_3_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_359-6_0_3_node_76 | 0.4 | n |  | TRUE
69 | bus_LV_359-6_0_3_node_82 | 0.4 | n |  | TRUE
70 | bus_LV_359-6_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_359-6_0_3_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_359-6_0_3_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_359-6_0_3_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_359-6_0_3_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_359-6_0_3_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_359-6_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_359-6_0_3_node_108 | 0.4 | n |  | TRUE
78 | bus_LV_359-6_0_3_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_359-6_0_3_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_359-6_0_3_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_359-6_0_3_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_359-6_0_3_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_359-6_0_3_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_359-6_0_3_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_359-6_0_3_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_359-6_0_3_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_359-6_0_3_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_359-6_0_3_node_106 | 0.4 | n |  | TRUE
89 | bus_LV_359-6_0_3_node_107 | 0.4 | n |  | TRUE
90 | bus_LV_359-6_0_3_node_109 | 0.4 | n |  | TRUE
91 | bus_LV_359-6_0_3_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_359-6_0_3_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_359-6_0_3_node_81 | 0.4 | n |  | TRUE
94 | bus_LV_359-6_0_3_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_359-6_0_3_node_88 | 0.4 | n |  | TRUE
96 | bus_LV_359-6_0_3_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_359-6_0_3_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_359-6_0_3_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_359-6_0_3_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_359-6_0_3_node_105 | 0.4 | n |  | TRUE
101 | bus_LV_359-6_0_3_node_103 | 0.4 | n |  | TRUE
102 | bus_LV_359-6_0_3_node_100 | 0.4 | n |  | TRUE
103 | bus_LV_359-6_0_3_node_102 | 0.4 | n |  | TRUE
104 | bus_LV_359-6_0_3_node_97 | 0.4 | n |  | TRUE
105 | bus_LV_359-6_0_3_node_98 | 0.4 | n |  | TRUE
106 | bus_LV_359-6_0_3_node_99 | 0.4 | n |  | TRUE
107 | bus_LV_359-6_0_3_node_101 | 0.4 | n |  | TRUE
108 | bus_LV_359-6_0_3_node_104 | 0.4 | n |  | TRUE
109 | bus_LV_359-6_0_3_node_113 | 0.4 | n |  | TRUE
110 | bus_LV_359-6_0_3_node_112 | 0.4 | n |  | TRUE
111 | bus_LV_359-6_0_3_node_111 | 0.4 | n |  | TRUE
112 | bus_MV_92_0_node_125 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_359-6_0_3_load_0 | 0 | 0.00189 | 0.00047368 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_359-6_0_3_load_1 | 1 | 0.0022503 | 0.00056397 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_359-6_0_3_load_3 | 3 | 0.0013624 | 0.00034146 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_359-6_0_3_load_4 | 4 | 0.0012925 | 0.00032394 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_359-6_0_3_load_5 | 5 | 0.0013784 | 0.00034547 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_359-6_0_3_load_6 | 6 | 0.0012548 | 0.00031448 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_359-6_0_3_load_14 | 7 | 0.0020615 | 0.00051666 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_359-6_0_3_load_15 | 8 | 0.0024215 | 0.00060688 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_359-6_0_3_load_7 | 9 | 0.001307 | 0.00032756 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_359-6_0_3_load_8 | 10 | 0.0030743 | 0.00077048 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_359-6_0_3_load_9 | 11 | 0.0029945 | 0.00075049 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_359-6_0_3_load_10 | 12 | 0.0024101 | 0.00060402 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_359-6_0_3_load_11 | 13 | 0.0018727 | 0.00046933 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_359-6_0_3_load_12 | 14 | 0.0029808 | 0.00074706 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_359-6_0_3_load_13 | 15 | 0.0024136 | 0.0006049 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_359-6_0_3_load_61 | 16 | 0.0025316 | 0.00063449 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_359-6_0_3_load_60 | 17 | 0.0026177 | 0.00065606 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_359-6_0_3_load_50 | 18 | 0.0032153 | 0.00080582 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_359-6_0_3_load_49 | 19 | 0.0030669 | 0.00076863 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_359-6_0_3_load_17 | 20 | 0.0043255 | 0.0010841 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_359-6_0_3_load_18 | 21 | 0.010272 | 0.0025744 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_359-6_0_3_load_27 | 22 | 0.004046 | 0.001014 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_359-6_0_3_load_38 | 23 | 0.0045837 | 0.0011488 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_359-6_0_3_load_35 | 24 | 0.0048623 | 0.0012186 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_359-6_0_3_load_26 | 25 | 0.0064072 | 0.0016058 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_359-6_0_3_load_19 | 26 | 0.0031784 | 0.00079657 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_359-6_0_3_load_20 | 27 | 0.0029422 | 0.00073738 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_359-6_0_3_load_21 | 28 | 0.002421 | 0.00060675 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_359-6_0_3_load_22 | 29 | 0.0037952 | 0.00095116 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_359-6_0_3_load_23 | 30 | 0.0024116 | 0.0006044 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_359-6_0_3_load_24 | 31 | 0.0022173 | 0.0005557 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_359-6_0_3_load_55 | 32 | 0.0091086 | 0.0022828 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_359-6_0_3_load_25 | 33 | 0.0031261 | 0.00078346 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_359-6_0_3_load_86 | 34 | 0.0021636 | 0.00054226 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_359-6_0_3_load_54 | 35 | 0.002973 | 0.00074511 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_359-6_0_3_load_92 | 36 | 0.0022058 | 0.00055283 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_359-6_0_3_load_53 | 37 | 0.0026242 | 0.00065769 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_359-6_0_3_load_28 | 38 | 0.0036848 | 0.0009235 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_359-6_0_3_load_29 | 39 | 0.013885 | 0.0034799 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_359-6_0_3_load_30 | 40 | 0.0016786 | 0.00042069 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_359-6_0_3_load_59 | 41 | 0.0028203 | 0.00070682 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_359-6_0_3_load_56 | 42 | 0.005388 | 0.0013504 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_359-6_0_3_load_94 | 43 | 0.0027832 | 0.00069753 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_359-6_0_3_load_95 | 44 | 0.0051915 | 0.0013011 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_359-6_0_3_load_93 | 45 | 0.0043249 | 0.0010839 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_359-6_0_3_load_85 | 46 | 0.0028281 | 0.00070878 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_359-6_0_3_load_57 | 47 | 0.004592 | 0.0011509 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_359-6_0_3_load_31 | 48 | 0.0027236 | 0.0006826 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_359-6_0_3_load_32 | 49 | 0.0030053 | 0.00075321 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_359-6_0_3_load_34 | 51 | 0.0034392 | 0.00086195 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_359-6_0_3_load_36 | 52 | 0.0030177 | 0.00075631 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_359-6_0_3_load_37 | 53 | 0.0018032 | 0.00045192 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_359-6_0_3_load_39 | 54 | 0.0059248 | 0.0014849 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_359-6_0_3_load_40 | 55 | 0.0039038 | 0.00097839 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_359-6_0_3_load_47 | 56 | 0.0014995 | 0.00037581 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_359-6_0_3_load_52 | 57 | 0.0021588 | 0.00054104 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_359-6_0_3_load_48 | 58 | 0.0015432 | 0.00038676 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_359-6_0_3_load_51 | 59 | 0.0020585 | 0.00051591 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_359-6_0_3_load_41 | 60 | 0.0024363 | 0.00061059 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_359-6_0_3_load_42 | 61 | 0.0021312 | 0.00053414 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_359-6_0_3_load_43 | 62 | 0.0015752 | 0.00039478 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_359-6_0_3_load_45 | 64 | 0.0030544 | 0.0007655 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_359-6_0_3_load_46 | 65 | 0.0061789 | 0.0015486 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_359-6_0_3_load_78 | 66 | 0.0038166 | 0.00095653 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_359-6_0_3_load_65 | 67 | 0.0029583 | 0.00074143 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_359-6_0_3_load_82 | 69 | 0.001785 | 0.00044737 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_359-6_0_3_load_63 | 70 | 0.00065736 | 0.00016475 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_359-6_0_3_load_62 | 72 | 0.0026618 | 0.00066712 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_359-6_0_3_load_77 | 73 | 0.005383 | 0.0013491 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_359-6_0_3_load_74 | 74 | 0.0054782 | 0.001373 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_359-6_0_3_load_58 | 75 | 0.008866 | 0.002222 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_359-6_0_3_load_70 | 76 | 0.008773 | 0.0021987 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_359-6_0_3_load_108 | 77 | 0.0068199 | 0.0017092 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_359-6_0_3_load_66 | 79 | 0.00032987 | 8.2674e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_359-6_0_3_load_67 | 80 | 0.00041972 | 0.00010519 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_359-6_0_3_load_69 | 81 | 0.0021658 | 0.00054279 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_359-6_0_3_load_83 | 82 | 0.0035455 | 0.00088859 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_359-6_0_3_load_84 | 83 | 0.0019814 | 0.00049659 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_359-6_0_3_load_71 | 84 | 0.0044241 | 0.0011088 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_359-6_0_3_load_75 | 87 | 0.0060951 | 0.0015276 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_359-6_0_3_load_107 | 89 | 0.0034947 | 0.00087586 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_359-6_0_3_load_109 | 90 | 0.0023299 | 0.00058393 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_359-6_0_3_load_79 | 91 | 0.0029965 | 0.00075099 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_359-6_0_3_load_80 | 92 | 0.0022566 | 0.00056555 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_359-6_0_3_load_81 | 93 | 0.0061902 | 0.0015514 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_359-6_0_3_load_87 | 94 | 0.0044295 | 0.0011101 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_359-6_0_3_load_88 | 95 | 0.0039292 | 0.00098475 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_359-6_0_3_load_89 | 96 | 0.0047572 | 0.0011923 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_359-6_0_3_load_90 | 97 | 0.0056513 | 0.0014163 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_359-6_0_3_load_96 | 99 | 0.0014572 | 0.00036522 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_359-6_0_3_load_105 | 100 | 0.0019896 | 0.00049864 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_359-6_0_3_load_103 | 101 | 0.0022683 | 0.00056849 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_359-6_0_3_load_100 | 102 | 0.002246 | 0.0005629 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_359-6_0_3_load_102 | 103 | 0.0019634 | 0.00049209 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_359-6_0_3_load_97 | 104 | 0.0028957 | 0.00072572 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_359-6_0_3_load_98 | 105 | 0.0024057 | 0.00060293 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_359-6_0_3_load_101 | 107 | 0.0052352 | 0.0013121 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_359-6_0_3_load_104 | 108 | 0.0022291 | 0.00055867 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_359-6_0_3_load_113 | 109 | 0.0021999 | 0.00055136 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_359-6_0_3_load_112 | 110 | 0.0023954 | 0.00060033 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_359-6_0_3_load_111 | 111 | 0.0022887 | 0.00057361 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_359-6_0_3_line_0 |  | 0 | 1 | 0.016269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_359-6_0_3_line_1 |  | 0 | 2 | 0.017715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_359-6_0_3_line_2 |  | 1 | 3 | 0.0059627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_359-6_0_3_line_3 |  | 2 | 4 | 0.010315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_359-6_0_3_line_4 |  | 2 | 5 | 0.03756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_359-6_0_3_line_5 |  | 4 | 6 | 0.0093323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_359-6_0_3_line_6 |  | 6 | 7 | 0.027156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_359-6_0_3_line_7 |  | 7 | 8 | 0.011686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_359-6_0_3_line_8 |  | 8 | 18 | 0.027466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_359-6_0_3_line_9 |  | 9 | 10 | 0.017075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_359-6_0_3_line_10 |  | 9 | 11 | 0.019415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_359-6_0_3_line_11 |  | 10 | 12 | 0.034339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_359-6_0_3_line_12 |  | 11 | 13 | 0.016161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_359-6_0_3_line_13 |  | 12 | 14 | 0.01147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_359-6_0_3_line_14 |  | 13 | 15 | 0.019337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_359-6_0_3_line_15 |  | 14 | 16 | 0.033454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_359-6_0_3_line_16 |  | 16 | 17 | 0.011371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_359-6_0_3_line_17 |  | 17 | 54 | 0.033225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_359-6_0_3_line_18 |  | 18 | 19 | 0.031589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_359-6_0_3_line_19 |  | 19 | 58 | 0.006097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_359-6_0_3_line_20 |  | 20 | 21 | 0.0016955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_359-6_0_3_line_21 |  | 21 | 22 | 0.02304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_359-6_0_3_line_22 |  | 22 | 25 | 0.024307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_359-6_0_3_line_23 |  | 23 | 24 | 0.025468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_359-6_0_3_line_24 |  | 24 | 54 | 0.012051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_359-6_0_3_line_25 |  | 24 | 50 | 0.028338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_359-6_0_3_line_26 |  | 25 | 38 | 0.022898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_359-6_0_3_line_27 |  | 25 | 32 | 0.033163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_359-6_0_3_line_28 |  | 26 | 27 | 0.00055814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_359-6_0_3_line_29 |  | 26 | 28 | 0.0060888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_359-6_0_3_line_30 |  | 27 | 29 | 0.0093426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_359-6_0_3_line_31 |  | 28 | 30 | 0.005977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_359-6_0_3_line_32 |  | 29 | 31 | 0.011331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_359-6_0_3_line_33 |  | 29 | 32 | 0.018522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_359-6_0_3_line_34 |  | 30 | 33 | 0.012777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_359-6_0_3_line_35 |  | 31 | 34 | 0.0059146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_359-6_0_3_line_36 |  | 33 | 35 | 0.0089557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_359-6_0_3_line_37 |  | 34 | 36 | 0.0058975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_359-6_0_3_line_38 |  | 35 | 37 | 0.00316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_359-6_0_3_line_39 |  | 36 | 45 | 0.0021612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_359-6_0_3_line_40 |  | 37 | 59 | 0.0065632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_359-6_0_3_line_41 |  | 38 | 39 | 0.033583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_359-6_0_3_line_42 |  | 39 | 40 | 0.03348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_359-6_0_3_line_43 |  | 40 | 41 | 0.02576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_359-6_0_3_line_44 |  | 40 | 42 | 0.03177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_359-6_0_3_line_45 |  | 41 | 46 | 0.03374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_359-6_0_3_line_46 |  | 42 | 47 | 0.024957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_359-6_0_3_line_47 |  | 43 | 44 | 0.026717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_359-6_0_3_line_48 |  | 43 | 45 | 0.0094648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_359-6_0_3_line_49 |  | 44 | 101 | 0.027062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_359-6_0_3_line_50 |  | 46 | 68 | 0.041924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_359-6_0_3_line_51 |  | 47 | 75 | 0.037687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_359-6_0_3_line_52 |  | 48 | 49 | 0.0064398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_359-6_0_3_line_53 |  | 48 | 50 | 0.0016791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_359-6_0_3_line_54 |  | 49 | 51 | 0.010591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_359-6_0_3_line_55 |  | 50 | 52 | 0.0061038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_359-6_0_3_line_56 |  | 51 | 53 | 0.012665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_359-6_0_3_line_57 |  | 52 | 55 | 0.012978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_359-6_0_3_line_58 |  | 53 | 56 | 0.0062764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_359-6_0_3_line_59 |  | 55 | 57 | 0.0083665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_359-6_0_3_line_60 |  | 56 | 58 | 0.0057811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_359-6_0_3_line_61 |  | 57 | 59 | 0.009053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_359-6_0_3_line_62 |  | 60 | 61 | 0.059415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_359-6_0_3_line_63 |  | 60 | 62 | 0.037861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_359-6_0_3_line_64 |  | 62 | 63 | 0.01433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_359-6_0_3_line_65 |  | 63 | 64 | 0.027777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_359-6_0_3_line_66 |  | 63 | 65 | 0.0099188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_359-6_0_3_line_67 |  | 64 | 66 | 0.0039493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_359-6_0_3_line_68 |  | 64 | 67 | 0.46392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_359-6_0_3_line_69 |  | 65 | 68 | 0.063999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_359-6_0_3_line_70 |  | 66 | 69 | 0.0039392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_359-6_0_3_line_71 |  | 67 | 71 | 0.04025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_359-6_0_3_line_72 |  | 68 | 73 | 0.032173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_359-6_0_3_line_73 |  | 68 | 74 | 0.018211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_359-6_0_3_line_74 |  | 70 | 71 | 0.027922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_359-6_0_3_line_75 |  | 70 | 72 | 0.063781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_359-6_0_3_line_76 |  | 71 | 78 | 0.1964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_359-6_0_3_line_77 |  | 73 | 91 | 0.02562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_359-6_0_3_line_78 |  | 75 | 76 | 0.018901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_359-6_0_3_line_79 |  | 76 | 77 | 0.0023833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_359-6_0_3_line_80 |  | 78 | 81 | 0.024597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_359-6_0_3_line_81 |  | 78 | 80 | 0.049688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_359-6_0_3_line_82 |  | 79 | 80 | 0.0012262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_359-6_0_3_line_83 |  | 82 | 83 | 0.018673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_359-6_0_3_line_84 |  | 83 | 93 | 0.0022801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_359-6_0_3_line_85 |  | 84 | 85 | 0.00037431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_359-6_0_3_line_86 |  | 85 | 86 | 0.018043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_359-6_0_3_line_87 |  | 86 | 87 | 0.047454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_359-6_0_3_line_88 |  | 87 | 88 | 0.008183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_359-6_0_3_line_89 |  | 87 | 89 | 0.016207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_359-6_0_3_line_90 |  | 88 | 90 | 0.010091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_359-6_0_3_line_91 |  | 90 | 111 | 0.005392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_359-6_0_3_line_92 |  | 91 | 92 | 0.011836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_359-6_0_3_line_93 |  | 92 | 93 | 0.0059171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_359-6_0_3_line_94 |  | 94 | 95 | 0.025407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_359-6_0_3_line_95 |  | 94 | 96 | 0.015095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_359-6_0_3_line_96 |  | 95 | 97 | 0.018017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_359-6_0_3_line_97 |  | 97 | 98 | 0.025284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_359-6_0_3_line_98 |  | 98 | 99 | 0.0092601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_359-6_0_3_line_99 |  | 99 | 100 | 0.00084268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_359-6_0_3_line_100 |  | 100 | 103 | 0.0034908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_359-6_0_3_line_101 |  | 101 | 102 | 0.022991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_359-6_0_3_line_102 |  | 102 | 105 | 0.022473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_359-6_0_3_line_103 |  | 103 | 106 | 0.016908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_359-6_0_3_line_104 |  | 104 | 105 | 0.024354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_359-6_0_3_line_105 |  | 104 | 106 | 0.012373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_359-6_0_3_line_106 |  | 106 | 107 | 0.014782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_359-6_0_3_line_107 |  | 107 | 108 | 0.010331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_359-6_0_3_line_108 |  | 108 | 109 | 0.018896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_359-6_0_3_line_109 |  | 109 | 110 | 0.0053181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_359-6_0_3_line_110 |  | 110 | 111 | 0.0087335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_359-6_0_3_trafo_94 | 0.63 MVA 20/0.4 kV | 112 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2607394.9027 | 1200557.6476 | 2607394.4 | 1200558.8265 | 2607392.5754 | 1200563.1488 | 2607391.1481 | 1200566.3265 | 2607390.6642 | 1200569.8278 | 2607391.3073 | 1200573.0414 | 2607391.3073 | 1200573.0414
1 | 2607403.585 | 1200542.2955 | 2607397.7741 | 1200550.9152 | 2607394.9027 | 1200557.6476
2 | 2607391.3073 | 1200573.0414 | 2607392.9634 | 1200575.7227 | 2607395.7253 | 1200576.2473
3 | 2607403.585 | 1200542.2955 | 2607408.1268 | 1200533.0341
4 | 2607403.585 | 1200542.2955 | 2607397.7741 | 1200550.9152 | 2607394.4 | 1200558.8265 | 2607392.5754 | 1200563.1488 | 2607391.1481 | 1200566.3265 | 2607390.6642 | 1200569.8278 | 2607391.3073 | 1200573.0414 | 2607392.9634 | 1200575.7227 | 2607393.3814 | 1200575.8021
5 | 2607408.1268 | 1200533.0341 | 2607409.0717 | 1200531.1073 | 2607412.3864 | 1200524.7312
6 | 2607425.3232 | 1200500.8754 | 2607422.5463 | 1200505.1877 | 2607412.3864 | 1200524.7312
7 | 2607425.3232 | 1200500.8754 | 2607431.6503 | 1200491.05
8 | 2607446.8094 | 1200468.1492 | 2607439.4849 | 1200478.8833 | 2607431.6503 | 1200491.05
9 | 2607377.7088 | 1200516.7653 | 2607386.387 | 1200507.1777 | 2607388.9216 | 1200503.8997
10 | 2607377.7088 | 1200516.7653 | 2607365.9823 | 1200529.7205 | 2607364.4582 | 1200530.9219
11 | 2607409.5827 | 1200476.4765 | 2607400.6593 | 1200488.7186 | 2607388.9216 | 1200503.8997
12 | 2607351.7663 | 1200540.9272 | 2607364.4582 | 1200530.9219
13 | 2607409.5827 | 1200476.4765 | 2607416.3389 | 1200467.2077
14 | 2607335.9443 | 1200551.9724 | 2607343.2845 | 1200547.6135 | 2607351.7663 | 1200540.9272
15 | 2607436.0629 | 1200440.1866 | 2607430.3963 | 1200447.9221 | 2607416.3389 | 1200467.2077
16 | 2607442.7827 | 1200431.0133 | 2607436.0629 | 1200440.1866
17 | 2607442.7827 | 1200431.0133 | 2607453.3244 | 1200416.6225 | 2607462.7612 | 1200404.4705
18 | 2607465.6182 | 1200442.7829 | 2607451.9227 | 1200460.6556 | 2607446.8094 | 1200468.1492
19 | 2607465.6182 | 1200442.7829 | 2607469.3267 | 1200437.9433
20 | 2607490.6041 | 1200326.9349 | 2607492.0064 | 1200325.9819
21 | 2607511.262 | 1200313.35 | 2607506.7572 | 1200315.9569 | 2607492.0064 | 1200325.9819
22 | 2607511.262 | 1200313.35 | 2607524.2018 | 1200305.8621 | 2607532.7017 | 1200301.9512
23 | 2607470.3185 | 1200395.0875 | 2607483.9989 | 1200381.5972 | 2607488.6115 | 1200377.3729
24 | 2607470.3185 | 1200395.0875 | 2607467.3226 | 1200398.5968 | 2607462.7612 | 1200404.4705
25 | 2607496.2496 | 1200403.8688 | 2607493.5434 | 1200400.9194 | 2607488.8811 | 1200397.7342 | 2607481.1489 | 1200396.3794 | 2607470.3185 | 1200395.0875
26 | 2607553.4818 | 1200292.3338 | 2607546.7317 | 1200295.4958 | 2607532.7017 | 1200301.9512
27 | 2607548.6579 | 1200331.0236 | 2607532.7017 | 1200301.9512
28 | 2607553.9386 | 1200349.1565 | 2607554.398 | 1200348.8395
29 | 2607548.9273 | 1200352.6147 | 2607553.9386 | 1200349.1565
30 | 2607554.398 | 1200348.8395 | 2607559.2139 | 1200345.5161 | 2607562.1823 | 1200343.6783
31 | 2607544.0079 | 1200356.0095 | 2607548.9273 | 1200352.6147
32 | 2607571.8165 | 1200337.7138 | 2607562.1823 | 1200343.6783
33 | 2607562.1823 | 1200343.6783 | 2607548.6579 | 1200331.0236
34 | 2607544.0079 | 1200356.0095 | 2607535.672 | 1200361.762 | 2607533.7323 | 1200363.5662
35 | 2607571.8165 | 1200337.7138 | 2607576.8453 | 1200334.6005
36 | 2607527.1748 | 1200369.6656 | 2607533.7323 | 1200363.5662
37 | 2607576.8453 | 1200334.6005 | 2607581.8597 | 1200331.4961
38 | 2607527.1748 | 1200369.6656 | 2607524.8609 | 1200371.8177
39 | 2607581.8597 | 1200331.4961 | 2607583.6972 | 1200330.3585
40 | 2607520.0552 | 1200376.2877 | 2607524.8609 | 1200371.8177
41 | 2607553.4818 | 1200292.3338 | 2607562.803 | 1200287.9674 | 2607584.0704 | 1200278.4757
42 | 2607614.0355 | 1200263.5496 | 2607587.0464 | 1200277.1476 | 2607584.0704 | 1200278.4757
43 | 2607636.8426 | 1200251.5766 | 2607621.3157 | 1200259.8815 | 2607614.0355 | 1200263.5496
44 | 2607638.3048 | 1200284.0522 | 2607614.0355 | 1200263.5496
45 | 2607636.8426 | 1200251.5766 | 2607641.0144 | 1200249.3453 | 2607657.1335 | 1200240.3609 | 2607666.545 | 1200235.5829
46 | 2607638.3048 | 1200284.0522 | 2607647.2329 | 1200279.9696 | 2607662.3491 | 1200279.1348
47 | 2607616.831 | 1200315.9193 | 2607612.0851 | 1200317.6899 | 2607592.1905 | 1200326.2328
48 | 2607592.1905 | 1200326.2328 | 2607586.2201 | 1200328.7966 | 2607583.6972 | 1200330.3585
49 | 2607642.4379 | 1200307.2296 | 2607632.7849 | 1200309.9674 | 2607616.831 | 1200315.9193
50 | 2607691.5445 | 1200201.9285 | 2607666.545 | 1200235.5829
51 | 2607662.3491 | 1200279.1348 | 2607681.8635 | 1200278.0571 | 2607700.0026 | 1200278.4503
52 | 2607495.1867 | 1200405.1687 | 2607491.1103 | 1200410.1541
53 | 2607496.2496 | 1200403.8688 | 2607495.1867 | 1200405.1687
54 | 2607484.4059 | 1200418.3535 | 2607491.1103 | 1200410.1541
55 | 2607496.2496 | 1200403.8688 | 2607500.4445 | 1200399.435
56 | 2607484.4059 | 1200418.3535 | 2607483.3275 | 1200419.6724 | 2607476.6606 | 1200428.3726
57 | 2607508.5427 | 1200389.2974 | 2607500.9982 | 1200398.8498 | 2607500.4445 | 1200399.435
58 | 2607472.843 | 1200433.3545 | 2607476.6606 | 1200428.3726
59 | 2607508.5427 | 1200389.2974 | 2607513.7283 | 1200382.7318
60 | 2607472.843 | 1200433.3545 | 2607469.3267 | 1200437.9433
61 | 2607520.0552 | 1200376.2877 | 2607515.3925 | 1200380.6246 | 2607513.7283 | 1200382.7318
62 | 2607582.6221 | 1200213.2016 | 2607578.7433 | 1200215.1372 | 2607549.0481 | 1200232.8761 | 2607532.0633 | 1200244.3364
63 | 2607582.6221 | 1200213.2016 | 2607616.4991 | 1200196.2967
64 | 2607629.3211 | 1200189.8985 | 2607616.4991 | 1200196.2967
65 | 2607629.3211 | 1200189.8985 | 2607625.1754 | 1200181.511 | 2607623.1373 | 1200173.8598 | 2607631.4301 | 1200171.558 | 2607632.8892 | 1200170.3469
66 | 2607629.3211 | 1200189.8985 | 2607634.4618 | 1200198.3812
67 | 2607635.928 | 1200167.8245 | 2607632.8892 | 1200170.3469
68 | 2607632.8892 | 1200170.3469 | 2607317.9458 | 1199829.7103
69 | 2607691.5445 | 1200201.9285 | 2607669.5853 | 1200206.0138 | 2607641.2552 | 1200209.5909 | 2607634.4618 | 1200198.3812
70 | 2607638.9591 | 1200165.3086 | 2607635.928 | 1200167.8245
71 | 2607345.5119 | 1199800.3813 | 2607317.9458 | 1199829.7103
72 | 2607691.5445 | 1200201.9285 | 2607677.3338 | 1200173.0642
73 | 2607691.5445 | 1200201.9285 | 2607709.4477 | 1200198.5939
74 | 2607345.5119 | 1199800.3813 | 2607339.2536 | 1199800.8406 | 2607331.7016 | 1199800.8314 | 2607324.1458 | 1199797.765 | 2607319.3924 | 1199794.2026
75 | 2607297.8698 | 1199742.3892 | 2607297.2697 | 1199743.3921 | 2607292.364 | 1199752.1464 | 2607292.3588 | 1199756.4154 | 2607293.4637 | 1199761.8419 | 2607294.5918 | 1199766.9904 | 2607298.6617 | 1199775.7556 | 2607305.7856 | 1199783.5017 | 2607316.806 | 1199792.2642 | 2607319.3924 | 1199794.2026
76 | 2607345.5119 | 1199800.3813 | 2607509.5666 | 1199692.4031
77 | 2607677.3338 | 1200173.0642 | 2607666.0177 | 1200150.0792
78 | 2607718.794 | 1200277.5455 | 2607712.3801 | 1200278.7186 | 2607700.0026 | 1200278.4503
79 | 2607718.794 | 1200277.5455 | 2607721.1384 | 1200277.1167
80 | 2607509.5666 | 1199692.4031 | 2607530.9461 | 1199680.24
81 | 2607509.5666 | 1199692.4031 | 2607508.2114 | 1199686.4093 | 2607503.1293 | 1199665.3361 | 2607501.2947 | 1199652.9828 | 2607500.9119 | 1199643.6137
82 | 2607500.8619 | 1199642.3885 | 2607500.9119 | 1199643.6137
83 | 2607692.6873 | 1200122.0299 | 2607679.6975 | 1200135.4438
84 | 2607678.1203 | 1200137.0902 | 2607678.5573 | 1200136.6212 | 2607679.6975 | 1200135.4438
85 | 2607764.5306 | 1200188.3446 | 2607764.1609 | 1200188.4032
86 | 2607764.1609 | 1200188.4032 | 2607765.2185 | 1200194.7413 | 2607767.6169 | 1200206.106
87 | 2607767.6169 | 1200206.106 | 2607769.4628 | 1200215.0577 | 2607769.6246 | 1200219.4491 | 2607768.9026 | 1200230.3985 | 2607762.6189 | 1200244.9316 | 2607759.4592 | 1200251.3087
88 | 2607755.8187 | 1200258.6413 | 2607759.4592 | 1200251.3087
89 | 2607759.4592 | 1200251.3087 | 2607774.7842 | 1200256.582
90 | 2607755.8187 | 1200258.6413 | 2607753.8503 | 1200267.9771 | 2607753.6291 | 1200268.4803
91 | 2607753.6291 | 1200268.4803 | 2607751.459 | 1200273.4163
92 | 2607674.0866 | 1200141.4194 | 2607666.0177 | 1200150.0792 | 2607666.0177 | 1200150.0792
93 | 2607678.1203 | 1200137.0902 | 2607674.0866 | 1200141.4194
94 | 2607637.5667 | 1200342.1324 | 2607661.7605 | 1200334.374
95 | 2607623.1926 | 1200346.7417 | 2607637.5667 | 1200342.1324
96 | 2607661.7605 | 1200334.374 | 2607676.3016 | 1200329.7111 | 2607678.6489 | 1200331.138
97 | 2607700.2538 | 1200344.2717 | 2607678.6489 | 1200331.138
98 | 2607700.2538 | 1200344.2717 | 2607706.3983 | 1200337.3439
99 | 2607706.3983 | 1200337.3439 | 2607706.9575 | 1200336.7134
100 | 2607706.9575 | 1200336.7134 | 2607709.2738 | 1200334.1018
101 | 2607664.9104 | 1200302.4708 | 2607664.9104 | 1200302.4708 | 2607648.4717 | 1200305.5182 | 2607642.4379 | 1200307.2296
102 | 2607686.7515 | 1200306.9817 | 2607677.5299 | 1200303.6764 | 2607664.9104 | 1200302.4708
103 | 2607720.4933 | 1200321.452 | 2607709.2738 | 1200334.1018
104 | 2607709.1828 | 1200316.4346 | 2607692.5952 | 1200309.0763 | 2607686.7515 | 1200306.9817
105 | 2607720.4933 | 1200321.452 | 2607709.1828 | 1200316.4346
106 | 2607720.4933 | 1200321.452 | 2607731.7412 | 1200311.8612 | 2607731.7412 | 1200311.8612
107 | 2607736.96 | 1200302.9451 | 2607731.7412 | 1200311.8612
108 | 2607745.8038 | 1200286.2797 | 2607743.055 | 1200292.532 | 2607736.96 | 1200302.9451
109 | 2607747.9441 | 1200281.4113 | 2607745.8038 | 1200286.2797
110 | 2607751.459 | 1200273.4163 | 2607747.9441 | 1200281.4113

## bus_geodata
| x | y | coords
0 | 2607394.9027 | 1200557.6476
1 | 2607391.3073 | 1200573.0414
2 | 2607403.585 | 1200542.2955
3 | 2607395.7253 | 1200576.2473
4 | 2607408.1268 | 1200533.0341
5 | 2607393.3814 | 1200575.8021
6 | 2607412.3864 | 1200524.7312
7 | 2607425.3232 | 1200500.8754
8 | 2607431.6503 | 1200491.05
9 | 2607377.7088 | 1200516.7653
10 | 2607388.9216 | 1200503.8997
11 | 2607364.4582 | 1200530.9219
12 | 2607409.5827 | 1200476.4765
13 | 2607351.7663 | 1200540.9272
14 | 2607416.3389 | 1200467.2077
15 | 2607335.9443 | 1200551.9724
16 | 2607436.0629 | 1200440.1866
17 | 2607442.7827 | 1200431.0133
18 | 2607446.8094 | 1200468.1492
19 | 2607465.6182 | 1200442.7829
20 | 2607490.6041 | 1200326.9349
21 | 2607492.0064 | 1200325.9819
22 | 2607511.262 | 1200313.35
23 | 2607488.6115 | 1200377.3729
24 | 2607470.3185 | 1200395.0875
25 | 2607532.7017 | 1200301.9512
26 | 2607553.9386 | 1200349.1565
27 | 2607554.398 | 1200348.8395
28 | 2607548.9273 | 1200352.6147
29 | 2607562.1823 | 1200343.6783
30 | 2607544.0079 | 1200356.0095
31 | 2607571.8165 | 1200337.7138
32 | 2607548.6579 | 1200331.0236
33 | 2607533.7323 | 1200363.5662
34 | 2607576.8453 | 1200334.6005
35 | 2607527.1748 | 1200369.6656
36 | 2607581.8597 | 1200331.4961
37 | 2607524.8609 | 1200371.8177
38 | 2607553.4818 | 1200292.3338
39 | 2607584.0704 | 1200278.4757
40 | 2607614.0355 | 1200263.5496
41 | 2607636.8426 | 1200251.5766
42 | 2607638.3048 | 1200284.0522
43 | 2607592.1905 | 1200326.2328
44 | 2607616.831 | 1200315.9193
45 | 2607583.6972 | 1200330.3585
46 | 2607666.545 | 1200235.5829
47 | 2607662.3491 | 1200279.1348
48 | 2607495.1867 | 1200405.1687
49 | 2607491.1103 | 1200410.1541
50 | 2607496.2496 | 1200403.8688
51 | 2607484.4059 | 1200418.3535
52 | 2607500.4445 | 1200399.435
53 | 2607476.6606 | 1200428.3726
54 | 2607462.7612 | 1200404.4705
55 | 2607508.5427 | 1200389.2974
56 | 2607472.843 | 1200433.3545
57 | 2607513.7283 | 1200382.7318
58 | 2607469.3267 | 1200437.9433
59 | 2607520.0552 | 1200376.2877
60 | 2607582.6221 | 1200213.2016
61 | 2607532.0633 | 1200244.3364
62 | 2607616.4991 | 1200196.2967
63 | 2607629.3211 | 1200189.8985
64 | 2607632.8892 | 1200170.3469
65 | 2607634.4618 | 1200198.3812
66 | 2607635.928 | 1200167.8245
67 | 2607317.9458 | 1199829.7103
68 | 2607691.5445 | 1200201.9285
69 | 2607638.9591 | 1200165.3086
70 | 2607319.3924 | 1199794.2026
71 | 2607345.5119 | 1199800.3813
72 | 2607297.8698 | 1199742.3892
73 | 2607677.3338 | 1200173.0642
74 | 2607709.4477 | 1200198.5939
75 | 2607700.0026 | 1200278.4503
76 | 2607718.794 | 1200277.5455
77 | 2607721.1384 | 1200277.1167
78 | 2607509.5666 | 1199692.4031
79 | 2607500.8619 | 1199642.3885
80 | 2607500.9119 | 1199643.6137
81 | 2607530.9461 | 1199680.24
82 | 2607692.6873 | 1200122.0299
83 | 2607679.6975 | 1200135.4438
84 | 2607764.5306 | 1200188.3446
85 | 2607764.1609 | 1200188.4032
86 | 2607767.6169 | 1200206.106
87 | 2607759.4592 | 1200251.3087
88 | 2607755.8187 | 1200258.6413
89 | 2607774.7842 | 1200256.582
90 | 2607753.6291 | 1200268.4803
91 | 2607666.0177 | 1200150.0792
92 | 2607674.0866 | 1200141.4194
93 | 2607678.1203 | 1200137.0902
94 | 2607637.5667 | 1200342.1324
95 | 2607661.7605 | 1200334.374
96 | 2607623.1926 | 1200346.7417
97 | 2607678.6489 | 1200331.138
98 | 2607700.2538 | 1200344.2717
99 | 2607706.3983 | 1200337.3439
100 | 2607706.9574 | 1200336.7134
101 | 2607642.4379 | 1200307.2296
102 | 2607664.9104 | 1200302.4708
103 | 2607709.2738 | 1200334.1018
104 | 2607709.1828 | 1200316.4346
105 | 2607686.7515 | 1200306.9817
106 | 2607720.4933 | 1200321.452
107 | 2607731.7412 | 1200311.8612
108 | 2607736.96 | 1200302.9451
109 | 2607745.8038 | 1200286.2797
110 | 2607747.9441 | 1200281.4113
111 | 2607751.459 | 1200273.4163
112 | 2607496.2496 | 1200403.8688

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1