## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_359-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_359-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_359-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_359-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_359-9_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_359-9_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_359-9_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_359-9_0_4_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_359-9_0_4_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_359-9_0_4_node_110 | 0.4 | n |  | TRUE
10 | bus_LV_359-9_0_4_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_359-9_0_4_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_359-9_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_359-9_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_359-9_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_359-9_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_359-9_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_359-9_0_4_node_102 | 0.4 | n |  | TRUE
18 | bus_LV_359-9_0_4_node_103 | 0.4 | n |  | TRUE
19 | bus_LV_359-9_0_4_node_104 | 0.4 | n |  | TRUE
20 | bus_LV_359-9_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_359-9_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_359-9_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_359-9_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_359-9_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_359-9_0_4_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_359-9_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_359-9_0_4_node_105 | 0.4 | n |  | TRUE
28 | bus_LV_359-9_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_359-9_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_359-9_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_359-9_0_4_node_88 | 0.4 | n |  | TRUE
32 | bus_LV_359-9_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_359-9_0_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_359-9_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_359-9_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_359-9_0_4_node_85 | 0.4 | n |  | TRUE
37 | bus_LV_359-9_0_4_node_86 | 0.4 | n |  | TRUE
38 | bus_LV_359-9_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_359-9_0_4_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_359-9_0_4_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_359-9_0_4_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_359-9_0_4_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_359-9_0_4_node_108 | 0.4 | n |  | TRUE
44 | bus_LV_359-9_0_4_node_74 | 0.4 | n |  | TRUE
45 | bus_LV_359-9_0_4_node_106 | 0.4 | n |  | TRUE
46 | bus_LV_359-9_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_359-9_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_359-9_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_359-9_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_359-9_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_359-9_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_359-9_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_359-9_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_359-9_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_359-9_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_359-9_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_359-9_0_4_node_84 | 0.4 | n |  | TRUE
58 | bus_LV_359-9_0_4_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_359-9_0_4_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_359-9_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_359-9_0_4_node_83 | 0.4 | n |  | TRUE
62 | bus_LV_359-9_0_4_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_359-9_0_4_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_359-9_0_4_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_359-9_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_359-9_0_4_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_359-9_0_4_node_94 | 0.4 | n |  | TRUE
68 | bus_LV_359-9_0_4_node_93 | 0.4 | n |  | TRUE
69 | bus_LV_359-9_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_359-9_0_4_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_359-9_0_4_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_359-9_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_359-9_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_359-9_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_359-9_0_4_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_359-9_0_4_node_112 | 0.4 | n |  | TRUE
77 | bus_LV_359-9_0_4_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_359-9_0_4_node_113 | 0.4 | n |  | TRUE
79 | bus_LV_359-9_0_4_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_359-9_0_4_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_359-9_0_4_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_359-9_0_4_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_359-9_0_4_node_96 | 0.4 | n |  | TRUE
84 | bus_LV_359-9_0_4_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_359-9_0_4_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_359-9_0_4_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_359-9_0_4_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_359-9_0_4_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_359-9_0_4_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_359-9_0_4_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_359-9_0_4_node_77 | 0.4 | n |  | TRUE
92 | bus_LV_359-9_0_4_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_359-9_0_4_node_79 | 0.4 | n |  | TRUE
94 | bus_LV_359-9_0_4_node_109 | 0.4 | n |  | TRUE
95 | bus_LV_359-9_0_4_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_359-9_0_4_node_80 | 0.4 | n |  | TRUE
97 | bus_LV_359-9_0_4_node_81 | 0.4 | n |  | TRUE
98 | bus_LV_359-9_0_4_node_101 | 0.4 | n |  | TRUE
99 | bus_LV_359-9_0_4_node_100 | 0.4 | n |  | TRUE
100 | bus_LV_359-9_0_4_node_99 | 0.4 | n |  | TRUE
101 | bus_LV_359-9_0_4_node_89 | 0.4 | n |  | TRUE
102 | bus_LV_359-9_0_4_node_90 | 0.4 | n |  | TRUE
103 | bus_LV_359-9_0_4_node_91 | 0.4 | n |  | TRUE
104 | bus_LV_359-9_0_4_node_92 | 0.4 | n |  | TRUE
105 | bus_LV_359-9_0_4_node_114 | 0.4 | n |  | TRUE
106 | bus_LV_359-9_0_4_node_97 | 0.4 | n |  | TRUE
107 | bus_LV_359-9_0_4_node_98 | 0.4 | n |  | TRUE
108 | bus_LV_359-9_0_4_node_115 | 0.4 | n |  | TRUE
109 | bus_LV_359-9_0_4_node_107 | 0.4 | n |  | TRUE
110 | bus_MV_92_0_node_133 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_359-9_0_4_load_0 | 0 | 0.0029366 | 0.00073598 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_359-9_0_4_load_6 | 5 | 0.0032659 | 0.00081851 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_359-9_0_4_load_7 | 6 | 0.0046259 | 0.0011594 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_359-9_0_4_load_18 | 8 | 0.0015061 | 0.00037747 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_359-9_0_4_load_110 | 9 | 0.00055394 | 0.00013883 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_359-9_0_4_load_21 | 11 | 0.0030972 | 0.00077624 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_359-9_0_4_load_11 | 12 | 0.0029598 | 0.00074179 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_359-9_0_4_load_8 | 13 | 0.039346 | 0.0098612 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_359-9_0_4_load_9 | 14 | 0.0044158 | 0.0011067 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_359-9_0_4_load_10 | 15 | 0.0038901 | 0.00097496 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_359-9_0_4_load_12 | 16 | 0.0057177 | 0.001433 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_359-9_0_4_load_13 | 20 | 0.0019567 | 0.0004904 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_359-9_0_4_load_14 | 21 | 0.00078636 | 0.00019708 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_359-9_0_4_load_15 | 22 | 0.0022963 | 0.0005755 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_359-9_0_4_load_24 | 26 | 0.002346 | 0.00058796 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_359-9_0_4_load_105 | 27 | 0.0076332 | 0.0019131 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_359-9_0_4_load_25 | 28 | 0.0010656 | 0.00026708 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_359-9_0_4_load_19 | 29 | 0.0021171 | 0.00053061 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_359-9_0_4_load_20 | 30 | 0.002083 | 0.00052205 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_359-9_0_4_load_88 | 31 | 0.0027135 | 0.00068008 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_359-9_0_4_load_28 | 34 | 0.0043615 | 0.0010931 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_359-9_0_4_load_85 | 36 | 0.017225 | 0.004317 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_359-9_0_4_load_26 | 38 | 0.013483 | 0.0033792 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_359-9_0_4_load_41 | 41 | 0.0085727 | 0.0021485 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_359-9_0_4_load_108 | 43 | 0.009052 | 0.0022686 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_359-9_0_4_load_106 | 45 | 0.0055872 | 0.0014003 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_359-9_0_4_load_35 | 48 | 0.0063231 | 0.0015847 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_359-9_0_4_load_40 | 50 | 0.0092753 | 0.0023246 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_359-9_0_4_load_47 | 51 | 0.0088136 | 0.0022089 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_359-9_0_4_load_42 | 52 | 0.0058969 | 0.0014779 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_359-9_0_4_load_45 | 53 | 0.012434 | 0.0031163 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_359-9_0_4_load_37 | 54 | 0.0064266 | 0.0016107 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_359-9_0_4_load_48 | 56 | 0.0086692 | 0.0021727 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_359-9_0_4_load_84 | 57 | 0.0053967 | 0.0013525 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_359-9_0_4_load_36 | 58 | 0.0060288 | 0.001511 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_359-9_0_4_load_39 | 59 | 0.011456 | 0.0028712 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_359-9_0_4_load_46 | 60 | 0.010377 | 0.0026008 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_359-9_0_4_load_49 | 62 | 0.00019658 | 4.9267e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_359-9_0_4_load_50 | 63 | 0.001385 | 0.00034711 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_359-9_0_4_load_51 | 64 | 0.00061277 | 0.00015357 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_359-9_0_4_load_53 | 66 | 0.0018495 | 0.00046354 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_359-9_0_4_load_94 | 67 | 0.00021019 | 5.2678e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_359-9_0_4_load_93 | 68 | 0.00064385 | 0.00016136 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_359-9_0_4_load_55 | 69 | 0.00021032 | 5.2712e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_359-9_0_4_load_56 | 70 | 0.0015534 | 0.00038931 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_359-9_0_4_load_57 | 71 | 0.0036021 | 0.00090276 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_359-9_0_4_load_58 | 72 | 0.0023126 | 0.0005796 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_359-9_0_4_load_59 | 73 | 0.00059145 | 0.00014823 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_359-9_0_4_load_60 | 74 | 0.0026664 | 0.00066826 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_359-9_0_4_load_66 | 75 | 0.00091281 | 0.00022877 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_359-9_0_4_load_112 | 76 | 0.0030865 | 0.00077355 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_359-9_0_4_load_113 | 78 | 0.0024714 | 0.00061938 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_359-9_0_4_load_61 | 79 | 0.0097106 | 0.0024337 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_359-9_0_4_load_62 | 80 | 0.0024013 | 0.00060182 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_359-9_0_4_load_65 | 82 | 0.006351 | 0.0015917 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_359-9_0_4_load_96 | 83 | 0.0092365 | 0.0023149 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_359-9_0_4_load_70 | 84 | 0.0016862 | 0.0004226 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_359-9_0_4_load_69 | 85 | 0.0030812 | 0.00077223 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_359-9_0_4_load_87 | 86 | 0.00071185 | 0.00017841 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_359-9_0_4_load_71 | 87 | 0.0002903 | 7.2755e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_359-9_0_4_load_72 | 88 | 0.001615 | 0.00040475 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_359-9_0_4_load_73 | 89 | 0.00059461 | 0.00014902 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_359-9_0_4_load_75 | 90 | 0.0033379 | 0.00083657 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_359-9_0_4_load_78 | 92 | 0.00050937 | 0.00012766 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_359-9_0_4_load_82 | 95 | 0.00088578 | 0.000222 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_359-9_0_4_load_81 | 97 | 0.0029759 | 0.00074584 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_359-9_0_4_load_101 | 98 | 0.0039549 | 0.0009912 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_359-9_0_4_load_100 | 99 | 0.00049046 | 0.00012292 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_359-9_0_4_load_99 | 100 | 0.00059902 | 0.00015013 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_359-9_0_4_load_89 | 101 | 0.00032773 | 8.2137e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_359-9_0_4_load_90 | 102 | 0.000297 | 7.4434e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_359-9_0_4_load_92 | 104 | 0.00033571 | 8.4137e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_359-9_0_4_load_114 | 105 | 0.00022505 | 5.6402e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_359-9_0_4_load_97 | 106 | 0.0014366 | 0.00036005 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_359-9_0_4_load_98 | 107 | 0.0010744 | 0.00026927 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_359-9_0_4_load_115 | 108 | 0.0094128 | 0.0023591 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_359-9_0_4_load_107 | 109 | 0.0086668 | 0.0021721 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_359-9_0_4_line_0 |  | 0 | 1 | 0.051355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_359-9_0_4_line_1 |  | 0 | 2 | 0.022421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_359-9_0_4_line_2 |  | 1 | 3 | 0.11039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_359-9_0_4_line_3 |  | 2 | 4 | 0.005482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_359-9_0_4_line_4 |  | 2 | 5 | 0.018422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_359-9_0_4_line_5 |  | 3 | 6 | 0.0014183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_359-9_0_4_line_6 |  | 4 | 7 | 0.020104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_359-9_0_4_line_7 |  | 4 | 8 | 0.058208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_359-9_0_4_line_8 |  | 5 | 9 | 0.057466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_359-9_0_4_line_9 |  | 7 | 10 | 0.004184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_359-9_0_4_line_10 |  | 7 | 11 | 0.013723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_359-9_0_4_line_11 |  | 8 | 12 | 0.013722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_359-9_0_4_line_12 |  | 10 | 31 | 0.019457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_359-9_0_4_line_13 |  | 11 | 30 | 0.0092298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_359-9_0_4_line_14 |  | 13 | 14 | 0.014612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_359-9_0_4_line_15 |  | 13 | 15 | 0.048575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_359-9_0_4_line_16 |  | 15 | 16 | 0.028819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_359-9_0_4_line_17 |  | 16 | 17 | 0.012106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_359-9_0_4_line_18 |  | 17 | 18 | 0.029663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_359-9_0_4_line_19 |  | 17 | 19 | 0.003445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_359-9_0_4_line_20 |  | 18 | 108 | 0.013537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_359-9_0_4_line_21 |  | 19 | 109 | 0.043665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_359-9_0_4_line_22 |  | 19 | 45 | 0.016885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_359-9_0_4_line_23 |  | 20 | 21 | 0.039757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_359-9_0_4_line_24 |  | 20 | 22 | 0.017583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_359-9_0_4_line_25 |  | 22 | 23 | 0.014412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_359-9_0_4_line_26 |  | 23 | 24 | 0.015137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_359-9_0_4_line_27 |  | 24 | 25 | 0.055551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_359-9_0_4_line_28 |  | 24 | 26 | 0.080088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_359-9_0_4_line_29 |  | 25 | 27 | 0.038624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_359-9_0_4_line_30 |  | 26 | 28 | 0.015219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_359-9_0_4_line_31 |  | 27 | 45 | 0.035978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_359-9_0_4_line_32 |  | 28 | 38 | 0.041635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_359-9_0_4_line_33 |  | 29 | 30 | 0.0046574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_359-9_0_4_line_34 |  | 31 | 37 | 0.026141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_359-9_0_4_line_35 |  | 32 | 33 | 0.040555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_359-9_0_4_line_36 |  | 32 | 34 | 0.0051661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_359-9_0_4_line_37 |  | 33 | 35 | 0.068414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_359-9_0_4_line_38 |  | 33 | 36 | 0.020193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_359-9_0_4_line_39 |  | 34 | 46 | 0.014382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_359-9_0_4_line_40 |  | 35 | 52 | 0.011607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_359-9_0_4_line_41 |  | 36 | 37 | 0.052104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_359-9_0_4_line_42 |  | 37 | 86 | 0.017787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_359-9_0_4_line_43 |  | 38 | 39 | 0.064767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_359-9_0_4_line_44 |  | 39 | 40 | 0.039176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_359-9_0_4_line_45 |  | 39 | 41 | 0.033382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_359-9_0_4_line_46 |  | 40 | 57 | 0.01761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_359-9_0_4_line_47 |  | 41 | 52 | 0.0020357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_359-9_0_4_line_48 |  | 42 | 43 | 0.016496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_359-9_0_4_line_49 |  | 42 | 44 | 0.018043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_359-9_0_4_line_50 |  | 43 | 94 | 0.030962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_359-9_0_4_line_51 |  | 44 | 88 | 0.014141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_359-9_0_4_line_52 |  | 46 | 47 | 0.026323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_359-9_0_4_line_53 |  | 46 | 48 | 0.018565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_359-9_0_4_line_54 |  | 47 | 53 | 0.020556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_359-9_0_4_line_55 |  | 47 | 54 | 0.0080818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_359-9_0_4_line_56 |  | 49 | 50 | 0.0075611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_359-9_0_4_line_57 |  | 49 | 51 | 0.022186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_359-9_0_4_line_58 |  | 50 | 55 | 0.020611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_359-9_0_4_line_59 |  | 51 | 56 | 0.0093202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_359-9_0_4_line_60 |  | 54 | 58 | 0.026297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_359-9_0_4_line_61 |  | 55 | 59 | 0.02022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_359-9_0_4_line_62 |  | 55 | 58 | 0.0075768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_359-9_0_4_line_63 |  | 57 | 61 | 0.01813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_359-9_0_4_line_64 |  | 59 | 60 | 0.0061413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_359-9_0_4_line_65 |  | 61 | 81 | 0.014445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_359-9_0_4_line_66 |  | 62 | 63 | 0.013872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_359-9_0_4_line_67 |  | 62 | 64 | 0.021419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_359-9_0_4_line_68 |  | 63 | 65 | 0.016349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_359-9_0_4_line_69 |  | 64 | 66 | 0.011463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_359-9_0_4_line_70 |  | 65 | 69 | 0.035835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_359-9_0_4_line_71 |  | 66 | 67 | 0.30171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_359-9_0_4_line_72 |  | 67 | 68 | 0.02417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_359-9_0_4_line_73 |  | 68 | 103 | 0.0057137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_359-9_0_4_line_74 |  | 70 | 71 | 0.019276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_359-9_0_4_line_75 |  | 70 | 72 | 0.0029864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_359-9_0_4_line_76 |  | 71 | 73 | 0.0085458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_359-9_0_4_line_77 |  | 72 | 74 | 0.009833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_359-9_0_4_line_78 |  | 73 | 75 | 0.0073328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_359-9_0_4_line_79 |  | 74 | 76 | 0.014563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_359-9_0_4_line_80 |  | 75 | 77 | 0.018636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_359-9_0_4_line_81 |  | 76 | 78 | 0.018083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_359-9_0_4_line_82 |  | 77 | 82 | 0.020511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_359-9_0_4_line_83 |  | 77 | 79 | 0.017576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_359-9_0_4_line_84 |  | 78 | 105 | 0.024656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_359-9_0_4_line_85 |  | 79 | 80 | 0.018942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_359-9_0_4_line_86 |  | 80 | 81 | 0.0099436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_359-9_0_4_line_87 |  | 81 | 83 | 0.036472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_359-9_0_4_line_88 |  | 82 | 84 | 0.022856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_359-9_0_4_line_89 |  | 84 | 85 | 0.024586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_359-9_0_4_line_90 |  | 85 | 87 | 0.042051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_359-9_0_4_line_91 |  | 88 | 89 | 0.030626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_359-9_0_4_line_92 |  | 89 | 90 | 0.012783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_359-9_0_4_line_93 |  | 90 | 91 | 0.099678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_359-9_0_4_line_94 |  | 91 | 92 | 0.013906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_359-9_0_4_line_95 |  | 91 | 93 | 0.017718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_359-9_0_4_line_96 |  | 93 | 95 | 0.025197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_359-9_0_4_line_97 |  | 93 | 96 | 0.030933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_359-9_0_4_line_98 |  | 93 | 97 | 0.015121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_359-9_0_4_line_99 |  | 94 | 109 | 0.019122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_359-9_0_4_line_100 |  | 96 | 98 | 0.024978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_359-9_0_4_line_101 |  | 96 | 99 | 0.0074272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_359-9_0_4_line_102 |  | 99 | 100 | 0.010145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_359-9_0_4_line_103 |  | 100 | 107 | 0.016399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_359-9_0_4_line_104 |  | 101 | 102 | 0.11135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_359-9_0_4_line_105 |  | 101 | 103 | 0.016965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_359-9_0_4_line_106 |  | 102 | 104 | 0.020721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_359-9_0_4_line_107 |  | 104 | 105 | 0.015947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_359-9_0_4_line_108 |  | 106 | 107 | 0.04715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_359-9_0_4_trafo_14 | 0.63 MVA 20/0.4 kV | 110 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2608039.9817 | 1200466.5033 | 2608045.7005 | 1200464.8211 | 2608052.2718 | 1200463.2735 | 2608057.3283 | 1200461.6461 | 2608060.0554 | 1200460.2045 | 2608063.2095 | 1200458.1632 | 2608065.5417 | 1200455.9762 | 2608067.8062 | 1200453.1778 | 2608070.3003 | 1200449.4569 | 2608071.7737 | 1200446.2682 | 2608072.5695 | 1200443.1899 | 2608073.1155 | 1200439.0328 | 2608073.3313 | 1200434.7106
1 | 2608072.0933 | 1200412.3282 | 2608073.3658 | 1200434.0193 | 2608073.3313 | 1200434.7106
2 | 2607953.4139 | 1200515.5815 | 2607954.2271 | 1200510.7911 | 2607955.405 | 1200506.4681 | 2607957.1162 | 1200501.8679 | 2607959.7112 | 1200496.6129 | 2607962.3053 | 1200492.0806 | 2607965.2793 | 1200488.049 | 2607967.4826 | 1200485.4728 | 2607970.9122 | 1200482.2422 | 2607978.1006 | 1200480.284 | 2607988.9959 | 1200478.3752 | 2608029.1177 | 1200473.4481 | 2608032.0824 | 1200470.7061 | 2608035.8459 | 1200468.2987 | 2608039.9817 | 1200466.5033
3 | 2608072.0933 | 1200412.3282 | 2608071.6058 | 1200406.869
4 | 2608072.0933 | 1200412.3282 | 2608090.5107 | 1200411.9234
5 | 2607953.4139 | 1200515.5815 | 2607953.7982 | 1200516.9468
6 | 2608069.859 | 1200386.8448 | 2608071.3134 | 1200403.5446 | 2608071.6058 | 1200406.869
7 | 2608071.6058 | 1200406.869 | 2608014.0513 | 1200398.1735
8 | 2608144.0957 | 1200426.6922 | 2608142.2735 | 1200425.9744 | 2608138.191 | 1200422.0779 | 2608134.5105 | 1200419.3048 | 2608130.5246 | 1200417.2205 | 2608125.2903 | 1200415.1457 | 2608120.1313 | 1200413.6824 | 2608114.9184 | 1200412.6414 | 2608107.4443 | 1200411.9199 | 2608101.1723 | 1200411.6891 | 2608090.5107 | 1200411.9234
9 | 2608069.859 | 1200386.8448 | 2608069.5144 | 1200382.6755
10 | 2608069.859 | 1200386.8448 | 2608056.1678 | 1200387.7825
11 | 2608000.4834 | 1200396.1236 | 2608014.0513 | 1200398.1735
12 | 2608069.5144 | 1200382.6755 | 2608088.9577 | 1200381.9498
13 | 2608046.9584 | 1200387.4563 | 2608050.8198 | 1200387.831 | 2608055.2119 | 1200387.848 | 2608056.1678 | 1200387.7825
14 | 2607833.657 | 1200334.8876 | 2607846.2939 | 1200342.2233
15 | 2607833.657 | 1200334.8876 | 2607827.6221 | 1200331.3844 | 2607799.9135 | 1200325.7454 | 2607804.3263 | 1200313.1771
16 | 2607804.3263 | 1200313.1771 | 2607813.8733 | 1200285.9858
17 | 2607817.8838 | 1200274.5634 | 2607813.8733 | 1200285.9858
18 | 2607817.8838 | 1200274.5634 | 2607844.1355 | 1200288.5161
19 | 2607817.8838 | 1200274.5634 | 2607818.9766 | 1200271.2964
20 | 2607850.9257 | 1200276.7964 | 2607844.1355 | 1200288.5161
21 | 2607818.9766 | 1200271.2964 | 2607794.3536 | 1200263.3158 | 2607777.5405 | 1200257.5304
22 | 2607818.9766 | 1200271.2964 | 2607824.331 | 1200255.2825
23 | 2607934.4788 | 1200182.618 | 2607949.3256 | 1200181.5964 | 2607949.8485 | 1200206.4661
24 | 2607934.4788 | 1200182.618 | 2607916.937 | 1200183.8251
25 | 2607902.5585 | 1200184.8145 | 2607916.937 | 1200183.8251
26 | 2607902.5585 | 1200184.8145 | 2607897.8958 | 1200170.4117
27 | 2607897.8958 | 1200170.4117 | 2607882.5374 | 1200173.6489 | 2607843.9668 | 1200184.271
28 | 2607897.8958 | 1200170.4117 | 2607923.9737 | 1200166.2882 | 2607943.9959 | 1200165.0805 | 2607966.7686 | 1200167.7565 | 2607977.2887 | 1200169.7018
29 | 2607843.9668 | 1200184.271 | 2607845.4868 | 1200192.0104 | 2607835.74 | 1200221.1609
30 | 2607977.2887 | 1200169.7018 | 2607987.7813 | 1200171.6419 | 2607991.8696 | 1200173.6354
31 | 2607835.74 | 1200221.1609 | 2607824.331 | 1200255.2825
32 | 2608028.8123 | 1200192.7953 | 2608014.5519 | 1200184.6956 | 2607991.8696 | 1200173.6354
33 | 2608046.9584 | 1200387.4563 | 2608045.4768 | 1200387.3125 | 2608042.3739 | 1200387.9555
34 | 2608109.9759 | 1200369.1336 | 2608107.7366 | 1200370.1089 | 2608105.9842 | 1200371.3294 | 2608104.071 | 1200373.2167 | 2608100.5478 | 1200377.9368 | 2608098.8398 | 1200380.069 | 2608096.7068 | 1200381.2778 | 2608094.5291 | 1200381.7418 | 2608088.9577 | 1200381.9498
35 | 2608073.122 | 1200320.6692 | 2608071.182 | 1200325.458 | 2608069.6138 | 1200331.2257 | 2608068.4487 | 1200337.2496 | 2608067.7019 | 1200343.552 | 2608051.2344 | 1200339.6278
36 | 2608051.2344 | 1200339.6278 | 2608046.2088 | 1200338.4313
37 | 2608073.122 | 1200320.6692 | 2608076.0078 | 1200314.403 | 2608078.5485 | 1200310.0263 | 2608082.4689 | 1200304.3062 | 2608085.9765 | 1200299.8307 | 2608098.9781 | 1200288.6088 | 2608107.6542 | 1200284.3071 | 2608106.0286 | 1200281.7368 | 2608105.2637 | 1200278.812 | 2608105.4277 | 1200275.7884 | 2608106.5048 | 1200272.955 | 2608109.7221 | 1200269.324
38 | 2608073.122 | 1200320.6692 | 2608092.631 | 1200325.882
39 | 2608032.2176 | 1200335.1 | 2608046.2088 | 1200338.4313
40 | 2608109.7221 | 1200269.324 | 2608101.6036 | 1200261.028
41 | 2608109.9759 | 1200369.1336 | 2608110.7822 | 1200346.9561 | 2608104.3927 | 1200332.1062 | 2608101.1241 | 1200328.6444 | 2608099.6334 | 1200327.753 | 2608092.631 | 1200325.882
42 | 2608109.9759 | 1200369.1336 | 2608126.0485 | 1200366.5872 | 2608127.5498 | 1200366.7815
43 | 2608077.6139 | 1200234.9735 | 2608038.7029 | 1200198.4129 | 2608028.8123 | 1200192.7953
44 | 2608077.6139 | 1200234.9735 | 2608081.3125 | 1200195.9797
45 | 2608077.6139 | 1200234.9735 | 2608100.1941 | 1200259.5595
46 | 2608081.3125 | 1200195.9797 | 2608069.1727 | 1200183.2233
47 | 2608100.1941 | 1200259.5595 | 2608100.6151 | 1200260.0179 | 2608101.6036 | 1200261.028
48 | 2607767.6169 | 1200206.106 | 2607769.4628 | 1200215.0577 | 2607769.6246 | 1200219.4491 | 2607769.4298 | 1200222.4039
49 | 2607764.1609 | 1200188.4032 | 2607765.2185 | 1200194.7413 | 2607767.6169 | 1200206.106
50 | 2607759.4592 | 1200251.3087 | 2607762.6189 | 1200244.9316 | 2607768.9026 | 1200230.3985 | 2607769.4298 | 1200222.4039
51 | 2607764.1609 | 1200188.4032 | 2607778.1272 | 1200186.1899
52 | 2608006.458 | 1200329.3404 | 2608032.2176 | 1200335.1
53 | 2608032.2176 | 1200335.1 | 2608028.0277 | 1200353.1859
54 | 2608006.458 | 1200329.3404 | 2608001.0786 | 1200349.1801
55 | 2608006.458 | 1200329.3404 | 2608006.623 | 1200325.4941 | 2608007.0244 | 1200321.2813
56 | 2608042.2285 | 1200294.5249 | 2608034.8531 | 1200292.8591
57 | 2608042.2285 | 1200294.5249 | 2608046.8728 | 1200272.8308
58 | 2608014.749 | 1200288.3183 | 2608034.8531 | 1200292.8591
59 | 2608048.8238 | 1200263.7171 | 2608046.8728 | 1200272.8308
60 | 2608012.6348 | 1200295.5942 | 2608012.1948 | 1200297.1085 | 2608008.7557 | 1200313.0236 | 2608007.0244 | 1200321.2813
61 | 2608014.749 | 1200288.3183 | 2608018.9559 | 1200268.5408
62 | 2608014.749 | 1200288.3183 | 2608012.6348 | 1200295.5942
63 | 2608068.6334 | 1200165.2907 | 2608067.9021 | 1200171.3485 | 2608067.9912 | 1200178.7304 | 2608069.1727 | 1200183.2233
64 | 2608020.2337 | 1200262.5339 | 2608018.9559 | 1200268.5408
65 | 2608068.6334 | 1200165.2907 | 2608072.5572 | 1200151.3885
66 | 2607941.6131 | 1199587.7451 | 2607941.6131 | 1199587.7451 | 2607949.4593 | 1199584.2091 | 2607953.8839 | 1199581.3535
67 | 2607941.6131 | 1199587.7451 | 2607931.324 | 1199590.6108 | 2607920.8294 | 1199592.8851
68 | 2607966.7582 | 1199571.3028 | 2607956.576 | 1199579.616 | 2607953.8839 | 1199581.3535
69 | 2607909.4091 | 1199593.452 | 2607919.0862 | 1199593.2628 | 2607920.8294 | 1199592.8851
70 | 2607966.7582 | 1199571.3028 | 2607980.1216 | 1199569.5084 | 2607989.9533 | 1199567.2202 | 2608001.4504 | 1199562.971
71 | 2607876.3973 | 1199893.352 | 2607909.4091 | 1199593.452
72 | 2607898.5398 | 1199902.9984 | 2607884.6738 | 1199896.4694 | 2607876.3973 | 1199893.352
73 | 2607903.7092 | 1199905.4325 | 2607898.5398 | 1199902.9984
74 | 2608069.8324 | 1200052.5032 | 2608072.2257 | 1200071.6299
75 | 2608069.8324 | 1200052.5032 | 2608069.4616 | 1200049.5399
76 | 2608072.2257 | 1200071.6299 | 2608073.2868 | 1200080.1096
77 | 2608068.1041 | 1200039.802 | 2608068.8634 | 1200044.7595 | 2608069.4616 | 1200049.5399
78 | 2608074.1973 | 1200087.3856 | 2608073.2868 | 1200080.1096
79 | 2608068.1041 | 1200039.802 | 2608067.1126 | 1200033.3288 | 2608064.2224 | 1200025.8534
80 | 2608076.0514 | 1200105.9243 | 2608075.2579 | 1200095.8622 | 2608074.1973 | 1200087.3856
81 | 2608064.2224 | 1200025.8534 | 2608061.9994 | 1200020.1038 | 2608055.9955 | 1200009.8074
82 | 2608076.0514 | 1200105.9243 | 2608091.3243 | 1200092.2334
83 | 2608076.0514 | 1200105.9243 | 2608078.1606 | 1200122.5138 | 2608078.1643 | 1200123.3672
84 | 2608055.9955 | 1200009.8074 | 2608043.5757 | 1199988.5085
85 | 2608078.1643 | 1200123.3672 | 2608078.207 | 1200133.353 | 2608075.5297 | 1200141.8995
86 | 2608072.5572 | 1200151.3885 | 2608075.5297 | 1200141.8995
87 | 2608072.5572 | 1200151.3885 | 2608077.3181 | 1200154.73 | 2608074.248 | 1200173.4693 | 2608085.4445 | 1200176.7483
88 | 2608091.3243 | 1200092.2334 | 2608098.8859 | 1200085.455 | 2608106.7227 | 1200075.4599
89 | 2608107.0654 | 1200052.0974 | 2608110.0833 | 1200063.2915 | 2608108.8907 | 1200072.695 | 2608106.7227 | 1200075.4599
90 | 2608100.2272 | 1200010.7389 | 2608106.2024 | 1200039.5513 | 2608106.5004 | 1200050.0018 | 2608107.0654 | 1200052.0974
91 | 2607778.1272 | 1200186.1899 | 2607808.3754 | 1200181.3965
92 | 2607820.8916 | 1200178.9093 | 2607817.1844 | 1200180.0005 | 2607808.3754 | 1200181.3965
93 | 2607916.8822 | 1200152.1713 | 2607893.1015 | 1200157.6541 | 2607820.8916 | 1200178.9093
94 | 2607916.8822 | 1200152.1713 | 2607925.4042 | 1200155.1952 | 2607930.2629 | 1200154.9896
95 | 2607924.8808 | 1200136.3622 | 2607921.1946 | 1200143.5389 | 2607916.8822 | 1200152.1713
96 | 2607924.8808 | 1200136.3622 | 2607925.8959 | 1200134.3958 | 2607937.4531 | 1200114.5291
97 | 2607907.5087 | 1200125.2222 | 2607910.0772 | 1200128.6608 | 2607921.1946 | 1200143.5389 | 2607924.8808 | 1200136.3622
98 | 2607924.8808 | 1200136.3622 | 2607930.8561 | 1200136.748 | 2607938.439 | 1200141.8385
99 | 2607759.4592 | 1200251.3087 | 2607777.5405 | 1200257.5304
100 | 2607885.9135 | 1200112.576 | 2607894.9277 | 1200117.5461 | 2607907.5087 | 1200125.2222
101 | 2607907.5087 | 1200125.2222 | 2607905.3809 | 1200122.3735 | 2607904.2899 | 1200118.6588
102 | 2607901.431 | 1200108.9254 | 2607904.2899 | 1200118.6588
103 | 2607896.8095 | 1200093.191 | 2607896.8095 | 1200093.191 | 2607901.431 | 1200108.9254
104 | 2607918.895 | 1199912.9947 | 2607931.9795 | 1199919.5105 | 2608001.9702 | 1199954.344 | 2608018.4725 | 1199962.8213
105 | 2607903.7092 | 1199905.4325 | 2607918.895 | 1199912.9947
106 | 2608034.394 | 1199975.579 | 2608026.4662 | 1199966.9278 | 2608018.4725 | 1199962.8213
107 | 2608043.5757 | 1199988.5085 | 2608038.91 | 1199980.5072 | 2608034.394 | 1199975.579
108 | 2607865.9956 | 1200057.5102 | 2607867.6213 | 1200059.657 | 2607896.8095 | 1200093.191

## bus_geodata
| x | y | coords
0 | 2608073.3313 | 1200434.7106
1 | 2608039.9817 | 1200466.5033
2 | 2608072.0933 | 1200412.3282
3 | 2607953.4139 | 1200515.5815
4 | 2608071.6058 | 1200406.869
5 | 2608090.5107 | 1200411.9234
6 | 2607953.7982 | 1200516.9468
7 | 2608069.859 | 1200386.8448
8 | 2608014.0513 | 1200398.1735
9 | 2608144.0957 | 1200426.6922
10 | 2608069.5144 | 1200382.6755
11 | 2608056.1678 | 1200387.7825
12 | 2608000.4834 | 1200396.1236
13 | 2607833.657 | 1200334.8876
14 | 2607846.2939 | 1200342.2233
15 | 2607804.3263 | 1200313.1771
16 | 2607813.8733 | 1200285.9858
17 | 2607817.8838 | 1200274.5634
18 | 2607844.1355 | 1200288.5161
19 | 2607818.9766 | 1200271.2964
20 | 2607934.4788 | 1200182.618
21 | 2607949.8485 | 1200206.4661
22 | 2607916.937 | 1200183.8251
23 | 2607902.5585 | 1200184.8145
24 | 2607897.8958 | 1200170.4117
25 | 2607843.9668 | 1200184.271
26 | 2607977.2887 | 1200169.7018
27 | 2607835.74 | 1200221.1609
28 | 2607991.8696 | 1200173.6354
29 | 2608042.3739 | 1200387.9555
30 | 2608046.9584 | 1200387.4563
31 | 2608088.9577 | 1200381.9498
32 | 2608051.2344 | 1200339.6278
33 | 2608073.122 | 1200320.6692
34 | 2608046.2088 | 1200338.4313
35 | 2608109.7221 | 1200269.324
36 | 2608092.631 | 1200325.882
37 | 2608109.9759 | 1200369.1336
38 | 2608028.8123 | 1200192.7953
39 | 2608077.6139 | 1200234.9735
40 | 2608081.3126 | 1200195.9797
41 | 2608100.1941 | 1200259.5595
42 | 2607767.6169 | 1200206.106
43 | 2607769.4298 | 1200222.4039
44 | 2607764.1609 | 1200188.4032
45 | 2607824.331 | 1200255.2825
46 | 2608032.2176 | 1200335.1
47 | 2608006.458 | 1200329.3404
48 | 2608028.0277 | 1200353.1859
49 | 2608042.2285 | 1200294.5249
50 | 2608034.8531 | 1200292.8591
51 | 2608046.8728 | 1200272.8308
52 | 2608101.6036 | 1200261.028
53 | 2608001.0786 | 1200349.1801
54 | 2608007.0244 | 1200321.2813
55 | 2608014.749 | 1200288.3183
56 | 2608048.8238 | 1200263.7171
57 | 2608069.1727 | 1200183.2233
58 | 2608012.6348 | 1200295.5942
59 | 2608018.9559 | 1200268.5408
60 | 2608020.2337 | 1200262.5339
61 | 2608068.6334 | 1200165.2907
62 | 2607941.6131 | 1199587.7451
63 | 2607953.8839 | 1199581.3535
64 | 2607920.8294 | 1199592.8851
65 | 2607966.7582 | 1199571.3028
66 | 2607909.4091 | 1199593.452
67 | 2607876.3973 | 1199893.352
68 | 2607898.5398 | 1199902.9984
69 | 2608001.4504 | 1199562.971
70 | 2608069.8324 | 1200052.5032
71 | 2608072.2257 | 1200071.6299
72 | 2608069.4616 | 1200049.5399
73 | 2608073.2868 | 1200080.1096
74 | 2608068.1041 | 1200039.802
75 | 2608074.1972 | 1200087.3856
76 | 2608064.2224 | 1200025.8534
77 | 2608076.0514 | 1200105.9243
78 | 2608055.9955 | 1200009.8074
79 | 2608078.1643 | 1200123.3672
80 | 2608075.5297 | 1200141.8995
81 | 2608072.5572 | 1200151.3885
82 | 2608091.3243 | 1200092.2334
83 | 2608085.4445 | 1200176.7483
84 | 2608106.7227 | 1200075.4599
85 | 2608107.0654 | 1200052.0974
86 | 2608127.5498 | 1200366.7815
87 | 2608100.2272 | 1200010.7389
88 | 2607778.1272 | 1200186.1899
89 | 2607808.3754 | 1200181.3965
90 | 2607820.8916 | 1200178.9093
91 | 2607916.8822 | 1200152.1713
92 | 2607930.2629 | 1200154.9896
93 | 2607924.8808 | 1200136.3622
94 | 2607759.4592 | 1200251.3087
95 | 2607937.4531 | 1200114.5291
96 | 2607907.5087 | 1200125.2222
97 | 2607938.439 | 1200141.8385
98 | 2607885.9135 | 1200112.576
99 | 2607904.2899 | 1200118.6588
100 | 2607901.431 | 1200108.9254
101 | 2607918.895 | 1199912.9947
102 | 2608018.4725 | 1199962.8213
103 | 2607903.7092 | 1199905.4325
104 | 2608034.394 | 1199975.579
105 | 2608043.5757 | 1199988.5085
106 | 2607865.9956 | 1200057.5102
107 | 2607896.8095 | 1200093.191
108 | 2607850.9257 | 1200276.7964
109 | 2607777.5405 | 1200257.5304
110 | 2607902.5585 | 1200184.8145

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1