## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_361-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_361-13_0_4_node_25 | 0.4 | n |  | TRUE
2 | bus_LV_361-13_0_4_node_22 | 0.4 | n |  | TRUE
3 | bus_LV_361-13_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_361-13_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_361-13_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_361-13_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_361-13_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_361-13_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_361-13_0_4_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_361-13_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_361-13_0_4_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_361-13_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_361-13_0_4_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_361-13_0_4_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_361-13_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_361-13_0_4_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_361-13_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_361-13_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_361-13_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_361-13_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_361-13_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_361-13_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_361-13_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_361-13_0_4_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_361-13_0_4_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_361-13_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_361-13_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_361-13_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_361-13_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_361-13_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_361-13_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_361-13_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_361-13_0_4_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_361-13_0_4_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_361-13_0_4_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_361-13_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_361-13_0_4_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_361-13_0_4_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_361-13_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_361-13_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_361-13_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_361-13_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_361-13_0_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_361-13_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_361-13_0_4_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_361-13_0_4_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_361-13_0_4_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_361-13_0_4_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_361-13_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_361-13_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_361-13_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_361-13_0_4_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_361-13_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_361-13_0_4_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_361-13_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_361-13_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_361-13_0_4_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_361-13_0_4_node_80 | 0.4 | n |  | TRUE
59 | bus_LV_361-13_0_4_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_361-13_0_4_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_361-13_0_4_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_361-13_0_4_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_361-13_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_361-13_0_4_node_81 | 0.4 | n |  | TRUE
65 | bus_LV_361-13_0_4_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_361-13_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_361-13_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_361-13_0_4_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_361-13_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_361-13_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_361-13_0_4_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_361-13_0_4_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_361-13_0_4_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_361-13_0_4_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_361-13_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_361-13_0_4_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_361-13_0_4_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_361-13_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_MV_415_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_361-13_0_4_load_0 | 0 | 0.012822 | 0.0032136 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_361-13_0_4_load_25 | 1 | 0.003942 | 0.00098795 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_361-13_0_4_load_22 | 2 | 0.0046001 | 0.0011529 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_361-13_0_4_load_2 | 3 | 0.037765 | 0.0094647 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_361-13_0_4_load_3 | 4 | 0.043528 | 0.010909 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_361-13_0_4_load_5 | 6 | 0.0028507 | 0.00071446 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_361-13_0_4_load_9 | 8 | 0.0173 | 0.0043358 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_361-13_0_4_load_29 | 9 | 0.0026754 | 0.00067051 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_361-13_0_4_load_27 | 11 | 0.011425 | 0.0028633 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_361-13_0_4_load_30 | 13 | 0.015856 | 0.0039738 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_361-13_0_4_load_10 | 15 | 0.0029047 | 0.00072798 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_361-13_0_4_load_13 | 19 | 0.0054186 | 0.001358 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_361-13_0_4_load_14 | 20 | 0.0095104 | 0.0023835 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_361-13_0_4_load_15 | 21 | 0.0099032 | 0.002482 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_361-13_0_4_load_16 | 22 | 0.0084384 | 0.0021149 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_361-13_0_4_load_17 | 23 | 0.0098219 | 0.0024616 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_361-13_0_4_load_34 | 24 | 0.011067 | 0.0027736 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_361-13_0_4_load_35 | 25 | 0.0079325 | 0.0019881 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_361-13_0_4_load_18 | 26 | 0.0093325 | 0.002339 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_361-13_0_4_load_19 | 27 | 0.0044283 | 0.0011098 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_361-13_0_4_load_21 | 29 | 0.0072643 | 0.0018206 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_361-13_0_4_load_23 | 30 | 0.0036897 | 0.00092472 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_361-13_0_4_load_24 | 31 | 0.0078412 | 0.0019652 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_361-13_0_4_load_26 | 32 | 0.005353 | 0.0013416 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_361-13_0_4_load_57 | 33 | 0.0044001 | 0.0011028 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_361-13_0_4_load_32 | 34 | 0.0071945 | 0.0018031 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_361-13_0_4_load_58 | 35 | 0.0045935 | 0.0011512 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_361-13_0_4_load_33 | 36 | 0.0061583 | 0.0015434 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_361-13_0_4_load_41 | 37 | 0.0029426 | 0.00073748 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_361-13_0_4_load_42 | 38 | 0.0041428 | 0.0010383 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_361-13_0_4_load_36 | 39 | 0.0054811 | 0.0013737 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_361-13_0_4_load_37 | 40 | 0.0053026 | 0.0013289 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_361-13_0_4_load_38 | 41 | 0.0029969 | 0.0007511 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_361-13_0_4_load_46 | 42 | 0.0058789 | 0.0014734 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_361-13_0_4_load_47 | 43 | 0.0062471 | 0.0015657 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_361-13_0_4_load_39 | 44 | 0.002767 | 0.00069347 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_361-13_0_4_load_48 | 45 | 0.0027467 | 0.00068838 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_361-13_0_4_load_40 | 46 | 0.0026326 | 0.00065979 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_361-13_0_4_load_52 | 47 | 0.0027867 | 0.00069842 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_361-13_0_4_load_44 | 50 | 0.0040237 | 0.0010084 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_361-13_0_4_load_45 | 51 | 0.0033083 | 0.00082913 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_361-13_0_4_load_56 | 52 | 0.0042842 | 0.0010737 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_361-13_0_4_load_54 | 53 | 0.0047364 | 0.0011871 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_361-13_0_4_load_69 | 54 | 0.0051168 | 0.0012824 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_361-13_0_4_load_50 | 55 | 0.0030064 | 0.00075347 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_361-13_0_4_load_51 | 56 | 0.0028959 | 0.00072577 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_361-13_0_4_load_75 | 57 | 0.0030905 | 0.00077454 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_361-13_0_4_load_80 | 58 | 0.0028743 | 0.00072037 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_361-13_0_4_load_74 | 59 | 0.0029205 | 0.00073196 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_361-13_0_4_load_76 | 60 | 0.0032326 | 0.00081016 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_361-13_0_4_load_79 | 62 | 0.0027756 | 0.00069564 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_361-13_0_4_load_55 | 63 | 0.0036634 | 0.00091814 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_361-13_0_4_load_81 | 64 | 0.0020156 | 0.00050516 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_361-13_0_4_load_78 | 65 | 0.0031864 | 0.00079858 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_361-13_0_4_load_60 | 68 | 0.0027963 | 0.00070082 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_361-13_0_4_load_59 | 69 | 0.0035315 | 0.00088508 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_361-13_0_4_load_63 | 70 | 0.0027936 | 0.00070015 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_361-13_0_4_load_64 | 71 | 0.0054801 | 0.0013734 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_361-13_0_4_load_72 | 72 | 0.0027967 | 0.00070093 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_361-13_0_4_load_73 | 73 | 0.0051468 | 0.0012899 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_361-13_0_4_load_71 | 74 | 0.018017 | 0.0045155 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_361-13_0_4_load_65 | 75 | 0.012673 | 0.0031761 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_361-13_0_4_load_66 | 76 | 0.0032558 | 0.00081598 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_361-13_0_4_load_68 | 77 | 0.0033096 | 0.00082946 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_361-13_0_4_line_0 |  | 0 | 1 | 0.13029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_361-13_0_4_line_1 |  | 1 | 2 | 0.017626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_361-13_0_4_line_2 |  | 2 | 28 | 0.032655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_361-13_0_4_line_3 |  | 3 | 4 | 0.029097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_361-13_0_4_line_4 |  | 3 | 5 | 0.013494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_361-13_0_4_line_5 |  | 5 | 6 | 0.01127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_361-13_0_4_line_6 |  | 5 | 7 | 0.0069633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_361-13_0_4_line_7 |  | 6 | 8 | 0.014049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_361-13_0_4_line_8 |  | 7 | 9 | 0.0069201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_361-13_0_4_line_9 |  | 8 | 15 | 0.023488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_361-13_0_4_line_10 |  | 9 | 10 | 0.0096675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_361-13_0_4_line_11 |  | 10 | 11 | 0.0096941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_361-13_0_4_line_12 |  | 11 | 14 | 0.0067251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_361-13_0_4_line_13 |  | 12 | 13 | 0.037768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_361-13_0_4_line_14 |  | 12 | 14 | 0.002133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_361-13_0_4_line_15 |  | 13 | 16 | 0.029806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_361-13_0_4_line_16 |  | 15 | 17 | 0.038734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_361-13_0_4_line_17 |  | 16 | 34 | 0.0098176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_361-13_0_4_line_18 |  | 16 | 31 | 0.015619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_361-13_0_4_line_19 |  | 17 | 18 | 0.03958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_361-13_0_4_line_20 |  | 18 | 19 | 0.034808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_361-13_0_4_line_21 |  | 19 | 20 | 0.016758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_361-13_0_4_line_22 |  | 20 | 21 | 0.032776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_361-13_0_4_line_23 |  | 21 | 22 | 0.0068975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_361-13_0_4_line_24 |  | 22 | 23 | 0.021455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_361-13_0_4_line_25 |  | 23 | 24 | 0.03771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_361-13_0_4_line_26 |  | 24 | 25 | 0.00091293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_361-13_0_4_line_27 |  | 26 | 27 | 0.028851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_361-13_0_4_line_28 |  | 27 | 28 | 0.013765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_361-13_0_4_line_29 |  | 28 | 29 | 0.023219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_361-13_0_4_line_30 |  | 28 | 30 | 0.01971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_361-13_0_4_line_31 |  | 29 | 31 | 0.017519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_361-13_0_4_line_32 |  | 30 | 32 | 0.00039926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_361-13_0_4_line_33 |  | 32 | 33 | 0.031417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_361-13_0_4_line_34 |  | 33 | 35 | 0.0028247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_361-13_0_4_line_35 |  | 34 | 36 | 0.017487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_361-13_0_4_line_36 |  | 35 | 66 | 0.016141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_361-13_0_4_line_37 |  | 36 | 37 | 0.021524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_361-13_0_4_line_38 |  | 37 | 38 | 0.024438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_361-13_0_4_line_39 |  | 38 | 49 | 0.0073064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_361-13_0_4_line_40 |  | 39 | 40 | 0.031919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_361-13_0_4_line_41 |  | 40 | 41 | 0.023688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_361-13_0_4_line_42 |  | 41 | 44 | 1.9858e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_361-13_0_4_line_43 |  | 42 | 43 | 0.027131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_361-13_0_4_line_44 |  | 43 | 45 | 0.025781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_361-13_0_4_line_45 |  | 44 | 46 | 0.023996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_361-13_0_4_line_46 |  | 45 | 55 | 0.035956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_361-13_0_4_line_47 |  | 46 | 47 | 0.00087563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_361-13_0_4_line_48 |  | 47 | 48 | 0.014416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_361-13_0_4_line_49 |  | 48 | 63 | 0.0054084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_361-13_0_4_line_50 |  | 48 | 53 | 0.018357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_361-13_0_4_line_51 |  | 49 | 50 | 0.032819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_361-13_0_4_line_52 |  | 49 | 51 | 0.016786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_361-13_0_4_line_53 |  | 50 | 52 | 0.030524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_361-13_0_4_line_54 |  | 51 | 53 | 0.013828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_361-13_0_4_line_55 |  | 52 | 54 | 0.028559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_361-13_0_4_line_56 |  | 55 | 56 | 0.010372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_361-13_0_4_line_57 |  | 56 | 57 | 0.010362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_361-13_0_4_line_58 |  | 57 | 58 | 0.054251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_361-13_0_4_line_59 |  | 57 | 59 | 0.0013818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_361-13_0_4_line_60 |  | 58 | 61 | 0.022994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_361-13_0_4_line_61 |  | 58 | 62 | 0.0070878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_361-13_0_4_line_62 |  | 59 | 63 | 0.025842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_361-13_0_4_line_63 |  | 60 | 61 | 0.017733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_361-13_0_4_line_64 |  | 61 | 65 | 0.017253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_361-13_0_4_line_65 |  | 64 | 65 | 0.030104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_361-13_0_4_line_66 |  | 66 | 67 | 0.01302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_361-13_0_4_line_67 |  | 66 | 68 | 0.017571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_361-13_0_4_line_68 |  | 67 | 70 | 0.0098681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_361-13_0_4_line_69 |  | 67 | 71 | 0.0056868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_361-13_0_4_line_70 |  | 68 | 69 | 0.020839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_361-13_0_4_line_71 |  | 70 | 72 | 0.0076683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_361-13_0_4_line_72 |  | 71 | 73 | 0.007644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_361-13_0_4_line_73 |  | 72 | 74 | 0.0055431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_361-13_0_4_line_74 |  | 74 | 78 | 0.010164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_361-13_0_4_line_75 |  | 75 | 76 | 0.03025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_361-13_0_4_line_76 |  | 76 | 77 | 0.010241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_361-13_0_4_line_77 |  | 77 | 78 | 0.0047495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_361-13_0_4_trafo_24 | 0.63 MVA 20/0.4 kV | 79 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2601158.678 | 1204249.2709 | 2601119.1516 | 1204125.1205
1 | 2601158.678 | 1204249.2709 | 2601149.4392 | 1204264.2812 | 2601149.4392 | 1204264.2812
2 | 2601179.9721 | 1204275.8597 | 2601149.4392 | 1204264.2812
3 | 2601272.0087 | 1204173.9888 | 2601267.1135 | 1204192.4979 | 2601264.5602 | 1204202.1162
4 | 2601272.2445 | 1204211.6871 | 2601265.4749 | 1204207.3501 | 2601264.251 | 1204203.281 | 2601264.5602 | 1204202.1162
5 | 2601272.2445 | 1204211.6871 | 2601276.9024 | 1204201.4251
6 | 2601269.4818 | 1204218.0789 | 2601270.4027 | 1204215.9446 | 2601272.2445 | 1204211.6871
7 | 2601282.7091 | 1204188.6323 | 2601282.7091 | 1204188.6323 | 2601276.9024 | 1204201.4251
8 | 2601269.4818 | 1204218.0789 | 2601275.8333 | 1204220.8262
9 | 2601282.7091 | 1204188.6323 | 2601286.9486 | 1204177.4826 | 2601290.1751 | 1204166.3821
10 | 2601271.9138 | 1204229.6635 | 2601272.4694 | 1204228.3963 | 2601275.3462 | 1204221.9267 | 2601275.8333 | 1204220.8262
11 | 2601271.9138 | 1204229.6635 | 2601271.3506 | 1204230.9196 | 2601268.4205 | 1204237.5115 | 2601267.9791 | 1204238.5231
12 | 2601261.7873 | 1204235.8982 | 2601267.9791 | 1204238.5231
13 | 2601260.935 | 1204237.8547 | 2601258.6594 | 1204243.1348 | 2601246.4141 | 1204270.0693 | 2601245.3622 | 1204272.261
14 | 2601261.7873 | 1204235.8982 | 2601260.935 | 1204237.8547
15 | 2601231.5213 | 1204298.6375 | 2601236.0795 | 1204290.8675 | 2601239.7399 | 1204283.9755 | 2601245.3622 | 1204272.261
16 | 2601296.6656 | 1204128.2468 | 2601295.591 | 1204138.0963 | 2601294.0141 | 1204148.4016 | 2601291.4172 | 1204162.1085 | 2601290.1751 | 1204166.3821
17 | 2601231.5213 | 1204298.6375 | 2601228.6755 | 1204302.6613 | 2601226.1492 | 1204306.2405 | 2601225.8343 | 1204306.6394
18 | 2601231.5213 | 1204298.6375 | 2601217.2347 | 1204292.3247
19 | 2601296.6656 | 1204128.2468 | 2601300.6442 | 1204128.5811 | 2601329.4374 | 1204130.9773 | 2601329.01 | 1204137.6586
20 | 2601329.01 | 1204137.6586 | 2601325.0463 | 1204172.2397
21 | 2601325.0463 | 1204172.2397 | 2601323.138 | 1204188.889
22 | 2601319.4056 | 1204221.452 | 2601323.138 | 1204188.889
23 | 2601318.4582 | 1204228.2811 | 2601318.9348 | 1204225.5598 | 2601319.4056 | 1204221.452
24 | 2601318.4582 | 1204228.2811 | 2601317.2059 | 1204235.4315 | 2601314.5491 | 1204244.5025 | 2601313.0822 | 1204249.0135
25 | 2601298.7025 | 1204283.8383 | 2601307.4017 | 1204264.6787 | 2601311.3825 | 1204254.2405 | 2601313.0822 | 1204249.0135
26 | 2601298.7025 | 1204283.8383 | 2601298.3251 | 1204284.6696
27 | 2601181.7363 | 1204244.1644 | 2601194.0272 | 1204251.0155 | 2601186.75 | 1204263.879
28 | 2601179.9721 | 1204275.8597 | 2601186.75 | 1204263.879
29 | 2601179.9721 | 1204275.8597 | 2601201.2104 | 1204285.2441
30 | 2601179.9721 | 1204275.8597 | 2601168.1459 | 1204291.628
31 | 2601217.2347 | 1204292.3247 | 2601201.2104 | 1204285.2441
32 | 2601167.9063 | 1204291.9474 | 2601168.1459 | 1204291.628
33 | 2601147.6221 | 1204315.863 | 2601148.5552 | 1204315.0197 | 2601158.705 | 1204304.2157 | 2601167.9063 | 1204291.9474
34 | 2601145.5265 | 1204317.757 | 2601147.6221 | 1204315.863
35 | 2601225.8343 | 1204306.6394 | 2601214.998 | 1204320.3637
36 | 2601133.5516 | 1204328.5799 | 2601145.5265 | 1204317.757
37 | 2601200.9438 | 1204336.6357 | 2601208.0171 | 1204329.2051 | 2601214.998 | 1204320.3637
38 | 2601200.9438 | 1204336.6357 | 2601187.2153 | 1204351.0575 | 2601183.7109 | 1204353.9234
39 | 2601178.055 | 1204358.5488 | 2601183.7109 | 1204353.9234
40 | 2601275.0845 | 1204328.5897 | 2601272.9659 | 1204331.2523 | 2601252.0961 | 1204350.6853
41 | 2601252.0961 | 1204350.6853 | 2601242.456 | 1204359.6616 | 2601235.3807 | 1204367.4407
42 | 2601235.3807 | 1204367.4407 | 2601235.3674 | 1204367.4553
43 | 2601305.299 | 1204350.7502 | 2601300.8717 | 1204353.7924 | 2601285.6712 | 1204369.3613
44 | 2601285.6712 | 1204369.3613 | 2601284.7566 | 1204370.2981 | 2601274.5683 | 1204382.7028 | 2601270.7937 | 1204390.2283
45 | 2601235.3674 | 1204367.4553 | 2601219.2216 | 1204385.2071
46 | 2601254.9168 | 1204422.4886 | 2601270.7937 | 1204390.2283
47 | 2601219.2216 | 1204385.2071 | 2601218.6324 | 1204385.8548
48 | 2601208.9324 | 1204396.5196 | 2601218.6324 | 1204385.8548
49 | 2601208.9324 | 1204396.5196 | 2601213.0579 | 1204400.017
50 | 2601208.9324 | 1204396.5196 | 2601196.9775 | 1204382.5891
51 | 2601178.055 | 1204358.5488 | 2601169.1158 | 1204363.7277 | 2601160.8387 | 1204367.4393 | 2601152.0672 | 1204370.5061 | 2601148.1497 | 1204371.7975
52 | 2601178.055 | 1204358.5488 | 2601180.1845 | 1204361.1728 | 2601188.1082 | 1204371.9869
53 | 2601119.1636 | 1204381.3653 | 2601139.6975 | 1204374.5838 | 2601148.1497 | 1204371.7975
54 | 2601188.1082 | 1204371.9869 | 2601189.4475 | 1204373.8147 | 2601196.9775 | 1204382.5891
55 | 2601119.1636 | 1204381.3653 | 2601117.5598 | 1204381.895 | 2601109.9372 | 1204383.9948 | 2601094.7605 | 1204388.1611 | 2601091.5874 | 1204388.7383
56 | 2601245.151 | 1204418.9952 | 2601254.9168 | 1204422.4886
57 | 2601235.5474 | 1204415.1675 | 2601237.5308 | 1204416.2692 | 2601245.151 | 1204418.9952
58 | 2601235.5474 | 1204415.1675 | 2601215.8719 | 1204465.7253
59 | 2601235.5474 | 1204415.1675 | 2601234.3394 | 1204414.4965
60 | 2601203.6287 | 1204485.1891 | 2601215.8719 | 1204465.7253
61 | 2601215.8719 | 1204465.7253 | 2601222.4134 | 1204468.454
62 | 2601213.0579 | 1204400.017 | 2601220.554 | 1204406.3717 | 2601224.1972 | 1204408.8626 | 2601234.3394 | 1204414.4965
63 | 2601203.6287 | 1204485.1891 | 2601217.5803 | 1204496.1353
64 | 2601203.6287 | 1204485.1891 | 2601190.0259 | 1204474.5769
65 | 2601164.9512 | 1204458.0474 | 2601179.8683 | 1204466.6523 | 2601190.0259 | 1204474.5769
66 | 2601123.5316 | 1204336.9272 | 2601133.5516 | 1204328.5799
67 | 2601133.5516 | 1204328.5799 | 2601120.9186 | 1204316.3675
68 | 2601123.5316 | 1204336.9272 | 2601120.6796 | 1204333.4581 | 2601116.5178 | 1204336.863
69 | 2601123.5316 | 1204336.9272 | 2601127.1442 | 1204341.3191
70 | 2601105.9361 | 1204301.884 | 2601120.9186 | 1204316.3675
71 | 2601110.5827 | 1204341.7187 | 2601116.5178 | 1204336.863
72 | 2601127.1442 | 1204341.3191 | 2601121.2245 | 1204346.1551
73 | 2601106.2925 | 1204345.2287 | 2601106.2925 | 1204345.2287 | 2601110.5827 | 1204341.7187
74 | 2601112.7496 | 1204353.0785 | 2601106.2925 | 1204345.2287
75 | 2601077.1768 | 1204377.1786 | 2601099.5942 | 1204369.096 | 2601104.9762 | 1204365.5961
76 | 2601110.9056 | 1204357.4554 | 2601109.5228 | 1204360.7376 | 2601105.6273 | 1204365.1727 | 2601104.9762 | 1204365.5961
77 | 2601112.7496 | 1204353.0785 | 2601110.9056 | 1204357.4554

## bus_geodata
| x | y | coords
0 | 2601119.1516 | 1204125.1205
1 | 2601158.678 | 1204249.2709
2 | 2601149.4392 | 1204264.2812
3 | 2601264.5602 | 1204202.1162
4 | 2601272.0087 | 1204173.9888
5 | 2601272.2445 | 1204211.6871
6 | 2601276.9024 | 1204201.4251
7 | 2601269.4818 | 1204218.0789
8 | 2601282.7091 | 1204188.6323
9 | 2601275.8333 | 1204220.8262
10 | 2601271.9138 | 1204229.6635
11 | 2601267.9791 | 1204238.5231
12 | 2601260.935 | 1204237.8547
13 | 2601245.3622 | 1204272.261
14 | 2601261.7873 | 1204235.8982
15 | 2601290.1751 | 1204166.3821
16 | 2601231.5213 | 1204298.6375
17 | 2601296.6656 | 1204128.2468
18 | 2601329.01 | 1204137.6586
19 | 2601325.0463 | 1204172.2397
20 | 2601323.138 | 1204188.889
21 | 2601319.4056 | 1204221.452
22 | 2601318.4582 | 1204228.2811
23 | 2601313.0822 | 1204249.0135
24 | 2601298.7025 | 1204283.8383
25 | 2601298.3251 | 1204284.6696
26 | 2601181.7363 | 1204244.1644
27 | 2601186.75 | 1204263.879
28 | 2601179.9721 | 1204275.8597
29 | 2601201.2104 | 1204285.2441
30 | 2601168.1459 | 1204291.628
31 | 2601217.2347 | 1204292.3247
32 | 2601167.9063 | 1204291.9474
33 | 2601147.6221 | 1204315.863
34 | 2601225.8343 | 1204306.6394
35 | 2601145.5265 | 1204317.757
36 | 2601214.998 | 1204320.3637
37 | 2601200.9438 | 1204336.6357
38 | 2601183.7109 | 1204353.9234
39 | 2601275.0845 | 1204328.5897
40 | 2601252.0961 | 1204350.6853
41 | 2601235.3807 | 1204367.4407
42 | 2601305.299 | 1204350.7502
43 | 2601285.6712 | 1204369.3613
44 | 2601235.3674 | 1204367.4553
45 | 2601270.7937 | 1204390.2283
46 | 2601219.2216 | 1204385.2071
47 | 2601218.6324 | 1204385.8548
48 | 2601208.9324 | 1204396.5196
49 | 2601178.055 | 1204358.5488
50 | 2601148.1497 | 1204371.7975
51 | 2601188.1082 | 1204371.9869
52 | 2601119.1636 | 1204381.3653
53 | 2601196.9775 | 1204382.5891
54 | 2601091.5874 | 1204388.7383
55 | 2601254.9168 | 1204422.4886
56 | 2601245.151 | 1204418.9952
57 | 2601235.5474 | 1204415.1675
58 | 2601215.8719 | 1204465.7253
59 | 2601234.3394 | 1204414.4965
60 | 2601217.5803 | 1204496.1353
61 | 2601203.6287 | 1204485.1891
62 | 2601222.4134 | 1204468.454
63 | 2601213.0579 | 1204400.017
64 | 2601164.9512 | 1204458.0474
65 | 2601190.0259 | 1204474.5769
66 | 2601133.5516 | 1204328.5799
67 | 2601123.5316 | 1204336.9272
68 | 2601120.9186 | 1204316.3675
69 | 2601105.9361 | 1204301.884
70 | 2601116.5178 | 1204336.863
71 | 2601127.1442 | 1204341.3191
72 | 2601110.5827 | 1204341.7187
73 | 2601121.2245 | 1204346.1551
74 | 2601106.2925 | 1204345.2287
75 | 2601077.1768 | 1204377.1786
76 | 2601104.9762 | 1204365.5961
77 | 2601110.9056 | 1204357.4554
78 | 2601112.7496 | 1204353.0785
79 | 2601231.5213 | 1204298.6375

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1