## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_361-15_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_361-15_0_8_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_361-15_0_8_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_361-15_0_8_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_361-15_0_8_node_37 | 0.4 | n |  | TRUE
5 | bus_LV_361-15_0_8_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_361-15_0_8_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_361-15_0_8_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_361-15_0_8_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_361-15_0_8_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_361-15_0_8_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_361-15_0_8_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_361-15_0_8_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_361-15_0_8_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_361-15_0_8_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_361-15_0_8_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_361-15_0_8_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_361-15_0_8_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_361-15_0_8_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_361-15_0_8_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_361-15_0_8_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_361-15_0_8_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_361-15_0_8_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_361-15_0_8_node_97 | 0.4 | n |  | TRUE
24 | bus_LV_361-15_0_8_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_361-15_0_8_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_361-15_0_8_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_361-15_0_8_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_361-15_0_8_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_361-15_0_8_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_361-15_0_8_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_361-15_0_8_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_361-15_0_8_node_98 | 0.4 | n |  | TRUE
33 | bus_LV_361-15_0_8_node_96 | 0.4 | n |  | TRUE
34 | bus_LV_361-15_0_8_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_361-15_0_8_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_361-15_0_8_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_361-15_0_8_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_361-15_0_8_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_361-15_0_8_node_110 | 0.4 | n |  | TRUE
40 | bus_LV_361-15_0_8_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_361-15_0_8_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_361-15_0_8_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_361-15_0_8_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_361-15_0_8_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_361-15_0_8_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_361-15_0_8_node_91 | 0.4 | n |  | TRUE
47 | bus_LV_361-15_0_8_node_106 | 0.4 | n |  | TRUE
48 | bus_LV_361-15_0_8_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_361-15_0_8_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_361-15_0_8_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_361-15_0_8_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_361-15_0_8_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_361-15_0_8_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_361-15_0_8_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_361-15_0_8_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_361-15_0_8_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_361-15_0_8_node_121 | 0.4 | n |  | TRUE
58 | bus_LV_361-15_0_8_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_361-15_0_8_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_361-15_0_8_node_112 | 0.4 | n |  | TRUE
61 | bus_LV_361-15_0_8_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_361-15_0_8_node_122 | 0.4 | n |  | TRUE
63 | bus_LV_361-15_0_8_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_361-15_0_8_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_361-15_0_8_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_361-15_0_8_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_361-15_0_8_node_111 | 0.4 | n |  | TRUE
68 | bus_LV_361-15_0_8_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_361-15_0_8_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_361-15_0_8_node_102 | 0.4 | n |  | TRUE
71 | bus_LV_361-15_0_8_node_107 | 0.4 | n |  | TRUE
72 | bus_LV_361-15_0_8_node_104 | 0.4 | n |  | TRUE
73 | bus_LV_361-15_0_8_node_103 | 0.4 | n |  | TRUE
74 | bus_LV_361-15_0_8_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_361-15_0_8_node_113 | 0.4 | n |  | TRUE
76 | bus_LV_361-15_0_8_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_361-15_0_8_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_361-15_0_8_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_361-15_0_8_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_361-15_0_8_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_361-15_0_8_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_361-15_0_8_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_361-15_0_8_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_361-15_0_8_node_99 | 0.4 | n |  | TRUE
85 | bus_LV_361-15_0_8_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_361-15_0_8_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_361-15_0_8_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_361-15_0_8_node_100 | 0.4 | n |  | TRUE
89 | bus_LV_361-15_0_8_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_361-15_0_8_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_361-15_0_8_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_361-15_0_8_node_109 | 0.4 | n |  | TRUE
93 | bus_LV_361-15_0_8_node_108 | 0.4 | n |  | TRUE
94 | bus_LV_361-15_0_8_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_361-15_0_8_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_361-15_0_8_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_361-15_0_8_node_74 | 0.4 | n |  | TRUE
98 | bus_LV_361-15_0_8_node_75 | 0.4 | n |  | TRUE
99 | bus_LV_361-15_0_8_node_76 | 0.4 | n |  | TRUE
100 | bus_LV_361-15_0_8_node_77 | 0.4 | n |  | TRUE
101 | bus_LV_361-15_0_8_node_78 | 0.4 | n |  | TRUE
102 | bus_LV_361-15_0_8_node_95 | 0.4 | n |  | TRUE
103 | bus_LV_361-15_0_8_node_83 | 0.4 | n |  | TRUE
104 | bus_LV_361-15_0_8_node_101 | 0.4 | n |  | TRUE
105 | bus_LV_361-15_0_8_node_89 | 0.4 | n |  | TRUE
106 | bus_LV_361-15_0_8_node_90 | 0.4 | n |  | TRUE
107 | bus_LV_361-15_0_8_node_105 | 0.4 | n |  | TRUE
108 | bus_LV_361-15_0_8_node_114 | 0.4 | n |  | TRUE
109 | bus_LV_361-15_0_8_node_115 | 0.4 | n |  | TRUE
110 | bus_LV_361-15_0_8_node_116 | 0.4 | n |  | TRUE
111 | bus_LV_361-15_0_8_node_123 | 0.4 | n |  | TRUE
112 | bus_LV_361-15_0_8_node_117 | 0.4 | n |  | TRUE
113 | bus_LV_361-15_0_8_node_118 | 0.4 | n |  | TRUE
114 | bus_LV_361-15_0_8_node_120 | 0.4 | n |  | TRUE
115 | bus_MV_415_0_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_361-15_0_8_load_0 | 0 | 0.011128 | 0.002789 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_361-15_0_8_load_3 | 2 | 0.0012749 | 0.00031953 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_361-15_0_8_load_37 | 4 | 0.0014052 | 0.00035217 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_361-15_0_8_load_23 | 5 | 0.0018292 | 0.00045844 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_361-15_0_8_load_38 | 6 | 0.0018217 | 0.00045655 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_361-15_0_8_load_21 | 7 | 0.0093393 | 0.0023407 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_361-15_0_8_load_5 | 8 | 0.0027313 | 0.00068453 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_361-15_0_8_load_9 | 10 | 0.0041233 | 0.0010334 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_361-15_0_8_load_10 | 11 | 0.0037946 | 0.00095101 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_361-15_0_8_load_11 | 12 | 0.0037675 | 0.00094422 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_361-15_0_8_load_36 | 13 | 0.0025538 | 0.00064005 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_361-15_0_8_load_28 | 14 | 0.0024368 | 0.00061072 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_361-15_0_8_load_27 | 15 | 0.0034857 | 0.00087359 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_361-15_0_8_load_30 | 17 | 0.0030496 | 0.0007643 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_361-15_0_8_load_14 | 19 | 0.0034333 | 0.00086046 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_361-15_0_8_load_20 | 20 | 0.0035467 | 0.00088889 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_361-15_0_8_load_19 | 21 | 0.0058942 | 0.0014772 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_361-15_0_8_load_25 | 22 | 0.0026757 | 0.00067058 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_361-15_0_8_load_17 | 24 | 0.003278 | 0.00082154 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_361-15_0_8_load_26 | 25 | 0.0019736 | 0.00049463 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_361-15_0_8_load_15 | 26 | 0.0041561 | 0.0010416 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_361-15_0_8_load_16 | 27 | 0.0029103 | 0.00072939 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_361-15_0_8_load_35 | 29 | 0.0040596 | 0.0010174 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_361-15_0_8_load_31 | 31 | 0.003505 | 0.00087844 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_361-15_0_8_load_98 | 32 | 0.010795 | 0.0027056 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_361-15_0_8_load_96 | 33 | 0.0079842 | 0.002001 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_361-15_0_8_load_22 | 34 | 0.0041241 | 0.0010336 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_361-15_0_8_load_24 | 35 | 0.0045185 | 0.0011324 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_361-15_0_8_load_29 | 36 | 0.0027222 | 0.00068224 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_361-15_0_8_load_32 | 37 | 0.0018998 | 0.00047614 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_361-15_0_8_load_34 | 38 | 0.0030478 | 0.00076385 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_361-15_0_8_load_110 | 39 | 0.0079815 | 0.0020003 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_361-15_0_8_load_41 | 40 | 0.0035182 | 0.00088174 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_361-15_0_8_load_42 | 41 | 0.0020228 | 0.00050697 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_361-15_0_8_load_44 | 43 | 0.0047104 | 0.0011805 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_361-15_0_8_load_45 | 44 | 0.0035333 | 0.00088552 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_361-15_0_8_load_46 | 45 | 0.0025801 | 0.00064664 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_361-15_0_8_load_91 | 46 | 0.0039016 | 0.00097783 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_361-15_0_8_load_106 | 47 | 0.0019703 | 0.00049381 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_361-15_0_8_load_47 | 49 | 0.0075119 | 0.0018827 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_361-15_0_8_load_48 | 50 | 0.0056326 | 0.0014117 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_361-15_0_8_load_65 | 55 | 0.0056011 | 0.0014038 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_361-15_0_8_load_62 | 56 | 0.0050521 | 0.0012662 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_361-15_0_8_load_121 | 57 | 0.0063636 | 0.0015949 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_361-15_0_8_load_53 | 59 | 0.0040889 | 0.0010248 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_361-15_0_8_load_112 | 60 | 0.0030258 | 0.00075834 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_361-15_0_8_load_63 | 61 | 0.0044923 | 0.0011259 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_361-15_0_8_load_122 | 62 | 0.0074586 | 0.0018693 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_361-15_0_8_load_59 | 63 | 0.017644 | 0.004422 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_361-15_0_8_load_57 | 64 | 0.002349 | 0.00058871 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_361-15_0_8_load_54 | 65 | 0.003378 | 0.00084659 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_361-15_0_8_load_55 | 66 | 0.0010207 | 0.00025582 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_361-15_0_8_load_111 | 67 | 0.0023838 | 0.00059745 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_361-15_0_8_load_102 | 70 | 0.018181 | 0.0045566 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_361-15_0_8_load_107 | 71 | 0.0032752 | 0.00082085 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_361-15_0_8_load_104 | 72 | 0.0032747 | 0.00082072 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_361-15_0_8_load_64 | 74 | 0.0095437 | 0.0023919 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_361-15_0_8_load_66 | 76 | 0.013832 | 0.0034667 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_361-15_0_8_load_70 | 79 | 0.0099383 | 0.0024908 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_361-15_0_8_load_72 | 81 | 0.013257 | 0.0033224 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_361-15_0_8_load_82 | 83 | 0.010321 | 0.0025866 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_361-15_0_8_load_99 | 84 | 0.0030267 | 0.00075857 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_361-15_0_8_load_85 | 86 | 0.018305 | 0.0045877 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_361-15_0_8_load_100 | 88 | 0.003029 | 0.00075915 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_361-15_0_8_load_84 | 89 | 0.01017 | 0.0025489 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_361-15_0_8_load_79 | 90 | 0.013699 | 0.0034332 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_361-15_0_8_load_109 | 92 | 0.0051363 | 0.0012873 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_361-15_0_8_load_108 | 93 | 0.0047603 | 0.001193 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_361-15_0_8_load_94 | 95 | 0.020042 | 0.0050229 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_361-15_0_8_load_93 | 96 | 0.0041261 | 0.0010341 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_361-15_0_8_load_74 | 97 | 0.0070653 | 0.0017707 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_361-15_0_8_load_75 | 98 | 0.0013056 | 0.00032722 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_361-15_0_8_load_76 | 99 | 0.0025595 | 0.00064146 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_361-15_0_8_load_77 | 100 | 0.0014036 | 0.00035176 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_361-15_0_8_load_78 | 101 | 0.0059626 | 0.0014944 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_361-15_0_8_load_95 | 102 | 0.0025579 | 0.00064108 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_361-15_0_8_load_83 | 103 | 0.013239 | 0.0033179 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_361-15_0_8_load_89 | 105 | 0.0051359 | 0.0012872 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_361-15_0_8_load_90 | 106 | 0.003029 | 0.00075915 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_361-15_0_8_load_105 | 107 | 0.0047629 | 0.0011937 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_361-15_0_8_load_114 | 108 | 0.0056002 | 0.0014035 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_361-15_0_8_load_123 | 111 | 0.011272 | 0.002825 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_361-15_0_8_load_117 | 112 | 0.006475 | 0.0016228 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_361-15_0_8_load_120 | 114 | 0.0065869 | 0.0016508 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 91 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_361-15_0_8_line_0 |  | 0 | 1 | 0.022165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_361-15_0_8_line_1 |  | 1 | 2 | 0.0021155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_361-15_0_8_line_2 |  | 1 | 3 | 0.11068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_361-15_0_8_line_3 |  | 2 | 4 | 0.0054745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_361-15_0_8_line_4 |  | 3 | 5 | 0.065148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_361-15_0_8_line_5 |  | 4 | 6 | 0.020342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_361-15_0_8_line_6 |  | 5 | 7 | 0.0076623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_361-15_0_8_line_7 |  | 7 | 34 | 0.035192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_361-15_0_8_line_8 |  | 8 | 9 | 0.03504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_361-15_0_8_line_9 |  | 9 | 10 | 0.014156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_361-15_0_8_line_10 |  | 9 | 11 | 0.024976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_361-15_0_8_line_11 |  | 10 | 12 | 0.011148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_361-15_0_8_line_12 |  | 11 | 13 | 0.037052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_361-15_0_8_line_13 |  | 12 | 16 | 0.043407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_361-15_0_8_line_14 |  | 13 | 17 | 0.023755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_361-15_0_8_line_15 |  | 14 | 15 | 0.012326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_361-15_0_8_line_16 |  | 15 | 25 | 0.0083942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_361-15_0_8_line_17 |  | 16 | 18 | 0.017253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_361-15_0_8_line_18 |  | 16 | 19 | 0.013757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_361-15_0_8_line_19 |  | 17 | 36 | 0.010702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_361-15_0_8_line_20 |  | 18 | 20 | 0.045106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_361-15_0_8_line_21 |  | 18 | 21 | 0.0050675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_361-15_0_8_line_22 |  | 19 | 22 | 0.01102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_361-15_0_8_line_23 |  | 20 | 23 | 0.015434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_361-15_0_8_line_24 |  | 21 | 24 | 0.0082918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_361-15_0_8_line_25 |  | 22 | 25 | 0.017346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_361-15_0_8_line_26 |  | 23 | 32 | 0.024464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_361-15_0_8_line_27 |  | 23 | 33 | 0.0098283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_361-15_0_8_line_28 |  | 24 | 26 | 0.025431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_361-15_0_8_line_29 |  | 26 | 27 | 0.0098597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_361-15_0_8_line_30 |  | 27 | 28 | 0.011816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_361-15_0_8_line_31 |  | 28 | 29 | 0.0083495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_361-15_0_8_line_32 |  | 29 | 30 | 0.0098208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_361-15_0_8_line_33 |  | 30 | 31 | 0.013818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_361-15_0_8_line_34 |  | 31 | 37 | 0.01547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_361-15_0_8_line_35 |  | 32 | 47 | 0.020866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_361-15_0_8_line_36 |  | 33 | 100 | 0.003416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_361-15_0_8_line_37 |  | 34 | 35 | 0.026454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_361-15_0_8_line_38 |  | 35 | 36 | 0.0025793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_361-15_0_8_line_39 |  | 37 | 38 | 0.006683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_361-15_0_8_line_40 |  | 38 | 39 | 0.013207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_361-15_0_8_line_41 |  | 40 | 41 | 0.022126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_361-15_0_8_line_42 |  | 40 | 42 | 0.016124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_361-15_0_8_line_43 |  | 41 | 43 | 0.010355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_361-15_0_8_line_44 |  | 42 | 44 | 0.0050083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_361-15_0_8_line_45 |  | 42 | 45 | 0.014732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_361-15_0_8_line_46 |  | 44 | 46 | 0.021112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_361-15_0_8_line_47 |  | 45 | 47 | 0.003372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_361-15_0_8_line_48 |  | 46 | 48 | 0.12951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_361-15_0_8_line_49 |  | 48 | 104 | 0.028155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_361-15_0_8_line_50 |  | 49 | 50 | 0.036053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_361-15_0_8_line_51 |  | 49 | 51 | 0.069689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_361-15_0_8_line_52 |  | 50 | 52 | 0.0073783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_361-15_0_8_line_53 |  | 51 | 53 | 0.046169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_361-15_0_8_line_54 |  | 51 | 54 | 0.13851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_361-15_0_8_line_55 |  | 52 | 55 | 0.026309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_361-15_0_8_line_56 |  | 52 | 56 | 0.020032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_361-15_0_8_line_57 |  | 53 | 57 | 0.05203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_361-15_0_8_line_58 |  | 54 | 58 | 0.013002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_361-15_0_8_line_59 |  | 54 | 59 | 0.037887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_361-15_0_8_line_60 |  | 55 | 60 | 0.0134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_361-15_0_8_line_61 |  | 56 | 61 | 0.00078547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_361-15_0_8_line_62 |  | 57 | 62 | 0.012346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_361-15_0_8_line_63 |  | 58 | 63 | 0.027749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_361-15_0_8_line_64 |  | 58 | 64 | 0.0068668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_361-15_0_8_line_65 |  | 59 | 65 | 0.010326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_361-15_0_8_line_66 |  | 60 | 75 | 0.033809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_361-15_0_8_line_67 |  | 61 | 74 | 0.0037392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_361-15_0_8_line_68 |  | 64 | 68 | 0.020884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_361-15_0_8_line_69 |  | 65 | 66 | 0.00092683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_361-15_0_8_line_70 |  | 66 | 67 | 0.0025957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_361-15_0_8_line_71 |  | 68 | 69 | 0.015901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_361-15_0_8_line_72 |  | 69 | 70 | 0.020141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_361-15_0_8_line_73 |  | 70 | 73 | 0.016202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_361-15_0_8_line_74 |  | 71 | 72 | 0.0083574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_361-15_0_8_line_75 |  | 72 | 73 | 0.003078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_361-15_0_8_line_76 |  | 73 | 107 | 0.010164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_361-15_0_8_line_77 |  | 75 | 108 | 0.016739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_361-15_0_8_line_78 |  | 75 | 109 | 0.042626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_361-15_0_8_line_79 |  | 75 | 110 | 0.083275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_361-15_0_8_line_80 |  | 76 | 77 | 0.018477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_361-15_0_8_line_81 |  | 76 | 78 | 0.0082824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_361-15_0_8_line_82 |  | 77 | 79 | 0.01302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_361-15_0_8_line_83 |  | 78 | 80 | 0.011894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_361-15_0_8_line_84 |  | 78 | 81 | 0.0098892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_361-15_0_8_line_85 |  | 79 | 85 | 0.0010562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_361-15_0_8_line_86 |  | 80 | 86 | 0.0091694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_361-15_0_8_line_87 |  | 82 | 83 | 0.0084696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_361-15_0_8_line_88 |  | 82 | 84 | 0.0071085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_361-15_0_8_line_89 |  | 83 | 87 | 0.0089548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_361-15_0_8_line_90 |  | 84 | 88 | 0.0054769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_361-15_0_8_line_91 |  | 85 | 89 | 0.0050761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_361-15_0_8_line_92 |  | 85 | 90 | 0.017763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_361-15_0_8_line_93 |  | 86 | 94 | 0.015785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_361-15_0_8_line_94 |  | 87 | 103 | 0.0045812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_361-15_0_8_line_95 |  | 88 | 106 | 0.0045623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_361-15_0_8_line_96 |  | 89 | 104 | 0.071274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_361-15_0_8_line_97 |  | 91 | 92 | 0.0048475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_361-15_0_8_line_98 |  | 91 | 93 | 0.0076348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_361-15_0_8_line_99 |  | 92 | 105 | 0.0084765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_361-15_0_8_line_100 |  | 93 | 107 | 0.0081125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_361-15_0_8_line_101 |  | 94 | 105 | 0.0037651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_361-15_0_8_line_102 |  | 94 | 106 | 0.010213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_361-15_0_8_line_103 |  | 95 | 96 | 0.019909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_361-15_0_8_line_104 |  | 96 | 102 | 0.017999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_361-15_0_8_line_105 |  | 97 | 98 | 0.0063222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_361-15_0_8_line_106 |  | 97 | 99 | 0.011188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_361-15_0_8_line_107 |  | 98 | 100 | 0.017028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_361-15_0_8_line_108 |  | 99 | 101 | 0.015205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_361-15_0_8_line_109 |  | 101 | 102 | 0.0020282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_361-15_0_8_line_110 |  | 109 | 111 | 0.016071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_361-15_0_8_line_111 |  | 110 | 112 | 0.031213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_361-15_0_8_line_112 |  | 112 | 113 | 0.019754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_361-15_0_8_line_113 |  | 113 | 114 | 0.0056915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_361-15_0_8_trafo_88 | 0.63 MVA 20/0.4 kV | 115 | 91 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2601064.7574 | 1204394.3483 | 2601063.3283 | 1204388.6005 | 2601068.4328 | 1204387.2562 | 2601067.9387 | 1204385.3773 | 2601063.2526 | 1204386.6105 | 2601062.9333 | 1204385.4098 | 2601062.2719 | 1204382.5526
1 | 2601064.7574 | 1204394.3483 | 2601066.8168 | 1204393.8641
2 | 2600986.3155 | 1204434.88 | 2600984.0108 | 1204433.7013 | 2600982.0105 | 1204431.9445 | 2600980.5882 | 1204430.31 | 2600975.3787 | 1204422.227 | 2600990.6162 | 1204417.3601 | 2601018.9308 | 1204407.5925 | 2601064.7574 | 1204394.3483
3 | 2601066.8168 | 1204393.8641 | 2601072.146 | 1204392.6109
4 | 2600986.3155 | 1204434.88 | 2600988.9627 | 1204435.2251 | 2600992.5457 | 1204434.503 | 2601011.0393 | 1204427.4576 | 2601017.087 | 1204425.8466 | 2601024.6104 | 1204425.3697 | 2601029.7983 | 1204425.4706 | 2601034.9786 | 1204425.5715 | 2601049.8059 | 1204426.6409
5 | 2601092.0923 | 1204388.6465 | 2601078.4582 | 1204391.1266 | 2601072.146 | 1204392.6109
6 | 2601049.8059 | 1204426.6409 | 2601057.4483 | 1204427.1922
7 | 2601092.4538 | 1204430.429 | 2601086.8879 | 1204429.3155 | 2601057.4483 | 1204427.1922
8 | 2601203.6287 | 1204485.1891 | 2601224.803 | 1204501.8022 | 2601231.8063 | 1204505.9246
9 | 2601203.6287 | 1204485.1891 | 2601202.3123 | 1204487.2344 | 2601198.2947 | 1204493.4703 | 2601195.9546 | 1204497.085
10 | 2601203.6287 | 1204485.1891 | 2601183.9367 | 1204469.8263
11 | 2601189.8962 | 1204506.4429 | 2601195.9546 | 1204497.085
12 | 2601152.2195 | 1204450.7609 | 2601152.8209 | 1204451.05 | 2601179.8683 | 1204466.6523 | 2601183.9367 | 1204469.8263
13 | 2601166.3064 | 1204542.8802 | 2601189.8962 | 1204506.4429
14 | 2601152.2195 | 1204450.7609 | 2601130.8091 | 1204440.471
15 | 2601219.3527 | 1204576.5724 | 2601209.0354 | 1204569.8276
16 | 2601201.9513 | 1204565.3247 | 2601207.2793 | 1204568.6796 | 2601209.0354 | 1204569.8276
17 | 2601166.3064 | 1204542.8802 | 2601151.5432 | 1204533.8837
18 | 2601166.3064 | 1204542.8802 | 2601177.9479 | 1204550.2105
19 | 2601120.6925 | 1204437.0771 | 2601128.1766 | 1204439.2058 | 2601130.8091 | 1204440.471
20 | 2601151.5432 | 1204533.8837 | 2601130.1868 | 1204573.6129
21 | 2601151.5432 | 1204533.8837 | 2601147.2862 | 1204531.1346
22 | 2601177.9479 | 1204550.2105 | 2601187.2729 | 1204556.0822
23 | 2601122.8789 | 1204587.2076 | 2601130.1868 | 1204573.6129
24 | 2601140.3207 | 1204526.6362 | 2601147.2862 | 1204531.1346
25 | 2601201.9513 | 1204565.3247 | 2601187.2729 | 1204556.0822
26 | 2601122.8789 | 1204587.2076 | 2601112.8767 | 1204583.3259 | 2601099.5602 | 1204579.963
27 | 2601122.8789 | 1204587.2076 | 2601131.622 | 1204591.697
28 | 2601140.3207 | 1204526.6362 | 2601118.9572 | 1204512.8398
29 | 2601118.9572 | 1204512.8398 | 2601110.6745 | 1204507.4908
30 | 2601100.332 | 1204501.8128 | 2601107.0483 | 1204505.1491 | 2601110.6745 | 1204507.4908
31 | 2601100.332 | 1204501.8128 | 2601097.0773 | 1204496.1202 | 2601095.9061 | 1204494.7637
32 | 2601087.3709 | 1204496.1186 | 2601087.8046 | 1204495.4071 | 2601089.1741 | 1204494.2401 | 2601090.8325 | 1204493.5511 | 2601092.6277 | 1204493.4069 | 2601094.3772 | 1204493.8296 | 2601095.9061 | 1204494.7637
33 | 2601087.3709 | 1204496.1186 | 2601073.7872 | 1204493.5829
34 | 2601073.7872 | 1204493.5829 | 2601058.5798 | 1204490.7441 | 2601058.5798 | 1204490.7441
35 | 2601079.3296 | 1204574.8541 | 2601099.5602 | 1204579.963
36 | 2601131.622 | 1204591.697 | 2601134.6607 | 1204593.2574 | 2601134.6607 | 1204593.2574
37 | 2601118.2116 | 1204436.3715 | 2601108.856 | 1204433.7105 | 2601092.4538 | 1204430.429
38 | 2601118.2116 | 1204436.3715 | 2601120.6925 | 1204437.0771
39 | 2601055.9469 | 1204496.658 | 2601057.575 | 1204494.9463 | 2601058.5798 | 1204490.7441
40 | 2601043.4712 | 1204499.4464 | 2601047.7233 | 1204500.0808 | 2601055.9469 | 1204496.658 | 2601055.9469 | 1204496.658
41 | 2601051.2365 | 1204560.9778 | 2601029.7476 | 1204555.7057
42 | 2601061.7767 | 1204570.4213 | 2601060.5986 | 1204565.1294 | 2601060.0206 | 1204564.062 | 2601059.2677 | 1204563.2392 | 2601058.2333 | 1204562.6943 | 2601051.2365 | 1204560.9778
43 | 2601019.6912 | 1204553.2385 | 2601029.7476 | 1204555.7057
44 | 2601061.7767 | 1204570.4213 | 2601056.9053 | 1204569.2585
45 | 2601061.7767 | 1204570.4213 | 2601076.0602 | 1204574.0284
46 | 2601056.9053 | 1204569.2585 | 2601046.3508 | 1204566.739 | 2601036.5317 | 1204563.7611
47 | 2601079.3296 | 1204574.8541 | 2601076.0602 | 1204574.0284
48 | 2600949.6299 | 1204623.4438 | 2600960.1978 | 1204609.0375 | 2600967.1292 | 1204598.0436 | 2600989.9335 | 1204552.7002 | 2601035.2379 | 1204563.3687 | 2601036.5317 | 1204563.7611
49 | 2600949.6299 | 1204623.4438 | 2600940.4389 | 1204638.2282 | 2600935.1433 | 1204647.5992
50 | 2601075.5011 | 1204740.6274 | 2601068.534 | 1204738.1026 | 2601040.7908 | 1204730.9818
51 | 2601133.6541 | 1204778.7026 | 2601103.2998 | 1204759.6647 | 2601096.2951 | 1204754.5607 | 2601085.0085 | 1204745.5983 | 2601081.1296 | 1204742.9851 | 2601075.5011 | 1204740.6274 | 2601075.5011 | 1204740.6274
52 | 2601033.6441 | 1204729.1475 | 2601040.7908 | 1204730.9818
53 | 2601133.6541 | 1204778.7026 | 2601124.7604 | 1204788.284 | 2601117.799 | 1204796.2538 | 2601112.4656 | 1204803.3678 | 2601104.88 | 1204814.7394
54 | 2601133.6541 | 1204778.7026 | 2601136.4842 | 1204776.0127 | 2601149.3337 | 1204764.1753 | 2601158.5694 | 1204756.7062 | 2601167.5767 | 1204749.9486 | 2601181.6962 | 1204740.5906 | 2601187.455 | 1204737.3121 | 2601190.9315 | 1204735.4339 | 2601186.9012 | 1204729.441 | 2601172.1473 | 1204713.7075 | 2601161.1197 | 1204703.4332 | 2601157.6134 | 1204701.2314 | 2601153.6354 | 1204699.9744 | 2601150.1212 | 1204699.4068 | 2601139.411 | 1204700.2164
55 | 2601033.6441 | 1204729.1475 | 2601013.2287 | 1204725.131 | 2601007.7933 | 1204724.2783
56 | 2601033.6441 | 1204729.1475 | 2601034.3291 | 1204726.5907 | 2601038.6172 | 1204709.7427
57 | 2601104.88 | 1204814.7394 | 2601080.1912 | 1204804.2517 | 2601055.3323 | 1204800.0836
58 | 2601126.396 | 1204700.8589 | 2601130.4351 | 1204700.893 | 2601139.411 | 1204700.2164
59 | 2601139.411 | 1204700.2164 | 2601137.2882 | 1204703.6402 | 2601119.7484 | 1204732.6018
60 | 2600994.5554 | 1204722.2016 | 2601007.7933 | 1204724.2783
61 | 2601038.6172 | 1204709.7427 | 2601038.811 | 1204708.9815
62 | 2601043.1563 | 1204798.0421 | 2601055.3323 | 1204800.0836
63 | 2601126.396 | 1204700.8589 | 2601134.926 | 1204683.929 | 2601131.9445 | 1204682.4832 | 2601134.3793 | 1204677.5764
64 | 2601126.396 | 1204700.8589 | 2601122.9351 | 1204700.3025 | 2601119.7329 | 1204699.4236 | 2601119.6966 | 1204699.405
65 | 2601119.7484 | 1204732.6018 | 2601114.3996 | 1204741.4338
66 | 2600961.1478 | 1204717.0075 | 2600968.1913 | 1204718.0647 | 2600986.7357 | 1204720.9691 | 2600987.3366 | 1204721.0692 | 2600994.5554 | 1204722.2016
67 | 2601039.7332 | 1204705.3578 | 2601038.811 | 1204708.9815
68 | 2601101.0983 | 1204689.9041 | 2601116.7589 | 1204697.9001 | 2601119.6966 | 1204699.405
69 | 2601113.9194 | 1204742.2266 | 2601114.3996 | 1204741.4338
70 | 2601112.5748 | 1204744.4469 | 2601113.9194 | 1204742.2266
71 | 2601086.3729 | 1204683.8538 | 2601097.1813 | 1204687.9023 | 2601101.0983 | 1204689.9041
72 | 2601086.3729 | 1204683.8538 | 2601093.4963 | 1204665.0144
73 | 2601099.2264 | 1204649.8598 | 2601093.4963 | 1204665.0144
74 | 2601102.034 | 1204651.1211 | 2601109.6575 | 1204654.5459
75 | 2601099.2264 | 1204649.8598 | 2601102.034 | 1204651.1211
76 | 2601099.2264 | 1204649.8598 | 2601089.792 | 1204646.0772
77 | 2600961.1478 | 1204717.0075 | 2600958.892 | 1204733.5933
78 | 2600961.1478 | 1204717.0075 | 2600949.0079 | 1204715.1714 | 2600953.409 | 1204685.1446
79 | 2600938.4246 | 1204785.3747 | 2600943.899 | 1204748.7667 | 2600949.0079 | 1204715.1714 | 2600961.1478 | 1204717.0075
80 | 2601023.2412 | 1204663.5324 | 2601036.7501 | 1204666.5362 | 2601041.1655 | 1204667.9577
81 | 2601049.0494 | 1204670.4959 | 2601041.1655 | 1204667.9577
82 | 2601023.2412 | 1204663.5324 | 2601010.3482 | 1204661.7183
83 | 2601052.2309 | 1204659.0346 | 2601049.0494 | 1204670.4959
84 | 2601049.0494 | 1204670.4959 | 2601058.4613 | 1204673.5314
85 | 2601010.3636 | 1204660.6621 | 2601010.3482 | 1204661.7183
86 | 2601052.2309 | 1204659.0346 | 2601054.6836 | 1204650.1994
87 | 2601032.6032 | 1204627.5921 | 2601024.299 | 1204625.9264
88 | 2601032.6032 | 1204627.5921 | 2601039.5235 | 1204629.217
89 | 2601015.5191 | 1204624.1653 | 2601024.299 | 1204625.9264
90 | 2601039.5235 | 1204629.217 | 2601044.8554 | 1204630.469
91 | 2601010.3636 | 1204660.6621 | 2601005.3545 | 1204659.8405
92 | 2601010.3636 | 1204660.6621 | 2601012.8481 | 1204643.074
93 | 2601058.9059 | 1204634.9893 | 2601054.6836 | 1204650.1994
94 | 2601015.5191 | 1204624.1653 | 2601013.3512 | 1204623.7092 | 2601013.6997 | 1204621.3691
95 | 2601049.2674 | 1204631.6128 | 2601048.3332 | 1204631.2856 | 2601044.8554 | 1204630.469
96 | 2600935.1433 | 1204647.5992 | 2600969.2507 | 1204653.9188 | 2601005.3545 | 1204659.8405
97 | 2601075.1757 | 1204640.2171 | 2601070.5607 | 1204638.7342
98 | 2601075.1757 | 1204640.2171 | 2601082.2622 | 1204643.0583
99 | 2601062.4905 | 1204636.1411 | 2601070.5607 | 1204638.7342
100 | 2601082.2622 | 1204643.0583 | 2601089.792 | 1204646.0772
101 | 2601058.9059 | 1204634.9893 | 2601062.4905 | 1204636.1411
102 | 2601058.9059 | 1204634.9893 | 2601049.2674 | 1204631.6128
103 | 2601192.1245 | 1204632.8189 | 2601201.1578 | 1204638.9834 | 2601208.5349 | 1204644.0906
104 | 2601192.1245 | 1204632.8189 | 2601187.2089 | 1204629.4645 | 2601177.2272 | 1204622.7177
105 | 2601153.6975 | 1204606.7782 | 2601148.5431 | 1204603.1174
106 | 2601153.6975 | 1204606.7782 | 2601154.7323 | 1204607.5132 | 2601162.9497 | 1204613.0674
107 | 2601134.6607 | 1204593.2574 | 2601148.5431 | 1204603.1174
108 | 2601175.5468 | 1204621.5819 | 2601162.9497 | 1204613.0674
109 | 2601175.5468 | 1204621.5819 | 2601177.2272 | 1204622.7177
110 | 2600969.3369 | 1204687.6038 | 2600953.409 | 1204685.1446
111 | 2600938.4246 | 1204785.3747 | 2600945.4379 | 1204784.5975 | 2600950.7016 | 1204784.6094 | 2600955.6457 | 1204785.1549 | 2600969.3525 | 1204787.5741
112 | 2600988.7787 | 1204791.152 | 2600982.5644 | 1204789.9059 | 2600969.3525 | 1204787.5741
113 | 2600988.7787 | 1204791.152 | 2600993.2283 | 1204792.3978 | 2600994.2305 | 1204792.7749

## bus_geodata
| x | y | coords
0 | 2601062.2719 | 1204382.5526
1 | 2601064.7574 | 1204394.3483
2 | 2601066.8168 | 1204393.8641
3 | 2600986.3155 | 1204434.88
4 | 2601072.146 | 1204392.6109
5 | 2601049.8059 | 1204426.6409
6 | 2601092.0923 | 1204388.6465
7 | 2601057.4483 | 1204427.1922
8 | 2601231.8063 | 1204505.9246
9 | 2601203.6287 | 1204485.1891
10 | 2601195.9546 | 1204497.085
11 | 2601183.9367 | 1204469.8263
12 | 2601189.8962 | 1204506.4429
13 | 2601152.2195 | 1204450.7609
14 | 2601219.3527 | 1204576.5724
15 | 2601209.0354 | 1204569.8276
16 | 2601166.3064 | 1204542.8802
17 | 2601130.8091 | 1204440.471
18 | 2601151.5432 | 1204533.8837
19 | 2601177.9479 | 1204550.2105
20 | 2601130.1868 | 1204573.6129
21 | 2601147.2862 | 1204531.1346
22 | 2601187.2729 | 1204556.0822
23 | 2601122.8789 | 1204587.2076
24 | 2601140.3207 | 1204526.6362
25 | 2601201.9513 | 1204565.3247
26 | 2601118.9572 | 1204512.8398
27 | 2601110.6745 | 1204507.4908
28 | 2601100.332 | 1204501.8128
29 | 2601095.9061 | 1204494.7637
30 | 2601087.3709 | 1204496.1186
31 | 2601073.7872 | 1204493.5829
32 | 2601099.5602 | 1204579.963
33 | 2601131.622 | 1204591.697
34 | 2601092.4538 | 1204430.429
35 | 2601118.2116 | 1204436.3715
36 | 2601120.6925 | 1204437.0771
37 | 2601058.5798 | 1204490.7441
38 | 2601055.9469 | 1204496.658
39 | 2601043.4712 | 1204499.4464
40 | 2601051.2365 | 1204560.9778
41 | 2601029.7476 | 1204555.7057
42 | 2601061.7767 | 1204570.4213
43 | 2601019.6912 | 1204553.2385
44 | 2601056.9053 | 1204569.2585
45 | 2601076.0602 | 1204574.0284
46 | 2601036.5317 | 1204563.7611
47 | 2601079.3296 | 1204574.8541
48 | 2600949.6299 | 1204623.4438
49 | 2601075.5011 | 1204740.6274
50 | 2601040.7908 | 1204730.9818
51 | 2601133.6541 | 1204778.7026
52 | 2601033.6441 | 1204729.1475
53 | 2601104.88 | 1204814.7394
54 | 2601139.411 | 1204700.2164
55 | 2601007.7933 | 1204724.2783
56 | 2601038.6172 | 1204709.7427
57 | 2601055.3323 | 1204800.0836
58 | 2601126.396 | 1204700.8589
59 | 2601119.7484 | 1204732.6018
60 | 2600994.5554 | 1204722.2016
61 | 2601038.811 | 1204708.9815
62 | 2601043.1563 | 1204798.0421
63 | 2601134.3793 | 1204677.5764
64 | 2601119.6966 | 1204699.405
65 | 2601114.3996 | 1204741.4338
66 | 2601113.9194 | 1204742.2266
67 | 2601112.5748 | 1204744.4469
68 | 2601101.0983 | 1204689.9041
69 | 2601086.3729 | 1204683.8538
70 | 2601093.4963 | 1204665.0144
71 | 2601109.6575 | 1204654.5459
72 | 2601102.034 | 1204651.1211
73 | 2601099.2264 | 1204649.8598
74 | 2601039.7332 | 1204705.3578
75 | 2600961.1478 | 1204717.0075
76 | 2601041.1655 | 1204667.9577
77 | 2601023.2412 | 1204663.5324
78 | 2601049.0494 | 1204670.4959
79 | 2601010.3482 | 1204661.7183
80 | 2601052.2309 | 1204659.0346
81 | 2601058.4613 | 1204673.5314
82 | 2601032.6032 | 1204627.5921
83 | 2601024.299 | 1204625.9264
84 | 2601039.5235 | 1204629.217
85 | 2601010.3636 | 1204660.6621
86 | 2601054.6836 | 1204650.1994
87 | 2601015.5191 | 1204624.1653
88 | 2601044.8554 | 1204630.469
89 | 2601005.3545 | 1204659.8405
90 | 2601012.8481 | 1204643.074
91 | 2601075.1757 | 1204640.2171
92 | 2601070.5607 | 1204638.7342
93 | 2601082.2622 | 1204643.0583
94 | 2601058.9059 | 1204634.9893
95 | 2601208.5349 | 1204644.0906
96 | 2601192.1245 | 1204632.819
97 | 2601153.6975 | 1204606.7782
98 | 2601148.5431 | 1204603.1174
99 | 2601162.9497 | 1204613.0674
100 | 2601134.6607 | 1204593.2574
101 | 2601175.5468 | 1204621.5819
102 | 2601177.2272 | 1204622.7177
103 | 2601013.6997 | 1204621.3691
104 | 2600935.1433 | 1204647.5992
105 | 2601062.4905 | 1204636.1411
106 | 2601049.2674 | 1204631.6128
107 | 2601089.792 | 1204646.0772
108 | 2600958.892 | 1204733.5933
109 | 2600953.409 | 1204685.1445
110 | 2600938.4246 | 1204785.3747
111 | 2600969.3369 | 1204687.6038
112 | 2600969.3525 | 1204787.5741
113 | 2600988.7787 | 1204791.152
114 | 2600994.2305 | 1204792.7749
115 | 2601058.9059 | 1204634.9893

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1